## Overview
OEIS QDR Spatial Data - V2.2 - Overview
Dataset | Feature Class or Table | Submitted (Yes/No) | Reason | Availability Explanation | Entire Feature/Table Confidential? (Yes/No) | Metadata Included (Yes/No)? | Metadata Absence Explanation | Data Procurement Actions | Estimated Delivery
Asset Point | Camera | No | Not able to provide | Not an initiative | No | No | Not an initiative | N/A - not an initiative | N/A
| Connection Device | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Customer Meter | No | Not able to provide | Data not currently in GIS or available through the new ETL process | Yes | No | Data not included | Need to create new data process | 2023
| Fuse | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Lightning Arrester | No | Not able to provide | Data not currently in GIS or available through the new ETL process | Yes | No | Data not included | Physical Inventory would be required | 2023
| Substation | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Support Structure | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Switchgear | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Transformer Site | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Transformer Detail | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Weather Station | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
Asset Line | Transmission Line | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Primary Distribution Line | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Secondary Distribution Line | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
PSPS Event | PSPS Event Log | No | Not relevant for the reporting quarter | No PSPS Data in Q4 | No | No | No PSPS Data in Q4 | N/A | N/A
| PSPS Event Line | No | Not relevant for the reporting quarter | No PSPS Data in Q4 | Yes | No | No PSPS Data in Q4 | N/A | N/A
| PSPS Event Polygon | No | Not relevant for the reporting quarter | No PSPS Data in Q4 | Yes | No | No PSPS Data in Q4 | N/A | N/A
| PSPS Event Customer Meter Point | No | Not relevant for the reporting quarter | No PSPS Data in Q4 | Yes | No | No PSPS Data in Q4 | N/A | N/A
| PSPS Event Damage Point | No | Not relevant for the reporting quarter | No PSPS Data in Q4 | No | No | No PSPS Data in Q4 | N/A | N/A
| PSPS Event Conductor Damage Detail | No | Not relevant for the reporting quarter | No PSPS Data in Q4 | Yes | No | No PSPS Data in Q4 | N/A | N/A
| PSPS Event Support Structure Damage Detail | No | Not relevant for the reporting quarter | No PSPS Data in Q4 | Yes | No | No PSPS Data in Q4 | N/A | N/A
| PSPS Event Other Asset Damage Detail | No | Not relevant for the reporting quarter | No PSPS Data in Q4 | Yes | No | No PSPS Data in Q4 | N/A | N/A
| PSPS Event Damage Photo Log | No | Not relevant for the reporting quarter | No PSPS Data in Q4 | No | No | No PSPS Data in Q4 | N/A | N/A
Risk Event | Wire Down Event | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Ignition | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Transmission Unplanned Outage | No | Not relevant for the reporting quarter | No transmission outages in Q4 2022 | Yes | No | No transmission outages in Q4 2022 | N/A | N/A
| Transmission Vegetation Caused Unplanned Outage | No | Not relevant for the reporting quarter | No transmission outages in Q4 2022 | No | No | No transmission outages in Q4 2022 | N/A | N/A
| Distribution Unplanned Outage | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Distribution Vegetation Caused Unplanned Outage | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Risk Event Asset Log | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Risk Event Photo Log | No | Not able to provide | Do not have photos / data | No | No | No data included | Would need to add resources, tools, storage, and processes to include | 2023
Initiative | Vegetation Inspection Log | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Vegetation Inspection Point | No | Not able to provide | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | No | No | No vegetation management point data to submit | N/A | N/A
| Vegetation Inspection Line | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Vegetation Inspection Polygon | No | Not able to provide | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | No | No | No vegetation management polygon data to submit | N/A | N/A
| Vegetation Management Project Log | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Vegetation Management Project Point | No | Not able to provide | Not Currently in GIS or tracked this way | No | No | No Data Provided | N/A | N/A
| Vegetation Management Project Line | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Vegetation Management Project Polygon | No | Not able to provide | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | No | No | No vegetation management polygon data to submit | N/A | N/A
| Asset Inspection Log | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Asset Inspection Point | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Asset Inspection Line | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Asset Inspection Polygon | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Grid Hardening Log | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Grid Hardening Point | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Grid Hardening Line | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Other Initiative Log | No | Not able to provide | No Other Initiatives | No | No | No Other Initiatives | No Other Initiatives | N/A
| Other Initiative Point | No | Not able to provide | No Other Initiatives | No | No | No Other Initiatives | No Other Initiatives | N/A
| Other Initiative Line | No | Not able to provide | No Other Initiatives | No | No | No Other Initiatives | No Other Initiatives | N/A
| Other Initiative Polygon | No | Not able to provide | No Other Initiatives | No | No | No Other Initiatives | No Other Initiatives | N/A
| Initiative Photo Log | No | Not able to provide | Photo capture is not part of standard procedure at this time - no photos available | No | No | No data submitted | Amend process to capture and store photos | 2023
Other Required Data | Other Power Line Connection Location | No | Not able to provide | Do not have the data in GIS | Yes | No | Data not included | Need to make improvemens to the ETL Process | 2023
| Critical Facility | No | Not able to provide | Do not have the data in GIS | Yes | No | Data not included | Need to make improvemens to the ETL Process | 2023
| Red Flag Warning Day Polygon | No | Not able to provide | Do not have the data in GIS | No | No | Data not included | Need to make adjustments to the ETL Process | 2023
| Administrative Area | No | Not able to provide | Do not have this data | No | No | Do not have this data | Do not have this data | N/A
| Major Woody Stem Exempt Tree Points | Yes |  | Included | No | Yes | Included | N/A - Included | N/A

## Reasons (hidden)
No change since last submission | Yes
Not able to provide | No
Not relevant for the reporting quarter

## Asset Point
OEIS QDR Spatial Data - V2.2 - Asset Point
Field Name | Data Type | Characteristic | Data provided in Current Submission? (Yes/ No) | Availability Explanation | Data Procurement Actions | Estimated Delivery
Camera
SupportStructureID | text(50) | FK | No | Not an initiative | N/A - not an initiative | N/A
CameraLocationName | text(30) |  | No | Not an initiative | N/A - not an initiative | N/A
HFTDClass | text(10) | Domain | No | Not an initiative | N/A - not an initiative | N/A
County | text(50) |  | No | Not an initiative | N/A - not an initiative | N/A
Connection Device
FromStructureID | text(50) | FK | No | Do not have circuit span data | Rebuild data architecture | 2023
ToStructureID | text(50) | FK | No | Do not have circuit span data | Rebuild data architecture | 2023
CircuitID | text(50) | FK | Yes | Included | N/A - Included | N/A
SubstationID | text(50) | FK | Yes | Included | N/A - Included | N/A
AssetOHUG | text(30) | Domain | Yes | Included | N/A - Included | N/A
ConnectionDeviceType | text(30) | Domain | Yes | Included | N/A - Included | N/A
ConnectionDeviceTypeComment | text(30) |  | Yes | Included | N/A - Included | N/A
ConnectionDeviceSubtype | text(30) | Domain | Yes | Included | N/A - Included | N/A
ConnectionDeviceSubtypeComment | text(30) |  | Yes | Included | N/A - Included | N/A
AssociatedNominalVoltagekV | text(10) |  | Yes | Included | N/A - Included | N/A
AssociatedOperatingVoltagekV | text(10) |  | Yes | Included | N/A - Included | N/A
CircuitName | text(255) |  | Yes | Included | N/A - Included | N/A
SubstationName | text(50) |  | Yes | Included | N/A - Included | N/A
Manufacturer | text(50) |  | Yes | Included | N/A - Included | N/A
ModelNumber | text(30) |  | Yes | Included | N/A - Included | N/A
HFTDClass | text(10) | Domain | Yes | Included | N/A - Included | N/A
County | text(50) |  | Yes | Included | N/A - Included | N/A
LastInspectionDate | date |  | No | Inspection records are associated with facilty points, not devices | Would need to change the inspection program methodology | 2023
InstallationDate | date |  | Yes | Included | N/A - Included | N/A
InstallationYear | integer |  | Yes | Included | N/A - Included | N/A
EstimatedAge | text(10) | Domain | Yes | Included | N/A - Included | N/A
UsefulLifespan | Integer |  | Yes | Included | N/A - Included | N/A
ExemptionStatus | text(10) | Domain | Yes | Included | N/A - Included | N/A
Customer Meter
CircuitID | text(50) | FK | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2023
SubstationID | text(50) | FK | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2023
CircuitName | text(255) |  | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2023
SubstationName | text(30) |  | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2023
Manufacturer | text(50) |  | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2023
ModelNumber | text(30) |  | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2023
HFTDClass | text(10) | Domain | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2023
County | text(50) |  | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2023
InstallationDate | date |  | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2023
InstallationYear | integer |  | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2023
EstimatedAge | text(10) | Domain | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2023
Fuse
SupportStructureID | text(50) | FK | Yes | Included | N/A - Included | N/A
SubstationID | text(50) | FK | Yes | Included | N/A - Included | N/A
CircuitID | text(50) | FK | Yes | Included | N/A - Included | N/A
AssociatedNominalVoltagekV | text(10) |  | Yes | Included | N/A - Included | N/A
AssociatedOperatingVoltagekV | text(10) |  | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2023
SubstationName | text(50) |  | Yes | Included | N/A - Included | N/A
CircuitName | text(255) |  | Yes | Included | N/A - Included | N/A
HFTDClass | text(10) | Domain | Yes | Included | N/A - Included | N/A
County | text(50) |  | Yes | Included | N/A - Included | N/A
LastInspectionDate | date |  | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2023
LastMaintenanceDate | date |  | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2023
ExemptionStatus | text(10) | Domain | Yes | Included | N/A - Included | N/A
FuseRating | float |  | Yes | Included | N/A - Included | N/A
FuseType | text(30) | Domain | Yes | Included | N/A - Included | N/A
FuseTypeComment | text(50) |  | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2023
FuseSubtype | text(30) |  | Yes | Included | N/A - Included | N/A
Lightning Arrester
SupportStructureID | text(50) | FK | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
SubstationID | text(50) | FK | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
CircuitID | text(50) | FK | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
AssociatedNominalVoltagekV | text(10) |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
AssociatedOperatingVoltagekV | text(10) |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
SubstationName | text(50) |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
CircuitName | text(255) |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
Manufacturer | text(50) |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
ModelNumber | text(30) |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
HFTDClass | text(10) | Domain | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
County | text(50) |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
LastInspectionDate | date |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
LastMaintenanceDate | date |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
InstallationDate | date |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
InstallationYear | integer |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
EstimatedAge | text(10) | Domain | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
UsefulLifespan | integer |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
ExemptionStatus | text(10) | Domain | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
ArresterRating | float |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2023
Substation
SubstationName | text(50) |  | Yes | Included | N/A - Included | N/A
SubstationNominalVoltagekV | text(10) |  | Yes | Included | N/A - Included | N/A
SubstationOperatingVoltagekV | text(10) |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
SubstationRating | float |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
SubstationType | text(10) | Domain | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
HFTDClass | text(10) | Domain | Yes | Included | N/A - Included | N/A
County | text(50) |  | Yes | Included | N/A - Included | N/A
LastInspectionDate | date |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
InstallationDate | date |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
InstallationYear | integer |  | Yes | Included | N/A - Included | N/A
Support Structure
SubstationID | text(50) | FK | Yes | Included | N/A - Included | N/A
CircuitID | text(50) | FK | Yes | Included | N/A - Included | N/A
ExemptionStatus | text(10) | Domain | Yes | Included | N/A - Included | N/A
CircuitName | text(255) |  | Yes | Included | N/A - Included | N/A
HFTDClass | text(10) | Domain | Yes | Included | N/A - Included | N/A
County | text(50) |  | Yes | Included | N/A - Included | N/A
LastInspectionDate | date |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
LastMaintenanceDate | date |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
LastIntrusiveDate | date |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
InstallationDate | date |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
InstallationYear | integer |  | Yes | Included | N/A - Included | N/A
EstimatedAge | text(10) | Domain | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
UsefulLifespan | integer |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
SupportStructureType | text(30) | Domain | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
SupportStructureTypeComment | text(30) |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
SupportStructureMaterial | text(30) | Domain | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
SupportStructureMaterialComment | text(30) |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
SupportStructureMaterialSubtype | text(30) |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
Underbuild | text(3) | Domain | Yes | Included | N/A - Included | N/A
ConstructionGrade | text(10) | Domain | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
CrossarmAttached | text(10) | Domain | Yes | Included | N/A - Included | N/A
Switchgear
SupportStructureID | text(50) | FK | Yes | Included | N/A - Included | N/A
SubstationID | text(50) | FK | Yes | Included | N/A - Included | N/A
CircuitID | text(50) | FK | Yes | Included | N/A - Included | N/A
AssetOHUG | text(30) | Domain | Yes | Included | N/A - Included | N/A
AssociatedNominalVoltagekV | float |  | Yes | Included | N/A - Included | N/A
AssociatedOperatingVoltagekV | float |  | Yes | Included | N/A - Included | N/A
SubstationName | text(50) |  | Yes | Included | N/A - Included | N/A
CircuitName | text(255) |  | Yes | Included | N/A - Included | N/A
Manufacturer | text(50) |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
ModelNumber | text(30) |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
HFTDClass | text(10) | Domain | Yes | Included | N/A - Included | N/A
County | text(50) |  | Yes | Included | N/A - Included | N/A
LastInspectionDate | date |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
LastMaintenanceDate | date |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
InstallationDate | date |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
InstallationYear | integer |  | Yes | Included | N/A - Included | N/A
EstimatedAge | text(10) | Domain | Yes | Included | N/A - Included | N/A
UsefulLifespan | integer |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
ExemptionStatus | text(10) | Domain | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
CurrentRating | float |  | Yes | Included | N/A - Included | N/A
AssetClass | text(30) | Domain | Yes | Included | N/A - Included | N/A
SCADAEnabled | text(3) | Domain | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
SwitchgearType | text(30) |  | Yes | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
SwitchgearSubtype | text(30) |  | Yes | Included | N/A - Included | N/A
SwitchgearInsulatingMedium | text(30) |  | Yes | Included | N/A - Included | N/A
Transformer Site
SupportStructureID | text(50) | FK | Yes | Included | N/A - Included | N/A
AssetOHUG | text(30) | Domain | Yes | Included | N/A - Included | N/A
HFTDClass | text(10) | Domain | Yes | Included | N/A - Included | N/A
County | text(50) |  | Yes | Included | N/A - Included | N/A
InaBank | text(30) | Domain | Yes | Included | N/A - Included | N/A
QuantityinBank | integer |  | Yes | Included | N/A - Included | N/A
Transformer Detail
TransformerSiteID | text(50) | FK | Yes | Included | N/A - Included | N/A
SubstationID | text(50) | FK | Yes | Included | N/A - Included | N/A
CircuitID | text(50) | FK | Yes | Included | N/A - Included | N/A
TransformerSubtype | text(100) | Domain | Yes | Included | N/A - Included | N/A
AssociatedNominalVoltagekV | float |  | Yes | Included | N/A - Included | N/A
AssociatedOperatingVoltagekV | float |  | Yes | Included | N/A - Included | N/A
SubstationName | text(50) |  | Yes | Included | N/A - Included | N/A
CircuitName | text(255) |  | Yes | Included | N/A - Included | N/A
Manufacturer | text(50) |  | Yes | Included | N/A - Included | N/A
ModelNumber | text(30) |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
LastInspectionDate | date |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
LastMaintenanceDate | date |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
InstallationDate | date |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
InstallationYear | integer |  | Yes | Included | N/A - Included | N/A
EstimatedAge | text(10) | Domain | Yes | Included | N/A - Included | N/A
UsefulLifespan | integer |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
ExemptionStatus | text(30) | Domain | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
TransformerRating | float |  | Yes | Included | N/A - Included | N/A
Weather Station
Manufacturer | text(150) |  | Yes | Included | None - Included | N/A
ModelNumber | text(30) |  | Yes | Included | None - Included | N/A
HFTDClass | text(10) | Domain | Yes | Included | N/A - Included | N/A
County | text(50) |  | Yes | Included | N/A - Included | N/A
LastInspectionDate | date |  | Yes | Included | None - Included | N/A
InstallationDate | date |  | Yes | Included | None - Included | N/A
InstallationYear | integer |  | Yes | Included | N/A - Included | N/A
EstimatedAge | text(10) | Domain | Yes | Included | None - Included | N/A
UsefulLifespan | integer |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
WeatherStationURL | text(255) |  | Yes | Included | N/A - Included | N/A

## Asset Line
OEIS QDR Spatial Data - V2.2 - Asset Line
Field Name | Data Type | Characteristic | Data provided in Current Submission? (Yes/ No) | Availability Explanation | Data Procurement Actions | Estimated Delivery
Transmission Line
CircuitID | text(50) | PK | Yes | Included | N/A - Included | N/A
SubstationID | text(50) | FK | Yes | Included | N/A - Included | N/A
LineClass | text(30) | Domain | Yes | Included | N/A - Included | N/A
CircuitName | text(255) |  | Yes | Included | N/A - Included | N/A
County | text(150) |  | Yes | Included | N/A - Included | N/A
ConductorType | text(30) | Domain | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023
ConductorTypeComment | text(30) |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023
AssetOHUG | text(30) | Domain | Yes | Included | N/A - Included | N/A
NominalVoltagekV | float |  | Yes | Included | N/A - Included | N/A
OperatingVoltagekV | float |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023
SubstationName | text(50) |  | Yes | Included | N/A - Included | N/A
ConductorMaterial | text(50) | Domain | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023
ConductorMaterialComment | text(50) |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023
ConductorSize | text(30) |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023
ConductorOD | float |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023
Terminal1 | text(50) |  | Yes | Included | N/A - Included | N/A
Terminal2 | text(50) |  | Yes | Included | N/A - Included | N/A
Terminal3 | text(50) |  | Yes | Included | N/A - Included | N/A
Terminal4 | text(50) |  | Yes | Included | N/A - Included | N/A
Terminal5 | text(50) |  | Yes | Included | N/A - Included | N/A
Terminals | text(50) |  | No | Did not have any data that fit this category | No immediate actions | N/A
LastInspectionDate | date |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
LastMaintenanceDate | date |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
InstallationDate | date |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023
InstallationYear | integer |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023
EstimatedAge | text(10) | Domain | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
UsefulLifespan | integer |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
AmpacityRating | float |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
Greased | text(10) | Domain | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
Primary Distribution Line
CircuitID | text(50) | PK | Yes | Included | N/A - Included | N/A
UtilityID | text(30) | Domain | Yes | Included | N/A - Included | N/A
SubstationID | text(50) | FK | Yes | Included | N/A - Included | N/A
CircuitName | text(255) |  | Yes | Included | N/A - Included | N/A
County | text(150) |  | Yes | Included | N/A - Included | N/A
ConductorType | text(30) | Domain | Yes | Included | N/A - Included | N/A
ConductorTypeComment | text(30) |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
AssetOHUG | text(30) | Domain | Yes | Included | N/A - Included | N/A
NominalVoltagekV | float |  | Yes | Included | N/A - Included | N/A
OperatingVoltagekV | float |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
SubstationName | text(50) |  | Yes | Included | N/A - Included | N/A
ConductorMaterial | text(50) | Domain | Yes | Included | N/A - Included | N/A
ConductorMaterialComment | text(50) |  | Yes | Included | N/A - Included | N/A
ConductorSize | text(30) |  | Yes | Included | N/A - Included | N/A
ConductorOD | float |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023
LastInspectionDate | date |  | No | Data not currently in GIS or available through the new ETL process | Imrpovements / Enhancement to the ETL process | 2023
LastMaintenanceDate | date |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
InstallationDate | date |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
InstallationYear | integer |  | Yes | Included | N/A - Included | N/A
EstimatedAge | text(10) | Domain | Yes | Included | N/A - Included | N/A
UsefulLifespan | integer |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
AmpacityRating | float |  | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
Greased | text(10) | Domain | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
Secondary Distribution Line
CircuitID | text(50) | PK | Yes | Included | N/A - Included | N/A
SubstationID | text(50) | FK | Yes | Included | N/A - Included | N/A
CircuitName | text(255) |  | Yes | Included | N/A - Included | N/A
County | text(150) |  | Yes | Included | N/A - Included | N/A
ConductorType | text(30) | Domain | Yes | Included | N/A - Included | N/A
ConductorTypeComment | text(30) |  | Yes | Included | N/A - Included | N/A
AssetOHUG | text(30) | Domain | Yes | Included | N/A - Included | N/A
NominalVoltagekV | text(10) |  | Yes | Included | N/A - Included | N/A
OperatingVoltagekV | text(10) |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023
SubstationName | text(50) |  | Yes | Included | N/A - Included | N/A
ConductorMaterial | text(50) | Domain | Yes | Included | N/A - Included | N/A
ConductorMaterialComment | text(50) |  | Yes | Included | N/A - Included | N/A
ConductorSize | text(30) |  | Yes | Included | N/A - Included | N/A
ConductorOD | float |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023
LastInspectionDate | date |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023
LastMaintenanceDate | date |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023
InstallationDate | date |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023
InstallationYear | integer |  | Yes | Included | N/A - Included | N/A
EstimatedAge | text(10) | Domain | Yes | Included | N/A - Included | N/A
UsefulLifespan | Integer |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023
AmpacityRating | float |  | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023
Greased | text(10) | Domain | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required for each structure | 2023

## PSPS Event
OEIS QDR Spatial Data - V2.2 - PSPS Event
Field Name | Data Type | Characteristic | Data provided in Current Submission? (Yes/ No) | Availability Explanation | Data Procurement Actions | Estimated Delivery
PSPS Event Log
EOCActivationDateTime | date |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
StartDateTime | date |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
AllClearDateTime | date |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
AllLoadUpDateTime | date |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
County | text(150) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
WindRisk | text(3) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
RelativeHumidityRisk | text(3) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
TemperatureRisk | text(3) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
VegetationRisk | text(3) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
AssetRisk | text(3) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
DeadFuelRisk | text(3) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
LiveFuelRisk | text(3) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
RedFlagWarningRisk | text(3) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
OtherRisk | text(3) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
OtherRiskReason | text(100) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
PSPS Event Line
CircuitID | text(50) | FK | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
SubstationID | text(50) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
IsolationDeviceID | text(50) | FK | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
IsolationDevice | text(30) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
IsolationDeviceComment | text(50) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
PredictedDurationMinutes | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
ActualDurationMinutes | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
DurationPredictionError | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
TotalCustomerMinutes | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
TotalCustomers | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
ResidentialCustomers | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
MedicalBaselineCustomers | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
CommercialIndustrialCustomers | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
OtherCustomers | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
CriticalInfrastructure | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
CriticalInfrastructureDuration | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
CriticalInfrastructureImpact | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
County | text(150) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
PSPS Event Polygon
CircuitID | text(50) | FK | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
SubstationID | text(50) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
IsolationDeviceID | text(50) | FK | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
IsolationDevice | text(30) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
IsolationDeviceComment | text(50) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
PredictedDurationMinutes | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
ActualDurationMinutes | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
DurationPredictionError | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
TotalCustomerMinutes | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
TotalCustomers | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
ResidentialCustomers | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
MedicalBaselineCustomers | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
CommercialIndustrialCustomers | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
OtherCustomers | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
CriticalInfrastructure | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
CriticalInfrastructureDuration | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
CriticalInfrastructureImpact | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
County | text(150) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
PSPS Event Customer Meter Point
AssetID | text(50) | FK | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
HFTDClass | text(10) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
County | text(50) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
PSPS Event Damage Point
FuelBedDescription | text(150) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
FuelBedDescriptionComment | text(150) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
HFTDClass | text(10) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
County | text(50) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
PSPS Event Conductor Damage Detail
CircuitID | text(50) | FK | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
FromDeviceID | text(50) | FK | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
ToDeviceID | text(50) | FK | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
FeederID | text(50) | FK | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
SubstationID | text(50) | FK | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
DamageDateTime | date |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
Asset | text(10) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
NominalVoltagekV | text(10) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
OperatingVoltagekV | text(10) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
ConductorMaterial | text(50) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
ConductorMaterialComment | text(50) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
ConductorType | text(30) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
ConductorTypeComment | text(50) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
ConductorLength | float |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
FailedEquipmentDescription | text(100) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
ExternalForceDescription | text(100) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
SubstationName | text(50) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
SubstationType | text(10) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
Cause | text(30) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
CauseComment | text(30) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
EnergizedOnGround | text(10) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
ManufacturerModelID | text(50) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
InstallationDate | date |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
InstallationYear | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
EstimatedAge | text(10) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
UsefulLifespan | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
LikelyArcing | text(10) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
DamageType | text(30) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
DamageDescription | text(30) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
DamageDescriptionComment | text(30) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
PSPS Event Support Structure Damage Detail
AssetID | text(50) | FK | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
FeederID | text(50) | FK | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
DamageDateTime | date |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
Asset | text(30) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
AssetComment | text(30) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
Cause | text(30) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
CauseComment | text(30) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
AssociatedNominalVoltagekV | text(10) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
AssociateOperatingVoltagekV | text(10) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
SupportStructureMaterial | text(30) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
MaterialComment | text(30) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
ManufacturerModelID | text(50) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
InstallationDate | date |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
InstallationYear | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
EstimatedAge | text(10) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
UsefulLifespan | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
LikelyArcing | text(10) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
DamageType | text(30) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
DamageDescription | text(30) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
DamageDescriptionComment | text(30) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
PSPS Event Other Asset Damage Detail
AssetID | text(50) | FK | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
FeederID | text(50) | FK | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
DamageDateTime | date |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
Asset | text(30) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
AssetComment | text(30) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
Cause | text(30) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
CauseComment | text(30) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
AssociatedNominalVoltagekV | text(10) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
AssociatedOperatingVoltagekV | text(10) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
ManufacturerModelID | text(50) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
InstallationDate | date |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
InstallationYear | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
EstimatedAge | text(10) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
UsefulLifespan | integer |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
ExemptionStatus | text(10) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
LikelyArcing | text(10) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
DamageType | text(30) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
DamageDescription | text(30) | Domain | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
DamageDescriptionComment | text(30) |  | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
PSPS Event Damage Photo Log
DamagedAssetPhotoID | text(100) | PK | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
FuelBedPhotoID | text(100) | PK | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A
DamageEventID | text(100) | FK | No | No PSPS Data in Q4 | No PSPS Data in Q4 | N/A

## Risk Event
OEIS QDR Spatial Data - V2.2 - Risk Event
Field Name | Data Type | Characteristic | Data provided in Current Submission? (Yes/ No) | Availability Explanation | Data Procurement Actions | Estimated Delivery
Wire Down Event
ToutageID | text(50) | FK | Yes | Included | N/A - Included | N/A
DoutageID | text(50) | FK | Yes | Included | N/A - Included | N/A
WireDownDate | date |  | Yes | Included | N/A - Included | N/A
WireDownYear | integer |  | Yes | Included | N/A - Included | N/A
Cause | text(30) | Domain | Yes | Included | N/A - Included | N/A
CauseComment | text(30) |  | No | Data not available in Q4 | Data not available in Q4 | N/A
ObjectContact | text(30) | Domain | Yes | Included | N/A - Included | N/A
EquipmentFailure | text(30) | Domain | Yes | Included | N/A - Included | N/A
EquipmentFailureComment | text(30) |  | Yes | Included | N/A - Included | N/A
AssociatedNominalVoltagekV | text(10) |  | Yes | Included | N/A - Included | N/A
AssociatedOperatingVoltagekV | text(10) |  | Yes | Included | N/A - Included | N/A
SpanLength | float |  | Yes | Included | N/A - Included | N/A
TotalSplices | integer |  | No | Data not available in Q4 | Data not available in Q4 | N/A
MaxSplices | integer |  | Yes | Included | N/A - Included | N/A
MultipleDown | text(3) | Domain | Yes | Included | N/A - Included | N/A
ConductorMaterial | text(50) | Domain | Yes | Included | N/A - Included | N/A
ConductorMaterialComment | text(50) |  | Yes | Included | N/A - Included | N/A
ConductorSize | text(30) |  | Yes | Included | N/A - Included | N/A
ConductorOD | float |  | Yes | Included | N/A - Included | N/A
ConductorRating | float |  | Yes | Included | N/A - Included | N/A
OutageStatus | text(3) | Domain | Yes | Included | N/A - Included | N/A
Energized | text(10) | Domain | Yes | Included | N/A - Included | N/A
IgnitionStatus | text(3) | Domain | Yes | Included | N/A - Included | N/A
WireDownNotes | text(100) |  | Yes | Included | N/A - Included | N/A
HFTDClass | text(10) | Domain | Yes | Included | N/A - Included | N/A
County | text(50) |  | Yes | Included | N/A - Included | N/A
District | text(100) |  | Yes | Included | N/A - Included | N/A
Ignition
SubstationID | text(50) | FK | Yes | Included | N/A - Included | N/A
NearestWeatherStationID | text(50) | FK | No | Data not available in Q4 | Need to create new data process | 2023
ToutageID | text(50) | FK | Yes | Included | N/A - Included | N/A
DoutageID | text(50) | FK | Yes | Included | N/A - Included | N/A
FireStartDateTime | date |  | Yes | Included | N/A - Included | N/A
FireStartYear | Integer |  | Yes | Included | N/A - Included | N/A
FireDetectionMethod | text(30) | Domain | Yes | Included | N/A - Included | N/A
FireDetectionMethodComment | text(30) |  | Yes | Included | N/A - Included | N/A
SuspectedInitiatingCause | text(30) | Domain | Yes | Included | N/A - Included | N/A
SuspectedInitiatingCauseComment | text(30) |  | Yes | Included | N/A - Included | N/A
ObjectContact | text(30) | Domain | Yes | Included | N/A - Included | N/A
ObjectContactComment | text(30) |  | No | Data not available in Q4 | Need to create new data process | 2023
VegetationGenus | text(30) |  | No | Data not available in Q4 | Need to create new data process | 2023
VegetationSpecies | text(30) |  | No | Data not available in Q4 | Need to create new data process | 2023
VegetationCommonName | text(50) |  | No | Data not available in Q4 | Need to create new data process | 2023
EquipmentFailure | text(30) | Domain | Yes | Included | N/A - Included | N/A
EquipmentFailureComment | text(30) |  | No | Data not available in Q4 | Need to create new data process | 2023
AssociatedNominalVoltagekV | text(10) |  | Yes | Included | N/A - Included | N/A
AssociatedOperatingVoltagekV | text(10) |  | Yes | Included | N/A - Included | N/A
OtherCompanies | text(50) |  | No | Data not available in Q4 | Need to create new data process | 2023
EquipmentType | text(30) | Domain | Yes | Included | N/A - Included | N/A
Determination | text(30) | Domain | Yes | Included | N/A - Included | N/A
DeterminationComment | text(50) |  | No | Data not available in Q4 | Need to create new data process | 2023
FacilityContacted | text(50) | Domain | Yes | Included | N/A - Included | N/A
FacilityContactedComment | text(150) |  | No | Data not available in Q4 | Need to create new data process | 2023
ContributingFactor | text(30) | Domain | No | Data not available in Q4 | Need to create new data process | 2023
ContributingFactorComment | text(30) |  | No | Data not available in Q4 | Need to create new data process | 2023
RFWStatus | text(3) | Domain | No | Data not available in Q4 | Need to create new data process | 2023
RFWIssueDateTime | date |  | No | Data not available in Q4 | Need to create new data process | 2023
FWWStatus | text(3) | Domain | No | Data not available in Q4 | Need to create new data process | 2023
FWWIssueDateTime | date |  | No | Data not available in Q4 | Need to create new data process | 2023
HWWStatus | text(3) | Domain | No | Data not available in Q4 | Need to create new data process | 2023
HWWIssueDateTime | date |  | No | Data not available in Q4 | Need to create new data process | 2023
OriginLandUse | text(10) | Domain | No | Data not available in Q4 | Need to create new data process | 2023
MaterialAtOrigin | text(30) | Domain | Yes | Included | N/A - Included | N/A
MaterialAtOriginComment | text(30) |  | No | Data not available in Q4 | Need to create new data process | 2023
FuelBedDescription | text(100) | Domain | No | Data not available in Q4 | Need to create new data process | 2023
FuelBedDescriptionComment | text(100) |  | No | Data not available in Q4 | Need to create new data process | 2023
FireSize | text(30) | Domain | No | Included | N/A - Included | N/A
SuppressedBy | text(30) | Domain | Yes | Included | N/A - Included | N/A
SuppressingAgency | text(30) |  | Yes | Included | N/A - Included | N/A
FireInvestigation | text(30) | Domain | Yes | Included | N/A - Included | N/A
FireAHJ | text(100) |  | No | Data not available in Q4 | Need to create new data process | 2023
OutageStatus | text(3) | Domain | Yes | Included | N/A - Included | N/A
IgnitionNotes | text(100) |  | No | Data not available in Q4 | Need to create new data process | 2023
HFTDClass | text(10) | Domain | Yes | Included | N/A - Included | N/A
County | text(50) |  | Yes | Included | N/A - Included | N/A
District | text(100) |  | Yes | Included | N/A - Included | N/A
Transmission Unplanned Outage
SubstationID | text(50) | FK | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
BasicCause | text(30) | Domain | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
BasicCauseComment | text(50) |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
BasicCauseObject | text(30) | Domain | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
BasicCauseObjectComment | text(50) |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
DamagedDevice | text(30) | Domain | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
DamagedDeviceComment | text(50) |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
ExpulsionFuseOperation | text(3) | Domain | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
OutageDescription | text(100) |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
EventYear | integer |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
OutageStartDateTime | date |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
OutageEndDateTime | date |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
OutageDuration | float |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
CustomerMinutesInterrupted | float |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
CustomersOutMomentary | integer |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
CustomersOutSustained | integer |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
CustomerCount | integer |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
OutageInterval | text(30) | Domain | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
OutageIntervalAlternativeDefinition | text(30) |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
AssociatedNominalVoltagekV | float |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
AssociatedOperatingVoltagekV | float |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
OtherCompanies | text(150) |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
OutageClass | text(30) |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
RecloserSetting | text(30) | Domain | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
IsolationDeviceType | text(30) | Domain | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
IsolationDeviceTypeComment | text(30) |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
MajorEventDay | text(3) | Domain | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
HFTDClass | text(10) | Domain | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
LocationOrAddress | text(100) |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
County | text(50) |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
District | text(100) |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
Transmission Vegetation Caused Unplanned Outage
ToutageID | text(50) | FK | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
VmOutageDescription | text(100) |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
InspectionDate | date |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
VegetationGenus | text(30) |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
VegetationSpecies | text(30) |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
VegetationCommonName | text(50) |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
TreeHeight | integer |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
TreeDiameter | integer |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
TreeTrunkDistance | integer |  | No | No transmission outages Q4 2022 | N/A - No transmission outages Q4 2022 | N/A
Distribution Unplanned Outage
SubstationID | text(50) | FK | Yes | Included | N/A - Included | N/A
BasicCause | text(30) | Domain | Yes | Included | N/A - Included | N/A
BasicCauseComment | text(50) |  | Yes | Included | N/A - Included | N/A
BasicCauseObject | text(30) | Domain | Yes | Included | N/A - Included | N/A
BasicCauseObjectComment | text(50) |  | Yes | Included | N/A - Included | N/A
DamagedDevice | text(30) | Domain | Yes | Included | N/A - Included | N/A
DamagedDeviceComment | text(50) |  | Yes | Included | N/A - Included | N/A
ExpulsionFuseOperation | text(3) |  | Yes | Included | N/A - Included | N/A
OutageDescription | text(100) |  | No | Do not have; Not required | N/A - not required | N/A
EventYear | integer |  | Yes | Included | N/A - Included | N/A
OutageStartDateTime | date |  | Yes | Included | N/A - Included | N/A
OutageEndDateTime | date |  | Yes | Included | N/A - Included | N/A
OutageDuration | float |  | Yes | Included | N/A - Included | N/A
CustomerMinutesInterrupted | float |  | Yes | Included | N/A - Included | N/A
CustomersOutMomentary | integer |  | Yes | Included | N/A - Included | N/A
CustomersOutSustained | integer |  | Yes | Included | N/A - Included | N/A
CustomerCount | integer |  | Yes | Included | N/A - Included | N/A
OutageInterval | text(30) | Domain | Yes | Included | N/A - Included | N/A
OutageIntervalAlternativeDefinition | text(30) |  | Yes | Included | N/A - Included | N/A
AssociatedNominalVoltagekV | text(10) |  | Yes | Included | N/A - Included | N/A
AssociatedOperatingVoltagekV | text(10) |  | Yes | Included | N/A - Included | N/A
OtherCompanies | text(150) |  | Yes | Included | N/A - Included | N/A
OutageClass | text(30) |  | Yes | Included | N/A - Included | N/A
RecloserSetting | text(30) | Domain | Yes | Included | N/A - Included | N/A
IsolationDeviceType | text(30) | Domain | Yes | Included | N/A - Included | N/A
IsolationDeviceTypeComment | text(30) |  | Yes | Included | N/A - Included | N/A
MajorEventDay | text(3) |  | Yes | Included | N/A - Included | N/A
HFTDClass | text(10) | Domain | Yes | Included | N/A - Included | N/A
LocationOrAddress | text(100) |  | Yes | Included | N/A - Included | N/A
County | text(50) |  | Yes | Included | N/A - Included | N/A
District | text(100) |  | Yes | Included | N/A - Included | N/A
Distribution Vegetation Caused Unplanned Outage
DoutageID | text(50) | FK | Yes | Included | N/A - Included | N/A
VmOutageDescription | text(100) |  | No | Data not available in Q4 | Need to create new data process | 2023
InspectionDate | date |  | No | Data not available in Q4 | Need to create new data process | 2023
VegetationGenus | text(30) |  | No | Data not available in Q4 | Need to create new data process | 2023
VegetationSpecies | text(30) |  | No | Data not available in Q4 | Need to create new data process | 2023
VegetationCommonName | text(50) |  | No | Data not available in Q4 | Need to create new data process | 2023
TreeHeight | integer |  | No | Data not available in Q4 | Need to create new data process | 2023
TreeDiameter | integer |  | No | Data not available in Q4 | Need to create new data process | 2023
TreeTrunkDistance | integer |  | No | Data not available in Q4 | Need to create new data process | 2023
Risk Event Asset Log
WireDownID | text(50) | FK | Yes | Included | N/A - Included | N/A
FromDeviceID | text(50) | FK | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
ToDeviceID | text(50) | FK | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
IgnitionID | text(50) | FK | Yes | Included | N/A - Included | N/A
StationID | text(50) | FK | Yes | Included | N/A - Included | N/A
ToutageID | text(50) | FK | Yes | Included | N/A - Included | N/A
TvmOutageID | text(50) | FK | Yes | Included | N/A - Included | N/A
DoutageID | text(50) | FK | Yes | Included | N/A - Included | N/A
DvmOutageID | text(50) | FK | Yes | Included | N/A - Included | N/A
IsolationDeviceID | text(50) | FK | Yes | Included | N/A - Included | N/A
DamagedDeviceID | text(50) | FK | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2023
AssetID | text(50) | FK | Yes | Included | N/A - Included | N/A
CircuitID | text(50) | FK | Yes | Included | N/A - Included | N/A
SubstationID | text(50) | FK | Yes | Included | N/A - Included | N/A
Risk Event Photo Log
PhotoID | text(100) | PK | No | Do not have photos / data | Would need to add resources, tools, storage, and processes to include | 2023
IgnitionID | text(50) | FK | No | Do not have photos / data | Would need to add resources, tools, storage, and processes to include | 2023
WireDownID | text(50) | FK | No | Do not have photos / data | Would need to add resources, tools, storage, and processes to include | 2023

## Initiative
OEIS QDR Spatial Data - V2.2 - Initiative
Field Name | Data Type | Characteristic | Data provided in Current Submission? (Yes/ No) | Availability Explanation | Data Procurement Actions | Estimated Delivery
Vegetation Inspection Log
VmpLogID | text(50) | FK | Yes | Included | N/A | N/A
ChangeOrder | text(3) | Domain | No | No Change Order for Vegetation Inspections | N/A | N/A
ChangeOrderDate | date |  | No | No Change Order for Vegetation Inspections | N/A | N/A
ChangeOrderType | text(30) | Domain | No | No Change Order for Vegetation Inspections | N/A | N/A
ChangeOrderTypeComment | text(100) |  | No | No Change Order for Vegetation Inspections | N/A | N/A
InspectionStartDate | date |  | Yes | Included | N/A - Included | N/A
InspectionEndDate | date |  | Yes | Included | N/A - Included | N/A
InspectionType | text(50) | Domain | Yes | Included | N/A - Included | N/A
InspectionTypeComment | text(120) |  | Yes | Included | N/A - Included | N/A
InspectionQA | text(3) | Domain | Yes | Included | N/A - Included | N/A
CommercialHarvest | text(10) | Domain | Yes | Included | N/A - Included | N/A
TreeTrimCount | integer |  | Yes | Included | N/A - Included | N/A
InspectionComment | text(100) |  | No | Not Currently in GIS or tracked this way | Implement new tracking method and improve the ETL Process | 2023
InspectionMethod | text(100) | Domain | Yes | Included | N/A - Included | N/A
InspectionMethodComment | text(50) |  | Yes | Included | N/A - Included | N/A
InspectionTechnology | text(30) | Domain | Yes | Included | N/A - Included | N/A
InspectionTechnologyComment | text(30) |  | Yes | Included | N/A - Included | N/A
Vegetation Inspection Point
UtilityInitiativeTrackingID | text(50) | FK | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
AssetID | text(50) | FK | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
CircuitID | text(50) | FK | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
InspectionLocationOrAddress | text(100) |  | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
ParcelAPN | text(25) |  | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
TreeHealth | text(3) | Domain | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
VegetationGenus | text(30) |  | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
VegetationSpecies | text(30) |  | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
VegetationCommonName | text(50) |  | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
TreeHeight | integer |  | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
TreeDiameter | integer |  | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
TreeDistance | integer |  | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
WMPInitiativeCategory | text(50) | Domain | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
WMPInitiativeActivity | text(150) |  | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
WMPSection | text(15) |  | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
WMPPageNumber | integer |  | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
InspectionStatus | text(30) | Domain | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
InitiativeTarget | float |  | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
QuarterlyProgress | float |  | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
CumulativeProgress | float |  | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
InitiativeTargetUnits | text(50) |  | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
HFTDClass | text(10) | Domain | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
County | text(50) |  | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
District | text(100) |  | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A
Vegetation Inspection Line
UtilityInitiativeTrackingID | text(50) | FK | Yes | Included | N/A - Included | N/A
AssetID | text(50) | FK | No | Not Currently in GIS or tracked this way | Implement new tracking method and improve the ETL Process | 2023
CircuitID | text(50) | FK | Yes | Included | N/A - Included | N/A
InspectionLocationOrAddress | text(100) |  | Yes | Included | N/A - Included | N/A
WMPInitiativeCategory | text(50) | Domain | Yes | Included | N/A - Included | N/A
WMPInitiativeActivity | text(150) |  | Yes | Included | N/A - Included | N/A
WMPSection | text(15) |  | Yes | Included | N/A - Included | N/A
WMPPageNumber | integer |  | Yes | Included | N/A - Included | N/A
InspectionStatus | text(30) | Domain | Yes | Included | N/A - Included | N/A
InitiativeTarget | float |  | Yes | Included | N/A - Included | N/A
QuarterlyProgress | float |  | Yes | Included | N/A - Included | N/A
CumulativeProgress | float |  | Yes | Included | N/A - Included | N/A
InitiativeTargetUnits | text(50) |  | Yes | Included | N/A - Included | N/A
HFTDClass | text(10) | Domain | Yes | Included | N/A - Included | N/A
HFTDClassComment | text(50) |  | Yes | Included | N/A - Included | N/A
County | text(50) |  | Yes | Included | N/A - Included | N/A
District | text(100) |  | Yes | Included | N/A - Included | N/A
Vegetation Inspection Polygon
UtilityInitiativeTrackingID | text(50) | FK | No | Vegetation management inspections are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
CircuitID | text(50) | FK | No | Vegetation management inspections are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
InspectionLocationOrAddress | text(100) |  | No | Vegetation management inspections are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
WMPInitiativeCategory | text(50) | Domain | No | Vegetation management inspections are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
WMPInitiativeActivity | text(150) |  | No | Vegetation management inspections are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
WMPSection | text(15) |  | No | Vegetation management inspections are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
WMPPageNumber | integer |  | No | Vegetation management inspections are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
InspectionStatus | text(30) | Domain | No | Vegetation management inspections are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
InitiativeTarget | float |  | No | Vegetation management inspections are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
QuarterlyProgress | float |  | No | Vegetation management inspections are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
CumulativeProgress | float |  | No | Vegetation management inspections are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
InitiativeTargetUnits | text(50) |  | No | Vegetation management inspections are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
HFTDClass | text(10) | Domain | No | Vegetation management inspections are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
HFTDClassComment | text(50) |  | No | Vegetation management inspections are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
County | text(50) |  | No | Vegetation management inspections are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
District | text(100) |  | No | Vegetation management inspections are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
Vegetation Management Project Log
ChangeOrder | text(3) | Domain | No | Included | N/A - Included | N/A
ChangeOrderDate | date |  | No | Included | N/A - Included | N/A
ChangeOrderType | text(30) | Domain | No | Included | N/A - Included | N/A
ChangeOrderTypeComment | text(100) |  | No | Included | N/A - Included | N/A
DescriptionOfWork | text(100) |  | No | Not Currently in GIS or tracked this way | Implement new tracking method and improve the ETL Process | 2023
StartDate | date |  | Yes | Included | N/A - Included | N/A
EndDate | date |  | Yes | Included | N/A - Included | N/A
CoastalRedwoodExemption | text(3) | Domain | Yes | Included | N/A - Included | N/A
EncroachPermit | text(3) | Domain | No | Not Currently in GIS or tracked this way | Implement new tracking method and improve the ETL Process | 2023
EnvPermit | text(3) | Domain | No | Not Currently in GIS or tracked this way | Implement new tracking method and improve the ETL Process | 2023
EnvPermitProject | text(100) |  | No | Not Currently in GIS or tracked this way | Implement new tracking method and improve the ETL Process | 2023
CALFIREHdNumber | text(35) |  | No | Not Currently in GIS or tracked this way | Implement new tracking method and improve the ETL Process | 2023
OtherEnvPermitDocumentation | text(50) |  | No | Not Currently in GIS or tracked this way | Implement new tracking method and improve the ETL Process | 2023
CommercialHarvest | text(10) |  | Yes | Included | N/A - Included | N/A
SlashManagement | text(20) | Domain | No | Not Currently in GIS or tracked this way | Implement new tracking method and improve the ETL Process | 2023
SlashManagementComments | text(30) |  | No | Not Currently in GIS or tracked this way | Implement new tracking method and improve the ETL Process | 2023
FireResponsibility | text(50) | Domain | Yes | Included | N/A - Included | N/A
CaltransProp | text(3) | Domain | No | Not Currently in GIS or tracked this way | Implement new tracking method and improve the ETL Process | 2023
TreeTrimCountPlanned | integer |  | Yes | Included | N/A - Included | N/A
TreeTrimAcreagePlanned | float |  | Yes | Included | N/A - Included | N/A
TreeRemovalCountPlanned | integer |  | Yes | Included | N/A - Included | N/A
TreeRemovalAcreagePlanned | float |  | Yes | Included | N/A - Included | N/A
TreeTrimCountActl | integer |  | Yes | Included | N/A - Included | N/A
TreeTrimAcreageActl | float |  | Yes | Included | N/A - Included | N/A
TreeRemovalCountActl | integer |  | Yes | Included | N/A - Included | N/A
TreeRemovalAcreageActl | float |  | Yes | Included | N/A - Included | N/A
VegetationTreatmentType | text(50) | Domain | Yes | Included | N/A - Included | N/A
VegetationTreatmentTypeComment | text(50) |  | Yes | Included | N/A - Included | N/A
WoodDestination | text(20) |  | No | Not Currently in GIS or tracked this way | Implement new tracking method and improve the ETL Process | 2023
WoodDestinationComment | text(60) |  | No | Not Currently in GIS or tracked this way | Implement new tracking method and improve the ETL Process | 2023
Vegetation Management Project Point
UtilityInitiativeTrackingID | text(50) | FK | No | Not Currently in GIS or tracked this way | N/A | N/A
AssetID | text(50) | FK | No | Not Currently in GIS or tracked this way | N/A | N/A
CircuitID | text(50) | FK | No | Not Currently in GIS or tracked this way | N/A | N/A
ProjectLocationOrAddress | text(100) |  | No | Not Currently in GIS or tracked this way | N/A | N/A
ParcelAPN | text(25) |  | No | Not Currently in GIS or tracked this way | N/A | N/A
TreeID | text(50) |  | No | Not Currently in GIS or tracked this way | N/A | N/A
TreeHealth | text(3) | Domain | No | Not Currently in GIS or tracked this way | N/A | N/A
TreeHazard | text(3) | Domain | No | Not Currently in GIS or tracked this way | N/A | N/A
VegetationGenus | text(30) |  | No | Not Currently in GIS or tracked this way | N/A | N/A
VegetationSpecies | text(30) |  | No | Not Currently in GIS or tracked this way | N/A | N/A
VegetationCommonName | text(50) |  | No | Not Currently in GIS or tracked this way | N/A | N/A
SpeciesGrowthRate | text(30) | Domain | No | Not Currently in GIS or tracked this way | N/A | N/A
TreeHeight | integer |  | No | Not Currently in GIS or tracked this way | N/A | N/A
TreeDiameter | integer |  | No | Not Currently in GIS or tracked this way | N/A | N/A
LineDeenergized | text(3) | Domain | No | Not Currently in GIS or tracked this way | N/A | N/A
WMPInitiativeCategory | text(50) | Domain | No | Not Currently in GIS or tracked this way | N/A | N/A
WMPInitiativeActivity | text(150) |  | No | Not Currently in GIS or tracked this way | N/A | N/A
WMPSection | text(15) |  | No | Not Currently in GIS or tracked this way | N/A | N/A
WMPPageNumber | integer |  | No | Not Currently in GIS or tracked this way | N/A | N/A
VmpStatus | text(30) | Domain | No | Not Currently in GIS or tracked this way | N/A | N/A
HerbicideUse | text(3) | Domain | No | Not Currently in GIS or tracked this way | N/A | N/A
HerbicideName | text(100) |  | No | Not Currently in GIS or tracked this way | N/A | N/A
InitiativeTarget | float |  | No | Not Currently in GIS or tracked this way | N/A | N/A
QuarterlyProgress | float |  | No | Not Currently in GIS or tracked this way | N/A | N/A
CumulativeProgress | float |  | No | Not Currently in GIS or tracked this way | N/A | N/A
InitiativeTargetUnits | text(50) |  | No | Not Currently in GIS or tracked this way | N/A | N/A
HFTDClass | text(10) | Domain | No | Not Currently in GIS or tracked this way | N/A | N/A
County | text(50) |  | No | Not Currently in GIS or tracked this way | N/A | N/A
District | text(100) |  | No | Not Currently in GIS or tracked this way | N/A | N/A
Vegetation Management Project Line
UtilityInitiativeTrackingID | text(50) | FK | Yes | Included | N/A - Included | N/A
AssetID | text(50) | FK | No | Not Currently in GIS or tracked this way | Implement new tracking method and imprive the ETL Process | 2023
CircuitID | text(50) | FK | Yes | Included | N/A - Included | N/A
ProjectLocationOrAddress | text(100) |  | Yes | Included | N/A - Included | N/A
LineDeenergized | text(3) | Domain | Yes | Included | N/A - Included | N/A
WMPInitiativeCategory | text(50) | Domain | Yes | Included | N/A - Included | N/A
WMPInitiativeActivity | text(150) |  | Yes | Included | N/A - Included | N/A
WMPSection | text(15) |  | Yes | Included | N/A - Included | N/A
WMPPageNumber | integer |  | Yes | Included | N/A - Included | N/A
VmpStatus | text(30) | Domain | Yes | Included | N/A - Included | N/A
HerbicideUse | text(3) | Domain | No | Not Currently in GIS or tracked this way | Implement new tracking method and imprive the ETL Process | 2023
HerbicideName | text(100) |  | No | Not Currently in GIS or tracked this way | Implement new tracking method and imprive the ETL Process | 2023
InitiativeTarget | float |  | Yes | Included | N/A - Included | N/A
QuarterlyProgress | float |  | Yes | Included | N/A - Included | N/A
CumulativeProgress | float |  | Yes | Included | N/A - Included | N/A
InitiativeTargetUnits | text(50) |  | Yes | Included | N/A - Included | N/A
HFTDClass | text(10) | Domain | Yes | Included | N/A - Included | N/A
HFTDClassComment | text(50) |  | Yes | Included | N/A - Included | N/A
County | text(50) |  | Yes | Included | N/A - Included | N/A
District | text(100) |  | Yes | Included | N/A - Included | N/A
Vegetation Management Project Polygon
UtilityInitiativeTrackingID | text(50) | FK | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
CircuitID | text(50) | FK | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
ProjectLocationOrAddress | text(100) |  | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
LineDeenergized | text(3) | Domain | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
WMPInitiativeCategory | text(50) | Domain | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
WMPInitiativeActivity | text(150) |  | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
WMPSection | text(15) |  | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
WMPPageNumber | integer |  | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
VmpStatus | text(30) | Domain | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
HerbicideUse | text(3) | Domain | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
HerbicideName | text(100) |  | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
InitiativeTarget | float |  | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
QuarterlyProgress | float |  | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
CumulativeProgress | float |  | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
InitiativeTargetUnits | text(50) |  | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
HFTDClass | text(10) | Domain | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
HFTDClassComment | text(50) |  | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
County | text(50) |  | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
District | text(100) |  | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A
Asset Inspection Log
VmpLogID | text(50) | FK | Yes | Included | N/A-Included | N/A
ChangeOrder | text(3) | Domain | No | No Change Order for Asset Inspections | N/A | N/A
ChangeOrderDate | date |  | No | No Change Order for Asset Inspections | N/A | N/A
ChangeOrderType | text(30) | Domain | No | No Change Order for Asset Inspections | N/A | N/A
ChangeOrderTypeComment | text(100) |  | No | No Change Order for Asset Inspections | N/A | N/A
InspectionStartDate | date |  | Yes | Included | N/A-Included | N/A
InspectionEndDate | date |  | Yes | Included | N/A-Included | N/A
PerformedBy | text(30) | Domain | Yes | Included | N/A-Included | N/A
PerformedByComment | text(30) |  | Yes | Included | N/A-Included | N/A
InspectionType | text(30) | Domain | Yes | Included | N/A-Included | N/A
InspectionTypeComment | text(30) |  | Yes | Included | N/A-Included | N/A
InspectionQA | text(3) | Domain | Yes | Included | N/A-Included | N/A
InspectionComment | text(100) |  | Yes | Included | N/A-Included | N/A
ComplianceFinding | text(3) | Domain | Yes | Included | N/A-Included | N/A
InspectionMethod | text(100) | Domain | Yes | Included | N/A-Included | N/A
InspectionMethodComment | text(50) |  | Yes | Included | N/A-Included | N/A
InspectionTechnology | text(30) | Domain | Yes | Included | N/A-Included | N/A
InspectionTechnologyComment | text(30) |  | Yes | Included | N/A-Included | N/A
Asset Inspection Point
UtilityInitiativeTrackingID | text(50) | FK | Yes | Included | N/A-Included | N/A
AssetID | text(50) | FK | Yes | Included | N/A-Included | N/A
CircuitID | text(50) | FK | Yes | Included | N/A-Included | N/A
InspectionLocationOrAddress | text(100) |  | Yes | Included | N/A-Included | N/A
ParcelAPN | text(25) |  | Yes | Included | N/A-Included | N/A
WMPInitiativeCategory | text(50) | Domain | Yes | Included | N/A-Included | N/A
WMPInitiativeActivity | text(150) |  | Yes | Included | N/A-Included | N/A
WMPSection | text(15) |  | Yes | Included | N/A-Included | N/A
WMPPageNumber | integer |  | Yes | Included | N/A-Included | N/A
InspectionStatus | text(30) | Domain | Yes | Included | N/A-Included | N/A
InitiativeTarget | float |  | Yes | Included | N/A-Included | N/A
QuarterlyProgress | float |  | Yes | Included | N/A-Included | N/A
CumulativeProgress | float |  | Yes | Included | N/A-Included | N/A
InitiativeTargetUnits | text(50) |  | Yes | Included | N/A-Included | N/A
HFTDClass | text(10) | Domain | Yes | Included | N/A-Included | N/A
County | text(50) |  | Yes | Included | N/A-Included | N/A
District | text(100) |  | Yes | Included | N/A-Included | N/A
Asset Inspection Line
UtilityInitiativeTrackingID | text(50) | FK | Yes | Included | N/A-Included | N/A
AssetID | text(50) | FK | Yes | Included | N/A-Included | N/A
CircuitID | text(50) | FK | Yes | Included | N/A-Included | N/A
InspectionLocationOrAddress | text(100) |  | Yes | Included | N/A-Included | N/A
WMPInitiativeCategory | text(50) | Domain | Yes | Included | N/A-Included | N/A
WMPInitiativeActivity | text(150) |  | Yes | Included | N/A-Included | N/A
WMPSection | text(15) |  | Yes | Included | N/A-Included | N/A
WMPPageNumber | integer |  | Yes | Included | N/A-Included | N/A
InspectionStatus | text(30) | Domain | Yes | Included | N/A-Included | N/A
InitiativeTarget | float |  | Yes | Included | N/A-Included | N/A
QuarterlyProgress | float |  | Yes | Included | N/A-Included | N/A
CumulativeProgress | float |  | Yes | Included | N/A-Included | N/A
InitiativeTargetUnits | text(50) |  | Yes | Included | N/A-Included | N/A
HFTDClass | text(10) | Domain | Yes | Included | N/A-Included | N/A
HFTDClassComment | text(50) |  | Yes | Included | N/A-Included | N/A
County | text(50) |  | Yes | Included | N/A-Included | N/A
District | text(100) |  | Yes | Included | N/A-Included | N/A
Asset Inspection Polygon
UtilityInitiativeTrackingID | text(50) | FK | Yes | Included | N/A-Included | N/A
CircuitID | text(50) | FK | Yes | Included | N/A-Included | N/A
WMPInitiativeCategory | text(50) | Domain | Yes | Included | N/A-Included | N/A
WMPInitiativeActivity | text(150) |  | Yes | Included | N/A-Included | N/A
WMPSection | text(15) |  | Yes | Included | N/A-Included | N/A
WMPPageNumber | integer |  | Yes | Included | N/A-Included | N/A
InspectionStatus | text(30) | Domain | Yes | Included | N/A-Included | N/A
InitiativeTarget | float |  | Yes | Included | N/A-Included | N/A
QuarterlyProgress | float |  | Yes | Included | N/A-Included | N/A
CumulativeProgress | float |  | Yes | Included | N/A-Included | N/A
InitiativeTargetUnits | text(50) |  | Yes | Included | N/A-Included | N/A
HFTDClass | text(10) | Domain | Yes | Included | N/A-Included | N/A
HFTDClassComment | text(50) |  | Yes | Included | N/A-Included | N/A
County | text(50) |  | Yes | Included | N/A-Included | N/A
District | text(100) |  | Yes | Included | N/A-Included | N/A
Grid Hardening Log
AiLogID | text(50) | FK | Yes | Included | N/A - Included | N/A
ChangeOrder | text(3) | Domain | No | No Change Order for GH | N/A | N/A
ChangeOrderDate | date |  | No | No Change Order for GH | N/A | N/A
ChangeOrderType | text(30) | Domain | No | No Change Order for GH | N/A | N/A
ChangeOrderTypeComment | text(100) |  | No | No Change Order for GH | N/A | N/A
StartDate | date |  | Yes | Included | N/A - Included | N/A
EndDate | date |  | Yes | Included | N/A - Included | N/A
LineDeenergized | text(3) | Domain | Yes | Included | N/A - Included | N/A
PerformedBy | text(30) | Domain | Yes | Included | N/A - Included | N/A
PerformedByComment | text(30) |  | Yes | Included | N/A - Included | N/A
Grid Hardening Point
UtilityInitiativeTrackingID | text(50) | FK | Yes | Included | N/A - Included | N/A
AssetID | text(50) | FK | Yes | Included | N/A - Included | N/A
AssetOHUG | text(30) | Domain | Yes | Included | N/A - Included | N/A
CircuitID | text(50) | FK | Yes | Included | N/A - Included | N/A
GridHardeningLocationOrAddress | text(100) |  | Yes | Included | N/A - Included | N/A
ParcelAPN | text(25) |  | Yes | Included | N/A - Included | N/A
WMPInitiativeCategory | text(50) | Domain | Yes | Included | N/A - Included | N/A
WMPInitiativeActivity | text(150) |  | Yes | Included | N/A - Included | N/A
WMPSection | text(15) |  | Yes | Included | N/A - Included | N/A
WMPPageNumber | integer |  | Yes | Included | N/A - Included | N/A
GhStatus | text(30) | Domain | Yes | Included | N/A - Included | N/A
InitiativeTarget | float |  | Yes | Included | N/A - Included | N/A
QuarterlyProgress | float |  | Yes | Included | N/A - Included | N/A
CumulativeProgress | float |  | Yes | Included | N/A - Included | N/A
InitiativeTargetUnits | text(50) |  | Yes | Included - Note, fault indicators are denoted in terms of location versus number of units. | N/A - Included | N/A
HFTDClass | text(10) | Domain | Yes | Included | N/A - Included | N/A
County | text(50) |  | Yes | Included | N/A - Included | N/A
District | text(100) |  | Yes | Included | N/A - Included | N/A
Grid Hardening Line
UtilityInitiativeTrackingID | text(50) | FK | Yes | Included | N/A - Included | N/A
AssetID | text(50) | FK | Yes | Included | N/A - Included | N/A
AssetOHUG | text(30) | Domain | Yes | Included | N/A - Included | N/A
CircuitID | text(50) | FK | Yes | Included | N/A - Included | N/A
GridHardeningLocationOrAddress | text(100) |  | Yes | Included | N/A - Included | N/A
WMPInitiativeCategory | text(50) | Domain | Yes | Included | N/A - Included | N/A
WMPInitiativeActivity | text(150) |  | Yes | Included | N/A - Included | N/A
WMPSection | text(15) |  | Yes | Included | N/A - Included | N/A
WMPPageNumber | integer |  | Yes | Included | N/A - Included | N/A
GhStatus | text(30) | Domain | Yes | Included | N/A - Included | N/A
InitiativeTarget | float |  | Yes | Included | N/A - Included | N/A
QuarterlyProgress | float |  | Yes | Included | N/A - Included | N/A
CumulativeProgress | float |  | Yes | Included | N/A - Included | N/A
InitiativeTargetUnits | text(50) |  | Yes | Included | N/A - Included | N/A
HFTDClass | text(10) | Domain | Yes | Included | N/A - Included | N/A
HFTDClassComment | text(50) |  | Yes | Included | N/A - Included | N/A
County | text(50) |  | Yes | Included | N/A - Included | N/A
District | text(100) |  | Yes | Included | N/A - Included | N/A
Other Initiative Log
ChangeOrder | text(3) | Domain | No | No Other Initiatives | No Other Initiatives | N/A
ChangeOrderDate | date |  | No | No Other Initiatives | No Other Initiatives | N/A
ChangeOrderType | text(30) | Domain | No | No Other Initiatives | No Other Initiatives | N/A
ChangeOrderTypeComment | text(100) |  | No | No Other Initiatives | No Other Initiatives | N/A
StartDate | date |  | No | No Other Initiatives | No Other Initiatives | N/A
EndDate | date |  | No | No Other Initiatives | No Other Initiatives | N/A
OiComment | text(100) |  | No | No Other Initiatives | No Other Initiatives | N/A
Other Initiative Point
UtilityInitiativeTrackingID | text(50) | FK | No | No Other Initiatives | No Other Initiatives | N/A
LocationOrAddress | text(100) |  | No | No Other Initiatives | No Other Initiatives | N/A
WMPInitiativeCategory | text(50) | Domain | No | No Other Initiatives | No Other Initiatives | N/A
WMPInitiativeActivity | text(150) |  | No | No Other Initiatives | No Other Initiatives | N/A
WMPSection | text(15) |  | No | No Other Initiatives | No Other Initiatives | N/A
WMPPageNumber | integer |  | No | No Other Initiatives | No Other Initiatives | N/A
OiStatus | text(30) | Domain | No | No Other Initiatives | No Other Initiatives | N/A
InitiativeTarget | float |  | No | No Other Initiatives | No Other Initiatives | N/A
QuarterlyProgress | float |  | No | No Other Initiatives | No Other Initiatives | N/A
CumulativeProgress | float |  | No | No Other Initiatives | No Other Initiatives | N/A
InitiativeTargetUnits | text(50) |  | No | No Other Initiatives | No Other Initiatives | N/A
County | text(50) |  | No | No Other Initiatives | No Other Initiatives | N/A
District | text(100) |  | No | No Other Initiatives | No Other Initiatives | N/A
Other Initiative Line
UtilityInitiativeTrackingID | text(50) | FK | No | No Other Initiatives | No Other Initiatives | N/A
LocationOrAddress | text(100) |  | No | No Other Initiatives | No Other Initiatives | N/A
WMPInitiativeCategory | text(50) | Domain | No | No Other Initiatives | No Other Initiatives | N/A
WMPInitiativeActivity | text(150) |  | No | No Other Initiatives | No Other Initiatives | N/A
WMPSection | text(15) |  | No | No Other Initiatives | No Other Initiatives | N/A
WMPPageNumber | integer |  | No | No Other Initiatives | No Other Initiatives | N/A
OiStatus | text(30) | Domain | No | No Other Initiatives | No Other Initiatives | N/A
InitiativeTarget | float |  | No | No Other Initiatives | No Other Initiatives | N/A
QuarterlyProgress | float |  | No | No Other Initiatives | No Other Initiatives | N/A
CumulativeProgress | float |  | No | No Other Initiatives | No Other Initiatives | N/A
InitiativeTargetUnits | text(50) |  | No | No Other Initiatives | No Other Initiatives | N/A
County | text(50) |  | No | No Other Initiatives | No Other Initiatives | N/A
District | text(100) |  | No | No Other Initiatives | No Other Initiatives | N/A
Other Initiative Polygon
UtilityInitiativeTrackingID | text(50) | FK | No | No Other Initiatives | No Other Initiatives | N/A
LocationOrAddress | text(100) |  | No | No Other Initiatives | No Other Initiatives | N/A
WMPInitiativeCategory | text(50) | Domain | No | No Other Initiatives | No Other Initiatives | N/A
WMPInitiativeActivity | text(150) |  | No | No Other Initiatives | No Other Initiatives | N/A
WMPSection | text(15) |  | No | No Other Initiatives | No Other Initiatives | N/A
WMPPageNumber | integer |  | No | No Other Initiatives | No Other Initiatives | N/A
OiStatus | text(30) | Domain | No | No Other Initiatives | No Other Initiatives | N/A
QuarterlyProgress | float |  | No | No Other Initiatives | No Other Initiatives | N/A
CumulativeProgress | float |  | No | No Other Initiatives | No Other Initiatives | N/A
InitiativeProgress | float |  | No | No Other Initiatives | No Other Initiatives | N/A
InitiativeTargetUnits | text(50) |  | No | No Other Initiatives | No Other Initiatives | N/A
County | text(50) |  | No | No Other Initiatives | No Other Initiatives | N/A
District | text(100) |  | No | No Other Initiatives | No Other Initiatives | N/A
Initiative Photo Log
PhotoID | text(100) | PK | No | Photo capture is not part of standard procedure at this time - no photos available | Amend process to capture and store photos | 2023
UtilityID | text(10) | Domain | No | Photo capture is not part of standard procedure at this time - no photos available | Amend process to capture and store photos | 2023
PhotoBeforeID | text(100) | PK | No | Photo capture is not part of standard procedure at this time - no photos available | Amend process to capture and store photos | 2023
PhotoAfterID | text(100) | PK | No | Photo capture is not part of standard procedure at this time - no photos available | Amend process to capture and store photos | 2023
VmpID | text(50) | FK | No | Photo capture is not part of standard procedure at this time - no photos available | Amend process to capture and store photos | 2023
VmiID | text(50) | FK | No | Photo capture is not part of standard procedure at this time - no photos available | Amend process to capture and store photos | 2023
AiID | text(50) | FK | No | Photo capture is not part of standard procedure at this time - no photos available | Amend process to capture and store photos | 2023
GhID | text(50) | FK | No | Photo capture is not part of standard procedure at this time - no photos available | Amend process to capture and store photos | 2023
OiID | text(50) | FK | No | Photo capture is not part of standard procedure at this time - no photos available | Amend process to capture and store photos | 2023
FromDeviceID | text(50) | FK | No | Photo capture is not part of standard procedure at this time - no photos available | Amend process to capture and store photos | 2023
ToDeviceID | text(50) | FK | No | Photo capture is not part of standard procedure at this time - no photos available | Amend process to capture and store photos | 2023

## Other Required Data
OEIS QDR Spatial Data - V2.2 - Other Required Data
Field Name | Data Type | Characteristic | Data provided in Current Submission? (Yes/ No) | Availability Explanation | Data Procurement Actions | Estimated Delivery
Other Power Line Connection Location
OtherLineOwner | text(100) |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
ConnectionAsset | text(100) |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
ConnectionPointAssetID | text(50) | FK | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
CorporationLineID | text(50) | FK | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
OtherLineClass | text(30) | Domain | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
HFTDClass | text(10) | Domain | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
County | text(50) |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
OtherConductorType | text(30) | Domain | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
ConnectionType | text(30) | Domain | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
ConnectionOHUG | text(50) | Domain | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
OtherNominalVoltagekV | float |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
OtherOperatingVoltagekV | float |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
OtherConductorMaterial | text(100) | Domain | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
OtherConductorMaterialComment | text(50) |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
OtherConductorSize | text(30) |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
OtherConductorOD | float |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
ConnectionLastInspectionDate | date |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
ConnectionLastMaintenanceDate | date |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
ConnectionEstablishmentDate | date |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
ConnectionEstablishmentYear | integer |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
EstimatedConnectionAge | text(10) | Domain | No | Do not have this data | Unknown | 2023
OtherUsefulLifespan | integer |  | No | Do not have this data | Unknown | 2023
OtherAmpacityRating | float |  | No | Do not have this data | Unknown | 2023
OtherLineGreased | text(10) | Domain | No | Do not have this data | Unknown | 2023
ConnectionComments | text(100) |  | No | Do not have this data | Unknown | 2023
Critical Facility
FacilityName | text(100) |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
FacilityCategory | text(30) | Domain | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
FacilityCategoryComment | text(30) |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
FacilityDescription | text(50) |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
CircuitID | text(50) |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
MeterID | text(50) |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
BackupPower | text(10) | Domain | No | Data does not exist - inventory required | Physical inventory of system consistent with data requirements would be required following completion of data translation and extraction process | 2023
BackupType | text(30) | Domain | No | Data does not exist - inventory required | Physical inventory of system consistent with data requirements would be required following completion of data translation and extraction process | 2023
BackupTypeComment | text(30) |  | No | Data does not exist - inventory required | Physical inventory of system consistent with data requirements would be required following completion of data translation and extraction process | 2023
BackupCapacity | float |  | No | Data does not exist - inventory required | Physical inventory of system consistent with data requirements would be required following completion of data translation and extraction process | 2023
PopulationImpact | integer |  | No | Data does not exist - inventory required | Physical inventory of system consistent with data requirements would be required following completion of data translation and extraction process | 2023
HFTDClass | text(10) | Domain | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
PSPSDays | integer |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
ParcelAPN | text(25) |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
Address | text(100) |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
City | text(50) |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
Zip | text(5) |  | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2023
Red Flag Warning Day Polygon
FireWeatherZoneID | text(50) |  | No | Data not stored in GIS | Need to make adjustments to the ETL Process | 2023
FireWeatherZoneName | text(30) |  | No | Data not stored in GIS | Need to make adjustments to the ETL Process | 2023
RedFlagWarningIssueDateTime | date |  | No | Data not stored in GIS | Need to make adjustments to the ETL Process | 2023
NumberRedFlagWarningDays | float |  | No | Data not stored in GIS | Need to make adjustments to the ETL Process | 2023
Administrative Area
AreaType | text(50) |  | No | Do not have this data | Do not have this data | N/A
SubareaType | text(50) |  | No | Do not have this data | Do not have this data | N/A
SubareaTypeComment | text(50) |  | No | Do not have this data | Do not have this data | N/A
Name | text(100) |  | No | Do not have this data | Do not have this data | N/A
Major Woody Stem Exempt Tree Point
Species | text(100) |  | Yes | Included | N/A - Included | N/A
VegetationGenus | text(30) |  | Yes | Included | N/A - Included | N/A
VegetationSpecies | text(30) |  | Yes | Included | N/A - Included | N/A
VegetationCommonName | text(50) |  | Yes | Included | N/A - Included | N/A
Quantity | integer |  | Yes | Included | N/A - Included | N/A