## Summary
2020 Notifications including those created outside of the Detailed OH Inspection Program
Count of Notification | Pole/Cap/Exp
Object Code Text | Cap | Exp | Pole | Grand Total
Pole | 19980 | 15567 | 33724 | 69271
Conductor | 8715 | 12470 | 112 | 21297
Connector | 522 | 19595 | 22 | 20139
Tree/Vine | 438 | 15314 | 1272 | 17024
High Sign | 34 | 16753 | 4 | 16791
Crossarm | 11040 | 594 | 28 | 11662
Marking | 21 | 10872 |  | 10893
Guy | 316 | 10208 | 5 | 10529
Transformer | 9904 | 259 | 32 | 10195
Anchor | 5318 | 1865 | 20 | 7203
OH Facility | 2441 | 3533 | 12 | 5986
Hardware/Framing | 135 | 2612 | 3 | 2750
Guy Marker | 14 | 2598 |  | 2612
Cutout | 2052 | 265 | 3 | 2320
Conduit | 2250 | 19 |  | 2269
Ground | 28 | 1788 | 3 | 1819
Insulator | 982 | 763 |  | 1745
Pole Step | 3 | 1670 |  | 1673
Molding | 18 | 1349 | 2 | 1369
Tie Wire | 73 | 1013 | 2 | 1088
Enclosure | 958 |  |  | 958
Jumper | 100 | 683 |  | 783
Bird Protection | 12 | 492 |  | 504
Riser/Pothead | 383 | 45 |  | 428
Animal Mitigation | 14 | 406 |  | 420
UG Facility | 393 | 3 |  | 396
Lightning Arrester | 274 | 101 |  | 375
Climbing Space | 6 | 332 |  | 338
Streetlight | 168 | 99 | 1 | 268
Switch | 120 | 91 | 1 | 212
Under-Arm Bus | 6 | 198 |  | 204
Transformer - Padmount | 139 | 13 |  | 152
Pads | 134 | 1 |  | 135
Capacitor | 43 | 35 |  | 78
Lid/Frame | 15 | 44 |  | 59
Recloser/Sectionalizer | 40 | 11 | 1 | 52
Trans_Dist Pole | 1 | 37 |  | 38
RTVI | 14 | 23 |  | 37
Booster/Regulator | 29 | 8 |  | 37
LAPP Insulator | 24 | 1 |  | 25
Fault Indicators | 22 |  |  | 22
Pedestal | 20 |  |  | 20
Connector/Splice | 9 | 9 |  | 18
Switch/J-Box | 11 | 2 |  | 13
Decorative Streetlight | 12 |  | 1 | 13
Transformer - Sub-Surface | 11 |  |  | 11
Hardware | 1 | 7 |  | 8
Vault/Manhole |  | 6 |  | 6
Steel Lattice Tower |  | 1 | 5 | 6
Steel Lattice Pole | 1 | 2 |  | 3
Elbow DB |  | 3 |  | 3
CB Pole | 1 |  | 1 | 2
SCADA/PDAC | 1 | 1 |  | 2
PMH |  | 1 |  | 1
Sleeve/Splice |  | 1 |  | 1
Interrupter | 1 |  |  | 1
Elbow LB |  | 1 |  | 1
Bail | 1 |  |  | 1
Grounds |  | 1 |  | 1
Relay | 1 |  |  | 1
Grand Total | 67249 | 121765 | 35254 | 224268