## Summary
Data as of Dec 2, 2022
Includes notifications created outside of the Detailed Overhead Inspection Program
Count of Notification | Pole/Cap/Exp
Object Code Text | Cap | Exp | Pole | Grand Total
Pole | 12341 | 28144 | 33115 | 73600
Conductor | 15492 | 14902 | 109 | 30503
Tree/Vine | 312 | 13094 | 9804 | 23210
High Sign | 61 | 21993 | 21 | 22075
Connector | 579 | 19023 | 12 | 19614
Crossarm | 14678 | 728 | 60 | 15466
Guy | 324 | 12445 | 8 | 12777
Transformer | 8762 | 252 | 11 | 9025
OH Facility | 2181 | 5469 | 8 | 7658
Anchor | 5656 | 1848 | 23 | 7527
Hardware/Framing | 119 | 2917 | 2 | 3038
Cutout | 2047 | 320 | 6 | 2373
Molding | 23 | 2207 | 3 | 2233
Pole Step | 6 | 2184 | 3 | 2193
Marking | 10 | 1928 |  | 1938
Insulator | 990 | 886 | 9 | 1885
Ground | 30 | 1834 | 1 | 1865
Tie Wire | 74 | 1132 | 2 | 1208
Conduit | 1057 | 21 |  | 1078
Enclosure | 1028 |  |  | 1028
Jumper | 94 | 828 |  | 922
Trans_Dist Pole | 4 | 705 |  | 709
Under-Arm Bus | 13 | 512 |  | 525
Bird Protection | 13 | 484 |  | 497
Animal Mitigation | 16 | 477 | 1 | 494
Streetlight | 183 | 141 | 1 | 325
Lightning Arrester | 251 | 73 |  | 324
Guy Marker | 2 | 314 |  | 316
Riser/Pothead | 257 | 48 |  | 305
Transformer - Padmount | 200 | 25 |  | 225
Switch | 103 | 82 |  | 185
Climbing Space | 7 | 150 |  | 157
Capacitor | 36 | 36 |  | 72
Recloser/Sectionalizer | 50 | 17 |  | 67
Lid/Frame | 11 | 49 |  | 60
Switch/J-Box | 48 | 2 |  | 50
Pads | 41 | 3 |  | 44
RTVI | 14 | 23 |  | 37
Booster/Regulator | 14 | 7 |  | 21
LAPP Insulator | 15 |  |  | 15
Transformer - Sub-Surface | 14 |  |  | 14
Decorative Streetlight | 14 |  |  | 14
Fault Indicators | 12 |  |  | 12
Pedestal | 7 | 4 |  | 11
Connector/Splice | 6 | 4 |  | 10
UG Facility | 1 | 3 |  | 4
Hardware |  | 4 |  | 4
Elbow DB | 2 | 1 |  | 3
PN Transformer | 2 |  |  | 2
Do Not Use | 2 |  |  | 2
Barrier Post | 1 | 1 |  | 2
PMH | 2 |  |  | 2
Mud Sill | 2 |  |  | 2
Retaining Wall | 1 | 1 |  | 2
SCADA/PDAC |  | 2 |  | 2
Vault/Manhole | 1 |  |  | 1
Interrupter | 1 |  |  | 1
Control Transfers | 1 |  |  | 1
Steel Lattice Tower |  |  | 1 | 1
Grounds |  | 1 |  | 1
PM Capacitor | 1 |  |  | 1
Exempt Lightning Arrester 1 | 1 |  |  | 1
Transformer Primary Chamber | 1 |  |  | 1
Grand Total | 67214 | 135324 | 43200 | 245738