## 12.a Dropped v2 CPZs
12.a.i | 12.a.ii | 12.a.iii | 12.a.iv | 12.a.v | 12.a.vi | 12.a.vii(1) | 12.a.vii(2) | 12.a.viii | 12.a.ix | 12.a.x(1) | 12.a.x(2)
CPZ Name | v2 Mileage | v3 HFTD Mileage | Categorization | v2 Risk Ranking (3637 HFTD CPZs) | v2 Risk Score | v2 Ignition Probability | v2 Consequence | v3 Risk Ranking (11173 Service Area CPZs) | v3 Risk Score | v3 Ignition Probability | v3 Consequence
POSO MOUNTAIN 2104CB | 5.3534 | 3.3596 | Large Consequence Shift, Large Mileage Change | 15 | 0.70423 | 0.00011189 | 5318.8037 | 1031 | 0.0021587 | 0.00034089 | 4.5287
COARSEGOLD 2104CB | 2.4277 | 2.5197 | Large Consequence Shift, Large Mileage Change | 22 | 0.59573 | 0.00013159 | 4767.3932 | 2019 | 0.00053157 | 0.00038879 | 1.3842
WYANDOTTE 110932586 | 1.3417 | 0.77971 | Large Consequence Shift, Large Mileage Change | 29 | 0.52987 | 0.00014236 | 3072.9006 | 2717 | 0.0002242 | 0.00025483 | 0.88745
POSO MOUNTAIN 2103CB | 2.3287 | 18.7401 | Large Consequence Shift, Large Mileage Change | 30 | 0.51619 | 5.421e-05 | 9615.8541 | 1458 | 0.0010527 | 0.00011486 | 9.2349
VACA DIXON 110540092 | 23.1653 | 23.3152 | Large Consequence Shift, Large Mileage Change | 37 | 0.46772 | 0.00010079 | 4668.9585 | 1554 | 0.00091401 | 0.00019349 | 5.8431
VOLTA 110149742 | 3.4766 | 3.5797 | Large Consequence Shift, Large Mileage Change | 39 | 0.46433 | 5.8016e-05 | 7932.3948 | 2016 | 0.00053274 | 0.0001369 | 3.6726
PUTAH CREEK 110246012 | 0.63713 | 0.52758 | Large Consequence Shift, Large Mileage Change | 41 | 0.45557 | 9.4944e-05 | 4755.8708 | 2031 | 0.00052598 | 0.00027815 | 1.5905
POTTER VALLEY P H 110564118 | 1.6451 | 1.2049 | Large Consequence Shift, Large Mileage Change | 43 | 0.44262 | 0.00019755 | 2096.5335 | 1733 | 0.00073797 | 0.00030231 | 3.6754
NORTH DUBLIN 2101CB | 1.7629 | 1.3758 | Large Consequence Shift, Large Mileage Change | 47 | 0.42859 | 0.00018049 | 2272.276 | 1918 | 0.00058858 | 0.00061208 | 1.0822
DESCHUTES 11049718 | 18.6049 | 15.1425 | Large Consequence Shift, Large Mileage Change | 48 | 0.42526 | 8.8629e-05 | 4802.059 | 3065 | 0.00011784 | 0.00019142 | 0.70743
OREGON TRAIL 110335002 | 57.1429 | 61.4761 | Large Consequence Shift, Large Mileage Change | 49 | 0.42185 | 0.00011631 | 3934.2214 | 2405 | 0.00034131 | 0.00023549 | 1.5183
VACA DIXON 1105965390 | 0.75147 | 0.57011 | Large Consequence Shift, Large Mileage Change | 53 | 0.41415 | 9.949e-05 | 4819.484 | 3718 | 5.9765e-05 | 0.00020878 | 0.76473
OLETA 1101754718 | 2.8841 | 3.0571 | Large Consequence Shift, Large Mileage Change | 54 | 0.40712 | 0.00013445 | 2737.1841 | 2197 | 0.00043538 | 0.00015791 | 4.0562
POTTER VALLEY P H 110495878 | 6.126 | 2.5791 | Large Consequence Shift, Large Mileage Change | 60 | 0.3965 | 0.00017374 | 2217.9989 | 2459 | 0.00032085 | 0.00029749 | 1.5217
COARSEGOLD 21045310 | 28.0892 | 28.9825 | Large Consequence Shift, Large Mileage Change | 61 | 0.39401 | 6.7329e-05 | 6694.8526 | 1416 | 0.001126 | 0.00015262 | 8.416
STAFFORD 1102361952 | 1.3652 | 1.5322 | Large Consequence Shift, Large Mileage Change | 62 | 0.39288 | 0.00011545 | 3151.4111 | 2112 | 0.0004828 | 0.00016068 | 3.0165
AUBERRY 1101CB | 18.1661 | 19.581 | Large Consequence Shift, Large Mileage Change | 63 | 0.39206 | 8.2085e-05 | 5306.8686 | 2126 | 0.00047477 | 0.00025812 | 1.814
OREGON TRAIL 11041634 | 18.0925 | 18.2344 | Large Consequence Shift, Large Mileage Change | 65 | 0.39094 | 8.4909e-05 | 4929.5026 | 2478 | 0.00031579 | 0.00021335 | 1.5212
COARSEGOLD 210410335 | 5.8229 | 6.1171 | Large Consequence Shift, Large Mileage Change | 66 | 0.39082 | 9.5888e-05 | 4247.144 | 1952 | 0.00056512 | 0.00030538 | 1.8503
PHILO 110137222 | 25.4153 | 26.0514 | Large Consequence Shift, Large Mileage Change | 70 | 0.3839 | 0.00011309 | 3498.721 | 1392 | 0.0011566 | 0.00020026 | 6.6781
RISING RIVER 11011532 | 3.8118 | 3.0674 | Large Consequence Shift, Large Mileage Change | 71 | 0.38077 | 6.5114e-05 | 6536.3281 | 1509 | 0.0009788 | 0.00011967 | 7.0484
HIGHLANDS 1102623120 | 6.5476 | 6.0249 | Large Consequence Shift, Large Mileage Change | 74 | 0.3774 | 0.00013171 | 3211.1058 | 1256 | 0.00146 | 0.00028317 | 6.0459
VOLTA 1101CB | 9.2089 | 9.289 | Large Consequence Shift, Large Mileage Change | 76 | 0.37545 | 0.00011233 | 3549.008 | 2202 | 0.00043332 | 0.00016272 | 2.9517
COARSEGOLD 2104570682 | 2.0288 | 2.265 | Large Consequence Shift, Large Mileage Change | 78 | 0.37306 | 9.6836e-05 | 4471.4183 | 1728 | 0.00074257 | 0.00018775 | 3.8938
MIDDLETOWN 1102414 | 5.9319 | 4.9572 | Large Consequence Shift, Large Mileage Change | 82 | 0.36434 | 0.00014586 | 3081.157 | 1312 | 0.0013099 | 0.00030134 | 8.2477
CAYETANO 2109884904 | 11.6368 | 28.1942 | Large Consequence Shift, Large Mileage Change | 83 | 0.36326 | 0.0001019 | 3934.604 | 1037 | 0.0021189 | 0.00013595 | 20.4862
VOLTA 11011568 | 23.1053 | 23.8686 | Large Consequence Shift, Large Mileage Change | 85 | 0.36191 | 9.0935e-05 | 3456.9848 | 2428 | 0.00033385 | 0.00013681 | 2.2297
MIDDLETOWN 1101CB | 4.731 | 0.24238 | Large Consequence Shift, Large Mileage Change | 86 | 0.36174 | 0.00014565 | 2568.6158 | 1264 | 0.001441 | 0.00096654 | 1.4999
COARSEGOLD 21035020 | 16.1994 | 16.6286 | Large Consequence Shift, Large Mileage Change | 88 | 0.36009 | 8.5726e-05 | 4882.5801 | 2251 | 0.00040903 | 0.00023071 | 1.8968
ZACA 1102Y54 | 34.0882 | 34.5224 | Large Consequence Shift, Large Mileage Change | 94 | 0.35181 | 8.0013e-05 | 4332.6246 | 1223 | 0.0015462 | 0.00019847 | 11.6153
SISQUOC 1103867486 | 2.1165 | 0.60466 | Large Consequence Shift, Large Mileage Change | 96 | 0.35061 | 7.3948e-05 | 3380.0089 | 7415 | 3.3053e-05 | 0.00014817 | 0.26899
KERCKHOFF 1101CB | 17.0284 | 17.6662 | Large Consequence Shift, Large Mileage Change | 98 | 0.348 | 6.9314e-05 | 5271.5559 | 1019 | 0.0021949 | 0.00019697 | 12.367
DESCHUTES 110449024 | 16.5991 | 17.3633 | Large Consequence Shift, Large Mileage Change | 99 | 0.34786 | 8.4768e-05 | 4699.5815 | 2481 | 0.00031475 | 0.00019548 | 1.6397
DESCHUTES 11041370 | 13.5869 | 12.3158 | Large Consequence Shift, Large Mileage Change | 100 | 0.34561 | 0.00010359 | 3756.8301 | 2704 | 0.00022756 | 0.00025432 | 0.92624
WILLITS 1103964 | 3.1073 | 2.753 | Large Consequence Shift, Large Mileage Change | 103 | 0.33456 | 0.00013223 | 2706.926 | 2889 | 0.0001674 | 0.00018107 | 0.61729
PANORAMA 11021632 | 8.5467 | 8.7809 | Large Consequence Shift, Large Mileage Change | 105 | 0.33244 | 8.8891e-05 | 4338.5101 | 2517 | 0.00030236 | 8.4758e-05 | 2.9705
WILLITS 1103CB | 2.9857 | 3.1054 | Large Consequence Shift, Large Mileage Change | 106 | 0.32751 | 0.00014557 | 1870.2515 | 2863 | 0.00017664 | 0.00023143 | 0.67828
SAN MIGUEL 1104895760 | 9.1711 | 8.4285 | Large Consequence Shift, Large Mileage Change | 107 | 0.32643 | 9.5565e-05 | 3633.0115 | 3372 | 7.1408e-05 | 9.2681e-05 | 0.7924
SANTA YNEZ 1104Y04 | 15.6586 | 14.8412 | Large Consequence Shift, Large Mileage Change | 108 | 0.32463 | 6.6358e-05 | 5141.1422 | 2888 | 0.0001675 | 0.0001963 | 0.9728
STAFFORD 11021202 | 7.9017 | 7.7024 | Large Consequence Shift, Large Mileage Change | 112 | 0.32328 | 0.00015857 | 2432.9018 | 2168 | 0.00044867 | 0.00020393 | 2.1117
RED BLUFF 11041566 | 12.0889 | 11.3714 | Large Consequence Shift, Large Mileage Change | 113 | 0.3225 | 8.022e-05 | 4262.1109 | 2526 | 0.00029835 | 0.0001664 | 1.7764
DESCHUTES 11049726 | 15.6976 | 16.4591 | Large Consequence Shift, Large Mileage Change | 116 | 0.32131 | 8.9511e-05 | 4058.7556 | 2429 | 0.00033358 | 0.00020492 | 1.6989
BELL 11082202 | 32.5292 | 27.6411 | Large Consequence Shift, Large Mileage Change | 118 | 0.32016 | 0.0001269 | 2599.5441 | 2685 | 0.00023693 | 0.0002162 | 1.1673
OLETA 1101296804 | 3.2862 | 3.3899 | Large Consequence Shift, Large Mileage Change | 119 | 0.31954 | 0.00014395 | 2252.1128 | 1013 | 0.0022015 | 0.00024836 | 9.7261
CLARKSVILLE 2105CB | 0.80419 | 0.52907 | Large Consequence Shift, Large Mileage Change | 120 | 0.31824 | 0.00018563 | 1193.2799 | 2898 | 0.00016346 | 0.00063803 | 0.19631
TEMPLETON 2113A20 | 7.4575 | 7.5489 | Large Consequence Shift, Large Mileage Change | 121 | 0.3179 | 8.3458e-05 | 4208.4041 | 2560 | 0.00028757 | 0.0002793 | 1.555
COTTONWOOD 1102544790 | 16.3719 | 17.8005 | Large Consequence Shift, Large Mileage Change | 123 | 0.31273 | 8.3921e-05 | 3941.9662 | 1675 | 0.0007912 | 0.00022185 | 4.0615
COARSEGOLD 21045525 | 13.1465 | 14.004 | Large Consequence Shift, Large Mileage Change | 124 | 0.31171 | 5.9719e-05 | 5306.8404 | 2313 | 0.00038006 | 0.00023563 | 1.5456
MIDDLETOWN 1102878 | 3.3752 | 1.9823 | Large Consequence Shift, Large Mileage Change | 125 | 0.31109 | 0.00017681 | 2682.7456 | 1051 | 0.0020761 | 0.00027731 | 21.3804
HIGHLANDS 1103828 | 8.5948 | 7.8808 | Large Consequence Shift, Large Mileage Change | 127 | 0.31086 | 8.3934e-05 | 3831.1552 | 1114 | 0.0019049 | 0.00026806 | 9.8064
FORESTHILL 1102CB | 1.6448 | 1.6925 | Large Consequence Shift, Large Mileage Change | 129 | 0.30873 | 0.00028983 | 1109.8091 | 1644 | 0.00081547 | 0.0004307 | 1.9898
PUTAH CREEK 110396792 | 3.9739 | 3.5181 | Large Consequence Shift, Large Mileage Change | 131 | 0.30689 | 7.1793e-05 | 5020.5256 | 1045 | 0.0021015 | 0.0001273 | 18.1325
COARSEGOLD 21046210 | 10.6757 | 10.7313 | Large Consequence Shift, Large Mileage Change | 132 | 0.30465 | 4.8609e-05 | 5877.8631 | 1380 | 0.0011778 | 0.00010917 | 9.1363
CLARKSVILLE 2104CB | 8.8028 | 8.3403 | Large Consequence Shift, Large Mileage Change | 134 | 0.30391 | 0.00015725 | 2292.759 | 2164 | 0.00045469 | 0.00041145 | 1.1777
NORTH DUBLIN 2103CB | 13.884 | 14.141 | Large Consequence Shift, Large Mileage Change | 135 | 0.30349 | 0.00012222 | 2373.5412 | 1857 | 0.00063767 | 0.00021642 | 4.1272
OREGON TRAIL 11021382 | 5.4675 | 5.9447 | Large Consequence Shift, Large Mileage Change | 140 | 0.29503 | 0.00010202 | 2904.98 | 2409 | 0.00033988 | 0.00024792 | 1.4077
AUBERRY 1102CB | 34.7177 | 36.5219 | Large Consequence Shift, Large Mileage Change | 141 | 0.29173 | 5.1188e-05 | 6445.9013 | 2183 | 0.00044317 | 0.00017175 | 2.7501
CORRAL 1101CB | 26.2967 | 26.2912 | Large Consequence Shift, Large Mileage Change | 142 | 0.29054 | 7.4699e-05 | 3983.5914 | 2875 | 0.00017247 | 0.00016218 | 1.0817
ANDERSON 11031600 | 4.4944 | 3.5476 | Large Consequence Shift, Large Mileage Change | 143 | 0.2889 | 9.3311e-05 | 3227.6771 | 3058 | 0.00011858 | 0.00018495 | 0.75634
COARSEGOLD 210410030 | 33.9336 | 34.0927 | Large Consequence Shift, Large Mileage Change | 144 | 0.28655 | 5.1982e-05 | 5711.1735 | 2787 | 0.00020217 | 0.00012132 | 1.6655
WISE 11022230 | 23.7482 | 25.9306 | Large Consequence Shift, Large Mileage Change | 146 | 0.28438 | 9.8822e-05 | 3101.6196 | 2389 | 0.00035184 | 0.00021881 | 1.6457
SHEPHERD 2111327814 | 11.5731 | 10.8319 | Large Consequence Shift, Large Mileage Change | 147 | 0.28428 | 5.813e-05 | 5439.3493 | 1173 | 0.0017124 | 0.00020048 | 12.2943
PANORAMA 1102280170 | 13.0164 | 10.4037 | Large Consequence Shift, Large Mileage Change | 148 | 0.28426 | 0.00011005 | 2725.4901 | 2665 | 0.00024667 | 0.00023204 | 1.3062
DESCHUTES 1101CB | 4.9829 | 4.0452 | Large Consequence Shift, Large Mileage Change | 150 | 0.28403 | 0.00011905 | 2481.2226 | 2784 | 0.00020235 | 0.00033411 | 0.60367
COARSEGOLD 21045300 | 55.8005 | 57.1729 | Large Consequence Shift, Large Mileage Change | 151 | 0.28372 | 6.1292e-05 | 5197.3797 | 2119 | 0.00047692 | 0.00015081 | 3.2133
FLINT 1101750 | 4.5636 | 4.7865 | Large Consequence Shift, Large Mileage Change | 152 | 0.28318 | 0.00015288 | 2183.6202 | 1508 | 0.00097924 | 0.00022241 | 7.2225
SANTA YNEZ 1104Y66 | 16.9474 | 16.7168 | Large Consequence Shift, Large Mileage Change | 153 | 0.28279 | 5.9163e-05 | 4926.5491 | 1417 | 0.0011255 | 0.00013293 | 9.0885
SAN JOAQUIN #2 110310320 | 11.785 | 12.4117 | Large Consequence Shift, Large Mileage Change | 154 | 0.28179 | 7.3548e-05 | 3652.1529 | 1851 | 0.00064313 | 0.00025892 | 2.7452
SANTA YNEZ 1101277014 | 5.5008 | 4.6008 | Large Consequence Shift, Large Mileage Change | 156 | 0.28002 | 7.4914e-05 | 3435.5989 | 3246 | 8.1845e-05 | 0.00018986 | 0.64843
OREGON TRAIL 11041574 | 16.9108 | 18.0606 | Large Consequence Shift, Large Mileage Change | 160 | 0.27852 | 9.7752e-05 | 3321.0394 | 2540 | 0.00029453 | 0.00027581 | 1.1083
COARSEGOLD 2103CB | 38.4248 | 40.6125 | Large Consequence Shift, Large Mileage Change | 164 | 0.27679 | 0.00010575 | 2969.029 | 1919 | 0.00058726 | 0.00029626 | 2.2429
NORTH DUBLIN 2101MR765 | 2.0702 | 0.029406 | Large Consequence Shift, Large Mileage Change | 170 | 0.2736 | 0.00016258 | 1924.3853 | 1714 | 0.00075421 | 0.00061688 | 1.2226
PENRYN 11032198 | 20.2312 | 22.5031 | Large Consequence Shift, Large Mileage Change | 173 | 0.27291 | 0.00015745 | 1901.3176 | 1452 | 0.0010655 | 0.0002715 | 4.5583
AUBERRY 1102R309 | 8.5928 | 8.8527 | Large Consequence Shift, Large Mileage Change | 175 | 0.27286 | 4.4689e-05 | 5876.5086 | 2518 | 0.00030234 | 0.00012003 | 2.7622
MIDDLETOWN 1102998 | 14.8545 | 17.3308 | Large Consequence Shift, Large Mileage Change | 176 | 0.27124 | 0.00011619 | 2601.6522 | 1400 | 0.001149 | 0.00019494 | 8.6615
CAYETANO 2109MR572 | 8.2926 | 7.4818 | Large Consequence Shift, Large Mileage Change | 177 | 0.27121 | 8.353e-05 | 3855.5003 | 2246 | 0.00041149 | 0.00013301 | 4.1394
JAMESON 1103118944 | 2.3449 | 2.2965 | Large Consequence Shift, Large Mileage Change | 180 | 0.27039 | 7.2601e-05 | 3739.9482 | 1725 | 0.00074554 | 0.00018283 | 3.3319
HIGGINS 1109CB | 22.6477 | 23.9519 | Large Consequence Shift, Large Mileage Change | 182 | 0.26784 | 0.00012368 | 2336.1435 | 1970 | 0.00055833 | 0.00023959 | 2.44
HIGGINS 110950072 | 42.3943 | 43.7069 | Large Consequence Shift, Large Mileage Change | 186 | 0.26524 | 8.3823e-05 | 2904.6654 | 1926 | 0.00057963 | 0.00014946 | 3.9598
BELL 110750172 | 17.4906 | 18.8405 | Large Consequence Shift, Large Mileage Change | 189 | 0.2635 | 8.9513e-05 | 3226.5987 | 2550 | 0.00029091 | 0.00018683 | 2.0878
VACAVILLE 111113652 | 4.2976 | 4.7781 | Large Consequence Shift, Large Mileage Change | 190 | 0.26339 | 0.00011431 | 2370.7576 | 1722 | 0.00074783 | 0.00036978 | 1.9953
DOBBINS 11011808 | 15.5397 | 15.8812 | Large Consequence Shift, Large Mileage Change | 193 | 0.26282 | 0.00012923 | 2096.2914 | 1252 | 0.0014726 | 0.00017248 | 8.7072
DESCHUTES 11011380 | 17.8201 | 17.7489 | Large Consequence Shift, Large Mileage Change | 194 | 0.26207 | 0.00010398 | 2782.7866 | 2407 | 0.00034045 | 0.00022562 | 1.6157
SAND CREEK 110345190 | 37.5908 | 40.1856 | Large Consequence Shift, Large Mileage Change | 195 | 0.26095 | 4.4054e-05 | 5858.6509 | 1266 | 0.0014269 | 0.00013126 | 10.9386
BRENTWOOD 2105B504R | 8.7475 | 8.2565 | Large Consequence Shift, Large Mileage Change | 196 | 0.26071 | 9.8714e-05 | 3474.2779 | 1519 | 0.00095798 | 0.00022135 | 4.8457
OREGON TRAIL 1102CB | 9.3555 | 9.5293 | Large Consequence Shift, Large Mileage Change | 198 | 0.25991 | 0.00013609 | 2689.4423 | 1964 | 0.00055975 | 0.00040578 | 1.3668
CORRAL 110136652 | 36.1423 | 38.4167 | Large Consequence Shift, Large Mileage Change | 201 | 0.25884 | 6.9107e-05 | 3912.9423 | 2859 | 0.0001771 | 0.00014633 | 1.2354
UPPER LAKE 1101660 | 6.1619 | 5.2331 | Large Consequence Shift, Large Mileage Change | 202 | 0.25883 | 0.0001122 | 2640.3198 | 1451 | 0.0010659 | 0.00025131 | 4.9276
WILLITS 1103696 | 6.5038 | 5.2623 | Large Consequence Shift, Large Mileage Change | 203 | 0.25793 | 0.00011584 | 2155.4593 | 3165 | 9.301e-05 | 0.00015402 | 0.55152
UKIAH 1111534 | 18.9138 | 18.5698 | Large Consequence Shift, Large Mileage Change | 205 | 0.25577 | 8.2307e-05 | 3212.6445 | 1057 | 0.0020651 | 0.00015895 | 14.5448
ELK CREEK 110193504 | 2.1512 | 2.0322 | Large Consequence Shift, Large Mileage Change | 206 | 0.25426 | 6.0933e-05 | 4082.5968 | 1350 | 0.0012407 | 0.00011841 | 17.1057
PEABODY 2113873304 | 0.816 | 0.81657 | Large Consequence Shift, Large Mileage Change | 207 | 0.25419 | 6.945e-05 | 4833.6394 | 2165 | 0.00045453 | 0.00013043 | 3.5596
CLAY 110359714 | 4.6637 | 4.758 | Large Consequence Shift, Large Mileage Change | 208 | 0.25391 | 9.4275e-05 | 2408.1592 | 2416 | 0.00033792 | 0.00022939 | 1.4324
LUCERNE 1106526 | 10.1036 | 10.996 | Large Consequence Shift, Large Mileage Change | 210 | 0.25318 | 0.00011252 | 2700.181 | 2161 | 0.0004553 | 0.00029919 | 1.9981
HOPLAND 1101558 | 2.9946 | 1.3285 | Large Consequence Shift, Large Mileage Change | 211 | 0.25266 | 0.00022789 | 857.3477 | 1090 | 0.0019806 | 0.00028662 | 6.3646
AUBERRY 1102R902 | 15.0784 | 15.9882 | Large Consequence Shift, Large Mileage Change | 213 | 0.25137 | 6.3332e-05 | 4129.7341 | 2044 | 0.00051963 | 0.00015987 | 3.4602
SUNOL 1101MR169 | 3.0929 | 3.0548 | Large Consequence Shift, Large Mileage Change | 214 | 0.25044 | 9.4566e-05 | 2310.912 | 3260 | 8.0581e-05 | 0.00015625 | 0.49883
LAS GALLINAS A 110599904 | 5.5621 | 5.6593 | Large Consequence Shift, Large Mileage Change | 215 | 0.25006 | 0.00018177 | 1184.3918 | 1267 | 0.0014262 | 0.00051863 | 2.7131
WILLITS 110337504 | 1.1752 | 1.3019 | Large Consequence Shift, Large Mileage Change | 216 | 0.24974 | 0.00013442 | 1727.1376 | 3234 | 8.3193e-05 | 0.0002953 | 0.32712
WYANDOTTE 1109702710 | 2.6641 | 0.50013 | Large Consequence Shift, Large Mileage Change | 218 | 0.24845 | 0.00021702 | 1323.547 | 2461 | 0.00032066 | 0.00048687 | 0.58586
CORNING 110290036 | 13.4004 | 12.6339 | Large Consequence Shift, Large Mileage Change | 221 | 0.24724 | 7.3822e-05 | 4520.2585 | 1899 | 0.00060102 | 0.00015481 | 4.1012
OAKHURST 110363334 | 17.2902 | 17.9162 | Large Consequence Shift, Large Mileage Change | 224 | 0.24446 | 5.0298e-05 | 5273.9392 | 2116 | 0.00048117 | 0.00018595 | 2.6797
BANGOR 110131502 | 11.8734 | 12.054 | Large Consequence Shift, Large Mileage Change | 225 | 0.24429 | 0.00014287 | 1982.4694 | 2534 | 0.00029638 | 0.00016364 | 1.813
LINCOLN 1104685276 | 6.4838 | 5.5157 | Large Consequence Shift, Large Mileage Change | 230 | 0.24208 | 7.8086e-05 | 3212.4401 | 4147 | 5.2842e-05 | 0.00013453 | 0.41004
ZACA 1102Y02 | 10.449 | 10.2421 | Large Consequence Shift, Large Mileage Change | 233 | 0.24142 | 6.2768e-05 | 3729.2174 | 2701 | 0.00022855 | 0.00026818 | 0.90484
OLETA 1102186326 | 11.8638 | 11.8 | Large Consequence Shift, Large Mileage Change | 234 | 0.24114 | 0.00011431 | 2157.6907 | 1410 | 0.001136 | 0.00024123 | 6.8589
MADISON 2101117644 | 0.67144 | 0.56732 | Large Consequence Shift, Large Mileage Change | 236 | 0.23987 | 9.3021e-05 | 2949.3645 | 3185 | 8.9969e-05 | 0.00026409 | 0.37154
PUTAH CREEK 1105617260 | 1.1665 | 1.0961 | Large Consequence Shift, Large Mileage Change | 237 | 0.2396 | 9.4125e-05 | 3143.4533 | 3150 | 9.7772e-05 | 0.00012914 | 1.5061
SHINGLE SPRINGS 210519522 | 9.6738 | 10.3277 | Large Consequence Shift, Large Mileage Change | 240 | 0.23827 | 8.878e-05 | 3187.9029 | 1376 | 0.0011865 | 0.00020536 | 6.3768
WISE 11022054 | 13.0143 | 14.1189 | Large Consequence Shift, Large Mileage Change | 242 | 0.23735 | 0.00010429 | 2815.7078 | 2524 | 0.00029919 | 0.0002229 | 1.3728
ANTELOPE 1101318686 | 1.4578 | 0.91823 | Large Consequence Shift, Large Mileage Change | 243 | 0.23683 | 6.5096e-05 | 3652.241 | 2732 | 0.00021871 | 0.00016415 | 1.4934
JESSUP 11021314 | 6.0148 | 5.5621 | Large Consequence Shift, Large Mileage Change | 244 | 0.23664 | 8.2165e-05 | 3017.906 | 1643 | 0.00081678 | 0.00019492 | 5.186
KERCKHOFF 1101R353 | 13.7915 | 14.234 | Large Consequence Shift, Large Mileage Change | 245 | 0.23576 | 3.7075e-05 | 6512.8186 | 1310 | 0.0013114 | 6.4874e-05 | 18.8739
SHEPHERD 2111707358 | 18.9795 | 19.6328 | Large Consequence Shift, Large Mileage Change | 247 | 0.23489 | 4.1347e-05 | 5721.8442 | 2181 | 0.00044341 | 0.00013097 | 3.0734
FROGTOWN 17028482 | 14.5376 | 15.486 | Large Consequence Shift, Large Mileage Change | 249 | 0.23437 | 0.00010252 | 2287.3259 | 1333 | 0.0012644 | 0.00015176 | 7.3176
MADISON 2101725408 | 0.95102 | 0.62764 | Large Consequence Shift, Large Mileage Change | 250 | 0.23427 | 9.3021e-05 | 2838.0743 | 2924 | 0.0001532 | 0.00019812 | 1.127
OREGON TRAIL 1104CB | 10.5844 | 10.5059 | Large Consequence Shift, Large Mileage Change | 255 | 0.23182 | 0.00014109 | 1638.3807 | 2227 | 0.00042224 | 0.00036643 | 1.1415
PALMER 1101M84 | 23.4425 | 22.2106 | Large Consequence Shift, Large Mileage Change | 256 | 0.23169 | 7.1467e-05 | 3431.3832 | 2229 | 0.00042166 | 0.00016276 | 2.6842
DEL MAR 2109CB | 1.4773 | 1.306 | Large Consequence Shift, Large Mileage Change | 261 | 0.22956 | 0.00018501 | 1136.289 | 2646 | 0.00025332 | 0.00062201 | 0.42358
ANDERSON 1103226050 | 4.876 | 4.4018 | Large Consequence Shift, Large Mileage Change | 262 | 0.22913 | 0.00012494 | 1958.1377 | 3263 | 8.0345e-05 | 0.00029322 | 0.28688
COARSEGOLD 210410400 | 42.6149 | 45.0978 | Large Consequence Shift, Large Mileage Change | 263 | 0.22826 | 6.3171e-05 | 4382.9111 | 1781 | 0.00070098 | 0.00021089 | 3.3052
HIGGINS 110950078 | 48.4307 | 50.2207 | Large Consequence Shift, Large Mileage Change | 264 | 0.22791 | 6.6516e-05 | 3492.1838 | 2576 | 0.00028325 | 9.0795e-05 | 3.1993
WYANDOTTE 110737472 | 9.2827 | 8.8347 | Large Consequence Shift, Large Mileage Change | 265 | 0.22739 | 0.00012968 | 1878.4311 | 2737 | 0.00021796 | 0.00025742 | 0.8517
COARSEGOLD 210310820 | 28.8331 | 30.3933 | Large Consequence Shift, Large Mileage Change | 266 | 0.2269 | 6.2605e-05 | 4312.1018 | 2144 | 0.00046488 | 0.00025721 | 1.6575
JESSUP 110296554 | 8.0717 | 7.7694 | Large Consequence Shift, Large Mileage Change | 267 | 0.22645 | 7.0376e-05 | 3307.1204 | 1298 | 0.0013357 | 0.00017514 | 9.6379
CLARK ROAD 1102CB | 0.89192 | 0.73998 | Large Consequence Shift, Large Mileage Change | 268 | 0.22632 | 0.0002022 | 1029.6753 | 2491 | 0.00031072 | 0.00055253 | 0.46271
BUELLTON 1102Y50 | 10.6284 | 10.7413 | Large Consequence Shift, Large Mileage Change | 269 | 0.22624 | 6.643e-05 | 3157.5997 | 2607 | 0.00026963 | 0.00031118 | 0.99486
CLAY 11031230 | 16.8239 | 1.0225 | Large Consequence Shift, Large Mileage Change | 270 | 0.22608 | 8.4359e-05 | 2820.2882 | 3112 | 0.00010644 | 0.00027003 | 0.56118
COTTONWOOD 11029026 | 12.5262 | 12.4975 | Large Consequence Shift, Large Mileage Change | 271 | 0.22599 | 7.3532e-05 | 3010.4191 | 2723 | 0.0002216 | 0.00023019 | 1.0733
RED BLUFF 11041630 | 2.499 | 2.1184 | Large Consequence Shift, Large Mileage Change | 273 | 0.22562 | 5.7083e-05 | 3897.064 | 4176 | 5.2425e-05 | 0.00027507 | 0.22829
AUBERRY 1102R1013 | 12.4639 | 12.855 | Large Consequence Shift, Large Mileage Change | 278 | 0.22385 | 5.2064e-05 | 4310.3961 | 1574 | 0.00089538 | 0.00014093 | 6.8365
PEORIA 1705CB | 7.0494 | 7.248 | Large Consequence Shift, Large Mileage Change | 280 | 0.22294 | 9.1397e-05 | 1823.5922 | 1342 | 0.001252 | 0.00018283 | 6.7896
ZACA 1101Y72 | 6.3801 | 5.5692 | Large Consequence Shift, Large Mileage Change | 282 | 0.2213 | 7.4862e-05 | 2941.2416 | 1611 | 0.00085697 | 0.00013145 | 6.8528
PANORAMA 1102508502 | 11.7575 | 11.5589 | Large Consequence Shift, Large Mileage Change | 283 | 0.22043 | 8.1215e-05 | 2793.3826 | 3090 | 0.00011164 | 0.00014866 | 0.90394
SMARTVILLE 1101CB | 16.1753 | 16.5498 | Large Consequence Shift, Large Mileage Change | 284 | 0.21931 | 0.00012844 | 2226.2508 | 2287 | 0.00039114 | 0.0002013 | 1.6586
NARROWS 2101CB | 15.5673 | 16.0471 | Large Consequence Shift, Large Mileage Change | 287 | 0.21823 | 0.00013384 | 2147.2351 | 1249 | 0.0014826 | 0.00015429 | 9.747
BROWNS VALLEY 110136622 | 5.1447 | 4.7696 | Large Consequence Shift, Large Mileage Change | 288 | 0.21771 | 0.00010696 | 1906.2139 | 2712 | 0.00022518 | 0.00033677 | 0.60271
WYANDOTTE 110313018 | 0.67768 | 0.28216 | Large Consequence Shift, Large Mileage Change | 289 | 0.21662 | 0.00024176 | 916.9696 | 2484 | 0.0003134 | 0.00046797 | 0.79133
OREGON TRAIL 1103CB | 2.7062 | 3.0096 | Large Consequence Shift, Large Mileage Change | 290 | 0.21644 | 0.00020157 | 1548.9969 | 1867 | 0.00063024 | 0.0004628 | 1.3572
TYLER 11051536 | 17.7774 | 17.7422 | Large Consequence Shift, Large Mileage Change | 292 | 0.21608 | 4.6575e-05 | 4923.7257 | 1991 | 0.00055015 | 0.00013665 | 5.0453
SUMMIT 110147786 | 1.8121 | 1.8112 | Large Consequence Shift, Large Mileage Change | 294 | 0.21513 | 8.7369e-05 | 2875.37 | 2068 | 0.00050906 | 0.00043906 | 1.1593
DESCHUTES 11041582 | 6.3798 | 5.382 | Large Consequence Shift, Large Mileage Change | 301 | 0.21327 | 8.393e-05 | 2774.3491 | 3101 | 0.0001094 | 0.00025799 | 0.50077
AUBERRY 110237466 | 31.3612 | 32.3382 | Large Consequence Shift, Large Mileage Change | 306 | 0.21127 | 3.2323e-05 | 6743.7065 | 2836 | 0.00018823 | 9.8384e-05 | 1.9082
BUELLTON 1102CB | 7.0863 | 6.0867 | Large Consequence Shift, Large Mileage Change | 307 | 0.21085 | 5.6901e-05 | 2830.5359 | 2847 | 0.00018253 | 0.00034928 | 0.67589
SANTA YNEZ 110477098 | 11.9643 | 11.7141 | Large Consequence Shift, Large Mileage Change | 308 | 0.21042 | 5.0472e-05 | 4289.2504 | 2145 | 0.00046453 | 0.00019107 | 2.8849
WYANDOTTE 110979932 | 22.0664 | 22.5148 | Large Consequence Shift, Large Mileage Change | 311 | 0.20828 | 8.0348e-05 | 2706.2696 | 2812 | 0.00019455 | 0.00016942 | 1.2073
ELK CREEK 11012002 | 21.7811 | 15.3386 | Large Consequence Shift, Large Mileage Change | 315 | 0.20473 | 5.5059e-05 | 4261.2835 | 1044 | 0.0021026 | 0.00018967 | 15.337
BELL 11072400 | 25.7395 | 27.7646 | Large Consequence Shift, Large Mileage Change | 316 | 0.20423 | 0.00010832 | 2117.8289 | 2529 | 0.00029745 | 0.00023071 | 1.2598
PETALUMA C 1108296 | 14.7695 | 15.7893 | Large Consequence Shift, Large Mileage Change | 317 | 0.20401 | 8.734e-05 | 2337.6554 | 2573 | 0.00028395 | 0.00020515 | 1.408
DESCHUTES 1104CB | 13.5086 | 0.039632 | Large Consequence Shift, Large Mileage Change | 318 | 0.20316 | 0.00010469 | 2355.7077 | 2951 | 0.00014546 | 0.00042903 | 0.44591
CLAY 110334338 | 9.7742 | 8.7554 | Large Consequence Shift, Large Mileage Change | 320 | 0.2022 | 6.79e-05 | 3085.8385 | 2544 | 0.00029314 | 0.00013212 | 3.4373
AUBERRY 1102R2850 | 26.3694 | 26.8774 | Large Consequence Shift, Large Mileage Change | 321 | 0.20166 | 3.6057e-05 | 5548.3018 | 2620 | 0.00026347 | 0.00010175 | 3.0742
NORTH BRANCH 1101CB | 15.7926 | 15.3119 | Large Consequence Shift, Large Mileage Change | 322 | 0.20132 | 0.00011157 | 1859.3886 | 1048 | 0.0020877 | 0.00024491 | 7.8605
NORTH BRANCH 110111158 | 12.7408 | 11.2914 | Large Consequence Shift, Large Mileage Change | 326 | 0.20008 | 9.6418e-05 | 2379.6196 | 1977 | 0.00055658 | 0.00013858 | 4.2217
AUBERRY 1101R314 | 42.4149 | 43.0751 | Large Consequence Shift, Large Mileage Change | 327 | 0.20004 | 3.2525e-05 | 6228.9607 | 1558 | 0.00091123 | 9.2885e-05 | 9.831
WOODACRE 110196844 | 5.9393 | 6.3754 | Large Consequence Shift, Large Mileage Change | 331 | 0.19881 | 0.00023552 | 862.5947 | 1582 | 0.00088667 | 0.0006268 | 1.4534
SAND CREEK 1103CB | 13.0411 | 13.1988 | Large Consequence Shift, Large Mileage Change | 337 | 0.19768 | 2.8008e-05 | 6753.7935 | 2377 | 0.00035672 | 0.00011831 | 2.97
TULUCAY 1101628 | 4.1726 | 1.6052 | Large Consequence Shift, Large Mileage Change | 338 | 0.19686 | 0.00010294 | 2036.6122 | 2982 | 0.00013714 | 0.00024127 | 1.0098
LAYTONVILLE 1102500 | 21.3647 | 20.4716 | Large Consequence Shift, Large Mileage Change | 342 | 0.19576 | 0.00018229 | 1298.6787 | 1859 | 0.00063676 | 0.00015564 | 4.3468
OLETA 110241396 | 6.7546 | 8.1683 | Large Consequence Shift, Large Mileage Change | 347 | 0.19503 | 0.00014922 | 1168.3526 | 1136 | 0.0018541 | 0.00042996 | 4.1783
CORRAL 1102CB | 16.8855 | 17.2359 | Large Consequence Shift, Large Mileage Change | 348 | 0.19501 | 7.8906e-05 | 2954.5395 | 2588 | 0.00027725 | 0.00022853 | 1.0742
TIVY VALLEY 1107584840 | 45.0784 | 47.251 | Large Consequence Shift, Large Mileage Change | 349 | 0.19446 | 3.4014e-05 | 5963.8827 | 1968 | 0.00055881 | 0.00012236 | 5.0132
OLETA 11011208 | 33.0009 | 34.4495 | Large Consequence Shift, Large Mileage Change | 352 | 0.19404 | 7.3226e-05 | 2975.7795 | 2467 | 0.00031856 | 0.00012631 | 2.2647
COPPERMINE 1104613086 | 5.1231 | 4.6565 | Large Consequence Shift, Large Mileage Change | 354 | 0.19391 | 2.9814e-05 | 6359.1487 | 2770 | 0.00020834 | 0.00011832 | 2.5562
BANGOR 1101CB | 18.7561 | 1.4438 | Large Consequence Shift, Large Mileage Change | 355 | 0.19378 | 0.00012918 | 1585.4725 | 2768 | 0.00020951 | 0.00016487 | 1.1543
OLETA 1102793776 | 1.2163 | 1.1816 | Large Consequence Shift, Large Mileage Change | 357 | 0.19328 | 0.00010286 | 1821.9134 | 2562 | 0.00028716 | 0.00021549 | 1.3125
LAS GALLINAS A 1105532 | 4.4122 | 4.5825 | Large Consequence Shift, Large Mileage Change | 359 | 0.19264 | 0.00016574 | 1247.6791 | 1434 | 0.001099 | 0.00029996 | 4.363
SAND CREEK 11037140 | 26.29 | 27.4337 | Large Consequence Shift, Large Mileage Change | 362 | 0.19202 | 2.8237e-05 | 6738.8921 | 1492 | 0.0010047 | 0.00012701 | 7.5181
BANGOR 110182350 | 19.6266 | 19.0509 | Large Consequence Shift, Large Mileage Change | 363 | 0.19196 | 8.9019e-05 | 2107.591 | 2928 | 0.00015217 | 0.00014631 | 1.1419
PALMER 110198478 | 6.0154 | 5.2982 | Large Consequence Shift, Large Mileage Change | 367 | 0.19124 | 6.1513e-05 | 3101.9251 | 2976 | 0.00013874 | 0.00012851 | 1.124
WYANDOTTE 11095607 | 4.5158 | 4.295 | Large Consequence Shift, Large Mileage Change | 368 | 0.19115 | 6.7647e-05 | 3213.7492 | 2940 | 0.00014945 | 0.00017441 | 0.90879
WISE 1102697216 | 13.2842 | 12.1224 | Large Consequence Shift, Large Mileage Change | 370 | 0.18992 | 8.8971e-05 | 1998.7247 | 2713 | 0.00022504 | 0.00018163 | 1.2382
REDBUD 1102CB | 17.4931 | 0.76348 | Large Consequence Shift, Large Mileage Change | 371 | 0.18973 | 9.0631e-05 | 2204.8048 | 1792 | 0.00068734 | 0.00052893 | 1.336
BRENTWOOD 21056512 | 0.65121 | 0.6268 | Large Consequence Shift, Large Mileage Change | 372 | 0.18909 | 6.0555e-05 | 1094.509 | 2260 | 0.00040549 | 0.00025572 | 1.6002
OLETA 11021228 | 10.8452 | 7.4742 | Large Consequence Shift, Large Mileage Change | 374 | 0.18877 | 0.00011636 | 1613.8231 | 2700 | 0.00022897 | 0.00024169 | 1.4097
DESCHUTES 11011580 | 47.4617 | 46.9323 | Large Consequence Shift, Large Mileage Change | 375 | 0.18779 | 0.00012062 | 1821.2183 | 1459 | 0.0010521 | 0.0002431 | 5.4085
COTTONWOOD 110131500 | 4.6622 | 4.0472 | Large Consequence Shift, Large Mileage Change | 376 | 0.18759 | 5.0427e-05 | 3238.0724 | 2809 | 0.00019556 | 0.00020398 | 1.0053
MARIPOSA 210237288 | 85.2905 | 86.9794 | Large Consequence Shift, Large Mileage Change | 379 | 0.18718 | 4.4383e-05 | 4408.5685 | 1272 | 0.0014122 | 0.00012367 | 11.3174
PETALUMA C 1109128 | 34.9319 | 27.7157 | Large Consequence Shift, Large Mileage Change | 381 | 0.18687 | 9.706e-05 | 2077.9375 | 2645 | 0.00025333 | 0.00017692 | 1.4915
TYLER 110585132 | 31.133 | 32.1011 | Large Consequence Shift, Large Mileage Change | 383 | 0.18633 | 4.257e-05 | 4662.7247 | 1620 | 0.00084459 | 0.00017034 | 5.3424
STILLWATER 110248952 | 10.597 | 10.9779 | Large Consequence Shift, Large Mileage Change | 384 | 0.18561 | 0.00010175 | 2266.9677 | 2232 | 0.00042059 | 0.00026937 | 1.5275
PENRYN 1106212772 | 1.0001 | 0.85906 | Large Consequence Shift, Large Mileage Change | 385 | 0.18554 | 0.00010227 | 1767.7041 | 2831 | 0.00018978 | 0.00022029 | 0.99973
WYANDOTTE 110913052 | 19.5651 | 20.4884 | Large Consequence Shift, Large Mileage Change | 387 | 0.18514 | 9.5258e-05 | 2083.3172 | 2608 | 0.00026895 | 0.00017713 | 1.746
JESSUP 11021550 | 19.2725 | 18.8709 | Large Consequence Shift, Large Mileage Change | 389 | 0.18396 | 9.1451e-05 | 2378.2716 | 1853 | 0.00063997 | 0.00020898 | 3.5324
RED BLUFF 11011556 | 38.4898 | 39.0728 | Large Consequence Shift, Large Mileage Change | 390 | 0.18357 | 5.2815e-05 | 3779.2145 | 1709 | 0.00075934 | 0.00017156 | 4.8469
COTTONWOOD 110335470 | 20.5787 | 19.7788 | Large Consequence Shift, Large Mileage Change | 394 | 0.18214 | 7.9998e-05 | 2635.2321 | 1672 | 0.00079319 | 0.00019064 | 4.1713
POTTER VALLEY P H 110537476 | 2.63 | 2.0055 | Large Consequence Shift, Large Mileage Change | 396 | 0.18107 | 0.0001427 | 1332.1225 | 2321 | 0.00037714 | 0.00024016 | 2.4227
CORRAL 110112612 | 19.3235 | 19.7583 | Large Consequence Shift, Large Mileage Change | 397 | 0.18095 | 7.8143e-05 | 2667.8797 | 2830 | 0.0001899 | 0.00017454 | 1.1086
DUNLAP 11027060 | 17.8746 | 19.463 | Large Consequence Shift, Large Mileage Change | 401 | 0.18019 | 4.1619e-05 | 4251.992 | 1115 | 0.0018983 | 0.00012621 | 18.1425
POSO MOUNTAIN 210448268 | 5.0668 | 4.6501 | Large Consequence Shift, Large Mileage Change | 402 | 0.17977 | 2.8075e-05 | 6541.9938 | 1497 | 0.00099467 | 0.00016214 | 6.0599
KONOCTI 1102CB | 3.9318 | 3.0632 | Large Consequence Shift, Large Mileage Change | 407 | 0.1779 | 0.0001432 | 1232.8613 | 1745 | 0.00072818 | 0.00031741 | 2.2784
TASSAJARA 2109CB | 1.9336 | 2.9132 | Large Consequence Shift, Large Mileage Change | 410 | 0.17607 | 0.00016891 | 1033.5651 | 1667 | 0.00079537 | 0.00042068 | 1.8496
HIGGINS 1109594 | 14.3437 | 22.029 | Large Consequence Shift, Large Mileage Change | 412 | 0.17563 | 0.00011929 | 1640.4713 | 1951 | 0.00056537 | 0.00026764 | 2.6427
PETALUMA C 1108208 | 12.4785 | 12.9778 | Large Consequence Shift, Large Mileage Change | 414 | 0.1754 | 9.3548e-05 | 1783.8562 | 2695 | 0.00023317 | 0.00018478 | 1.2925
GARBERVILLE 11012026 | 6.352 | 6.593 | Large Consequence Shift, Large Mileage Change | 415 | 0.17512 | 0.00034659 | 363.8152 | 1904 | 0.00059656 | 0.00045775 | 1.3445
ZACA 1101CB | 7.4782 | 7.2265 | Large Consequence Shift, Large Mileage Change | 416 | 0.17499 | 6.307e-05 | 1838.5396 | 1385 | 0.0011698 | 0.00025825 | 6.2612
PHILO 11013700 | 18.1206 | 21.2747 | Large Consequence Shift, Large Mileage Change | 417 | 0.17472 | 0.00013347 | 1560.5823 | 1638 | 0.00081969 | 0.00023006 | 4.8976
PUTAH CREEK 1102710384 | 5.3351 | 4.321 | Large Consequence Shift, Large Mileage Change | 418 | 0.17469 | 5.8195e-05 | 3710.5415 | 2277 | 0.00039529 | 0.00016037 | 5.7849
FORT SEWARD 11211690 | 10.8003 | 10.3513 | Large Consequence Shift, Large Mileage Change | 420 | 0.17449 | 0.0001954 | 901.067 | 1474 | 0.0010343 | 0.00027359 | 4.0875
BROWNS VALLEY 1101CB | 2.2619 | 2.0294 | Large Consequence Shift, Large Mileage Change | 422 | 0.1743 | 0.00012727 | 1563.9973 | 2559 | 0.00028805 | 0.00032141 | 0.8521
OILFIELDS 1103N64 | 11.0139 | 10.7421 | Large Consequence Shift, Large Mileage Change | 425 | 0.17314 | 0.00011489 | 1611.5581 | 1082 | 0.0020134 | 0.00022055 | 7.6277
OLETA 11011217 | 14.1973 | 13.2167 | Large Consequence Shift, Large Mileage Change | 426 | 0.17295 | 5.896e-05 | 3212.896 | 1431 | 0.0011036 | 0.0001046 | 9.7645
WISE 11022234 | 15.1336 | 16.7511 | Large Consequence Shift, Large Mileage Change | 430 | 0.17198 | 8.3357e-05 | 2208.9033 | 2219 | 0.00042575 | 0.00020596 | 2.1384
CALPELLA 1102421412 | 1.0045 | 0.75281 | Large Consequence Shift, Large Mileage Change | 431 | 0.17127 | 0.00012063 | 1137.8972 | 3157 | 9.5256e-05 | 0.00035969 | 0.26557
DESCHUTES 11019722 | 3.1941 | 3.0967 | Large Consequence Shift, Large Mileage Change | 432 | 0.17084 | 9.2716e-05 | 2011.1796 | 2734 | 0.00021813 | 0.00026151 | 0.97157
OILFIELDS 1103N42 | 3.7274 | 2.5929 | Large Consequence Shift, Large Mileage Change | 434 | 0.17017 | 9.7322e-05 | 2091.1209 | 2835 | 0.00018868 | 0.00019137 | 1.5185
COTTONWOOD 11039072 | 28.8029 | 29.9939 | Large Consequence Shift, Large Mileage Change | 437 | 0.1698 | 4.9258e-05 | 3602.3143 | 1484 | 0.0010208 | 0.00013435 | 7.1909
HARTLEY 1101658 | 2.8348 | 0.3013 | Large Consequence Shift, Large Mileage Change | 439 | 0.16943 | 9.6216e-05 | 1846.2822 | 2963 | 0.00014245 | 0.00023459 | 1.2093
ZACA 1102CB | 15.6783 | 15.2851 | Large Consequence Shift, Large Mileage Change | 441 | 0.16908 | 6.5983e-05 | 2246.0111 | 2085 | 0.00049821 | 0.00027682 | 2.4833
CHOLAME 2102X10 | 21.4267 |  | Large Consequence Shift, Large Mileage Change | 442 | 0.16893 | 7.3071e-05 | 2615.2408 | 10865 | 1.2641e-05 | 0.00018267 | 0.069136
MORGAN HILL 2105XR564 | 5.6724 | 5.9077 | Large Consequence Shift, Large Mileage Change | 444 | 0.16792 | 0.0001173 | 1539.4612 | 1639 | 0.00081864 | 0.00030183 | 2.6693
CORNING 110182846 | 4.7401 | 5.3106 | Large Consequence Shift, Large Mileage Change | 446 | 0.16626 | 4.657e-05 | 3781.4967 | 1388 | 0.0011632 | 0.00027335 | 4.3405
NARROWS 21052228 | 20.9616 | 21.7541 | Large Consequence Shift, Large Mileage Change | 447 | 0.16595 | 0.0001094 | 1826.2902 | 1419 | 0.0011214 | 0.00019032 | 5.4264
SILVERADO 2102772792 | 2.3506 | 2.1599 | Large Consequence Shift, Large Mileage Change | 449 | 0.16509 | 0.00011586 | 1705.2974 | 1476 | 0.00103 | 0.00050769 | 2.0966
NORTH BRANCH 1101TS1115 | 17.6137 | 18.6087 | Large Consequence Shift, Large Mileage Change | 451 | 0.16462 | 6.6142e-05 | 2220.2472 | 2072 | 0.00050657 | 0.00013882 | 3.5695
ANDERSON 1101514412 | 1.0314 | 0.24772 | Large Consequence Shift, Large Mileage Change | 452 | 0.16405 | 8.0594e-05 | 2318.4458 | 2054 | 0.00051548 | 0.00034119 | 1.5354
SHINGLE SPRINGS 1103CB | 6.6178 | 6.3497 | Large Consequence Shift, Large Mileage Change | 455 | 0.16378 | 0.00016037 | 1368.6904 | 1210 | 0.0016033 | 0.00035664 | 5.0283
CORNING 1102915324 | 2.228 | 1.9367 | Large Consequence Shift, Large Mileage Change | 457 | 0.16319 | 4.7601e-05 | 3729.4821 | 2905 | 0.0001615 | 0.00017947 | 1.0889
BOLINAS 1101530 | 10.9659 | 11.0577 | Large Consequence Shift, Large Mileage Change | 458 | 0.16273 | 0.00014892 | 1687.6433 | 1544 | 0.00092633 | 0.00020524 | 5.0837
NAPA 1102561208 | 0.8375 | 0.29497 | Large Consequence Shift, Large Mileage Change | 459 | 0.1626 | 0.0001103 | 1867.3968 | 3134 | 0.00010105 | 0.00016782 | 0.86418
HIGHLANDS 1103CB | 10.5955 | 12.4921 | Large Consequence Shift, Large Mileage Change | 461 | 0.16238 | 0.00010337 | 1745.3469 | 1007 | 0.0022491 | 0.00043144 | 5.4867
ANDERSON 11011752 | 8.4222 | 8.7888 | Large Consequence Shift, Large Mileage Change | 465 | 0.16096 | 9.1598e-05 | 2012.9288 | 2744 | 0.00021485 | 0.00024849 | 0.97232
NARROWS 21057203 | 18.5859 | 18.5516 | Large Consequence Shift, Large Mileage Change | 467 | 0.16043 | 9.5139e-05 | 1859.3118 | 2276 | 0.00039589 | 0.00017642 | 2.2759
SAN MIGUEL 1106605393 | 20.7432 | 20.894 | Large Consequence Shift, Large Mileage Change | 469 | 0.15998 | 6.0131e-05 | 2777.2648 | 1109 | 0.0019184 | 0.00012369 | 16.1128
COTTONWOOD 11011610 | 38.4226 | 39.1028 | Large Consequence Shift, Large Mileage Change | 470 | 0.15996 | 4.3413e-05 | 3907.4677 | 1169 | 0.0017434 | 0.00013321 | 13.6912
SAN MIGUEL 1106428314 | 14.7129 | 14.8985 | Large Consequence Shift, Large Mileage Change | 471 | 0.15993 | 6.2949e-05 | 2640.9062 | 2769 | 0.00020868 | 0.00012494 | 1.5606
WYANDOTTE 110738438 | 16.8604 | 17.4591 | Large Consequence Shift, Large Mileage Change | 473 | 0.15947 | 9.156e-05 | 1679.673 | 1024 | 0.0021794 | 0.00017795 | 10.8879
RED BLUFF 110451238 | 39.2404 | 39.3309 | Large Consequence Shift, Large Mileage Change | 476 | 0.15926 | 5.1642e-05 | 2984.3431 | 1204 | 0.0016223 | 0.00013313 | 13.4957
FITCH MOUNTAIN 111324918 | 5.4965 | 28.3334 | Large Consequence Shift, Large Mileage Change | 481 | 0.1575 | 0.00017491 | 1042.2333 | 1309 | 0.0013119 | 0.00056435 | 2.5063
WOODACRE 11011456 | 3.8256 | 4.3413 | Large Consequence Shift, Large Mileage Change | 487 | 0.15596 | 0.00024152 | 701.6004 | 1399 | 0.0011494 | 0.00061775 | 1.9727
POINT MORETTI 11015104 | 1.8014 | 1.8151 | Large Consequence Shift, Large Mileage Change | 488 | 0.15579 | 0.00010952 | 1407.1508 | 2774 | 0.0002069 | 0.0001795 | 1.1548
MOLINO 110279306 | 3.7837 | 3.5337 | Large Consequence Shift, Large Mileage Change | 489 | 0.15551 | 0.00011173 | 1345.2863 | 3083 | 0.00011309 | 0.00021509 | 0.49236
TIVY VALLEY 1107869946 | 29.7395 | 29.6278 | Large Consequence Shift, Large Mileage Change | 491 | 0.15534 | 2.1689e-05 | 7360.2383 | 1657 | 0.00080485 | 9.2631e-05 | 10.0756
SHINGLE SPRINGS 110419502 | 44.9701 | 6.3738 | Large Consequence Shift, Large Mileage Change | 494 | 0.15447 | 0.00010455 | 1716.1429 | 2179 | 0.0004436 | 0.00028587 | 1.6455
WILLITS 1102CB | 5.3142 | 1.7181 | Large Consequence Shift, Large Mileage Change | 495 | 0.15412 | 0.00011244 | 1000.9631 | 2678 | 0.0002404 | 0.0003787 | 0.56548
SALMON CREEK 110188998 | 7.9521 | 3.8853 | Large Consequence Shift, Large Mileage Change | 498 | 0.15352 | 8.749e-05 | 1675.3538 | 2893 | 0.00016592 | 0.00018622 | 0.81686
SILVERADO 2102942170 | 3.1315 | 2.966 | Large Consequence Shift, Large Mileage Change | 499 | 0.15348 | 8.0364e-05 | 1848.528 | 2371 | 0.00035849 | 0.00041407 | 1.1718
VACAVILLE 1111CB | 7.3197 | 6.3602 | Large Consequence Shift, Large Mileage Change | 500 | 0.15336 | 0.00010262 | 1549.2867 | 1985 | 0.00055328 | 0.00058589 | 1.1078
STILLWATER 1102CB | 25.0474 | 27.049 | Large Consequence Shift, Large Mileage Change | 502 | 0.15318 | 0.00012984 | 1360.5287 | 1768 | 0.00070992 | 0.00034098 | 2.1085
FROGTOWN 17021573 | 18.0653 | 18.5487 | Large Consequence Shift, Large Mileage Change | 504 | 0.15282 | 6.9197e-05 | 1984.6936 | 1011 | 0.0022166 | 9.7793e-05 | 18.5077
FULTON 1102287172 | 20.4403 | 16.8504 | Large Consequence Shift, Large Mileage Change | 506 | 0.15216 | 0.00014341 | 1064.6586 | 1463 | 0.0010502 | 0.00026032 | 4.24
OTTER 11022012 | 9.2069 | 9.0803 | Large Consequence Shift, Large Mileage Change | 507 | 0.15189 | 7.8985e-05 | 2049.1767 | 2606 | 0.0002705 | 0.00021255 | 1.5412
WINDSOR 1103701650 | 0.74025 | 0.75926 | Large Consequence Shift, Large Mileage Change | 511 | 0.15159 | 0.00018462 | 500.0347 | 1845 | 0.00064649 | 0.00041308 | 2.2846
LUCERNE 11031280 | 8.0384 | 3.1461 | Large Consequence Shift, Large Mileage Change | 512 | 0.1512 | 0.00011562 | 1326.8732 | 3737 | 5.9361e-05 | 0.00031437 | 0.23595
CORRAL 110214026 | 10.1358 | 10.6719 | Large Consequence Shift, Large Mileage Change | 513 | 0.15084 | 6.4324e-05 | 2347.8148 | 2942 | 0.00014879 | 0.00012938 | 1.15
SAN LUIS OBISPO 110342344 | 9.438 | 9.2288 | Large Consequence Shift, Large Mileage Change | 514 | 0.15077 | 6.005e-05 | 2518.1117 | 2661 | 0.00024779 | 0.00022872 | 1.1794
PUTAH CREEK 1105748272 | 0.74961 | 0.66177 | Large Consequence Shift, Large Mileage Change | 515 | 0.15028 | 6.9164e-05 | 2825.842 | 2094 | 0.00049285 | 8.2615e-05 | 4.6313
PETALUMA C 1108618 | 8.6329 | 9.1474 | Large Consequence Shift, Large Mileage Change | 516 | 0.15 | 8.8705e-05 | 1646.4565 | 2707 | 0.00022696 | 0.00025302 | 0.95491
BUELLTON 1101Y26 | 15.1717 | 14.7371 | Large Consequence Shift, Large Mileage Change | 517 | 0.14946 | 6.226e-05 | 2408.6488 | 1610 | 0.00085783 | 0.00021083 | 4.8399
WILLOW CREEK 110237374 | 2.2478 | 2.2473 | Large Consequence Shift, Large Mileage Change | 518 | 0.14938 | 0.00024971 | 652.1813 | 1621 | 0.00084388 | 0.0004716 | 1.7972
FULTON 11024522 | 8.8123 | 8.4002 | Large Consequence Shift, Large Mileage Change | 519 | 0.14919 | 0.00013265 | 1211.0142 | 2022 | 0.00052883 | 0.00024331 | 2.6512
ZACA 1102Y48 | 4.3905 | 4.1615 | Large Consequence Shift, Large Mileage Change | 521 | 0.14907 | 6.9914e-05 | 2423.7326 | 2934 | 0.00015092 | 0.00031827 | 0.39448
GARBERVILLE 11011604 | 4.1852 | 4.6096 | Large Consequence Shift, Large Mileage Change | 522 | 0.14905 | 0.00022087 | 698.8592 | 1993 | 0.00054943 | 0.00018075 | 3.2976
GRASS VALLEY 11032180 | 44.1964 | 45.8619 | Large Consequence Shift, Large Mileage Change | 524 | 0.1487 | 8.9044e-05 | 1832.2635 | 1255 | 0.0014614 | 0.00017499 | 8.4118
POSO MOUNTAIN 21012181 | 16.8531 | 16.7766 | Large Consequence Shift, Large Mileage Change | 525 | 0.14869 | 3.7006e-05 | 4260.274 | 2552 | 0.00028999 | 0.00020661 | 1.0097
CLARK ROAD 11022044 | 8.5077 | 8.0539 | Large Consequence Shift, Large Mileage Change | 526 | 0.14865 | 0.00011519 | 1533.5317 | 2988 | 0.00013554 | 0.00024057 | 0.77444
WISE 1102307494 | 31.0496 | 31.4985 | Large Consequence Shift, Large Mileage Change | 528 | 0.14841 | 7.0522e-05 | 2167.8038 | 2752 | 0.00021373 | 0.00014045 | 2.0674
VOLTA 110180454 | 31.8338 | 32.6569 | Large Consequence Shift, Large Mileage Change | 532 | 0.14786 | 8.7906e-05 | 1652.3048 | 1752 | 0.00072124 | 0.00016345 | 6.3569
SALMON CREEK 1101196 | 5.6122 | 3.7231 | Large Consequence Shift, Large Mileage Change | 533 | 0.14755 | 5.8544e-05 | 2429.7049 | 3644 | 6.1181e-05 | 9.3635e-05 | 0.7662
MOLINO 110266006 | 9.0433 | 9.9185 | Large Consequence Shift, Large Mileage Change | 534 | 0.14747 | 0.00016119 | 1078.2399 | 1720 | 0.00074971 | 0.00054664 | 1.3983
GARBERVILLE 1101CB | 7.023 | 6.4009 | Large Consequence Shift, Large Mileage Change | 535 | 0.14742 | 0.00030831 | 452.1633 | 2324 | 0.0003767 | 0.00034355 | 1.1914
WYANDOTTE 11071026 | 22.4808 | 22.0542 | Large Consequence Shift, Large Mileage Change | 536 | 0.14732 | 7.2065e-05 | 2265.0826 | 2114 | 0.00048157 | 0.00014825 | 3.8435
OILFIELDS 1103N40 | 2.8763 | 1.3506 | Large Consequence Shift, Large Mileage Change | 539 | 0.14681 | 7.224e-05 | 1911.8815 | 1729 | 0.00074213 | 0.00015686 | 4.5749
COTTONWOOD 11031348 | 29.1887 | 31.2087 | Large Consequence Shift, Large Mileage Change | 540 | 0.14666 | 6.4485e-05 | 2847.109 | 2309 | 0.00038337 | 0.000231 | 1.9219
OLETA 1101239062 | 12.193 | 11.7829 | Large Consequence Shift, Large Mileage Change | 542 | 0.14634 | 7.6414e-05 | 2401.1977 | 2614 | 0.00026683 | 0.0001658 | 1.8453
GARBERVILLE 11022010 | 6.6674 | 7.149 | Large Consequence Shift, Large Mileage Change | 544 | 0.14585 | 0.00053737 | 277.3564 | 1788 | 0.00069128 | 0.00046684 | 1.5523
SHINGLE SPRINGS 210819762 | 4.3995 | 4.3152 | Large Consequence Shift, Large Mileage Change | 545 | 0.14549 | 0.00017135 | 1134.0874 | 1121 | 0.0018846 | 0.0004801 | 6.4137
OILFIELDS 1103N44 | 18.1527 | 18.2316 | Large Consequence Shift, Large Mileage Change | 547 | 0.14496 | 8.2092e-05 | 1862.5151 | 1097 | 0.0019549 | 0.00011251 | 15.4625
BROWNS VALLEY 11011268 | 10.9003 | 11.0044 | Large Consequence Shift, Large Mileage Change | 550 | 0.14435 | 8.5846e-05 | 1744.856 | 2672 | 0.00024384 | 0.00018373 | 1.3844
COTTONWOOD 11021578 | 30.142 | 28.8549 | Large Consequence Shift, Large Mileage Change | 554 | 0.14355 | 5.3137e-05 | 2721.7009 | 1152 | 0.0017959 | 0.00020101 | 8.8434
POSO MOUNTAIN 21013990 | 4.3279 | 3.649 | Large Consequence Shift, Large Mileage Change | 558 | 0.14297 | 3.4486e-05 | 3780.3852 | 2443 | 0.00032629 | 0.00017123 | 1.6458
PETALUMA C 1108636 | 9.4338 | 10.6118 | Large Consequence Shift, Large Mileage Change | 559 | 0.14279 | 0.00010078 | 1486.0094 | 2651 | 0.00025233 | 0.00020409 | 1.2242
VOLTA 110165764 | 10.3601 | 10.4621 | Large Consequence Shift, Large Mileage Change | 560 | 0.1423 | 4.7811e-05 | 3350.0688 | 1557 | 0.00091138 | 0.00010951 | 8.3186
STONE CORRAL 1110189488 | 0.8249 | 0.77328 | Large Consequence Shift, Large Mileage Change | 561 | 0.14211 | 2.6519e-05 | 5673.1262 | 2521 | 0.00030174 | 0.00017823 | 1.638
CABRILLO 1103Y12 | 26.5393 | 26.0063 | Large Consequence Shift, Large Mileage Change | 562 | 0.14205 | 4.9026e-05 | 2917.17 | 2873 | 0.00017379 | 0.00015672 | 1.2894
FORT SEWARD 1121CB | 9.2029 | 10.1202 | Large Consequence Shift, Large Mileage Change | 566 | 0.14139 | 0.00019854 | 804.6312 | 1325 | 0.0012733 | 0.00021158 | 6.5492
SISQUOC 1102M54 | 19.8162 | 17.9377 | Large Consequence Shift, Large Mileage Change | 567 | 0.14114 | 5.3034e-05 | 2348.1035 | 2430 | 0.00033291 | 0.00015538 | 2.2468
LINCOLN 11042070 | 17.9936 | 17.997 | Large Consequence Shift, Large Mileage Change | 568 | 0.14111 | 7.9201e-05 | 1863.8372 | 3055 | 0.00011911 | 0.00016447 | 0.74052
SAN RAMON 2101CB | 0.79388 | 0.60799 | Large Consequence Shift, Large Mileage Change | 569 | 0.14108 | 0.0001171 | 1362.5146 | 2630 | 0.00025854 | 0.00071726 | 0.59594
HIGGINS 1107746082 | 0.81177 | 0.81159 | Large Consequence Shift, Large Mileage Change | 570 | 0.14016 | 0.00011547 | 1442.5612 | 2766 | 0.00021019 | 0.00014566 | 1.4628
WILLITS 11044650 | 3.8474 | 4.4991 | Large Consequence Shift, Large Mileage Change | 571 | 0.14007 | 0.0001146 | 915.7398 | 2249 | 0.00040962 | 0.00027045 | 1.9992
COTTONWOOD 11031616 | 46.9461 | 48.8275 | Large Consequence Shift, Large Mileage Change | 572 | 0.13915 | 5.1839e-05 | 2965.2949 | 2326 | 0.00037479 | 0.00013828 | 3.185
POSO MOUNTAIN 21014456 | 23.5315 | 23.4913 | Large Consequence Shift, Large Mileage Change | 573 | 0.13881 | 2.7821e-05 | 5239.6007 | 2815 | 0.00019412 | 7.5323e-05 | 2.0763
SHINGLE SPRINGS 21092679 | 7.1071 | 7.098 | Large Consequence Shift, Large Mileage Change | 578 | 0.13732 | 6.4611e-05 | 2176.5839 | 1062 | 0.0020596 | 0.00023555 | 8.7217
NARROWS 210551582 | 9.5278 | 10.2361 | Large Consequence Shift, Large Mileage Change | 582 | 0.13574 | 0.00014185 | 981.2465 | 1741 | 0.00073038 | 0.00013301 | 5.3762
RIO DELL 11024230 | 22.9009 | 22.6738 | Large Consequence Shift, Large Mileage Change | 585 | 0.13512 | 0.00036561 | 373.6796 | 1782 | 0.00069762 | 0.00034844 | 2.088
DUNLAP 11027849F | 8.6698 | 9.158 | Large Consequence Shift, Large Mileage Change | 589 | 0.13395 | 3.1633e-05 | 5019.3612 | 1056 | 0.0020669 | 0.0001331 | 14.7817
BANGOR 1101870548 | 5.0876 | 5.1697 | Large Consequence Shift, Large Mileage Change | 591 | 0.13326 | 0.00010519 | 1377.0688 | 1222 | 0.0015518 | 0.00012693 | 12.0089
RED BLUFF 110176020 | 9.3423 | 8.8922 | Large Consequence Shift, Large Mileage Change | 592 | 0.13318 | 5.4998e-05 | 2512.6527 | 1379 | 0.0011793 | 0.00021671 | 6.168
HARTLEY 11011306 | 9.4843 | 0.36461 | Large Consequence Shift, Large Mileage Change | 593 | 0.13303 | 9.0495e-05 | 1507.2616 | 1213 | 0.0015984 | 0.00025086 | 8.61
GARBERVILLE 11022540 | 16.2351 | 14.9274 | Large Consequence Shift, Large Mileage Change | 594 | 0.13296 | 0.00054969 | 203.3955 | 2167 | 0.00045184 | 0.00033217 | 1.2708
WYANDOTTE 110796390 | 8.5479 | 9.2377 | Large Consequence Shift, Large Mileage Change | 599 | 0.13125 | 0.00016254 | 924.5376 | 1861 | 0.00063511 | 0.00022186 | 4.4657
VINEYARD 2110CB | 5.5901 | 1.5443 | Large Consequence Shift, Large Mileage Change | 600 | 0.1308 | 9.36e-05 | 1513.1588 | 2866 | 0.00017602 | 0.00040169 | 0.7196
PEORIA 1701CB | 8.7743 | 9.0792 | Large Consequence Shift, Large Mileage Change | 601 | 0.13063 | 8.3932e-05 | 1625.1549 | 2263 | 0.00040332 | 0.00024888 | 1.6742
HIGGINS 11039753 | 2.0548 | 2.2185 | Large Consequence Shift, Large Mileage Change | 602 | 0.13059 | 6.1494e-05 | 2174.098 | 1848 | 0.0006453 | 0.00018402 | 3.7468
CORRAL 110313474 | 2.9373 | 2.8596 | Large Consequence Shift, Large Mileage Change | 604 | 0.13001 | 9.8916e-05 | 1472.7962 | 2936 | 0.0001508 | 0.00026165 | 0.52459
VASCO 1102886522 | 6.7797 | 6.5753 | Large Consequence Shift, Large Mileage Change | 608 | 0.12899 | 6.1458e-05 | 2215.6632 | 1908 | 0.00059344 | 0.00010036 | 7.2005
WYANDOTTE 11091520 | 4.1643 | 3.7066 | Large Consequence Shift, Large Mileage Change | 609 | 0.1287 | 0.00011878 | 1243.3344 | 3421 | 6.9033e-05 | 0.00032702 | 0.3567
FITCH MOUNTAIN 1113356 | 10.7179 | 10.5098 | Large Consequence Shift, Large Mileage Change | 612 | 0.12847 | 0.00012922 | 991.1123 | 1433 | 0.0010995 | 0.00038082 | 3.8608
BANGOR 11017446 | 43.5002 | 39.6723 | Large Consequence Shift, Large Mileage Change | 613 | 0.12828 | 0.00013367 | 983.1088 | 1050 | 0.0020777 | 0.00022766 | 9.2108
RED BLUFF 11031702 | 16.7546 | 17.2848 | Large Consequence Shift, Large Mileage Change | 616 | 0.12716 | 4.2191e-05 | 3360.288 | 2169 | 0.00044788 | 0.00018393 | 2.7694
WILLITS 1104188268 | 4.2682 | 5.0546 | Large Consequence Shift, Large Mileage Change | 617 | 0.1264 | 0.00013545 | 756.6199 | 2502 | 0.00030801 | 0.0002963 | 1.1758
MENLO 1102W80 | 18.9504 | 9.414 | Large Consequence Shift, Large Mileage Change | 620 | 0.12598 | 0.00012461 | 990.5879 | 1700 | 0.00076665 | 0.00028221 | 2.6188
SAN LUIS OBISPO 1104350030 | 5.7957 | 5.4418 | Large Consequence Shift, Large Mileage Change | 621 | 0.12598 | 0.00012847 | 957.5657 | 2048 | 0.00051894 | 0.00031582 | 1.6599
SANTA YNEZ 1102CB | 1.4593 | 0.92959 | Large Consequence Shift, Large Mileage Change | 627 | 0.12375 | 5.5469e-05 | 1580.4692 | 5071 | 4.4948e-05 | 0.00040129 | 0.12656
STILLWATER 11021644 | 22.8387 | 24.3443 | Large Consequence Shift, Large Mileage Change | 628 | 0.12375 | 0.00010131 | 1382.8849 | 1365 | 0.0012164 | 0.00021194 | 6.016
WOODWARD 210878448 | 19.5076 | 18.6098 | Large Consequence Shift, Large Mileage Change | 629 | 0.12365 | 3.1679e-05 | 4051.9056 | 1724 | 0.00074558 | 8.6505e-05 | 8.9105
GARBERVILLE 11011770 | 8.6077 | 9.5406 | Large Consequence Shift, Large Mileage Change | 630 | 0.12342 | 0.00044353 | 343.9532 | 1324 | 0.001277 | 0.00049144 | 2.8178
BUELLTON 1101Y06 | 30.3639 | 29.0312 | Large Consequence Shift, Large Mileage Change | 631 | 0.12317 | 5.4903e-05 | 2033.2985 | 2501 | 0.00030832 | 0.00020376 | 1.9831
CLOVERDALE 1102156 | 6.1652 | 5.6684 | Large Consequence Shift, Large Mileage Change | 633 | 0.12268 | 0.00012453 | 875.9596 | 2754 | 0.0002132 | 0.00027562 | 1.3918
BRIDGEVILLE 110169866 | 6.5701 | 6.6632 | Large Consequence Shift, Large Mileage Change | 634 | 0.12256 | 0.00023172 | 514.4343 | 1460 | 0.0010506 | 0.00034106 | 2.873
DIAMOND SPRINGS 1104705100 | 7.3867 | 7.8745 | Large Consequence Shift, Large Mileage Change | 635 | 0.12223 | 0.00013638 | 900.0548 | 1055 | 0.0020695 | 0.00028148 | 8.271
FULTON 1107604 | 17.4386 | 4.3564 | Large Consequence Shift, Large Mileage Change | 637 | 0.12169 | 0.00010038 | 1390.9913 | 1034 | 0.0021304 | 0.00023639 | 9.144
SAN LUIS OBISPO 1103153199 | 2.9525 | 2.5773 | Large Consequence Shift, Large Mileage Change | 639 | 0.1214 | 4.9986e-05 | 2588.0496 | 2916 | 0.00015635 | 0.00015131 | 1.2606
LAYTONVILLE 1102572 | 21.398 | 16.6882 | Large Consequence Shift, Large Mileage Change | 640 | 0.12097 | 0.00020812 | 588.4642 | 1046 | 0.0020934 | 0.00033903 | 6.2347
ATASCADERO 1103A16 | 19.7861 | 18.9144 | Large Consequence Shift, Large Mileage Change | 641 | 0.12088 | 9.9134e-05 | 1262.4628 | 1087 | 0.0019963 | 0.0001507 | 11.8979
MAXWELL 11053008 | 8.4754 | 4.005 | Large Consequence Shift, Large Mileage Change | 643 | 0.1202 | 6.8766e-05 | 2119.5029 | 1874 | 0.00062596 | 0.0001126 | 6.0889
WYANDOTTE 11031504 | 11.0226 | 11.3976 | Large Consequence Shift, Large Mileage Change | 645 | 0.12006 | 0.00021184 | 618.3499 | 1945 | 0.0005689 | 0.00043233 | 1.3685
CLARKSVILLE 2109CB | 0.99037 | 0.89105 | Large Consequence Shift, Large Mileage Change | 646 | 0.11989 | 0.00021275 | 713.5234 | 2063 | 0.0005115 | 0.000655 | 0.81317
HOLLISTER 2102855412 | 28.4042 | 26.2148 | Large Consequence Shift, Large Mileage Change | 647 | 0.11956 | 6.4443e-05 | 1812.7947 | 1129 | 0.0018674 | 0.00015766 | 12.847
MARTELL 11033152 | 16.733 | 17.0766 | Large Consequence Shift, Large Mileage Change | 648 | 0.11956 | 8.4438e-05 | 1552.0849 | 1995 | 0.00054772 | 0.00017457 | 3.5452
HIGGINS 1103CB | 28.0762 | 0.851 | Large Consequence Shift, Large Mileage Change | 651 | 0.11916 | 0.00014305 | 1166.4722 | 2401 | 0.00034502 | 0.00042306 | 0.90135
TIVY VALLEY 1107822606 | 13.4878 | 12.4202 | Large Consequence Shift, Large Mileage Change | 652 | 0.11894 | 3.2057e-05 | 3717.2296 | 1835 | 0.00065371 | 0.00013241 | 6.8034
COARSEGOLD 21036110 | 11.0096 | 10.6661 | Large Consequence Shift, Large Mileage Change | 660 | 0.11737 | 4.1885e-05 | 2595.4532 | 3908 | 5.609e-05 | 8.8747e-05 | 0.59405
HORSESHOE 110150140 | 3.9511 | 3.829 | Large Consequence Shift, Large Mileage Change | 661 | 0.11734 | 0.0001527 | 724.1364 | 2556 | 0.00028839 | 0.00038912 | 0.77854
SAN LUIS OBISPO 1104777686 | 1.6826 | 1.5451 | Large Consequence Shift, Large Mileage Change | 662 | 0.11731 | 6.1974e-05 | 2050.5492 | 3076 | 0.00011451 | 0.00013575 | 0.95888
SILVERADO 210258626 | 15.2217 | 9.177 | Large Consequence Shift, Large Mileage Change | 663 | 0.117 | 9.1234e-05 | 1427.3169 | 1278 | 0.0013995 | 0.00030699 | 6.4227
PEORIA 170411232 | 12.7443 | 13.8006 | Large Consequence Shift, Large Mileage Change | 665 | 0.11656 | 7.7667e-05 | 1686.0292 | 1804 | 0.00067537 | 0.00018782 | 3.2727
WILLITS 1104CB | 3.8906 | 3.4435 | Large Consequence Shift, Large Mileage Change | 667 | 0.11609 | 0.00013491 | 773.6055 | 1914 | 0.00058984 | 0.00035379 | 1.7379
CLAY 1103CB | 6.0162 | 5.5127 | Large Consequence Shift, Large Mileage Change | 671 | 0.11521 | 0.00011397 | 734.8074 | 2125 | 0.00047538 | 0.00044406 | 0.88196
WOODACRE 110191900 | 9.0238 | 6.7081 | Large Consequence Shift, Large Mileage Change | 673 | 0.11491 | 0.00012885 | 1012.5441 | 2869 | 0.00017523 | 0.00013923 | 0.94096
SAND CREEK 110397354 | 8.8056 | 8.5719 | Large Consequence Shift, Large Mileage Change | 674 | 0.11488 | 2.3546e-05 | 5418.3509 | 2013 | 0.00053504 | 0.00012835 | 4.4228
CLARKSVILLE 210619642 | 0.77467 | 0.46963 | Large Consequence Shift, Large Mileage Change | 675 | 0.11477 | 0.00024874 | 453.1258 | 2856 | 0.00017761 | 0.00066444 | 0.30906
MERCED FALLS 11029470 | 22.84 | 23.6151 | Large Consequence Shift, Large Mileage Change | 676 | 0.11474 | 8.8658e-05 | 1395.4992 | 1409 | 0.0011362 | 0.00020872 | 5.2118
WHITMORE 11011594 | 24.2649 | 24.5566 | Large Consequence Shift, Large Mileage Change | 678 | 0.11449 | 0.00012552 | 1126.4421 | 1076 | 0.0020262 | 0.00021691 | 11.4363
COTATI 1103CB | 12.0712 | 12.7763 | Large Consequence Shift, Large Mileage Change | 684 | 0.11341 | 0.00011506 | 1154.679 | 2487 | 0.00031244 | 0.00025765 | 1.2092
WHITMORE 110145262 | 28.7967 | 29.1956 | Large Consequence Shift, Large Mileage Change | 685 | 0.11334 | 0.00010272 | 1038.3077 | 2015 | 0.0005347 | 0.00016627 | 4.3417
COTTONWOOD 11031344 | 10.1214 | 10.6583 | Large Consequence Shift, Large Mileage Change | 686 | 0.11327 | 6.9299e-05 | 2362.2491 | 2720 | 0.00022266 | 0.00024668 | 1.0562
CLEAR LAKE 1101699062 | 0.84503 | 0.30925 | Large Consequence Shift, Large Mileage Change | 687 | 0.11322 | 8.6499e-05 | 1257.9802 | 10762 | 1.3776e-05 | 0.0001504 | 0.26213
SHINGLE SPRINGS 210912392 | 14.6504 | 16.4989 | Large Consequence Shift, Large Mileage Change | 688 | 0.11309 | 0.00010936 | 1246.8521 | 1616 | 0.00085065 | 0.00034843 | 2.6037
PLACERVILLE 1110421358 | 14.8357 | 15.6102 | Large Consequence Shift, Large Mileage Change | 689 | 0.11286 | 0.00012254 | 802.5537 | 1369 | 0.0012082 | 0.00027772 | 4.2099
CAYETANO 2111CB | 3.3871 | 0.029509 | Large Consequence Shift, Large Mileage Change | 692 | 0.11258 | 0.00012146 | 1050.3758 | 3073 | 0.00011519 | 0.00035266 | 0.67195
LINCOLN 110451756 | 10.8395 | 0.27114 | Large Consequence Shift, Large Mileage Change | 693 | 0.11252 | 8.4998e-05 | 1131.9939 | 10145 | 1.7942e-05 | 0.00014685 | 0.093011
MC ARTHUR 1101501106 | 9.9962 | 9.7084 | Large Consequence Shift, Large Mileage Change | 694 | 0.11248 | 2.2874e-05 | 4753.376 | 3048 | 0.00012093 | 0.00011123 | 1.1361
CLARKSVILLE 2103593454 | 32.0092 | 31.0196 | Large Consequence Shift, Large Mileage Change | 696 | 0.11221 | 8.6965e-05 | 1565.5344 | 1847 | 0.00064539 | 0.00014283 | 4.5008
RISING RIVER 11011530 | 11.2915 | 10.9226 | Large Consequence Shift, Large Mileage Change | 697 | 0.11218 | 5.6107e-05 | 2176.9842 | 1147 | 0.0018035 | 0.00014054 | 11.3658
CLARK ROAD 110281296 | 10.9205 | 6.0988 | Large Consequence Shift, Large Mileage Change | 698 | 0.11218 | 0.00010636 | 869.9858 | 1028 | 0.0021691 | 0.0002095 | 18.2926
APPLE HILL 210277546 | 43.0994 | 43.7008 | Large Consequence Shift, Large Mileage Change | 699 | 0.11214 | 9.5092e-05 | 1309.4241 | 1022 | 0.002192 | 0.00022251 | 11.7123
COTATI 1105213984 | 6.9378 | 4.8762 | Large Consequence Shift, Large Mileage Change | 701 | 0.11198 | 9.4494e-05 | 1225.6338 | 2811 | 0.00019479 | 0.00015644 | 1.2226
MERCED FALLS 110238748 | 15.354 | 16.06 | Large Consequence Shift, Large Mileage Change | 702 | 0.11192 | 7.1783e-05 | 1618.5371 | 1357 | 0.0012316 | 0.0001865 | 6.4099
COTATI 110599720 | 9.1863 | 8.1399 | Large Consequence Shift, Large Mileage Change | 703 | 0.11177 | 8.8188e-05 | 1157.381 | 2498 | 0.00030967 | 0.00027035 | 1.1545
HIGGINS 1110CB | 8.7129 | 0.032252 | Large Consequence Shift, Large Mileage Change | 704 | 0.11172 | 0.00023184 | 615.3789 | 3013 | 0.00013041 | 0.00069983 | 0.35337
TEMPLETON 2110317796 | 5.0644 | 4.4678 | Large Consequence Shift, Large Mileage Change | 708 | 0.11087 | 7.0178e-05 | 1382.5193 | 1025 | 0.0021788 | 0.00021439 | 9.9711
CAL WATER 1102690954 | 3.9839 | 3.7239 | Large Consequence Shift, Large Mileage Change | 710 | 0.11057 | 1.5494e-05 | 7160.5307 | 1541 | 0.0009331 | 8.4691e-05 | 10.7868
OCEANO 1103839302 | 1.1227 | 1.0224 | Large Consequence Shift, Large Mileage Change | 713 | 0.11001 | 4.4882e-05 | 2564.3756 | 3025 | 0.00012708 | 0.00010839 | 1.1723
COTTONWOOD 110168190 | 23.9832 | 24.6293 | Large Consequence Shift, Large Mileage Change | 716 | 0.10937 | 3.6266e-05 | 3033.8848 | 2400 | 0.00034512 | 0.00015138 | 2.375
PETALUMA C 1109664732 | 0.89361 | 0.89691 | Large Consequence Shift, Large Mileage Change | 717 | 0.10842 | 9.0941e-05 | 1650.3416 | 2854 | 0.00017857 | 0.00015528 | 1.15
LUCERNE 1103CB | 2.2493 | 2.2958 | Large Consequence Shift, Large Mileage Change | 719 | 0.10789 | 0.00018211 | 299.7205 | 1937 | 0.00057129 | 0.00047398 | 1.2497
SONOMA 1105229588 | 9.6526 | 9.524 | Large Consequence Shift, Large Mileage Change | 720 | 0.10786 | 8.8674e-05 | 1224.4513 | 1744 | 0.00072853 | 0.00018134 | 4.2211
NOTRE DAME 1104937710 | 0.85279 | 0.40498 | Large Consequence Shift, Large Mileage Change | 723 | 0.10733 | 9.5377e-05 | 1144.507 | 5669 | 4.1353e-05 | 0.00011348 | 0.48724
JAMESON 11059472 | 3.0669 | 2.3358 | Large Consequence Shift, Large Mileage Change | 724 | 0.10731 | 8.6625e-05 | 1503.1801 | 1928 | 0.00057842 | 0.00040853 | 1.2034
OLETA 110151740 | 15.5571 | 13.0673 | Large Consequence Shift, Large Mileage Change | 725 | 0.107 | 6.4996e-05 | 1615.1565 | 2994 | 0.00013426 | 0.00014383 | 1.1399
CORRAL 110236666 | 16.9644 | 17.8793 | Large Consequence Shift, Large Mileage Change | 726 | 0.10683 | 7.008e-05 | 1591.1088 | 1954 | 0.00056378 | 0.00017179 | 3.3715

## 12.b Probability of Igntion
12.b Probability of Ignition Change Analysis
| WDRM v2 | WDRM v3
Probability of Igntion Model Subset
CPZ Name | Ignition Probability | Ignition Probability | % Increase | Animal Bird | Animal Other | Animal Squirrel | Other Equipment | Primary Conductor | Secondary Conductor | Support Structure Equipment | Transformer Equipment | Vegetation Branch | Vegetation Other | Vegetation Trunk | Voltage Control Equipment | Third Party Balloon | Third Party Other | Third Party Vehicle
FORT SEWARD 1121CB | 0.00019854 | 0.00021158 | 6.565% | 3.1619e-06 | 2.0413e-06 | 1.4649e-06 | 9.5443e-06 | 4.6275e-05 | 3.8309e-05 | 1.3335e-05 | 1.1149e-05 | 2.9785e-05 | 2.5412e-05 | 7.5305e-05 | 1.8701e-06 | 4.4395e-07 | 3.9987e-06 | 7.4578e-06
BANGOR 11017446 | 0.00013367 | 0.00022765 | 70.31% | 8.1061e-06 | 8.9571e-06 | 4.2195e-06 | 1.6255e-05 | 4.4792e-05 | 2.0066e-05 | 1.4627e-05 | 1.5074e-05 | 3.0566e-05 | 1.5499e-05 | 6.2624e-05 | 4.1383e-06 | 6.4713e-07 | 5.3283e-06 | 6.9632e-06
GARBERVILLE 11011770 | 0.00044353 | 0.00049144 | 10.8% | 3.8672e-06 | 3.1675e-06 | 9.1387e-07 | 2.5886e-05 | 6.6694e-05 | 2.3567e-05 | 1.2851e-05 | 1.5161e-05 | 0.00011584 | 3.5991e-05 | 0.00019867 | 3.6363e-06 | 5.0149e-07 | 1.0929e-05 | 1.9067e-05
DIAMOND SPRINGS 1104705100 | 0.00013638 | 0.00028148 | 106.4% | 1.4501e-05 | 5.4969e-06 | 7.429e-06 | 2.0135e-05 | 6.4988e-05 | 3.0481e-05 | 9.0997e-06 | 1.3317e-05 | 3.6018e-05 | 1.8501e-05 | 6.8089e-05 | 8.8896e-06 | 1.117e-06 | 5.8967e-06 | 1.6779e-05
LAYTONVILLE 1102572 | 0.00020812 | 0.00033903 | 62.9% | 1.0478e-05 | 3.7148e-06 | 2.099e-06 | 2.0802e-05 | 5.7296e-05 | 2.5774e-05 | 1.4928e-05 | 1.5943e-05 | 7.0133e-05 | 2.8253e-05 | 0.00010695 | 3.8805e-06 | 4.9098e-07 | 7.0991e-06 | 1.1702e-05
ATASCADERO 1103A16 | 9.9134e-05 | 0.0001507 | 52.02% | 1.6066e-05 | 4.3014e-06 | 4.9559e-07 | 2.1356e-05 | 4.3435e-05 | 3.8232e-05 | 9.044e-06 | 1.0412e-05 | 2.0106e-05 | 4.2116e-06 | 1.9232e-05 | 2.5315e-06 | 5.8118e-07 | 4.4228e-06 | 7.2197e-06
WHITMORE 11011594 | 0.00012552 | 0.00021691 | 72.81% | 3.007e-06 | 2.3337e-06 | 5.17e-06 | 1.5498e-05 | 3.7648e-05 | 2.9673e-05 | 1.8589e-05 | 1.404e-05 | 2.9966e-05 | 2.142e-05 | 6.4471e-05 | 2.7775e-06 | 2.2683e-07 | 7.8858e-06 | 7.3436e-06
APPLE HILL 210277546 | 9.5092e-05 | 0.00022251 | 134% | 1.0128e-05 | 1.8909e-06 | 2.4114e-06 | 1.3378e-05 | 5.0812e-05 | 3.0554e-05 | 1.212e-05 | 1.3194e-05 | 2.4472e-05 | 2.1906e-05 | 6.2986e-05 | 1.8325e-06 | 6.0526e-07 | 1.1426e-05 | 7.2151e-06
Increase to probability of ignition is the result of model improvements from the development of the cause-specific subset models that more precisely locate asset ignition risk.
Higlighted cells mark the two top contributing model subsets to the probability of igntion for a CPZ.