## Sheet1
Index Number | Ignition Date | Circuit Protection Zone | HFTD Tier | CPUC Reportable? | Metric Type | Ignition Driver | Line Type | Qualifier for Performing EIA
20210004 | 2021-01-04 | HIGGINS 1104842642 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210039 | 2021-01-18 | LOS GATOS 1106LA64 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210040 | 2021-01-18 | VACAVILLE 110838316 | Tier 2 | Yes | Equipment / facility failure or damage | Conductor | Distribution | HFTD
20210051 | 2021-01-18 | CALPINE 1144CB | Tier 3 | Yes | Vegetation contact | Vegetation contact | Transmission | HFTD
20210044 | 2021-01-19 | CAMP EVERS 210612760 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210045 | 2021-01-19 | STELLING 111060094 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210049 | 2021-01-19 | CAMP EVERS 210511384 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210052 | 2021-01-19 | DUNLAP 1103CB | Tier 2 | Yes | Equipment / facility failure or damage | Conductor | Distribution | HFTD
20210055 | 2021-01-19 | PLACERVILLE 21067522 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210058 | 2021-01-19 | ROB ROY 210410960 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210063 | 2021-01-19 | PAUL SWEET 2106CB | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210185 | 2021-01-19 | APPLE HILL 210239544 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210186 | 2021-01-19 | BEAR VALLEY 2105454432 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210067 | 2021-01-20 | SALT SPRINGS 21028442 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210074 | 2021-01-22 | MARIPOSA 21019400 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210170 | 2021-02-26 | SALMON CREEK 1101196 | Tier 2 | Yes | Equipment / facility failure or damage | Connection device | Distribution | HFTD
20210293 | 2021-03-27 | SAN LUIS OBISPO 1107136678 | Tier 3 | Yes | Equipment / facility failure or damage | Insulator and bushing | Distribution | HFTD
20210315 | 2021-03-30 | RESERVATION ROAD 1101370948 | Tier 2 | Yes | Equipment / facility failure or damage | Conductor | Distribution | HFTD
20210381 | 2021-04-15 | PEORIA 170570198 | Tier 2 | Yes | Equipment / facility failure or damage | Other | Transmission | HFTD
20210384 | 2021-04-17 | CAYETANO 2109884904 | Tier 3 | Yes | Contamination | Contamination | Distribution | HFTD
20210445 | 2021-04-18 | BIG BEND 1101CB | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210418 | 2021-04-21 | BANGOR 11017446 | Tier 2 | Yes | Equipment / facility failure or damage | Conductor | Distribution | HFTD
20210428 | 2021-04-23 | DEER CREEK-DRUM-60kV | Tier 3 | Yes | Equipment / facility failure or damage | Tie wire | Transmission | HFTD
20210440 | 2021-04-26 | LAS POSITAS 2108631066 | Tier 2 | Yes | Equipment / facility failure or damage | Connection device | Distribution | HFTD
20210450 | 2021-04-28 | TIDEWATER 210657926 | Tier 2 | Yes | Equipment / facility failure or damage | Pole | Distribution | HFTD
20210468 | 2021-05-02 | BEAR VALLEY 210538882 | Tier 2 | Yes | Equipment / facility failure or damage | Fuse | Distribution | HFTD
20210538 | 2021-05-10 | PINE GROVE 11023168 | Tier 2 | Yes | Contact from object | Animal contact | Distribution | HFTD
20210539 | 2021-05-10 | PARADISE 11052214 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210549 | 2021-05-11 | CABRILLO 1103Y46 | Tier 2 | Yes | Wire-to-wire contact | Wire-to-wire contact | Distribution | HFTD
20210559 | 2021-05-12 | BIG BASIN 110169550 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210594 | 2021-05-16 | CAYETANO 2109MR572 | Tier 2 | Yes | Contact from object | Animal contact | Distribution | HFTD
20210599 | 2021-05-17 | DESCHUTES 11041370 | Non-HFTD | Yes | Equipment / facility failure or damage | Conductor | Distribution | Other
20210600 | 2021-05-17 | MARIPOSA 2102CB | Tier 2 | Unknown | Unknown | Unknown | Distribution | HFTD
20210612 | 2021-05-19 | GEYSERVILLE 110137454 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210632 | 2021-05-21 | CEDAR CREEK 11011656 | Tier 2 | Yes | Equipment / facility failure or damage | Transformer | Distribution | HFTD
20210677 | 2021-05-29 | HALSEY 1102281660 | Tier 2 | Yes | Equipment / facility failure or damage | Connection device | Distribution | HFTD
20210697 | 2021-05-31 | TIVY VALLEY 1107822606 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210709 | 2021-06-02 | LAYTONVILLE 110237586 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210716 | 2021-06-03 | FORT ROSS 112170288 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210732 | 2021-06-06 | ZACA 1101Y70 | Tier 2 | No | Other Fire: Non-PG&E related | Other Fire: Non-PG&E related |  | HFTD
20210733 | 2021-06-06 | OAKHURST 1101636114 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210766 | 2021-06-10 | DIAMOND SPRINGS 11071402 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210768 | 2021-06-10 | MONTE RIO 1111292 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210816 | 2021-06-16 | CAMP EVERS 210510728 | Tier 3 | Yes | Equipment / facility failure or damage | Crossarm | Distribution | HFTD
20210818 | 2021-06-16 | AUBERRY 1101R2579 | Tier 2 | Yes | Contact from object | Animal contact | Distribution | HFTD
20210823 | 2021-06-16 | RINCON 11035152 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211068 | 2021-06-16 | OREGON TRAIL 11021584 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210857 | 2021-06-19 | IGNACIO 11011264 | Tier 2 | Yes | Equipment / facility failure or damage | Connection device | Distribution | HFTD
20210871 | 2021-06-19 | MOLINO 1102318 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210859 | 2021-06-20 | MARTELL 110191216 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210867 | 2021-06-20 | WILLITS 1104CB | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210905 | 2021-06-24 | COTTONWOOD 11011610 | Tier 2 | Yes | Equipment / facility failure or damage | Connection device | Distribution | HFTD
20210910 | 2021-06-26 | BURNEY 11011322 | Tier 2 | Yes | Equipment / facility failure or damage | Connection device | Distribution | HFTD
20210911 | 2021-06-26 | STILLWATER 110248952 | Tier 2 | Yes | Contact from object | Other | Distribution | HFTD
20210919 | 2021-06-28 | BIG MEADOWS 21012586 | Tier 2 | No | Other Fire: Non-PG&E related | Other Fire: Non-PG&E related | Distribution | HFTD
20210960 | 2021-06-29 | AUBERRY 1101R324 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20210979 | 2021-07-04 | AUBERRY 1101R2839 | Tier 2 | Yes | Contact from object | Animal contact | Distribution | HFTD
20211013 | 2021-07-07 | HIGGINS 1103789714 | Tier 2 | Yes | Equipment / facility failure or damage | Switch | Distribution | HFTD
20211016 | 2021-07-08 | OTTER 11022012 | Tier 2 | Yes | Contamination | Contamination | Distribution | HFTD
20211017 | 2021-07-08 | SHINGLE SPRINGS 2105CB | Tier 3 | Yes | Equipment / facility failure or damage | Connection device | Distribution | HFTD
20211020 | 2021-07-08 | WISE 11022230 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211021 | 2021-07-08 | GRASS VALLEY 11032110 | Tier 2 | Yes | Equipment / facility failure or damage | Pole | Distribution | HFTD
20211042 | 2021-07-10 | FORT ORD 21069658 | Tier 2 | Yes | Contact from object | Animal contact | Transmission | HFTD
20211110 | 2021-07-10 | SAND CREEK 1103818064 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211038 | 2021-07-11 | MARTELL 110191216 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211046 | 2021-07-12 | PEORIA 170510580 | Tier 2 | Yes | Contact from object | Animal contact | Distribution | HFTD
20211048 | 2021-07-12 | COLUMBIA HILL 110190730 | Tier 2 | Yes | Contact from object | Other | Distribution | HFTD
20211056 | 2021-07-12 | WEST POINT 1101L1969 | Tier 3 | Yes | Equipment / facility failure or damage | Conductor | Distribution | HFTD
20211061 | 2021-07-14 | PARADISE 11052214 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211090 | 2021-07-19 | GRASS VALLEY 11031700 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211101 | 2021-07-21 | HOOPA 1101405280 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211104 | 2021-07-21 | CLAY 1102CB | Tier 2 | Yes | Equipment / facility failure or damage | Connection device | Distribution | HFTD
20211123 | 2021-07-25 | OLEMA 1101602 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211133 | 2021-07-27 | PLACERVILLE 210611132 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211154 | 2021-07-31 | BANGOR 110182350 | Tier 2 | Yes | Equipment / facility failure or damage | Conductor | Distribution | HFTD
20211156 | 2021-07-31 | REDBUD 1102523244 | Tier 2 | Yes | Equipment / facility failure or damage | Transformer | Distribution | HFTD
20211190 | 2021-08-05 | LOS OSITOS 210364348 | Non-HFTD | Yes | Contamination | Contamination | Distribution | EPSS Protected Facility
20211205 | 2021-08-07 | WISE 11022054 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211225 | 2021-08-09 | CAMBRIA 1101175422 | Tier 2 | Yes | Equipment / facility failure or damage | Connection device | Distribution | HFTD
20211227 | 2021-08-10 | SHINGLE SPRINGS 210519522 | Tier 3 | No | Other Fire: Non-PG&E related | Other Fire: Non-PG&E related |  | HFTD
20211258 | 2021-08-10 | CAMP EVERS 2105601610 | Tier 3 | Yes | Contact from object | Land vehicle contact | Distribution | HFTD
20211246 | 2021-08-13 | TYLER 1105816852 | Tier 2 | Yes | Contact from object | Animal contact | Distribution | HFTD
20211249 | 2021-08-13 | PETALUMA C 1108233646 | Tier 2 | Yes | Equipment / facility failure or damage | Connection device | Distribution | HFTD
20211260 | 2021-08-16 | TEMPLETON 2113A70 | Non-HFTD | No | Equipment / facility failure or damage | Connection device | Distribution | Other
20211263 | 2021-08-17 | EEL RIVER 11024814 | Tier 2 | Yes | Unknown | Unknown | Distribution | HFTD
20211265 | 2021-08-18 | SISQUOC 1102CB | Non-HFTD | No | Contamination | Contamination | Distribution | Other
20211275 | 2021-08-19 | STILLWATER 11021644 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211285 | 2021-08-23 | GARBERVILLE 1101323694 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211293 | 2021-08-25 | GIRVAN 11011330 | Tier 3 | Yes | Other | Other | Distribution | HFTD
20211301 | 2021-08-26 | FORT BRAGG A 11044690 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211309 | 2021-08-27 | LOS GATOS 1107772050 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211322 | 2021-08-29 | ANNAPOLIS 1101528344 | Tier 2 | Yes | Contact from object | Balloon contact | Distribution | HFTD
20211326 | 2021-08-29 | FORT SEWARD 1122CB | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211330 | 2021-08-30 | JAMESON 1103118944 | Tier 2 | Yes | Contamination | Contamination | Distribution | HFTD
20211332 | 2021-08-30 | NARROWS 21052216 | Non-HFTD | No | Vegetation contact | Vegetation contact | Distribution | EPSS Protected Facility
20211333 | 2021-08-30 | MARIPOSA 210210880 | Tier 3 | Yes | Equipment / facility failure or damage | Conductor | Distribution | HFTD
20211336 | 2021-08-31 | ELK 11011272 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211380 | 2021-09-08 | LAYTONVILLE 11011760 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211494 | 2021-09-17 | PENRYN 1103604 | Tier 2 | Yes | Contact from object | Land vehicle contact | Distribution | HFTD
20211506 | 2021-09-19 | CAYETANO 2109MR572 | Tier 2 | Yes | Contamination | Contamination | Distribution | HFTD
20211619 | 2021-09-28 | SARATOGA 1115463510 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211648 | 2021-09-30 | SAN RAMON 210853732 | Tier 3 | Yes | Contamination | Contamination | Distribution | HFTD
20211697 | 2021-10-05 | LOS GATOS 1106LB44 | Tier 3 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20211698 | 2021-10-05 | OREGON TRAIL 11031448 | Tier 2 | Yes | Contact from object | Land vehicle contact | Distribution | HFTD
20211714 | 2021-10-07 | SMARTVILLE 1101CB | Tier 2 | Yes | Lightening | Lightening | Distribution | HFTD
20211998 | 2021-10-09 | DIAMOND SPRINGS 110519910 | Tier 3 | Yes | Equipment / facility failure or damage | Conductor | Distribution | HFTD
20211762 | 2021-10-11 | CAMBRIA 1102CB | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20211774 | 2021-10-11 | ALTO 11251158 | Non-HFTD | Yes | Vegetation contact | Vegetation contact | Distribution | Other
20211776 | 2021-10-12 | AVENAL 21019070 | Non-HFTD | Yes | Equipment / facility failure or damage | Pole | Distribution | Other
20211976 | 2021-10-18 | BELMONT 110347804 | Non-HFTD | No | Equipment / facility failure or damage | Pole | Distribution | Other
20211855 | 2021-10-19 | FORT BRAGG A 1102416218 | Tier 2 | No | Equipment / facility failure or damage | Conductor | Distribution | HFTD
20212019 | 2021-10-20 | MORGAN HILL 2105XR176 | Tier 2 | No | Contamination | Contamination | Distribution | HFTD
20211895 | 2021-10-22 | GIRVAN 11019732 | Tier 3 | No | Contamination | Contamination | Distribution | HFTD
20211910 | 2021-10-24 | BEAR VALLEY 210538882 | Tier 2 | Yes | Other | Other | Distribution | HFTD
20211911 | 2021-10-24 | VASCO 1102886522 | Non-HFTD | No | Contamination | Contamination | Distribution | EPSS Protected Facility
20212003 | 2021-11-02 | TEMPLETON 2110901690 | Tier 3 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20212252 | 2021-12-18 | PINE GROVE 11026080 | Tier 2 | No | Equipment / facility failure or damage | Other | Distribution | HFTD
20212312 | 2021-12-24 | CAMP EVERS 210660124 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220015 | 2022-01-05 | ORO FINO 11012022 | Tier 3 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20220048 | 2022-01-20 | RACETRACK 17038120 | Tier 2 | No | Equipment / facility failure or damage | Fuse | Distribution | HFTD
20220055 | 2022-01-22 | GARBERVILLE 11011604 | Non-HFTD | No | Vegetation contact | Vegetation contact | Distribution | HFRA
20220056 | 2022-01-22 | OAKLAND K 1102CR014 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220069 | 2022-01-25 | HOOPA 110137202 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220133 | 2022-02-08 | GRASS VALLEY 11031700 | Tier 2 | Yes | Contact from object | Other | Distribution | HFTD
20220163 | 2022-02-15 | BRUNSWICK 110651486 | Tier 3 | Yes | Contact from object | Other | Distribution | HFTD
20220223 | 2022-02-18 | HICKS 2101XR548 | Non-HFTD | No | Equipment / facility failure or damage | Conductor | Distribution | Other
20220176 | 2022-02-20 | BRUNSWICK 11062416 | Tier 3 | Yes | Contact from object | Other | Distribution | HFTD
20220202 | 2022-02-26 | TEMPLETON 2110901690 | Tier 3 | Yes | Equipment / facility failure or damage | Transformer | Distribution | HFTD
20220309 | 2022-03-22 | BIG BEND 1102CB | Tier 3 | Yes | Other | Other | Distribution | HFTD
20220310 | 2022-03-23 | HALSEY 1102CB | Tier 2 | Yes | Contact from object | Animal contact | Distribution | HFTD
20220326 | 2022-03-26 | BRUNSWICK 1106114670 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220337 | 2022-03-27 | GARBERVILLE 1102802246 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220379 | 2022-04-07 | GRASS VALLEY 11031700 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220387 | 2022-04-07 | DOBBINS 11011264 | Tier 2 | Yes | Contact from object | Other | Distribution | HFTD
20220390 | 2022-04-08 | ORO FINO 11022090 | Tier 3 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20220398 | 2022-04-09 | FORT BRAGG A 1104529076 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220411 | 2022-04-11 | BUTTE 1105398234 | Tier 3 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20220431 | 2022-04-14 | BUELLTON 1101Y36 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220438 | 2022-04-15 | CORRAL 110214028 | Tier 2 | Yes | Contact from object | Land vehicle contact | Transmission | HFTD
20220440 | 2022-04-16 | PEORIA 170459596 | Tier 2 | Yes | Contact from object | Animal contact | Distribution | HFTD
20220445 | 2022-04-17 | DIAMOND SPRINGS 11057722 | Tier 3 | No | Wire-to-wire contact | Wire-to-wire contact | Distribution | HFTD
20220450 | 2022-04-18 | ALLEGHANY 1101804 | Tier 2 | Yes | Other | Other | Distribution | HFTD
20220458 | 2022-04-20 | TEMPLETON 2113A70 | Tier 2 | Yes | Contact from object | Animal contact | Distribution | HFTD
20220483 | 2022-04-23 | GARBERVILLE 1101CB | Tier 2 | Yes | Contact from object | Animal contact | Distribution | HFTD
20220491 | 2022-04-25 | POINT MORETTI 11015078 | Tier 3 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20220500 | 2022-04-27 | KONOCTI 1102716 | Tier 2 | Yes | Contact from object | Other | Distribution | HFTD
20220531 | 2022-05-02 | BRUNSWICK 1103173934 | Tier 3 | Yes | Contact from object | Other | Distribution | HFTD
20220543 | 2022-05-04 | GIRVAN 11019732 | Tier 3 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20220560 | 2022-05-07 | FOOTHILL 1101CB | Tier 2 | No | Contamination | Contamination | Distribution | HFTD
20220564 | 2022-05-08 | PIERCY 2109XR378 | Non-HFTD | No | Other Fire: Non-PG&E related | Other Fire: Non-PG&E related | Distribution | Other
20220568 | 2022-05-09 | WYANDOTTE 1107829470 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220572 | 2022-05-10 | GREENBRAE 1103343788 | Non-HFTD | No | Equipment / facility failure or damage | Capacitor bank | Distribution | Other
20220609 | 2022-05-16 | SHINGLE SPRINGS 210989296 | Tier 2 | Yes | Contact from object | Animal contact | Distribution | HFTD
20220626 | 2022-05-19 | GARBERVILLE 1102802246 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220627 | 2022-05-19 | MADISON 210123272 | Non-HFTD | Yes | Contact from object | Land vehicle contact | Distribution | Other
20220642 | 2022-05-20 | PIKE CITY 11011730 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220643 | 2022-05-20 | POINT ARENA 110183354 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220654 | 2022-05-23 | NORTH DUBLIN 2103248212 | Tier 2 | Yes | Contact from object | Other | Distribution | HFTD
20220657 | 2022-05-23 | SILVERADO 2102636 | Tier 3 | Yes | Contact from object | Land vehicle contact | Distribution | HFTD
20220659 | 2022-05-23 | SANTA YNEZ 110477098 | Tier 2 | Yes | Contact from object | Other | Distribution | HFTD
20220699 | 2022-05-27 | MONTE RIO 1113678 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220724 | 2022-05-31 | HIGGINS 110332120 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220735 | 2022-06-01 | HOPLAND 11014626 | Tier 2 | Yes | Contact from object | Other | Distribution | HFTD
20220754 | 2022-06-04 | GOLDTREE 1108961060 | Tier 2 | Yes | Contamination | Contamination | Distribution | HFTD
20220803 | 2022-06-05 | WILLOW CREEK 11015002 | Tier 2 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20220772 | 2022-06-06 | SPENCE 1102990464 | Tier 2 | No | Contamination | Contamination | Distribution | HFTD
20220777 | 2022-06-06 | APPLE HILL 21029722 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220815 | 2022-06-10 | HOPLAND 110194006 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220816 | 2022-06-10 | MORGAN HILL 2105XR268 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220819 | 2022-06-10 | HALF MOON BAY 1103655644 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20221327 | 2022-06-13 | SAN LUIS OBISPO 1103V82 | Tier 2 | No | Contamination | Contamination | Distribution | HFTD
20220848 | 2022-06-14 | PAUL SWEET 2106974130 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220851 | 2022-06-14 | FAIRVIEW 2207M500R | Non-HFTD | Yes | Equipment / facility failure or damage | Connection device | Distribution | Other
20221236 | 2022-06-16 | HALF MOON BAY 1103880484 | Tier 2 | Yes | Contact from object | Animal contact | Distribution | HFTD
20221085 | 2022-06-22 | FULTON 1107145720 | Tier 3 | No | Equipment / facility failure or damage | Fuse | Distribution | HFTD
20221807 | 2022-06-22 | SHEPHERD 2111327814 | Tier 2 | No | Other Fire: Non-PG&E related | Other Fire: Non-PG&E related |  | HFTD
20220952 | 2022-06-23 | SAN JUSTO 1101CB | Tier 2 | No | Equipment / facility failure or damage | Other | Distribution | HFTD
20220954 | 2022-06-23 | VACA DIXON 110118292 | Non-HFTD | Yes | Contact from object | Land vehicle contact | Distribution | EPSS Protected Facility
20220973 | 2022-06-24 | UKIAH 1114528 | Non-HFTD | Yes | Equipment / facility failure or damage | Other | Distribution | EPSS Protected Facility
20220980 | 2022-06-24 | PHILO 110137222 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220981 | 2022-06-25 | LOS GATOS 1106697500 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220982 | 2022-06-25 | CAMP EVERS 210660124 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20220991 | 2022-06-26 | VACAVILLE 111113652 | Tier 2 | Yes | Other | Other | Distribution | HFTD
20221010 | 2022-06-28 | LUCERNE 110647198 | Tier 2 | No | Equipment / facility failure or damage | Other | Distribution | HFTD
20221014 | 2022-06-28 | ATASCADERO 1103A18 | Tier 2 | Yes | Equipment / facility failure or damage | Voltage regulator/booster | Distribution | HFTD
20221022 | 2022-06-29 | COARSEGOLD 210410110 | Tier 2 | Yes | Other | Other | Distribution | HFTD
20221039 | 2022-07-02 | OAKLAND X 1106CR020 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20221312 | 2022-07-02 | MIRABEL 110257840 | Tier 3 | No | Equipment / facility failure or damage | Fuse | Distribution | HFTD
20221313 | 2022-07-04 | MOLINO 1102178 | Tier 3 | No | Equipment / facility failure or damage | Fuse | Distribution | HFTD
20221070 | 2022-07-05 | ROB ROY 210410960 | Tier 2 | Yes | Unknown | Unknown | Distribution | HFTD
20221071 | 2022-07-05 | KONOCTI 110264664 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20221082 | 2022-07-06 | JESSUP 11031540 | Non-HFTD | Yes | Contact from object | Animal contact | Distribution | EPSS Protected Facility
20221083 | 2022-07-06 | BELLEVUE 2101552 | Non-HFTD | Yes | Equipment / facility failure or damage | Fuse | Distribution | EPSS Protected Facility
20221096 | 2022-07-07 | PHILO 1101CB | Tier 2 | Yes | Contact from object | Other | Distribution | HFTD
20221100 | 2022-07-07 | BIG RIVER 11011052 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20221106 | 2022-07-08 | PHILO 1101CB | Tier 2 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20221107 | 2022-07-08 | WYANDOTTE 110940608 | Non-HFTD | Yes | Vegetation contact | Vegetation contact | Distribution | EPSS Protected Facility
20221119 | 2022-07-10 | UKIAH 1113691436 | Non-HFTD | Yes | Contact from object | Animal contact | Distribution | EPSS Protected Facility
20221143 | 2022-07-12 | HALF MOON BAY 1103880484 | Tier 2 | No | Equipment / facility failure or damage | Voltage regulator/booster | Distribution | HFTD
20221163 | 2022-07-15 | CHALLENGE 1101CB | Tier 3 | Yes | Contact from object | Other | Distribution | HFTD
20221180 | 2022-07-17 | BELLEVUE 2101552 | Tier 2 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20221186 | 2022-07-18 | RESERVATION ROAD 1102303870 | Non-HFTD | Yes | Other | Other | Distribution | EPSS Protected Facility
20221215 | 2022-07-20 | WYANDOTTE 11095973 | Non-HFTD | Yes | Vegetation contact | Vegetation contact | Distribution | EPSS Protected Facility
20221229 | 2022-07-21 | CURTIS 170463502 | Tier 2 | Yes | Equipment / facility failure or damage | Conductor | Distribution | HFTD
20221254 | 2022-07-21 | SAUSALITO 110284278 | Tier 2 | No | Equipment / facility failure or damage | Other | Distribution | HFTD
20221256 | 2022-07-25 | CALISTOGA 110178734 | Tier 3 | Yes | Other | Other | Distribution | HFTD
20221264 | 2022-07-26 | OLEMA 11011318 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20221265 | 2022-07-26 | BIG RIVER 1101952 | Tier 2 | Yes | Contact from object | Other | Distribution | HFTD
20221267 | 2022-07-26 | SILVERADO 2104633600 | Tier 2 | Yes | Other | Other | Distribution | HFTD
20221276 | 2022-07-27 | NARROWS 21011202 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20221305 | 2022-08-01 | TYLER 11051704 | Non-HFTD | Yes | Equipment / facility failure or damage | Insulator and bushing | Distribution | EPSS Protected Facility
20221314 | 2022-08-03 | FOOTHILL 1101CB | Non-HFTD | Yes | Equipment / facility failure or damage | Connection device | Distribution | EPSS Protected Facility
20221335 | 2022-08-05 | TEMPLETON 2110N30 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20221443 | 2022-08-05 | BEAR VALLEY 210110000 | Non-HFTD | No | Contamination | Contamination | Distribution | EPSS Protected Facility
20221347 | 2022-08-09 | DEL MONTE 21049096 | Tier 2 | Yes | Equipment / facility failure or damage | Connection device | Distribution | HFTD
20221349 | 2022-08-09 | FORT ROSS 112170288 | Tier 3 | Yes | Other | Other | Distribution | HFTD
20221362 | 2022-08-11 | PLACERVILLE 21067522 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20221377 | 2022-08-14 | AUBERRY 1102CB | Tier 2 | Yes | Contact from object | Land vehicle contact | Distribution | HFTD
20221385 | 2022-08-15 | FRUITLAND 114293234 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20221403 | 2022-08-17 | ROB ROY 21055090 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20221456 | 2022-08-24 | Not Applicable | Tier 2 | No | Other | Other | Not Applicable | HFTD
20221457 | 2022-08-26 | FORESTHILL 11022106 | Tier 3 | Yes | Equipment / facility failure or damage | Conductor | Transmission | HFTD
20221461 | 2022-08-26 | POSO MOUNTAIN 2104CB | Non-HFTD | Yes | Equipment / facility failure or damage | Switch | Distribution | EPSS Protected Facility
20221462 | 2022-08-26 | HOOPA 11013174 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20221476 | 2022-08-29 | TEJON 1103145334 | Non-HFTD | Yes | Contact from object | Animal contact | Distribution | EPSS Protected Facility
20221477 | 2022-08-30 | VIEJO 2201CB | Tier 2 | No | Equipment / facility failure or damage | Other | Distribution | HFTD
20221478 | 2022-08-30 | OREGON TRAIL 11021584 | Tier 2 | Yes | Contact from object | Other | Distribution | HFTD
20221479 | 2022-08-30 | COALINGA NO 1 110878186 | Non-HFTD | Yes | Vegetation contact | Vegetation contact | Distribution | HFRA
20221506 | 2022-09-03 | BRUNSWICK 11052140 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20221514 | 2022-09-04 | EL DORADO PH 21016852 | Tier 3 | Yes | Equipment / facility failure or damage | Conductor | Distribution | HFTD
20221547 | 2022-09-07 | SHINGLE SPRINGS 210961892 | Tier 3 | Yes | Other | Other | Distribution | HFTD
20221555 | 2022-09-07 | SARATOGA 1106340986 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20221577 | 2022-09-09 | HIGGINS 1104CB | Tier 2 | Yes | Contact from object | Animal contact | Distribution | HFTD
20221582 | 2022-09-09 | SARATOGA 1104209146 | Tier 2 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20221587 | 2022-09-10 | OAKLAND X 1104CR022 | Tier 3 | No | Other | Other | Distribution | HFTD
20221590 | 2022-09-10 | MARIPOSA 210110070 | Tier 2 | Yes | Contamination | Contamination | Distribution | HFTD
20221593 | 2022-09-10 | COALINGA NO 1 11089080 | Non-HFTD | No | Contamination | Contamination | Distribution | HFRA
20221628 | 2022-09-10 | CUYAMA 2101952122 | Non-HFTD | No | Contact from object | Animal contact | Distribution | EPSS Protected Facility
20221629 | 2022-09-11 | TEMPLETON 2113A08 | Tier 2 | No | Contamination | Contamination | Distribution | HFTD
20221614 | 2022-09-12 | WEIMAR 11012740 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20221636 | 2022-09-16 | SAND CREEK 11037110 | Tier 2 | Yes | Other | Other | Distribution | HFTD
20221664 | 2022-09-19 | DIAMOND SPRINGS 110656026 | Tier 2 | No | Contamination | Contamination | Distribution | HFTD
20221738 | 2022-09-26 | APPLE HILL 110313312 | Tier 2 | Yes | Equipment / facility failure or damage | Connection device | Distribution | HFTD
20221759 | 2022-10-02 | DEL MONTE 21032000 | Tier 2 | Yes | Contact from object | Land vehicle contact | Transmission | HFTD
20221767 | 2022-10-04 | MOUNTAIN QUARRIES 21011346 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20221771 | 2022-10-05 | SISQUOC 1102M54 | Non-HFTD | Yes | Equipment / facility failure or damage | Connection device | Distribution | EPSS Protected Facility
20221794 | 2022-10-08 | TULUCAY 1101628 | Tier 2 | No | Equipment / facility failure or damage | Other | Distribution | HFTD
20221815 | 2022-10-14 | COARSEGOLD 21036110 | Non-HFTD | Yes | Contact from object | Land vehicle contact | Distribution | EPSS Protected Facility
20221824 | 2022-10-16 | HIGGINS 1110429714 | Tier 2 | Yes | Equipment / facility failure or damage | Connection device | Distribution | HFTD
20221826 | 2022-10-17 | RIO DELL 110275970 | Tier 2 | Yes | Contact from object | Other | Distribution | HFTD
20221829 | 2022-10-18 | PINE GROVE 11021222 | Tier 3 | No | Other Fire: Non-PG&E related | Other Fire: Non-PG&E related | Distribution | HFTD
20221830 | 2022-10-18 | APPLE HILL 110313312 | Tier 2 | No | Contact from object | Land vehicle contact | Distribution | HFTD
20221840 | 2022-10-20 | HALF MOON BAY 11016369 | Non-HFTD | Yes | Equipment / facility failure or damage | Conductor | Distribution | EPSS Protected Facility
20221847 | 2022-10-22 | SAN LEANDRO U 1114415780 | Tier 2 | No | Contamination | Contamination | Distribution | HFTD
20221854 | 2022-10-23 | DUNBAR 1103234 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20221862 | 2022-10-26 | ANNAPOLIS 1101528344 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20221871 | 2022-10-26 | GARBERVILLE 11022540 | Tier 2 | Yes | Equipment / facility failure or damage | Switch | Distribution | HFTD
20221919 | 2022-11-03 | DEVILS DEN 1101824190 | Non-HFTD | No | Contact from object | Animal contact | Distribution | EPSS Protected Facility
20222160N | 2022-11-05 | GEYSERVILLE 1102274 | Tier 2 | No | Equipment / facility failure or damage | Fuse | Distribution | HFTD
20222098 | 2022-11-30 | DIAMOND SPRINGS 110650324 | Non-HFTD | No | Equipment / facility failure or damage | Fuse | Distribution | EPSS Protected Facility
20222064 | 2022-12-01 | SAN RAFAEL 1104717160 | Tier 3 | No | Contamination | Contamination | Distribution | HFTD
20222084 | 2022-12-04 | PENRYN 11032198 | Tier 2 | No | Contamination | Contamination | Distribution | HFTD
20222100 | 2022-12-10 | BURNS 210139126 | Tier 3 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20222172 | 2022-12-27 | MENLO 11038982 | Tier 2 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20222181 | 2022-12-31 | SAND CREEK 11037140 | Tier 2 | No | Contamination | Contamination | Distribution | HFTD
20230006 | 2023-01-04 | PAUL SWEET 2102774760 | Tier 3 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20230021 | 2023-01-09 | TIVY VALLEY 1107822606 | Tier 2 | No | Contamination | Contamination | Distribution | HFTD
20230045N | 2023-01-09 | NARROWS 21022220 | Tier 2 | No | Contact from object | Animal contact | Distribution | HFTD
20230047N | 2023-01-12 | LOS GATOS 1107639614 | Tier 3 | No | Contamination | Contamination | Distribution | HFTD
20230040 | 2023-01-14 | CLARKSVILLE 2105CB | Tier 2 | No | Equipment / facility failure or damage | Insulator and bushing | Distribution | HFTD
20230082 | 2023-02-03 | HALF MOON BAY 110398440 | Tier 2 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20230100 | 2023-02-13 | STAFFORD 11021202 | Tier 2 | Yes | Contact from object | Animal contact | Distribution | HFTD
20230113 | 2023-02-17 | BIG BASIN 110212992 | Tier 3 | Yes | Equipment / facility failure or damage | Conductor | Distribution | HFTD
20230125 | 2023-02-21 | CAMP EVERS 210660124 | Tier 3 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20230127 | 2023-02-21 | HALF MOON BAY 11018902 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20230135 | 2023-02-21 | BIG RIVER 110179628 | Tier 2 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20230140 | 2023-02-21 | MIRABEL 1101298 | Tier 3 | Yes | Vegetation contact | Vegetation contact | Distribution | HFTD
20230145 | 2023-02-22 | OLEMA 1101416 | Tier 2 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20230156 | 2023-02-23 | CAMP EVERS 210660124 | Tier 3 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20230176 | 2023-03-02 | WOODSIDE 11018974 | Tier 3 | No | Vegetation contact | Vegetation contact | Distribution | HFTD
20230195 | 2023-03-10 | OREGON TRAIL 11021584 | Tier 2 | No | Unknown | Unknown | Distribution | HFTD
20230216 | 2023-03-21 | CAMP EVERS 210410442 | Tier 3 | No | Vegetation contact | Vegetation contact | Distribution | HFTD