## Vegetation Caused Outages
Outage Counts 2015-2022 | Year
Vegetation Caused Outage Mode of Failure | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | Grand Total
Contact with High Voltage, 3rd party |  |  |  |  | 1 | 1 |  |  | 2
Customer Equipment |  |  | 1 | [5 empty] | 1
CWSP - Vegetation Removal |  |  |  |  | 2 |  |  |  | 2
Fire, Forest/Grass |  | 1 | 3 |  |  | 1 | 2 |  | 7
Fire, house or bldg. | [5 empty] | 1 |  |  | 1
Fire, pole |  |  | 1 | [5 empty] | 1
Ice or snow | [6 empty] | 1 |  | 1
-NA- |  | 12 | 162 | 92 | 9 | 7 | 57 | 97 | 436
NULL | 37 | 21 | 67 | 17 | 47 | 28 | 65 | 18 | 300
Other | 2 | [6 empty] | 1 | 3
Other ground vegetation | 26 | 27 | 39 | 31 | 25 | 20 | 39 | 64 | 271
Overhead | 1 | 4 | 2 | 4 |  | 1 | 4 | 5 | 21
Patrol - found nothing |  |  | 1 |  |  |  |  | 4 | 5
Patrol - not conducted |  |  |  |  | 1 |  | 2 | 5 | 8
Planned - WSIP/System Hardening | [7 empty] | 3 | 3
Planned, capital | [7 empty] | 1 | 1
Planned, customer | [7 empty] | 1 | 1
Planned, maintenance | [7 empty] | 4 | 4
Public Safety Power Shut-off | [5 empty] | 1 |  |  | 1
Substation |  |  | 1 | [5 empty] | 1
Tree - bark fell into line | 140 | 154 | 224 | 131 | 229 | 122 | 159 | 128 | 1287
Tree - branch fell on line | 1366 | 1277 | 2277 | 1112 | 2235 | 1316 | 1960 | 1100 | 12643
Tree - cutting, 3rd party | 126 | 112 | 111 | 113 | 106 | 91 | 74 | 107 | 840
Tree - cutting, PGE contractor | 19 | 30 | 43 | 38 | 50 | 56 | 72 | 57 | 365
Tree - fell into line | 1782 | 2252 | 4551 | 1403 | 3829 | 1642 | 3165 | 1469 | 20093
Tree - grew into line | 187 | 260 | 420 | 239 | 467 | 311 | 369 | 302 | 2555
Tree - palm frond fell into line | 115 | 194 | 217 | 128 | 210 | 65 | 164 | 112 | 1205
(blank) | [5 empty] | 1 |  |  | 1
Grand Total | 3801 | 4344 | 8120 | 3308 | 7211 | 3664 | 6133 | 3478 | 40059