## ARDQ CDEs
Asset Family | Asset Type | Asset Component | Attribute (CDE) | OEIS GIS Class Reporting Alignment (if applicable) | Mapped to OEIS GIS reporting attribute
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Circuit ID | 3.2.2 Primary Distribution Line | YES
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Circuit Name | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | City | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Construction Type | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | County | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Customer Agreement GUID | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Customer Owned | 3.2.2 Primary Distribution Line | YES
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Division | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Fdr Mgr Non Traceable | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Feeder Information | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Feeder Type | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Global ID | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Jacket Type | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Label Text | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Label Text 2 | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Line Length | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Local Office ID | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Mainline Indicator | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Neutral Indicator | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Nominal Voltage | 3.2.2 Primary Distribution Line | YES
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Number Of Phases | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Phase Designation | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Service Area | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Service Indicator | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Shape | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Shape.len | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Spacing | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Status | 3.2.2 Primary Distribution Line | YES
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Subtype | 3.2.2 Primary Distribution Line | YES
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Year Installed | 3.2.2 Primary Distribution Line | YES
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | ZIP Code | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Conductor Count | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Conductor GUID | 3.2.2 Primary Distribution Line | YES
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Conductor Size | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Conductor Type | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Conductor Use | 3.2.2 Primary Distribution Line | YES
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Global ID | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Installation Date | 3.2.2 Primary Distribution Line | YES
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Insulation | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Material | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | PG&E Conductor Code | 3.2.2 Primary Distribution Line | YES
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Phase Designation | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Subtype | 3.2.2 Primary Distribution Line | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Animal Guards | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Auto Transfer Indicator | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Bucket Truck | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | CalTrans Permit | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | CC Rating | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Circuit ID | 3.1.5 Lightning Arrester | YES
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Circuit ID 2 | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | City | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | County | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Customer Owned | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Date Installed | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Device Type | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Division | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Feeder Information | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Feeder Type | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Gang Operated | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Global ID | 3.1.5 Lightning Arrester | YES
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Installation Type | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Interrupting Medium | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Label Text | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Latitude | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Local Office ID | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Longitude | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Manufacturer | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Material Code | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Maximum Interrupting Current | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | MET Distribution Map # | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Mounting Type | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Multi-Functional Device Indicator | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Normal Position | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Normal Position A | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Normal Position B | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Normal Position C | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Number Of Phases | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Phase Designation | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Potential Direction | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Protective SSD | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Retire Date | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | SAP Equipment ID | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Serial Number | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Service Area | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Shape | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Source Side Device GUID | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Source Side Device ID | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Status | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Structure GUID | 3.1.5 Lightning Arrester | YES
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Subtype | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Switch Mode Indicator | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Tie Switch Indicator | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Vault | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Year Installed | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Year Manufactured | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Dynamic Protective Device | ZIP Code | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Actuating Current | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Animal Guards | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Cellular Provider | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Circuit ID | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | City | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | County | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Customer Owned | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Date Installed | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Device Manufacturer | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Device Model A | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Device Model B | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Device Model C | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Division | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Fault Indicator Type | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Feeder Information | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Feeder Type | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Global ID | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Installation Type | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Local Office ID | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Material Code | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | MET Distribution Map # | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Number Of Phases | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Phase Designation | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Protective SSD | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | SAP Equipment ID | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Serial Number A | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Serial Number B | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Serial Number C | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Service Area | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Shape | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Source Side Device GUID | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Source Side Device ID | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Status | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Structure GUID | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Subtype | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Unit Count | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Vault | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | Year Installed | N/A | NO
Distribution Line Overhead | Protection Device | Fault Indicator | ZIP Code | N/A | NO
Distribution Line Overhead | Protection Device | Fuse | Animal Guards | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Bucket Truck | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | CalTrans Permit | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Circuit ID | 3.1.4 Fuse | YES
Distribution Line Overhead | Protection Device | Fuse | City | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | County | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Customer Owned | 3.1.4 Fuse | YES
Distribution Line Overhead | Protection Device | Fuse | Date Installed | 3.1.4 Fuse | YES
Distribution Line Overhead | Protection Device | Fuse | Division | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Feeder Information | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Feeder Type | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Global ID | 3.1.4 Fuse | YES
Distribution Line Overhead | Protection Device | Fuse | Installation Type | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | LABELTEXT | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Link Rating | 3.1.4 Fuse | YES
Distribution Line Overhead | Protection Device | Fuse | Link Type | 3.1.4 Fuse | YES
Distribution Line Overhead | Protection Device | Fuse | Local Office ID | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Manufacturer | 3.1.4 Fuse | YES
Distribution Line Overhead | Protection Device | Fuse | Material Code | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | MET Distribution Map # | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Normal Position | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Normal Position A | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Normal Position B | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Normal Position C | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Number of Fuses per Phase | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Number Of Phases | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Part Number | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Phase Designation | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Protective SSD | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Serial Number | 3.1.4 Fuse | YES
Distribution Line Overhead | Protection Device | Fuse | Service Area | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Shape | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Source Side Device GUID | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Source Side Device ID | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Status | 3.1.4 Fuse | YES
Distribution Line Overhead | Protection Device | Fuse | Structure GUID | 3.1.4 Fuse | YES
Distribution Line Overhead | Protection Device | Fuse | Subtype | 3.1.4 Fuse | YES
Distribution Line Overhead | Protection Device | Fuse | Vault | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | Year Installed | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Fuse | ZIP Code | 3.1.4 Fuse | NO
Distribution Line Overhead | Protection Device | Surge Arrester | Global ID | 3.1.5 Lightning Arrester | YES
Distribution Line Overhead | Protection Device | Surge Arrester | Installation Date | 3.1.5 Lightning Arrester | YES
Distribution Line Overhead | Protection Device | Surge Arrester | Installation Job Number | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Protection Device | Surge Arrester | Material Code | 3.1.5 Lightning Arrester | YES
Distribution Line Overhead | Protection Device | Surge Arrester | Rel GlobalID | 3.1.5 Lightning Arrester | YES
Distribution Line Overhead | Support Structure | Anchor | Anchor Type | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | City | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | County | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | Customer Owned | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | Date Installed | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | Division | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | Free Attachment IDC | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | Global ID | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | Joint Owned | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | Label Text | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | Lead | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | Manufacturer | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | Replace GUID | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | Retire Date | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | Service Area | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | Shape | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | Status | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | Structure GUID | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | Subtype | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | Year Installed | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor | ZIP Code | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | Anchor Type | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | City | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | County | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | Customer Owned | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | Date Installed | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | Division | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | Global ID | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | Guy Count | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | Guy Type | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | Joint Owned | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | Label Text | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | Manufacturer | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | Service Area | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | Shape | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | Status | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | Structure GUID | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | Subtype | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | Year Installed | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Anchor Guy | ZIP Code | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Framing | ANIMALGUARDIDC | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Framing | CONFIGURATION | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Framing | CROSSARMCOUNT | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Framing | FRAMELENGTH | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Framing | FRAMEMATERIAL | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Framing | Framing Position | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Framing | Framing Type | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Framing | FRAMINGANGLE | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Framing | FRAMINGCONSTRUCTION | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Framing | FRAMINGLEVEL | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Framing | FRAMINGUSE | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Framing | Global ID | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Framing | Structure GUID | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Bar Code | 3.1.7 Support Structure | YES
Distribution Line Overhead | Support Structure | Support Structures | Blank | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | City | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | County | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Customer Agreement GUID | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Customer Owned | 3.1.7 Support Structure | YES
Distribution Line Overhead | Support Structure | Support Structures | Date Installed | 3.1.7 Support Structure | YES
Distribution Line Overhead | Support Structure | Support Structures | Device Group GUID | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Distribution Map | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Division | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Foreign Attachment Indicator | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Foundation Type | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Functional Location ID | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Gauge | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Global ID | 3.1.7 Support Structure | YES
Distribution Line Overhead | Support Structure | Support Structures | Grounded Indicator | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Joint Count | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Joint Pole Number | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Joint Pole Sequence | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Label Text | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Latitude | 3.1.7 Support Structure | YES
Distribution Line Overhead | Support Structure | Support Structures | Local Office ID | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Longitude | 3.1.7 Support Structure | YES
Distribution Line Overhead | Support Structure | Support Structures | Manufactured Year | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Manufacturer | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Map Office | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Material | 3.1.7 Support Structure | YES
Distribution Line Overhead | Support Structure | Support Structures | Maximum Voltage Level | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Metered Indicator | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Original Circumference | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Original Treatment Type | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | PLDBID | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Pole Class | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Pole Count | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Pole Height | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Pole Number | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Pole Top Extension Indicator | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Pole Type | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Pole Use | 3.1.7 Support Structure | YES
Distribution Line Overhead | Support Structure | Support Structures | Replace GUID | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | SAP Equipment ID | 3.1.7 Support Structure | YES
Distribution Line Overhead | Support Structure | Support Structures | Serial Number | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Service Area | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Shape | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Smart Meter Network Device ID | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Species | 3.1.7 Support Structure | YES
Distribution Line Overhead | Support Structure | Support Structures | Status | 3.1.7 Support Structure | YES
Distribution Line Overhead | Support Structure | Support Structures | Structure GUID | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Subtype | 3.1.7 Support Structure | YES
Distribution Line Overhead | Support Structure | Support Structures | Transmission Mile Number | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Transmission Structure Number | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Urban Rural Indicator | 3.1.7 Support Structure | NO
Distribution Line Overhead | Support Structure | Support Structures | Year Installed | 3.1.7 Support Structure | YES
Distribution Line Overhead | Support Structure | Support Structures | ZIP Code | 3.1.7 Support Structure | NO
Distribution Line Overhead | Transformer | Transformer | Animal Guards | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Auto Transformer Indicator | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | CGC Number | 3.1.9 Transformer Site | YES
Distribution Line Overhead | Transformer | Transformer | Circuit ID | 3.1.9 Transformer Site | YES
Distribution Line Overhead | Transformer | Transformer | Circuit ID 2 | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | City | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | County | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Customer Agreement GUID | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Customer Owned | 3.1.9 Transformer Site | YES
Distribution Line Overhead | Transformer | Transformer | Date Installed | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Distributed Generation Indicator | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Division | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Feeder Information | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Feeder Type | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Functional Location | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Global ID | 3.1.9 Transformer Site | YES
Distribution Line Overhead | Transformer | Transformer | Grounded Indicator | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Hi Side Voltage | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | High Side Configuration | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | High Side Protection | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Installation Type | 3.1.9 Transformer Site | YES
Distribution Line Overhead | Transformer | Transformer | Insulating Fluid Type | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Interrupter Indicator | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | KVA and Phase | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Label Text | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Latitude | 3.1.9 Transformer Site | YES
Distribution Line Overhead | Transformer | Transformer | Live Front / Dead Front | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Local Office ID | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Longitude | 3.1.9 Transformer Site | YES
Distribution Line Overhead | Transformer | Transformer | Low Side Voltage | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Number Of Phases | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Phase Designation | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Protective SSD | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Rated KVA | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Regulated Output Indicator | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Retire Date | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Service Area | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Shape | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Source Side Device GUID | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Source Side Device ID | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Spot Or Grid | 3.1.9 Transformer Site | YES
Distribution Line Overhead | Transformer | Transformer | Stabilizing Bank Indicator | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Status | 3.1.9 Transformer Site | YES
Distribution Line Overhead | Transformer | Transformer | Structure GUID | 3.1.9 Transformer Site | YES
Distribution Line Overhead | Transformer | Transformer | Submersible Indicator | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Subtype | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Subway Transformer Indicator | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Summer KVA | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Unit Count | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Vault | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Vault Location | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Winter KVA | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | Year Installed | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer | ZIP Code | 3.1.9 Transformer Site | NO
Distribution Line Overhead | Transformer | Transformer Unit | AMP Year | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | Bank Code | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | Bucket Truck Idc | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | Caltrans Permit Idc | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | Global ID | 3.1.10 Transformer Detail | YES
Distribution Line Overhead | Transformer | Transformer Unit | Installation Date | 3.1.10 Transformer Detail | YES
Distribution Line Overhead | Transformer | Transformer Unit | Job Number | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | Job Prefix | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | Job Year | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | Long Description | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | Manufacturer | 3.1.10 Transformer Detail | YES
Distribution Line Overhead | Transformer | Transformer Unit | Material Code | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | Number Of Phases | 3.1.10 Transformer Detail | YES
Distribution Line Overhead | Transformer | Transformer Unit | Phase Designation | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | Rated KVA | 3.1.10 Transformer Detail | YES
Distribution Line Overhead | Transformer | Transformer Unit | Replace GUID | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | Retire Date | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | SAP Equipment ID | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | SAP Sort Field | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | Serial Number | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | Short Description | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | Status | 3.1.10 Transformer Detail | YES
Distribution Line Overhead | Transformer | Transformer Unit | Subtype | 3.1.10 Transformer Detail | YES
Distribution Line Overhead | Transformer | Transformer Unit | Supervisory Control | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | Transformer GUID | 3.1.10 Transformer Detail | YES
Distribution Line Overhead | Transformer | Transformer Unit | Transformer Type | 3.1.10 Transformer Detail | YES
Distribution Line Overhead | Transformer | Transformer Unit | Unit ID | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Transformer | Transformer Unit | Year Manufacturer | 3.1.10 Transformer Detail | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Animal Guards | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Bucket Truck | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | CalTrans Permit | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Circuit ID | 3.1.5 Lightning Arrester | YES
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | City | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | County | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | CT Rating | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Customer Owned | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Date Installed | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Division | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Feeder Information | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Feeder Type | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Fill Type | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Fused | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Global ID | 3.1.5 Lightning Arrester | YES
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Installation Type | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Latitude | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Lightning Arrestors | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Local Office ID | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Longitude | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Manufacturer | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Material Code | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | MET Distribution Map # | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Number Of Phases | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Phase Designation | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Protective SSD | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | SAP Equipment ID | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Season Off | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Serial Number | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Service Area | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Shape | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Source Side Device GUID | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Source Side Device ID | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Status | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Structure GUID | 3.1.5 Lightning Arrester | YES
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Subtype | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Switch Fill Type | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Switch Position | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Switch Type | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Switched w/VAR Sensor | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Total KVAR | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Unit Count | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Unit KVAR | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | UnitPhase | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Vault | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Year Installed | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Year Manufactured | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | ZIP Code | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Animal Guards | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Bucket Truck | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | CalTrans Permit | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Circuit ID | 3.1.5 Lightning Arrester | YES
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | City | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | County | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Customer Owned | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Date Installed | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Device Group GUID | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Division | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Feeder Information | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Feeder Type | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Global ID | 3.1.5 Lightning Arrester | YES
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | High Side Configuration | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | High Side Protection | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Installation Type | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Label Text | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Latitude | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Local Office ID | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Longitude | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | MET Distribution Map # | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Number Of Phases | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Number Of Steps | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Original Source Side ID | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Phase Designation | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Platform Mounted Indicator | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Potential Direction | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Protective SSD | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Rated Amps | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Rated KVA | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Reverse Power Flow | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | SAP Equipment ID | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | SCADA Indicator | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Service Area | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Shape | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Source Side Device GUID | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Source Side Device ID | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Status | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Structure GUID | 3.1.5 Lightning Arrester | YES
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Subtype | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Switch Position | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Unit Count | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Vault | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Year Installed | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | ZIP Code | 3.1.5 Lightning Arrester | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Bank Code | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Global ID | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Installation Date | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Installation Type | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Job Number | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Job Prefix | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Job Year | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Manufacturer | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Material Code | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Number Of Phases | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Phase Designation | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Rated Amps | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Rated KVA | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Regulator GUID | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Replace GUID | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Retire Date | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | SAP Equipment ID | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Serial Number | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Status | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Subtype | N/A | NO
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Year Manufacturer | N/A | NO
Transmission Line Overhead | Insulator | Insulator | ETGIS Unique Identifier | N/A | NO
Transmission Line Overhead | Insulator | Insulator | Host TLine ETGIS ID | N/A | NO
Transmission Line Overhead | Insulator | Insulator | Installation Date | N/A | NO
Transmission Line Overhead | Insulator | Insulator | Insulator Framing | N/A | NO
Transmission Line Overhead | Insulator | Insulator | Insulator Material | N/A | NO
Transmission Line Overhead | Insulator | Insulator | Insulator Rating | N/A | NO
Transmission Line Overhead | Insulator | Insulator | Manufactured Date | N/A | NO
Transmission Line Overhead | Insulator | Insulator | Manufacturer | N/A | NO
Transmission Line Overhead | Insulator | Insulator | Owner Status | N/A | NO
Transmission Line Overhead | Insulator | Insulator | Replace Equipment ID | N/A | NO
Transmission Line Overhead | Insulator | Insulator | SAP Equipment ID | N/A | NO
Transmission Line Overhead | Insulator | Insulator | SAP Functional Location | N/A | NO
Transmission Line Overhead | Insulator | Insulator | Status | N/A | NO
Transmission Line Overhead | Insulator | Insulator | Structure Number | N/A | NO
Transmission Line Overhead | Insulator | Insulator | Structure SAP Equipment ID | N/A | NO
Transmission Line Overhead | Conductor | Conductor Info | Conductor Code | 3.2.1 Transmission Line | YES
Transmission Line Overhead | Conductor | Conductor Info | Conductor Size | 3.2.1 Transmission Line | YES
Transmission Line Overhead | Conductor | Conductor Info | Conductor Strand Value | 3.2.1 Transmission Line | NO
Transmission Line Overhead | Conductor | Conductor Info | Conductor Type | 3.2.1 Transmission Line | YES
Transmission Line Overhead | Conductor | Conductor Info | ET Conductor Grouping | 3.2.1 Transmission Line | NO
Transmission Line Overhead | Conductor | Conductor Info | ETGIS Unique Identifier | 3.2.1 Transmission Line | YES
Transmission Line Overhead | Conductor | Conductor Info | From SAP Structure No | 3.2.1 Transmission Line | NO
Transmission Line Overhead | Conductor | Conductor Info | From Sequence Number | 3.2.1 Transmission Line | NO
Transmission Line Overhead | Conductor | Conductor Info | From Structure ETGISID | 3.2.1 Transmission Line | NO
Transmission Line Overhead | Conductor | Conductor Info | Installation Date | 3.2.1 Transmission Line | YES
Transmission Line Overhead | Conductor | Conductor Info | Manufactured Date | 3.2.1 Transmission Line | NO
Transmission Line Overhead | Conductor | Conductor Info | Manufacturer | 3.2.1 Transmission Line | NO
Transmission Line Overhead | Conductor | Conductor Info | SAP Equipment ID | 3.2.1 Transmission Line | NO
Transmission Line Overhead | Conductor | Conductor Info | SAP Functional Location | 3.2.1 Transmission Line | NO
Transmission Line Overhead | Conductor | Conductor Info | Section Length (in Miles) | 3.2.1 Transmission Line | NO
Transmission Line Overhead | Conductor | Conductor Info | To SAP Structure No | 3.2.1 Transmission Line | NO
Transmission Line Overhead | Conductor | Conductor Info | To Sequence Number | 3.2.1 Transmission Line | NO
Transmission Line Overhead | Conductor | Conductor Info | To Structure ETGISID | 3.2.1 Transmission Line | NO
Transmission Line Overhead | Conductor | Conductor Rating | ETGIS Unique Identifier | 3.2.1 Transmission Line | NO
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | County | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | ETGIS Unique Identifier | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Host TLine ETGIS ID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Installation Date | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Manufactured Date | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Manufacturer | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | SAP Equipment ID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | SAP Functional Location | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Status | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Structure Number | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Structure Size | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Structure Type | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Subtype | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Transmission Line Name | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Work Center | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Attachment YN | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | County | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | ETGIS Unique Identifier | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Frame Type | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Frame Type Details | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | GIS Latitude | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | GIS Longitude | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Host TLine ETGIS ID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Lead Paint Indicator | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Owner Status | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Pole Height - Ground level (in Feet) | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Pole Height - Mean Sea level (in Feet) | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Replace Equipment ID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | SAP Equipment ID | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | SAP Functional Location | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | SAP Structure Number | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Status | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Structure Classification | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Structure Number | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Structure Type | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Subtype | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Transmission Line Name | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Work Center | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | County | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | ETGIS Unique Identifier | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Frame Type | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Frame Type Details | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | GIS Latitude | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | GIS Longitude | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Host TLine ETGIS ID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Lead Paint Indicator | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Owner Status | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Replace Equipment ID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | SAP Equipment ID | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | SAP Functional Location | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | SAP Structure Number | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Status | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Structure Classification | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Structure Number | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Structure Type | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Subtype | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Tower Height - Ground level (in Feet) | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Tower Height - Mean Sea level (in Feet) | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Transmission Line Name | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Work Center | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Access Comments | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Accessbility Yes No | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Accessibility Type | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Alternate Pole ID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Customer Data ID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Customer Pole Number | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Description | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | DIST GUID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Distance to Airport (in Miles) | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | ETGIS Unique Identifier | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Fiber Optic Installation Date | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Fiber Optic Type | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Foundation Type | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | GlobalID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | History | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Installation Date | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Length Class Actual or Estimated | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Line Angle | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Maint Segment ID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Maintained By | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Manufactured Date | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Manufactured Year Actual OR Estimate | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Manufacturer | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Multiple Pole Description | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Original Structure Number | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Original Transmission Line Name | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Original Treat | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Osmos Report | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Owner | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Ownership Status | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | PARENT_TLDBID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Pole Calc | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Pole Class | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Pole Factory Length | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Pole Height - From Ground | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Pole Material | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Previous Cycle Info | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Previous Restored Method | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Previous Restored Year | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Property Rights Code | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Reinforcement | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Related ETGIS ID | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Related TLine ETGISID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Remaining Wood Strength | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Replace Equipment ID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | SAP Equipment ID | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | SAP Functional Location | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | SAP Structure Number | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Shell Rot Measured Circle | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Shield Wire Size | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Shield Wire Type | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Species Material | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Sten Str | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Structure Number | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | TLDBID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Transmission Line ID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Wind Loading | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Access Comments | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Accessibility Type | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Accessibility Yes No | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Attachment Owner | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Attachment Type | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Distance to Airport (in Miles) | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | ETGIS Unique Identifier | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Fiber Optic Installation Date | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Fiber Optic Type | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Foundation Type | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | GlobalID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | History | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Installation Date | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Line Angle | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Manufactured Date | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Manufacturer | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Original Structure No | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Original Transmission Line Name | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Owner | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | PARENT_TLDBID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Pole Calc | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Property Rights Code | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Related ETGIS ID | 3.1.7 Support Structure | YES
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Related TLine ETGISID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | SAP Equipment ID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | SAP Functional Location | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | SAP Structure Number | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Shield Wire Size | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Shield Wire Type | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Structure Number | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | TLDBID | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Tower Class | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Tower Factory Length | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Tower Lighting | 3.1.7 Support Structure | NO
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Tower Lighting Install Date | 3.1.7 Support Structure | NO