## ARDQ Completeness
Asset Family | Asset Type | Asset Component | Attribute (CDE) | Records | Filled | Fillrate
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Circuit ID | 1476826 | 1476015 | 99.95%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Circuit Name | 1476826 | 1476281 | 99.96%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | City | 1476826 | 972217 | 65.83%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Construction Type | 1476826 | 1468656 | 99.45%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | County | 1476826 | 1476811 | 100%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Customer Agreement GUID | 1476826 | 41767 | 2.83%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Customer Owned | 1476826 | 1469788 | 99.52%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Division | 1476826 | 1476804 | 100%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Fdr Mgr Non Traceable | 1476826 | 1476155 | 99.95%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Feeder Information | 1476826 | 1476774 | 100%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Feeder Type | 1476826 | 1476465 | 99.98%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Global ID | 1476826 | 1476826 | 100%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Jacket Type | 1476826 | 259 | 0.02%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Label Text | 1476826 | 1476809 | 100%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Label Text 2 | 1476826 | 1461407 | 98.96%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Line Length | 1476826 | 1476681 | 99.99%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Local Office ID | 1476826 | 1476771 | 100%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Mainline Indicator | 1476826 | 331940 | 22.48%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Neutral Indicator | 1476826 | 1476615 | 99.99%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Nominal Voltage | 1476826 | 1476657 | 99.99%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Number Of Phases | 1476826 | 1476234 | 99.96%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Phase Designation | 1476826 | 1476823 | 100%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Service Area | 1476826 | 1254098 | 84.92%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Service Indicator | 1476826 | 1476558 | 99.98%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Shape | 1476826 | 1476826 | 100%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Shape.len | 1476826 | 1476826 | 100%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Spacing | 1476826 | 1463736 | 99.11%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Status | 1476826 | 1476826 | 100%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Subtype | 1476826 | 1476826 | 100%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | Year Installed | 1476826 | 553446 | 37.48%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor | ZIP Code | 1476826 | 1476802 | 100%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Conductor Count | 1706803 | 1705883 | 99.95%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Conductor GUID | 1706803 | 1706524 | 99.98%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Conductor Size | 1706803 | 1703746 | 99.82%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Conductor Type | 1706803 | 13320 | 0.78%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Conductor Use | 1706803 | 1706653 | 99.99%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Global ID | 1706803 | 1706803 | 100%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Installation Date | 1706803 | 1237217 | 72.49%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Insulation | 1706803 | 1414438 | 82.87%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Material | 1706803 | 1706078 | 99.96%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | PG&E Conductor Code | 1706803 | 1706708 | 99.99%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Phase Designation | 1706803 | 1706758 | 100%
Distribution Line Overhead | Primary Overhead Conductor | Primary Overhead Conductor Info | Subtype | 1706803 | 0 | 0%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Animal Guards | 20196 | 19963 | 98.85%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Auto Transfer Indicator | 20196 | 20196 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Bucket Truck | 20196 | 20164 | 99.84%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | CalTrans Permit | 20196 | 20180 | 99.92%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | CC Rating | 20196 | 20141 | 99.73%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Circuit ID | 20189 | 20171 | 99.91%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Circuit ID 2 | 20196 | 1236 | 6.12%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | City | 20196 | 16692 | 82.65%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | County | 20196 | 20188 | 99.96%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Customer Owned | 20196 | 20195 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Date Installed | 20196 | 16422 | 81.31%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Device Type | 20196 | 20195 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Division | 20196 | 20189 | 99.97%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Feeder Information | 20196 | 20185 | 99.95%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Feeder Type | 20196 | 20183 | 99.94%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Gang Operated | 20196 | 20175 | 99.9%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Global ID | 20196 | 20196 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Installation Type | 20196 | 20196 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Interrupting Medium | 20196 | 20196 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Label Text | 20196 | 20196 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Latitude | 20196 | 19871 | 98.39%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Local Office ID | 20196 | 20196 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Longitude | 20196 | 19871 | 98.39%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Manufacturer | 20196 | 19714 | 97.61%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Material Code | 20196 | 15711 | 77.79%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Maximum Interrupting Current | 20196 | 11659 | 57.73%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | MET Distribution Map # | 20196 | 20196 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Mounting Type | 20196 | 20196 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Multi-Functional Device Indicator | 20196 | 11899 | 58.92%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Normal Position | 20196 | 18255 | 90.39%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Normal Position A | 20196 | 20196 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Normal Position B | 20196 | 20196 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Normal Position C | 20196 | 20196 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Number Of Phases | 20196 | 20196 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Phase Designation | 20196 | 20196 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Potential Direction | 20196 | 10530 | 52.14%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Protective SSD | 20196 | 20196 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Retire Date | 20196 | 0 | 0%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | SAP Equipment ID | 20196 | 17346 | 85.89%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Serial Number | 20196 | 14178 | 70.2%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Service Area | 20196 | 20154 | 99.79%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Shape | 20196 | 20196 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Source Side Device GUID | 20196 | 18989 | 94.02%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Source Side Device ID | 20196 | 20121 | 99.63%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Status | 20196 | 20196 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Structure GUID | 20196 | 19124 | 94.69%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Subtype | 20196 | 20196 | 100%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Switch Mode Indicator | 20196 | 2028 | 10.04%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Tie Switch Indicator | 20196 | 18545 | 91.83%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Vault | 20196 | 170 | 0.84%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Year Installed | 20196 | 15858 | 78.52%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | Year Manufactured | 20196 | 11179 | 55.35%
Distribution Line Overhead | Protection Device | Dynamic Protective Device | ZIP Code | 20196 | 20188 | 99.96%
Distribution Line Overhead | Protection Device | Fault Indicator | Actuating Current | 42642 | 327 | 0.77%
Distribution Line Overhead | Protection Device | Fault Indicator | Animal Guards | 42642 | 19689 | 46.17%
Distribution Line Overhead | Protection Device | Fault Indicator | Cellular Provider | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Circuit ID | 42642 | 42615 | 99.94%
Distribution Line Overhead | Protection Device | Fault Indicator | City | 42642 | 31139 | 73.02%
Distribution Line Overhead | Protection Device | Fault Indicator | County | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Customer Owned | 42642 | 42631 | 99.97%
Distribution Line Overhead | Protection Device | Fault Indicator | Date Installed | 42642 | 9995 | 23.44%
Distribution Line Overhead | Protection Device | Fault Indicator | Device Manufacturer | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Device Model A | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Device Model B | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Device Model C | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Division | 42642 | 42637 | 99.99%
Distribution Line Overhead | Protection Device | Fault Indicator | Fault Indicator Type | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Feeder Information | 42642 | 42627 | 99.96%
Distribution Line Overhead | Protection Device | Fault Indicator | Feeder Type | 42642 | 42624 | 99.96%
Distribution Line Overhead | Protection Device | Fault Indicator | Global ID | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Installation Type | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Local Office ID | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Material Code | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | MET Distribution Map # | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Number Of Phases | 42642 | 42216 | 99%
Distribution Line Overhead | Protection Device | Fault Indicator | Phase Designation | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Protective SSD | 42642 | 35320 | 82.83%
Distribution Line Overhead | Protection Device | Fault Indicator | SAP Equipment ID | 42642 | 41252 | 96.74%
Distribution Line Overhead | Protection Device | Fault Indicator | Serial Number A | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Serial Number B | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Serial Number C | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Service Area | 42642 | 38678 | 90.7%
Distribution Line Overhead | Protection Device | Fault Indicator | Shape | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Source Side Device GUID | 42642 | 42085 | 98.69%
Distribution Line Overhead | Protection Device | Fault Indicator | Source Side Device ID | 42642 | 42251 | 99.08%
Distribution Line Overhead | Protection Device | Fault Indicator | Status | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Structure GUID | 42642 | 38474 | 90.23%
Distribution Line Overhead | Protection Device | Fault Indicator | Subtype | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Unit Count | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Vault | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fault Indicator | Year Installed | 42642 | 14007 | 32.85%
Distribution Line Overhead | Protection Device | Fault Indicator | ZIP Code | 42642 | 42642 | 100%
Distribution Line Overhead | Protection Device | Fuse | Animal Guards | 161088 | 161013 | 99.95%
Distribution Line Overhead | Protection Device | Fuse | Bucket Truck | 161088 | 160957 | 99.92%
Distribution Line Overhead | Protection Device | Fuse | CalTrans Permit | 161088 | 160985 | 99.94%
Distribution Line Overhead | Protection Device | Fuse | Circuit ID | 161088 | 161027 | 99.96%
Distribution Line Overhead | Protection Device | Fuse | City | 161088 | 110188 | 68.4%
Distribution Line Overhead | Protection Device | Fuse | County | 161088 | 161085 | 100%
Distribution Line Overhead | Protection Device | Fuse | Customer Owned | 161088 | 161086 | 100%
Distribution Line Overhead | Protection Device | Fuse | Date Installed | 161088 | 155519 | 96.54%
Distribution Line Overhead | Protection Device | Fuse | Division | 161088 | 161084 | 100%
Distribution Line Overhead | Protection Device | Fuse | Feeder Information | 161088 | 161079 | 99.99%
Distribution Line Overhead | Protection Device | Fuse | Feeder Type | 161088 | 161063 | 99.98%
Distribution Line Overhead | Protection Device | Fuse | Global ID | 161088 | 161088 | 100%
Distribution Line Overhead | Protection Device | Fuse | Installation Type | 161088 | 161088 | 100%
Distribution Line Overhead | Protection Device | Fuse | LABELTEXT | 161088 | 134172 | 83.29%
Distribution Line Overhead | Protection Device | Fuse | Link Rating | 161088 | 161084 | 100%
Distribution Line Overhead | Protection Device | Fuse | Link Type | 161088 | 161085 | 100%
Distribution Line Overhead | Protection Device | Fuse | Local Office ID | 161088 | 161088 | 100%
Distribution Line Overhead | Protection Device | Fuse | Manufacturer | 161088 | 140344 | 87.12%
Distribution Line Overhead | Protection Device | Fuse | Material Code | 161088 | 54500 | 33.83%
Distribution Line Overhead | Protection Device | Fuse | MET Distribution Map # | 161088 | 161085 | 100%
Distribution Line Overhead | Protection Device | Fuse | Normal Position | 161088 | 95401 | 59.22%
Distribution Line Overhead | Protection Device | Fuse | Normal Position A | 161088 | 161088 | 100%
Distribution Line Overhead | Protection Device | Fuse | Normal Position B | 161088 | 161088 | 100%
Distribution Line Overhead | Protection Device | Fuse | Normal Position C | 161088 | 161088 | 100%
Distribution Line Overhead | Protection Device | Fuse | Number of Fuses per Phase | 161088 | 161038 | 99.97%
Distribution Line Overhead | Protection Device | Fuse | Number Of Phases | 161088 | 161088 | 100%
Distribution Line Overhead | Protection Device | Fuse | Part Number | 161088 | 160972 | 99.93%
Distribution Line Overhead | Protection Device | Fuse | Phase Designation | 161088 | 161087 | 100%
Distribution Line Overhead | Protection Device | Fuse | Protective SSD | 161088 | 124779 | 77.46%
Distribution Line Overhead | Protection Device | Fuse | Serial Number | 161088 | 161088 | 100%
Distribution Line Overhead | Protection Device | Fuse | Service Area | 161088 | 160834 | 99.84%
Distribution Line Overhead | Protection Device | Fuse | Shape | 161088 | 161088 | 100%
Distribution Line Overhead | Protection Device | Fuse | Source Side Device GUID | 161088 | 157988 | 98.08%
Distribution Line Overhead | Protection Device | Fuse | Source Side Device ID | 161088 | 160079 | 99.37%
Distribution Line Overhead | Protection Device | Fuse | Status | 161088 | 161088 | 100%
Distribution Line Overhead | Protection Device | Fuse | Structure GUID | 161088 | 157878 | 98.01%
Distribution Line Overhead | Protection Device | Fuse | Subtype | 161088 | 161088 | 100%
Distribution Line Overhead | Protection Device | Fuse | Vault | 161088 | 161088 | 100%
Distribution Line Overhead | Protection Device | Fuse | Year Installed | 161088 | 102235 | 63.47%
Distribution Line Overhead | Protection Device | Fuse | ZIP Code | 161088 | 161083 | 100%
Distribution Line Overhead | Protection Device | Surge Arrester | Global ID | 42919 | 42919 | 100%
Distribution Line Overhead | Protection Device | Surge Arrester | Installation Date | 42919 | 39446 | 91.91%
Distribution Line Overhead | Protection Device | Surge Arrester | Installation Job Number | 42919 | 42919 | 100%
Distribution Line Overhead | Protection Device | Surge Arrester | Material Code | 42919 | 35450 | 82.6%
Distribution Line Overhead | Protection Device | Surge Arrester | Rel GlobalID | 42919 | 42881 | 99.91%
Distribution Line Overhead | Support Structure | Anchor | Anchor Type | 430381 | 430381 | 100%
Distribution Line Overhead | Support Structure | Anchor | City | 430381 | 359834 | 83.61%
Distribution Line Overhead | Support Structure | Anchor | County | 430381 | 430366 | 100%
Distribution Line Overhead | Support Structure | Anchor | Customer Owned | 430381 | 428960 | 99.67%
Distribution Line Overhead | Support Structure | Anchor | Date Installed | 430381 | 78719 | 18.29%
Distribution Line Overhead | Support Structure | Anchor | Division | 430381 | 408212 | 94.85%
Distribution Line Overhead | Support Structure | Anchor | Free Attachment IDC | 430381 | 70814 | 16.45%
Distribution Line Overhead | Support Structure | Anchor | Global ID | 430381 | 430381 | 100%
Distribution Line Overhead | Support Structure | Anchor | Joint Owned | 430381 | 430381 | 100%
Distribution Line Overhead | Support Structure | Anchor | Label Text | 430381 | 3 | 0%
Distribution Line Overhead | Support Structure | Anchor | Lead | 430381 | 3290 | 0.76%
Distribution Line Overhead | Support Structure | Anchor | Manufacturer | 430381 | 198016 | 46.01%
Distribution Line Overhead | Support Structure | Anchor | Replace GUID | 430381 | 3488 | 0.81%
Distribution Line Overhead | Support Structure | Anchor | Retire Date | 430381 | 0 | 0%
Distribution Line Overhead | Support Structure | Anchor | Service Area | 430381 | 408057 | 94.81%
Distribution Line Overhead | Support Structure | Anchor | Shape | 430381 | 430381 | 100%
Distribution Line Overhead | Support Structure | Anchor | Status | 430381 | 430381 | 100%
Distribution Line Overhead | Support Structure | Anchor | Structure GUID | 430381 | 430019 | 99.92%
Distribution Line Overhead | Support Structure | Anchor | Subtype | 430381 | 430381 | 100%
Distribution Line Overhead | Support Structure | Anchor | Year Installed | 430381 | 112208 | 26.07%
Distribution Line Overhead | Support Structure | Anchor | ZIP Code | 430381 | 430365 | 100%
Distribution Line Overhead | Support Structure | Anchor Guy | Anchor Type | 329885 | 329885 | 100%
Distribution Line Overhead | Support Structure | Anchor Guy | City | 329885 | 288856 | 87.56%
Distribution Line Overhead | Support Structure | Anchor Guy | County | 329885 | 288863 | 87.56%
Distribution Line Overhead | Support Structure | Anchor Guy | Customer Owned | 329885 | 329877 | 100%
Distribution Line Overhead | Support Structure | Anchor Guy | Date Installed | 329885 | 14221 | 4.31%
Distribution Line Overhead | Support Structure | Anchor Guy | Division | 329885 | 289047 | 87.62%
Distribution Line Overhead | Support Structure | Anchor Guy | Global ID | 329885 | 329885 | 100%
Distribution Line Overhead | Support Structure | Anchor Guy | Guy Count | 329885 | 329884 | 100%
Distribution Line Overhead | Support Structure | Anchor Guy | Guy Type | 329885 | 319426 | 96.83%
Distribution Line Overhead | Support Structure | Anchor Guy | Joint Owned | 329885 | 329885 | 100%
Distribution Line Overhead | Support Structure | Anchor Guy | Label Text | 329885 | 329885 | 100%
Distribution Line Overhead | Support Structure | Anchor Guy | Manufacturer | 329885 | 119238 | 36.15%
Distribution Line Overhead | Support Structure | Anchor Guy | Service Area | 329885 | 289137 | 87.65%
Distribution Line Overhead | Support Structure | Anchor Guy | Shape | 329885 | 329885 | 100%
Distribution Line Overhead | Support Structure | Anchor Guy | Status | 329885 | 329881 | 100%
Distribution Line Overhead | Support Structure | Anchor Guy | Structure GUID | 329885 | 326026 | 98.83%
Distribution Line Overhead | Support Structure | Anchor Guy | Subtype | 329885 | 329885 | 100%
Distribution Line Overhead | Support Structure | Anchor Guy | Year Installed | 329885 | 45748 | 13.87%
Distribution Line Overhead | Support Structure | Anchor Guy | ZIP Code | 329885 | 288851 | 87.56%
Distribution Line Overhead | Support Structure | Framing | ANIMALGUARDIDC | 7573 | 7549 | 99.68%
Distribution Line Overhead | Support Structure | Framing | CONFIGURATION | 7573 | 7548 | 99.67%
Distribution Line Overhead | Support Structure | Framing | CROSSARMCOUNT | 7573 | 7548 | 99.67%
Distribution Line Overhead | Support Structure | Framing | FRAMELENGTH | 7573 | 7548 | 99.67%
Distribution Line Overhead | Support Structure | Framing | FRAMEMATERIAL | 7573 | 7546 | 99.64%
Distribution Line Overhead | Support Structure | Framing | Framing Position | 7573 | 523 | 6.91%
Distribution Line Overhead | Support Structure | Framing | Framing Type | 7573 | 360 | 4.75%
Distribution Line Overhead | Support Structure | Framing | FRAMINGANGLE | 7573 | 7548 | 99.67%
Distribution Line Overhead | Support Structure | Framing | FRAMINGCONSTRUCTION | 7573 | 7548 | 99.67%
Distribution Line Overhead | Support Structure | Framing | FRAMINGLEVEL | 7573 | 7548 | 99.67%
Distribution Line Overhead | Support Structure | Framing | FRAMINGUSE | 7573 | 7547 | 99.66%
Distribution Line Overhead | Support Structure | Framing | Global ID | 7573 | 7573 | 100%
Distribution Line Overhead | Support Structure | Framing | Structure GUID | 7573 | 7390 | 97.58%
Distribution Line Overhead | Support Structure | Support Structures | Bar Code | 3005861 | 1247133 | 41.49%
Distribution Line Overhead | Support Structure | Support Structures | Blank | 3005861 | 1930509 | 64.22%
Distribution Line Overhead | Support Structure | Support Structures | City | 3005861 | 1962716 | 65.3%
Distribution Line Overhead | Support Structure | Support Structures | County | 3005861 | 3005823 | 100%
Distribution Line Overhead | Support Structure | Support Structures | Customer Agreement GUID | 3005861 | 3005861 | 100%
Distribution Line Overhead | Support Structure | Support Structures | Customer Owned | 3005861 | 3004188 | 99.94%
Distribution Line Overhead | Support Structure | Support Structures | Date Installed | 3005861 | 2320658 | 77.2%
Distribution Line Overhead | Support Structure | Support Structures | Device Group GUID | 3005861 | 12 | 0%
Distribution Line Overhead | Support Structure | Support Structures | Distribution Map | 3005861 | 3005860 | 100%
Distribution Line Overhead | Support Structure | Support Structures | Division | 3005861 | 3005861 | 100%
Distribution Line Overhead | Support Structure | Support Structures | Foreign Attachment Indicator | 3005861 | 2757367 | 91.73%
Distribution Line Overhead | Support Structure | Support Structures | Foundation Type | 3005861 | 67 | 0%
Distribution Line Overhead | Support Structure | Support Structures | Functional Location ID | 3005861 | 1892489 | 62.96%
Distribution Line Overhead | Support Structure | Support Structures | Gauge | 3005861 | 2025 | 0.07%
Distribution Line Overhead | Support Structure | Support Structures | Global ID | 3005861 | 3005861 | 100%
Distribution Line Overhead | Support Structure | Support Structures | Grounded Indicator | 3005861 | 71332 | 2.37%
Distribution Line Overhead | Support Structure | Support Structures | Joint Count | 3005861 | 3001440 | 99.85%
Distribution Line Overhead | Support Structure | Support Structures | Joint Pole Number | 3005861 | 1191685 | 39.65%
Distribution Line Overhead | Support Structure | Support Structures | Joint Pole Sequence | 3005861 | 1006634 | 33.49%
Distribution Line Overhead | Support Structure | Support Structures | Label Text | 3005861 | 3005861 | 100%
Distribution Line Overhead | Support Structure | Support Structures | Latitude | 2187680 | 2174371 | 99.39%
Distribution Line Overhead | Support Structure | Support Structures | Local Office ID | 3005861 | 3005861 | 100%
Distribution Line Overhead | Support Structure | Support Structures | Longitude | 2174375 | 2174371 | 100%
Distribution Line Overhead | Support Structure | Support Structures | Manufactured Year | 3005861 | 1843226 | 61.32%
Distribution Line Overhead | Support Structure | Support Structures | Manufacturer | 3005861 | 1886760 | 62.77%
Distribution Line Overhead | Support Structure | Support Structures | Map Office | 3005861 | 2959739 | 98.47%
Distribution Line Overhead | Support Structure | Support Structures | Material | 3005861 | 2995602 | 99.66%
Distribution Line Overhead | Support Structure | Support Structures | Maximum Voltage Level | 3005861 | 2357386 | 78.43%
Distribution Line Overhead | Support Structure | Support Structures | Metered Indicator | 3005861 | 197 | 0.01%
Distribution Line Overhead | Support Structure | Support Structures | Original Circumference | 3005861 | 1896329 | 63.09%
Distribution Line Overhead | Support Structure | Support Structures | Original Treatment Type | 3005861 | 1857988 | 61.81%
Distribution Line Overhead | Support Structure | Support Structures | PLDBID | 3005861 | 2308511 | 76.8%
Distribution Line Overhead | Support Structure | Support Structures | Pole Class | 3005861 | 2241634 | 74.58%
Distribution Line Overhead | Support Structure | Support Structures | Pole Count | 3005861 | 2629356 | 87.47%
Distribution Line Overhead | Support Structure | Support Structures | Pole Height | 3005861 | 2876257 | 95.69%
Distribution Line Overhead | Support Structure | Support Structures | Pole Number | 3005861 | 22279 | 0.74%
Distribution Line Overhead | Support Structure | Support Structures | Pole Top Extension Indicator | 3005861 | 786052 | 26.15%
Distribution Line Overhead | Support Structure | Support Structures | Pole Type | 3005861 | 476276 | 15.84%
Distribution Line Overhead | Support Structure | Support Structures | Pole Use | 3005861 | 3004812 | 99.97%
Distribution Line Overhead | Support Structure | Support Structures | Replace GUID | 3005861 | 286690 | 9.54%
Distribution Line Overhead | Support Structure | Support Structures | SAP Equipment ID | 3005861 | 2655137 | 88.33%
Distribution Line Overhead | Support Structure | Support Structures | Serial Number | 3005861 | 302108 | 10.05%
Distribution Line Overhead | Support Structure | Support Structures | Service Area | 3005861 | 2954329 | 98.29%
Distribution Line Overhead | Support Structure | Support Structures | Shape | 3005861 | 3005861 | 100%
Distribution Line Overhead | Support Structure | Support Structures | Smart Meter Network Device ID | 3005861 | 159 | 0.01%
Distribution Line Overhead | Support Structure | Support Structures | Species | 3005861 | 1871472 | 62.26%
Distribution Line Overhead | Support Structure | Support Structures | Status | 3005861 | 3005861 | 100%
Distribution Line Overhead | Support Structure | Support Structures | Structure GUID | 3005861 | 3005861 | 100%
Distribution Line Overhead | Support Structure | Support Structures | Subtype | 3005861 | 3005861 | 100%
Distribution Line Overhead | Support Structure | Support Structures | Transmission Mile Number | 3005861 | 44659 | 1.49%
Distribution Line Overhead | Support Structure | Support Structures | Transmission Structure Number | 3005861 | 44603 | 1.48%
Distribution Line Overhead | Support Structure | Support Structures | Urban Rural Indicator | 3005861 | 887365 | 29.52%
Distribution Line Overhead | Support Structure | Support Structures | Year Installed | 3005861 | 849080 | 28.25%
Distribution Line Overhead | Support Structure | Support Structures | ZIP Code | 3005861 | 3005791 | 100%
Distribution Line Overhead | Transformer | Transformer | Animal Guards | 927822 | 780030 | 84.07%
Distribution Line Overhead | Transformer | Transformer | Auto Transformer Indicator | 927822 | 927820 | 100%
Distribution Line Overhead | Transformer | Transformer | CGC Number | 927822 | 927822 | 100%
Distribution Line Overhead | Transformer | Transformer | Circuit ID | 927822 | 927177 | 99.93%
Distribution Line Overhead | Transformer | Transformer | Circuit ID 2 | 927822 | 0 | 0%
Distribution Line Overhead | Transformer | Transformer | City | 927822 | 623477 | 67.2%
Distribution Line Overhead | Transformer | Transformer | County | 927822 | 927820 | 100%
Distribution Line Overhead | Transformer | Transformer | Customer Agreement GUID | 927822 | 77313 | 8.33%
Distribution Line Overhead | Transformer | Transformer | Customer Owned | 927822 | 927822 | 100%
Distribution Line Overhead | Transformer | Transformer | Date Installed | 927822 | 684090 | 73.73%
Distribution Line Overhead | Transformer | Transformer | Distributed Generation Indicator | 927822 | 73157 | 7.88%
Distribution Line Overhead | Transformer | Transformer | Division | 927822 | 927813 | 100%
Distribution Line Overhead | Transformer | Transformer | Feeder Information | 927822 | 927735 | 99.99%
Distribution Line Overhead | Transformer | Transformer | Feeder Type | 927822 | 927510 | 99.97%
Distribution Line Overhead | Transformer | Transformer | Functional Location | 927822 | 1309 | 0.14%
Distribution Line Overhead | Transformer | Transformer | Global ID | 927822 | 927822 | 100%
Distribution Line Overhead | Transformer | Transformer | Grounded Indicator | 927822 | 33109 | 3.57%
Distribution Line Overhead | Transformer | Transformer | Hi Side Voltage | 927822 | 211989 | 22.85%
Distribution Line Overhead | Transformer | Transformer | High Side Configuration | 927822 | 927679 | 99.98%
Distribution Line Overhead | Transformer | Transformer | High Side Protection | 927822 | 1927 | 0.21%
Distribution Line Overhead | Transformer | Transformer | Installation Type | 927822 | 927818 | 100%
Distribution Line Overhead | Transformer | Transformer | Insulating Fluid Type | 927822 | 1291 | 0.14%
Distribution Line Overhead | Transformer | Transformer | Interrupter Indicator | 927822 | 927819 | 100%
Distribution Line Overhead | Transformer | Transformer | KVA and Phase | 927822 | 916914 | 98.82%
Distribution Line Overhead | Transformer | Transformer | Label Text | 927822 | 927819 | 100%
Distribution Line Overhead | Transformer | Transformer | Latitude | 927822 | 664231 | 71.59%
Distribution Line Overhead | Transformer | Transformer | Live Front / Dead Front | 927822 | 102057 | 11%
Distribution Line Overhead | Transformer | Transformer | Local Office ID | 927822 | 927822 | 100%
Distribution Line Overhead | Transformer | Transformer | Longitude | 927822 | 664231 | 71.59%
Distribution Line Overhead | Transformer | Transformer | Low Side Voltage | 927822 | 927822 | 100%
Distribution Line Overhead | Transformer | Transformer | Number Of Phases | 927822 | 927820 | 100%
Distribution Line Overhead | Transformer | Transformer | Phase Designation | 927822 | 927820 | 100%
Distribution Line Overhead | Transformer | Transformer | Protective SSD | 927822 | 869868 | 93.75%
Distribution Line Overhead | Transformer | Transformer | Rated KVA | 927822 | 861282 | 92.83%
Distribution Line Overhead | Transformer | Transformer | Regulated Output Indicator | 927822 | 162892 | 17.56%
Distribution Line Overhead | Transformer | Transformer | Retire Date | 927822 | 2 | 0%
Distribution Line Overhead | Transformer | Transformer | Service Area | 927822 | 927467 | 99.96%
Distribution Line Overhead | Transformer | Transformer | Shape | 927822 | 927822 | 100%
Distribution Line Overhead | Transformer | Transformer | Source Side Device GUID | 927822 | 923333 | 99.52%
Distribution Line Overhead | Transformer | Transformer | Source Side Device ID | 927822 | 925630 | 99.76%
Distribution Line Overhead | Transformer | Transformer | Spot Or Grid | 927822 | 927814 | 100%
Distribution Line Overhead | Transformer | Transformer | Stabilizing Bank Indicator | 927822 | 927822 | 100%
Distribution Line Overhead | Transformer | Transformer | Status | 927822 | 927822 | 100%
Distribution Line Overhead | Transformer | Transformer | Structure GUID | 927822 | 927272 | 99.94%
Distribution Line Overhead | Transformer | Transformer | Submersible Indicator | 927822 | 324296 | 34.95%
Distribution Line Overhead | Transformer | Transformer | Subtype | 927822 | 927822 | 100%
Distribution Line Overhead | Transformer | Transformer | Subway Transformer Indicator | 927822 | 927819 | 100%
Distribution Line Overhead | Transformer | Transformer | Summer KVA | 927822 | 877777 | 94.61%
Distribution Line Overhead | Transformer | Transformer | Unit Count | 927822 | 927820 | 100%
Distribution Line Overhead | Transformer | Transformer | Vault | 927822 | 3594 | 0.39%
Distribution Line Overhead | Transformer | Transformer | Vault Location | 927822 | 1125 | 0.12%
Distribution Line Overhead | Transformer | Transformer | Winter KVA | 927822 | 877777 | 94.61%
Distribution Line Overhead | Transformer | Transformer | Year Installed | 927822 | 754347 | 81.3%
Distribution Line Overhead | Transformer | Transformer | ZIP Code | 927822 | 927817 | 100%
Distribution Line Overhead | Transformer | Transformer Unit | AMP Year | 1036509 | 9142 | 0.88%
Distribution Line Overhead | Transformer | Transformer Unit | Bank Code | 1036509 | 993220 | 95.82%
Distribution Line Overhead | Transformer | Transformer Unit | Bucket Truck Idc | 1036509 | 1031752 | 99.54%
Distribution Line Overhead | Transformer | Transformer Unit | Caltrans Permit Idc | 1036509 | 1031750 | 99.54%
Distribution Line Overhead | Transformer | Transformer Unit | Global ID | 1036509 | 1036509 | 100%
Distribution Line Overhead | Transformer | Transformer Unit | Installation Date | 1036509 | 1016855 | 98.1%
Distribution Line Overhead | Transformer | Transformer Unit | Job Number | 1036509 | 1029500 | 99.32%
Distribution Line Overhead | Transformer | Transformer Unit | Job Prefix | 1036509 | 640231 | 61.77%
Distribution Line Overhead | Transformer | Transformer Unit | Job Year | 1036509 | 512019 | 49.4%
Distribution Line Overhead | Transformer | Transformer Unit | Long Description | 1036509 | 950046 | 91.66%
Distribution Line Overhead | Transformer | Transformer Unit | Manufacturer | 1036509 | 1032359 | 99.6%
Distribution Line Overhead | Transformer | Transformer Unit | Material Code | 1036509 | 590531 | 56.97%
Distribution Line Overhead | Transformer | Transformer Unit | Number Of Phases | 1036509 | 1036424 | 99.99%
Distribution Line Overhead | Transformer | Transformer Unit | Phase Designation | 1036509 | 1036474 | 100%
Distribution Line Overhead | Transformer | Transformer Unit | Rated KVA | 1036509 | 1036509 | 100%
Distribution Line Overhead | Transformer | Transformer Unit | Replace GUID | 1036509 | 156745 | 15.12%
Distribution Line Overhead | Transformer | Transformer Unit | Retire Date | 1036509 | 13 | 0%
Distribution Line Overhead | Transformer | Transformer Unit | SAP Equipment ID | 1036509 | 1024095 | 98.8%
Distribution Line Overhead | Transformer | Transformer Unit | SAP Sort Field | 1036509 | 1281 | 0.12%
Distribution Line Overhead | Transformer | Transformer Unit | Serial Number | 1036509 | 991551 | 95.66%
Distribution Line Overhead | Transformer | Transformer Unit | Short Description | 1036509 | 955869 | 92.22%
Distribution Line Overhead | Transformer | Transformer Unit | Status | 1036509 | 1036509 | 100%
Distribution Line Overhead | Transformer | Transformer Unit | Subtype | 1036509 | 0 | 0%
Distribution Line Overhead | Transformer | Transformer Unit | Supervisory Control | 1036509 | 586531 | 56.59%
Distribution Line Overhead | Transformer | Transformer Unit | Transformer GUID | 1036509 | 1036509 | 100%
Distribution Line Overhead | Transformer | Transformer Unit | Transformer Type | 1036509 | 1036509 | 100%
Distribution Line Overhead | Transformer | Transformer Unit | Unit ID | 1036509 | 955617 | 92.2%
Distribution Line Overhead | Transformer | Transformer Unit | Year Manufacturer | 1036509 | 787075 | 75.94%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Animal Guards | 11350 | 11343 | 99.94%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Bucket Truck | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | CalTrans Permit | 11350 | 11349 | 99.99%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Circuit ID | 11350 | 11346 | 99.96%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | City | 11350 | 7728 | 68.09%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | County | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | CT Rating | 11350 | 4991 | 43.97%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Customer Owned | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Date Installed | 11350 | 10995 | 96.87%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Division | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Feeder Information | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Feeder Type | 11350 | 11349 | 99.99%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Fill Type | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Fused | 11350 | 11336 | 99.88%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Global ID | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Installation Type | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Latitude | 11350 | 8285 | 73%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Lightning Arrestors | 11350 | 2316 | 20.41%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Local Office ID | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Longitude | 11350 | 8285 | 73%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Manufacturer | 11350 | 4653 | 41%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Material Code | 11350 | 4841 | 42.65%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | MET Distribution Map # | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Number Of Phases | 11350 | 11349 | 99.99%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Phase Designation | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Protective SSD | 11350 | 7097 | 62.53%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | SAP Equipment ID | 11350 | 11127 | 98.04%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Season Off | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Serial Number | 11350 | 5010 | 44.14%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Service Area | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Shape | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Source Side Device GUID | 11350 | 10188 | 89.76%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Source Side Device ID | 11350 | 11219 | 98.85%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Status | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Structure GUID | 11350 | 11301 | 99.57%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Subtype | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Switch Fill Type | 11350 | 20 | 0.18%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Switch Position | 11350 | 10240 | 90.22%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Switch Type | 11350 | 11319 | 99.73%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Switched w/VAR Sensor | 11350 | 10300 | 90.75%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Total KVAR | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Unit Count | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Unit KVAR | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | UnitPhase | 11350 | 7631 | 67.23%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Vault | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Year Installed | 11350 | 7519 | 66.25%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | Year Manufactured | 11350 | 2266 | 19.96%
Distribution Line Overhead | Voltage Regulating Equipment | Capacitor Bank | ZIP Code | 11350 | 11350 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Animal Guards | 4822 | 4820 | 99.96%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Bucket Truck | 4822 | 4726 | 98.01%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | CalTrans Permit | 4822 | 4726 | 98.01%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Circuit ID | 4822 | 4820 | 99.96%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | City | 4822 | 2329 | 48.3%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | County | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Customer Owned | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Date Installed | 4822 | 4207 | 87.25%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Device Group GUID | 4822 | 44 | 0.91%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Division | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Feeder Information | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Feeder Type | 4822 | 4821 | 99.98%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Global ID | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | High Side Configuration | 4822 | 4821 | 99.98%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | High Side Protection | 4822 | 12 | 0.25%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Installation Type | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Label Text | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Latitude | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Local Office ID | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Longitude | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | MET Distribution Map # | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Number Of Phases | 4822 | 4819 | 99.94%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Number Of Steps | 4822 | 365 | 7.57%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Original Source Side ID | 4822 | 4821 | 99.98%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Phase Designation | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Platform Mounted Indicator | 4822 | 4708 | 97.64%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Potential Direction | 4822 | 4768 | 98.88%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Protective SSD | 4822 | 4120 | 85.44%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Rated Amps | 4822 | 4622 | 95.85%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Rated KVA | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Reverse Power Flow | 4822 | 4732 | 98.13%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | SAP Equipment ID | 4822 | 7 | 0.15%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | SCADA Indicator | 4822 | 4226 | 87.64%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Service Area | 4822 | 4801 | 99.56%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Shape | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Source Side Device GUID | 4822 | 4666 | 96.76%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Source Side Device ID | 4822 | 4770 | 98.92%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Status | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Structure GUID | 4822 | 4749 | 98.49%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Subtype | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Switch Position | 4822 | 3722 | 77.19%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Unit Count | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Vault | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | Year Installed | 4822 | 4028 | 83.53%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator | ZIP Code | 4822 | 4822 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Bank Code | 7878 | 7877 | 99.99%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Global ID | 7878 | 7878 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Installation Date | 7878 | 6955 | 88.28%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Installation Type | 7878 | 7878 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Job Number | 7878 | 7875 | 99.96%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Job Prefix | 7878 | 6856 | 87.03%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Job Year | 7878 | 5659 | 71.83%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Manufacturer | 7878 | 7875 | 99.96%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Material Code | 7878 | 5767 | 73.2%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Number Of Phases | 7878 | 7878 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Phase Designation | 7878 | 7878 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Rated Amps | 7878 | 7875 | 99.96%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Rated KVA | 7878 | 7878 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Regulator GUID | 7878 | 7872 | 99.92%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Replace GUID | 7878 | 1052 | 13.35%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Retire Date | 7878 | 0 | 0%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | SAP Equipment ID | 7878 | 7288 | 92.51%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Serial Number | 7878 | 6351 | 80.62%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Status | 7878 | 7878 | 100%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Subtype | 7878 | 0 | 0%
Distribution Line Overhead | Voltage Regulating Equipment | Voltage Regulator Unit | Year Manufacturer | 7878 | 4899 | 62.19%
Transmission Line Overhead | Insulator | Insulator | ETGIS Unique Identifier | 0 | 0
Transmission Line Overhead | Insulator | Insulator | Host TLine ETGIS ID | 0 | 0
Transmission Line Overhead | Insulator | Insulator | Installation Date | 170206 | 102168 | 60.03%
Transmission Line Overhead | Insulator | Insulator | Insulator Framing | 170206 | 134891 | 79.25%
Transmission Line Overhead | Insulator | Insulator | Insulator Material | 170206 | 170206 | 100%
Transmission Line Overhead | Insulator | Insulator | Insulator Rating | 170206 | 87007 | 51.12%
Transmission Line Overhead | Insulator | Insulator | Manufactured Date | 170206 | 0 | 0%
Transmission Line Overhead | Insulator | Insulator | Manufacturer | 170206 | 5048 | 2.97%
Transmission Line Overhead | Insulator | Insulator | Owner Status | 170206 | 15294 | 8.99%
Transmission Line Overhead | Insulator | Insulator | Replace Equipment ID | 170206 | 170206 | 100%
Transmission Line Overhead | Insulator | Insulator | SAP Equipment ID | 170206 | 170182 | 99.99%
Transmission Line Overhead | Insulator | Insulator | SAP Functional Location | 170206 | 170206 | 100%
Transmission Line Overhead | Insulator | Insulator | Status | 170206 | 170205 | 100%
Transmission Line Overhead | Insulator | Insulator | Structure Number | 170206 | 170200 | 100%
Transmission Line Overhead | Insulator | Insulator | Structure SAP Equipment ID | 170206 | 170196 | 99.99%
Transmission Line Overhead | Conductor | Conductor Info | Conductor Code | 4846 | 4614 | 95.21%
Transmission Line Overhead | Conductor | Conductor Info | Conductor Size | 4846 | 4846 | 100%
Transmission Line Overhead | Conductor | Conductor Info | Conductor Strand Value | 4846 | 4846 | 100%
Transmission Line Overhead | Conductor | Conductor Info | Conductor Type | 4846 | 4846 | 100%
Transmission Line Overhead | Conductor | Conductor Info | ET Conductor Grouping | 4846 | 4846 | 100%
Transmission Line Overhead | Conductor | Conductor Info | ETGIS Unique Identifier | 0 | 0
Transmission Line Overhead | Conductor | Conductor Info | From SAP Structure No | 0 | 0
Transmission Line Overhead | Conductor | Conductor Info | From Sequence Number | 0 | 0
Transmission Line Overhead | Conductor | Conductor Info | From Structure ETGISID | 0 | 0
Transmission Line Overhead | Conductor | Conductor Info | Installation Date | 4846 | 2819 | 58.17%
Transmission Line Overhead | Conductor | Conductor Info | Manufactured Date | 4846 | 0 | 0%
Transmission Line Overhead | Conductor | Conductor Info | Manufacturer | 4846 | 45 | 0.93%
Transmission Line Overhead | Conductor | Conductor Info | SAP Equipment ID | 4846 | 4841 | 99.9%
Transmission Line Overhead | Conductor | Conductor Info | SAP Functional Location | 4846 | 4846 | 100%
Transmission Line Overhead | Conductor | Conductor Info | Section Length (in Miles) | 4846 | 4845 | 99.98%
Transmission Line Overhead | Conductor | Conductor Info | To SAP Structure No | 4846 | 4781 | 98.66%
Transmission Line Overhead | Conductor | Conductor Info | To Sequence Number | 0 | 0
Transmission Line Overhead | Conductor | Conductor Info | To Structure ETGISID | 0 | 0
Transmission Line Overhead | Conductor | Conductor Rating | ETGIS Unique Identifier | 4846 | 4846 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | County | 4725 | 1218 | 25.78%
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | ETGIS Unique Identifier | 0 | 0
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Host TLine ETGIS ID | 4725 | 4610 | 97.57%
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Installation Date | 4725 | 241 | 5.1%
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Manufactured Date | 4725 | 11 | 0.23%
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Manufacturer | 4725 | 122 | 2.58%
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | SAP Equipment ID | 4725 | 175 | 3.7%
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | SAP Functional Location | 4725 | 2991 | 63.3%
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Status | 4725 | 4725 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Structure Number | 4725 | 3602 | 76.23%
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Structure Size | 4725 | 182 | 3.85%
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Structure Type | 4725 | 319 | 6.75%
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Subtype | 4725 | 4725 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Transmission Line Name | 4725 | 3558 | 75.3%
Transmission Line Overhead | Support Structure (NSS + SS) | OHStructure | Work Center | 4725 | 1132 | 23.96%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Attachment YN | 112676 | 87877 | 77.99%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | County | 112676 | 112676 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | ETGIS Unique Identifier | 112676 | 112676 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Frame Type | 112676 | 112655 | 99.98%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Frame Type Details | 112676 | 92810 | 82.37%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | GIS Latitude | 112676 | 112676 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | GIS Longitude | 112676 | 112676 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Host TLine ETGIS ID | 112676 | 112469 | 99.82%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Lead Paint Indicator | 112676 | 112676 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Owner Status | 112676 | 112676 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Pole Height - Ground level (in Feet) | 112676 | 104102 | 92.39%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Pole Height - Mean Sea level (in Feet) | 112676 | 104104 | 92.39%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Replace Equipment ID | 112676 | 112676 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | SAP Equipment ID | 112676 | 112665 | 99.99%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | SAP Functional Location | 112676 | 112676 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | SAP Structure Number | 112676 | 112676 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Status | 112676 | 112676 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Structure Classification | 112676 | 112676 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Structure Number | 112676 | 106975 | 94.94%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Structure Type | 112676 | 112676 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Subtype | 112676 | 112676 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Transmission Line Name | 112676 | 112675 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | PoleStructure | Work Center | 112676 | 112676 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | County | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | ETGIS Unique Identifier | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Frame Type | 35271 | 35201 | 99.8%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Frame Type Details | 35271 | 33286 | 94.37%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | GIS Latitude | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | GIS Longitude | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Host TLine ETGIS ID | 35271 | 35267 | 99.99%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Lead Paint Indicator | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Owner Status | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Replace Equipment ID | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | SAP Equipment ID | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | SAP Functional Location | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | SAP Structure Number | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Status | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Structure Classification | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Structure Number | 35271 | 35071 | 99.43%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Structure Type | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Subtype | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Tower Height - Ground level (in Feet) | 35271 | 354 | 1%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Tower Height - Mean Sea level (in Feet) | 35271 | 33839 | 95.94%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Transmission Line Name | 35271 | 35268 | 99.99%
Transmission Line Overhead | Support Structure (NSS + SS) | TowerStructure | Work Center | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Access Comments | 118973 | 28097 | 23.62%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Accessbility Yes No | 118973 | 32707 | 27.49%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Accessibility Type | 118973 | 31611 | 26.57%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Alternate Pole ID | 118973 | 10561 | 8.88%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Customer Data ID | 118973 | 54057 | 45.44%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Customer Pole Number | 118973 | 42973 | 36.12%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Description | 118973 | 75857 | 63.76%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | DIST GUID | 118973 | 0 | 0%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Distance to Airport (in Miles) | 118973 | 0 | 0%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | ETGIS Unique Identifier | 118973 | 118973 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Fiber Optic Installation Date | 118973 | 504 | 0.42%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Fiber Optic Type | 118973 | 1354 | 1.14%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Foundation Type | 118973 | 43863 | 36.87%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | GlobalID | 118973 | 118973 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | History | 118973 | 104812 | 88.1%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Installation Date | 118973 | 63944 | 53.75%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Length Class Actual or Estimated | 118973 | 72436 | 60.88%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Line Angle | 118973 | 87300 | 73.38%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Maint Segment ID | 118973 | 91662 | 77.04%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Maintained By | 118973 | 97946 | 82.33%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Manufactured Date | 118973 | 78552 | 66.03%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Manufactured Year Actual OR Estimate | 118973 | 72177 | 60.67%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Manufacturer | 118973 | 85036 | 71.48%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Multiple Pole Description | 118973 | 11254 | 9.46%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Original Structure Number | 118973 | 111692 | 93.88%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Original Transmission Line Name | 118973 | 112743 | 94.76%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Original Treat | 118973 | 51532 | 43.31%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Osmos Report | 118973 | 2 | 0%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Owner | 118973 | 77620 | 65.24%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Ownership Status | 118973 | 10 | 0.01%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | PARENT_TLDBID | 118973 | 118962 | 99.99%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Pole Calc | 118973 | 37833 | 31.8%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Pole Class | 118973 | 106955 | 89.9%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Pole Factory Length | 118973 | 109491 | 92.03%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Pole Height - From Ground | 118973 | 93388 | 78.5%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Pole Material | 118973 | 118909 | 99.95%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Previous Cycle Info | 118973 | 42625 | 35.83%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Previous Restored Method | 118973 | 339 | 0.28%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Previous Restored Year | 118973 | 345 | 0.29%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Property Rights Code | 118973 | 9900 | 8.32%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Reinforcement | 118973 | 7081 | 5.95%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Related ETGIS ID | 118973 | 118973 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Related TLine ETGISID | 118973 | 54384 | 45.71%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Remaining Wood Strength | 118973 | 7028 | 5.91%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Replace Equipment ID | 118973 | 3211 | 2.7%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | SAP Equipment ID | 118973 | 118957 | 99.99%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | SAP Functional Location | 118973 | 118973 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | SAP Structure Number | 118973 | 118973 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Shell Rot Measured Circle | 118973 | 54113 | 45.48%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Shield Wire Size | 118973 | 130 | 0.11%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Shield Wire Type | 118973 | 166 | 0.14%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Species Material | 118973 | 77068 | 64.78%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Sten Str | 118973 | 68879 | 57.89%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Structure Number | 118973 | 94244 | 79.21%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | TLDBID | 118973 | 118959 | 99.99%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Transmission Line ID | 118973 | 92914 | 78.1%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Pole Information | Wind Loading | 118973 | 6 | 0.01%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Access Comments | 35271 | 13308 | 37.73%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Accessibility Type | 35271 | 8726 | 24.74%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Accessibility Yes No | 35271 | 8690 | 24.64%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Attachment Owner | 35271 | 1 | 0%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Attachment Type | 35271 | 2353 | 6.67%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Distance to Airport (in Miles) | 35271 | 0 | 0%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | ETGIS Unique Identifier | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Fiber Optic Installation Date | 35271 | 5652 | 16.02%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Fiber Optic Type | 35271 | 5648 | 16.01%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Foundation Type | 35271 | 30909 | 87.63%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | GlobalID | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | History | 35271 | 34620 | 98.15%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Installation Date | 35271 | 32318 | 91.63%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Line Angle | 35271 | 33647 | 95.4%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Manufactured Date | 35271 | 13 | 0.04%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Manufacturer | 35271 | 846 | 2.4%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Original Structure No | 35271 | 34743 | 98.5%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Original Transmission Line Name | 35271 | 34995 | 99.22%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Owner | 35271 | 1750 | 4.96%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | PARENT_TLDBID | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Pole Calc | 35271 | 57 | 0.16%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Property Rights Code | 35271 | 4022 | 11.4%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Related ETGIS ID | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Related TLine ETGISID | 35271 | 11297 | 32.03%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | SAP Equipment ID | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | SAP Functional Location | 35271 | 35263 | 99.98%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | SAP Structure Number | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Shield Wire Size | 35271 | 9666 | 27.4%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Shield Wire Type | 35271 | 8807 | 24.97%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Structure Number | 35271 | 34921 | 99.01%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | TLDBID | 35271 | 35271 | 100%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Tower Class | 35271 | 257 | 0.73%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Tower Factory Length | 35271 | 182 | 0.52%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Tower Lighting | 35271 | 720 | 2.04%
Transmission Line Overhead | Support Structure (NSS + SS) | Transmission Tower Information | Tower Lighting Install Date | 35271 | 22 | 0.06%