## EDQ DQ
Dx Support Structure CDE | Primary OH Conductor CDE
Gauge | Conductor Use
Map Office | Conductor Type
Material | Construction Type
Metered Indicator | Feeder Type
Original Treatment Type | Material
Bar Code | Circuit ID
Blank | Circuit ID 2
City | Circuit Name
County | City
Customer Agreement GUID | County
Customer Owned | Customer Agreement GUID
Date Installed | Customer Owned
Distribution Map | Division
District | Fdr Mgr Non Traceable
Division | Feeder Information
Foreign Attachment Indicator | Global ID
Foundation Type | Jacket Type
Functional Location ID | Label Text
Pole Type | Label Text 2
Global ID | Line Length
Grounded Indicator | Local Office ID
HFTD | Mainline Indicator
Joint Count | Neutral Indicator
Joint Pole Number | Nominal Voltage
Joint Pole Sequence | Number Of Phases
Label Text | Phase Designation
Latitude | Replace GUID
Local Office ID | Service Area
Longitude | Service Indicator
Manufactured Year | Shape
Manufacturer | Shape.len
Maximum Voltage Level | Spacing
Original Circumference | Status
PLDBID | Subtype
Pole Class | Year Installed
Pole Count | ZIP Code
Pole Height | Conductor Count
Pole Number | Conductor GUID
Pole Top Extension Indicator | Conductor Size
Pole Use | Installation Date
Replace GUID | Insulation
SAP Equipment ID | PG&E Conductor Code
Serial Number | Operating Voltage
Service Area
Shape
Smart Meter Network Device ID
Species
Status
Structure GUID
Subtype
Transmission Mile Number
Transmission Structure Number
Urban Rural Indicator
Year Installed
ZIP Code
HFRA
Device Group GUID