## OEIS 6-1f
(ii) 13 Closed Work Orders
Line No. | Notification Number | Equipment Type | Project Number | Project Name | Mitigation Type
1 | 111485251 | other | 35240160 | CWSP - COARSEGOLD 21045310 PH 1.1 | Tier 2 - Overhead (OH) hardening
2 | 117144052 | splice | 35219590 | 08W CWSP-VacaDixon 1105965390 | OH hardening
3 | 117196837 | pole | 35294275 | 08W Calistoga 1101257964 | OH Hardening
4 | 117315557 | pole | 35232960 | CWSP - DESCHUTES 11049718 PH1.2 | Tier 2 - OH Hardening
5 | 117545214 | pole | unknown | Middletown 1103 CB LR830 | OH bare (pending new business project)
6 | 118600025 | conductor | 35378688 | CWSP - MIDDLETOWN 11014646 -PH 3 | Tier 3 - Underground (UG)
7 | 119095620 | conductor | 35227007 | Near ECOP - Middletown 1101 H12 Ph3.2 | Tier 3 - not in scope of job
8 | 119183453 | other | 35226858 | ECOP-MIDDLETOWN 1101-H12-LR548-PH1.3 | OH hardening
9 | 119366706 | other | 35219286 | CWSP - DESCHUTES 11049718 PH1.1 | OH hardening
10 | 119468416 | pole | 35232442 | CWSP - DESCHUTES 11049718 PH 2.2 | OH hardening
11 | 119937011 | pole | 35240220 | CWSP - Santa Ynez 1104Y04 PH 1.1 | OH hardening
12 | 121377162 | pole | 35237360 | CWSP - Vaca Dixon 110540092 PH 1.4 | OH hardening
13 | 123221135 | other | 35219097 | CWSP - Coarsegold 2104 CB PH 1.1 | Tier 2 - OH Hardening
(iii) 52 Open Work Orders
Line No. | Notification Number | Equipment Type | Project Number | Project Name | Mitigation Type
1 | 110528676 | other | 35232960 | CWSP - DESCHUTES 11049718 PH1.2 | OH hardening
2 | 111661395 | other | 35217273 | OCGC SH - UPPER LAKE 1101 CB | Tier 2 - OH hardening
3 | 111826412 | other | 35231622 | CWSP - HIGHLANDS 1102628 PH 1.4 | Tier 3 - OH Hardening or Remote Grid (REMG)
4 | 111829455 | other | 35231622 | CWSP - HIGHLANDS 1102628 PH 1.4 | Tier 3 - OH Hardening or REMG
5 | 111834042 | anchor/guy | 35231625 | CWSP - HIGHLANDS 1102628 PH 1.7 | Tier 2 - OH Hardening or REMG
6 | 111834043 | other | 35231625 | CWSP - HIGHLANDS 1102628 PH 1.7 | Tier 2 - OH Hardening or REMG
7 | 111834044 | anchor/guy | 35231625 | CWSP - HIGHLANDS 1102628 PH 1.7 | Tier 2 - OH Hardening or REMG
8 | 114242123 | other | 35237360 | CWSP - Vaca Dixon 110540092 PH 1.4 | OH hardening
9 | 116762016 | pole | 35232444 | CWSP - DESCHUTES 11049718 PH 2.4 | OH hardening
10 | 116763603 | pole | 35232444 | CWSP - DESCHUTES 11049718 PH 2.4 | OH hardening
11 | 117128910 | pole | 35219269 | CWSP - VACA DIXON 110540092 | Tier 2 - OH Hardening
12 | 117191660 | pole | 35223027 | Silverado 2104 -726-H05-PH4 | OH hardening
13 | 117218204 | pole | 35283196 | CWSP HARTLEY 1101 LR698 PH 1.2 | OH hardening
14 | 117269045 | pole | 35223027 | ECOP - SILVERADO 2104 - H05 - LR726 PH 4 | OH hardening
15 | 117269046 | pole | 35223028 | ECOP - SILVERADO 2104 - H05 - LR726 PH 5 | OH hardening
16 | 117269047 | pole | 35223028 | ECOP - SILVERADO 2104 - H05 - LR726 PH 5 | OH hardening
17 | 117272956 | pole | 35226858 | ECOP-MIDDLETOWN 1101-H12-LR548-PH1.3 | OH hardening
18 | 117299554 | pole | 35241073 | CWSP - DESCHUTES 110449024 PH1.1 | OH hardening
19 | 117308967 | pole | 35232444 | CWSP - DESCHUTES 11049718 PH 2.4 | OH hardening
20 | 117310235 | pole | 35219286 | CWSP - DESCHUTES 11049718 PH1.1 | OH hardening
21 | 117314296 | pole | unknown | Middletown 1103 CB LR830 | OH bare (pending new business project)
22 | 117314792 | pole | unknown | Middletown 1103 CB LR830 | OH bare (pending new business project)
23 | 117315690 | pole | 35232442 | CWSP - DESCHUTES 11049718 PH 2.2 | OH hardening
24 | 117315700 | pole | 35232442 | CWSP - DESCHUTES 11049718 PH 2.2 | OH hardening
25 | 117337010 | pole | 35227263 | CWSP - MARIPOSA 2102CB PH 2 | OH hardening
26 | 117340666 | pole | 35332958 | CWSP LINCOLN 1104 LR2070 PH 2.2 | UG
27 | 117341878 | pole | 35332958 | CWSP LINCOLN 1104 LR2070 PH 2.2 | UG
28 | 117914514 | conductor | 35226858 | ECOP-MIDDLETOWN 1101-H12-LR548-PH1.3 closest job | OH hardening
29 | 119107280 | pole | 35223028 | ECOP - SILVERADO 2104 - H05 - LR726 PH 5 | OH hardening
30 | 119107485 | other | unknown | Middletown 1103 CB LR830 | OH bare (pending new business project)
31 | 119107486 | other | unknown | Middletown 1103 CB LR830 | OH bare (pending new business project)
32 | 119111512 | other | unknown | Middletown 1103 CB LR830 | OH bare (pending new business project)
33 | 119112628 | other | unknown | Middletown 1103 CB LR830 | OH bare (pending new business project)
34 | 119168288 | other | 35226858 | ECOP-MIDDLETOWN 1101-H12-LR548-PH1.3 | OH hardening
35 | 119168290 | other | 35226858 | ECOP-MIDDLETOWN 1101-H12-LR548-PH1.3 | OH hardening
36 | 119180734 | pole | 35226858 | ECOP-MIDDLETOWN 1101-H12-LR548-PH1.3 | OH hardening
37 | 119354707 | pole | 35226858 | ECOP-MIDDLETOWN 1101-H12-LR548-PH1.3 | OH hardening
38 | 119358346 | pole | 35225825 | CWSP - DESCHUTES 11049718 PH2.1 | OH hardening
39 | 119383269 | splice | 35232444 | CWSP - DESCHUTES 11049718 PH 2.4 | OH hardening
40 | 119567990 | other | 35232960 | adj to 110528676 CWSP - DESCHUTES 11049718 PH1.2 | OH bare
41 | 119591955 | pole | 35232444 | CWSP - DESCHUTES 11049718 PH 2.4 | OH hardening
42 | 119635727 | anchor/guy | 35232960 | CWSP - DESCHUTES 11049718 PH1.2 | OH hardening
43 | 119637163 | other | 35232960 | CWSP - DESCHUTES 11049718 PH1.2 | OH hardening
44 | 119637165 | pole | 35232960 | CWSP - DESCHUTES 11049718 PH1.2 | OH hardening
45 | 119826561 | anchor/guy | 35240220 | CWSP - Santa Ynez 1104Y04 PH 1.1 | OH hardening
46 | 119906086 | transformer | 35264183 (closest job) | CWSP - Santa Ynez 1104Y04 PM Tx work | UG
47 | 119906114 | transformer | 35264183 (closest job) | CWSP - Santa Ynez 1104Y04 PM Tx work | UG
48 | 119916832 | transformer | 35264183 (closest job) | CWSP - Santa Ynez 1104Y04 PM Tx work | UG
49 | 120840200 | pole | 35241073 | CWSP - DESCHUTES 110449024 PH1.1 | OH hardening
50 | 120841156 | pole | 35085847 | OH RECONDUCTOR - ROB ROY 2105 -S027CC118 added to this job due to proximity. | OH bare
51 | 121458501 | pole | 35250576 | CWSP - HARTLEY 1101 - 698 - PH1.1 | OH hardening
52 | 121518410 | transformer | 35237258 | CWSP - Vaca Dixon 110540092 PH 1.2 | OH hardening