## Sheet1
Notes
[1] Estimated Risk Reduction is measured in MARS units (further details in Chapter 6) and Net Present Valued
[2] Estimated Cost is Net Present Valued
[3] Estimated Risk Spend Efficiency is the Estimated Risk Reduction divided by the Estimated Cost and then multiplied by 10,000,000 for readability
[4] HFRA indicates that the mitigation is broadly applicable across SCE's HFRA and not tied to a specific circuit
Index | Mitigation Deployed 2023-2025 | Initiative tracking ID | WMP Category | Circuit Segments Impacted from Table 7-4 | Estimated Risk Reduction1 | Estimated Cost2 | Estimated RSE3
1 | Rapid Earth Fault Current Limiters (REFCL) | SH-17 | Grid Design, Operations, and Maintenance (System Hardening) | SHOVEL, KENO, GAMBLER, STONEMAN, RAYBURN, ACROBAT, LOTTO, PELONA, QUINBY, BODKIN, TONTO, WAITE | 463.2403 | 91615.4871 | 50564
2 | Branch Line Protection Strategy | SH-4 | Grid Design, Operations, and Maintenance (System Hardening) | SHOVEL, KENO, PIONEERTOWN, ERSKINE, GAMBLER, LASKER, MUSTANG, STORES, POPPET FLATS, STONEMAN, MULHOLLAND, SCHMIDT, RAYBURN, PICONI, PASCAL, BURNT MOUNTAIN, TUDOR, ACROBAT, IDA, LOTTO, BLACKFOOT, LUISENO, PELONA, RHODA, PURCHASE, TRIUNFO, PERRIS, DINELY, KUFFEL, ROTEC, PHEASANT, BIANCO, MUTUAL, ROMERO, BODKIN, TONTO, AMETHYST, LA GRANDE, DOLORES, PARCO | 5.5647 | 1760.2315 | 31613
3 | CB w/ Fast Curve Settings | SH-6 | Grid Design, Operations, and Maintenance (System Hardening) | Not Applicable | 5.9869 | 4044.6068 | 14802
4 | Structure Brushing | VM-2 | Vegetation Management and Inspection | All circuits listed in Table 7-4 | 31.3812 | 25217.4423 | 12444
5 | High Impedence (Hi-Z) Relays | No Tracking ID | Grid Design, Operations, and Maintenance (System Hardening) | Not Applicable | 0.68999 | 1108.5332 | 6224
6 | Early Fault Detection (EFD) | SA-11 | Situational Awareness and Forecasting | Not Applicable | 10.628 | 19293.9647 | 5508
7 | Vertical Switches | SH-15 | Grid Design, Operations, and Maintenance (System Hardening) | MUSTANG | 0.24521 | 530.4596 | 4623
8 | WCCP & FR Poles | SH-1 | Grid Design, Operations, and Maintenance (System Hardening) | SHOVEL, KENO, PIONEERTOWN, ERSKINE, GAMBLER, LASKER, MUSTANG, STORES, POPPET FLATS, STONEMAN, MULHOLLAND, SCHMIDT, RAYBURN, PICONI, PASCAL, BURNT MOUNTAIN, TUDOR, ACROBAT, IDA, LOTTO, BLACKFOOT, LUISENO, PELONA, RHODA, PURCHASE, TRIUNFO, PERRIS, KUFFEL, ROTEC, PHEASANT, QUINBY, PINEWOOD, BIANCO, MUTUAL, ROMERO, BODKIN, DICE, TONTO, LA GRANDE, DOLORES, WAITE, SILVA, PARCO, LIMITED | 881.1525 | 2186395.1488 | 4030
9 | Remote Controlled Automatic Reclosers | SH-5 | Grid Design, Operations, and Maintenance (System Hardening) | Not Applicable | 2.752 | 10812.3396 | 2545
10 | Distribution Open Phase Detection (DOPD) | No Tracking ID | Grid Design, Operations, and Maintenance (System Hardening) | Not Applicable | 0.27828 | 1367.9634 | 2034
11 | Targeted Undergrounding | SH-2 | Grid Design, Operations, and Maintenance (System Hardening) | MULHOLLAND, SCHMIDT, TRIUNFO | 47.5151 | 345983.4731 | 1373
12 | Vibration Damper | SH-16 | Grid Design, Operations, and Maintenance (System Hardening) | SHOVEL, STONEMAN, MULHOLLAND, PICONI, LUISENO | 5.1635 | 44902.3418 | 1150
13 | Transmission Open Phase Detection (TOPD) | SH-8 | Grid Design, Operations, and Maintenance (System Hardening) | Not Applicable | 0.14571 | 1504.5454 | 968
14 | Transmission Conductor & Splice Assessment (Splices2 with Xray) | IN-9b | Grid Design, Operations, and Maintenance (Asset Inspections) | Not Applicable | 0.22714 | 2403.0106 | 945
15 | Generation High Fire Risk-Informed Inspections and Remediations in HFRA | IN-5 | Grid Design, Operations, and Maintenance (Asset Inspections) | Not Applicable | 0.06459 | 772.2818 | 836
16 | Distribution HFRI Inspections and Remediations | IN-1.1 | Grid Design, Operations, and Maintenance (Asset Inspections) | All circuits listed in Table 7-4 | 51.204 | 628812.2315 | 814
17 | Aerial Suppression | DEP-5 | Emergency Preparedness | HFRA4 | 6.6047 | 95742.5948 | 690
18 | Tree Attachment Remediation | SH-10 | Grid Design, Operations, and Maintenance (System Hardening) | Not Applicable | 2.5076 | 41171.2829 | 609
19 | Long Span Initiative (LSI) | SH-14 | Grid Design, Operations, and Maintenance (System Hardening) | ERSKINE, POPPET FLATS, STONEMAN, MULHOLLAND, RHODA, TRIUNFO, MUTUAL, LIMITED | 0.78625 | 16961.9012 | 464
20 | High Definition (HD) Cameras | SA-10 | Situational Awareness and Forecasting | Not Applicable | 0.02744 | 1046.968 | 262
21 | Transmission Conductor & Splice Assessment (Spans1 with LineVue) | IN-9a | Grid Design, Operations, and Maintenance (Asset Inspections) | Not Applicable | 0.081618 | 3890.8127 | 210
22 | Transmission HFRI Inspections and Remediations | IN-1.2 | Grid Design, Operations, and Maintenance (Asset Inspections) | Not Applicable | 1.3829 | 66626.2036 | 208
23 | Expanded Clearances for Legacy Facilities | VM-3 | Vegetation Management and Inspection | Not Applicable | 0.017072 | 1011.5705 | 169
24 | Transmission Aerial Inspections | IN-1.2b | Grid Design, Operations, and Maintenance (Asset Inspections) | Not Applicable | 0.598 | 55542.2362 | 108
25 | Legacy Facilities | SH-11 | Grid Design, Operations, and Maintenance (System Hardening) | Not Applicable | 0.076501 | 8269.4214 | 93
26 | Fire Science | SA-8 | Situational Awareness and Forecasting | HFRA | 0.066507 | 9016.0898 | 74
27 | Weather Stations | SA-1 | Situational Awareness and Forecasting | HFRA | 0.015847 | 2209.4877 | 72
28 | In-Event Battery Loan Pilot | No tracking ID | Customer Support | HFRA | 0.014401 | 2171.1034 | 66
29 | Weather and Fuels Modeling | SA-3 | Situational Awareness and Forecasting | HFRA | 0.099761 | 18372.9003 | 54
30 | Satellite and Other Imaging Technology for Fire Spotting | SA-10 | Situational Awareness and Forecasting | HFRA | 0.022339 | 4245.9461 | 53
31 | Disability Disaster Access & Resources (DDAR) Program | No tracking ID | Customer Support | HFRA | 0.022608 | 5536.7503 | 41
32 | 211 Partnerships | No tracking ID | Customer Support | HFRA | 0.032817 | 10310.7089 | 32
33 | Hazard Tree Mitigation Program | VM-1 | Vegetation Management and Inspection | All circuits listed in Table 7-4 | 0.38303 | 139662.8294 | 27
34 | Dead and Dying Tree Removal | VM-4 | Vegetation Management and Inspection | All circuits listed in Table 7-4 | 0.23997 | 89253.7787 | 27
35 | Customer Care Programs (Critical Care Backup Battery (CCBB) Program) | PSPS-2 | Emergency Preparedness | Not applicable | 0.071872 | 53082.0426 | 14
36 | Expanded Line Clearing | No tracking ID | Vegetation Management and Inspection | All circuits listed in Table 7-4 | 0.023877 | 28676.3042 | 8
37 | Portable Power Station and Generator Rebates | PSPS-3 | Emergency Preparedness | HFRA | 0.0019531 | 3140.4248 | 6
38 | Infrared Inspection, Corona Scanning, and High-Definition Imagery of Energized Overhead Transmission Facilities and Equipment (Transmission IR) | IN-4 | Grid Design, Operations, and Maintenance (Asset Inspections) | Not applicable | 0.00017591 | 320.7738 | 5
39 | Resiliency Zones | No tracking ID | Emergency Preparedness | HFRA | 0.0011575 | 3737.9197 | 3
40 | Infrared Inspection of Energized Overhead Distribution Facilities and Equipment (Distribution IR) | IN-3 | Grid Design, Operations, and Maintenance (Asset Inspections) | All circuits listed in Table 7-4 | 0.00015374 | 1334.6476 | 1
41 | Community Resource Centers (CRC)/ Community Crew Vehicles (CCV) | No tracking ID | Emergency Preparedness | HFRA | 0.0004671 | 7089.3698 | 1