## outages
Circuit Impacted | Circuit segment | Cause of outage | Cause of outage description | Number of Customers impacted | Critical Care Customers | Duration of outage (hrs) | Response time | Customer Minutes
BRAUN | 5003301:GS1613-4 | 4.o.d.2 | Distribution Switch HFTD 2 | 2252 | 6 | 17.47 | N/A | 350558
AGATE | 785754E:RCS0263 | 4.j.d.3 | Distribution OH Pole HFTD 3 | 1654 | 7 | 22.5 | N/A | 92406
TACKLE | 4162635E:RAR9167 | 4.d.d.3 | Distribution UG Connection device HFTD 3 | 318 | 0 | 14.25 | N/A | 6622
WHISPER | 19249:19249 | 4.d.d.2 | Distribution UG Connection device HFTD 2 | 143 | 0 | 1.8 | N/A | 15134
BLACKHILLS | 4270181E:RAR5026 | 10.a.d.2 | Distribution Unknown Momentary HFTD 2 | 1855 | 17 | 0 | N/A | 0