## Sheet2
Control/Mitigation Name | Area Impacted | Initiative Tracking ID | Total Risk Reduction | Total Cost ($K) | RSE per $Million | Rank
ReclosureProtocols (HFTD Tier 3) | Tier 3 | WMP.513 | 22034.21 | 26.44 | 809032.55 | 1
ReclosureProtocols (HFTD Tier 2) | Tier 2 | WMP.513 | 12033.5 | 22.89 | 510397.81 | 2
ProtectionSettings (HFTD Tier 2) | Tier 2 | WMP.556 | 1158.37 | 22.89 | 49132 | 3
ProtectionSettings (HFTD Tier 3) | Tier 3 | WMP.556 | 1315.97 | 26.44 | 48318.48 | 4
PSPS Sectionalizing (HFTD Tier 3) | Tier 3 | WMP.461 | 1108.55 | 1868 | 8828.93 | 5
PSPS Sectionalizing (HFTD Tier 2) | Tier 2 | WMP.461 | 1112.65 | 3709 | 4463.04 | 6
Wireless Fault Indicators- (HFTD Tier 2) | Tier 2 | WMP.499 | 12.32 | 50 | 4291.94 | 7
Wireless Fault Indicators- (Non-HFTD) | WUI | WMP.499 | 36.85 | 164 | 3912.33 | 8
Early Fault Detection (HFTD Tier 3) | Tier 3 | WMP.1195 | 518.54 | 4816 | 2488.76 | 9
Expulsion Fuse Replacement (HFTD Tier 2) | Tier 2 | WMP.459 | 12.92 | 94 | 2393.01 | 10
Distribution System Inspection – IR/Corona (HFTD Tier 3) | Tier 3 | WMP.481 | 341.44 | 145 | 2286.17 | 11
Distribution System Inspection – CMP – Annual Patrol (HFTD Tier 3) | Tier 3 | WMP.488 | 1232.59 | 639 | 1872.75 | 12
Distribution System Inspection – IR/Corona (HFTD Tier 2) | Tier 2 | WMP.481 | 372.45 | 297 | 1217.52 | 13
Wireless Fault Indicators -(HFTD Tier 3) | Tier 3 | WMP.499 | 3.36 | 50 | 1168.9 | 14
Distribution System Inspection – CMP – Annual Patrol (HFTD Tier 2) | Tier 2 | WMP.488 | 762.89 | 736 | 1006.34 | 15
Early Fault Detection (HFTD Tier 2) | Tier 2 | WMP.1195 | 288.34 | 8987 | 741.62 | 16
Lightning Arrestor Removal/Replacement Program (HFTD Tier 3) | Tier 3 | WMP.550 | 208.74 | 6895 | 527.17 | 17
TransmissionInfrared (HFTD Tier 3) | Tier 3 | WMP.482 | 37.06 | 84 | 428.39 | 18
Hotline Clamps (HFTD Tier 3) | Tier 3 | WMP.464 | 7.42 | 378 | 341.63 | 19
Advanced Protection (HFTD Tier 3) | Tier 3 | WMP.463 | 317.71 | 21603 | 339.94 | 20
TransmissionInfrared (HFTD Tier 2) | Tier 2 | WMP.482 | 47.37 | 174 | 264.29 | 21
Distribution System Inspection – CMP – 10 Year Intrusive (HFTD Tier 2) | Tier 2 | WMP.483 | 0.74 | 4 | 179.86 | 22
Wildfire Infrastructure Protection Teams (HFTD Tier 3) | Tier 3 | WMP.514 | 888.63 | 4893 | 176.32 | 23
Lightning Arrestor Removal/Replacement Program (HFTD Tier 2) | Tier 2 | WMP.550 | 27.88 | 2790 | 174.03 | 24
Detailed Inspection of Vegetation (HFTD Tier 3) | Tier 3 | WMP.494 | 5635.25 | 31921 | 171.4 | 25
Advanced Protection (HFTD Tier 2) | Tier 2 | WMP.463 | 50.34 | 6962 | 167.14 | 26
StrategicPoleReplacementProgram (HFTD Tier 3) | Tier 3 | WMP.1189 | 13.49 | 1417 | 165.81 | 27
Aviation Firefighting Program (HFTD Tier 3) | Tier 3 | WMP.557 | 387.55 | 20245 | 163.29 | 28
Distribution System Inspection – CMP – 5 Year Detailed Inspections (HFTD Tier 3) | Tier 3 | WMP.478 | 591.08 | 3564 | 161.02 | 29
Resiliency Assistance Programs (HFTD Tier 3) | Tier 3 | WMP.467 | 57.08 | 3101 | 157.03 | 30
Standby Power Programs (HFTD Tier 3) | Tier 3 | WMP.468 | 320.34 | 24995 | 153 | 31
Detailed Inspection of Vegetation (HFTD Tier 2) | Tier 2 | WMP.494 | 5716.52 | 39952 | 138.92 | 32
Standby Power Programs (HFTD Tier 2) | Tier 2 | WMP.468 | 76.03 | 6536 | 138.86 | 33
OtherSpecialWorkProcedures (HFTD Tier 2) | Tier 2 | WMP.515 | 59.28 | 423.27 | 135.97 | 34
OtherSpecialWorkProcedures (HFTD Tier 3) | Tier 3 | WMP.515 | 140.64 | 1076.73 | 126.82 | 35
Hotline Clamps (HFTD Tier 2) | Tier 2 | WMP.464 | 2.13 | 342 | 108.62 | 36
Strategic Undergrounding (HFTD Tier 2) | Tier 2 | WMP.473 | 1504.62 | 321898 | 108.04 | 37
PSPSEventsAndMitigationImpacts (HFTD Tier 2) | Tier 2 | WMP.517 | 3766.68 | 38639 | 94.64 | 38
Strategic Undergrounding (HFTD Tier 3) | Tier 3 | WMP.473 | 2157.39 | 530740 | 93.96 | 39
Aviation Firefighting Program (HFTD Tier 2) | Tier 2 | WMP.557 | 221.57 | 20245 | 93.36 | 40
PSPSEventsAndMitigationImpacts (HFTD Tier 3) | Tier 3 | WMP.517 | 3681.74 | 38639 | 92.51 | 41
Distribution System Inspection – CMP – 5 Year Detailed Inspections (HFTD Tier 2) | Tier 2 | WMP.478 | 297.17 | 3500 | 82.43 | 42
Pole Brushing (HFTD Tier 3) | Tier 3 | WMP.512 | 747.08 | 9010 | 80.5 | 43
StrategicPoleReplacementProgram (HFTD Tier 2) | Tier 2 | WMP.1189 | 49.92 | 11098 | 78.33 | 44
Pole Brushing (HFTD Tier 2) | Tier 2 | WMP.512 | 559.93 | 9397 | 57.85 | 45
TransmissionPatrols (HFTD Tier 3) | Tier 3 | WMP.489 | 5.85 | 105.6 | 53.75 | 46
Avian Protection (HFTD Tier 3) | Tier 3 | WMP.972 | 4.55 | 2286 | 53.28 | 47
Overhead Distribution Fire Hardening – Covered Conductor (HFTD Tier 3) | Tier 3 | WMP.455 | 250.49 | 110220 | 52.53 | 48
Resiliency Grant Programs (HFTD Tier 3) | Tier 3 | WMP.466 | 58.82 | 11010 | 45.58 | 49
Wildfire Infrastructure Protection Teams (HFTD Tier 2) | Tier 2 | WMP.514 | 225.12 | 4893 | 44.67 | 50
Distribution System Inspection – Drone Inspections (HFTD Tier 3) | Tier 3 | WMP.552 | 3493.01 | 101519 | 33.41 | 51
TransmissionPatrols (HFTD Tier 2) | Tier 2 | WMP.489 | 7.75 | 228 | 33.01 | 52
TransmissionDetailedInspections (HFTD Tier 3) | Tier 3 | WMP.479 | 200.73 | 6085 | 32.03 | 53
SCADA Capacitors - (HFTD Tier 2 ) | Tier 2 | WMP.453 | 0.56 | 309 | 31.83 | 54
Resiliency Assistance Programs (HFTD Tier 2) | Tier 2 | WMP.467 | 8.8 | 2438 | 30.8 | 55
Overhead Distribution Fire Hardening – Covered Conductor (HFTD Tier 2) | Tier 2 | WMP.455 | 80.18 | 68360 | 27.11 | 56
AdditionTransmissionAerial69KV (HFTD Tier 3) | Tier 3 | WMP.555 | 8.8 | 349.2 | 24.47 | 57
TransmissionDetailedInspections (HFTD Tier 2) | Tier 2 | WMP.479 | 265.54 | 12297 | 20.96 | 58
Avian Protection (HFTD Tier 2) | Tier 2 | WMP.972 | 1.76 | 2284 | 20.6 | 59
Distribution System Inspection – Drone Inspections (HFTD Tier 2) | Tier 2 | WMP.552 | 2893.1 | 138305 | 20.31 | 60
Enhanced Vegetation Management (HFTD Tier 3) | Tier 3 | WMP.501 | 21.51 | 9816 | 18.7 | 61
Fuel management and reduction of “slash” from vegetation management activities (HFTD Tier 3) | Tier 3 | WMP.497 | 214.2 | 11260 | 18.47 | 62
Overhead Distribution Fire Hardening – Bare Conductor (HFTD Tier 2) | Tier 2 | WMP.475 | 0.35 | 711 | 11.4 | 63
TransmissionOHHardening (HFTD Tier 2) | Tier 2 | WMP.543 | 148.32 | 309160 | 11.09 | 64
Enhanced Vegetation Management (HFTD Tier 2) | Tier 2 | WMP.501 | 25.7 | 20891 | 10.49 | 65
Fuel management and reduction of “slash” from vegetation management activities (HFTD Tier 2) | Tier 2 | WMP.497 | 71.73 | 7508 | 9.28 | 66
Resiliency Grant Programs (HFTD Tier 2) | Tier 2 | WMP.466 | 11.87 | 11462 | 8.83 | 67
Microgrids (HFTD Tier 2) | Tier 2 | WMP.462 | 5.75 | 15080 | 5.67 | 68
Pole Brushing (Non-HFTD) | WUI | WMP.512 | 12.83 | 2539 | 4.91 | 69
Overhead Transmission Fire Hardening – Distribution Underbuilt (HFTD Tier 2) | Tier 2 | WMP.545 | 9.35 | 48444 | 4.46 | 70
Overhead Distribution Fire Hardening – Bare Conductor (HFTD Tier 3) | Tier 3 | WMP.475 | 0.39 | 3068 | 2.92 | 71
Hotline Clamps (Non-HFTD) | WUI | WMP.464 | 0.02 | 253 | 1.56 | 72
SCADA Capacitors - (Non-HFTD) | WUI | WMP.453 | 0.06 | 2019 | 0.53 | 73
Avian Protection (Non-HFTD) | WUI | WMP.972 | 0.004 | 1139 | 0.08 | 74
SCADA Capacitors - (HFTD Tier 3) | Tier 3 | WMP.453 | 0 | $- | 0 | 75
Microgrids (HFTD Tier 3) | Tier 3 | WMP.462 | 42.54 | $- | 0 | 76
Overhead Transmission Fire Hardening – Distribution Underbuilt (HFTD Tier 3) | Tier 3 | WMP.545 | 0 | $- | 0 | 77
Distribution System Inspection – CMP – 10 Year Intrusive (HFTD Tier 3) | Tier 3 | WMP.483 | 0 | $- | 0 | 78
Expulsion Fuse Replacement (HFTD Tier 3) | Tier 3 | WMP.459 | 0 | $- | 0 | 79
TransmissionOHHardening (HFTD Tier 3) | Tier 3 | WMP.543 | 0 | $- | 0 | 80
AdditionTransmissionAerial69KV (HFTD Tier 2) | Tier 2 | WMP.555 | 0 | $- | 0 | 81