## Sheet1
**This Data Request Summary reflects Data Requests completed each Thursday | [5 empty] | HWT 2023 WMP Request Log
Count | Party Name | DR Set # | Data Request | Question No. | Question ID | Question | Responses | Requestor | Date Rec'd | Final Due Date | Date Sent | Links | Number of Atchs | NDA required | WMP Section | Category | Subcategory | Confidential (Yes)
1 | OEIS | 2023-01 | P-WMP_2023-HWT-001 | 01 | 01-OEISP-WMP_2023-HWT-001 Q. 01 Answer | Regarding Vegetation Management a. On page 107, HWT says it “maintain[s] modified fuel zone outside the wall, resulting in a layered approach.” What standard does HWT follow for this to create this modified fuel zone? (e.g., PRC 4291) b. Are there any trees surrounding HWT’s facilities that are tall enough to fall into the facility? If so, how are these trees assessed for risk? | Response a. The modified fuel zone was created prior to the completion of construction of the Suncrest SVC Project in 2020. It is compliant with Section 4903 of the San Diego County Consolidated Fire Code and is compliant with Section 68.404 of the San Diego County Regulatory Code Ordinance. This area is hardscaped and accessed monthly for excess vegetation. HWT follows its Wildfire Mitigation Condition Assessment Procedure, which has been previously provided to Energy Safety. Response b. There are no trees directly surrounding HWT’s Suncrest Station. In addition, the facility is surrounded by a 10ft tall concrete wall. | OEIS | 2023-09-13 | 2023-09-18 | 2023-09-18 | https://www.horizonwesttransmission.com/content/dam/horizonwest/us/en/pdf/2023/HWT%20Response%20to%20DR-P-WMP_2023-HWT-001%202023.09.18.pdf | N/A | N/A | 8.2 | Wildfire Mitigations | Vegetation Management and Inspections
2 | OEIS | 2023-02 | P-WMP_2023-HWT-002 | 01 | 01-OEISP-WMP_2023-HWT-002 Q. 01 Answer | Regarding Potential Future Projects a. On page 64 of HWT’s WMP, it states that “HWT will implement wildfire mitigation strategies and design criteria as soon as practical to any facility that HWT constructs or acquires during the 2023-2025 WMP cycle and update Energy Safety accordingly.” i. Is HWT anticipating any new projects in the 2023-2025 timeline? If so, list such projects including years on expected construction and/or acquisition. | Response a. There are no anticipated projects in the 2023-2025 timeline. | OEIS | 2023-09-15 | 2023-09-20 | 2023-09-20 | https://www.horizonwesttransmission.com/content/dam/horizonwest/us/en/pdf/2023/HWT%20Response%20to%20DR-P-WMP_2023-HWT-002%202023.09.20.pdf | N/A | N/A | 7 | Wildfire Mitigation Strategy Development | N/A
3 | OEIS | 2023-02 | P-WMP_2023-HWT-002 | 02 | 02-OEISP-WMP_2023-HWT-002 Q. 02 Answer | Regarding QA/QC Process a. On page 87 of HWT’s WMP, it states that “As HWT gains more operational experience, it will evaluate making appropriate changes to its asset management and inspections procedures, including QA / QC processes.” i. Provide HWT’s plans for evaluating its existing process, including any such timelines. ii. Describe HWT’s current documentation process for any QA/QC performed. | Response a.i. HWT’s only operation asset is the Suncrest Static VAR Compensator which has a limited footprint and scope and scale of operation. HWT’s asset management and inspection procedures are commensurate with the scope and scale of its operations and its maintenance practices are in line with CAISO maintenance procedures. HWT does not have any current plans to alter its asset management and inspection procedures. Response a.ii. Periodic QA/QC asset management and inspection tasks are managed and monitored through the company’s Asset Management Program (AMP). Corresponding procedures and checklists cover applicable QA/QC requirements/commitments. Periodic worktask due date lookahead reports provide advance notice to field operation employees and applicable management employees for oversight. Field operation employees fill out the checklists and complete corresponding worktasks in AMP. | OEIS | 2023-09-15 | 2023-09-20 | 2023-09-20 | https://www.horizonwesttransmission.com/content/dam/horizonwest/us/en/pdf/2023/HWT%20Response%20to%20DR-P-WMP_2023-HWT-002%202023.09.20.pdf | N/A | N/A | 8.1 | Wildfire Mitigations | Grid Design, Operations, and Maintenance
4 | OEIS | 2023-02 | P-WMP_2023-HWT-002 | 03 | 03-OEISP-WMP_2023-HWT-002 Q. 03 Answer | Regarding Stakeholders Collaboration a. In its Section 8.5.4 of its Pre-Submission for its 2023-2025 WMP, Horizon West stated that it does not anticipate providing customer support or engaging with communities during an emergency; however, it has developed a protocol for communication and coordination with its primary stakeholders, including the CAISO and Interconnecting Transmission Owner, local fire agencies, etc. (p. 182). In its WMP submission on May 8, 2023, HWT no longer mentions this protocol in Section 8.5.4. HWT states that, given its limited footprint and scale of operations, it does not participate (or have plans to participate) in local wildfire mitigation planning. As a result, HWT’s Tables 8.61 (Collaboration in Local Wildfire Mitigation Planning) and 8.62 (Key Gaps and Limitations in Collaborating on Local Wildfire Mitigation Planning) are marked as “N/A” or “Not Applicable” (pp. 210-211). i. Please confirm whether HWT has a protocol for communication and coordination with its primary stakeholders (CAISO, SDG&E, local fire agencies, etc.). 1 If HWT does have a protocol, please describe the extent of this protocol, including when this collaboration occurs, stakeholders involved, any instances of recent collaboration, any gaps or limitations with this collaboration, etc. 2 If no such protocol has been developed, please clarify and explain what is meant by “HWT has developed a protocol for communication and coordination with its primary stakeholders, including the CAISO and Interconnecting Transmission Owner, local fire agencies, etc.” in HWT’s Pre-Submission. | Response a. Section 8.5.4 specially addresses local wildfire mitigation planning. HWT provided a clarifying response in Section 8.5.4 of the WMP, noting that because HWT has no service territory, a limited footprint and does not serve end-use customers, it does not collaborate with any parties on local wildfire mitigation planning. However, HWT does have protocols, such as its Emergency Operations Plan (provided as a confidential attachment to the 2023 WMP), which provide details for communicating with the CAISO, SDG&E and emergency services in the event of off normal/emergency situations. HWT also notes that its Emergency Operations Plan also contains its PSPS policy which contains direction for communicating with SDG&E and the CAISO. Additionally, HWT complies with applicable CAISO, SDG&E and North American Electric Reliability Corporation (NERC) Communication standards for communicating with neighboring utilities and governing regional transmission organization (See HWT 2023 WMP, Section 8.4.3.2. pgs. 182-183). | OEIS | 2023-09-15 | 2023-09-20 | 2023-09-20 | https://www.horizonwesttransmission.com/content/dam/horizonwest/us/en/pdf/2023/HWT%20Response%20to%20DR-P-WMP_2023-HWT-002%202023.09.20.pdf | N/A | N/A | 8.5 | Wildfire Mitigations | Community Outreach and Engagement
5 | OEIS | 2023-03 | P-WMP_2023-HWT-003 | 01 | 01-OEISP-WMP_2023-HWT-003 Q. 01 Answer | Regarding Environmental Compliance and Permitting On page 58-59, HWT says it “utilizes corporate environmental services to address all environmental review, compliance and permitting.” Does HWT’s corporate environmental services provide information on any relevant State, Federal Environmental Laws, Regulations, and Permitting Requirements for Implementing the WMP? If so, please provide the information for Table 5-6, if not please provide an explanation why Table 5-6 is N/A meaning “Not Applicable”. | Response a. As a general matter, the corporate environmental services department supports HWT by assessing the environmental risks, applicable regulations and requirements of improvements projects. The department works with consultants, experts and environmental agencies to determine applicable regulations, requirements and support permit procurement as needed. As noted in HWT’s WMP, HWT identified fire risk reduction improvements that were contained within the footprint of its Suncrest Substation and easement on neighboring SDG&E substation property, none of which required new environmental permits. | OEIS | 2023-09-26 | 2023-09-29 | 2023-09-29 | https://www.horizonwesttransmission.com/content/dam/horizonwest/us/en/pdf/2023/HWT%20Responses%20to%20DR-P-WMP_2023-HWT-003%202023.09.29.pdf | N/A | N/A | 5.4 | Overview of the Service Territory | Community Values at Risk