## Discovery Log
**This Discovery Log reflects Data Requests completed as of 05:00PM each Wednesday
SDG&E 2025 WMP Discovery Log
Question Count | Party Name | DR Set # | Data Request | Question No. | Question ID | Question | Response | Requestor | Date Rec'd | Final Due Date | Date Sent | Link | Number of Atchs | NDA Required | WMP Section | Category | Sub Category
1 | CalPA | 1 | CalPA-1 | 1 | CalPA-1.1 | Please provide a copy of each WMP Update-related document, submission, or report you submit to the Office of Energy Infrastructure Safety (Energy Safety) in 2024 or 2025 that is related to your 2025 WMP Update. Provide the copy to Cal Advocates within one business day of the document’s submittal to Energy Safety. (If you have submitted a document to Energy Safety prior to this data request, please provide a copy as soon as possible and no later than 10 business days from the issuance of this data request.)This request is limited to materials or documents that (1) are related to work plans, initiative targets, risk models, risk spend efficiency (RSE) calculations, or WMP change orders; and (2) are provided to Energy Safety to provide additional details or context concerning information or statements in your WMP (and any subsequent revisions or change orders affecting your WMP). | SDG&E generally objects to the request on the grounds set forth in General Objections Nos. 1, 2, 3, 5, and 7. Subject to the foregoing objections, SDG&E will address the request in Question 1 as reports are submitted to Energy Safety | Aaron Louie | 2024-03-19 | 2024-04-03 | 2024-04-03 | https://www.sdge.com/sites/default/files/regulatory/SDGE%20Response%20CalAdvocates-SDGE-2025WMP-01.pdf | 0 | No | N/A | N/A | N/A | N/A
2 | CalPA | 1 | CalPA-1 | 2 | CalPA-1.2 | Provide a copy of all documents or files that are referenced in your WMP Quarterly Data Reports and submitted to Energy Safety (including but not limited to all PDFs, spatial data files, non-spatial data files, and confidential attachments), within one business day of the document’s submission to Energy Safety. | SDG&E generally objects to the request on the grounds set forth in General Objections Nos. 1, 2, 3, 5, and 7. Subject to the foregoing objections, SDG&E will address the request as documents and files are made available. | Aaron Louie | 2024-03-19 | 2024-04-03 | 2024-04-03 | https://www.sdge.com/sites/default/files/regulatory/SDGE%20Response%20CalAdvocates-SDGE-2025WMP-01.pdf | 0 | No | N/A | N/A | N/A | N/A
3 | CalPA | 1 | CalPA-1 | 3 | CalPA-1.3 | Provide a copy to Cal Advocates of all your confidential responses to WMP discovery requests, on the same business day that you send the documents to the issuer of the discovery request. This includes: a)Confidential responses to WMP discovery requests issued by Energy Safety. b)Confidential responses to WMP discovery requests issued by other entities. | SDG&E generally objects to the request on the grounds set forth in General Objections Nos. 1, 2, 3, 5, and 7. Subject to the foregoing objections, SDG&E will address the request as documents and files are made available. | Aaron Louie | 2024-03-19 | 2024-04-03 | 2024-04-03 | https://www.sdge.com/sites/default/files/regulatory/SDGE%20Response%20CalAdvocates-SDGE-2025WMP-01.pdf | 0 | No | N/A | N/A | N/A | N/A

## WMP Sections (hidden)
1 | Updates to Risk Models | 2
1.1 | Significant Updates | 2
1.1.1 | Top Risk-Contributing Circuit, Segments, or Spans | 5
1.1.2 | Qualitative Updates | 7
1.2 | Non-Significant Updates | 14
2 | Changes to Approved Targets, Objectives, and Expenditures | 15
2.1 | Objectives | 15
2.1.1 | Grid Design, Operations, and Maintenance | 16
2.1.1.1 | Wireless Fault Indicators (WMP.449) | 16
2.1.1.2 | Expulsion Fuse Replacement (WMP.459) | 16
2.1.1.3 | Transmission System Hardening (WMP.543; WMP.544; WMP.545) | 17
2.1.1.4 | Maintenance, repair, and replacement of connectors, including hotline clamps (WMP.464) | 17
2.1.1.5 | Distribution Communications Reliability Improvements (LTE) (WMP.549) | 17
2.1.2 | Vegetation Management and Inspection | 17
2.1.3 | Situational Awareness and Forecasting | 17
2.1.3.1 | Weather Stations and Normalized Difference Vegetation Index Cameras (WMP.447) | 17
2.1.4 | Emergency Preparedness | 17
2.1.4.1 | Public Outreach and Education Awareness Program (WMP.527) | 17
2.1.4.2 | Personnel Qualifications (WMP.1335) | 18
2.1.4.3 | Personnel Qualifications (WMP.1335) | 18
2.1.4.4 | Personnel Qualifications (WMP.1335) | 18
2.1.5 | Community Outreach and Engagement | 18
2.1.6 | Public Safety Power Shutoff | 18
2.1.6.1 | Risk Assessment Improvement Plan (WMP.1339) | 18
2.2 | Targets and Expenditures | 19
2.2.1 | Grid Design, Operations, and Maintenance | 23
2.2.1.1 | Wireless Fault Indicators (WMP.449) | 23
2.2.1.2 | Covered Conductor (WMP.455) | 23
2.2.1.3 | Expulsion Fuse Replacement (WMP.459) | 23
2.2.1.4 | Microgrids (WMP.462) | 24
2.2.1.5 | Advanced Protection (WMP.463) | 24
2.2.1.6 | Hotline Clamp Replacement Program (WMP.464) | 24
2.2.1.7 | Generator Grant Program (WMP.466) | 25
2.2.1.8 | Generator Assistance Program (WMP.467) | 25
2.2.1.9 | Standby Power Programs (WMP.468) | 26
2.2.1.10 | Strategic Undergrounding (WMP.473) | 26
2.2.1.11 | Distribution Overhead System Hardening (WMP.475) | 26
2.2.1.12 | Transmission Overhead Detailed Inspections (WMP.479) | 27
2.2.1.13 | Distribution Infrared Inspections (WMP.481) | 27
2.2.1.14 | Transmission Infrared Inspections (WMP.482) | 28
2.2.1.15 | Distribution Wood Pole Intrusive Inspections (WMP.483) | 28
2.2.1.16 | LiDAR Inspections of Distribution Electric Lines and Equipment (WMP.484) | 28
2.2.1.17 | Transmission Overhead Patrol Inspections (WMP.489) | 28
2.2.1.18 | QA/QC of Distribution Detailed Inspections (WMP.491) | 29
2.2.1.19 | Transmission Overhead Hardening (WMP.543) | 29
2.2.1.20 | Transmission Overhead Hardening – Distribution Underbuild (WMP.545) | 29
2.2.1.21 | Distribution Communications Reliability Improvements (WMP.549) | 30
2.2.1.22 | Drone Assessments (WMP.552) | 30
2.2.1.23 | Avian Protection (WMP.972) | 31
2.2.1.24 | Cleveland National Forest Overhead (Distribution Underground) (WMP.1016) | 31
2.2.1.25 | Cleveland National Forest Overhead (Distribution Overhead) (WMP.1017) | 31
2.2.1.26 | Strategic Pole Replacement Program (WMP.1189) | 32
2.2.1.27 | Transmission Wood Pole Intrusive Inspections (WMP.1190) | 32
2.2.1.28 | QA/QC of Wood Pole Intrusive (Transmission and Distribution) (WMP.1193) | 32
2.2.1.29 | Early Fault Detection (WMP.1195) | 33
2.2.2 | Vegetation Management and Inspection | 33
2.2.2.1 | Detailed Vegetation Inspections (WMP.494) | 33
2.2.3 | Situational Awareness and Forecasting | 33
2.2.3.1 | Weather Station Network and NDVI Cameras (WMP.447) | 33
2.2.3.2 | Fire Potential Index (WMP.450) | 34
2.2.3.3 | Air Quality Management Program (WMP.970) | 34
2.2.4 | Emergency Preparedness | 34
2.2.4.1 | Aviation Firefighting Program (WMP.557) | 34
2.2.4.2 | Public Emergency Communication Strategy (WMP.563) | 35
2.2.4.3 | Emergency Preparedness (WMP.1008) | 35
2.2.5 | Community Outreach and Engagement | 35
2.2.6 | Public Safety Power Shutoff | 35
2.2.7 | Mitigation Strategy Development | 35
2.2.7.1 | Risk Assessment and Mapping (WMP.442) | 35
2.2.7.2 | WMP Data Platform (WMP.519) | 36
2.2.7.3 | Allocation Methodology Development and Application (WMP.523) | 36
3 | Quarterly Inspection Targets for 2025 | 37
4 | New or Discontinued Programs | 39
4.1 | New Programs | 39
4.1.1 | Weather Station Maintenance and Calibration (WMP.1430) | 39
4.1.2 | Air Quality Station Maintenance (WMP.1431) | 39
4.2 | Discontinuance of a Program | 39
5 | Progress on Areas for Continued Improvement | 40
5.1 | SDGE-23-01: Cross-Utility Collaboration on Risk Model Development | 40
5.2 | SDGE-23-02: Calculating Risk Scores Using Maximum Consequence Values | 41
5.3 | SDGE-23-03: PSPS and Wildfire Risk Trade-Off Transparency | 44
5.3.1 | PSPS Risk Prioritization in Risk-Based Decisions | 44
5.3.2 | Comparison of Planned Mitigation Initiative Rank Order with Risk Buy-Down Estimate Rank Order | 46
5.4 | SDGE-23-04: Incorporation of Extreme Weather Scenarios into Planning Models | 50
5.5 | SDGE-23-05: Cross-Utility Collaboration on Best Practices for Inclusion of Climate Change Forecasts in Consequence Modeling, Inclusion of Community Vulnerability in Consequence Modeling, and Utility Vegetation Management for Wildfire Safety | 50
5.5.1 | Inclusion of Climate Change Forecasts in Consequence Modeling | 51
5.5.2 | Inclusion of Community Vulnerability in Consequence Modeling | 51
5.5.3 | Utility Vegetation Management for Wildfire Safety | 51
5.6 | SDGE-23-06: Demonstration of Proper Decision Making for Selection of Undergrounding Projects | 52
5.6.1 | Interim Mitigation Strategies for Risk Reduction | 54
5.6.2 | Selection Process for Undergrounding Projects | 55
5.6.2.1 | Location-Specific Ignition Driver Analysis | 58
5.6.2.2 | Effectiveness of Undergrounding versus other Mitigations | 58
5.6.2.3 | Cumulative Risk Exposure of the Mitigation Initiative Portfolio | 59
5.6.2.4 | Incorporating PSPS Risk in Mitigation Selection | 60
5.6.2.5 | Visualization of Wildfire Risk | 63
5.6.3 | Adjustment to Hardening Scope | 63
5.7 | SDGE-23-07: Third-Party Recommendations for Model Improvements | 64
5.7.1 | Inclusion of Vegetation Risk Analytics for Vegetation Operational Decisions | 65
5.7.2 | Use of Risk Model to Inform Mitigation Work Outside of Grid Hardening | 66
5.7.3 | Sensitivity Analysis | 66
5.7.4 | Elimination of Double-Counting of Conductor Age and Circuit Health Index | 66
5.7.5 | Third Party Review Recommendations | 67
5.8 | SDGE-23-08: Continuation of Grid Hardening Joint Studies | 84
5.8.1 | Joint IOU Covered Conductor Working Group Report | 85
5.8.2 | SDG&E Response | 87
5.9 | SDGE-23-09: New Technologies Evaluation and REFCL Implementation | 92
5.1 | SDGE-23-10: Early Fault Detection Implementation | 94
5.11 | SDGE-23-11: Changes to Scope of Falling Conductor Protection Program | 95
5.12 | SDGE-23-12: Covered Conductor Inspection and Maintenance | 97
5.13 | SDGE-23-13: QA/QC for Inspections | 98
5.14 | SDGE-23-14: Equipment Maintenance and Repair Maturity Level | 99
5.15 | SDGE-23-15: Evaluation of Sensitive Relay Profile in Highest Risk Areas | 100
5.16 | SDGE-23-16: Updates on Identifying Additional, Proactive HFTD Inspections | 101
5.17 | SDGE-23-17: Continuation of Effectiveness of Enhanced Clearances Joint Study | 102
5.17.1 | Aligned Vegetation Risk Event Variables | 103
5.17.2 | Description of Database Type and Architecture | 105
5.17.3 | Incorporation of Biotic and Abiotic Factors | 107
5.17.4 | Third-Party Contractor’s Assessment of the Effectiveness of Enhanced Clearances | 107
5.17.5 | Progress on the Evaluation of Enhanced Clearances and Recommendations | 107
5.18 | SDGE-23-18: Update Targets Table with Planned Improvements’ Measurable Targets | 107
5.19 | SDGE-23-19: Weather Station Maintenance and Calibration | 108
List of Tables
Table 1: Top 5% Wildfire Risk Circuits/Segments/Spans | Table 1: Top 5% Wildfire Risk Circuits/Segments/Spans | 5
Table 2: Top 5% PSPS Risk Circuits/Segments/Spans | Table 2: Top 5% PSPS Risk Circuits/Segments/Spans | 6
Table 3: WiNGS-Planning Qualitative Risk Modeling Updates | Table 3: WiNGS-Planning Qualitative Risk Modeling Updates | 7
Table 4: WiNGS-Ops Risk Modeling Qualitative Updates | Table 4: WiNGS-Ops Risk Modeling Qualitative Updates | 10
Table 5: Changes in Objective Completion Dates | Table 5: Changes in Objective Completion Dates | 15
Table 6: Qualifying Changes in Targets and Expenditures (in Thousands) | Table 6: Qualifying Changes in Targets and Expenditures (in Thousands) | 20
Table 7: Qualifying Changes in Expenditures only (in Thousands) | Table 7: Qualifying Changes in Expenditures only (in Thousands) | 21
Table 8: Asset Inspections and Vegetation Management Targets for 2025 | Table 8: Asset Inspections and Vegetation Management Targets for 2025 | 37
Table 9: WiNGS-Planning Cost/Benefit Transition Plan | Table 9: WiNGS-Planning Cost/Benefit Transition Plan | 43
Table 10: Ranking of Planned Mitigation Initiatives | Table 10: Ranking of Planned Mitigation Initiatives | 47
Table 11: MAVF Attribute Calculations for PSPS CoRE | Table 11: MAVF Attribute Calculations for PSPS CoRE | 62
Table 12: WiNGS-Planning Output Comparison | Table 12: WiNGS-Planning Output Comparison | 64
Table 13: WiNGS-Planning Third Party Recommendations | Table 13: WiNGS-Planning Third Party Recommendations | 67
Table 14: WiNGS-Ops Third Party Recommendations | Table 14: WiNGS-Ops Third Party Recommendations | 73
Table 15: Efficacy of Covered Conductor | Table 15: Efficacy of Covered Conductor | 88
Table 16: Efficacy of Covered Conductors with or without Combined Mitigations | Table 16: Efficacy of Covered Conductors with or without Combined Mitigations | 91
Table 17: Descoped FCP Projects | Table 17: Descoped FCP Projects | 95
Table 18: SRP Analysis Results | Table 18: SRP Analysis Results | 101
Table 19: Common Vegetation Management Variables | Table 19: Common Vegetation Management Variables | 104
Table 20: Weather Stations Unable to Undergo Annual Maintenance | Table 20: Weather Stations Unable to Undergo Annual Maintenance | 109

## DR Count (hidden)
Data Requests
CalPA-1 | CalPA-1 | 2024-03-19 | Count = | 2 | *Check Range When Updating*
CalPA-1 | CalPA-1 | 2024-03-19
CalPA-1 | CalPA-1 | 2024-03-19 | Jan | #N/A
0 | 0 | 0 | Feb | #N/A
0 | 0 | 0 | Mar | #N/A
0 | 0 | 0 | Apr | #N/A
0 | 0 | 0 | May | #N/A
0 | 0 | 0 | Jun | #N/A
0 | 0 | 0 | Jul | #N/A
0 | 0 | 0 | Aug | #N/A
0 | 0 | 0 | Sep | #N/A
0 | 0 | 0
0 | 0 | 0 |  | #N/A
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0

## Analytics (hidden)
|  | 2025 WMP Data Requests (Case Related) |  | 2025 WMP Data Requests (Non-Case Related)
# of Questions
Row Labels | Count of Data Requests | # of DRs | 4 | # of DRs | 0
CalPA-1 | 3 | # of DR Questions | 18 | # of DR Questions | 0
CalPA-2 | 4
CalPA-3 | 11 | # of Requests per Party | 3 | # of Requests per Party | 0
Grand Total | 18 | CalPA | 3 | CalPA
|  | MGRA | 0 | MGRA
|  | OEIS | 0 | SPD
|  | GreenPower | 0 | OEIS
|  | TURN | 0 | 4LEAF | Ask Shaun G
|  | # of Questions per Party | 36 | # of Questions per Party | 0 | Manually Input
|  | CalPA | 36 | CalPA
|  | MGRA | 0 | MGRA
|  | OEIS | 0 | SPD
|  | GreenPower | 0 | OEIS
|  | TURN | 0 | 4LEAF | Ask Shaun G
|  | 2024-04-01 |  | 2024-04-01
Count Check
|  | # of DRs | 2
|  | # of DR Questions | 3