## Dashboard 2023
Bear Valley Electric Service / Weather Station Maintenance Log 2023
Inception 11/17/2023
# | Station | Staus | Location | Maintenance Type | Offline | Last Maintenance | # Incomplete Maintenances | Notes: | #Attachments | NDA | WMP Section | Category | Subcategory | Confidential
1 | BIG BEAR DAM |  | 34.24588032,-116.8858058 | ANNUAL | N/A | 2023-07-02 | 0
2 | NORTH SHORE |  | 34.26318578,-116.7906527 | ANNUAL | N/A | 2023-07-02 | 0 | Was never repaired this year
3 | FAWNSKIN |  | 34.24532883,-116.9734118 | ANNUAL | N/A | 2023-07-02 | 0 | Was never repaired this year
4 | LAKE VIEW |  | 34.24732716,-116.9351533 | ANNUAL | N/A | 2023-07-02 | 0 | Was never repaired this year | 7 | N/A | 8.1.6 | Quality Assurance/Quality Control |  | N
5 | DIVISION |  | 34.232107,-116.845663 | ANNUAL | N/A | 2023-07-02 | 0 | Was never repaired this year
6 | PARADISE |  | 34.23298191,-116.7921129 | ANNUAL | N/A | 2023-07-03 | 0 | Was never repaired this year
7 | BALDWIN |  | 34.24027965,-116.8680024 | ANNUAL | N/A | 2023-07-03 | 0 | Was never repaired this year
8 | PIONEER |  | 34.267380, -116.880145 | ANNUAL | N/A | 2023-07-03 | 0 | Was never repaired this year
9 | ERWIN LAKE |  | 34.25554307,-116.8238292 | ANNUAL | N/A | 2023-07-03 | 0 | Was never repaired this year
10 | ERWIN |  | 34.20184,-116.905513 | ANNUAL | 2022-06-12 | 2023-07-03 | 1 | Was never repaired this year
11 | LAKE WILLIAMS |  | 34.29375365,-116.8131084 | ANNUAL | N/A | 2023-07-04 | 0 | Was never repaired this year | 7 | N/A | N/A | Administrative |  | N
12 | SUNRISE |  | 34.2429703,-116.8006365 | ANNUAL | N/A | 2023-07-04 | 0 | Was never repaired this year
13 | SUGARLOAF |  | 34.23198312,-116.7733238 | ANNUAL | N/A | 2023-07-04 | 0 | Was never repaired this year
14 | GOLDMINE |  | 34.24301379,-116.8373972 | ANNUAL | N/A | 2023-07-04 | 0 | Was never repaired this year
15 | CLUBVIEW |  | 34.26652527,-116.8401382 | ANNUAL | N/A | 2023-07-04 | 0 | Was never repaired this year
16 | GARSTIN |  | 34.26186422, -116866593 | ANNUAL | N/A | 2023-07-05 | 0 | Was never repaired this year
17 | RADFORD HARNISH |  | 34.26380082,-116.9344643 | ANNUAL | N/A | 2023-07-05 | 0 | Was never repaired this year
18 | RADFORD AR |  | 34.2386084,-116.9376263 | ANNUAL | N/A | 2023-07-05 | 0 | Was never repaired this year
19 | LAGONITA |  | 34.24227667,-116.9776174 | ANNUAL | N/A | 2023-07-05 | 0 | Was never repaired this year
20 | BOULDER |  | 34.216491,-116.907331 | ANNUAL | N/A | 2023-07-05 | 0 | Was never repaired this year

## Maintenance Log 2023
Bear Valley Electric Service / Weather Station Maintenance Log
Inception 11/17/2023
# | Station | Location | Maintenance Type | Inability to conduct maintenance | Offline | Online | Notes: | #Attachments | NDA | WMP Section | Category | Subcategory | Confidential
1 | BIG BEAR DAM | 34.24588032,-116.8858058 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational
2 | NORTH SHORE | 34.26318578,-116.7906527 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational
3 | FAWNSKIN | 34.24532883,-116.9734118 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational
4 | LAKE VIEW | 34.24732716,-116.9351533 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational
5 | DIVISION | 34.232107,-116.845663 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational | 7 | N/A | 8.1.6 | Quality Assurance/Quality Control |  | N
6 | PARADISE | 34.23298191,-116.7921129 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational
7 | BALDWIN | 34.24027965,-116.8680024 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational
8 | PIONEER | 34.267380, -116.880145 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational
9 | ERWIN LAKE | 34.25554307,-116.8238292 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational
10 | ERWIN | 34.20184,-116.905513 | Annual | Waiting for Interface Moduel to arrive. | 2022-06-12 |  | Device is operational
11 | LAKE WILLIAMS | 34.29375365,-116.8131084 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational
12 | SUNRISE | 34.2429703,-116.8006365 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational | 7 | N/A | N/A | Administrative |  | N
13 | SUGARLOAF | 34.23198312,-116.7733238 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational
14 | GOLDMINE | 34.24301379,-116.8373972 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational
15 | CLUBVIEW | 34.26652527,-116.8401382 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational
16 | GARSTIN | 34.26186422, -116866593 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational
17 | RADFORD HARNISH | 34.26380082,-116.9344643 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational
18 | RADFORD AR | 34.2386084,-116.9376263 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational
19 | LAGONITA | 34.24227667,-116.9776174 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational
20 | BOULDER | 34.216491,-116.907331 | Annual | Inspection performed, no maintenance required at this time. | N/A | X | Device is operational

## Dashboard 2024
Bear Valley Electric Service / Weather Station Maintenance Log 2024
Inception 11/17/2023
# | Station | Staus | Cordinates | Maintenance Type | Offline | Last Maintenance | # Incomplete Maintenances | Notes: | #Attachments | NDA | WMP Section | Category | Subcategory | Confidential
1 | BIG BEAR DAM |  | 34.24227667,-116.9776174 | ANNUAL | N/A | 2024-04-15 | 0 | PTU Sensor Replaced
2 | NORTH SHORE |  | 34.24532883,-116.9734118 | ANNUAL | N/A | 2024-04-15 | 0 | PTU Sensor Replaced
3 | FAWNSKIN |  | 34.26380082,-116.9344643 | ANNUAL | N/A | 2024-04-12 | 0 | PTU Sensor Replaced
4 | LAKE VIEW |  | 34.267380, -116.880145 | ANNUAL | N/A | 2024-04-12 | 0 | PTU Sensor Replaced
5 | DIVISION |  | 34.26186422, -116866593 | ANNUAL | N/A | 2024-04-12 | 0 | PTU Sensor Replaced
6 | PARADISE |  | 34.26652527,-116.8401382 | ANNUAL | N/A | 2024-04-13 | 0 | PTU Sensor Replaced
7 | BALDWIN |  | 34.29375365,-116.8131084 | ANNUAL | N/A | 2024-04-13 | 0 | PTU Sensor Replaced | 7 | N/A | N/A | Administrative |  | N
8 | PIONEER |  | 34.26318578,-116.7906527 | ANNUAL | N/A | 2024-04-13 | 0 | PTU Sensor Replaced
9 | ERWIN LAKE |  | 34.2429703,-116.8006365 | IMPROPTU | N/A | 2024-04-13 | 0 | PTU Sensor Replaced
10 | ERWIN |  | 34.23298191,-116.7921129 | ANNUAL | 2022-06-12 | 10/15/203 | 2 | ORDER PLACED FOR INTERFACE MODUEL
11 | LAKE WILLIAMS |  | 34.23198312,-116.7733238 | ANNUAL | N/A | 2024-04-13 | 0 | PTU Sensor Replaced
12 | SUNRISE |  | 34.25554307,-116.8238292 | ANNUAL | N/A | 2024-04-13 | 0 | PTU Sensor Replaced
13 | SUGARLOAF |  | 34.24301379,-116.8373972 | ANNUAL | N/A | 2024-04-12 | 0 | PTU Sensor Replaced
14 | GOLDMINE |  | 34.232107,-116.845663 | ANNUAL | N/A | 2024-04-13 | 0 | PTU Sensor Replaced
15 | CLUBVIEW |  | 34.24027965,-116.8680024 | ANNUAL | N/A | 2024-04-13 | 0 | PTU Sensor Replaced
16 | GARSTIN |  | 34.24588032,-116.8858058 | ANNUAL | N/A | 2024-10-02 | 0 | PTU Sensor Replaced OFFLINE DUE TO LINE RECONDUCTORING
17 | RADFORD HARNISH |  | 34.216491,-116.907331 | ANNUAL | 2024-04-01 | 2024-04-10 | 0 | PTU Sensor Replaced OFFLINE DUE TO LINE RECONDUCTORING
18 | RADFORD AR |  | 34.20184,-116.905513 | ANNUAL | 2024-04-01 | 2024-04-10 | 0 | PTU Sensor Replaced
19 | LAGONITA |  | 34.24732716,-116.9351533 | ANNUAL | N/A | 2024-04-15 | 0 | PTU Sensor Replaced | 7 | N/A | 8.1.6 | Quality Assurance/Quality Control |  | N
20 | BOULDER |  | 34.2386084,-116.9376263 | ANNUAL | N/A | 2024-04-15 | 0 | PTU Sensor Replaced

## Maintenance Log 2024
Bear Valley Electric Service / Weather Station Maintenance Log 2024
Inception 11/17/2023
# | Station | Location | Maintenance Type | Inability to conduct maintenance | Offline | Online | Notes: | #Attachments | NDA | WMP Section | Category | Subcategory | Confidential
1 | BIG BEAR DAM | 34.24227667,-116.9776174 | ANNUAL | Maintenance performed. Device is operational | N/A | X | Replaced PTU Sensor
2 | NORTH SHORE | 34.24532883,-116.9734118 | ANNUAL | Maintenance performed. Device is operational | N/A | X | Replaced PTU Sensor
3 | FAWNSKIN | 34.26380082,-116.9344643 | ANNUAL | Maintenance performed. Device is operational | N/A | X | Replaced PTU Sensor
4 | LAKE VIEW | 34.267380, -116.880145 | ANNUAL | Maintenance performed. Device is operational | N/A | X | Replaced PTU Sensor
5 | DIVISION | 34.26186422, -116866593 | ANNUAL | Maintenance performed. Device is operational | N/A | X | Replaced PTU Sensor
6 | PARADISE | 34.26652527,-116.8401382 | ANNUAL | Maintenance performed. Device is operational | N/A | X | Replaced PTU Sensor
7 | BALDWIN | 34.29375365,-116.8131084 | ANNUAL | Maintenance performed. Device is operational | N/A | X | Replaced PTU Sensor | 7 | N/A | 8.1.6 | Quality Assurance/Quality Control |  | N
8 | PIONEER | 34.26318578,-116.7906527 | ANNUAL | Maintenance performed. Device is operational | N/A | X | Replaced PTU Sensor
9 | ERWIN LAKE | 34.2429703,-116.8006365 | ANNUAL | Maintenance performed. Device is operational | N/A | X | Replaced PTU Sensor
10 | ERWIN | 34.23298191,-116.7921129 | IMPROMPTU | Waiting for Interface Moduel to arrive (Awaiting Equipment) | 2022-06-12 |  | Needs Interface Moduel to be operational
11 | LAKE WILLIAMS | 34.23198312,-116.7733238 | ANNUAL | Maintenance performed. Device is operational | N/A | X | Replaced PTU Sensor
12 | SUNRISE | 34.25554307,-116.8238292 | ANNUAL | Maintenance performed. Device is operational | N/A | X | Replaced PTU Sensor
13 | SUGARLOAF | 34.24301379,-116.8373972 | ANNUAL | Maintenance performed. Device is operational | N/A | X | Replaced PTU Sensor
14 | GOLDMINE | 34.232107,-116.845663 | ANNUAL | Maintenance performed. Device is operational | N/A | X | Replaced PTU Sensor | 7 | N/A | N/A | Administrative |  | N
15 | CLUBVIEW | 34.24027965,-116.8680024 | ANNUAL | Maintenance performed. Device is operational | N/A | X | Replaced PTU Sensor
16 | GARSTIN | 34.24588032,-116.8858058 | ANNUAL | Maintenance performed. Device is operational | N/A | X | Replaced PTU Sensor
17 | RADFORD HARNISH | 34.216491,-116.907331 | ANNUAL | Line currently being reconductored | 2024-04-01 |  | Replaced PTU Sensor
18 | RADFORD AR | 34.20184,-116.905513 | ANNUAL | Line currently being reconductored | 2024-04-01 |  | Replaced PTU Sensor
19 | LAGONITA | 34.24732716,-116.9351533 | ANNUAL | Maintenance performed. Device is operational | N/A | X | Replaced PTU Sensor
20 | BOULDER | 34.2386084,-116.9376263 | ANNUAL | Maintenance performed. Device is operational | N/A | X | Replaced PTU Sensor