## VegPoint
VegPoint: This is the master tree inventory. One record per tree. Combined data from EVM and TreeRecs. Filtered out duplicates. |  | Domain Values
Field | Description/Details
ID | Primary key. Unique tree id
Species_CommonName | Species common name (Blue Oak, Douglas Fir) | See DV-VP_Species worksheet
Species_ScientificName | Species scientific name | See DV-VP_Species worksheet
Height | Height of tree
DBH | Diameter of tree
BrushVolume | If it is a brush, this shows volume of brush that impacts the line. Unit of 1 = 10 cubic yards
Address | Address
City | City
County | County | See WV-County__c worksheet
State | State
Directions | Written directions to get to tree
Comments | Comments
InspectionFrequency | Annual or Bi-Annual | Annual Biannual
HasAlerts | True/False. When True then there are Alerts related to this tree. Used by GIS to change color of tree to indicate there is an alert. | True False
FireResponsibilityArea | SRA/LRA/FRA designation | FRA LRA SRA
HFTD | High Fire Threat District - can be null, 1, 2,or 3 | Zone 1 Tier 1 Tier 2 Tier 3 Non-HFTD
TreeOwnership | Who owns the tree - Private Party, State, Federal | BLM CD Forestry City Commercial County Flood Ctrl Forestry Freeway Marin OpSp National Park Service Orchard Other Park PGE Private Private/City Private/State Railroad School State Highway Unknown US Forestry Water Department
MWS | True/False field for Major Woody Stem | True False
MWSDocNum | Major Woody Stem Document Number
Traffic | True/False indicating if there is dangerous traffic | True False
TreeConnect | True/False indicating the tree is used as a pole for the conductor | True False
RedwoodExemption | Redwood exemption | N/A No Yes
Latitude | Latitude
Longitude | Longitude
Division | Division | Central Coast De Anza Diablo East Bay Fresno Humboldt Kern Los Padres Mission North Bay North Valley Peninsula Sacramento San Francisco San Jose Sierra Sonoma Stockton Yosemite
Region | Region | Bay Area Central Coast Central Valley North Coast North Valley Sierra
QuadMap | Map number for paper maps
Parcel_SFID | Salesforce parcel ID
Parcel_MasterID | GIS parcel ID
VegPointID | VegPointID relates to origianl record from TreeRecs or EVM
VegPointName | internal name of the veg point - irrelevant to users
VegPointSource | VegPoint Source | EVM LiDAR OneVM VMD
SSD | Source Side Device (switch or fuse number)
SSDRoute | Source Side Route Number (indicates order that the circuit should be patroled)
CreatedDate | Date record was created
CreatedByID | ID of the person who created the record. (Contact ID)
CreatedBy | LAN ID of person who created the record
LastModifiedDate | Last modified date
LastModifiedByID | ID of the person who last modified the record. (Contact ID)
LastModifiedBy | LAN ID of person who last modified the record
LastTrimDate | Store date of last time tree was trimmed
RecordOwnerID | Same as CreatedByID
TGRApplicationDate | TGR (Tree Growth Regulator, hormone sprayed on tree to stop growing). Date TGR was applied.
VM_Exempt_Type__Name | Major Woody Stem Exemption - Short hand | Ex Tree Conn Exempt 19 in - 48 in Exempt 6in -18in N-EX < 6 in N-EX 19in - 48in N-EX 6 in-18 in N-EX Climb N-EX New Constr N-EX Tree Conn No Raychem/TW Unqualified
VM_Exempt_Type__VM_Description__c | Major Woody Stem Exemption - Long hand version | Exempt - Raychem/Tree Wire Exempt - Tree Connect Exempt 19in-48in Exempt 6in-18in No Non-exempt - New Construction Non-exempt - Tree Connect Non-exempt, 19in-48in, does not meet criteria Non-exempt, 6in-18in, does not meet criteria Non-exempt, climbable tree Non-exempt, less than 6in Unqualified
VM_Irrelevant__c | Obsolete - soft delete | True False
SystemModstamp | System Modified Date
VM_City_Juriisdiction__c | Flag indicating city jurisdiction (True/False). Indicates is city permit is needed prior to performing work. | True False
f_VM_TRA_Date__c | Tree Risk Assessment Date (Date Created)
VM_TRA_Form_Number__r_Name | Tree Risk Assessment Form Number. Name in VM_Tree_Risk_Assessment__c db table
f_VM_TRA_Overall_Risk_Rating__c | Tree Risk Assessment Overall Risk Rating (Low, Moderate, High, Extreme) | Low Moderate High Extreme
f_VM_TRA_Status__c | Tree Risk Assessment Status (Preliminary, Final) | Preliminary Final

## VM_Prescription__c
VM_Prescription__c: This is equivalent to the TreeRecs record. It stores the prescription of work that needs to be done related to a tree.
Field | Description/Details | Domain Value
Id | Primary Key
f_VM_Age__c | number of days between date created & today
VM_Approved_By__c | ID of the SCUF who approved the work to be done
VM_Approved_By_Name | Name of the SCUF
VM_Approved_Date__c | Date of approval
VM_Brush_Volume_Remove__c | Volume of brush that needs to be removed
VM_Inspected_Common_Name__c | Species common name | See DV-VP_Species worksheet
VM_Inspected_Scientific_Name | Species scientific name | See DV-VP_Species worksheet
VM_Inspected_Height__c | Height
VM_Inspected_DBH__c | Diameer
VM_Inspected_Street__c | Street
VM_Inspected_City__c | City
VM_Inspected_County_Name | County | See WV-County__c worksheet
VM_Inspected_State__c | State
VM_Inspected_Location__c | Directions to the veg point
VM_Inspected_Major_Woody_Stem_MWS__c | True/False for Major Woody Stem | True False
VM_Inspected_MWS_Doc_Number__c | MWS Doc Number
VM_Inspected_Comments__c | Comments from Pre-Inspector
VM_Trim_to_Radial_Clearance__c | Radial clearance - tells tree crew how many feet to trim from conductor
VM_Trim_to_Horizontal_Clearance__c | Horizontal clearnace
VM_Trim_to_Vertical_Clearance__c | Vertical clearance
VM_Inspected_Tree_Connect__c | True/False if tree is acting as a pole | True False
VM_InspectedTreeOwnership__c | Ownership field - who owns the tree | BLM CD Forestry City Commercial County Flood Ctrl Forestry Freeway Marin OpSp National Park Service Orchard Other Park PGE Private Private/City Private/State Railroad School State Highway Unknown US Forestry Water Department
VM_Constrained__c | True/False indicates if there are constraints blocking the work. Used on GIS map to change color of the point. | True False
VM_Crane_Height__c | Height of crane required to perform work
VM_Crane_Required__c | True/False if crane is required | True False
CreatedDate | Date record created
CreatedById | ID of the person who created the record. (Contact ID)
CreatedBy_Name | Name of person who created the record
VM_Dead_Dying__c | True/False indicates if tree is Dead or Dying | True False
VM_Division__c | Division | Central Coast De Anza Diablo East Bay Fresno Humboldt Kern Los Padres Mission North Bay North Valley Peninsula Sacramento San Francisco San Jose Sierra Sonoma Stockton Yosemite
f_VM_Due_Date__c | Date when work needs to be completed
VM_Flagger_Required__c | True/False indicates if a traffic flagger is needed | True False
VM_Inspection_Frequency__c | Annual or Bi-Annual | Annual Biannual
LastModifiedDate | Date last modified
LastModifiedById | ID of the person who last modified the record. (Contact ID)
LastModifiedBy_Name | Name of person who last modified
f_VM_Latitude__c | Latitude
f_VM_Longitude__c | Longitude
VM_Lift_Truck_Height__c | Pre Inspector enters height of tree tuck that the tree crew will need
VM_Lift_Truck_Required__c | True/False indicating if lift truck is needed | True False
VM_Line_Clearance_Required__c | True/False indicating if line clearance is needed. (Line Clearance is turning off power for that line) | True False
VM_Line_Kill_Required__c | Not used (may delete in future)
VM_Master_Parcel_ID__c | Parcel that the tree is on.
VM_Max_Trim__c | max height of the trim
VM_Next_Inspection_Date__c | used for bi-annuals. Next inspection date.
VM_Observed_Radial_Distance_to_Asset__c | Observed radial distance from the conductor in feet
VM_Prescription_Comments__c | General comments to the tree crew
VM_Priority__c | Priority | Routine
f_VM_Project_Name__c | Project Name
f_VM_Project_Number__c | Project Number
f_VM_Project_Status__c | Project Status | Approved Pending Planning Reviewing
VM_Inspected_Redwood_Exemption__c | Yes,No,N/A. Flags whether this is Redwood Exemption. | N/A No Yes
VM_Region__c | Region | Bay Area Central Coast Central Valley North Coast North Valley Sierra
VM_Rejected_By__c | ID of supervisor that rejected the prescription
VM_Rejected_By_Name | Name of person who rejected the prescription
VM_Rejected_Date__c | Date rejected
VM_Rejection_Comments__c | Comments for rejection
VM_Rejection_Reason__c | Reason for rejection | Clearance Issues Prescription Issues Tree Crew Unable to Find
VM_Work_Order_WorkOrderNumber | Pre Inspection work order number
VM_Road_Closure__c | True/False indicating if road needs to be closed | True False
VM_Roadside_Accessible__c | True/False indicating if roadside accessible | True False
VM_Scheduling_Comments__c | Comment for person scheduling work
VM_Signage_Required__c | True/False indicating if signage is required | True False
VM_Traffic_Mitigation__c | True/False indicating if traffic mitigation is required | True False
VM_Status__c | status of the prescription | Approved Completed Constrained Inspected, No Work Inspected, Prescribed Open Pass Rejected Scheduled
f_VM_Veg_Point_ID__c | Legacy ID of the tree (VMD/EVM)
VM_Veg_Point__c | Salesforce master vegpoint id. ID from VegPoint db table.
Name | unique name of the prescription - irrelevant to end user
VM_Wood_Management_GE_4__c | Wood management for wood pieces greater than or equal to 4 inches | Chip in Place Chip on Landing Haul Offsite Lop/Scatter N/A Pile on Property
VM_Wood_Management_LT_4__c | Wood management for wood pieces less than 4 inches | Chip in Place Chip on Landing Haul Offsite Lop/Scatter N/A
f_VM_Work_Code__c | Equivalent to trim code. There will be a Work_Code table. | See DV-Work Code worksheet
VM_Work_Duration__c | Estimate of how long work will take.
f_VM_WO_ID__c | This is formula field to bring the Work Order ID from WOLI to Prescription as a text field
VM_Tree_Crew_Added__c | True/False indicating that tree crew added prescription while doing tree work. | True False
RecordType | Provides detail on who made the prescription (PI, WV, etc…) - Prescription, Veg Work Observation, Span Observation, Prescription Observation | Prescription Prescription Observation Span Observation Veg Work Observation
VM_Project__c | Project that the work is associated with
VM_Verified_Prescription__c | Link to the Prescription record in the same table. ID of the prescription they were verifying. Self joined to ID column in this table to find the prescription.
VM_Verified_Prescription_Name | Name of the Prescription. More readable form of the Prescription ID.
VM_Observation_Level__c | Indicates severity of the problem. 0, 1, 2, 3, 4 | 0 1 2 3 4
VM_Addressing_Comments__c | Comments if there is problems with addressing
VM_DBH_Comments__c | Comments if there is problems with DBH
VM_DBH_Discrepancy__c | Number of inches they were off
VM_MWS_Comments__c | Comments if there is problems with the MWS
VM_Additional_Observation_Comments__c | Comments describing additional observations
VM_Tag_Type__c | Indicates the observation tag type used in the legacy system
VM_Tree_Wire_Present__c | Yes/No indicates if insulated wire is present | Yes No
f_VM_Class_Size__c | Diameter range of tree. Class 0, Class 1, etc… | Class 0 Class 1 Class 2 Class 3 Class 4 Class 5
VM_Clearance_Comments__c | Comments indication if there is problem with amount of clearance
VM_MWS_Observation__c | This is the observation category for MWS - CategoryID
VM_Painting_Observation__c | This is the observation category for Painting - CategoryID
VM_Priority_Comments__c | If there is an issue with the priority they can add comments
f_VM_Work_Code_Name_Discrepancy__c | If work codes was incorrect they will enter correct work code name here | See DV-Work Code worksheet
VM_Addressing_Observation__c | This is the observation category for Addressing
f_VM_Delivery_Type__c | Distribution, Transmission, Gas | Distribution Gas Transmission
VM_Parcel__c | Salesforce ID of the Parcel in the Account Table
VM_Inspected_Directions__c | Optional field where user can type in directions to location
VM_Debris_Diameter_Threshold__c | Threshold in inches at which branches are considered debris or wood
VM_Earliest_Start_Date__c | The earliest date that work can be performed.
VM_Due_Date__c | The latest date that work needs to be completed.
f_VM_Prescription_Immed_Create_VegWork__c | Formula field to define if a Veg Work would need to be created for this Observation
VM_Additional_Observation__c | This is the observation category for Additional (any additional observation)?
VM_ANSI_A300_Observation__c | This is the observation category for ANSI A300
VM_Clearance_Observation__c | This is the observation category for clearance
VM_DBH_Observation__c | This is the observation category for DBH
VM_Non_Listed_Tree_Observation__c | This is the observation category for non-listed tree
VM_Priority_Observation__c | This is the observation category for priority
VM_Species_Discrepancy_Name | They can enter the correct species name | See DV-VP_Species worksheet
VM_Species_Discrepancy_Common_Name__c | They can enter the correct species common name | See DV-VP_Species worksheet
VM_Species_Observation__c | This is the observation category for species
VM_No_RP_Restriction_when_Required__c | True/False indicating No RP Restriction when required, (>⅓ canopy, work within 25 feet of OHWM). | True False
VM_Non_Riparian_Environmental_Finding__c | True/False indicating if non-Riparian environmental finding | True False
VM_Elderberry_Flagging_Not_Present__c | If they put value of True then they did not put flagging around Elderberry tree when they were required to. | True False
VM_Elderberry_Not_identified__c | True means they did not identify as Elderberry Tree when they should have | True False
VM_Bird_Nest_Not_Identified__c | True means they did not identify birds nest when they should have | True False
VM_Large_Bird_Nest_Not_Identified__c | True means they did not identify the large bird nest when they should have | True False
VM_SOD_Comments_Not_Present__c | True means SOD comments not present in address and/or tree comments. Heavy prune to eliminate future trimming not prescribed. | True False
VM_Environmental_Comments__c | Comments regarding environmental concerns
VM_Riparian_BMP_Issue__c | True means Riparian BMP issue identified | True False
VM_Incorrect_per_BMPs__c | True means Non-Riparian environmental finding incorrect per BMP | True False
VM_Asset__Name | Span ID if it is a span observation otherwise null
VM_Site_Clean_Comments__c | Comments regarding any cleanliness observations
VM_Site_Clean_Observation__c | This is the observation category for cleanliness observations
VM_Veg_Work_Item__c | Link to the WOLI record where tree work was performed
VM_Work_Performed_Comments__c | Comments on their findings regarding veg work
VM_Work_Performed_Observation__c | This is the observation category for veg work
VM_Result__c | Indicates if the person who needs to fix the observation agrees or disagrees
VM_Work_Corrected__c | Yes/No If person corrects the work they would select Yes | Yes No
VM_EVM_Relevant__c | If in EVM maintenance area they would put Yes | True False
VM_Asset__ID | Span ID if it is a span observation otherwise null
VM_IsRevised__c | Indicates that somone changed the prescription YES/No | 0 = No 1 = Yes
VM_Exempt_Type__Name | Major Woody Stem
VM_Execmpt_Type__VM_Description__c | Major Woody Stem
VM_Tag_Number__c | Tag Number user entered
VM_Joint_Pole_Span__c | Indicates if pole has other utilities equipment on span | N/A No Yes
VM_Underbuild__c | Indicates if under a transmission line | N/A No Yes
CreatedBy_CompanyName | Company Name of the inspector
SystemModstamp | System Modified Timestamp
VM_Reason_for_Removal__c | Reason for removal (Fall In Risk, Grow In Risk, Other) | Fall In Risk Grow In Risk Other
VM_Removal_Comments__c | Removal comments
VM_Reason_for_Delisting__c | Comments on reason for delisting
VM_Is_Complete_Removal_Prescribed__c | Flag which indicates if complete removal is prescribed (True/False) | True False
VM_Reason_for_Work_Code_Change__c | Comments on reason for work code change
f_VM_City_Jurisdiction__c | Flag indicating city jurisdiction (True/False). City permit is needed prior to work | True False
VM_Work_Code__r_Name | Work code name
VM_CreationFlowInitiationDate__c | Prescription date but currently there is a bug so not populated consistently
VM_Tree_Risk_Assessment_Form__r_Name | Tree Risk Assessment Form Number. Name in VM_Tree_Risk_Assessment__c db table
VM_Tree_Risk_Assessment_Performed__c | True/False flag indicates if a prescription was created as part of an FTI project and if it is linked to a TRAQ Form Object.

## DV-WorkCode
Domain Values for Work Code
ID | NAME | VM_ACTION_TYPE__C | VM_ACTIVE__C | VM_DBH_MAX_RANGE__C | VM_DBH_MIN_RANGE__C | VM_TRIM_CODE__C
a325c000001QRENAA4 | 029-Fell Tree R1 4-11.99 in | Remove | TRUE | 11.9 | 4 | U08
a325c000001QREOAA4 | 030-Fell Tree R2 12-23.99 in | Remove | TRUE | 23.9 | 12 | U09
a325c000001QREPAA4 | 031-Fell Tree R3 24-35.99 in | Remove | TRUE | 35.9 | 24 | U10
a325c000001QREQAA4 | 032-Fell Tree R4 36-47.99 in | Remove | TRUE | 47.9 | 36 | U11
a325c000001QRERAA4 | 033-Fell Tree R5 greater than 48 in | Remove | TRUE | 500 | 48 | U12
a325c000001QRESAA4 | 034-OFFC - Major Dismantle R1 4-11.99 in | Remove | TRUE | 11.9 | 4 | MA1
a325c000001QRETAA4 | 035-OFFC - Major Dismantle R2 12-23.99 in | Remove | TRUE | 23.9 | 12 | MA2
a325c000001QREUAA4 | 036-OFFC - Major Dismantle R3 24-35.99 in | Remove | TRUE | 35.9 | 24 | MA3
a325c000001QREVAA4 | 037-OFFC- Major Dismantle R4 36-47.99 in | Remove | TRUE | 47.9 | 36 | MA4
a325c000001QREWAA4 | 038-OFFC - Major Dismantle R5 greater than 48 in | Remove | TRUE | 500 | 48 | MA5
a325c000001QREXAA4 | 039-OFFC - Targeted Prune R1 4-11.99 in | Trim | TRUE | 11.9 | 4 | MN1
a325c000001QREYAA4 | 040-OFFC - Targeted Prune R2 12-23.99 in | Trim | TRUE | 23.9 | 12 | MN2
a325c000001QREZAA4 | 041-OFFC - Targeted Prune R3 24-35.99 in | Trim | TRUE | 35.9 | 24 | MN3
a325c000001QREaAAO | 042-OFFC - Targeted Prune R4 36-47.99 in | Trim | TRUE | 47.9 | 36 | MN4
a325c000001QREbAAO | 043-OFFC - Targeted Prune R5 greater than 48 in | Trim | TRUE | 500 | 48 | MN5
a325c000001QREcAAO | 044-OFFC - Fell Tree R1 4-11.99 in | Remove | TRUE | 11.9 | 4 | FT1
a325c000001QREdAAO | 045-OFFC -Fell Tree R2 12-23.99 in | Remove | TRUE | 23.9 | 12 | FT2
a325c000001QREeAAO | 046-OFFC -Fell Tree R3 24-35.99 in | Remove | TRUE | 35.9 | 24 | FT3
a325c000001QREfAAO | 047-OFFC - Fell Tree R4 36-47.99 in | Remove | TRUE | 47.9 | 36 | FT4
a325c000001QREgAAO | 048-OFFC - Fell Tree R5 greater than 48 in | Remove | TRUE | 500 | 48 | FT5
a325c000001QREhAAO | 049-ORCHD - Radial up to 11.99 in | Trim | TRUE | 500 | 4 | O1R
a325c000001QREiAAO | 050-ORCHD - Radial 12' or greater | Trim | TRUE | 500 | 4 | O2R
a325c000001QREjAAO | 051-ORCHD - Brush Prune | Trim | TRUE | 3.99 | 0 | O3R
a325c000001QREkAAO | 052-ORCHD - Brush Clear to Ground | Remove | TRUE | 3.99 | 0 | O4R
a325c000001QRElAAO | 053-ORCHD - Brush Standing Treatment | Trim | TRUE | 3.99 | 0 | OBT
a325c000001QREmAAO | 054-ORCHD - Major Dismantle R1 4-11.99 in | Remove | TRUE | 11.9 | 4 | OD1
a325c000001QREnAAO | 055-ORCHD - Major Dismantle R2 12-23.99 in | Remove | TRUE | 23.9 | 12 | OD2
a325c000001QREoAAO | 056-ORCHD - Major Dismantle R3 24-35.99 in | Remove | TRUE | 35.9 | 24 | OD3
a325c000001QREpAAO | 057-ORCHD- Major Dismantle R4 36-47.99 in | Remove | TRUE | 47.9 | 36 | OD4
a325c000001QREqAAO | 058-ORCHD - Major Dismantle R5 greater than 48 in | Remove | TRUE | 500 | 48 | OD5
a325c000001QRErAAO | 059-ORCHD - Targeted Prune R1 4-11.99 in | Trim | TRUE | 11.9 | 4 | OD6
a325c000001QREsAAO | 060-ORCHD - Targeted Prune R2 12-23.99 in | Trim | TRUE | 23.9 | 12 | OD7
a325c000001QREtAAO | 061-ORCHD - Targeted Prune R3 24-35.99 in | Trim | TRUE | 35.9 | 24 | OD8
a325c000001QREuAAO | 062-ORCHD - Targeted Prune R4 36-47.99 in | Trim | TRUE | 47.9 | 36 | OD9
a325c000001QREvAAO | 063-ORCHD - Targeted Prune R5 greater than 48 in | Trim | TRUE | 500 | 48 | OD0
a325c000001QREwAAO | 064-ORCHD - Fell Tree R1 4-11.99 in | Remove | TRUE | 11.9 | 4 | OF1
a325c000001QRExAAO | 065-ORCHD -Fell Tree R2 12-23.99 in | Remove | TRUE | 23.9 | 12 | OF2
a325c000001QREyAAO | 066-ORCHD -Fell Tree R3 24-35.99 in | Remove | TRUE | 35.9 | 24 | OF3
a325c000001QRDvAAO | 001-Radial up to 11.99' | Trim | TRUE | 500 | 4 | U01
a325c000001QRDwAAO | 002-Radial 12' or greater | Trim | TRUE | 500 | 4 | U02
a325c000001QRDxAAO | 003-Maintain Overhang to 20' | Trim | TRUE | 500 | 4 | U03
a325c000001QRDyAAO | 004-Maintain Overhang to 40' | Trim | TRUE | 500 | 4 | U04
a325c000001QRDzAAO | 005-Maintain Overhang to 60' | Trim | TRUE | 500 | 4 | U05
a325c000001QRE0AAO | 006-Maintain Overhang above 60' | Trim | TRUE | 500 | 4 | U06
a325c000001QRE1AAO | 007-Brush Prune | Trim | TRUE | 3.99 | 0 | U07
a325c000001QRE2AAO | 008-Brush Clear to Ground | Remove | TRUE | 3.99 | 0 | U7B
a325c000001QRE3AAO | 009-Brush Standing Treatment | Trim | TRUE | 3.99 | 0 | U7C
a325c000001QRE4AAO | 010-OFFC - Radial up to 11.99' | Trim | TRUE | 500 | 4 | RD1
a325c000001QRE5AAO | 011-OFFC - Radial 12' or greater | Trim | TRUE | 500 | 4 | RD2
a325c000001QRE6AAO | 012-OFFC - Maintain Overhang to 20' | Trim | TRUE | 500 | 4 | UOA
a325c000001QRE7AAO | 013-OFFC - Maintain Overhang to 40' | Trim | TRUE | 500 | 4 | UOB
a325c000001QRE8AAO | 014-OFFC - Maintain Overhang to 60' | Trim | TRUE | 500 | 4 | UOC
a325c000001QRE9AAO | 015-OFFC - Maintain Overhang above 60' | Trim | TRUE | 500 | 4 | UOD
a325c000001QREAAA4 | 016-OFFC - Brush Prune | Trim | TRUE | 3.99 | 0 | BP1
a325c000001QREBAA4 | 017-OFFC - Brush Clear to Ground | Remove | TRUE | 3.99 | 0 | BPG
a325c000001QRECAA4 | 018-OFFC - Brush Standing Treatment | Trim | TRUE | 3.99 | 0 | BST
a325c000001QREDAA4 | 019-Major Dismantle R1 4-11.99 in | Remove | TRUE | 11.9 | 4 | U14
a325c000001QREEAA4 | 020-Major Dismantle R2 12-23.99 in | Remove | TRUE | 23.9 | 12 | U16
a325c000001QREFAA4 | 021-Major Dismantle R3 24-35.99 in | Remove | TRUE | 35.9 | 24 | U18
a325c000001QREGAA4 | 022-Major Dismantle R4 36-47.99 in | Remove | TRUE | 47.9 | 36 | U20
a325c000001QREHAA4 | 023-Major Dismantle R5 greater than 48 in | Remove | TRUE | 500 | 48 | U22
a325c000001QREIAA4 | 024-Targeted Prune R1 4-11.99 in | Trim | TRUE | 11.9 | 4 | U13
a325c000001QREJAA4 | 025-Targeted Prune R2 12-23.99 in | Trim | TRUE | 23.9 | 12 | U15
a325c000001QREKAA4 | 026-Targeted Prune R3 24-35.99 in | Trim | TRUE | 35.9 | 24 | U17
a325c000001QREzAAO | 067-ORCHD - Fell Tree R4 36-47.99 in | Remove | TRUE | 47.9 | 36 | OF4
a325c000001QRF0AAO | 068-ORCHD - Fell Tree R5 greater than 48 in | Remove | TRUE | 500 | 48 | OF5
a325c000001QRF1AAO | 069-Overhang Prune to 20' | Trim | TRUE | 500 | 4 | OP1
a325c000001QRF2AAO | 070-Overhang Prune to 40' | Trim | TRUE | 500 | 4 | OP2
a325c000001QRF3AAO | 071-Overhang Prune to 60' | Trim | TRUE | 500 | 4 | OP3
a325c000001QRF4AAO | 072-Overhang Prune above 60' | Trim | TRUE | 500 | 4 | OP4
a325c000001QRF5AAO | 073-OFFC - Overhang Prune to 20' | Trim | TRUE | 500 | 4 | OP5
a325c000001QRF6AAO | 074-OFFC - Overhang Prune to 40' | Trim | TRUE | 500 | 4 | OP6
a325c000001QRF7AAO | 075-OFFC - Overhang Prune to 60' | Trim | TRUE | 500 | 4 | OP7
a325c000001QRF8AAO | 076-OFFC - Overhang Prune above 60' | Trim | TRUE | 500 | 4 | OP8
a325c000001QRF9AAO | 077-Pole Clear - 10' radius, up to 8' height | Trim | TRUE | 500 | 0 | U32
a325c000001QRFAAA4 | 078-Cage Clear | Remove | TRUE | 500 | 0 | U33
a325c000001QRFBAA4 | 079-Tower Clear | Remove | TRUE | 500 | 0 | U34
a325c000001QRFCAA4 | 080-Access up to 400sqft | Trim | TRUE | 500 | 0 | U35
a325c000001QRFDAA4 | 081-Access up to 1200sqft | Trim | TRUE | 500 | 0 | U36
a325c000001QRFEAA4 | 082-Pole clear above 8ft to conductor | Trim | TRUE | 500 | 0 | U37
a325c000001QRFFAA4 | 083-Guy Wire Clear | Trim | TRUE | 500 | 0 | U38
a325c000001QRELAA4 | 027-Targeted Prune R4 36-47.99 in | Trim | TRUE | 47.9 | 36 | U19
a325c000001QREMAA4 | 028-Targeted Prune R5 greater than 48 in | Trim | TRUE | 500 | 48 | U21
a325c000001DgA1AAK | No work | No Work | FALSE |  |  | No work
a325c000001DgiXAAS | no work | No Work | FALSE |  |  | no work
a325c000001DgrWAAS | BT - Brush Trim | Trim | FALSE | 3.99 | 0 | BT
a325c000001DgrUAAS | BCS - Brush Removal | Remove | FALSE | 3.99 | 0 | BCS
a325c000001DgrVAAS | BC - Brush Removal | Remove | FALSE | 3.99 | 0 | BC
a325c000002XyzjAAC | 084-TGR Application | TGR | TRUE | 500 | 4 | U39
a325c000002XyzkAAC | 086-Warranty Dismantle/Fell | Remove | TRUE | 500 | 0 | U41
a325c000002XyzlAAC | 085-Warranty Trim | Trim | TRUE | 500 | 0 | U40
a325c000001DXKLAA4 | R1A - Removal DBH > 4" to 12", < 10 Yards of debris | Remove | FALSE | 12 | 4 | R1A
a325c000001DXKMAA4 | R1B - Removal DBH > 4" to 12", > 10 Yards of debris | Remove | FALSE | 12 | 4 | R1B
a325c000001DXKNAA4 | R1C - Removal DBH > 4" to 12", < 10 Yards of debris & Herbicide | Remove | FALSE | 12 | 4 | R1C
a325c000001DXKOAA4 | R1D - Removal DBH > 4" to 12", > 10 Yards of debris & Herbicide | Remove | FALSE | 12 | 4 | R1D
a325c000001DXKPAA4 | R2A - Removal DBH > 12" to 24", < 10 Yards of debris | Remove | FALSE | 24 | 12.1 | R2A
a325c000001DXKQAA4 | R2B - Removal DBH > 12" to 24", > 10 Yards of debris | Remove | FALSE | 24 | 12.1 | R2B
a325c000001DXKRAA4 | R2C - Removal DBH > 12" to 24", < 10 Yards of debris & Herbicide | Remove | FALSE | 24 | 12.1 | R2C
a325c000001DXKSAA4 | R2D - Removal DBH > 12" to 24", > 10 Yards of debris & Herbicide | Remove | FALSE | 24 | 12.1 | R2D
a325c000001DXKTAA4 | R3A - Removal DBH > 24" to 36" , < 10 Yards of debris | Remove | FALSE | 36 | 24.1 | R3A
a325c000001DXKUAA4 | R3B - Removal DBH > 24" to 36", > 10 Yards of debris | Remove | FALSE | 36 | 24.1 | R3B
a325c000001DXKVAA4 | R3C - Removal DBH > 24" to 36", < 10 Yards of debris & Herbicide | Remove | FALSE | 36 | 24.1 | R3C
a325c000001DXKWAA4 | R3D - Removal DBH > 24" to 36", > 10 Yards of debris & Herbicide | Remove | FALSE | 36 | 24.1 | R3D
a325c000001DXKXAA4 | R4A - Removal DBH > 36", < 10 Yards of debris | Remove | FALSE | 500 | 36.1 | R4A
a325c000001DXKYAA4 | R4B - Removal DBH > 36", > 10 Yards of debris | Remove | FALSE | 500 | 36.1 | R4B
a325c000001DXKZAA4 | R4C - Removal DBH > 36", < 10 Yards of debris & Herbicide | Remove | FALSE | 500 | 36.1 | R4C
a325c000001DXKaAAO | R4D - Removal DBH > 36", > 10 Yards of debris & Herbicide | Remove | FALSE | 500 | 36.1 | R4D
a325c000001DXKbAAO | SD - Side Trim tree for Routine Compliance | Trim | FALSE | 500 | 0 | SD
a325c000001DXKcAAO | SEC - Trim branches causing strain and/or abrasion on secondary/ Guy Wires | Trim | FALSE | 500 | 0 | SEC
a325c000001DXKdAAO | SK - Trim scaffold branches on Excurrent tree (typically used on Palm Trees) | Trim | FALSE | 500 | 0 | SK
a325c000001DXKeAAO | SL - Trim canopy with shaping to mitigate 'L' shape of bench cut | Trim | FALSE | 500 | 0 | SL
a325c000001DXKfAAO | TD - Remove top of tree attempting to direct growth away from conductors | Trim | FALSE | 500 | 0 | TD
a325c000001DXKgAAO | TO - Remove top of Excurrent tree | Trim | FALSE | 500 | 0 | TO
a325c000001DXKhAAO | TRT - Cut stump sprouts and retreat with Herbicide | Trim | FALSE | 500 | 0 | TRT
a325c000001DXJxAAO | Removal DBH > 4" to 12" (R1), < 10 Yards of brush | Remove | FALSE |  |  | F1A
a325c000001DXJyAAO | Removal DBH > 4" to 12" (R1), > 10 Yards of brush | Remove | FALSE |  |  | F1B
a325c000001DXJzAAO | Removal DBH > 4" to 12" (R1), < 10 Yards of brush & Herbicide | Remove | FALSE |  |  | F1C
a325c000001DXK0AAO | Removal DBH > 4" to 12" (R1), > 10 Yards of brush & Herbicide | Remove | FALSE |  |  | F1D
a325c000001DXK1AAO | Removal DBH > 12" to 24" (R2), < 10 Yards of brush | Remove | FALSE |  |  | F2A
a325c000001DXK2AAO | Removal DBH > 12" to 24" (R2), > 10 Yards of brush | Remove | FALSE |  |  | F2B
a325c000001DXK3AAO | Removal DBH > 12" to 24" (R2), < 10 Yards of brush & Herbicide | Remove | FALSE |  |  | F2C
a325c000001DXK4AAO | Removal DBH > 12" to 24" (R2), > 10 Yards of brush & Herbicide | Remove | FALSE |  |  | F2D
a325c000001DXK5AAO | Removal DBH > 24" to 36" (R3), < 10 Yards of brush | Remove | FALSE |  |  | F3A
a325c000001DXK6AAO | Removal DBH > 24" to 36" (R3), > 10 Yards of brush | Remove | FALSE |  |  | F3B
a325c000001DXK7AAO | Removal DBH > 24" to 36" (R3), < 10 Yards of brush & Herbicide | Remove | FALSE |  |  | F3C
a325c000001DXK8AAO | Removal DBH > 24" to 36" (R3), > 10 Yards of brush & Herbicide | Remove | FALSE |  |  | F3D
a325c000001DXK9AAO | Removal DBH > 36" (R4), < 10 Yards of brush | Remove | FALSE |  |  | F4A
a325c000001DXKAAA4 | Removal DBH > 36" (R4), > 10 Yards of brush | Remove | FALSE |  |  | F4B
a325c000001DXKBAA4 | Removal DBH > 36" (R4), < 10 Yards of brush & Herbicide | Remove | FALSE |  |  | F4C
a325c000001DXKCAA4 | Removal DBH > 36" (R4), > 10 Yards of brush & Herbicide | Remove | FALSE |  |  | F4D
a325c000001DXKDAA4 | Trim < 1/3 of tree canopy & < 10 Yards of brush | Trim | FALSE |  |  | FAA
a325c000001DXJuAAO | BC - Brush Removal (DBH >4") | Remove | FALSE |  |  | BC
a325c000001DXJvAAO | BCS - Brush Removal (DBH >4") & Herbicide | Remove | FALSE |  |  | BCS
a325c000001DXJwAAO | BT - Brush Trim (DBH>4") | Trim | FALSE |  |  | BT
a325c000001DXKEAA4 | Trim < 1/3 of tree canopy with Rigging &/or > 10 Yards of brush | Trim | FALSE |  |  | FAB
a325c000001DXKFAA4 | Trim > 1/3 of tree canopy & < 10 Yards of brush | Trim | FALSE |  |  | FBA
a325c000001DXKGAA4 | Trim > 1/3 of tree canopy with Rigging &/or > 10 Yards of brush | Trim | FALSE |  |  | FBB
a325c000001DXKHAA4 | FOA - Overhang trim - not large enough to cross-phase | Trim | FALSE | 500 | 0 | FOA
a325c000001DXKIAA4 | FOB - Overhang trim - large enough to cross-phase | Trim | FALSE | 500 | 0 | FOB
a325c000001DXKJAA4 | NW - No Work | No Work | TRUE | 500 | 0 | NW
a325c000001DXKKAA4 | Trim green branches overhanging lines | Trim | FALSE |  |  | OV