## Attach OEIS 9.8
Wire Assets | AGE AVAILABLE |  | % WITH AGE
ASSET TYPE DESCRIPTION | YES | NO | %
OH_DIST | 59207 | 2 | 100%
OH_TRANS_LOCAL | 10565 | 53 | 99.5%
OH_TRANS_MAIN_GRID | 1694 | 2 | 99.9%
UG-PAD | 31 | 10 | 75.6%
UG-SECTIONALIZING CABINET | 2883 | 308 | 90.3%
UG-SPLICE POINT | 278 | 9 | 96.9%
UG-SWITCH GEAR | 107 | 48 | 69%
UG-TRANSFORMER | 3701 | 1382 | 72.8%
UG-UNKNOWN | 320 | 70 | 82.1%
UG-VAULT | 275 | 25 | 91.7%
OVERHEAD SUMMARY | 71466 | 57 | 99.9%
UNDERGROUND SUMMARY | 7595 | 1852 | 80.4%
Substation Assets | AGE AVAILABLE |  | % WITH AGE
ASSET TYPE DESCRIPTION | YES | NO | %
ANTENNA STRUCTURE REGISTRATION | 0 | 1 | 0%
BASE RADIO | 11 | 0 | 100%
BATTERY | 39 | 3 | 92.9%
CIRCUIT BREAKER | 123 | 0 | 100%
CAPACITOR BANK | 10 | 22 | 31.3%
BATTERY CHARGER | 38 | 7 | 84.4%
CIRCUIT SWITCHER | 27 | 0 | 100%
DIGITAL MULTIPLEX EQUIPMENT | 14 | 5 | 73.7%
DIGITAL RELAY INTERFACE | 10 | 1 | 90.9%
EMERGENCY POWER UNIT - DIESEL - MONTHLY ORDER | 3 | 0 | 100%
FIBER OPTICS TERMINAL | 1 | 0 | 100%
GENERATOR (EPU) | 1 | 0 | 100%
HVAC SYSTEM | 15 | 6 | 71.4%
INSTRUMENT TRANSFORMER | 124 | 25 | 83.2%
RADIO MASTER ALL | 8 | 1 | 88.9%
MAS RADIO CONTROL LINK | 2 | 0 | 100%
METER | 6 | 11 | 35.3%
METERING PACKAGE | 6 | 8 | 42.9%
MOBILE RADIO CONTROL | 1 | 0 | 100%
DIGITAL RADIO | 13 | 0 | 100%
DIGITAL MULTIPLEX EQUIPMENT | 1 | 0 | 100%
NETWORK EQUIPMENT | 21 | 1 | 95.5%
NETWORK SWITCH | 6 | 0 | 100%
OIL TANK | 2 | 0 | 100%
OPTICAL TRANSPORT NETWORK | 4 | 0 | 100%
POWER TRANSFORMER | 124 | 0 | 100%
RECLOSER | 23 | 0 | 100%
REGULATOR LOAD TAP CHANGER | 0 | 25 | 0%
REGULATOR | 81 | 0 | 100%
RELAY | 373 | 482 | 43.6%
RELAY PACKAGE | 118 | 93 | 55.9%
REMOTE TERMINAL UNIT | 49 | 3 | 94.2%
SATELLITE CLOCKS (ASSET) | 1 | 0 | 100%
SECURITY SYSTEM | 1 | 0 | 100%
SWITCH | 102 | 38 | 72.9%
SWITCHGEAR | 2 | 1 | 66.7%
TELEMETRY | 3 | 0 | 100%
TONE RELAY | 4 | 0 | 100%
STEEL TOWER | 9 | 0 | 100%
POWER TRANSFORMER LOAD TAP CHANGER | 1 | 16 | 5.9%
TELEPHONE EQUIPMENT | 1 | 25 | 3.8%
SUBSTATION SUMAMRY | 1378 | 774 | 64.0%