## SCE WMP ACI SCE-23-15
Outage Start Date | Distribution Outage ID | Circuit impacted by outage | Cause of outage | Sub-Cause of outage | Number of customers impacted | Number of customers on this circuit belonging to vulnerable populations | Duration of outage (minutes) | Customer minutes of interruption
2023-05-22 | 128929736 | CAMPANULA | 23. Unknown | Unknown | 354 | 211 | 257 | 9668
2023-05-23 | 128938417 | FELDSPAR | 15. Equipment / facility failure or damage | Capacitor bank | 2383 | 174 | 145 | 298465
2023-05-23 | 128939557 | MANDARIN | 23. Unknown | Unknown | 1657 | 124 | 57 | 30362
2023-05-24 | 128942584 | PATRIOT | 13. Object contact | Animal contact | 2579 | 124 | 67 | 134100
2023-05-27 | 128954534 | RUSTIC | 13. Object contact | Land vehicle contact | 3093 | 147 | 9596 | 322093
2023-05-27 | 128954777 | RESORT | 23. Unknown | Unknown | 4 | 0 | 161 | 364
2023-05-27 | 128954777 | TAHQUITZ | 23. Unknown | Unknown | 140 | 13 | 161 | 22540
2023-06-02 | 128978841 | CHANTRY | 24. Other | All Other | 3062 | 173 | 171 | 406290
2023-06-05 | 128994064 | COLLIER | 23. Unknown | Unknown | 359 | 128 | 113.6 | 40782.4
2023-06-05 | 128994208 | MANDARIN | 24. Other | All Other | 513 | 124 | 382 | 57056
2023-06-06 | 128998470 | MANDARIN | 13. Object contact | Animal contact | 1666 | 124 | 117 | 60019
2023-06-06 | 128999869 | GUST | 13. Object contact | Animal contact | 932 | 86 | 756 | 104993
2023-06-08 | 129008787 | CHANTRY | 23. Unknown | Unknown | 3062 | 173 | 83 | 114579.0833
2023-06-08 | 129010604 | RUSTIC | 15. Equipment / facility failure or damage | Connection device | 95 | 147 | 117 | 8567
2023-06-11 | 129023988 | PAYNE | 24. Other | All Other | 2519 | 158 | 851 | 272391
2023-06-12 | 129025295 | CAMPANULA | 23. Unknown | Unknown | 2059 | 211 | 117 | 73526
2023-06-13 | 129032302 | PICONI | 24. Other | All Other | 1228 | 135 | 438 | 50820
2023-06-14 | 129035862 | BERKSHIRE | 13. Object contact | Balloon contact | 174 | 11 | 106 | 17004
2023-06-15 | 129038728 | BRYDON | 23. Unknown | Unknown | 1990 | 158 | 71 | 48777
2023-06-18 | 129052083 | TAPO | 23. Unknown | Unknown | 40 | 160 | 75 | 2998
2023-06-19 | 129056900 | WHIPSTOCK | 13. Object contact | 3rd party contact | 1107 | 82 | 369 | 221909
2023-06-21 | 129065380 | ROADRUNNER | 23. Unknown | Unknown | 1095 | 105 | 70 | 72240
2023-06-21 | 129070390 | LEMONADE | 23. Unknown | Unknown | 1579 | 135 | 75 | 47375
2023-06-22 | 129071893 | MATILIJA | 23. Unknown | Unknown | 1950 | 125 | 112 | 128010
2023-06-24 | 129084410 | CARMELITA | 24. Other | All Other | 2430 | 223 | 398 | 313436.7
2023-06-25 | 129087180 | HASS | 13. Object contact | Land vehicle contact | 822 | 173 | 818 | 138961
2023-06-26 | 129090912 | CALIBER | 15. Equipment / facility failure or damage | Conductor | 871 | 163 | 89 | 49537
2023-06-26 | 129092025 | RESORT | NO WMP CAUSE | NO WMP SUB-CAUSE | 4 | 0 | 90 | 292
2023-06-26 | 129092025 | TAHQUITZ | NO WMP CAUSE | NO WMP SUB-CAUSE | 140 | 13 | 91 | 12740
2023-06-29 | 129106950 | PIONEERTOWN | 24. Other | All Other | 1941 | 199 | 761 | 330709
2023-06-30 | 129111484 | PALMER | 13. Object contact | Animal contact | 1227 | 110 | 63 | 75637
2023-06-30 | 129113483 | GALAHAD | 24. Other | All Other | 763 | 104 | 660 | 68855
2023-06-30 | 129115857 | MAMBA | 24. Other | All Other | 3848 | 78 | 1090 | 601685
2023-06-30 | 129117662 | CHEVELLE | 24. Other | All Other | 2156 | 170 | 904 | 284129
2023-07-01 | 129118770 | POWELL | 13. Object contact | Animal contact | 2237 | 180 | 149 | 272239
2023-07-01 | 129120215 | DIAMONDBACK | 24. Other | All Other | 68 | 131 | 81 | 5508
2023-07-01 | 129120215 | MAMBA | 24. Other | All Other | 3794 | 78 | 1190 | 440354
2023-07-02 | 129121074 | ANN | 24. Other | All Other | 2171 | 183 | 419 | 90216
2023-07-02 | 129121096 | CAMPANULA | 23. Unknown | Unknown | 2054 | 211 | 97 | 46372
2023-07-03 | 129125720 | VIENTO | 13. Object contact | Animal contact | 1875 | 274 | 266.7333 | 209110.4667
2023-07-03 | 129127716 | HARNAGE | 24. Other | All Other | 2738 | 103 | 778 | 325421
2023-07-05 | 129133225 | VIDEO | 13. Object contact | Animal contact | 421 | 18 | 93.2 | 39237.2
2023-06-12 | 129133365 | CAMPANULA | 13. Object contact | Animal contact | 50 | 211 | 87 | 762
2023-07-06 | 129137024 | NEPAL | 13. Object contact | Animal contact | 1049 | 91 | 106 | 51084
2023-07-07 | 129141102 | CAMPANULA | 13. Object contact | Animal contact | 111 | 211 | 62 | 124
2023-07-07 | 129143332 | CLARINET | 23. Unknown | Unknown | 68 | 123 | 1129.6833 | 19276.2667
2023-07-08 | 129148636 | WAITE | 23. Unknown | Unknown | 1971 | 252 | 96 | 122923
2023-07-08 | 129149103 | NICHOLAS | 24. Other | All Other | 1136 | 79 | 758.85 | 94548.75
2023-07-09 | 129151009 | SCIURBA | 13. Object contact | Animal contact | 3407 | 193 | 118 | 273845
2023-07-10 | 129153272 | GRANNY SMITH | 13. Object contact | Land vehicle contact | 282 | 30 | 712 | 40683
2023-07-10 | 129153301 | ACOSTA | 13. Object contact | Balloon contact | 5 | 152 | 615 | 2936
2023-07-10 | 129154105 | HORIZON | 23. Unknown | Unknown | 245 | 59 | 74 | 16744
2023-07-10 | 129157091 | DARTMOUTH | 23. Unknown | Unknown | 1382 | 183 | 114 | 124630
2023-07-10 | 129157518 | PRONGHORN | 13. Object contact | Balloon contact | 919 | 66 | 189 | 130903
2023-07-12 | 129163927 | CAMPANULA | 23. Unknown | Unknown | 301 | 211 | 111 | 28502
2023-07-12 | 129166241 | RUSTIC | 23. Unknown | Unknown | 3091 | 147 | 924 | 165415
2023-07-12 | 129166484 | FLINTRIDGE | 23. Unknown | Unknown | 168 | 16 | 67 | 11256
2023-07-12 | 129166484 | LANE | 23. Unknown | Unknown | 132 | 12 | 96 | 12672
2023-07-13 | 129168400 | PAWLEY | 23. Unknown | Unknown | 207 | 99 | 194 | 26149.7
2023-07-13 | 129170408 | CHARLTON | 24. Other | All Other | 2153 | 265 | 557 | 60954
2023-07-13 | 129171218 | DONLON | 13. Object contact | Land vehicle contact | 562 | 38 | 695 | 91257.8333
2023-07-14 | 129176195 | ROCKHILL | 15. Equipment / facility failure or damage | Connection device | 544 | 178 | 1028 | 264882
2023-07-14 | 129176224 | ROCKHILL | 24. Other | All Other | 545 | 178 | 1321 | 36681
2023-07-15 | 129179049 | CLARINET | 24. Other | All Other | 26 | 123 | 1152 | 7760
2023-07-17 | 129186664 | TAIWAN | 13. Object contact | Animal contact | 690 | 41 | 170 | 13242
2023-07-17 | 129190040 | IRAN | 24. Other | All Other | 660 | 128 | 574 | 56805
2023-07-20 | 129200326 | SHOWDOWN | 23. Unknown | Unknown | 668 | 121 | 221 | 139579
2023-07-20 | 129202775 | BRAKEMAN | 24. Other | All Other | 2695 | 76 | 1027 | 278466
2023-07-20 | 129204396 | BORCHARD | 15. Equipment / facility failure or damage | Conductor | 1348 | 66 | 130 | 92064
2023-07-21 | 129208457 | CASTRO | 13. Object contact | Animal contact | 224 | 156 | 266 | 25340
2023-07-22 | 129213951 | GAMBLER | 13. Object contact | Other | 1541 | 200 | 170 | 143765
2023-07-22 | 129215474 | FANO | 24. Other | All Other | 1384 | 149 | 348 | 74747
2023-07-23 | 129216868 | LAUDA | 23. Unknown | Unknown | 1 | 0 | 54.9667 | 54.9667
2023-07-23 | 129217278 | NAPA | 13. Object contact | Balloon contact | 1248 | 126 | 66 | 56999
2023-07-24 | 129222954 | CUTHBERT | 24. Other | All Other | 2469 | 97 | 1254 | 316165
2023-07-25 | 129226337 | DARTMOUTH | 24. Other | All Other | 1383 | 183 | 463 | 117143
2023-07-26 | 129234601 | SODA SPRINGS | 14. Vegetation contact | Vegetation contact | 2000 | 108 | 667 | 2668
2023-07-27 | 129237212 | MANDARIN | 24. Other | All Other | 3106 | 124 | 1268 | 187485
2023-07-29 | 129249941 | COLLIER | 24. Other | All Other | 1816 | 128 | 607 | 124014
2023-08-01 | 129259854 | BOBBIT | 13. Object contact | Animal contact | 1766 | 122 | 138 | 118082
2023-08-01 | 129262312 | CAMPANULA | 13. Object contact | Animal contact | 44 | 211 | 71 | 2039
2023-08-02 | 129265815 | CHATTANOOGA | 24. Other | All Other | 285 | 101 | 55 | 15675
2023-08-02 | 129265815 | STONEWOOD | 24. Other | All Other | 5673 | 102 | 1508 | 138999
2023-08-02 | 129270392 | STATLER | 23. Unknown | Unknown | 1882 | 122 | 206 | 236607
2023-08-03 | 129275944 | STATLER | 24. Other | All Other | 169 | 122 | 661 | 14237
2023-08-03 | 129278046 | SUCCESS | 23. Unknown | Unknown | 617 | 165 | 124 | 62703
2023-08-04 | 129280825 | FLYCATCHER | 23. Unknown | Unknown | 549 | 242 | 173 | 84179
2023-08-04 | 129281787 | ANN | 24. Other | All Other | 2248 | 183 | 487 | 152624
2023-08-04 | 129281918 | CROSSON | 24. Other | All Other | 14863 | 259 | 952 | 367769
2023-08-04 | 129286303 | NAPOLEON | 24. Other | All Other | 3425 | 327 | 801 | 212784
2023-07-15 | 129287853 | CLARINET | 16. Wire-to-wire contact | Wire-to-wire contact | 68 | 123 | 1850 | 31942
2023-08-08 | 129296870 | TAIWAN | 13. Object contact | Animal contact | 690 | 41 | 141 | 33173
2023-08-08 | 129298771 | GRANDAD | 23. Unknown | Unknown | 22 | 0 | 143 | 2900
2023-08-08 | 129298900 | POWELL | 13. Object contact | Animal contact | 2239 | 180 | 96 | 153022
2023-08-10 | 129306191 | CAMPANULA | 15. Equipment / facility failure or damage | Fuse | 111 | 211 | 5 | 0
2023-08-10 | 129306276 | CACHUMA | 15. Equipment / facility failure or damage | Insulator and bushing | 2727 | 124 | 436 | 206469
2023-08-10 | 129306276 | PAINTED CAVE | 15. Equipment / facility failure or damage | Insulator and bushing | 86 | 2 | 140 | 12040
2023-08-10 | 129306276 | PAR | 15. Equipment / facility failure or damage | Insulator and bushing | 10 | 1 | 35 | 350
2023-08-10 | 129306288 | UNDERWOOD | 15. Equipment / facility failure or damage | Lightning arrestor | 300 | 110 | 525 | 48237
2023-08-10 | 129306292 | DOCTORS | 15. Equipment / facility failure or damage | Transformer | 1535 | 81 | 454 | 53173
2023-08-12 | 129314037 | MAXSON | 24. Other | All Other | 8424 | 181 | 878 | 156045
2023-08-13 | 129317889 | FLYNN | 24. Other | All Other | 1957 | 26 | 665 | 80877
2023-08-14 | 129323983 | CHARLTON | 23. Unknown | Unknown | 2102 | 265 | 67 | 32407
2023-08-15 | 129328390 | LANE | 15. Equipment / facility failure or damage | Voltage regulator/booster | 396 | 12 | 727 | 88090
2023-08-16 | 129331186 | GALAHAD | 15. Equipment / facility failure or damage | Connection device | 2706 | 104 | 793 | 185262.1833
2023-08-16 | 129334934 | DONLON | 24. Other | All Other | 79 | 38 | 2619 | 8352
2023-08-17 | 129337095 | CERRITO | 23. Unknown | Unknown | 1209 | 107 | 112 | 31978
2023-08-17 | 129340018 | FLINTRIDGE | 13. Object contact | Animal contact | 168 | 16 | 621 | 32037
2023-08-18 | 129344625 | MATILIJA | 23. Unknown | Unknown | 1955 | 125 | 286 | 231983
2023-08-19 | 129348791 | BRAKEMAN | 24. Other | All Other | 1930 | 76 | 234 | 161874
2023-08-19 | 129348791 | WAHOO | 24. Other | All Other | 1763 | 111 | 2674 | 214661
2023-08-19 | 129348949 | FLOODGATE | 13. Object contact | Land vehicle contact | 930 | 211 | 86.65 | 80584.5
2023-08-19 | 129351428 | HORNTOAD | 13. Object contact | Land vehicle contact | 10 | 136 | 835 | 8350
2023-08-19 | 129351428 | PARADISE | 13. Object contact | Land vehicle contact | 865 | 58 | 901 | 92915
2023-08-19 | 129351466 | FLYCATCHER | 13. Object contact | Animal contact | 197 | 242 | 700 | 19098
2023-08-20 | 129353874 | TUDOR | 23. Unknown | Unknown | 1187 | 119 | 186 | 188096
2023-08-20 | 129354240 | GINGER | 14. Vegetation contact | Vegetation contact | 953 | 109 | 100 | 88674
2023-08-20 | 129354433 | CRESTLINE | 15. Equipment / facility failure or damage | Conductor | 252 | 49 | 324 | 47895
2023-08-20 | 129359441 | CALAMAR | 15. Equipment / facility failure or damage | Insulator and bushing | 174 | 10 | 255 | 44370
2023-08-20 | 129359441 | DELUZ | 15. Equipment / facility failure or damage | Insulator and bushing | 247 | 19 | 257 | 63479
2023-08-20 | 129359441 | LUISENO | 15. Equipment / facility failure or damage | Insulator and bushing | 21 | 0 | 565 | 2337
2023-08-20 | 129360121 | CERRITO | 23. Unknown | Unknown | 1209 | 107 | 123 | 61485
2023-08-20 | 129360298 | MUSTANG | 13. Object contact | Animal contact | 779 | 283 | 1064 | 89016
2023-08-20 | 129361067 | HASKELL | 15. Equipment / facility failure or damage | Connection device | 1692 | 111 | 570 | 196371
2023-08-20 | 129361284 | NICHOLAS | 15. Equipment / facility failure or damage | Insulator and bushing | 2207 | 79 | 219 | 57086
2023-08-20 | 129363539 | SHERBOURNE | 15. Equipment / facility failure or damage | Conductor | 5673 | 177 | 424 | 86354
2023-08-20 | 129366915 | AGATE | 14. Vegetation contact | Vegetation contact | 4224 | 170 | 121 | 448239
2023-08-20 | 129368506 | STUBBY | 23. Unknown | Unknown | 188 | 0 | 2.9333 | 0
2023-08-20 | 129369258 | TOLL | 23. Unknown | Unknown | 23 | 1 | 6.9 | 158.7
2023-08-20 | 129371585 | KEENE | 15. Equipment / facility failure or damage | Pole | 293 | 33 | 1693 | 250754
2023-08-20 | 129373610 | INYO LUMBER | 14. Vegetation contact | Vegetation contact | 1699 | 174 | 1 | 0
2023-08-24 | 129400628 | TECOLOTE | 24. Other | All Other | 2802 | 159 | 554 | 236781
2023-08-28 | 129419777 | TRUMPET | 24. Other | All Other | 267 | 209 | 897.5833 | 43812.75
2023-08-28 | 129423467 | MEDAL | 15. Equipment / facility failure or damage | Transformer | 251 | 134 | 1401 | 4203
2023-08-30 | 129437316 | FOOTHILL | 24. Other | All Other | 2964 | 151 | 749 | 157390
2023-09-01 | 129449833 | BUTTERFIELD | 15. Equipment / facility failure or damage | Crossarm | 1444 | 49 | 546 | 91672
2023-09-04 | 129460269 | GRANNY SMITH | 13. Object contact | Land vehicle contact | 283 | 30 | 935 | 79073
2023-09-05 | 129460269 | MEMPHIS | 13. Object contact | Land vehicle contact | 67 | 135 | 27 | 1809
2023-09-07 | 129471439 | NAPOLEON | 23. Unknown | Unknown | 46 | 327 | 77.5167 | 3565.7667
2023-09-07 | 129477079 | BRYDON | 13. Object contact | Animal contact | 1997 | 158 | 125 | 51168
2023-09-08 | 129482303 | AVENIDA | 13. Object contact | Animal contact | 1539 | 108 | 197 | 195715
2023-09-08 | 129483356 | CADILLAC | 24. Other | All Other | 391 | 21 | 265 | 50788
2023-09-08 | 129486102 | TECOLOTE | 24. Other | All Other | 3076 | 159 | 575 | 264832
2023-09-10 | 129496417 | CAMPANULA | 13. Object contact | Animal contact | 70 | 211 | 119.6667 | 8376.6667
2023-08-20 | 129497763 | SNOWCREEK | 23. Unknown | Unknown | 80 | 2 | 24 | 640
2023-08-20 | 129497763 | TOLL | 23. Unknown | Unknown | 128 | 1 | 24 | 1024
2023-08-20 | 129497763 | TOWNHALL | 23. Unknown | Unknown | 4 | 0 | 24 | 32
2023-09-13 | 129512701 | BORCHARD | 13. Object contact | Animal contact | 2023 | 66 | 104 | 143292
2023-09-14 | 129516002 | BACHELOR | 24. Other | All Other | 1912 | 116 | 671.0167 | 355322.3667
2023-09-14 | 129521435 | PICONI | 24. Other | All Other | 1705 | 135 | 507 | 89863
2023-09-14 | 129521747 | MAXSON | 24. Other | All Other | 8649 | 181 | 99 | 129188.1
2023-09-15 | 129523649 | LYONS | 24. Other | All Other | 2368 | 94 | 450 | 346839
2023-09-15 | 129523649 | POWELL | 24. Other | All Other | 23 | 180 | 18 | 414
2023-09-15 | 129524518 | TULLY | 24. Other | All Other | 1071 | 101 | 749 | 75629
2023-09-17 | 129532466 | RICARDO | 24. Other | All Other | 3466 | 93 | 139 | 92808
2023-09-17 | 129532890 | NAPOLEON | 23. Unknown | Unknown | 46 | 327 | 342 | 4032
2023-09-19 | 129539873 | SKINKLE | 14. Vegetation contact | Vegetation contact | 223 | 25 | 509 | 24939
2023-09-19 | 129541535 | TUBA | 23. Unknown | Unknown | 1172 | 69 | 159 | 55956
2023-09-22 | 129555993 | CAMPANULA | 13. Object contact | Animal contact | 301 | 211 | 74.3333 | 21347.6667
2023-09-22 | 129556007 | CALIBER | 13. Object contact | Land vehicle contact | 1495 | 163 | 232 | 132201
2023-09-23 | 129559959 | HORIZON | 13. Object contact | Land vehicle contact | 648 | 59 | 990 | 68466
2023-09-24 | 129562460 | WELCH | 13. Object contact | Land vehicle contact | 143 | 26 | 415 | 21162
2023-09-30 | 129590802 | KEWAMEE | 24. Other | All Other | 2246 | 74 | 441 | 186276
2023-09-30 | 129591883 | CROSSON | 13. Object contact | 3rd party contact | 1174 | 259 | 431 | 149727
2023-10-01 | 129595590 | AVENIDA | 13. Object contact | Animal contact | 1538 | 108 | 97 | 129908
2023-10-01 | 129595594 | DENTAL | 24. Other | All Other | 955 | 65 | 681 | 110809
2023-10-02 | 129601237 | MAXSON | 23. Unknown | Unknown | 3525 | 181 | 42 | 43538
2023-10-03 | 129603533 | INDEPENDENCE | 23. Unknown | Unknown | 2198 | 123 | 60 | 112098
2023-10-04 | 129610322 | ONBORD | 23. Unknown | Unknown | 1336 | 93 | 118 | 33062
2023-10-06 | 129621852 | GRANDAD | 15. Equipment / facility failure or damage | Connection device | 17 | 0 | 585 | 9945
2023-10-06 | 129623275 | DONLON | 23. Unknown | Unknown | 148 | 38 | 77 | 8568
2023-10-10 | 129642330 | LYONS | 24. Other | All Other | 2373 | 94 | 543 | 233748
2023-10-11 | 129647935 | CROSSON | 11. Dig-in | Dig-in | 6062 | 259 | 562 | 209960
2023-10-11 | 129650326 | ERIN | 23. Unknown | Unknown | 1913 | 144 | 74 | 51258
2023-10-13 | 129660029 | CADWAY | 13. Object contact | Animal contact | 4907 | 189 | 436 | 194928
2023-10-15 | 129667171 | BLUE CREST | 13. Object contact | Animal contact | 176 | 22 | 11 | 1936
2023-10-15 | 129667171 | CERAMIC | 13. Object contact | Animal contact | 378 | 27 | 121 | 45738
2023-10-15 | 129667171 | MECHANIC | 13. Object contact | Animal contact | 409 | 8 | 85 | 34765
2023-10-15 | 129667171 | METALLIC | 13. Object contact | Animal contact | 193 | 1 | 85 | 16405
2023-10-15 | 129667171 | OWENS | 13. Object contact | Animal contact | 22 | 1 | 154 | 2390
2023-10-15 | 129667171 | POLYMER | 13. Object contact | Animal contact | 29 | 3 | 121 | 3509
2023-10-15 | 129667171 | PORCELAIN | 13. Object contact | Animal contact | 80 | 10 | 121 | 9680
2023-10-15 | 129667171 | RETREAT | 13. Object contact | Animal contact | 555 | 51 | 85 | 47175
2023-10-15 | 129667171 | YORBA | 13. Object contact | Animal contact | 207 | 13 | 11 | 2277
2023-10-16 | 129695080 | ROCKHILL | 15. Equipment / facility failure or damage | Connection device | 547 | 178 | 457 | 72004
2023-10-16 | 129697987 | HARNAGE | 13. Object contact | Land vehicle contact | 1270 | 103 | 75 | 87825
2023-10-20 | 129714529 | AVENIDA | 13. Object contact | Animal contact | 1540 | 108 | 131 | 118456
2023-12-10 | 129946351 | GUITAR | 23. Unknown | Unknown | 239 | 2 | 264 | 47764
SCE notes the following caveats as it relates to the outage data above:
· Circuit segment impacted by outage: SCE’s outage data does not have a universally tracked definition of circuit segment and therefore this cannot be provided.
· Number of customers belonging to vulnerable populations impacted: SCE’s vulnerable customer data is tracked at the circuit level, and therefore SCE is not able to distinguish how many of that circuit’s vulnerable customers were impacted by each outage. Instead, SCE provides the entirety of the vulnerable population for each circuit for each outage.
· Response time to outage: SCE does not collect response times for all outages as crews are focused on customer restoration efforts rather than documentation of when they arrive.
· Distribution Outage ID: This is a unique identifier for each outage. In some cases, a Distribution Outage ID could be associated with more than one circuit due to, but not limited to the following: the impacted circuit(s) were fed from the same circuit that was the source of the outage; the circuits shared some of the same structures (e.g., overhead poles, underground vaults) and an outage on one circuit may have potentially impacted the other circuit; the circuit(s) may have been in an abnormal configuration that led to an outage impacting customers from multiple circuits; or the circuit(s) may have experienced an outage in an attempt to restore power via using multiple circuits to reduce customer outage duration.