## Overview
Spatial Data Status Report - v3 - Overview
Dataset | Feature Class or Table | Submitted (Yes/No) | Reason | Availability Explanation | Entire Feature/Table Confidential? (Yes/No) | Metadata Included (Yes/No)? | Metadata Absence Explanation | Data Procurement Actions | Estimated Delivery
Asset Point | Camera | No | Not able to provide | No installations in Q1 | No | No | No installations in Q1 | No installations in Q1 | N/A
| Connection Device | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Customer Meter | No | Not able to provide | Data not currently in GIS or available through the new ETL process | Yes | No | Data not included | Need to create new data process | 2024
| Fuse | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Lightning Arrester | No | Not able to provide | Data not currently in GIS or available through the new ETL process | Yes | No | Data not included | Physical Inventory would be required | 2024
| Substation | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Support Structure | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Support Structure Detail | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Switchgear | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Transformer Site | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Transformer Detail | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Weather Station | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
Asset Line | Transmission Line | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Transmission Line Detail | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Primary Distribution Line | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Secondary Distribution Line | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
PSPS Event | PSPS Event Log | No | Not relevant for the reporting quarter | No PSPS Data in Q1 | No | No | No PSPS Data in Q1 | N/A | N/A
| PSPS Event Line | No | Not relevant for the reporting quarter | No PSPS Data in Q1 | Yes | No | No PSPS Data in Q1 | N/A | N/A
| PSPS Event Polygon | No | Not relevant for the reporting quarter | No PSPS Data in Q1 | Yes | No | No PSPS Data in Q1 | N/A | N/A
| PSPS Event Customer Meter Point | No | Not relevant for the reporting quarter | No PSPS Data in Q1 | Yes | No | No PSPS Data in Q1 | N/A | N/A
| PSPS Event Damage Point | No | Not relevant for the reporting quarter | No PSPS Data in Q1 | No | No | No PSPS Data in Q1 | N/A | N/A
| PSPS Event Conductor Damage Detail | No | Not relevant for the reporting quarter | No PSPS Data in Q1 | Yes | No | No PSPS Data in Q1 | N/A | N/A
| PSPS Event Support Structure Damage Detail | No | Not relevant for the reporting quarter | No PSPS Data in Q1 | Yes | No | No PSPS Data in Q1 | N/A | N/A
| PSPS Event Other Asset Damage Detail | No | Not relevant for the reporting quarter | No PSPS Data in Q1 | Yes | No | No PSPS Data in Q1 | N/A | N/A
| PSPS Event Damage Photo Log | No | Not relevant for the reporting quarter | No PSPS Data in Q1 | No | No | No PSPS Data in Q1 | N/A | N/A
Risk Event | Wire Down Event | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Ignition | Yes |  | Included | Yes | Yes | Included | N/A - Included | N/A
| Unplanned Outage | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Risk Event Photo Log | No | Not able to provide | Do not have photos / data | Yes | No | No data included | Would need to add resources, tools, storage, and processes to include | 2024
Initiative | Vegetation Inspection Point | No | Not able to provide | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | No | No | No vegetation management point data to submit | N/A | N/A
| Vegetation Inspection Line | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Vegetation Inspection Polygon | No | Not able to provide | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | No | No | No vegetation management point data to submit | N/A | N/A
| Vegetation Management Project Point | No | Not able to provide | Not Currently in GIS or tracked this way | No | No | No Data Provided | N/A | N/A
| Vegetation Management Project Line | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Vegetation Management Project Polygon | No | Not able to provide | Not Currently in GIS or tracked this way | No | No | No vegetation management point data to submit | N/A | N/A
| Asset Inspection Point | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Asset Inspection Line | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Asset Inspection Polygon | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Grid Hardening Point | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Grid Hardening Line | Yes |  | Included | No | Yes | Included | N/A - Included | N/A
| Other Initiative Point | No | Not able to provide | No Other Initiatives | No | No | No Other Initiatives | No Other Initiatives | N/A
| Other Initiative Line | No | Not able to provide | No Other Initiatives | No | No | No Other Initiatives | No Other Initiatives | N/A
| Other Initiative Polygon | No | Not able to provide | No Other Initiatives | No | No | No Other Initiatives | No Other Initiatives | N/A
| Initiative Audit Point | No | Not able to provide | Data not currently in GIS or available through the new ETL process | No | No | Data not included | Need to create new data process | 2024
| Initiative Audit Line | No | Not able to provide | Data not currently in GIS or available through the new ETL process | No | No | Data not included | Need to create new data process | 2024
| Initiative Audit Polygon | No | Not able to provide | Data not currently in GIS or available through the new ETL process | No | No | Data not included | Need to create new data process | 2024
| Initiative Photo Log | No | Not able to provide | Photo capture is not part of standard procedure at this time - no photos available | No | No | No data submitted | Amend process to capture and store photos | 2024
Other Required Data | Other Power Line Connection Location | No | Not able to provide | Do not have the data in GIS | Yes | No | Data not included | Need to make improvemens to the ETL Process | 2024
| Critical Facility | No | Not able to provide | Do not have the data in GIS | Yes | No | Data not included | Need to make improvemens to the ETL Process | 2024
| Red Flag Warning Day Polygon | No | Not able to provide | Do not have the data in GIS | No | No | Data not included | Need to make improvemens to the ETL Process | 2024
| High Wind Warning Day Polygon | No | Not able to provide | Do not have the data in GIS | No | No | Data not included | Need to make improvemens to the ETL Process | 2024
| Administrative Area | No | Not able to provide | Do not have this data | No | No | Do not have this data | Do not have this data | N/A
| Major Woody Stem Exempt Tree Points | Yes |  | Included | No | Yes | Included | N/A - Included | N/A

## Reasons (hidden)
No change since last submission | Yes
Not able to provide | No
Not relevant for the reporting quarter

## Asset Point
Spatial Data Status Report - v3 - Asset Point
Field Name | Provided in Current Submission | Availability Explanation | Data Procurement Actions | Estimated Delivery | Confidential
Camera
Asset ID | No | No installations in Q1 | Yes | Yes | No
Support Structure ID | No | No installations in Q1 | Yes | Yes | No
Utility ID | No | No installations in Q1 | Yes | Yes | No
Camera Location Name | No | No installations in Q1 | Yes | Yes | No
HFTD Class | No | No installations in Q1 | Yes | Yes | No
Connection Device
Asset ID | Yes | Included | N/A - Included | N/A | Yes
From Structure ID | No | Do not have circuit span data | Rebuild data architecture | 2024 | Yes
To Structure ID | No | Do not have circuit span data | Rebuild data architecture | 2024 | Yes
Segment ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Circuit ID | Yes | Included | N/A - Included | N/A | Yes
Line Class | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Substation ID | Yes | Included | N/A - Included | N/A | Yes
Utility ID | Yes | Included | N/A - Included | N/A | Yes
Asset OH or UG | Yes | Included | N/A - Included | N/A | Yes
Connection Device Type | Yes | Included | N/A - Included | N/A | Yes
Connection Device Type Comment | Yes | Included | N/A - Included | N/A | Yes
Connection Device Subtype | Yes | Included | N/A - Included | N/A | Yes
Connection Device Subtype Comment | Yes | Included | N/A - Included | N/A | Yes
Associated Nominal Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Associated Operating Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Circuit Name | Yes | Included | N/A - Included | N/A | Yes
Manufacturer | Yes | Included | N/A - Included | N/A | Yes
Model Number | Yes | Included | N/A - Included | N/A | Yes
Last Inspection Date | Yes | Included | N/A - Included | N/A | Yes
Installation Date | Yes | Included | N/A - Included | N/A | Yes
Installation Year | Yes | Included | N/A - Included | N/A | Yes
Estimated Age | Yes | Included | N/A - Included | N/A | Yes
Useful Lifespan | Yes | Included | N/A - Included | N/A | Yes
HFTD Class | Yes | Included | N/A - Included | N/A | Yes
Customer Meter
Meter ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Utility ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Segment ID | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Circuit ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Substation ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Circuit Name | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Meter Type | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Manufacturer | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Model Number | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Installation Date | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Installation Year | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Estimated Age | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
HFTD Class | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Fuse
Asset ID | Yes | Included | N/A - Included | N/A | Yes
Support Structure ID | Yes | Included | N/A - Included | N/A | Yes
Utility ID | Yes | Included | N/A - Included | N/A | Yes
Substation ID | Yes | Included | N/A - Included | N/A | Yes
Segment ID | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Circuit ID | Yes | Included | N/A - Included | N/A | Yes
Associated Nominal Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
AssociatedOperatingVoltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Circuit Name | Yes | Included | N/A - Included | N/A | Yes
Last Inspection Date | Yes | Included | N/A - Included | N/A | Yes
Last Maintenance Date | Yes | Included | N/A - Included | N/A | Yes
Exemption Status | Yes | Included | N/A - Included | N/A | Yes
Fuse Rating (A) | Yes | Included | N/A - Included | N/A | Yes
Fuse Type | Yes | Included | N/A - Included | N/A | Yes
Fuse Type Comment | Yes | Included | N/A - Included | N/A | Yes
Fuse Subtype | Yes | Included | N/A - Included | N/A | Yes
HFTD Class | Yes | Included | N/A - Included | N/A | Yes
Lightning Arrester
Asset ID | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Support Structure ID | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Utility ID | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Substation ID | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Segment ID | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Circuit ID | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Associated Nominal Voltage (kV) | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Associated Operating Voltage (kV) | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Circuit Name | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Manufacturer | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Model Number | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Last Inspection Date | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Last Maintenance Date | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Installation Date | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Installation Year | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Estimated Age | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Useful Lifespan | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Exemption Status | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Arrester Rating (kV) | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
HFTD Class | No | Data not currently in GIS or available through the new ETL process | Physical Inventory would be required | 2024 | Yes
Substation
Substation ID | Yes | Included | N/A - Included | N/A | Yes
Utility ID | Yes | Included | N/A - Included | N/A | Yes
Substation Name | Yes | Included | N/A - Included | N/A | Yes
Substation Nominal Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Substation Operating Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Substation Rating | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Last Inspection Date | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Installation Date | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Installation Year | Yes | Included | N/A - Included | N/A | Yes
HFTD Class | Yes | Included | N/A - Included | N/A | Yes
Support Structure
Support Structure ID | Yes | Included | N/A - Included | N/A | Yes
Pole Number | Yes | Included | N/A - Included | N/A | Yes
Utility ID | Yes | Included | N/A - Included | N/A | Yes
Exemption Status | Yes | Included | N/A - Included | N/A | Yes
Last Inspection Date | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Last Maintenance Date | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Last Intrusive Date | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Installation Date | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Installation Year | Yes | Included | N/A - Included | N/A | Yes
Estimated Age | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Useful Lifespan | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Support Structure Type | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Support Structure Type Comment | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Support Structure Material | Yes | Included | N/A - Included | N/A | Yes
Support Structure Material Comment | Yes | Included | N/A - Included | N/A | Yes
Support Structure Material Subtype | Yes | Included | N/A - Included | N/A | Yes
Underbuild | Yes | Included | N/A - Included | N/A | Yes
Construction Grade | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Crossarm Attached | Yes | Included | N/A - Included | N/A | Yes
Overall Utility Risk | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Ignition Risk | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
PSPS Risk | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
HFTD Class | Yes | Included | N/A - Included | N/A | Yes
Support Structure Detail
Support Structure ID | Yes | Included | N/A - Included | N/A | Yes
Utility ID | Yes | Included | N/A - Included | N/A | Yes
Line Class | Yes | Included | N/A - Included | N/A | Yes
Segment ID | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Circuit ID | Yes | Included | N/A - Included | N/A | Yes
Switchgear
Asset ID | Yes | Included | N/A - Included | N/A | Yes
Support Structure ID | Yes | Included | N/A - Included | N/A | Yes
Utility ID | Yes | Included | N/A - Included | N/A | Yes
Substation ID | Yes | Included | N/A - Included | N/A | Yes
Segment ID | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Circuit ID | Yes | Included | N/A - Included | N/A | Yes
Circuit Name | Yes | Included | N/A - Included | N/A | Yes
Asset OH or UG | Yes | Included | N/A - Included | N/A | Yes
Associated Nominal Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Associated Operating Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Manufacturer | Yes | Included | N/A - Included | N/A | Yes
Model Number | Yes | Included | N/A - Included | N/A | Yes
Last Inspection Date | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Last Maintenance Date | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Installation Date | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Installation Year | Yes | Included | N/A - Included | N/A | Yes
Estimated Age | Yes | Included | N/A - Included | N/A | Yes
Useful Lifespan | Yes | Included | N/A - Included | N/A | Yes
Exemption Status | Yes | Included | N/A - Included | N/A | Yes
Current Rating (A) | Yes | Included | N/A - Included | N/A | Yes
Asset Class | Yes | Included | N/A - Included | N/A | Yes
SCADA Enabled | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Switchgear Type | Yes | Included | N/A - Included | N/A | Yes
Switchgear Type Comment | Yes | Included | N/A - Included | N/A | Yes
Switchgear Insulating Medium | Yes | Included | N/A - Included | N/A | Yes
HFTD Class | Yes | Included | N/A - Included | N/A | Yes
Transformer Site
Transformer Site ID | Yes | Included | N/A - Included | N/A | Yes
Support Structure ID | Yes | Included | N/A - Included | N/A | Yes
Utility ID | Yes | Included | N/A - Included | N/A | Yes
Asset Location | Yes | Included | N/A - Included | N/A | Yes
In a Bank | Yes | Included | N/A - Included | N/A | Yes
Quantity in Bank | Yes | Included | N/A - Included | N/A | Yes
HFTD Class | Yes | Included | N/A - Included | N/A | Yes
Transformer Detail
Asset ID | Yes | Included | N/A - Included | N/A | Yes
Transformer Site ID | Yes | Included | N/A - Included | N/A | Yes
Utility ID | Yes | Included | N/A - Included | N/A | Yes
Substation ID | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
High Side Segment ID | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Low Side Segment ID | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
High Side Line Class | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Low Side Line Class | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Circuit ID | Yes | Included | N/A - Included | N/A | Yes
Circuit Name | Yes | Included | N/A - Included | N/A | Yes
Number of Phases | Yes | Included | N/A - Included | N/A | Yes
Associated Nominal Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Associated Operating Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Manufacturer | Yes | Included | N/A - Included | N/A | Yes
Model Number | Yes | Included | N/A - Included | N/A | Yes
Last Inspection Date | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Last Maintenance Date | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Installation Date | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Installation Year | Yes | Included | N/A - Included | N/A | Yes
Estimated Age | Yes | Included | N/A - Included | N/A | Yes
Useful Lifespan | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Exemption Status | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | Yes
Transformer Rating (kVAs) | Yes | Included | N/A - Included | N/A | Yes
Weather Station
Station ID | Yes | Included | N/A - Included | N/A | No
Utility ID | Yes | Included | N/A - Included | N/A | No
Installation Date | Yes | Included | N/A - Included | N/A | No
Installation Year | Yes | Included | N/A - Included | N/A | No
Estimated Age | Yes | Included | N/A - Included | N/A | No
Last Inspection Date | No | Data not currently in GIS or available through the new ETL process | Improvements / Enhancement to the ETL process | 2024 | No
Weather Station URL | Yes | Included | N/A - Included | N/A | No
HFTD Class | Yes | Included | N/A - Included | N/A | No

## Asset Line
Spatial Data Status Report - v3 - Asset Line
Field Name | Provided in Current Submission | Availability Explanation | Data Procurement Actions | Estimated Delivery | Confidential
Transmission Line
Segment ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Circuit ID | Yes | Included | N/A - Included | N/A | Yes
Utility ID | Yes | Included | N/A - Included | N/A | Yes
Line Class | Yes | Included | N/A - Included | N/A | Yes
Circuit Name | Yes | Included | N/A - Included | N/A | Yes
Conductor Type | Yes | Included | N/A - Included | N/A | Yes
Conductor Type Comment | Yes | Included | N/A - Included | N/A | Yes
Asset OH or UG | Yes | Included | N/A - Included | N/A | Yes
Nominal Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Operating Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Conductor Material | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Conductor Material Comment | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Conductor Size | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Conductor Overall Diameter (inches) | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Last Inspection Date | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Last Maintenance Date | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Installation Date | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Installation Year | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Estimated Age | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Useful Lifespan | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Ampacity Rating (A) | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Greased | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Overall Utility Risk | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Ignition Risk | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
PSPS Risk | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Transmission Line Detail
Segment ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Circuit ID | Yes | Included | N/A - Included | N/A | Yes
Utility ID | Yes | Included | N/A - Included | N/A | Yes
Substation ID | Yes | Included | N/A - Included | N/A | Yes
Primary Distribution Line
Segment ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Circuit ID | Yes | Included | N/A - Included | N/A | Yes
Utility ID | Yes | Included | N/A - Included | N/A | Yes
Substation ID | Yes | Included | N/A - Included | N/A | Yes
Circuit Name | Yes | Included | N/A - Included | N/A | Yes
Conductor Type | Yes | Included | N/A - Included | N/A | Yes
Conductor Type Comment | Yes | Included | N/A - Included | N/A | Yes
Asset OH or UG | Yes | Included | N/A - Included | N/A | Yes
Nominal Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Operating Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Substation Name | Yes | Included | N/A - Included | N/A | Yes
Conductor Material | Yes | Included | N/A - Included | N/A | Yes
Conductor Material Comment | Yes | Included | N/A - Included | N/A | Yes
Conductor Size | Yes | Included | N/A - Included | N/A | Yes
Conductor Overall Diameter (inches) | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Last Inspection Date | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Last Maintenance Date | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Installation Date | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Installation Year | Yes | Included | N/A - Included | N/A | Yes
Estimated Age | Yes | Included | N/A - Included | N/A | Yes
Useful Lifespan | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Ampacity Rating (A) | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Greased | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Overall Utility Risk | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Ignition Risk | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
PSPS Risk | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Secondary Distribution Line
Segment ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Circuit ID | Yes | Included | N/A - Included | N/A | Yes
Utility ID | Yes | Included | N/A - Included | N/A | Yes
Substation ID | Yes | Included | N/A - Included | N/A | Yes
Circuit Name | Yes | Included | N/A - Included | N/A | Yes
Conductor Type | Yes | Included | N/A - Included | N/A | Yes
Conductor Type Comment | Yes | Included | N/A - Included | N/A | Yes
Asset OH or UG | Yes | Included | N/A - Included | N/A | Yes
Nominal Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Operating Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Substation Name | Yes | Included | N/A - Included | N/A | Yes
Conductor Material | Yes | Included | N/A - Included | N/A | Yes
Conductor Material Comment | Yes | Included | N/A - Included | N/A | Yes
Conductor Size | Yes | Included | N/A - Included | N/A | Yes
Conductor Overall Diameter (inches) | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Last Inspection Date | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Last Maintenance Date | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Installation Date | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Installation Year | Yes | Included | N/A - Included | N/A | Yes
Estimated Age | Yes | Included | N/A - Included | N/A | Yes
Useful Lifespan | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Ampacity Rating (A) | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Greased | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Overall Utility Risk | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Ignition Risk | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
PSPS Risk | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes

## PSPS Event
Spatial Data Status Report - v3 - PSPS Event
Field Name | Provided in Current Submission | Availability Explanation | Data Procurement Actions | Estimated Delivery | Confidential
PSPS Event Log
Event ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Utility ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
EOC Activation Date and Time | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Start Date and Time | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
All Clear Date and Time | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
All Load Up Date and Time | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Wind Risk | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Relative Humidity Risk | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Temperature Risk | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Vegetation Risk | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Asset Risk | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Dead Fuel Risk | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Live Fuel Risk | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Red Flag Warning Risk | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Other Risk | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Other Risk Reason | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
PSPS Event Line
PSPS Event Line ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Event ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Segment ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Circuit ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Line Class | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Substation ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Isolation Device ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Utility ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Isolation Device | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Isolation Device Comment | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Predicted Duration Minutes | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Actual Duration Minutes | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Duration Prediction Error | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Total Customer Minutes | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Total Customers | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Residential Customers | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Medical Baseline Customers | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Commercial Industrial Customers | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Other Customers | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Critical Infrastructure | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Critical Infrastructure Duration | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Critical Infrastructure Impact | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
PSPS Event Polygon
PSPS Event Polygon ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Event ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Segment ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Circuit ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Substation ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Isolation Device ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Utility ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Isolation Device | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Isolation Device Comment | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Predicted Duration Minutes | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Actual Duration Minutes | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Duration Prediction Error | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Total Customer Minutes | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Total Customers | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Residential Customers | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Medical Baseline Customers | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Commercial Industrial Customers | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Other Customers | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Critical Infrastructure | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Critical Infrastructure Duration | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Critical Infrastructure Impact | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
PSPS Event Customer Meter Point
PSPS Event Meter ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Event ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Meter ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Utility ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Meter Type | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Predicted Duration Minutes | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Actual Duration Minutes | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
HFTD Class | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
PSPS Event Damage Point
Damage Event ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Event ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Utility ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Number of Related Records | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Damage Date and Time | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Fuel Bed Description | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Fuel Bed Description Comment | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
HFTD Class | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
PSPS Event Conductor Damage Detail
PSPS Conductor Damage ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Damage Event ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Utility ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Line Class | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Segment ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Circuit ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
From Device ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
To Device ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Substation ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Nominal Voltage (kV) | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Operating Voltage (kV) | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Conductor Material | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Conductor Material Comment | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Conductor Type | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Conductor Type Comment | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Conductor Length (feet) | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Failed Equipment Description | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Cause | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Cause Comment | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Object Contact | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Object Contact Comment | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Likely Arcing | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
VM Inspection Date | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Vegetation Genus | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Vegetation Species | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Vegetation Common Name | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Tree Height (feet) | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Tree Diameter (inches) | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Tree Trunk Distance (feet) | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
PSPS Event Support Structure Damage Detail
PSPS Support Structure ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Damage Event ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Utility ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Support Structure ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Asset | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Asset Comment | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Cause | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Cause Comment | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Object Contact | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Object Contact Comment | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Associated Nominal Voltage (kV) | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Associated Operating Voltage (kV) | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Support Structure Material | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Material Comment | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Likely Arcing | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Damage Description | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Damage Description Comment | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
VM Inspection Date | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Vegetation Genus | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Vegetation Species | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Vegetation Common Name | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Tree Height (feet) | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Tree Diameter (inches) | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Tree Trunk Distance (feet) | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
PSPS Event Other Asset Damage Detail
PSPS Other Asset Damage ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Damage Event ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Utility ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Asset | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Asset ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Asset Feature | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Line Class | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Segment ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Circuit ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Cause | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Cause Comment | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Object Contact | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Object Contact Comment | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Associated Nominal Voltage (kV) | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Associated Operating Voltage (kV) | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Manufacturer Model ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Exemption Status | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Likely Arcing | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
VM Inspection Date | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Vegetation Genus | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Vegetation Species | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Vegetation Common Name | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Tree Height (feet) | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Tree Diameter (inches) | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
Tree Trunk Distance (feet) | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | Yes
PSPS Event Damage Photo Log
Damaged Asset Photo ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Utility ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Fuel Bed Photo ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No
Damage Event ID | No | No PSPS Data in Q1 | No PSPS Data in Q1 | N/A | No

## Risk Event
Spatial Data Status Report - v3 - Risk Event
Field Name | Provided in Current Submission | Availability Explanation | Data Procurement Actions | Estimated Delivery | Confidential
Wire Down Event
Wire Down ID | Yes | Included | N/A - Included | N/A | Yes
Utility ID | Yes | Included | N/A - Included | N/A | Yes
Outage Status | Yes | Included | N/A - Included | N/A | Yes
Transmission Outage ID | Yes | Included | N/A - Included | N/A | Yes
Asset ID | Yes | Included | N/A - Included | N/A | Yes
Asset Feature | Yes | Included | N/A - Included | N/A | Yes
Segment ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Circuit ID | Yes | Included | N/A - Included | N/A | Yes
Line Class | Yes | Included | N/A - Included | N/A | Yes
Wire Down Date | Yes | Included | N/A - Included | N/A | Yes
Wire Down Year | Yes | Included | N/A - Included | N/A | Yes
Cause | Yes | Included | N/A - Included | N/A | Yes
Cause Comment | Yes | Included | N/A - Included | N/A | Yes
Object Contact | Yes | Included | N/A - Included | N/A | Yes
Object Contact Comment | Yes | Included | N/A - Included | N/A | Yes
Equipment Failure | Yes | Included | N/A - Included | N/A | Yes
Equipment Failure Comment | Yes | Included | N/A - Included | N/A | Yes
Facility Contacted | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Facility Contacted Comment | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Vegetation Genus | Yes | Included | N/A - Included | N/A | Yes
Vegetation Species | Yes | Included | N/A - Included | N/A | Yes
Vegetation Common Name | Yes | Included | N/A - Included | N/A | Yes
Associated Nominal Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Associated Operating Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Span Length (feet) | Yes | Included | N/A - Included | N/A | Yes
Total Splices | Yes | Included | N/A - Included | N/A | Yes
Maximum Splices | Yes | Included | N/A - Included | N/A | Yes
Multiple Down | Yes | Included | N/A - Included | N/A | Yes
Conductor Material | Yes | Included | N/A - Included | N/A | Yes
Conductor Material Comment | Yes | Included | N/A - Included | N/A | Yes
Conductor Size | Yes | Included | N/A - Included | N/A | Yes
Conductor Overall Diameter (inches) | Yes | Included | N/A - Included | N/A | Yes
Conductor Rating | Yes | Included | N/A - Included | N/A | Yes
Energized | Yes | Included | N/A - Included | N/A | Yes
Ignition Status | Yes | Included | N/A - Included | N/A | Yes
Ignition ID | Yes | Included | N/A - Included | N/A | Yes
Wire Down Notes | Yes | Included | N/A - Included | N/A | Yes
HFTD Class | Yes | Included | N/A - Included | N/A | Yes
Ignition
Ignition ID | Yes | Included | N/A - Included | N/A | Yes
Utility ID | Yes | Included | N/A - Included | N/A | Yes
Substation ID | Yes | Included | N/A - Included | N/A | Yes
Nearest Weather Station ID | Yes | Included | N/A - Included | N/A | Yes
Outage ID | Yes | Included | N/A - Included | N/A | Yes
Outage Status | Yes | Included | N/A - Included | N/A | Yes
Fire Start Date and Time | Yes | Included | N/A - Included | N/A | Yes
Fire Start Year | Yes | Included | N/A - Included | N/A | Yes
Fire Detection Method | Yes | Included | N/A - Included | N/A | Yes
Fire Detection Method Comment | Yes | Included | N/A - Included | N/A | Yes
Suspected Initiating Cause | Yes | Included | N/A - Included | N/A | Yes
Suspected Initiating Cause Comment | Yes | Included | N/A - Included | N/A | Yes
Object Contact | Yes | Included | N/A - Included | N/A | Yes
Object Contact Comment | Yes | Included | N/A - Included | N/A | Yes
Vegetation Genus | No | Data not available in Q1 | Need to create new data process | 2024 | Yes
Vegetation Species | No | Data not available in Q1 | Need to create new data process | 2024 | Yes
Vegetation Common Name | No | Data not available in Q1 | Need to create new data process | 2024 | Yes
Equipment Failure | Yes | Included | N/A - Included | N/A | Yes
Equipment Failure Comment | Yes | Included | N/A - Included | N/A | Yes
Associated Nominal Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Associated Operating Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Other Companies | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Equipment Type | Yes | Included | N/A - Included | N/A | Yes
Determination | Yes | Included | N/A - Included | N/A | Yes
Determination Comment | Yes | Included | N/A - Included | N/A | Yes
Facility Contacted | Yes | Included | N/A - Included | N/A | Yes
Facility Contacted Comment | Yes | Included | N/A - Included | N/A | Yes
Asset ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Asset Feature | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Segment ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Circuit ID | Yes | Included | N/A - Included | N/A | Yes
Line Class | Yes | Included | N/A - Included | N/A | Yes
Contributing Factor | No | Data not available in Q1 | Need to create new data process | 2024 | Yes
Contributing Factor Comment | No | Data not available in Q1 | Need to create new data process | 2024 | Yes
Red Flag Warning Status | No | Data not available in Q1 | Need to create new data process | 2024 | Yes
Red Flag Warning Issue Date and Time | No | Data not available in Q1 | Need to create new data process | 2024 | Yes
Fire Weather Watch Status | No | Data not available in Q1 | Need to create new data process | 2024 | Yes
Fire Weather Watch Issue Date and Time | No | Data not available in Q1 | Need to create new data process | 2024 | Yes
High Wind Warning Status | No | Data not available in Q1 | Need to create new data process | 2024 | Yes
High Wind Warning Issue Date and Time | No | Data not available in Q1 | Need to create new data process | 2024 | Yes
Origin Land Use | Yes | Included | N/A - Included | N/A | Yes
Material At Origin | Yes | Included | N/A - Included | N/A | Yes
Material At Origin Comment | Yes | Included | N/A - Included | N/A | Yes
Fuel Bed Description | No | Data not available in Q1 | Need to create new data process | 2024 | Yes
Fuel Bed Description Comment | No | Data not available in Q1 | Need to create new data process | 2024 | Yes
Fire Size | Yes | Included | N/A - Included | N/A | Yes
Suppressed By | Yes | Included | N/A - Included | N/A | Yes
Suppressing Agency | Yes | Included | N/A - Included | N/A | Yes
Fire Investigation | No | Data not available in Q1 | Need to create new data process | 2024 | Yes
Fire Authority Having Jurisdiction | No | Data not available in Q1 | Need to create new data process | 2024 | Yes
Ignition Notes | No | Data not available in Q1 | Need to create new data process | 2024 | Yes
HFTD Class | Yes | Included | N/A - Included | N/A | Yes
Latitude | Yes | Included | N/A - Included | N/A | Yes
Longitude | Yes | Included | N/A - Included | N/A | Yes
Unplanned Outage
Outage ID | Yes | Included | N/A - Included | N/A | Yes
Outage Class | Yes | Included | N/A - Included | N/A | Yes
Utility ID | Yes | Included | N/A - Included | N/A | Yes
Substation ID | Yes | Included | N/A - Included | N/A | Yes
Basic Cause | Yes | Included | N/A - Included | N/A | Yes
Basic Cause Comment | Yes | Included | N/A - Included | N/A | Yes
Basic Cause Object | Yes | Included | N/A - Included | N/A | Yes
Basic Cause Object Comment | Yes | Included | N/A - Included | N/A | Yes
Facility Contacted | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Facility Contacted Comment | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Equipment Failure | Yes | Included | N/A - Included | N/A | Yes
Equipment Failure Comment | Yes | Included | N/A - Included | N/A | Yes
Asset ID | Yes | Included | N/A - Included | N/A | Yes
Asset Feature | Yes | Included | N/A - Included | N/A | Yes
Segment ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Circuit ID | Yes | Included | N/A - Included | N/A | Yes
Line Class | Yes | Included | N/A - Included | N/A | Yes
Expulsion Fuse Operation | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Outage Description | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Event Year | Yes | Included | N/A - Included | N/A | Yes
Outage Start Date and Time | Yes | Included | N/A - Included | N/A | Yes
Outage End Date and Time | Yes | Included | N/A - Included | N/A | Yes
Outage Duration | Yes | Included | N/A - Included | N/A | Yes
Total Customer-Minutes Interrupted | Yes | Included | N/A - Included | N/A | Yes
Customers Out Momentary | Yes | Included | N/A - Included | N/A | Yes
Customers Out Sustained | Yes | Included | N/A - Included | N/A | Yes
Customer Count | Yes | Included | N/A - Included | N/A | Yes
Outage Interval | Yes | Included | N/A - Included | N/A | Yes
Outage Interval Alternative Definition | Yes | Included | N/A - Included | N/A | Yes
Associated Nominal Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Associated Operating Voltage (kV) | Yes | Included | N/A - Included | N/A | Yes
Other Companies | Yes | Included | N/A - Included | N/A | Yes
Recloser Setting | Yes | Included | N/A - Included | N/A | Yes
Rapid Fault Setting | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | Yes
Isolation Device Type | Yes | Included | N/A - Included | N/A | Yes
Isolation Device Type Comment | Yes | Included | N/A - Included | N/A | Yes
Major Event Day | Yes | Included | N/A - Included | N/A | Yes
Location or Address | Yes | Included | N/A - Included | N/A | Yes
HFTD Class | Yes | Included | N/A - Included | N/A | Yes
VM Outage Description | No | Data not available in Q1 | Need to create new data process | 2024 | No
VM Inspection Date | No | Data not available in Q1 | Need to create new data process | 2024 | No
Vegetation Genus | No | Data not available in Q1 | Need to create new data process | 2024 | No
Vegetation Species | No | Data not available in Q1 | Need to create new data process | 2024 | No
Vegetation Common Name | No | Data not available in Q1 | Need to create new data process | 2024 | No
Tree Height (feet) | No | Data not available in Q1 | Need to create new data process | 2024 | No
Tree Diameter (inches) | No | Data not available in Q1 | Need to create new data process | 2024 | No
Tree Trunk Distance (feet) | No | Data not available in Q1 | Need to create new data process | 2024 | No
RFW Day | Yes | Included | N/A - Included | N/A | No
Risk Event Photo Log
Photo ID | No | Do not have photos / data | Would need to add resources, tools, storage, and processes to include | 2024 | No
Utility ID | No | Do not have photos / data | Would need to add resources, tools, storage, and processes to include | 2024 | No
Ignition ID | No | Do not have photos / data | Would need to add resources, tools, storage, and processes to include | 2024 | No
Wire Down ID | No | Do not have photos / data | Would need to add resources, tools, storage, and processes to include | 2024 | Yes

## Initiative
Spatial Data Status Report - v3 - Initiative
Field Name | Provided in Current Submission | Availability Explanation | Data Procurement Actions | Estimated Delivery | Confidential?
Vegetation Inspection Point
VMI ID | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Utility ID | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Utility Initiative Tracking ID | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Initiative Class | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Asset ID | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Asset Feature | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Segment ID | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Circuit ID | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Line Class | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Inspection Location or Address | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Parcel APN | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Vegetation Genus | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Vegetation Species | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Vegetation Common Name | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Tree Height (feet) | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Tree Diameter (inches) | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Tree Distance (feet) | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Danger Tree | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
WMP Initiative Activity | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Inspection Program Name | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
WMP Section | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
WMP Page Number | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Inspection Status | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Initiative Target | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Quarterly Progress | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Cumulative Progress | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Initiative Target Units | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Change Order | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Change Order Date | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Change Order Type | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Change Order Type Comment | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Inspection Start Date | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Inspection End Date | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Performed By | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Performed By Comment | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Commercial Harvest | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Tree Trim Count | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Tree Removal Count | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Inspection Comment | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Inspection Method | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Inspection Method Comment | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Data Capture Sensor Type | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Data Capture Sensor Type | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
HFTD Class | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Vegetation Inspection Line
VMI ID | Yes | Included | N/A - Included | N/A | No
Utility ID | Yes | Included | N/A - Included | N/A | No
Utility Initiative Tracking ID | Yes | Included | N/A - Included | N/A | No
Initiative Class | Yes | Included | N/A - Included | N/A | No
Segment ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | No
Circuit ID | Yes | Included | N/A - Included | N/A | No
Line Class | Yes | Included | N/A - Included | N/A | No
Inspection Location or Address | Yes | Included | N/A - Included | N/A | No
WMP Initiative Activity | Yes | Included | N/A - Included | N/A | No
Inspection Program Name | Yes | Included | N/A - Included | N/A | No
WMP Section | Yes | Included | N/A - Included | N/A | No
WMP Page Number | Yes | Included | N/A - Included | N/A | No
Inspection Status | Yes | Included | N/A - Included | N/A | No
Initiative Target | Yes | Included | N/A - Included | N/A | No
Quarterly Progress | Yes | Included | N/A - Included | N/A | No
Cumulative Progress | Yes | Included | N/A - Included | N/A | No
Initiative Target Units | Yes | Included | N/A - Included | N/A | No
Change Order | Yes | Included | N/A - Included | N/A | No
Change Order Date | Yes | Included | N/A - Included | N/A | No
Change Order Type | Yes | Included | N/A - Included | N/A | No
Change Order Type Comment | Yes | Included | N/A - Included | N/A | No
Inspection Start Date | Yes | Included | N/A - Included | N/A | No
Inspection End Date | Yes | Included | N/A - Included | N/A | No
Performed By | Yes | Included | N/A - Included | N/A | No
Performed By Comment | Yes | Included | N/A - Included | N/A | No
Commercial Harvest | Yes | Included | N/A - Included | N/A | No
Tree Trim Count | Yes | Included | N/A - Included | N/A | No
Tree Removal Count | Yes | Included | N/A - Included | N/A | No
Inspection Comment | Yes | Included | N/A - Included | N/A | No
Inspection Method | Yes | Included | N/A - Included | N/A | No
Inspection Method Comment | Yes | Included | N/A - Included | N/A | No
Data Capture Sensor Type | Yes | Included | N/A - Included | N/A | No
Data Capture Sensor Type | Yes | Included | N/A - Included | N/A | No
HFTD Class | Yes | Included | N/A - Included | N/A | No
HFTD Class Comment | Yes | Included | N/A - Included | N/A | No
Vegetation Inspection Polygon
VMI ID | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Utility ID | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Utility Initiative Tracking ID | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Initiative Class | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Segment ID | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Circuit ID | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Line Class | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Asset ID | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Asset Feature | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Inspection Location Or Address | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
WMP Initiative Activity | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Inspection Program Name | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
WMP Section | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
WMP Page Number | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Inspection Status | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Initiative Target | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Quarterly Progress | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Cumulative Progress | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Initiative Target Units | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Change Order | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Change Order Date | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Change Order Type | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Change Order Type Comment | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Inspection Start Date | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Inspection End Date | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Performed By | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Performed By Comment | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Commercial Harvest | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Tree Trim Count | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Tree Removal Count | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Inspection Comment | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Inspection Method | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Inspection Method Comment | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
| No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
| No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
HFTD Class | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
HFTD Class Comment | No | Vegetation management inspections are managed "line-based" and therefore no point data will be submitted | N/A | N/A | No
Vegetation Management Project Point
VMP ID | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Utility ID | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Utility Initiative Tracking ID | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Initiative Class | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Asset ID | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Asset Feature | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Segment ID | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Circuit ID | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Line Class | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Project Location or Address | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Parcel APN | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Tree ID | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Vegetation Genus | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Vegetation Species | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Vegetation Common Name | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Species Growth Rate | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Tree Height (feet) | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Tree Diameter (inches) | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Danger Tree | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Radial Clearance Distance | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Line Deenergized? | No | Not Currently in GIS or tracked this way | N/A | N/A | No
WMP Initiative Activity | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Program Name | No | Not Currently in GIS or tracked this way | N/A | N/A | No
WMP Section | No | Not Currently in GIS or tracked this way | N/A | N/A | No
WMP Page Number | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Vegetation Management Project Status | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Herbicide Use | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Herbicide Name | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Initiative Target | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Quarterly Progress | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Cumulative Progress | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Initiative Target Units | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Change Order | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Change Order Date | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Change Order Type | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Change Order Type Comment | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Description of Work | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Start Date | No | Not Currently in GIS or tracked this way | N/A | N/A | No
End Date | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Coastal Redwood Exemption | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Encroach Permit | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Environmental Permit | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Environmental Permit Project | No | Not Currently in GIS or tracked this way | N/A | N/A | No
CAL FIRE Harvest Document Number | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Other Environmental Permit Documentation | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Commercial Harvest | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Slash Management | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Slash Management Comments | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Tree Trim Count Planned | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Tree Removal Count Planned | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Tree Trim Count Actual | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Tree Removal Count Actual | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Wood Destination | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Wood Destination Comment | No | Not Currently in GIS or tracked this way | N/A | N/A | No
HFTD Class | No | Not Currently in GIS or tracked this way | N/A | N/A | No
Vegetation Management Project Line
VMP ID | Yes | Included | N/A - Included | N/A | No
Utility ID | Yes | Included | N/A - Included | N/A | No
Utility Initiative Tracking ID | Yes | Included | N/A - Included | N/A | No
Initiative Class | Yes | Included | N/A - Included | N/A | No
Segment ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | No
Circuit ID | Yes | Included | N/A - Included | N/A | No
Line Class | Yes | Included | N/A - Included | N/A | No
Project Location Or Address | Yes | Included | N/A - Included | N/A | No
Radial Clearance Distance | Yes | Included | N/A - Included | N/A | No
Line Deenergized? | Yes | Included | N/A - Included | N/A | No
WMP Initiative Activity | Yes | Included | N/A - Included | N/A | No
Program Name | Yes | Included | N/A - Included | N/A | No
WMP Section | Yes | Included | N/A - Included | N/A | No
WMP Page Number | Yes | Included | N/A - Included | N/A | No
Vegetation Management Project Status | Yes | Included | N/A - Included | N/A | No
Herbicide Use | Yes | Included | N/A - Included | N/A | No
Herbicide Name | Yes | Included | N/A - Included | N/A | No
Initiative Target | Yes | Included | N/A - Included | N/A | No
Quarterly Progress | Yes | Included | N/A - Included | N/A | No
Cumulative Progress | Yes | Included | N/A - Included | N/A | No
Initiative Target Units | Yes | Included | N/A - Included | N/A | No
Change Order | Yes | Included | N/A - Included | N/A | No
Change Order Date | Yes | Included | N/A - Included | N/A | No
Change Order Type | Yes | Included | N/A - Included | N/A | No
Change Order Type Comment | Yes | Included | N/A - Included | N/A | No
Description of Work | Yes | Included | N/A - Included | N/A | No
Start Date | Yes | Included | N/A - Included | N/A | No
End Date | Yes | Included | N/A - Included | N/A | No
Coastal Redwood Exemption | Yes | Included | N/A - Included | N/A | No
Encroach Permit | Yes | Included | N/A - Included | N/A | No
Environmental Permit | Yes | Included | N/A - Included | N/A | No
Environmental Permit Project | Yes | Included | N/A - Included | N/A | No
CAL FIRE Harvest Document Number | Yes | Included | N/A - Included | N/A | No
Other Environmental Permit Documentation | Yes | Included | N/A - Included | N/A | No
Commercial Harvest | Yes | Included | N/A - Included | N/A | No
Slash Management | Yes | Included | N/A - Included | N/A | No
Slash Management Comments | Yes | Included | N/A - Included | N/A | No
Tree Trim Count Planned | Yes | Included | N/A - Included | N/A | No
Tree Removal Count Planned | Yes | Included | N/A - Included | N/A | No
Tree Trim Count Actual | Yes | Included | N/A - Included | N/A | No
Tree Removal Count Actual | Yes | Included | N/A - Included | N/A | No
Wood Destination | Yes | Included | N/A - Included | N/A | No
Wood Destination Comment | Yes | Included | N/A - Included | N/A | No
HFTD Class | Yes | Included | N/A - Included | N/A | No
HFTD Class Comment | Yes | Included | N/A - Included | N/A | No
Vegetation Management Project Polygon
VMP ID | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Utility ID | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Utility Initiative Tracking ID | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Initiative Class | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Segment ID | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Circuit ID | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Line Class | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Project Location Or Address | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Line Deenergized? | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
WMP Initiative Activity | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Program Name | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
WMP Section | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
WMP Page Number | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Vegetation Management Project Status | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Herbicide Use | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Herbicide Name | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Initiative Target | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Quarterly Progress | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Cumulative Progress | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Initiative Target Units | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Change Order | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Change Order Date | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Change Order Type | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Change Order Type Comment | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Description of Work | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Start Date | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
End Date | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Coastal Redwood Exemption | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Encroach Permit | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Environmental Permit | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Environmental Permit Project | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
CAL FIRE Harvest Document Number | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Other Environmental Permit Documentation | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Commercial Harvest | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Slash Management | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Slash Management Comments | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Tree Trim Count Planned | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Tree Trim Acreage Planned | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Tree Removal Count Planned | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Tree Removal Acreage Planned | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Tree Trim Count Actual | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Tree Trim Acreage Actual | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Tree Removal Count Actual | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Tree Removal Acreage Actual | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Wood Destination | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Wood Destination Comment | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
HFTD Class | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
HFTD Class Comment | No | Vegetation management projects are managed "line-based" and therefore no polygon data will be submitted | N/A | N/A | No
Asset Inspection Point
AI ID | Yes | Included | N/A - Included | N/A | No
Utility ID | Yes | Included | N/A - Included | N/A | No
Utility Initiative Tracking ID | Yes | Included | N/A - Included | N/A | No
Initiative Class | Yes | Included | N/A - Included | N/A | No
Asset ID | Yes | Included | N/A - Included | N/A | No
Asset Feature | Yes | Included | N/A - Included | N/A | No
Segment ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | No
Circuit ID | Yes | Included | N/A - Included | N/A | No
Line Class | Yes | Included | N/A - Included | N/A | No
Inspection Location Or Address | Yes | Included | N/A - Included | N/A | No
Parcel APN | Yes | Included | N/A - Included | N/A | No
WMP Initiative Activity | Yes | Included | N/A - Included | N/A | No
Inspection Program Name | Yes | Included | N/A - Included | N/A | No
WMP Section | Yes | Included | N/A - Included | N/A | No
WMP Page Number | Yes | Included | N/A - Included | N/A | No
Inspection Status | Yes | Included | N/A - Included | N/A | No
Initiative Target | Yes | Included | N/A - Included | N/A | No
Quarterly Progress | Yes | Included | N/A - Included | N/A | No
Cumulative Progress | Yes | Included | N/A - Included | N/A | No
Initiative Target Units | Yes | Included | N/A - Included | N/A | No
Change Order | Yes | Included | N/A - Included | N/A | No
Change Order Date | Yes | Included | N/A - Included | N/A | No
Change Order Type | Yes | Included | N/A - Included | N/A | No
Change Order Type Comment | Yes | Included | N/A - Included | N/A | No
Inspection Start Date | Yes | Included | N/A - Included | N/A | No
Inspection End Date | Yes | Included | N/A - Included | N/A | No
Performed By | Yes | Included | N/A - Included | N/A | No
Performed By Comment | Yes | Included | N/A - Included | N/A | No
Inspection Comment | Yes | Included | N/A - Included | N/A | No
Level 1 Findings | Yes | Included | N/A - Included | N/A | No
Level 2 Findings | Yes | Included | N/A - Included | N/A | No
Level 3 Findings | Yes | Included | N/A - Included | N/A | No
Inspection Method | Yes | Included | N/A - Included | N/A | No
Inspection Method Comment | Yes | Included | N/A - Included | N/A | No
Data Capture Sensor Type | Yes | Included | N/A - Included | N/A | No
Data Capture Sensor Type | Yes | Included | N/A - Included | N/A | No
HFTD Class | Yes | Included | N/A - Included | N/A | No
Asset Inspection Line
AI ID | Yes | Included | N/A - Included | N/A | No
Utility ID | Yes | Included | N/A - Included | N/A | No
Utility Initiative Tracking ID | Yes | Included | N/A - Included | N/A | No
Initiative Class | Yes | Included | N/A - Included | N/A | No
Segment ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | No
Circuit ID | Yes | Included | N/A - Included | N/A | No
Line Class | Yes | Included | N/A - Included | N/A | No
Inspection Location Or Address | Yes | Included | N/A - Included | N/A | No
WMP Initiative Activity | Yes | Included | N/A - Included | N/A | No
Inspection Program Name | Yes | Included | N/A - Included | N/A | No
WMP Section | Yes | Included | N/A - Included | N/A | No
WMP Page Number | Yes | Included | N/A - Included | N/A | No
Inspection Status | Yes | Included | N/A - Included | N/A | No
Initiative Target | Yes | Included | N/A - Included | N/A | No
Quarterly Progress | Yes | Included | N/A - Included | N/A | No
Cumulative Progress | Yes | Included | N/A - Included | N/A | No
Initiative Target Units | Yes | Included | N/A - Included | N/A | No
Change Order | Yes | Included | N/A - Included | N/A | No
Change Order Date | Yes | Included | N/A - Included | N/A | No
Change Order Type | Yes | Included | N/A - Included | N/A | No
Change Order Type Comment | Yes | Included | N/A - Included | N/A | No
Inspection Start Date | Yes | Included | N/A - Included | N/A | No
Inspection End Date | Yes | Included | N/A - Included | N/A | No
Performed By | Yes | Included | N/A - Included | N/A | No
Performed By Comment | Yes | Included | N/A - Included | N/A | No
Inspection Comment | Yes | Included | N/A - Included | N/A | No
Level 1 Findings | Yes | Included | N/A - Included | N/A | No
Level 2 Findings | Yes | Included | N/A - Included | N/A | No
Level 3 Findings | Yes | Included | N/A - Included | N/A | No
Inspection Method | Yes | Included | N/A - Included | N/A | No
Inspection Method Comment | Yes | Included | N/A - Included | N/A | No
Data Capture Sensor Type | Yes | Included | N/A - Included | N/A | No
Data Capture Sensor Type | Yes | Included | N/A - Included | N/A | No
HFTD Class | Yes | Included | N/A - Included | N/A | No
HFTD Class Comment | Yes | Included | N/A - Included | N/A | No
Asset Inspection Polygon
AI ID | Yes | Included | N/A - Included | N/A | No
Utility ID | Yes | Included | N/A - Included | N/A | No
Utility Initiative Tracking ID | Yes | Included | N/A - Included | N/A | No
Initiative Class | Yes | Included | N/A - Included | N/A | No
Asset ID | Yes | Included | N/A - Included | N/A | No
Asset Feature | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | No
Segment ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | No
Circuit ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | No
Line Class | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | No
WMP Initiative Activity | Yes | Included | N/A - Included | N/A | No
Inspection Program Name | Yes | Included | N/A - Included | N/A | No
WMP Section | Yes | Included | N/A - Included | N/A | No
WMP Page Number | Yes | Included | N/A - Included | N/A | No
Inspection Status | Yes | Included | N/A - Included | N/A | No
Initiative Target | Yes | Included | N/A - Included | N/A | No
Quarterly Progress | Yes | Included | N/A - Included | N/A | No
Cumulative Progress | Yes | Included | N/A - Included | N/A | No
Initiative Target Units | Yes | Included | N/A - Included | N/A | No
Change Order | Yes | Included | N/A - Included | N/A | No
Change Order Date | Yes | Included | N/A - Included | N/A | No
Change Order Type | Yes | Included | N/A - Included | N/A | No
Change Order Type Comment | Yes | Included | N/A - Included | N/A | No
Inspection Start Date | Yes | Included | N/A - Included | N/A | No
Inspection End Date | Yes | Included | N/A - Included | N/A | No
Performed By | Yes | Included | N/A - Included | N/A | No
Performed By Comment | Yes | Included | N/A - Included | N/A | No
Inspection Comment | Yes | Included | N/A - Included | N/A | No
Level 1 Findings | Yes | Included | N/A - Included | N/A | No
Level 2 Findings | Yes | Included | N/A - Included | N/A | No
Level 3 Findings | Yes | Included | N/A - Included | N/A | No
Inspection Method | Yes | Included | N/A - Included | N/A | No
Inspection Method Comment | Yes | Included | N/A - Included | N/A | No
Data Capture Sensor Type | Yes | Included | N/A - Included | N/A | No
Data Capture Sensor Type | Yes | Included | N/A - Included | N/A | No
HFTD Class | Yes | Included | N/A - Included | N/A | No
HFTD Class Comment | Yes | Included | N/A - Included | N/A | No
Grid Hardening Point
GH ID | Yes | Included | N/A - Included | N/A | No
Asset OH or UG | Yes | Included | N/A - Included | N/A | No
Utility ID | Yes | Included | N/A - Included | N/A | No
Utility Initiative Tracking ID | Yes | Included | N/A - Included | N/A | No
Asset ID | Yes | Included | N/A - Included | N/A | No
Asset Feature | Yes | Included | N/A - Included | N/A | No
Segment ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | No
Circuit ID | Yes | Included | N/A - Included | N/A | No
Line Class | Yes | Included | N/A - Included | N/A | No
Grid Hardening Location Or Address | Yes | Included | N/A - Included | N/A | No
Parcel APN | Yes | Included | N/A - Included | N/A | No
WMP Initiative Activity | Yes | Included | N/A - Included | N/A | No
Program Name | Yes | Included | N/A - Included | N/A | No
WMP Section | Yes | Included | N/A - Included | N/A | No
WMP Page Number | Yes | Included | N/A - Included | N/A | No
Description of Work | Yes | Included | N/A - Included | N/A | No
GH Status | Yes | Included | N/A - Included | N/A | No
Initiative Target | Yes | Included | N/A - Included | N/A | No
Quarterly Progress | Yes | Included | N/A - Included | N/A | No
Cumulative Progress | Yes | Included | N/A - Included | N/A | No
Initiative Target Units | Yes | Included | N/A - Included | N/A | No
Change Order | Yes | Included | N/A - Included | N/A | No
Change Order Date | Yes | Included | N/A - Included | N/A | No
Change Order Type | Yes | Included | N/A - Included | N/A | No
Change Order Type Comment | Yes | Included | N/A - Included | N/A | No
Date Start | Yes | Included | N/A - Included | N/A | No
Date End | Yes | Included | N/A - Included | N/A | No
Line Deenergized | Yes | Included | N/A - Included | N/A | No
Performed By | Yes | Included | N/A - Included | N/A | No
Performed By Comment | Yes | Included | N/A - Included | N/A | No
HFTD Class | Yes | Included | N/A - Included | N/A | No
Grid Hardening Line
GH ID | Yes | Included | N/A - Included | N/A | No
Asset OH or UG | Yes | Included | N/A - Included | N/A | No
Utility ID | Yes | Included | N/A - Included | N/A | No
Utility Initiative Tracking ID | Yes | Included | N/A - Included | N/A | No
Segment ID | No | Data not currently in GIS or available through the new ETL process | Need to create new data process | 2024 | No
Circuit ID | Yes | Included | N/A - Included | N/A | No
Line Class | Yes | Included | N/A - Included | N/A | No
Grid Hardening Location Or Address | Yes | Included | N/A - Included | N/A | No
WMP Initiative Activity | Yes | Included | N/A - Included | N/A | No
Program Name | Yes | Included | N/A - Included | N/A | No
WMP Section | Yes | Included | N/A - Included | N/A | No
WMP Page Number | Yes | Included | N/A - Included | N/A | No
Description of Work | Yes | Included | N/A - Included | N/A | No
GH Status | Yes | Included | N/A - Included | N/A | No
Initiative Target | Yes | Included | N/A - Included | N/A | No
Quarterly Progress | Yes | Included | N/A - Included | N/A | No
Cumulative Progress | Yes | Included | N/A - Included | N/A | No
Initiative Target Units | Yes | Included | N/A - Included | N/A | No
Change Order | Yes | Included | N/A - Included | N/A | No
Change Order Date | Yes | Included | N/A - Included | N/A | No
Change Order Type | Yes | Included | N/A - Included | N/A | No
Change Order Type Comment | Yes | Included | N/A - Included | N/A | No
Date Start | Yes | Included | N/A - Included | N/A | No
Date End | Yes | Included | N/A - Included | N/A | No
Line Deenergized | Yes | Included | N/A - Included | N/A | No
Performed By | Yes | Included | N/A - Included | N/A | No
Performed By Comment | Yes | Included | N/A - Included | N/A | No
HFTD Class | Yes | Included | N/A - Included | N/A | No
HFTD Class Comment | Yes | Included | N/A - Included | N/A | No
Other Initiative Point
OI ID | No | No Other Initiatives | No Other Initiatives | N/A | No
Utility ID | No | No Other Initiatives | No Other Initiatives | N/A | No
Utility Initiative Tracking ID | No | No Other Initiatives | No Other Initiatives | N/A | No
Location or Address | No | No Other Initiatives | No Other Initiatives | N/A | No
WMP Initiative Category | No | No Other Initiatives | No Other Initiatives | N/A | No
WMP Initiative Activity | No | No Other Initiatives | No Other Initiatives | N/A | No
WMP Section | No | No Other Initiatives | No Other Initiatives | N/A | No
WMP Page Number | No | No Other Initiatives | No Other Initiatives | N/A | No
Other Initiative Status | No | No Other Initiatives | No Other Initiatives | N/A | No
Initiative Target | No | No Other Initiatives | No Other Initiatives | N/A | No
Quarterly Progress | No | No Other Initiatives | No Other Initiatives | N/A | No
Cumulative Progress | No | No Other Initiatives | No Other Initiatives | N/A | No
Initiative Target Units | No | No Other Initiatives | No Other Initiatives | N/A | No
Change Order | No | No Other Initiatives | No Other Initiatives | N/A | No
Change Order Date | No | No Other Initiatives | No Other Initiatives | N/A | No
Change Order Type | No | No Other Initiatives | No Other Initiatives | N/A | No
Change Order Type Comment | No | No Other Initiatives | No Other Initiatives | N/A | No
Date Start | No | No Other Initiatives | No Other Initiatives | N/A | No
Date End | No | No Other Initiatives | No Other Initiatives | N/A | No
Other Initiative Comment | No | No Other Initiatives | No Other Initiatives | N/A | No
HFTD Class | No | No Other Initiatives | No Other Initiatives | N/A | No
Other Initiative Line
OI ID | No | No Other Initiatives | No Other Initiatives | N/A | No
Utility ID | No | No Other Initiatives | No Other Initiatives | N/A | No
Utility Initiative Tracking ID | No | No Other Initiatives | No Other Initiatives | N/A | No
Location or Address | No | No Other Initiatives | No Other Initiatives | N/A | No
WMP Initiative Category | No | No Other Initiatives | No Other Initiatives | N/A | No
WMP Initiative Activity | No | No Other Initiatives | No Other Initiatives | N/A | No
WMP Section | No | No Other Initiatives | No Other Initiatives | N/A | No
WMP Page Number | No | No Other Initiatives | No Other Initiatives | N/A | No
Other Initiative Status | No | No Other Initiatives | No Other Initiatives | N/A | No
Initiative Target | No | No Other Initiatives | No Other Initiatives | N/A | No
Quarterly Progress | No | No Other Initiatives | No Other Initiatives | N/A | No
Cumulative Progress | No | No Other Initiatives | No Other Initiatives | N/A | No
Initiative Target Units | No | No Other Initiatives | No Other Initiatives | N/A | No
Change Order | No | No Other Initiatives | No Other Initiatives | N/A | No
Change Order Date | No | No Other Initiatives | No Other Initiatives | N/A | No
Change Order Type | No | No Other Initiatives | No Other Initiatives | N/A | No
Change Order Type Comment | No | No Other Initiatives | No Other Initiatives | N/A | No
Date Start | No | No Other Initiatives | No Other Initiatives | N/A | No
Date End | No | No Other Initiatives | No Other Initiatives | N/A | No
Other Initiative Comment | No | No Other Initiatives | No Other Initiatives | N/A | No
HFTD Class | No | No Other Initiatives | No Other Initiatives | N/A | No
HFTD Class Comment | No | No Other Initiatives | No Other Initiatives | N/A | No
Other Initiative Polygon
OI ID | No | No Other Initiatives | No Other Initiatives | N/A | No
Utility ID | No | No Other Initiatives | No Other Initiatives | N/A | No
Utility Initiative Tracking ID | No | No Other Initiatives | No Other Initiatives | N/A | No
Location or Address | No | No Other Initiatives | No Other Initiatives | N/A | No
WMP Initiative Category | No | No Other Initiatives | No Other Initiatives | N/A | No
WMP Initiative Activity | No | No Other Initiatives | No Other Initiatives | N/A | No
WMP Section | No | No Other Initiatives | No Other Initiatives | N/A | No
WMP Page Number | No | No Other Initiatives | No Other Initiatives | N/A | No
Other Initiative Status | No | No Other Initiatives | No Other Initiatives | N/A | No
Initiative Target | No | No Other Initiatives | No Other Initiatives | N/A | No
Quarterly Progress | No | No Other Initiatives | No Other Initiatives | N/A | No
Cumulative Progress | No | No Other Initiatives | No Other Initiatives | N/A | No
Initiative Target Units | No | No Other Initiatives | No Other Initiatives | N/A | No
Change Order | No | No Other Initiatives | No Other Initiatives | N/A | No
Change Order Date | No | No Other Initiatives | No Other Initiatives | N/A | No
Change Order Type | No | No Other Initiatives | No Other Initiatives | N/A | No
Change Order Type Comment | No | No Other Initiatives | No Other Initiatives | N/A | No
Date Start | No | No Other Initiatives | No Other Initiatives | N/A | No
Date End | No | No Other Initiatives | No Other Initiatives | N/A | No
Other Initiative Comment | No | No Other Initiatives | No Other Initiatives | N/A | No
HFTD Class | No | No Other Initiatives | No Other Initiatives | N/A | No
HFTD Class Comment | No | No Other Initiatives | No Other Initiatives | N/A | No
Initiative Audit Point
IA ID | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Utility ID | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Initiative Feature | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Initiative ID | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Result | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Description | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Performed By | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Performed By Comment | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Initiative Audit Line
IA ID | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Utility ID | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Initiative Feature | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Initiative ID | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Result | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Description | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Performed By | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Performed By Comment | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Initiative Audit Polygon
IA ID | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Utility ID | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Initiative Feature | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Initiative ID | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Result | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Description | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Performed By | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Performed By Comment | No | Do not have the data in GIS | Need to create new data process | 2024 | No
Initiative Photo Log
Photo ID | No | Photo capture is not part of standard procedure at this time - no photos available | Amend process to capture and store photos | 2024 | No
Utility ID | No | Photo capture is not part of standard procedure at this time - no photos available | Amend process to capture and store photos | 2024 | No
Is Photo Before/After | No | Photo capture is not part of standard procedure at this time - no photos available | Amend process to capture and store photos | 2024 | No
Initiative Feature | No | Photo capture is not part of standard procedure at this time - no photos available | Amend process to capture and store photos | 2024 | No
Initiative ID | No | Photo capture is not part of standard procedure at this time - no photos available | Amend process to capture and store photos | 2024 | No

## Other Required Data
Spatial Data Status Report - v3 - Other Required Data
Field Name | Provided in Current Submission | Availability Explanation | Data Procurement Actions | Estimated Delivery | Confidential
Other Power Line Connection Location
OPLC ID | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Utility ID | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Other Line Owner | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Connection Asset | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Connection Point Asset ID | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Corporation Segment ID | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Corporation Circuit ID | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Corporation Line Class | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Other Line Class | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Other Conductor Type | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Connection Type | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Connection OH or UG | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Other Nominal Voltage (kV) | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Other Operating Voltage (kV) | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Other Conductor Material | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Other Conductor Material Comment | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Other Conductor Size | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Other Conductor Overall Diameter (inches) | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Connection Last Inspection Date | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Connection Last Maintenance Date | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Connection Establishment Date | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Connection Establishment Year | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Estimated Connection Age | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Other Useful Lifespan | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Other Ampacity Rating | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Other Line Greased | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Connection Comments | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
HFTD Class | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Critical Facility
Facility ID | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Utility ID | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Facility Name | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Facility Category | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Facility Category Comment | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Facility Description | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Segment ID | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Circuit ID | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Meter ID | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Backup Power | No | Data does not exist - inventory required | Physical inventory of system consistent with data requirements would be required following completion of data translation and extraction process | 2024 | Yes
Backup Type | No | Data does not exist - inventory required | Physical inventory of system consistent with data requirements would be required following completion of data translation and extraction process | 2024 | Yes
Backup Type Comment | No | Data does not exist - inventory required | Physical inventory of system consistent with data requirements would be required following completion of data translation and extraction process | 2024 | Yes
Backup Capacity | No | Data does not exist - inventory required | Physical inventory of system consistent with data requirements would be required following completion of data translation and extraction process | 2024 | Yes
Population Impact | No | Data does not exist - inventory required | Physical inventory of system consistent with data requirements would be required following completion of data translation and extraction process | 2024 | Yes
PSPS Days | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Parcel APN | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Address | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
City | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Zip | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
HFTD Class | No | Do not have the data in GIS | Need to make improvemens to the ETL Process | 2024 | Yes
Red Flag Warning Day Polygon
RFW ID | No | Data not stored in GIS | Need to make adjustments to the ETL Process | 2024 | No
Utility ID | No | Data not stored in GIS | Need to make adjustments to the ETL Process | 2024 | No
Fire Weather Zone ID | No | Data not stored in GIS | Need to make adjustments to the ETL Process | 2024 | No
Red Flag Warning Issue Date and Time | No | Data not stored in GIS | Need to make adjustments to the ETL Process | 2024 | No
Number Red Flag Warning Days | No | Data not stored in GIS | Need to make adjustments to the ETL Process | 2024 | No
High Wind Warning Day Polygon
HWW ID | No | Data not stored in GIS | Need to make adjustments to the ETL Process | 2024 | No
Utility ID | No | Data not stored in GIS | Need to make adjustments to the ETL Process | 2024 | No
HWW Issue Date and Time | No | Data not stored in GIS | Need to make adjustments to the ETL Process | 2024 | No
Number HWW Days | No | Data not stored in GIS | Need to make adjustments to the ETL Process | 2024 | No
Administrative Area
Admin ID | No | Do not have this data | Do not have this data | N/A | No
Utility ID | No | Do not have this data | Do not have this data | N/A | No
Area Type | No | Do not have this data | Do not have this data | N/A | No
Subarea Type | No | Do not have this data | Do not have this data | N/A | No
Subarea Type Comment | No | Do not have this data | Do not have this data | N/A | No
Name | No | Do not have this data | Do not have this data | N/A | No
Major Woody Stem Exempt Tree Point
Utility ID | Yes | Included | N/A - Included | N/A | No
Vegetation Genus | Yes | Included | N/A - Included | N/A | No
Vegetation Species | Yes | Included | N/A - Included | N/A | No
Vegetation Common Name | Yes | Included | N/A - Included | N/A | No
Last Inspection Date | Yes | Included | N/A - Included | N/A | No
Quantity | Yes | Included | N/A - Included | N/A | No