TRANSMITTED VIA ELECTRONIC MAIL

DATA REQUEST

Request Date: 	July 5, 2024

Response Due:	July 15, 2024

| To: | Shewit Woldegiorgis swoldegiorgis@sdge.com Regulatory Case Manager San Diego Gas & Electric | Kari Kloberdanz-Yu kkloberdanz@sdge.com Manager of Regulatory Relations San Diego Gas & Electric |
| --- | --- | --- |

Originator:	Kristin Ralff Douglas

Kristin.RalffDouglas@energysafety.ca.gov

Data Request Number: Energy Safety-DR-EUP-24-05

Subject: Reliability Modeling and Hybrid Projects

INSTRUCTIONS

- Provide all information in your possession, custody, or control, or the possession, custody, and/or control of your affiliates or agents, that is responsive to these data requests by the due date identified above.

- Responses and documents may be produced and served electronically, but they shall be fully machine-readable and searchable.

- If you have any questions about the meaning or scope of the data requests herein, direct such questions to the Energy Safety staff identified as the “Originator” of this request at your earliest opportunity.

  - Lack of clarity on meaning or scope of requests, without prior request for clarification from the “Originator,” will not be a permissible reason for incomplete responses and will be regarded as non-compliance with the request.

- Identify the personnel (employees, consultants, agents, etc.) who provided information responsive to each of the data requests below.  As used in this context herein, “identify” means to provide the full name, business address, and title of each employee, consultant, or agent who provided such information.

- If you do not know the exact answer to any of the requests below, please so indicate and provide your best estimate.

- Provide data in its original format (i.e., PDF, Excel, GIS shapefile, etc.), unless otherwise specified in the request.

- Send your response to Kristin Ralff Douglas (Kristin.RalffDouglas@energysafety.ca.gov), and include a copy to:

Simone.Brant@energysafety.ca.gov, Jeanne.Mckinney@energysafety.ca.gov, electricalundergroundingplans@energysafety.ca.gov.

- E-file a copy of the response on the Electrical Undergrounding Docket #2023-UPs.

REQUEST

Q01. Please provide information requested as it pertains to Electrical Undergrounding Plan (EUP) reliability modeling.

Below are several scenarios for a limited model of Outage Program Risk. For each scenario, please comment on the expected time it would take SDG&E to develop the model and any major concerns with using said model for EUP purposes. For each case, if there is a significant difference in the difficulty of performing the separate, collective, and ablation analyses, please specify which analyses are more difficult and why. If there is a difference at the system and portfolio level for any of the listed scenarios, please explain why. If there are any significant differences in the development of the PSPS (Public Safety Power Shutoff) and Fast Trip models and settings for any scenario, please indicate which cases and explain why.

- A model that examines a mitigation on a single isolatable circuit segment at a time and computes likelihoods of PSPS/Fast Trip activation and the consequences of PSPS/Fast Trip activation to customers on that segment alone based purely on back casting historical data.

- The same as (a) but using projected weather/climate factors.

- A model that examines a single mitigated isolatable circuit segment at a time and computes likelihoods of PSPS/Fast Trip activation being called on that isolatable circuit segment and the consequences of PSPS/Fast Trip activation on that isolatable circuit segment and ‘downstream’ customers based purely on back casting historical data.

- The same as (c) but using projected weather/climate factors.

- Same as (a), but also includes likelihood of the segment being de-energized due to a PSPS/Fast Trip activation event on an upstream circuit segment.

- Same as (e) but using projected weather/climate factors.

- Same as (c), but also includes likelihood of the segment being de-energized due to an upstream PSPS/Fast Trip activation event.

- Same as (g) but using projected weather/climate factors.

- Same as (e) but also considering all other proposed EUP Projects.

- Same as (f) but also considering all other proposed EUP Projects.

- Same as (g) but also considering all other proposed EUP Projects.

- Same as (h) but also considering all other proposed EUP Projects.

- A model with similar levels of granularity, specificity, and accuracy as the WDRM (Wildfire Distribution Risk Model)

- Is there a modeling gap between Scenario (l) and (m)? If so, please explain what factors or features are absent in scenario (l).

Q02. Please provide information requested as applicable as it pertains to Hybrid projects.

- In PG&E’s May 29th, 2024 comments on draft guidelines, PG&E described a “hybrid” approach or “hybrid distribution hardening” as “a circuit segment that is hardened using a combination of covered conductor, undergrounding, and/or line removal with remote grid” .”  Please confirm whether or not SDG&E has similar recommended definitions or provide a corresponding SDG&E-specific definition with any changes.

- Does SDG&E have a similar approach where a circuit segment is hardened using a combination of covered conductor, undergrounding, and/or line removal with remote grid?

- In SDG&E’s aggregation of potential hybrid distribution hardening, is there a definitive list of alternative mitigations that could potentially be included in a designated percentage of non-undergrounding work?

- If SDG&E currently has or anticipates any “hybrid distribution hardening” projects as defined above, can SDG&E elaborate on how and why a circuit segment would become a hybrid distribution hardening project? Please explain the process of scoping such a project and provide an example that illustrates how and why other mitigations were chosen over undergrounding.

  - Is the reason for using an alternate mitigation always due to a better cost/risk performance, a physical limitation (such as a river crossing or granite), a combination of both, or some other factor? Please explain.

  - Is there a distinction between how an alternative mitigation will be recorded on the EUP if the alternate mitigation is included because of cost/risk performance versus a physical limitation?

- Provide a .xlsx document that details undergrounding and “hybrid” projects from a recent workplan(s) covering at least 3 years of planned work. Provide the name of the planning document(s) and the years it covers. For each isolatable circuit segment included in the workplan(s) report information in the table below:

| Field Name | Description | Unit/Datatype |
| --- | --- | --- |
| Total Circuit Segment Miles | Length of isolatable circuit segment before mitigation | Miles |
| Total Constructed Miles | Number of miles of new infrastructure to be energized | Miles |
| Total Miles Undergrounded | Number of miles of underground infrastructure to be energized | Miles |
| Overhead Removed | Number of miles of overhead line deenergized upon completion | Miles |
| Covered Conductor Installed | Number of miles of covered conductor to be installed | Miles |
| Other Mitigations | Provide brief description of other mitigation efforts or devices installed that are associated with this project | Text |
| Justification for Alternate Mitigation | Provide brief description for each hybrid project including the reason undergrounding was not used on entire circuit segment and alternate mitigations were chosen (e.g. better cost/risk performance, physical limitations, or any other reasons). | Text |
| Other Mitigations Miles | Add a field for each alternate mitigation to be used and indicate the number of miles of overhead line it will be applied to or replace | Miles |
| Total Un-Mitigated Circuit-Miles on Circuit Segment | Number of miles of original, un-mitigated, circuit segment line after completion of project | Miles |
| Subprojects | Number of total subprojects created within this Project. | Integer |
| Underground Subprojects | Number of undergrounding subprojects | Integer |
| Covered Conductor Subprojects | Number of covered conductor subprojects | Integer |
| Secondary Lines | Will secondary distribution lines be undergrounded as part of this project? | Boolean |
| Service Lines | Will service lines be undergrounded as part of this project? | Boolean |

- Provide a general cost comparison, per mile replaced, of each individual mitigation option (e.g. underground and covered conductor).

- For the anticipated projects, how many isolatable circuit segments are typical on a given circuit?

- Are there instances of projects, in any phase, in which only a portion of the circuit segment is undergrounded without required overhead hardening work or wildfire mitigation improvements on the remainder of the overhead section(s) of the circuit segment?

- Does SDG&E believe seeking rate recovery through an alternate regulatory process, such as the GRC, for non-undergrounded portions would affect an undergrounding project? If so, please provide specific details and examples on how seeking rate recovery through an alternate regulatory process, such as the GRC, for non-undergrounded portions would affect an undergrounding project. Is there a potential for construction delays, and if so, how long would these delays last? Are there scenarios where SDG&E would have to return to a circuit segment to construct overhead hardening portions separately?

Q03. Please provide information requested as it pertains to SDG&E-designated ‘subprojects.’

- PG&E defines subproject as the product of dividing a circuit segment that has passed Screen 3 (Project Risk Analysis) into smaller projects for construction. Does SDG&E have a similar definition of “subproject” or use a similar convention with a different name?  Please describe how SDG&E employs the use of “subprojects” or any similar concept. If a different name is used, please define it.

- When a circuit segment is scoped for an underground project and broken down into smaller sections. Do those smaller sections, or subprojects, receive a unique identifier? If so, please describe the details of that tracking system.

- For the purposes of this program, is there a requirement that every sub-project consists of line undergrounding or an alternate mitigation? Is it possible that a subproject would only include line maintenance, equipment replacement, or other line improvements that may not, by themselves, be considered a wildfire mitigation alternative?

- Would all undergrounding work within a project, one isolatable circuit segment, be consolidated into a single subproject, or could there be multiple undergrounding subprojects within a single circuit segment?

- Would a subproject always consist of one contiguous line segment, or could a subproject include multiple, disconnected sections? For example, could one subproject consist of covered conductor installation on miles 2-3, and miles 6-7 of a circuit segment?

- In an underground project which has a continuous section to be undergrounded, would it be likely (or even possible) that this continuous undergrounded section would be broken into subproject(s)? If so, is there a minimum or maximum length of the subproject?

- In a “hybrid distribution hardening” project,” which has discontinuous sections to be undergrounded, would each of the discontinuous undergrounded portions always be recorded as a separate subproject?

- Would there be cases where “hybrid distribution hardening” subprojects would be created?  For example, could one subproject have 4 miles of undergrounding and 1 mile of covered conductor on a 10-mile circuit? Alternatively, would this hypothetical project be split into multiple subprojects based on mitigation type?

- Provide details on how risk apportioning is handled for a project with multiple mitigation types. Is the apportionment assigned before or after normalization? Does SDG&E combine the risk reduction and reliability improvements for each mitigation separately from each other?  Can SDG&E provide normalized values per mile for each mitigation before blending into overall circuit segment values?

- Does SDG&E anticipate any problems with reporting the subprojects with respect to the Cost-Benefit Analysis defined through CPUC proceeding R.20-07-013?

Q04. Please provide information requested as it pertains to SDG&E project and sub-project IDs.

- Suppose an isolatable circuit segment currently has an undergrounding project planned for development on it. If this isolatable circuit segment is modified, for example by installation of a new device which splits it into multiple isolatable circuit segments, how does SDG&E track the Project which previously was slated for installation?

  - Does the project become split into multiple new projects?

  - Do the subprojects inside that isolatable circuit segment get renamed, redeveloped, reassigned, or otherwise changed?

  - How would the above change if an Isolatable Circuit Segment was modified in some other substantial way, e.g. by new construction, removal of a recloser, or substantial restructuring of the Isolatable Circuit Segment?

- Does completing an undergrounding project ever cause a change to the underlying isolatable circuit segment, i.e. change the customers and/or general geographic area served by the Isolatable Circuit Segment, either by splitting the isolatable circuit segment into multiple new isolatable circuit segments or by otherwise changing the topology?

  - If so, how frequently does this cause a change of this type, e.g. every time, most times, rarely, never? What factors affect the likelihood of this type of change?

  - Do the answers to either of the questions in c1 change when we distinguish between fully undergrounding (100% UG), “hybrid” projects (>80% UG), and other projects (<80% UG)?

END OF REQUEST

2024 PG&E’s Comments on Draft Guidelines page 21