## Overview
Spatial Data Status Report - v4.0 - Overview
Dataset | Feature Class or Table | Submitted (Yes/No) | Reason | Availability Explanation | Locations Confidential? (Yes/No) | Metadata Included (Yes/No)? | Metadata Absence Explanation | Data Procurement Actions | Estimated Delivery
Asset Line | Primary Distribution Line | No | Not relevant for the reporting quarter
| Secondary Distribution Line | No | Not relevant for the reporting quarter
| Transmission Line | No | No change since last submission
| Transmission Line Detail | No | No change since last submission |  | N/A
Asset Point | Camera | No | No change since last submission
| Connection Device | No | No change since last submission
| Customer Meter | No | Not relevant for the reporting quarter
| Fuse | No | No change since last submission
| Lightning Arrester | No | No change since last submission
| Substation | No | No change since last submission
| Support Structure | No | No change since last submission
| Support Structure Detail | No | No change since last submission |  | N/A
| Switchgear | No | No change since last submission
| Transformer Site | No | No change since last submission
| Transformer Detail | No | No change since last submission |  | N/A
| Weather Station | No | No change since last submission
Initiative | Asset Inspection Line | No | No change since last submission
| Asset Inspection Point | No | No change since last submission
| Asset Inspection Polygon | No | No change since last submission
| Grid Hardening Line | No | No change since last submission
| Grid Hardening Point | No | No change since last submission
| Initiative Audit Line | No | No change since last submission
| Initiative Audit Point | No | No change since last submission
| Initiative Audit Polygon | No | No change since last submission
| Other Initiative Line | No | No change since last submission
| Other Initiative Point | No | No change since last submission
| Other Initiative Polygon | No | No change since last submission
| Vegetation Inspection Line | No | No change since last submission
| Vegetation Inspection Point | No | No change since last submission
| Vegetation Inspection Polygon | No | No change since last submission
| Vegetation Management Project Line | No | No change since last submission
| Vegetation Management Project Point | No | No change since last submission
| Vegetation Management Project Polygon | No | No change since last submission
| Initiative Photo Log | No | No change since last submission |  | N/A
Other Required Data | Administrative Area | No | Not relevant for the reporting quarter
| Critical Facility | No | No change since last submission
| High Wind Warning Day Polygon | No | Not relevant for the reporting quarter
| Major Woody Stem Exempt Tree Points | No | Not relevant for the reporting quarter
| Other Power Line Connection Location | No | Not relevant for the reporting quarter
| Red Flag Warning Day Polygon | No | Not relevant for the reporting quarter
PSPS Event | PSPS Event Customer Meter Point | No | Not relevant for the reporting quarter
| PSPS Event Damage Point | No | Not relevant for the reporting quarter
| PSPS Event Line | No | Not relevant for the reporting quarter
| PSPS Event Polygon | No | Not relevant for the reporting quarter
| PSPS Event Conductor Damage Detail | No | Not relevant for the reporting quarter |  | N/A
| PSPS Event Damage Photo Log | No | Not relevant for the reporting quarter |  | N/A
| PSPS Event Log | No | Not relevant for the reporting quarter |  | N/A
| PSPS Event Other Asset Damage Detail | No | Not relevant for the reporting quarter |  | N/A
| PSPS Event Support Structure Damage Detail | No | Not relevant for the reporting quarter |  | N/A
Risk Event | Ignition | No | Not relevant for the reporting quarter
| Unplanned Outage | No | Not relevant for the reporting quarter
| Wire Down Event | No | Not relevant for the reporting quarter
| Risk Event Photo Log | No | Not relevant for the reporting quarter |  | N/A

## Reasons (hidden)
No change since last submission | Yes
Not able to provide | No
Not relevant for the reporting quarter

## Details
Spatial Data Status Report - v4.0 - Details
Dataset | Feature Class / Table Name | Field Name | Provided in Current Submission | Availability Explanation | Data Procurement Actions | Estimated Delivery | Confidential
Asset Line | Primary Distribution Line | SegmentID
Asset Line | Primary Distribution Line | CircuitID
Asset Line | Primary Distribution Line | UtilityID
Asset Line | Primary Distribution Line | SubstationID
Asset Line | Primary Distribution Line | CircuitName
Asset Line | Primary Distribution Line | ConductorType
Asset Line | Primary Distribution Line | ConductorTypeComment
Asset Line | Primary Distribution Line | AssetOHUG
Asset Line | Primary Distribution Line | NominalVoltagekV
Asset Line | Primary Distribution Line | OperatingVoltagekV
Asset Line | Primary Distribution Line | SubstationName
Asset Line | Primary Distribution Line | ConductorMaterial
Asset Line | Primary Distribution Line | ConductorMaterialComment
Asset Line | Primary Distribution Line | ConductorSize
Asset Line | Primary Distribution Line | ConductorOD
Asset Line | Primary Distribution Line | LastInspectionDate
Asset Line | Primary Distribution Line | LastMaintenanceDate
Asset Line | Primary Distribution Line | InstallationDate
Asset Line | Primary Distribution Line | InstallationYear
Asset Line | Primary Distribution Line | EstimatedAge
Asset Line | Primary Distribution Line | UsefulLifespan
Asset Line | Primary Distribution Line | AmpacityRating
Asset Line | Primary Distribution Line | OverallUtilityRisk
Asset Line | Primary Distribution Line | IgnitionRisk
Asset Line | Primary Distribution Line | PSPSRisk
Asset Line | Secondary Distribution Line | SegmentID
Asset Line | Secondary Distribution Line | CircuitID
Asset Line | Secondary Distribution Line | UtilityID
Asset Line | Secondary Distribution Line | SubstationID
Asset Line | Secondary Distribution Line | CircuitName
Asset Line | Secondary Distribution Line | ConductorType
Asset Line | Secondary Distribution Line | ConductorTypeComment
Asset Line | Secondary Distribution Line | AssetOHUG
Asset Line | Secondary Distribution Line | SubstationName
Asset Line | Secondary Distribution Line | ConductorMaterial
Asset Line | Secondary Distribution Line | ConductorMaterialComment
Asset Line | Secondary Distribution Line | ConductorSize
Asset Line | Secondary Distribution Line | ConductorOD
Asset Line | Secondary Distribution Line | LastInspectionDate
Asset Line | Secondary Distribution Line | LastMaintenanceDate
Asset Line | Secondary Distribution Line | InstallationDate
Asset Line | Secondary Distribution Line | InstallationYear
Asset Line | Secondary Distribution Line | EstimatedAge
Asset Line | Secondary Distribution Line | UsefulLifespan
Asset Line | Secondary Distribution Line | AmpacityRating
Asset Line | Secondary Distribution Line | OverallUtilityRisk
Asset Line | Secondary Distribution Line | IgnitionRisk
Asset Line | Secondary Distribution Line | PSPSRisk
Asset Line | Transmission Line | SegmentID
Asset Line | Transmission Line | CircuitID
Asset Line | Transmission Line | UtilityID
Asset Line | Transmission Line | LineClass
Asset Line | Transmission Line | CircuitName
Asset Line | Transmission Line | ConductorType
Asset Line | Transmission Line | ConductorTypeComment
Asset Line | Transmission Line | AssetOHUG
Asset Line | Transmission Line | NominalVoltagekV
Asset Line | Transmission Line | OperatingVoltagekV
Asset Line | Transmission Line | ConductorMaterial
Asset Line | Transmission Line | ConductorMaterialComment
Asset Line | Transmission Line | ConductorSize
Asset Line | Transmission Line | ConductorOD
Asset Line | Transmission Line | LastInspectionDate
Asset Line | Transmission Line | LastMaintenanceDate
Asset Line | Transmission Line | InstallationDate
Asset Line | Transmission Line | InstallationYear
Asset Line | Transmission Line | EstimatedAge
Asset Line | Transmission Line | UsefulLifespan
Asset Line | Transmission Line | AmpacityRating
Asset Line | Transmission Line | OverallUtilityRisk
Asset Line | Transmission Line | IgnitionRisk
Asset Line | Transmission Line | PSPSRisk
Table (Asset Line) | Transmission Line Detail | SegmentID
Table (Asset Line) | Transmission Line Detail | CircuitID
Table (Asset Line) | Transmission Line Detail | UtilityID
Table (Asset Line) | Transmission Line Detail | SubstationID
Asset Point | Camera | AssetID
Asset Point | Camera | SupportAssetID
Asset Point | Camera | AssetFeature
Asset Point | Camera | UtilityID
Asset Point | Camera | CameraLocationName
Asset Point | Camera | HFTDClass
Asset Point | Connection Device | AssetID
Asset Point | Connection Device | FromStructureID
Asset Point | Connection Device | ToStructureID
Asset Point | Connection Device | SegmentID
Asset Point | Connection Device | CircuitID
Asset Point | Connection Device | LineClass
Asset Point | Connection Device | SubstationID
Asset Point | Connection Device | UtilityID
Asset Point | Connection Device | AssetLocation
Asset Point | Connection Device | ConnectionDeviceType
Asset Point | Connection Device | ConnectionDeviceTypeComment
Asset Point | Connection Device | ConnectionDeviceSubtype
Asset Point | Connection Device | ConnectionDeviceSubtypeComment
Asset Point | Connection Device | AssociatedNominalVoltagekV
Asset Point | Connection Device | AssociatedOperatingVoltagekV
Asset Point | Connection Device | CircuitName
Asset Point | Connection Device | Manufacturer
Asset Point | Connection Device | ModelNumber
Asset Point | Connection Device | LastInspectionDate
Asset Point | Connection Device | InstallationDate
Asset Point | Connection Device | InstallationYear
Asset Point | Connection Device | EstimatedAge
Asset Point | Connection Device | UsefulLifespan
Asset Point | Connection Device | HFTDClass
Asset Point | Customer Meter | MeterID
Asset Point | Customer Meter | UtilityID
Asset Point | Customer Meter | SegmentID
Asset Point | Customer Meter | CircuitID
Asset Point | Customer Meter | SubstationID
Asset Point | Customer Meter | CircuitName
Asset Point | Customer Meter | MeterType
Asset Point | Customer Meter | Manufacturer
Asset Point | Customer Meter | ModelNumber
Asset Point | Customer Meter | InstallationDate
Asset Point | Customer Meter | InstallationYear
Asset Point | Customer Meter | EstimatedAge
Asset Point | Customer Meter | HFTDClass
Asset Point | Fuse | AssetID
Asset Point | Fuse | SupportStructureID
Asset Point | Fuse | UtilityID
Asset Point | Fuse | SubstationID
Asset Point | Fuse | SegmentID
Asset Point | Fuse | CircuitID
Asset Point | Fuse | AssociatedNominalVoltagekV
Asset Point | Fuse | AssociatedOperatingVoltagekV
Asset Point | Fuse | CircuitName
Asset Point | Fuse | LastInspectionDate
Asset Point | Fuse | LastMaintenanceDate
Asset Point | Fuse | ExemptionStatus
Asset Point | Fuse | FuseRating
Asset Point | Fuse | FuseType
Asset Point | Fuse | FuseTypeComment
Asset Point | Fuse | FuseSubtype
Asset Point | Fuse | HFTDClass
Asset Point | Lightning Arrester | AssetID
Asset Point | Lightning Arrester | SupportStructureID
Asset Point | Lightning Arrester | UtilityID
Asset Point | Lightning Arrester | SubstationID
Asset Point | Lightning Arrester | SegmentID
Asset Point | Lightning Arrester | CircuitID
Asset Point | Lightning Arrester | AssociatedNominalVoltagekV
Asset Point | Lightning Arrester | AssociatedOperatingVoltagekV
Asset Point | Lightning Arrester | CircuitName
Asset Point | Lightning Arrester | Manufacturer
Asset Point | Lightning Arrester | ModelNumber
Asset Point | Lightning Arrester | LastInspectionDate
Asset Point | Lightning Arrester | LastMaintenanceDate
Asset Point | Lightning Arrester | InstallationDate
Asset Point | Lightning Arrester | InstallationYear
Asset Point | Lightning Arrester | EstimatedAge
Asset Point | Lightning Arrester | UsefulLifespan
Asset Point | Lightning Arrester | ExemptionStatus
Asset Point | Lightning Arrester | ArresterRating
Asset Point | Lightning Arrester | HFTDClass
Asset Point | Substation | SubstationID
Asset Point | Substation | UtilityID
Asset Point | Substation | SubstationName
Asset Point | Substation | SubstationNominalVoltagekV
Asset Point | Substation | SubstationOperatingVoltagekV
Asset Point | Substation | SubstationRating
Asset Point | Substation | LastInspectionDate
Asset Point | Substation | InstallationDate
Asset Point | Substation | InstallationYear
Asset Point | Substation | HFTDClass
Asset Point | Support Structure | SupportStructureID
Asset Point | Support Structure | PoleNumber
Asset Point | Support Structure | UtilityID
Asset Point | Support Structure | ExemptionStatus
Asset Point | Support Structure | LastInspectionDate
Asset Point | Support Structure | LastMaintenanceDate
Asset Point | Support Structure | LastIntrusiveDate
Asset Point | Support Structure | InstallationDate
Asset Point | Support Structure | InstallationYear
Asset Point | Support Structure | EstimatedAge
Asset Point | Support Structure | UsefulLifespan
Asset Point | Support Structure | SupportStructureType
Asset Point | Support Structure | SupportStructureTypeComment
Asset Point | Support Structure | SupportStructureMaterial
Asset Point | Support Structure | SupportStructureMaterialComment
Asset Point | Support Structure | SupportStructureMaterialSubtype
Asset Point | Support Structure | Underbuild
Asset Point | Support Structure | ConstructionGrade
Asset Point | Support Structure | CrossarmAttached
Asset Point | Support Structure | OverallUtilityRisk
Asset Point | Support Structure | IgnitionRisk
Asset Point | Support Structure | PSPSRisk
Asset Point | Support Structure | HFTDClass
Table (Asset Point) | Support Structure Detail | SupportStructureID
Table (Asset Point) | Support Structure Detail | UtilityID
Table (Asset Point) | Support Structure Detail | LineClass
Table (Asset Point) | Support Structure Detail | SegmentID
Table (Asset Point) | Support Structure Detail | CircuitID
Asset Point | Switchgear | AssetID
Asset Point | Switchgear | SupportStructureID
Asset Point | Switchgear | UtilityID
Asset Point | Switchgear | SubstationID
Asset Point | Switchgear | SegmentID
Asset Point | Switchgear | CircuitID
Asset Point | Switchgear | CircuitName
Asset Point | Switchgear | AssetLocation
Asset Point | Switchgear | AssociatedNominalVoltagekV
Asset Point | Switchgear | AssociatedOperatingVoltagekV
Asset Point | Switchgear | Manufacturer
Asset Point | Switchgear | ModelNumber
Asset Point | Switchgear | LastInspectionDate
Asset Point | Switchgear | LastMaintenanceDate
Asset Point | Switchgear | InstallationDate
Asset Point | Switchgear | InstallationYear
Asset Point | Switchgear | EstimatedAge
Asset Point | Switchgear | UsefulLifespan
Asset Point | Switchgear | ExemptionStatus
Asset Point | Switchgear | CurrentRating
Asset Point | Switchgear | AssetClass
Asset Point | Switchgear | SCADAEnabled
Asset Point | Switchgear | SwitchgearType
Asset Point | Switchgear | SwitchgearTypeComment
Asset Point | Switchgear | SwitchgearInsulatingMedium
Asset Point | Switchgear | HFTDClass
Asset Point | Transformer Site | TransformerSiteID
Asset Point | Transformer Site | SupportStructureID
Asset Point | Transformer Site | UtilityID
Asset Point | Transformer Site | AssetLocation
Asset Point | Transformer Site | InaBank
Asset Point | Transformer Site | QuantityinBank
Asset Point | Transformer Site | HFTDClass
Table (Asset Point) | Transformer Detail | AssetID
Table (Asset Point) | Transformer Detail | TransformerSiteID
Table (Asset Point) | Transformer Detail | UtilityID
Table (Asset Point) | Transformer Detail | SubstationID
Table (Asset Point) | Transformer Detail | HighSideSegmentID
Table (Asset Point) | Transformer Detail | LowSideSegmentID
Table (Asset Point) | Transformer Detail | HighSideLineClass
Table (Asset Point) | Transformer Detail | LowSideLineClass
Table (Asset Point) | Transformer Detail | CircuitID
Table (Asset Point) | Transformer Detail | CircuitName
Table (Asset Point) | Transformer Detail | Phases
Table (Asset Point) | Transformer Detail | AssociatedNominalVoltagekV
Table (Asset Point) | Transformer Detail | AssociatedOperatingVoltagekV
Table (Asset Point) | Transformer Detail | Manufacturer
Table (Asset Point) | Transformer Detail | ModelNumber
Table (Asset Point) | Transformer Detail | LastInspectionDate
Table (Asset Point) | Transformer Detail | LastMaintenanceDate
Table (Asset Point) | Transformer Detail | InstallationDate
Table (Asset Point) | Transformer Detail | InstallationYear
Table (Asset Point) | Transformer Detail | EstimatedAge
Table (Asset Point) | Transformer Detail | UsefulLifespan
Table (Asset Point) | Transformer Detail | ExemptionStatus
Table (Asset Point) | Transformer Detail | TransformerRating
Asset Point | Weather Station | StationID
Asset Point | Weather Station | UtilityID
Asset Point | Weather Station | InstallationDate
Asset Point | Weather Station | InstallationYear
Asset Point | Weather Station | EstimatedAge
Asset Point | Weather Station | LastMaintenanceDate
Asset Point | Weather Station | Placement
Asset Point | Weather Station | HasAnemometer
Asset Point | Weather Station | AnemometerHeight
Asset Point | Weather Station | HasFuelMoistureSensor
Asset Point | Weather Station | ObservationInterval
Asset Point | Weather Station | NFDRSCompliant
Asset Point | Weather Station | WeatherStationURL
Asset Point | Weather Station | HFTDClass
Initiative | Asset Inspection Line | AiID
Initiative | Asset Inspection Line | UtilityID
Initiative | Asset Inspection Line | UMATID
Initiative | Asset Inspection Line | ActivityClass
Initiative | Asset Inspection Line | SegmentID
Initiative | Asset Inspection Line | CircuitID
Initiative | Asset Inspection Line | LineClass
Initiative | Asset Inspection Line | InspectionLocationOrAddress
Initiative | Asset Inspection Line | WMPInitiative
Initiative | Asset Inspection Line | WMPActivity
Initiative | Asset Inspection Line | ActivityDescription
Initiative | Asset Inspection Line | InspectionProgramName
Initiative | Asset Inspection Line | WMPSection
Initiative | Asset Inspection Line | InspectionStatus
Initiative | Asset Inspection Line | UnitsRepresented
Initiative | Asset Inspection Line | InspectionStartDate
Initiative | Asset Inspection Line | InspectionEndDate
Initiative | Asset Inspection Line | PerformedBy
Initiative | Asset Inspection Line | PerformedByComment
Initiative | Asset Inspection Line | InspectionType
Initiative | Asset Inspection Line | InspectionTypeComment
Initiative | Asset Inspection Line | InspectionComment
Initiative | Asset Inspection Line | FindingL1
Initiative | Asset Inspection Line | FindingL2
Initiative | Asset Inspection Line | FindingL3
Initiative | Asset Inspection Line | InspectionMethod
Initiative | Asset Inspection Line | InspectionMethodComment
Initiative | Asset Inspection Line | DataCaptureSensorType
Initiative | Asset Inspection Line | DataCaptureSensorTypeComment
Initiative | Asset Inspection Line | FieldNotes
Initiative | Asset Inspection Line | HFTDClass
Initiative | Asset Inspection Line | HFTDClassComment
Initiative | Asset Inspection Point | AiID
Initiative | Asset Inspection Point | UtilityID
Initiative | Asset Inspection Point | UMATID
Initiative | Asset Inspection Point | ActivityClass
Initiative | Asset Inspection Point | AssetID
Initiative | Asset Inspection Point | AssetFeature
Initiative | Asset Inspection Point | SegmentID
Initiative | Asset Inspection Point | CircuitID
Initiative | Asset Inspection Point | LineClass
Initiative | Asset Inspection Point | InspectionLocationOrAddress
Initiative | Asset Inspection Point | WMPInitiative
Initiative | Asset Inspection Point | WMPActivity
Initiative | Asset Inspection Point | ActivityDescription
Initiative | Asset Inspection Point | InspectionProgramName
Initiative | Asset Inspection Point | WMPSection
Initiative | Asset Inspection Point | InspectionStatus
Initiative | Asset Inspection Point | UnitsRepresented
Initiative | Asset Inspection Point | InspectionStartDate
Initiative | Asset Inspection Point | InspectionEndDate
Initiative | Asset Inspection Point | PerformedBy
Initiative | Asset Inspection Point | PerformedByComment
Initiative | Asset Inspection Point | InspectionType
Initiative | Asset Inspection Point | InspectionTypeComment
Initiative | Asset Inspection Point | InspectionComment
Initiative | Asset Inspection Point | FindingL1
Initiative | Asset Inspection Point | FindingL2
Initiative | Asset Inspection Point | FindingL3
Initiative | Asset Inspection Point | InspectionMethod
Initiative | Asset Inspection Point | InspectionMethodComment
Initiative | Asset Inspection Point | DataCaptureSensorType
Initiative | Asset Inspection Point | DataCaptureSensorTypeComment
Initiative | Asset Inspection Point | FieldNotes
Initiative | Asset Inspection Point | HFTDClass
Initiative | Asset Inspection Polygon | AiID
Initiative | Asset Inspection Polygon | UtilityID
Initiative | Asset Inspection Polygon | UMATID
Initiative | Asset Inspection Polygon | ActivityClass
Initiative | Asset Inspection Polygon | AssetID
Initiative | Asset Inspection Polygon | AssetFeature
Initiative | Asset Inspection Polygon | SegmentID
Initiative | Asset Inspection Polygon | CircuitID
Initiative | Asset Inspection Polygon | LineClass
Initiative | Asset Inspection Polygon | WMPInitiative
Initiative | Asset Inspection Polygon | WMPActivity
Initiative | Asset Inspection Polygon | ActivityDescription
Initiative | Asset Inspection Polygon | InspectionProgramName
Initiative | Asset Inspection Polygon | WMPSection
Initiative | Asset Inspection Polygon | InspectionStatus
Initiative | Asset Inspection Polygon | UnitsRepresented
Initiative | Asset Inspection Polygon | InspectionStartDate
Initiative | Asset Inspection Polygon | InspectionEndDate
Initiative | Asset Inspection Polygon | PerformedBy
Initiative | Asset Inspection Polygon | PerformedByComment
Initiative | Asset Inspection Polygon | InspectionType
Initiative | Asset Inspection Polygon | InspectionTypeComment
Initiative | Asset Inspection Polygon | InspectionComment
Initiative | Asset Inspection Polygon | FindingL1
Initiative | Asset Inspection Polygon | FindingL2
Initiative | Asset Inspection Polygon | FindingL3
Initiative | Asset Inspection Polygon | InspectionMethod
Initiative | Asset Inspection Polygon | InspectionMethodComment
Initiative | Asset Inspection Polygon | DataCaptureSensorType
Initiative | Asset Inspection Polygon | DataCaptureSensorTypeComment
Initiative | Asset Inspection Polygon | FieldNotes
Initiative | Asset Inspection Polygon | HFTDClass
Initiative | Asset Inspection Polygon | HFTDClassComment
Initiative | Grid Hardening Line | GhID
Initiative | Grid Hardening Line | AssetOHUG
Initiative | Grid Hardening Line | UtilityID
Initiative | Grid Hardening Line | UMATID
Initiative | Grid Hardening Line | SegmentID
Initiative | Grid Hardening Line | CircuitID
Initiative | Grid Hardening Line | LineClass
Initiative | Grid Hardening Line | GridHardeningLocationOrAddress
Initiative | Grid Hardening Line | WMPInitiative
Initiative | Grid Hardening Line | WMPActivity
Initiative | Grid Hardening Line | ActivityDescription
Initiative | Grid Hardening Line | WMPSection
Initiative | Grid Hardening Line | DescriptionOfWork
Initiative | Grid Hardening Line | FieldNotes
Initiative | Grid Hardening Line | GhStatus
Initiative | Grid Hardening Line | UnitsRepresented
Initiative | Grid Hardening Line | StartDate
Initiative | Grid Hardening Line | EndDate
Initiative | Grid Hardening Line | LineDeenergized
Initiative | Grid Hardening Line | PerformedBy
Initiative | Grid Hardening Line | PerformedByComment
Initiative | Grid Hardening Line | HFTDClass
Initiative | Grid Hardening Line | HFTDClassComment
Initiative | Grid Hardening Point | GhID
Initiative | Grid Hardening Point | AssetLocation
Initiative | Grid Hardening Point | UtilityID
Initiative | Grid Hardening Point | UMATID
Initiative | Grid Hardening Point | AssetID
Initiative | Grid Hardening Point | AssetFeature
Initiative | Grid Hardening Point | SegmentID
Initiative | Grid Hardening Point | CircuitID
Initiative | Grid Hardening Point | LineClass
Initiative | Grid Hardening Point | GridHardeningLocationOrAddress
Initiative | Grid Hardening Point | WMPInitiative
Initiative | Grid Hardening Point | WMPActivity
Initiative | Grid Hardening Point | ActivityDescription
Initiative | Grid Hardening Point | WMPSection
Initiative | Grid Hardening Point | DescriptionOfWork
Initiative | Grid Hardening Point | FieldNotes
Initiative | Grid Hardening Point | GhStatus
Initiative | Grid Hardening Point | UnitsRepresented
Initiative | Grid Hardening Point | StartDate
Initiative | Grid Hardening Point | EndDate
Initiative | Grid Hardening Point | LineDeenergized
Initiative | Grid Hardening Point | PerformedBy
Initiative | Grid Hardening Point | PerformedByComment
Initiative | Grid Hardening Point | HFTDClass
Initiative | Initiative Audit Line | IaID
Initiative | Initiative Audit Line | UtilityID
Initiative | Initiative Audit Line | InitiativeFeature
Initiative | Initiative Audit Line | InitiativeID
Initiative | Initiative Audit Line | UMATID
Initiative | Initiative Audit Line | AuditDate
Initiative | Initiative Audit Line | ActivityDate
Initiative | Initiative Audit Line | AssetType
Initiative | Initiative Audit Line | Result
Initiative | Initiative Audit Line | Description
Initiative | Initiative Audit Line | PerformedBy
Initiative | Initiative Audit Line | PerformedByComment
Initiative | Initiative Audit Point | IaID
Initiative | Initiative Audit Point | UtilityID
Initiative | Initiative Audit Point | InitiativeFeature
Initiative | Initiative Audit Point | InitiativeID
Initiative | Initiative Audit Point | UMATID
Initiative | Initiative Audit Point | AuditDate
Initiative | Initiative Audit Point | ActivityDate
Initiative | Initiative Audit Point | AssetType
Initiative | Initiative Audit Point | Result
Initiative | Initiative Audit Point | Description
Initiative | Initiative Audit Point | PerformedBy
Initiative | Initiative Audit Point | PerformedByComment
Initiative | Initiative Audit Polygon | IaID
Initiative | Initiative Audit Polygon | UtilityID
Initiative | Initiative Audit Polygon | InitiativeFeature
Initiative | Initiative Audit Polygon | InitiativeID
Initiative | Initiative Audit Polygon | UMATID
Initiative | Initiative Audit Polygon | AuditDate
Initiative | Initiative Audit Polygon | ActivityDate
Initiative | Initiative Audit Polygon | AssetType
Initiative | Initiative Audit Polygon | Result
Initiative | Initiative Audit Polygon | Description
Initiative | Initiative Audit Polygon | PerformedBy
Initiative | Initiative Audit Polygon | PerformedByComment
Initiative | Other Initiative Line | OiID
Initiative | Other Initiative Line | UtilityID
Initiative | Other Initiative Line | UMATID
Initiative | Other Initiative Line | LocationOrAddress
Initiative | Other Initiative Line | WMPInitiativeCategory
Initiative | Other Initiative Line | WMPInitiative
Initiative | Other Initiative Line | WMPActivity
Initiative | Other Initiative Line | ActivityDescription
Initiative | Other Initiative Line | WMPSection
Initiative | Other Initiative Line | OiStatus
Initiative | Other Initiative Line | UnitsRepresented
Initiative | Other Initiative Line | StartDate
Initiative | Other Initiative Line | EndDate
Initiative | Other Initiative Line | OiComment
Initiative | Other Initiative Line | HFTDClass
Initiative | Other Initiative Line | HFTDClassComment
Initiative | Other Initiative Point | OiID
Initiative | Other Initiative Point | UtilityID
Initiative | Other Initiative Point | UMATID
Initiative | Other Initiative Point | LocationOrAddress
Initiative | Other Initiative Point | WMPInitiativeCategory
Initiative | Other Initiative Point | WMPInitiative
Initiative | Other Initiative Point | WMPActivity
Initiative | Other Initiative Point | ActivityDescription
Initiative | Other Initiative Point | WMPSection
Initiative | Other Initiative Point | OiStatus
Initiative | Other Initiative Point | UnitsRepresented
Initiative | Other Initiative Point | StartDate
Initiative | Other Initiative Point | EndDate
Initiative | Other Initiative Point | OiComment
Initiative | Other Initiative Point | HFTDClass
Initiative | Other Initiative Polygon | OiID
Initiative | Other Initiative Polygon | UtilityID
Initiative | Other Initiative Polygon | UMATID
Initiative | Other Initiative Polygon | LocationOrAddress
Initiative | Other Initiative Polygon | WMPInitiativeCategory
Initiative | Other Initiative Polygon | WMPInitiative
Initiative | Other Initiative Polygon | WMPActivity
Initiative | Other Initiative Polygon | ActivityDescription
Initiative | Other Initiative Polygon | WMPSection
Initiative | Other Initiative Polygon | OiStatus
Initiative | Other Initiative Polygon | UnitsRepresented
Initiative | Other Initiative Polygon | StartDate
Initiative | Other Initiative Polygon | EndDate
Initiative | Other Initiative Polygon | OiComment
Initiative | Other Initiative Polygon | HFTDClass
Initiative | Other Initiative Polygon | HFTDClassComment
Initiative | Vegetation Inspection Line | VmiID
Initiative | Vegetation Inspection Line | UtilityID
Initiative | Vegetation Inspection Line | UMATID
Initiative | Vegetation Inspection Line | ActivityClass
Initiative | Vegetation Inspection Line | SegmentID
Initiative | Vegetation Inspection Line | CircuitID
Initiative | Vegetation Inspection Line | LineClass
Initiative | Vegetation Inspection Line | InspectionLocationOrAddress
Initiative | Vegetation Inspection Line | WMPInitiative
Initiative | Vegetation Inspection Line | WMPActivity
Initiative | Vegetation Inspection Line | ActivityDescription
Initiative | Vegetation Inspection Line | InspectionProgramName
Initiative | Vegetation Inspection Line | WMPSection
Initiative | Vegetation Inspection Line | InspectionStatus
Initiative | Vegetation Inspection Line | UnitsRepresented
Initiative | Vegetation Inspection Line | InspectionStartDate
Initiative | Vegetation Inspection Line | InspectionEndDate
Initiative | Vegetation Inspection Line | InspectionType
Initiative | Vegetation Inspection Line | InspectionTypeComment
Initiative | Vegetation Inspection Line | PerformedBy
Initiative | Vegetation Inspection Line | PerformedByComment
Initiative | Vegetation Inspection Line | CommercialHarvest
Initiative | Vegetation Inspection Line | TreeTrimCount
Initiative | Vegetation Inspection Line | TreeRemovalCount
Initiative | Vegetation Inspection Line | InspectionComment
Initiative | Vegetation Inspection Line | InspectionMethod
Initiative | Vegetation Inspection Line | InspectionMethodComment
Initiative | Vegetation Inspection Line | DataCaptureSensorType
Initiative | Vegetation Inspection Line | DataCaptureSensorTypeComment
Initiative | Vegetation Inspection Line | HFTDClass
Initiative | Vegetation Inspection Line | HFTDClassComment
Initiative | Vegetation Inspection Point | VmiID
Initiative | Vegetation Inspection Point | UtilityID
Initiative | Vegetation Inspection Point | UMATID
Initiative | Vegetation Inspection Point | ActivityClass
Initiative | Vegetation Inspection Point | AssetID
Initiative | Vegetation Inspection Point | AssetFeature
Initiative | Vegetation Inspection Point | SegmentID
Initiative | Vegetation Inspection Point | CircuitID
Initiative | Vegetation Inspection Point | LineClass
Initiative | Vegetation Inspection Point | InspectionLocationOrAddress
Initiative | Vegetation Inspection Point | IsTree
Initiative | Vegetation Inspection Point | VegetationGenus
Initiative | Vegetation Inspection Point | VegetationSpecies
Initiative | Vegetation Inspection Point | VegetationCommonName
Initiative | Vegetation Inspection Point | TreeHeight
Initiative | Vegetation Inspection Point | TreeDiameter
Initiative | Vegetation Inspection Point | TreeDistance
Initiative | Vegetation Inspection Point | DangerTree
Initiative | Vegetation Inspection Point | WMPInitiative
Initiative | Vegetation Inspection Point | WMPActivity
Initiative | Vegetation Inspection Point | ActivityDescription
Initiative | Vegetation Inspection Point | InspectionProgramName
Initiative | Vegetation Inspection Point | WMPSection
Initiative | Vegetation Inspection Point | InspectionStatus
Initiative | Vegetation Inspection Point | UnitsRepresented
Initiative | Vegetation Inspection Point | InspectionStartDate
Initiative | Vegetation Inspection Point | InspectionEndDate
Initiative | Vegetation Inspection Point | InspectionType
Initiative | Vegetation Inspection Point | InspectionTypeComment
Initiative | Vegetation Inspection Point | PerformedBy
Initiative | Vegetation Inspection Point | PerformedByComment
Initiative | Vegetation Inspection Point | CommercialHarvest
Initiative | Vegetation Inspection Point | TreeTrimCount
Initiative | Vegetation Inspection Point | TreeRemovalCount
Initiative | Vegetation Inspection Point | InspectionComment
Initiative | Vegetation Inspection Point | InspectionMethod
Initiative | Vegetation Inspection Point | InspectionMethodComment
Initiative | Vegetation Inspection Point | DataCaptureSensorType
Initiative | Vegetation Inspection Point | DataCaptureSensorTypeComment
Initiative | Vegetation Inspection Point | HFTDClass
Initiative | Vegetation Inspection Polygon | VmiID
Initiative | Vegetation Inspection Polygon | UtilityID
Initiative | Vegetation Inspection Polygon | UMATID
Initiative | Vegetation Inspection Polygon | ActivityClass
Initiative | Vegetation Inspection Polygon | SegmentID
Initiative | Vegetation Inspection Polygon | CircuitID
Initiative | Vegetation Inspection Polygon | LineClass
Initiative | Vegetation Inspection Polygon | AssetID
Initiative | Vegetation Inspection Polygon | AssetFeature
Initiative | Vegetation Inspection Polygon | InspectionLocationOrAddress
Initiative | Vegetation Inspection Polygon | WMPInitiative
Initiative | Vegetation Inspection Polygon | WMPActivity
Initiative | Vegetation Inspection Polygon | ActivityDescription
Initiative | Vegetation Inspection Polygon | InspectionProgramName
Initiative | Vegetation Inspection Polygon | WMPSection
Initiative | Vegetation Inspection Polygon | InspectionStatus
Initiative | Vegetation Inspection Polygon | UnitsRepresented
Initiative | Vegetation Inspection Polygon | InspectionStartDate
Initiative | Vegetation Inspection Polygon | InspectionEndDate
Initiative | Vegetation Inspection Polygon | InspectionType
Initiative | Vegetation Inspection Polygon | InspectionTypeComment
Initiative | Vegetation Inspection Polygon | PerformedBy
Initiative | Vegetation Inspection Polygon | PerformedByComment
Initiative | Vegetation Inspection Polygon | CommercialHarvest
Initiative | Vegetation Inspection Polygon | TreeTrimCount
Initiative | Vegetation Inspection Polygon | TreeRemovalCount
Initiative | Vegetation Inspection Polygon | InspectionComment
Initiative | Vegetation Inspection Polygon | InspectionMethod
Initiative | Vegetation Inspection Polygon | InspectionMethodComment
Initiative | Vegetation Inspection Polygon | DataCaptureSensorType
Initiative | Vegetation Inspection Polygon | DataCaptureSensorTypeComment
Initiative | Vegetation Inspection Polygon | HFTDClass
Initiative | Vegetation Inspection Polygon | HFTDClassComment
Initiative | Vegetation Management Project Line | VmpID
Initiative | Vegetation Management Project Line | UtilityID
Initiative | Vegetation Management Project Line | UMATID
Initiative | Vegetation Management Project Line | ActivityClass
Initiative | Vegetation Management Project Line | SegmentID
Initiative | Vegetation Management Project Line | CircuitID
Initiative | Vegetation Management Project Line | LineClass
Initiative | Vegetation Management Project Line | ProjectLocationOrAddress
Initiative | Vegetation Management Project Line | RadialClearanceDistance
Initiative | Vegetation Management Project Line | LineDeenergized
Initiative | Vegetation Management Project Line | WMPInitiative
Initiative | Vegetation Management Project Line | WMPActivity
Initiative | Vegetation Management Project Line | ActivityDescription
Initiative | Vegetation Management Project Line | WMPSection
Initiative | Vegetation Management Project Line | VmpStatus
Initiative | Vegetation Management Project Line | HerbicideUse
Initiative | Vegetation Management Project Line | HerbicideName
Initiative | Vegetation Management Project Line | UnitsRepresented
Initiative | Vegetation Management Project Line | DescriptionOfWork
Initiative | Vegetation Management Project Line | StartDate
Initiative | Vegetation Management Project Line | EndDate
Initiative | Vegetation Management Project Line | CoastalRedwoodExemption
Initiative | Vegetation Management Project Line | EncroachPermit
Initiative | Vegetation Management Project Line | EnvPermit
Initiative | Vegetation Management Project Line | EnvPermitProject
Initiative | Vegetation Management Project Line | CALFIREHdNumber
Initiative | Vegetation Management Project Line | OtherEnvPermitDocumentation
Initiative | Vegetation Management Project Line | CommercialHarvest
Initiative | Vegetation Management Project Line | SlashManagement
Initiative | Vegetation Management Project Line | SlashManagementComments
Initiative | Vegetation Management Project Line | TreeTrimCountPlanned
Initiative | Vegetation Management Project Line | TreeRemovalCountPlanned
Initiative | Vegetation Management Project Line | TreeTrimCountActl
Initiative | Vegetation Management Project Line | TreeRemovalCountActl
Initiative | Vegetation Management Project Line | WoodDestination
Initiative | Vegetation Management Project Line | WoodDestinationComment
Initiative | Vegetation Management Project Line | HFTDClass
Initiative | Vegetation Management Project Line | HFTDClassComment
Initiative | Vegetation Management Project Point | VmpID
Initiative | Vegetation Management Project Point | UtilityID
Initiative | Vegetation Management Project Point | UMATID
Initiative | Vegetation Management Project Point | ActivityClass
Initiative | Vegetation Management Project Point | AssetID
Initiative | Vegetation Management Project Point | AssetFeature
Initiative | Vegetation Management Project Point | SegmentID
Initiative | Vegetation Management Project Point | CircuitID
Initiative | Vegetation Management Project Point | LineClass
Initiative | Vegetation Management Project Point | ProjectLocationOrAddress
Initiative | Vegetation Management Project Point | IsTree
Initiative | Vegetation Management Project Point | TreeID
Initiative | Vegetation Management Project Point | VegetationGenus
Initiative | Vegetation Management Project Point | VegetationSpecies
Initiative | Vegetation Management Project Point | VegetationCommonName
Initiative | Vegetation Management Project Point | SpeciesGrowthRate
Initiative | Vegetation Management Project Point | TreeHeight
Initiative | Vegetation Management Project Point | TreeDiameter
Initiative | Vegetation Management Project Point | DangerTree
Initiative | Vegetation Management Project Point | RadialClearanceDistance
Initiative | Vegetation Management Project Point | LineDeenergized
Initiative | Vegetation Management Project Point | WMPInitiative
Initiative | Vegetation Management Project Point | WMPActivity
Initiative | Vegetation Management Project Point | ActivityDescription
Initiative | Vegetation Management Project Point | WMPSection
Initiative | Vegetation Management Project Point | VmpStatus
Initiative | Vegetation Management Project Point | HerbicideUse
Initiative | Vegetation Management Project Point | HerbicideName
Initiative | Vegetation Management Project Point | UnitsRepresented
Initiative | Vegetation Management Project Point | DescriptionOfWork
Initiative | Vegetation Management Project Point | StartDate
Initiative | Vegetation Management Project Point | EndDate
Initiative | Vegetation Management Project Point | CoastalRedwoodExemption
Initiative | Vegetation Management Project Point | EncroachPermit
Initiative | Vegetation Management Project Point | EnvPermit
Initiative | Vegetation Management Project Point | EnvPermitProject
Initiative | Vegetation Management Project Point | CALFIREHdNumber
Initiative | Vegetation Management Project Point | OtherEnvPermitDocumentation
Initiative | Vegetation Management Project Point | CommercialHarvest
Initiative | Vegetation Management Project Point | SlashManagement
Initiative | Vegetation Management Project Point | SlashManagementComments
Initiative | Vegetation Management Project Point | TreeTrimCountPlanned
Initiative | Vegetation Management Project Point | TreeRemovalCountPlanned
Initiative | Vegetation Management Project Point | TreeTrimCountActl
Initiative | Vegetation Management Project Point | TreeRemovalCountActl
Initiative | Vegetation Management Project Point | WoodDestination
Initiative | Vegetation Management Project Point | WoodDestinationComment
Initiative | Vegetation Management Project Point | HFTDClass
Initiative | Vegetation Management Project Polygon | VmpID
Initiative | Vegetation Management Project Polygon | UtilityID
Initiative | Vegetation Management Project Polygon | UMATID
Initiative | Vegetation Management Project Polygon | ActivityClass
Initiative | Vegetation Management Project Polygon | AssetID
Initiative | Vegetation Management Project Polygon | AssetFeature
Initiative | Vegetation Management Project Polygon | SegmentID
Initiative | Vegetation Management Project Polygon | CircuitID
Initiative | Vegetation Management Project Polygon | LineClass
Initiative | Vegetation Management Project Polygon | ProjectLocationOrAddress
Initiative | Vegetation Management Project Polygon | LineDeenergized
Initiative | Vegetation Management Project Polygon | WMPInitiative
Initiative | Vegetation Management Project Polygon | WMPActivity
Initiative | Vegetation Management Project Polygon | ActivityDescription
Initiative | Vegetation Management Project Polygon | WMPSection
Initiative | Vegetation Management Project Polygon | VmpStatus
Initiative | Vegetation Management Project Polygon | HerbicideUse
Initiative | Vegetation Management Project Polygon | HerbicideName
Initiative | Vegetation Management Project Polygon | UnitsRepresented
Initiative | Vegetation Management Project Polygon | DescriptionOfWork
Initiative | Vegetation Management Project Polygon | StartDate
Initiative | Vegetation Management Project Polygon | EndDate
Initiative | Vegetation Management Project Polygon | CoastalRedwoodExemption
Initiative | Vegetation Management Project Polygon | EncroachPermit
Initiative | Vegetation Management Project Polygon | EnvPermit
Initiative | Vegetation Management Project Polygon | EnvPermitProject
Initiative | Vegetation Management Project Polygon | CALFIREHdNumber
Initiative | Vegetation Management Project Polygon | OtherEnvPermitDocumentation
Initiative | Vegetation Management Project Polygon | CommercialHarvest
Initiative | Vegetation Management Project Polygon | SlashManagement
Initiative | Vegetation Management Project Polygon | SlashManagementComments
Initiative | Vegetation Management Project Polygon | TreeTrimCountPlanned
Initiative | Vegetation Management Project Polygon | TreeTrimAcreagePlanned
Initiative | Vegetation Management Project Polygon | TreeRemovalCountPlanned
Initiative | Vegetation Management Project Polygon | TreeRemovalAcreagePlanned
Initiative | Vegetation Management Project Polygon | TreeTrimCountActl
Initiative | Vegetation Management Project Polygon | TreeTrimAcreageActl
Initiative | Vegetation Management Project Polygon | TreeRemovalCountActl
Initiative | Vegetation Management Project Polygon | TreeRemovalAcreageActl
Initiative | Vegetation Management Project Polygon | WoodDestination
Initiative | Vegetation Management Project Polygon | WoodDestinationComment
Initiative | Vegetation Management Project Polygon | HFTDClass
Initiative | Vegetation Management Project Polygon | HFTDClassComment
Table (Initiative) | Initiative Photo Log | PhotoID
Table (Initiative) | Initiative Photo Log | UtilityID
Table (Initiative) | Initiative Photo Log | IsBeforeAfter
Table (Initiative) | Initiative Photo Log | InitiativeID
Table (Initiative) | Initiative Photo Log | InitiativeFeature
Other Required Data | Administrative Area | AdminID
Other Required Data | Administrative Area | UtilityID
Other Required Data | Administrative Area | AreaType
Other Required Data | Administrative Area | SubareaType
Other Required Data | Administrative Area | SubareaTypeComment
Other Required Data | Administrative Area | Name
Other Required Data | Critical Facility | FacilityID
Other Required Data | Critical Facility | UtilityID
Other Required Data | Critical Facility | FacilityName
Other Required Data | Critical Facility | FacilityCategory
Other Required Data | Critical Facility | FacilityCategoryComment
Other Required Data | Critical Facility | FacilityDescription
Other Required Data | Critical Facility | SegmentID
Other Required Data | Critical Facility | CircuitID
Other Required Data | Critical Facility | MeterID
Other Required Data | Critical Facility | BackupPower
Other Required Data | Critical Facility | BackupType
Other Required Data | Critical Facility | BackupTypeComment
Other Required Data | Critical Facility | BackupCapacity
Other Required Data | Critical Facility | PopulationImpact
Other Required Data | Critical Facility | PSPSDays
Other Required Data | Critical Facility | Address
Other Required Data | Critical Facility | City
Other Required Data | Critical Facility | Zip
Other Required Data | Critical Facility | HFTDClass
Other Required Data | High Wind Warning Day Polygon | HwwID
Other Required Data | High Wind Warning Day Polygon | UtilityID
Other Required Data | High Wind Warning Day Polygon | HWWIssueDateTime
Other Required Data | High Wind Warning Day Polygon | NumberHWWDays
Other Required Data | Major Woody Stem Exempt Tree Point | UtilityID
Other Required Data | Major Woody Stem Exempt Tree Point | VegetationGenus
Other Required Data | Major Woody Stem Exempt Tree Point | VegetationSpecies
Other Required Data | Major Woody Stem Exempt Tree Point | VegetationCommonName
Other Required Data | Major Woody Stem Exempt Tree Point | LastInspectionDate
Other Required Data | Major Woody Stem Exempt Tree Point | Quantity
Other Required Data | Other Power Line Connection Location | OplcID
Other Required Data | Other Power Line Connection Location | UtilityID
Other Required Data | Other Power Line Connection Location | OtherLineOwner
Other Required Data | Other Power Line Connection Location | ConnectionAsset
Other Required Data | Other Power Line Connection Location | ConnectionPointAssetID
Other Required Data | Other Power Line Connection Location | CorporationSegmentID
Other Required Data | Other Power Line Connection Location | CorporationCircuitID
Other Required Data | Other Power Line Connection Location | CorporationLineClass
Other Required Data | Other Power Line Connection Location | OtherLineClass
Other Required Data | Other Power Line Connection Location | OtherConductorType
Other Required Data | Other Power Line Connection Location | OtherConductorTypeComment
Other Required Data | Other Power Line Connection Location | ConnectionType
Other Required Data | Other Power Line Connection Location | ConnectionOHUG
Other Required Data | Other Power Line Connection Location | OtherNominalVoltagekV
Other Required Data | Other Power Line Connection Location | OtherOperatingVoltagekV
Other Required Data | Other Power Line Connection Location | OtherConductorMaterial
Other Required Data | Other Power Line Connection Location | OtherConductorMaterialComment
Other Required Data | Other Power Line Connection Location | OtherConductorSize
Other Required Data | Other Power Line Connection Location | OtherConductorOD
Other Required Data | Other Power Line Connection Location | ConnectionLastInspectionDate
Other Required Data | Other Power Line Connection Location | ConnectionLastMaintenanceDate
Other Required Data | Other Power Line Connection Location | ConnectionEstablishmentDate
Other Required Data | Other Power Line Connection Location | ConnectionEstablishmentYear
Other Required Data | Other Power Line Connection Location | EstimatedConnectionAge
Other Required Data | Other Power Line Connection Location | OtherUsefulLifespan
Other Required Data | Other Power Line Connection Location | OtherAmpacityRating
Other Required Data | Other Power Line Connection Location | ConnectionComments
Other Required Data | Other Power Line Connection Location | HFTDClass
Other Required Data | Red Flag Warning Day Polygon | RfwID
Other Required Data | Red Flag Warning Day Polygon | UtilityID
Other Required Data | Red Flag Warning Day Polygon | FireWeatherZoneID
Other Required Data | Red Flag Warning Day Polygon | RedFlagWarningIssueDateTime
Other Required Data | Red Flag Warning Day Polygon | NumberRedFlagWarningDays
Psps Event | Psps Event Customer Meter Point | PspsEventMeterID
Psps Event | Psps Event Customer Meter Point | EventID
Psps Event | Psps Event Customer Meter Point | MeterID
Psps Event | Psps Event Customer Meter Point | UtilityID
Psps Event | Psps Event Customer Meter Point | MeterType
Psps Event | Psps Event Customer Meter Point | PredictedDurationMinutes
Psps Event | Psps Event Customer Meter Point | ActualDurationMinutes
Psps Event | Psps Event Customer Meter Point | HFTDClass
Psps Event | Psps Event Damage Point | DamageEventID
Psps Event | Psps Event Damage Point | EventID
Psps Event | Psps Event Damage Point | UtilityID
Psps Event | Psps Event Damage Point | NumberRelatedRecords
Psps Event | Psps Event Damage Point | DamageDateTime
Psps Event | Psps Event Damage Point | FuelBedDescription
Psps Event | Psps Event Damage Point | FuelBedDescriptionComment
Psps Event | Psps Event Damage Point | HFTDClass
Psps Event | Psps Event Line | PspsEventLineID
Psps Event | Psps Event Line | EventID
Psps Event | Psps Event Line | SegmentID
Psps Event | Psps Event Line | CircuitID
Psps Event | Psps Event Line | LineClass
Psps Event | Psps Event Line | SubstationID
Psps Event | Psps Event Line | IsolationDeviceID
Psps Event | Psps Event Line | UtilityID
Psps Event | Psps Event Line | IsolationDevice
Psps Event | Psps Event Line | IsolationDeviceComment
Psps Event | Psps Event Line | PredictedDurationMinutes
Psps Event | Psps Event Line | ActualDurationMinutes
Psps Event | Psps Event Line | DurationPredictionError
Psps Event | Psps Event Line | TotalCustomerMinutes
Psps Event | Psps Event Line | TotalCustomers
Psps Event | Psps Event Line | ResidentialCustomers
Psps Event | Psps Event Line | MedicalBaselineCustomers
Psps Event | Psps Event Line | CommercialIndustrialCustomers
Psps Event | Psps Event Line | OtherCustomers
Psps Event | Psps Event Line | CriticalInfrastructure
Psps Event | Psps Event Line | CriticalInfrastructureDuration
Psps Event | Psps Event Line | CriticalInfrastructureImpact
Psps Event | Psps Event Polygon | PspsEventPolygonID
Psps Event | Psps Event Polygon | EventID
Psps Event | Psps Event Polygon | SegmentID
Psps Event | Psps Event Polygon | CircuitID
Psps Event | Psps Event Polygon | LineClass
Psps Event | Psps Event Polygon | SubstationID
Psps Event | Psps Event Polygon | IsolationDeviceID
Psps Event | Psps Event Polygon | UtilityID
Psps Event | Psps Event Polygon | IsolationDevice
Psps Event | Psps Event Polygon | IsolationDeviceComment
Psps Event | Psps Event Polygon | PredictedDurationMinutes
Psps Event | Psps Event Polygon | ActualDurationMinutes
Psps Event | Psps Event Polygon | DurationPredictionError
Psps Event | Psps Event Polygon | TotalCustomerMinutes
Psps Event | Psps Event Polygon | TotalCustomers
Psps Event | Psps Event Polygon | ResidentialCustomers
Psps Event | Psps Event Polygon | MedicalBaselineCustomers
Psps Event | Psps Event Polygon | CommercialIndustrialCustomers
Psps Event | Psps Event Polygon | OtherCustomers
Psps Event | Psps Event Polygon | CriticalInfrastructure
Psps Event | Psps Event Polygon | CriticalInfrastructureDuration
Psps Event | Psps Event Polygon | CriticalInfrastructureImpact
Table (Psps Event) | Psps Event Conductor Damage Detail | PspsCdID
Table (Psps Event) | Psps Event Conductor Damage Detail | DamageEventID
Table (Psps Event) | Psps Event Conductor Damage Detail | UtilityID
Table (Psps Event) | Psps Event Conductor Damage Detail | LineClass
Table (Psps Event) | Psps Event Conductor Damage Detail | SegmentID
Table (Psps Event) | Psps Event Conductor Damage Detail | CircuitID
Table (Psps Event) | Psps Event Conductor Damage Detail | FromDeviceID
Table (Psps Event) | Psps Event Conductor Damage Detail | ToDeviceID
Table (Psps Event) | Psps Event Conductor Damage Detail | SubstationID
Table (Psps Event) | Psps Event Conductor Damage Detail | NominalVoltagekV
Table (Psps Event) | Psps Event Conductor Damage Detail | OperatingVoltagekV
Table (Psps Event) | Psps Event Conductor Damage Detail | ConductorMaterial
Table (Psps Event) | Psps Event Conductor Damage Detail | ConductorMaterialComment
Table (Psps Event) | Psps Event Conductor Damage Detail | ConductorType
Table (Psps Event) | Psps Event Conductor Damage Detail | ConductorTypeComment
Table (Psps Event) | Psps Event Conductor Damage Detail | ConductorLength
Table (Psps Event) | Psps Event Conductor Damage Detail | FailedEquipmentDescription
Table (Psps Event) | Psps Event Conductor Damage Detail | Cause
Table (Psps Event) | Psps Event Conductor Damage Detail | CauseComment
Table (Psps Event) | Psps Event Conductor Damage Detail | ObjectContact
Table (Psps Event) | Psps Event Conductor Damage Detail | ObjectContactComment
Table (Psps Event) | Psps Event Conductor Damage Detail | LikelyArcing
Table (Psps Event) | Psps Event Conductor Damage Detail | VmInspectionDate
Table (Psps Event) | Psps Event Conductor Damage Detail | VegetationGenus
Table (Psps Event) | Psps Event Conductor Damage Detail | VegetationSpecies
Table (Psps Event) | Psps Event Conductor Damage Detail | VegetationCommonName
Table (Psps Event) | Psps Event Conductor Damage Detail | TreeHeight
Table (Psps Event) | Psps Event Conductor Damage Detail | TreeDiameter
Table (Psps Event) | Psps Event Conductor Damage Detail | TreeTrunkDistance
Table (Psps Event) | Psps Event Damage Photo Log | DamagedAssetPhotoID
Table (Psps Event) | Psps Event Damage Photo Log | UtilityID
Table (Psps Event) | Psps Event Damage Photo Log | FuelBedPhotoID
Table (Psps Event) | Psps Event Damage Photo Log | DamageEventID
Table (Psps Event) | Psps Event Log | EventID
Table (Psps Event) | Psps Event Log | UtilityID
Table (Psps Event) | Psps Event Log | EOCActivationDateTime
Table (Psps Event) | Psps Event Log | StartDateTime
Table (Psps Event) | Psps Event Log | AllClearDateTime
Table (Psps Event) | Psps Event Log | AllLoadUpDateTime
Table (Psps Event) | Psps Event Log | WindRisk
Table (Psps Event) | Psps Event Log | RelativeHumidityRisk
Table (Psps Event) | Psps Event Log | TemperatureRisk
Table (Psps Event) | Psps Event Log | VegetationRisk
Table (Psps Event) | Psps Event Log | AssetRisk
Table (Psps Event) | Psps Event Log | DeadFuelRisk
Table (Psps Event) | Psps Event Log | LiveFuelRisk
Table (Psps Event) | Psps Event Log | RedFlagWarningRisk
Table (Psps Event) | Psps Event Log | OtherRisk
Table (Psps Event) | Psps Event Log | OtherRiskReason
Table (Psps Event) | Psps Event Other Asset Damage Detail | PspsOadID
Table (Psps Event) | Psps Event Other Asset Damage Detail | DamageEventID
Table (Psps Event) | Psps Event Other Asset Damage Detail | UtilityID
Table (Psps Event) | Psps Event Other Asset Damage Detail | Asset
Table (Psps Event) | Psps Event Other Asset Damage Detail | AssetID
Table (Psps Event) | Psps Event Other Asset Damage Detail | AssetFeature
Table (Psps Event) | Psps Event Other Asset Damage Detail | LineClass
Table (Psps Event) | Psps Event Other Asset Damage Detail | SegmentID
Table (Psps Event) | Psps Event Other Asset Damage Detail | CircuitID
Table (Psps Event) | Psps Event Other Asset Damage Detail | Cause
Table (Psps Event) | Psps Event Other Asset Damage Detail | CauseComment
Table (Psps Event) | Psps Event Other Asset Damage Detail | ObjectContact
Table (Psps Event) | Psps Event Other Asset Damage Detail | ObjectContactComment
Table (Psps Event) | Psps Event Other Asset Damage Detail | AssociatedNominalVoltagekV
Table (Psps Event) | Psps Event Other Asset Damage Detail | AssociatedOperatingVoltagekV
Table (Psps Event) | Psps Event Other Asset Damage Detail | ManufacturerModelID
Table (Psps Event) | Psps Event Other Asset Damage Detail | ExemptionStatus
Table (Psps Event) | Psps Event Other Asset Damage Detail | LikelyArcing
Table (Psps Event) | Psps Event Other Asset Damage Detail | VmInspectionDate
Table (Psps Event) | Psps Event Other Asset Damage Detail | VegetationGenus
Table (Psps Event) | Psps Event Other Asset Damage Detail | VegetationSpecies
Table (Psps Event) | Psps Event Other Asset Damage Detail | VegetationCommonName
Table (Psps Event) | Psps Event Other Asset Damage Detail | TreeHeight
Table (Psps Event) | Psps Event Other Asset Damage Detail | TreeDiameter
Table (Psps Event) | Psps Event Other Asset Damage Detail | TreeTrunkDistance
Table (Psps Event) | Psps Event Support Structure Damage Detail | PspsSsdID
Table (Psps Event) | Psps Event Support Structure Damage Detail | DamageEventID
Table (Psps Event) | Psps Event Support Structure Damage Detail | UtilityID
Table (Psps Event) | Psps Event Support Structure Damage Detail | SupportStructureID
Table (Psps Event) | Psps Event Support Structure Damage Detail | Asset
Table (Psps Event) | Psps Event Support Structure Damage Detail | AssetComment
Table (Psps Event) | Psps Event Support Structure Damage Detail | Cause
Table (Psps Event) | Psps Event Support Structure Damage Detail | CauseComment
Table (Psps Event) | Psps Event Support Structure Damage Detail | ObjectContact
Table (Psps Event) | Psps Event Support Structure Damage Detail | ObjectContactComment
Table (Psps Event) | Psps Event Support Structure Damage Detail | SupportStructureMaterial
Table (Psps Event) | Psps Event Support Structure Damage Detail | MaterialComment
Table (Psps Event) | Psps Event Support Structure Damage Detail | LikelyArcing
Table (Psps Event) | Psps Event Support Structure Damage Detail | DamageDescription
Table (Psps Event) | Psps Event Support Structure Damage Detail | DamageDescriptionComment
Table (Psps Event) | Psps Event Support Structure Damage Detail | VmInspectionDate
Table (Psps Event) | Psps Event Support Structure Damage Detail | VegetationGenus
Table (Psps Event) | Psps Event Support Structure Damage Detail | VegetationSpecies
Table (Psps Event) | Psps Event Support Structure Damage Detail | VegetationCommonName
Table (Psps Event) | Psps Event Support Structure Damage Detail | TreeHeight
Table (Psps Event) | Psps Event Support Structure Damage Detail | TreeDiameter
Table (Psps Event) | Psps Event Support Structure Damage Detail | TreeTrunkDistance
Risk Event | Ignition | IgnitionID
Risk Event | Ignition | UtilityID
Risk Event | Ignition | SubstationID
Risk Event | Ignition | NearestWeatherStationID
Risk Event | Ignition | OutageID
Risk Event | Ignition | OutageStatus
Risk Event | Ignition | FireStartDateTime
Risk Event | Ignition | FireStartYear
Risk Event | Ignition | FireDetectionMethod
Risk Event | Ignition | FireDetectionMethodComment
Risk Event | Ignition | SuspectedInitiatingCause
Risk Event | Ignition | SuspectedInitiatingCauseComment
Risk Event | Ignition | ObjectContact
Risk Event | Ignition | ObjectContactComment
Risk Event | Ignition | VegetationGenus
Risk Event | Ignition | VegetationSpecies
Risk Event | Ignition | VegetationCommonName
Risk Event | Ignition | EquipmentFailure
Risk Event | Ignition | EquipmentFailureComment
Risk Event | Ignition | AssociatedNominalVoltagekV
Risk Event | Ignition | AssociatedOperatingVoltagekV
Risk Event | Ignition | OtherCompanies
Risk Event | Ignition | EquipmentType
Risk Event | Ignition | Determination
Risk Event | Ignition | DeterminationComment
Risk Event | Ignition | FacilityContacted
Risk Event | Ignition | FacilityContactedComment
Risk Event | Ignition | AssetID
Risk Event | Ignition | AssetFeature
Risk Event | Ignition | SegmentID
Risk Event | Ignition | CircuitID
Risk Event | Ignition | LineClass
Risk Event | Ignition | ContributingFactor
Risk Event | Ignition | ContributingFactorComment
Risk Event | Ignition | RFWStatus
Risk Event | Ignition | RFWIssueDateTime
Risk Event | Ignition | FWWStatus
Risk Event | Ignition | FWWIssueDateTime
Risk Event | Ignition | HWWStatus
Risk Event | Ignition | HWWIssueDateTime
Risk Event | Ignition | OriginLandUse
Risk Event | Ignition | MaterialAtOrigin
Risk Event | Ignition | MaterialAtOriginComment
Risk Event | Ignition | FuelBedDescription
Risk Event | Ignition | FuelBedDescriptionComment
Risk Event | Ignition | FireSize
Risk Event | Ignition | SuppressedBy
Risk Event | Ignition | SuppressingAgency
Risk Event | Ignition | FireInvestigation
Risk Event | Ignition | FireAHJ
Risk Event | Ignition | IgnitionNotes
Risk Event | Ignition | HFTDClass
Risk Event | Ignition | Latitude
Risk Event | Ignition | Longitude
Risk Event | Unplanned Outage | OutageID
Risk Event | Unplanned Outage | OutageClass
Risk Event | Unplanned Outage | UtilityID
Risk Event | Unplanned Outage | SubstationID
Risk Event | Unplanned Outage | BasicCause
Risk Event | Unplanned Outage | BasicCauseComment
Risk Event | Unplanned Outage | BasicCauseObject
Risk Event | Unplanned Outage | BasicCauseObjectComment
Risk Event | Unplanned Outage | FacilityContacted
Risk Event | Unplanned Outage | FacilityContactedComment
Risk Event | Unplanned Outage | EquipmentFailure
Risk Event | Unplanned Outage | EquipmentFailureComment
Risk Event | Unplanned Outage | AssetID
Risk Event | Unplanned Outage | AssetFeature
Risk Event | Unplanned Outage | SegmentID
Risk Event | Unplanned Outage | CircuitID
Risk Event | Unplanned Outage | LineClass
Risk Event | Unplanned Outage | ExpulsionFuseOperation
Risk Event | Unplanned Outage | OutageDescription
Risk Event | Unplanned Outage | EventYear
Risk Event | Unplanned Outage | OutageStartDateTime
Risk Event | Unplanned Outage | OutageEndDateTime
Risk Event | Unplanned Outage | OutageDuration
Risk Event | Unplanned Outage | CustomerMinutesInterrupted
Risk Event | Unplanned Outage | CustomersOutMomentary
Risk Event | Unplanned Outage | CustomersOutSustained
Risk Event | Unplanned Outage | CustomerCount
Risk Event | Unplanned Outage | OutageInterval
Risk Event | Unplanned Outage | OutageIntervalAltDefinition
Risk Event | Unplanned Outage | AssociatedNominalVoltagekV
Risk Event | Unplanned Outage | AssociatedOperatingVoltagekV
Risk Event | Unplanned Outage | OtherCompanies
Risk Event | Unplanned Outage | RecloserSetting
Risk Event | Unplanned Outage | RapidFaultSetting
Risk Event | Unplanned Outage | IsolationDeviceType
Risk Event | Unplanned Outage | IsolationDeviceTypeComment
Risk Event | Unplanned Outage | MajorEventDay
Risk Event | Unplanned Outage | LocationOrAddress
Risk Event | Unplanned Outage | HFTDClass
Risk Event | Unplanned Outage | VmOutageDescription
Risk Event | Unplanned Outage | VmInspectionDate
Risk Event | Unplanned Outage | VegetationGenus
Risk Event | Unplanned Outage | VegetationSpecies
Risk Event | Unplanned Outage | VegetationCommonName
Risk Event | Unplanned Outage | TreeHeight
Risk Event | Unplanned Outage | TreeDiameter
Risk Event | Unplanned Outage | TreeTrunkDistance
Risk Event | Unplanned Outage | RFWDay
Risk Event | Wire Down Event | WireDownID
Risk Event | Wire Down Event | UtilityID
Risk Event | Wire Down Event | OutageStatus
Risk Event | Wire Down Event | OutageID
Risk Event | Wire Down Event | AssetID
Risk Event | Wire Down Event | AssetFeature
Risk Event | Wire Down Event | SegmentID
Risk Event | Wire Down Event | CircuitID
Risk Event | Wire Down Event | LineClass
Risk Event | Wire Down Event | WireDownDate
Risk Event | Wire Down Event | WireDownYear
Risk Event | Wire Down Event | Cause
Risk Event | Wire Down Event | CauseComment
Risk Event | Wire Down Event | ObjectContact
Risk Event | Wire Down Event | ObjectContactComment
Risk Event | Wire Down Event | EquipmentFailure
Risk Event | Wire Down Event | EquipmentFailureComment
Risk Event | Wire Down Event | FacilityContacted
Risk Event | Wire Down Event | FacilityContactedComment
Risk Event | Wire Down Event | VegetationGenus
Risk Event | Wire Down Event | VegetationSpecies
Risk Event | Wire Down Event | VegetationCommonName
Risk Event | Wire Down Event | AssociatedNominalVoltagekV
Risk Event | Wire Down Event | AssociatedOperatingVoltagekV
Risk Event | Wire Down Event | SpanLength
Risk Event | Wire Down Event | TotalSplices
Risk Event | Wire Down Event | MaxSplices
Risk Event | Wire Down Event | MultipleDown
Risk Event | Wire Down Event | ConductorMaterial
Risk Event | Wire Down Event | ConductorMaterialComment
Risk Event | Wire Down Event | ConductorSize
Risk Event | Wire Down Event | ConductorOD
Risk Event | Wire Down Event | ConductorRating
Risk Event | Wire Down Event | Energized
Risk Event | Wire Down Event | IgnitionStatus
Risk Event | Wire Down Event | IgnitionID
Risk Event | Wire Down Event | WireDownNotes
Risk Event | Wire Down Event | HFTDClass
Table (Risk Event) | Risk Event Photo Log | PhotoID
Table (Risk Event) | Risk Event Photo Log | UtilityID
Table (Risk Event) | Risk Event Photo Log | IgnitionID
Table (Risk Event) | Risk Event Photo Log | WireDownID