## Table 11
METRIC NUMBER | WMP CATEGORY | WMP INITIATIVE | WMP ACTIVITY (IF BLANK THIS REFERS TO ALL ACTIVITIES UNDER THE INITIATIVE) | EXPENSE TYPE | HFTD TIER | UNIT(S) | UTILITY MITIGATION ACTIVITY TRACKING IDS | PRIMARY DRIVER TARGETED | SECONDARY DRIVERS TARGETED | YEAR INITIATED | MOST RECENT PROCEEDING | MEMORANDUM ACCOUNT | CURRENT COMPLIANCE STATUS | ASSOCIATED RULES | OTHER SPEND CATEGORY | COMMENTS | BLANK MEANING | UTILITY ID | REPORTING YEAR | ACTUAL VALUE
3110000000 | Risk Methodology and Assessment | Risk Methodology and Assessment (Initiative) |  | CAPEX | Total Territory | $ Thousands |  | Foundational | Foundational | 2019 | 2023 GRC |  | In Compliance |  |  |  |  | PG&E | 2025 | 10786.5665
3110000001 | Risk Methodology and Assessment | Risk Methodology and Assessment (Initiative) |  | CAPEX | HFTD | $ Thousands |  | Foundational | Foundational | 2019 | 2023 GRC |  | In Compliance |  |  |  |  | PG&E | 2025 | 2804.5073
3110000002 | Risk Methodology and Assessment | Risk Methodology and Assessment (Initiative) |  | OPEX | Total Territory | $ Thousands |  | Foundational | Foundational | 2019 | 2023 GRC |  | In Compliance |  |  |  |  | PG&E | 2025 | 65.7259
3110000003 | Risk Methodology and Assessment | Risk Methodology and Assessment (Initiative) |  | OPEX | HFTD | $ Thousands |  | Foundational | Foundational | 2019 | 2023 GRC |  | In Compliance |  |  |  |  | PG&E | 2025 | 17.0887
3110000004 | Wildfire Mitigation Strategy | Wildfire Mitigation Strategy Development |  | CAPEX | Total Territory | $ Thousands |  | Foundational | All Drivers, All Consequences |  | 2023 GRC |  | In Compliance |  | Costs partially in Risk Methodology and Assessment |  |  | PG&E | 2025 | 57473.8628
3110000005 | Wildfire Mitigation Strategy | Wildfire Mitigation Strategy Development |  | CAPEX | HFTD | $ Thousands |  | Foundational | All Drivers, All Consequences |  | 2023 GRC |  | In Compliance |  | Costs partially in Risk Methodology and Assessment |  |  | PG&E | 2025 | 47180.0522
3110000006 | Wildfire Mitigation Strategy | Wildfire Mitigation Strategy Development |  | OPEX | Total Territory | $ Thousands |  | Foundational | All Drivers, All Consequences |  | 2023 GRC |  | In Compliance |  | Costs partially in Risk Methodology and Assessment |  |  | PG&E | 2025 | 173736.822
3110000007 | Wildfire Mitigation Strategy | Wildfire Mitigation Strategy Development |  | OPEX | HFTD | $ Thousands |  | Foundational | All Drivers, All Consequences |  | 2023 GRC |  | In Compliance |  | Costs partially in Risk Methodology and Assessment |  |  | PG&E | 2025 | 120688.6092
3110000008 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Covered conductor installation | CAPEX | Total Territory | $ Thousands | GH-01, GH-02, GH-03 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2018 | 2023 GRC |  | In Compliance | TD-9001M CH 15 "Fire Area Design Guidance" |  |  |  | PG&E | 2025 | 287202.2806
3110000009 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Covered conductor installation | CAPEX | HFTD | $ Thousands | GH-01, GH-02, GH-03 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2018 | 2023 GRC |  | In Compliance | TD-9001M CH 15 "Fire Area Design Guidance" |  |  |  | PG&E | 2025 | 285498.5255
3110000010 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Covered conductor installation | OPEX | Total Territory | $ Thousands | GH-01, GH-02, GH-03 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2018 | 2023 GRC |  | In Compliance | TD-9001M CH 15 "Fire Area Design Guidance" |  |  |  | PG&E | 2025 | 409.0005
3110000011 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Covered conductor installation | OPEX | HFTD | $ Thousands | GH-01, GH-02, GH-03 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2018 | 2023 GRC |  | In Compliance | TD-9001M CH 15 "Fire Area Design Guidance" |  |  |  | PG&E | 2025 | 106.3401
3110000012 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Undergrounding of electric lines and/or equipment | CAPEX | Total Territory | $ Thousands | GH-04 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2019 | 2023 GRC |  | In Compliance | UG Design and Construction Standards |  |  |  | PG&E | 2025 | 1210526.7191
3110000013 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Undergrounding of electric lines and/or equipment | CAPEX | HFTD | $ Thousands | GH-04 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2019 | 2023 GRC |  | In Compliance | UG Design and Construction Standards |  |  |  | PG&E | 2025 | 1191461.3071
3110000014 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Undergrounding of electric lines and/or equipment | OPEX | Total Territory | $ Thousands | GH-04 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2019 | 2023 GRC |  | In Compliance | UG Design and Construction Standards |  |  |  | PG&E | 2025 | 0
3110000015 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Undergrounding of electric lines and/or equipment | OPEX | HFTD | $ Thousands | GH-04 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2019 | 2023 GRC |  | In Compliance | UG Design and Construction Standards |  |  |  | PG&E | 2025 | 0
3110000016 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Distribution pole replacements and reinforcements | CAPEX | Total Territory | $ Thousands |  | Equipment / facility failure |  | <2018 | 2023 GRC |  | Not in Compliance | GO 95 Rule 18 |  |  |  | PG&E | 2025 | 929921.5019
3110000017 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Distribution pole replacements and reinforcements | CAPEX | HFTD | $ Thousands |  | Equipment / facility failure |  | <2018 | 2023 GRC |  | Not in Compliance | GO 95 Rule 18 |  |  |  | PG&E | 2025 | 657546.7253
3110000018 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Distribution pole replacements and reinforcements | OPEX | Total Territory | $ Thousands |  | Equipment / facility failure |  | <2018 | 2023 GRC |  | Not in Compliance | GO 95 Rule 18 |  |  |  | PG&E | 2025 | 0
3110000019 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Distribution pole replacements and reinforcements | OPEX | HFTD | $ Thousands |  | Equipment / facility failure |  | <2018 | 2023 GRC |  | Not in Compliance | GO 95 Rule 18 |  |  |  | PG&E | 2025 | 0
3110000020 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Transmission pole/tower replacements and reinforcements | CAPEX | Total Territory | $ Thousands |  | Equipment / facility failure |  | <2018 | TO Rate Case |  |  | GO 95 Rule 18 |  |  |  | PG&E | 2025 | 184770.4763
3110000021 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Transmission pole/tower replacements and reinforcements | CAPEX | HFTD | $ Thousands |  | Equipment / facility failure |  | <2018 | TO Rate Case |  |  | GO 95 Rule 18 |  |  |  | PG&E | 2025 | 96506.0613
3110000022 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Transmission pole/tower replacements and reinforcements | OPEX | Total Territory | $ Thousands |  | Equipment / facility failure |  | <2018 | TO Rate Case |  |  | GO 95 Rule 18 |  |  |  | PG&E | 2025 | 82213.6664
3110000023 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Transmission pole/tower replacements and reinforcements | OPEX | HFTD | $ Thousands |  | Equipment / facility failure |  | <2018 | TO Rate Case |  |  | GO 95 Rule 18 |  |  |  | PG&E | 2025 | 52781.6843
3110000024 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Traditional overhead hardening | CAPEX | Total Territory | $ Thousands | GH-05, GH-06, GH-11 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | Distribution: refer to Maintenance program in 8.4; Transmission: <2018 | 2023 GRC; TO Rate Case | [6 empty] | PG&E | 2025 | 53596.7906
3110000025 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Traditional overhead hardening | CAPEX | HFTD | $ Thousands | GH-05, GH-06, GH-11 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | Distribution: refer to Maintenance program in 8.4; Transmission: <2018 | 2023 GRC; TO Rate Case | [6 empty] | PG&E | 2025 | 53596.7906
3110000026 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Traditional overhead hardening | OPEX | Total Territory | $ Thousands | GH-05, GH-06, GH-11 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | Distribution: refer to Maintenance program in 8.4; Transmission: <2018 | 2023 GRC; TO Rate Case | [6 empty] | PG&E | 2025 | 0
3110000027 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Traditional overhead hardening | OPEX | HFTD | $ Thousands | GH-05, GH-06, GH-11 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | Distribution: refer to Maintenance program in 8.4; Transmission: <2018 | 2023 GRC; TO Rate Case | [6 empty] | PG&E | 2025 | 0
3110000028 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Emerging grid hardening technology installations and pilots | CAPEX | Total Territory | $ Thousands |  | Equipment / facility failure |  | 2020 | 2023 GRC; TO Rate Case |  | Not in Compliance | Cal Fire Power Line Fire Prevention Field Guide; TD-9100P-09 |  |  |  | PG&E | 2025 | 0
3110000029 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Emerging grid hardening technology installations and pilots | CAPEX | HFTD | $ Thousands |  | Equipment / facility failure |  | 2020 | 2023 GRC; TO Rate Case |  | Not in Compliance | Cal Fire Power Line Fire Prevention Field Guide; TD-9100P-09 |  |  |  | PG&E | 2025 | 0
3110000030 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Emerging grid hardening technology installations and pilots | OPEX | Total Territory | $ Thousands |  | Equipment / facility failure |  | 2020 | 2023 GRC; TO Rate Case |  | Not in Compliance | Cal Fire Power Line Fire Prevention Field Guide; TD-9100P-09 |  |  |  | PG&E | 2025 | 730.5489
3110000031 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Emerging grid hardening technology installations and pilots | OPEX | HFTD | $ Thousands |  | Equipment / facility failure |  | 2020 | 2023 GRC; TO Rate Case |  | Not in Compliance | Cal Fire Power Line Fire Prevention Field Guide; TD-9100P-09 |  |  |  | PG&E | 2025 | 730.5489
3110000032 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Microgrids | CAPEX | Total Territory | $ Thousands |  | Consequence - PSPS |  | 2019 | 2023 GRC |  | In Compliance |  |  |  |  | PG&E | 2025 | 273.83
3110000033 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Microgrids | CAPEX | HFTD | $ Thousands |  | Consequence - PSPS |  | 2019 | 2023 GRC |  | In Compliance |  |  |  |  | PG&E | 2025 | 273.83
3110000034 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Microgrids | OPEX | Total Territory | $ Thousands |  | Consequence - PSPS |  | 2019 | 2023 GRC |  | In Compliance |  |  |  |  | PG&E | 2025 | 5836.9684
3110000035 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Microgrids | OPEX | HFTD | $ Thousands |  | Consequence - PSPS |  | 2019 | 2023 GRC |  | In Compliance |  |  |  |  | PG&E | 2025 | 4425.8246
3110000036 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Installation of system automation equipment | CAPEX | Total Territory | $ Thousands | GH-07 | Foundational | Foundational | 2019 | [7 empty] | PG&E | 2025 | 0
3110000037 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Installation of system automation equipment | CAPEX | HFTD | $ Thousands | GH-07 | Foundational | Foundational | 2019 | [7 empty] | PG&E | 2025 | 0
3110000038 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Installation of system automation equipment | OPEX | Total Territory | $ Thousands | GH-07 | Foundational | Foundational | 2019 | [7 empty] | PG&E | 2025 | 0
3110000039 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Installation of system automation equipment | OPEX | HFTD | $ Thousands | GH-07 | Foundational | Foundational | 2019 | [7 empty] | PG&E | 2025 | 0
3110000040 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Line removals (in HFTD) | CAPEX | Total Territory | $ Thousands |  | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | Distribution: 2019; Transmission: <2018 | 2023 GRC |  | In Compliance | TD-2495P-01 - Idle Facility Program; GO-95 Rule 31.6 |  |  |  | PG&E | 2025 | 23263.0378
3110000041 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Line removals (in HFTD) | CAPEX | HFTD | $ Thousands |  | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | Distribution: 2019; Transmission: <2018 | 2023 GRC |  | In Compliance | TD-2495P-01 - Idle Facility Program; GO-95 Rule 31.6 |  |  |  | PG&E | 2025 | 23263.0378
3110000042 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Line removals (in HFTD) | OPEX | Total Territory | $ Thousands |  | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | Distribution: 2019; Transmission: <2018 | 2023 GRC |  | In Compliance | TD-2495P-01 - Idle Facility Program; GO-95 Rule 31.6 |  |  |  | PG&E | 2025 | 0
3110000043 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Line removals (in HFTD) | OPEX | HFTD | $ Thousands |  | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | Distribution: 2019; Transmission: <2018 | 2023 GRC |  | In Compliance | TD-2495P-01 - Idle Facility Program; GO-95 Rule 31.6 |  |  |  | PG&E | 2025 | 0
3110000044 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Other grid topology improvements to minimize risk of ignitions | CAPEX | Total Territory | $ Thousands | GH-08, GH-09, GH-10, GM-06 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2021 | 2023 GRC |  | Not in Compliance | Cal Fire Power Line Fire Prevention Field Guide; TD-9100P-09 |  |  |  | PG&E | 2025 | 52656.2753
3110000045 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Other grid topology improvements to minimize risk of ignitions | CAPEX | HFTD | $ Thousands | GH-08, GH-09, GH-10, GM-06 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2021 | 2023 GRC |  | Not in Compliance | Cal Fire Power Line Fire Prevention Field Guide; TD-9100P-09 |  |  |  | PG&E | 2025 | 49310.5558
3110000046 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Other grid topology improvements to minimize risk of ignitions | OPEX | Total Territory | $ Thousands | GH-08, GH-09, GH-10, GM-06 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2021 | 2023 GRC |  | Not in Compliance | Cal Fire Power Line Fire Prevention Field Guide; TD-9100P-09 |  |  |  | PG&E | 2025 | 0
3110000047 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Other grid topology improvements to minimize risk of ignitions | OPEX | HFTD | $ Thousands | GH-08, GH-09, GH-10, GM-06 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2021 | 2023 GRC |  | Not in Compliance | Cal Fire Power Line Fire Prevention Field Guide; TD-9100P-09 |  |  |  | PG&E | 2025 | 0
3110000048 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Other grid topology improvements to mitigate or reduce PSPS events | CAPEX | Total Territory | $ Thousands |  | Consequence - PSPS |  | Distribution: 2019; Transmission: 2019/2020 |  |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000049 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Other grid topology improvements to mitigate or reduce PSPS events | CAPEX | HFTD | $ Thousands |  | Consequence - PSPS |  | Distribution: 2019; Transmission: 2019/2020 |  |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000050 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Other grid topology improvements to mitigate or reduce PSPS events | OPEX | Total Territory | $ Thousands |  | Consequence - PSPS |  | Distribution: 2019; Transmission: 2019/2020 |  |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000051 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Other grid topology improvements to mitigate or reduce PSPS events | OPEX | HFTD | $ Thousands |  | Consequence - PSPS |  | Distribution: 2019; Transmission: 2019/2020 |  |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000052 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Other technologies and systems not listed above | CAPEX | Total Territory | $ Thousands |  | Contact from object |  | Pertaining to Substation Animal Abatement: 2019 - Wildfire Safety Plan | 2023 GRC |  | Exceeding Compliance | Pertaining to Substation Animal Abatement: GO 174 |  |  |  | PG&E | 2025 | 8712.5493
3110000053 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Other technologies and systems not listed above | CAPEX | HFTD | $ Thousands |  | Contact from object |  | Pertaining to Substation Animal Abatement: 2019 - Wildfire Safety Plan | 2023 GRC |  | Exceeding Compliance | Pertaining to Substation Animal Abatement: GO 174 |  |  |  | PG&E | 2025 | 707.8515
3110000054 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Other technologies and systems not listed above | OPEX | Total Territory | $ Thousands |  | Contact from object |  | Pertaining to Substation Animal Abatement: 2019 - Wildfire Safety Plan | 2023 GRC |  | Exceeding Compliance | Pertaining to Substation Animal Abatement: GO 174 |  |  |  | PG&E | 2025 | 2726.0844
3110000055 | Grid Design, Operations, and Maintenance | Grid Design and System Hardening | Other technologies and systems not listed above | OPEX | HFTD | $ Thousands |  | Contact from object |  | Pertaining to Substation Animal Abatement: 2019 - Wildfire Safety Plan | 2023 GRC |  | Exceeding Compliance | Pertaining to Substation Animal Abatement: GO 174 |  |  |  | PG&E | 2025 | 271.8784
3110000056 | Grid Design, Operations, and Maintenance | Asset Inspections |  | CAPEX | Total Territory | $ Thousands | AI-01, AI-02, AI-03, AI-04, AI-05, AI-06, AI-07, AI-08, AI-09, AI-10 | Equipment / facility failure |  | Distribution: 2016 (focused on WMP work); Transmission: 2019 (when WSIP program started in full); Substation: 2019 Wildfire Safety Plan | 2023 GRC; TO Rate Case |  | Exceeding Compliance | GO 95; GO 165; GO 165 IV; GO 95; Rule 18B; Rule 31.2; GO 174 |  |  |  | PG&E | 2025 | 0
3110000057 | Grid Design, Operations, and Maintenance | Asset Inspections |  | CAPEX | HFTD | $ Thousands | AI-01, AI-02, AI-03, AI-04, AI-05, AI-06, AI-07, AI-08, AI-09, AI-10 | Equipment / facility failure |  | Distribution: 2016 (focused on WMP work); Transmission: 2019 (when WSIP program started in full); Substation: 2019 Wildfire Safety Plan | 2023 GRC; TO Rate Case |  | Exceeding Compliance | GO 95; GO 165; GO 165 IV; GO 95; Rule 18B; Rule 31.2; GO 174 |  |  |  | PG&E | 2025 | 0
3110000058 | Grid Design, Operations, and Maintenance | Asset Inspections |  | OPEX | Total Territory | $ Thousands | AI-01, AI-02, AI-03, AI-04, AI-05, AI-06, AI-07, AI-08, AI-09, AI-10 | Equipment / facility failure |  | Distribution: 2016 (focused on WMP work); Transmission: 2019 (when WSIP program started in full); Substation: 2019 Wildfire Safety Plan | 2023 GRC; TO Rate Case |  | Exceeding Compliance | GO 95; GO 165; GO 165 IV; GO 95; Rule 18B; Rule 31.2; GO 174 |  |  |  | PG&E | 2025 | 84513.2026
3110000059 | Grid Design, Operations, and Maintenance | Asset Inspections |  | OPEX | HFTD | $ Thousands | AI-01, AI-02, AI-03, AI-04, AI-05, AI-06, AI-07, AI-08, AI-09, AI-10 | Equipment / facility failure |  | Distribution: 2016 (focused on WMP work); Transmission: 2019 (when WSIP program started in full); Substation: 2019 Wildfire Safety Plan | 2023 GRC; TO Rate Case |  | Exceeding Compliance | GO 95; GO 165; GO 165 IV; GO 95; Rule 18B; Rule 31.2; GO 174 |  |  |  | PG&E | 2025 | 80962.1882
3110000060 | Grid Design, Operations, and Maintenance | Equipment Maintenance and Repair |  | CAPEX | Total Territory | $ Thousands |  | Equipment / facility failure |  | Distribution: <2018; Transmission: <2018; Substation: Circuit breaker maintenance and installation initiative was introduced in the 2020 WMP. | 2023 GRC; TO Rate Case | Partially in WMPMA | Not in Compliance | GO 95 Rule 18; CPUC General Order 174; WECC-FAC-501 |  |  |  | PG&E | 2025 | 1252741.4014
3110000061 | Grid Design, Operations, and Maintenance | Equipment Maintenance and Repair |  | CAPEX | HFTD | $ Thousands |  | Equipment / facility failure |  | Distribution: <2018; Transmission: <2018; Substation: Circuit breaker maintenance and installation initiative was introduced in the 2020 WMP. | 2023 GRC; TO Rate Case | Partially in WMPMA | Not in Compliance | GO 95 Rule 18; CPUC General Order 174; WECC-FAC-501 |  |  |  | PG&E | 2025 | 437625.0907
3110000062 | Grid Design, Operations, and Maintenance | Equipment Maintenance and Repair |  | OPEX | Total Territory | $ Thousands |  | Equipment / facility failure |  | Distribution: <2018; Transmission: <2018; Substation: Circuit breaker maintenance and installation initiative was introduced in the 2020 WMP. | 2023 GRC; TO Rate Case | Partially in WMPMA | Not in Compliance | GO 95 Rule 18; CPUC General Order 174; WECC-FAC-501 |  |  |  | PG&E | 2025 | 292002.8976
3110000063 | Grid Design, Operations, and Maintenance | Equipment Maintenance and Repair |  | OPEX | HFTD | $ Thousands |  | Equipment / facility failure |  | Distribution: <2018; Transmission: <2018; Substation: Circuit breaker maintenance and installation initiative was introduced in the 2020 WMP. | 2023 GRC; TO Rate Case | Partially in WMPMA | Not in Compliance | GO 95 Rule 18; CPUC General Order 174; WECC-FAC-501 |  |  |  | PG&E | 2025 | 162721.6934
3110000064 | Grid Design, Operations, and Maintenance | Quality Assurance and Quality Control (Asset Management) |  | CAPEX | Total Territory | $ Thousands | GM-01, GM-09 | Foundational | Foundational | 2020 | 2023 GRC; TO Rate Case |  | In Compliance | GO 95; GO 128; GO 165 |  |  |  | PG&E | 2025 | 0
3110000065 | Grid Design, Operations, and Maintenance | Quality Assurance and Quality Control (Asset Management) |  | CAPEX | HFTD | $ Thousands | GM-01, GM-09 | Foundational | Foundational | 2020 | 2023 GRC; TO Rate Case |  | In Compliance | GO 95; GO 128; GO 165 |  |  |  | PG&E | 2025 | 0
3110000066 | Grid Design, Operations, and Maintenance | Quality Assurance and Quality Control (Asset Management) |  | OPEX | Total Territory | $ Thousands | GM-01, GM-09 | Foundational | Foundational | 2020 | 2023 GRC; TO Rate Case |  | In Compliance | GO 95; GO 128; GO 165 |  |  |  | PG&E | 2025 | 21900.2527
3110000067 | Grid Design, Operations, and Maintenance | Quality Assurance and Quality Control (Asset Management) |  | OPEX | HFTD | $ Thousands | GM-01, GM-09 | Foundational | Foundational | 2020 | 2023 GRC; TO Rate Case |  | In Compliance | GO 95; GO 128; GO 165 |  |  |  | PG&E | 2025 | 21900.2527
3110000068 | Grid Design, Operations, and Maintenance | Work Orders (Asset Management) |  | CAPEX | Total Territory | $ Thousands | GM-02, GM-03, GM-08 | Equipment / facility failure |  | Distribution: <2018; Transmission: <2018; Substation: Circuit breaker maintenance and installation initiative was introduced in the 2020 WMP. |  |  |  | Refer to Utility Mitigation Activity Tracking ID 8.4 -- see Column H |  |  |  | PG&E | 2025 | 0
3110000069 | Grid Design, Operations, and Maintenance | Work Orders (Asset Management) |  | CAPEX | HFTD | $ Thousands | GM-02, GM-03, GM-08 | Equipment / facility failure |  | Distribution: <2018; Transmission: <2018; Substation: Circuit breaker maintenance and installation initiative was introduced in the 2020 WMP. |  |  |  | Refer to Utility Mitigation Activity Tracking ID 8.4 -- see Column H |  |  |  | PG&E | 2025 | 0
3110000070 | Grid Design, Operations, and Maintenance | Work Orders (Asset Management) |  | OPEX | Total Territory | $ Thousands | GM-02, GM-03, GM-08 | Equipment / facility failure |  | Distribution: <2018; Transmission: <2018; Substation: Circuit breaker maintenance and installation initiative was introduced in the 2020 WMP. |  |  |  | Refer to Utility Mitigation Activity Tracking ID 8.4 -- see Column H |  |  |  | PG&E | 2025 | 0
3110000071 | Grid Design, Operations, and Maintenance | Work Orders (Asset Management) |  | OPEX | HFTD | $ Thousands | GM-02, GM-03, GM-08 | Equipment / facility failure |  | Distribution: <2018; Transmission: <2018; Substation: Circuit breaker maintenance and installation initiative was introduced in the 2020 WMP. |  |  |  | Refer to Utility Mitigation Activity Tracking ID 8.4 -- see Column H |  |  |  | PG&E | 2025 | 0
3110000072 | Grid Design, Operations, and Maintenance | Grid Operations and Procedures | Equipment Settings to Reduce Wildfire Risk | CAPEX | Total Territory | $ Thousands | GM-07 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2021 | 2023 GRC; TO Rate Case | [6 empty] | PG&E | 2025 | 35344.8427
3110000073 | Grid Design, Operations, and Maintenance | Grid Operations and Procedures | Equipment Settings to Reduce Wildfire Risk | CAPEX | HFTD | $ Thousands | GM-07 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2021 | 2023 GRC; TO Rate Case | [6 empty] | PG&E | 2025 | 35344.8427
3110000074 | Grid Design, Operations, and Maintenance | Grid Operations and Procedures | Equipment Settings to Reduce Wildfire Risk | OPEX | Total Territory | $ Thousands | GM-07 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2021 | 2023 GRC; TO Rate Case | [6 empty] | PG&E | 2025 | 89441.0136
3110000075 | Grid Design, Operations, and Maintenance | Grid Operations and Procedures | Equipment Settings to Reduce Wildfire Risk | OPEX | HFTD | $ Thousands | GM-07 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2021 | 2023 GRC; TO Rate Case | [6 empty] | PG&E | 2025 | 86220.6745
3110000076 | Grid Design, Operations, and Maintenance | Grid Operations and Procedures | Grid Response Procedures and Notifications | CAPEX | Total Territory | $ Thousands |  | Foundational | Foundational | [8 empty] | PG&E | 2025 | 0
3110000077 | Grid Design, Operations, and Maintenance | Grid Operations and Procedures | Grid Response Procedures and Notifications | CAPEX | HFTD | $ Thousands |  | Foundational | Foundational | [8 empty] | PG&E | 2025 | 0
3110000078 | Grid Design, Operations, and Maintenance | Grid Operations and Procedures | Grid Response Procedures and Notifications | OPEX | Total Territory | $ Thousands |  | Foundational | Foundational | [8 empty] | PG&E | 2025 | 0
3110000079 | Grid Design, Operations, and Maintenance | Grid Operations and Procedures | Grid Response Procedures and Notifications | OPEX | HFTD | $ Thousands |  | Foundational | Foundational | [8 empty] | PG&E | 2025 | 0
3110000080 | Grid Design, Operations, and Maintenance | Grid Operations and Procedures | Personnel Work Procedures and Training in Conditions of Elevated Fire Risk | CAPEX | Total Territory | $ Thousands |  | Foundational | Foundational | <2018 | 2023 GRC |  | In Compliance | 2021 California Code Public Resources Code - PRC, sections 4427, 4428, 4431 |  |  |  | PG&E | 2025 | 434.7456
3110000081 | Grid Design, Operations, and Maintenance | Grid Operations and Procedures | Personnel Work Procedures and Training in Conditions of Elevated Fire Risk | CAPEX | HFTD | $ Thousands |  | Foundational | Foundational | <2018 | 2023 GRC |  | In Compliance | 2021 California Code Public Resources Code - PRC, sections 4427, 4428, 4431 |  |  |  | PG&E | 2025 | 104.3389
3110000082 | Grid Design, Operations, and Maintenance | Grid Operations and Procedures | Personnel Work Procedures and Training in Conditions of Elevated Fire Risk | OPEX | Total Territory | $ Thousands |  | Foundational | Foundational | <2018 | 2023 GRC |  | In Compliance | 2021 California Code Public Resources Code - PRC, sections 4427, 4428, 4431 |  |  |  | PG&E | 2025 | 22048.9885
3110000083 | Grid Design, Operations, and Maintenance | Grid Operations and Procedures | Personnel Work Procedures and Training in Conditions of Elevated Fire Risk | OPEX | HFTD | $ Thousands |  | Foundational | Foundational | <2018 | 2023 GRC |  | In Compliance | 2021 California Code Public Resources Code - PRC, sections 4427, 4428, 4431 |  |  |  | PG&E | 2025 | 5291.7572
3110000084 | Grid Design, Operations, and Maintenance | Grid Operations and Procedures | Other Grid Operations and Procedures not listed above | CAPEX | Total Territory | $ Thousands |  | Foundational | Foundational | [8 empty] | PG&E | 2025 | 0
3110000085 | Grid Design, Operations, and Maintenance | Grid Operations and Procedures | Other Grid Operations and Procedures not listed above | CAPEX | HFTD | $ Thousands |  | Foundational | Foundational | [8 empty] | PG&E | 2025 | 0
3110000086 | Grid Design, Operations, and Maintenance | Grid Operations and Procedures | Other Grid Operations and Procedures not listed above | OPEX | Total Territory | $ Thousands |  | Foundational | Foundational | [8 empty] | PG&E | 2025 | 0
3110000087 | Grid Design, Operations, and Maintenance | Grid Operations and Procedures | Other Grid Operations and Procedures not listed above | OPEX | HFTD | $ Thousands |  | Foundational | Foundational | [8 empty] | PG&E | 2025 | 0
3110000088 | Grid Design, Operations, and Maintenance | Workforce Planning (Asset Management) |  | CAPEX | Total Territory | $ Thousands |  | Foundational | Foundational | <2018 | [7 empty] | PG&E | 2025 | 0
3110000089 | Grid Design, Operations, and Maintenance | Workforce Planning (Asset Management) |  | CAPEX | HFTD | $ Thousands |  | Foundational | Foundational | <2018 | [7 empty] | PG&E | 2025 | 0
3110000090 | Grid Design, Operations, and Maintenance | Workforce Planning (Asset Management) |  | OPEX | Total Territory | $ Thousands |  | Foundational | Foundational | <2018 | [7 empty] | PG&E | 2025 | 0
3110000091 | Grid Design, Operations, and Maintenance | Workforce Planning (Asset Management) |  | OPEX | HFTD | $ Thousands |  | Foundational | Foundational | <2018 | [7 empty] | PG&E | 2025 | 0
3110000092 | Vegetation Management and Inspections | Vegetation Management Inspections |  | CAPEX | Total Territory | $ Thousands | VM-01, VM-03, VM-04, VM-11, VM-13, VM-14, VM-15, VM-16, VM-17, VM-18, VM-21 | Vegetation Contact |  | Non-Substation: <2018. Substation: 2019 Wildfire Safety Plan | 2023 GRC; TO Rate Case |  | In Compliance | GO Rule 95; PRC 4292; PRC 4293; Distribution Routine Patrol Procedure (TD-7102P-01); Distribution Vegetation Management Standard (DVMS) (TD-7102S); ESRB-4; GO 95 Rule 18; Vegetation Management Second Patrol Procedure (TD-7102P-23); GO 174 (Substation); NERC Standard FAC-003-04; GO 95 Rule 35; Transmission Non-Orchard Routine Patrol Procedure (TD-7103P-01) |  |  |  | PG&E | 2025 | 0
3110000093 | Vegetation Management and Inspections | Vegetation Management Inspections |  | CAPEX | HFTD | $ Thousands | VM-01, VM-03, VM-04, VM-11, VM-13, VM-14, VM-15, VM-16, VM-17, VM-18, VM-21 | Vegetation Contact |  | Non-Substation: <2018. Substation: 2019 Wildfire Safety Plan | 2023 GRC; TO Rate Case |  | In Compliance | GO Rule 95; PRC 4292; PRC 4293; Distribution Routine Patrol Procedure (TD-7102P-01); Distribution Vegetation Management Standard (DVMS) (TD-7102S); ESRB-4; GO 95 Rule 18; Vegetation Management Second Patrol Procedure (TD-7102P-23); GO 174 (Substation); NERC Standard FAC-003-04; GO 95 Rule 35; Transmission Non-Orchard Routine Patrol Procedure (TD-7103P-01) |  |  |  | PG&E | 2025 | 0
3110000094 | Vegetation Management and Inspections | Vegetation Management Inspections |  | OPEX | Total Territory | $ Thousands | VM-01, VM-03, VM-04, VM-11, VM-13, VM-14, VM-15, VM-16, VM-17, VM-18, VM-21 | Vegetation Contact |  | Non-Substation: <2018. Substation: 2019 Wildfire Safety Plan | 2023 GRC; TO Rate Case |  | In Compliance | GO Rule 95; PRC 4292; PRC 4293; Distribution Routine Patrol Procedure (TD-7102P-01); Distribution Vegetation Management Standard (DVMS) (TD-7102S); ESRB-4; GO 95 Rule 18; Vegetation Management Second Patrol Procedure (TD-7102P-23); GO 174 (Substation); NERC Standard FAC-003-04; GO 95 Rule 35; Transmission Non-Orchard Routine Patrol Procedure (TD-7103P-01) |  |  |  | PG&E | 2025 | 1229499.587
3110000095 | Vegetation Management and Inspections | Vegetation Management Inspections |  | OPEX | HFTD | $ Thousands | VM-01, VM-03, VM-04, VM-11, VM-13, VM-14, VM-15, VM-16, VM-17, VM-18, VM-21 | Vegetation Contact |  | Non-Substation: <2018. Substation: 2019 Wildfire Safety Plan | 2023 GRC; TO Rate Case |  | In Compliance | GO Rule 95; PRC 4292; PRC 4293; Distribution Routine Patrol Procedure (TD-7102P-01); Distribution Vegetation Management Standard (DVMS) (TD-7102S); ESRB-4; GO 95 Rule 18; Vegetation Management Second Patrol Procedure (TD-7102P-23); GO 174 (Substation); NERC Standard FAC-003-04; GO 95 Rule 35; Transmission Non-Orchard Routine Patrol Procedure (TD-7103P-01) |  |  |  | PG&E | 2025 | 694304.5975
3110000096 | Vegetation Management and Inspections | Pruning and Removal |  | CAPEX | Total Territory | $ Thousands |  | Vegetation Contact |  | <2018 | 2023 GRC; TO Rate Case |  | In Compliance | Distribution Vegetation Management Program (TD-7102S); Vegetation Management Distribution Inspection Procedure (TD-7102P-01); Vegetation Management Transmission Program (TD-7103S); Vegetation Management Transmission Inspection (TD-7103P-01); Transmission Vegetation Management Imminent Threat and Hazard Notification (TD-7103P-09); Vegetation Management Priority Tag (TD-7102P-17) |  |  |  | PG&E | 2025 | 0
3110000097 | Vegetation Management and Inspections | Pruning and Removal |  | CAPEX | HFTD | $ Thousands |  | Vegetation Contact |  | <2018 | 2023 GRC; TO Rate Case |  | In Compliance | Distribution Vegetation Management Program (TD-7102S); Vegetation Management Distribution Inspection Procedure (TD-7102P-01); Vegetation Management Transmission Program (TD-7103S); Vegetation Management Transmission Inspection (TD-7103P-01); Transmission Vegetation Management Imminent Threat and Hazard Notification (TD-7103P-09); Vegetation Management Priority Tag (TD-7102P-17) |  |  |  | PG&E | 2025 | 0
3110000098 | Vegetation Management and Inspections | Pruning and Removal |  | OPEX | Total Territory | $ Thousands |  | Vegetation Contact |  | <2018 | 2023 GRC; TO Rate Case |  | In Compliance | Distribution Vegetation Management Program (TD-7102S); Vegetation Management Distribution Inspection Procedure (TD-7102P-01); Vegetation Management Transmission Program (TD-7103S); Vegetation Management Transmission Inspection (TD-7103P-01); Transmission Vegetation Management Imminent Threat and Hazard Notification (TD-7103P-09); Vegetation Management Priority Tag (TD-7102P-17) |  |  |  | PG&E | 2025 | 0
3110000099 | Vegetation Management and Inspections | Pruning and Removal |  | OPEX | HFTD | $ Thousands |  | Vegetation Contact |  | <2018 | 2023 GRC; TO Rate Case |  | In Compliance | Distribution Vegetation Management Program (TD-7102S); Vegetation Management Distribution Inspection Procedure (TD-7102P-01); Vegetation Management Transmission Program (TD-7103S); Vegetation Management Transmission Inspection (TD-7103P-01); Transmission Vegetation Management Imminent Threat and Hazard Notification (TD-7103P-09); Vegetation Management Priority Tag (TD-7102P-17) |  |  |  | PG&E | 2025 | 0
3110000100 | Vegetation Management and Inspections | Pole Clearing |  | CAPEX | Total Territory | $ Thousands | VM-02 | Vegetation Contact |  | <2018 | 2023 GRC |  | In Compliance | PRC 4292; Vegetation Control Program Standard (TD-7112S); Vegetation Control Procedure (TD-7112P-01); Vegetation Management Utility Defensible Space Standard (TD-7109S) |  |  |  | PG&E | 2025 | 0
3110000101 | Vegetation Management and Inspections | Pole Clearing |  | CAPEX | HFTD | $ Thousands | VM-02 | Vegetation Contact |  | <2018 | 2023 GRC |  | In Compliance | PRC 4292; Vegetation Control Program Standard (TD-7112S); Vegetation Control Procedure (TD-7112P-01); Vegetation Management Utility Defensible Space Standard (TD-7109S) |  |  |  | PG&E | 2025 | 0
3110000102 | Vegetation Management and Inspections | Pole Clearing |  | OPEX | Total Territory | $ Thousands | VM-02 | Vegetation Contact |  | <2018 | 2023 GRC |  | In Compliance | PRC 4292; Vegetation Control Program Standard (TD-7112S); Vegetation Control Procedure (TD-7112P-01); Vegetation Management Utility Defensible Space Standard (TD-7109S) |  |  |  | PG&E | 2025 | 32850.7976
3110000103 | Vegetation Management and Inspections | Pole Clearing |  | OPEX | HFTD | $ Thousands | VM-02 | Vegetation Contact |  | <2018 | 2023 GRC |  | In Compliance | PRC 4292; Vegetation Control Program Standard (TD-7112S); Vegetation Control Procedure (TD-7112P-01); Vegetation Management Utility Defensible Space Standard (TD-7109S) |  |  |  | PG&E | 2025 | 20123.2862
3110000104 | Vegetation Management and Inspections | Wood and Slash Management |  | CAPEX | Total Territory | $ Thousands |  | Vegetation Contact |  | <2018 | 2023 GRC |  | In Compliance | TD-7116S Vegetation Management Wood Management Program; TD-7116P-01 Vegetation Management Wood Management Inspection and Prescription |  |  |  | PG&E | 2025 | 0
3110000105 | Vegetation Management and Inspections | Wood and Slash Management |  | CAPEX | HFTD | $ Thousands |  | Vegetation Contact |  | <2018 | 2023 GRC |  | In Compliance | TD-7116S Vegetation Management Wood Management Program; TD-7116P-01 Vegetation Management Wood Management Inspection and Prescription |  |  |  | PG&E | 2025 | 0
3110000106 | Vegetation Management and Inspections | Wood and Slash Management |  | OPEX | Total Territory | $ Thousands |  | Vegetation Contact |  | <2018 | 2023 GRC |  | In Compliance | TD-7116S Vegetation Management Wood Management Program; TD-7116P-01 Vegetation Management Wood Management Inspection and Prescription |  |  |  | PG&E | 2025 | 29479.8545
3110000107 | Vegetation Management and Inspections | Wood and Slash Management |  | OPEX | HFTD | $ Thousands |  | Vegetation Contact |  | <2018 | 2023 GRC |  | In Compliance | TD-7116S Vegetation Management Wood Management Program; TD-7116P-01 Vegetation Management Wood Management Inspection and Prescription |  |  |  | PG&E | 2025 | 27321.1998
3110000108 | Vegetation Management and Inspections | Defensible Space |  | CAPEX | Total Territory | $ Thousands | VM-05, VM-06, VM-07 | Vegetation Contact |  | 2019 | 2023 GRC |  | In Compliance | Vegetation Management Utility Defensible Space Standard (TD-7109S) |  |  |  | PG&E | 2025 | 0
3110000109 | Vegetation Management and Inspections | Defensible Space |  | CAPEX | HFTD | $ Thousands | VM-05, VM-06, VM-07 | Vegetation Contact |  | 2019 | 2023 GRC |  | In Compliance | Vegetation Management Utility Defensible Space Standard (TD-7109S) |  |  |  | PG&E | 2025 | 0
3110000110 | Vegetation Management and Inspections | Defensible Space |  | OPEX | Total Territory | $ Thousands | VM-05, VM-06, VM-07 | Vegetation Contact |  | 2019 | 2023 GRC |  | In Compliance | Vegetation Management Utility Defensible Space Standard (TD-7109S) |  |  |  | PG&E | 2025 | 5578.1667
3110000111 | Vegetation Management and Inspections | Defensible Space |  | OPEX | HFTD | $ Thousands | VM-05, VM-06, VM-07 | Vegetation Contact |  | 2019 | 2023 GRC |  | In Compliance | Vegetation Management Utility Defensible Space Standard (TD-7109S) |  |  |  | PG&E | 2025 | 5578.0237
3110000112 | Vegetation Management and Inspections | Integrated Vegetation Management |  | CAPEX | Total Territory | $ Thousands | VM-12, VM-19, VM-20 | Vegetation Contact |  | 2023 | 2023 GRC; TO Rate Case |  | In Compliance | PG&E 2016 Transmission Maintenance Agreement, approved and enforced by the California Independent System Operator (CAISO);ANSI A300 (Part 7)-2018 Integrated Vegetation Management |  |  |  | PG&E | 2025 | 0
3110000113 | Vegetation Management and Inspections | Integrated Vegetation Management |  | CAPEX | HFTD | $ Thousands | VM-12, VM-19, VM-20 | Vegetation Contact |  | 2023 | 2023 GRC; TO Rate Case |  | In Compliance | PG&E 2016 Transmission Maintenance Agreement, approved and enforced by the California Independent System Operator (CAISO);ANSI A300 (Part 7)-2018 Integrated Vegetation Management |  |  |  | PG&E | 2025 | 0
3110000114 | Vegetation Management and Inspections | Integrated Vegetation Management |  | OPEX | Total Territory | $ Thousands | VM-12, VM-19, VM-20 | Vegetation Contact |  | 2023 | 2023 GRC; TO Rate Case |  | In Compliance | PG&E 2016 Transmission Maintenance Agreement, approved and enforced by the California Independent System Operator (CAISO);ANSI A300 (Part 7)-2018 Integrated Vegetation Management |  |  |  | PG&E | 2025 | 16074.9012
3110000115 | Vegetation Management and Inspections | Integrated Vegetation Management |  | OPEX | HFTD | $ Thousands | VM-12, VM-19, VM-20 | Vegetation Contact |  | 2023 | 2023 GRC; TO Rate Case |  | In Compliance | PG&E 2016 Transmission Maintenance Agreement, approved and enforced by the California Independent System Operator (CAISO);ANSI A300 (Part 7)-2018 Integrated Vegetation Management |  |  |  | PG&E | 2025 | 4179.4743
3110000116 | Vegetation Management and Inspections | Partnerships |  | CAPEX | Total Territory | $ Thousands |  | Foundational | Foundational | <2018 |  |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000117 | Vegetation Management and Inspections | Partnerships |  | CAPEX | HFTD | $ Thousands |  | Foundational | Foundational | <2018 |  |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000118 | Vegetation Management and Inspections | Partnerships |  | OPEX | Total Territory | $ Thousands |  | Foundational | Foundational | <2018 |  |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000119 | Vegetation Management and Inspections | Partnerships |  | OPEX | HFTD | $ Thousands |  | Foundational | Foundational | <2018 |  |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000120 | Vegetation Management and Inspections | Activities Based on Weather Conditions |  | CAPEX | Total Territory | $ Thousands |  | Vegetation Contact |  | <2018 |  |  | In Compliance | Vegetation Management Priority Tag Procedure (TD-7120P-17); Preventing and Mitigating Fires While Performing PG&E Work (TD-1464S) |  |  |  | PG&E | 2025 | 0
3110000121 | Vegetation Management and Inspections | Activities Based on Weather Conditions |  | CAPEX | HFTD | $ Thousands |  | Vegetation Contact |  | <2018 |  |  | In Compliance | Vegetation Management Priority Tag Procedure (TD-7120P-17); Preventing and Mitigating Fires While Performing PG&E Work (TD-1464S) |  |  |  | PG&E | 2025 | 0
3110000122 | Vegetation Management and Inspections | Activities Based on Weather Conditions |  | OPEX | Total Territory | $ Thousands |  | Vegetation Contact |  | <2018 |  |  | In Compliance | Vegetation Management Priority Tag Procedure (TD-7120P-17); Preventing and Mitigating Fires While Performing PG&E Work (TD-1464S) |  |  |  | PG&E | 2025 | 2777.2435
3110000123 | Vegetation Management and Inspections | Activities Based on Weather Conditions |  | OPEX | HFTD | $ Thousands |  | Vegetation Contact |  | <2018 |  |  | In Compliance | Vegetation Management Priority Tag Procedure (TD-7120P-17); Preventing and Mitigating Fires While Performing PG&E Work (TD-1464S) |  |  |  | PG&E | 2025 | 1253.8526
3110000124 | Vegetation Management and Inspections | Post-Fire Service Restoration |  | CAPEX | Total Territory | $ Thousands |  | Vegetation Contact |  | <2018 |  | CEMA | In Compliance | Vegetation Management Priority Tag Procedure (TD-7120P-17); Preventing and Mitigating Fires While Performing PG&E Work (TD-1464S) |  |  |  | PG&E | 2025 | 0
3110000125 | Vegetation Management and Inspections | Post-Fire Service Restoration |  | CAPEX | HFTD | $ Thousands |  | Vegetation Contact |  | <2018 |  | CEMA | In Compliance | Vegetation Management Priority Tag Procedure (TD-7120P-17); Preventing and Mitigating Fires While Performing PG&E Work (TD-1464S) |  |  |  | PG&E | 2025 | 0
3110000126 | Vegetation Management and Inspections | Post-Fire Service Restoration |  | OPEX | Total Territory | $ Thousands |  | Vegetation Contact |  | <2018 |  | CEMA | In Compliance | Vegetation Management Priority Tag Procedure (TD-7120P-17); Preventing and Mitigating Fires While Performing PG&E Work (TD-1464S) |  |  |  | PG&E | 2025 | 0
3110000127 | Vegetation Management and Inspections | Post-Fire Service Restoration |  | OPEX | HFTD | $ Thousands |  | Vegetation Contact |  | <2018 |  | CEMA | In Compliance | Vegetation Management Priority Tag Procedure (TD-7120P-17); Preventing and Mitigating Fires While Performing PG&E Work (TD-1464S) |  |  |  | PG&E | 2025 | 0
3110000128 | Vegetation Management and Inspections | Quality Assurance and Quality Control (Vegetation Management) |  | CAPEX | Total Territory | $ Thousands | VM-08, VM-22 | Foundational | Foundational | <2018,2019,2021 | 2023 GRC; TO Rate Case |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000129 | Vegetation Management and Inspections | Quality Assurance and Quality Control (Vegetation Management) |  | CAPEX | HFTD | $ Thousands | VM-08, VM-22 | Foundational | Foundational | <2018,2019,2021 | 2023 GRC; TO Rate Case |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000130 | Vegetation Management and Inspections | Quality Assurance and Quality Control (Vegetation Management) |  | OPEX | Total Territory | $ Thousands | VM-08, VM-22 | Foundational | Foundational | <2018,2019,2021 | 2023 GRC; TO Rate Case |  | In Compliance |  |  |  |  | PG&E | 2025 | 33977.9567
3110000131 | Vegetation Management and Inspections | Quality Assurance and Quality Control (Vegetation Management) |  | OPEX | HFTD | $ Thousands | VM-08, VM-22 | Foundational | Foundational | <2018,2019,2021 | 2023 GRC; TO Rate Case |  | In Compliance |  |  |  |  | PG&E | 2025 | 33977.9567
3110000132 | Vegetation Management and Inspections | Work Orders (Vegetation Management) |  | CAPEX | Total Territory | $ Thousands | VM-09 | Vegetation Contact |  |  |  |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000133 | Vegetation Management and Inspections | Work Orders (Vegetation Management) |  | CAPEX | HFTD | $ Thousands | VM-09 | Vegetation Contact |  |  |  |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000134 | Vegetation Management and Inspections | Work Orders (Vegetation Management) |  | OPEX | Total Territory | $ Thousands | VM-09 | Vegetation Contact |  |  |  |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000135 | Vegetation Management and Inspections | Work Orders (Vegetation Management) |  | OPEX | HFTD | $ Thousands | VM-09 | Vegetation Contact |  |  |  |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000136 | Vegetation Management and Inspections | Workforce Planning (Vegetation Management) |  | CAPEX | Total Territory | $ Thousands |  | Foundational | Foundational |  | 2023 GRC; TO Rate Case |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000137 | Vegetation Management and Inspections | Workforce Planning (Vegetation Management) |  | CAPEX | HFTD | $ Thousands |  | Foundational | Foundational |  | 2023 GRC; TO Rate Case |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000138 | Vegetation Management and Inspections | Workforce Planning (Vegetation Management) |  | OPEX | Total Territory | $ Thousands |  | Foundational | Foundational |  | 2023 GRC; TO Rate Case |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000139 | Vegetation Management and Inspections | Workforce Planning (Vegetation Management) |  | OPEX | HFTD | $ Thousands |  | Foundational | Foundational |  | 2023 GRC; TO Rate Case |  | In Compliance |  |  |  |  | PG&E | 2025 | 0
3110000140 | Situational Awareness and Forecasting | Environmental Monitoring Systems |  | CAPEX | Total Territory | $ Thousands | SA-01, SA-07, SA-08, SA-12 | Foundational | Foundational | 2018 | 2023 GRC |  | Exceeding Compliance |  |  |  |  | PG&E | 2025 | 2147.2602
3110000141 | Situational Awareness and Forecasting | Environmental Monitoring Systems |  | CAPEX | HFTD | $ Thousands | SA-01, SA-07, SA-08, SA-12 | Foundational | Foundational | 2018 | 2023 GRC |  | Exceeding Compliance |  |  |  |  | PG&E | 2025 | 1717.8082
3110000142 | Situational Awareness and Forecasting | Environmental Monitoring Systems |  | OPEX | Total Territory | $ Thousands | SA-01, SA-07, SA-08, SA-12 | Foundational | Foundational | 2018 | 2023 GRC |  | Exceeding Compliance |  |  |  |  | PG&E | 2025 | 3767.5116
3110000143 | Situational Awareness and Forecasting | Environmental Monitoring Systems |  | OPEX | HFTD | $ Thousands | SA-01, SA-07, SA-08, SA-12 | Foundational | Foundational | 2018 | 2023 GRC |  | Exceeding Compliance |  |  |  |  | PG&E | 2025 | 3014.0093
3110000144 | Situational Awareness and Forecasting | Grid Monitoring Systems |  | CAPEX | Total Territory | $ Thousands | SA-02, SA-03, SA-09, SA-10, SA-11 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2019 | 2023 GRC |  |  | GO 95 |  |  |  | PG&E | 2025 | 13237.4196
3110000145 | Situational Awareness and Forecasting | Grid Monitoring Systems |  | CAPEX | HFTD | $ Thousands | SA-02, SA-03, SA-09, SA-10, SA-11 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2019 | 2023 GRC |  |  | GO 95 |  |  |  | PG&E | 2025 | 13237.4196
3110000146 | Situational Awareness and Forecasting | Grid Monitoring Systems |  | OPEX | Total Territory | $ Thousands | SA-02, SA-03, SA-09, SA-10, SA-11 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2019 | 2023 GRC |  |  | GO 95 |  |  |  | PG&E | 2025 | 30378.147
3110000147 | Situational Awareness and Forecasting | Grid Monitoring Systems |  | OPEX | HFTD | $ Thousands | SA-02, SA-03, SA-09, SA-10, SA-11 | Contact from object, Vegetation Contact, Contamination, Equipment / facility failure, Other, Unknown, Wire-to-wire contact, Vandalism / Theft, CC - Seismic Scenario |  | 2019 | 2023 GRC |  |  | GO 95 |  |  |  | PG&E | 2025 | 30378.147
3110000148 | Situational Awareness and Forecasting | Ignition Detection Systems |  | CAPEX | Total Territory | $ Thousands |  | Foundational | Foundational | 2017 | 2023 GRC |  | Exceeding Compliance |  |  |  |  | PG&E | 2025 | 0
3110000149 | Situational Awareness and Forecasting | Ignition Detection Systems |  | CAPEX | HFTD | $ Thousands |  | Foundational | Foundational | 2017 | 2023 GRC |  | Exceeding Compliance |  |  |  |  | PG&E | 2025 | 0
3110000150 | Situational Awareness and Forecasting | Ignition Detection Systems |  | OPEX | Total Territory | $ Thousands |  | Foundational | Foundational | 2017 | 2023 GRC |  | Exceeding Compliance |  |  |  |  | PG&E | 2025 | 27256.5427
3110000151 | Situational Awareness and Forecasting | Ignition Detection Systems |  | OPEX | HFTD | $ Thousands |  | Foundational | Foundational | 2017 | 2023 GRC |  | Exceeding Compliance |  |  |  |  | PG&E | 2025 | 13187.7467
3110000152 | Situational Awareness and Forecasting | Weather Forecasting |  | CAPEX | Total Territory | $ Thousands | SA-04, SA-05, SA-06 | Foundational | Foundational | 2014 | 2023 GRC |  | Exceeding Compliance |  |  |  |  | PG&E | 2025 | 2506.4596
3110000153 | Situational Awareness and Forecasting | Weather Forecasting |  | CAPEX | HFTD | $ Thousands | SA-04, SA-05, SA-06 | Foundational | Foundational | 2014 | 2023 GRC |  | Exceeding Compliance |  |  |  |  | PG&E | 2025 | 2506.4596
3110000154 | Situational Awareness and Forecasting | Weather Forecasting |  | OPEX | Total Territory | $ Thousands | SA-04, SA-05, SA-06 | Foundational | Foundational | 2014 | 2023 GRC |  | Exceeding Compliance |  |  |  |  | PG&E | 2025 | 1124.0885
3110000155 | Situational Awareness and Forecasting | Weather Forecasting |  | OPEX | HFTD | $ Thousands | SA-04, SA-05, SA-06 | Foundational | Foundational | 2014 | 2023 GRC |  | Exceeding Compliance |  |  |  |  | PG&E | 2025 | 1124.0885
3110000156 | Situational Awareness and Forecasting | Fire Potential Index |  | CAPEX | Total Territory | $ Thousands |  | Foundational | Foundational | 2015 | 2023 GRC |  | Exceeding Compliance |  |  |  |  | PG&E | 2025 | 0
3110000157 | Situational Awareness and Forecasting | Fire Potential Index |  | CAPEX | HFTD | $ Thousands |  | Foundational | Foundational | 2015 | 2023 GRC |  | Exceeding Compliance |  |  |  |  | PG&E | 2025 | 0
3110000158 | Situational Awareness and Forecasting | Fire Potential Index |  | OPEX | Total Territory | $ Thousands |  | Foundational | Foundational | 2015 | 2023 GRC |  | Exceeding Compliance |  |  |  |  | PG&E | 2025 | 145.5461
3110000159 | Situational Awareness and Forecasting | Fire Potential Index |  | OPEX | HFTD | $ Thousands |  | Foundational | Foundational | 2015 | 2023 GRC |  | Exceeding Compliance |  |  |  |  | PG&E | 2025 | 145.5461
3110000160 | Emergency Preparedness, Collaboration and Public Awareness | Emergency Preparedness and Recovery Plan |  | CAPEX | Total Territory | $ Thousands | EP-01 | All Consequences |  | <2018 | 2023 GRC |  | In Compliance | GO 166; R.96-11-004; R.18-12-005 |  |  |  | PG&E | 2025 | 0
3110000161 | Emergency Preparedness, Collaboration and Public Awareness | Emergency Preparedness and Recovery Plan |  | CAPEX | HFTD | $ Thousands | EP-01 | All Consequences |  | <2018 | 2023 GRC |  | In Compliance | GO 166; R.96-11-004; R.18-12-005 |  |  |  | PG&E | 2025 | 0
3110000162 | Emergency Preparedness, Collaboration and Public Awareness | Emergency Preparedness and Recovery Plan |  | OPEX | Total Territory | $ Thousands | EP-01 | All Consequences |  | <2018 | 2023 GRC |  | In Compliance | GO 166; R.96-11-004; R.18-12-005 |  |  |  | PG&E | 2025 | 11789.3556
3110000163 | Emergency Preparedness, Collaboration and Public Awareness | Emergency Preparedness and Recovery Plan |  | OPEX | HFTD | $ Thousands | EP-01 | All Consequences |  | <2018 | 2023 GRC |  | In Compliance | GO 166; R.96-11-004; R.18-12-005 |  |  |  | PG&E | 2025 | 3065.2325
3110000164 | Emergency Preparedness, Collaboration and Public Awareness | External Collaboration and Coordination |  | CAPEX | Total Territory | $ Thousands | EP-02, EP-04, EP-06, EP-07, EP-08, EP-09 | All Consequences |  | 2018 | 2023 GRC |  | In Compliance | De-energization OIR - Phase 3 |  |  |  | PG&E | 2025 | 1310.1176
3110000165 | Emergency Preparedness, Collaboration and Public Awareness | External Collaboration and Coordination |  | CAPEX | HFTD | $ Thousands | EP-02, EP-04, EP-06, EP-07, EP-08, EP-09 | All Consequences |  | 2018 | 2023 GRC |  | In Compliance | De-energization OIR - Phase 3 |  |  |  | PG&E | 2025 | 314.4282
3110000166 | Emergency Preparedness, Collaboration and Public Awareness | External Collaboration and Coordination |  | OPEX | Total Territory | $ Thousands | EP-02, EP-04, EP-06, EP-07, EP-08, EP-09 | All Consequences |  | 2018 | 2023 GRC |  | In Compliance | De-energization OIR - Phase 3 |  |  |  | PG&E | 2025 | 39451.3305
3110000167 | Emergency Preparedness, Collaboration and Public Awareness | External Collaboration and Coordination |  | OPEX | HFTD | $ Thousands | EP-02, EP-04, EP-06, EP-07, EP-08, EP-09 | All Consequences |  | 2018 | 2023 GRC |  | In Compliance | De-energization OIR - Phase 3 |  |  |  | PG&E | 2025 | 9976.3025
3110000168 | Emergency Preparedness, Collaboration and Public Awareness | Public Communication, Outreach, and Education Awareness |  | CAPEX | Total Territory | $ Thousands | CO-01, CO-02, CO-04, CO-05 | Foundational | Foundational | 2018 | 2023 GRC |  | In Compliance | De-energization OIR - Phase 3 |  |  |  | PG&E | 2025 | 7473.0701
3110000169 | Emergency Preparedness, Collaboration and Public Awareness | Public Communication, Outreach, and Education Awareness |  | CAPEX | HFTD | $ Thousands | CO-01, CO-02, CO-04, CO-05 | Foundational | Foundational | 2018 | 2023 GRC |  | In Compliance | De-energization OIR - Phase 3 |  |  |  | PG&E | 2025 | 7473.0701
3110000170 | Emergency Preparedness, Collaboration and Public Awareness | Public Communication, Outreach, and Education Awareness |  | OPEX | Total Territory | $ Thousands | CO-01, CO-02, CO-04, CO-05 | Foundational | Foundational | 2018 | 2023 GRC |  | In Compliance | De-energization OIR - Phase 3 |  |  |  | PG&E | 2025 | 29189.8886
3110000171 | Emergency Preparedness, Collaboration and Public Awareness | Public Communication, Outreach, and Education Awareness |  | OPEX | HFTD | $ Thousands | CO-01, CO-02, CO-04, CO-05 | Foundational | Foundational | 2018 | 2023 GRC |  | In Compliance | De-energization OIR - Phase 3 |  |  |  | PG&E | 2025 | 7715.3847
3110000172 | Emergency Preparedness, Collaboration and Public Awareness | Customer Support in Wildfire and PSPS Emergencies |  | CAPEX | Total Territory | $ Thousands | PS-01, PS-02, PS-05, PS-06, PS-07, PS-08, PS-09, PS-10, PS-11 | All Consequences |  | 2018 | 2023 GRC | Partially in WMPMA | In Compliance | De-energization OIR - Phase 3 |  |  |  | PG&E | 2025 | 0
3110000173 | Emergency Preparedness, Collaboration and Public Awareness | Customer Support in Wildfire and PSPS Emergencies |  | CAPEX | HFTD | $ Thousands | PS-01, PS-02, PS-05, PS-06, PS-07, PS-08, PS-09, PS-10, PS-11 | All Consequences |  | 2018 | 2023 GRC | Partially in WMPMA | In Compliance | De-energization OIR - Phase 3 |  |  |  | PG&E | 2025 | 0
3110000174 | Emergency Preparedness, Collaboration and Public Awareness | Customer Support in Wildfire and PSPS Emergencies |  | OPEX | Total Territory | $ Thousands | PS-01, PS-02, PS-05, PS-06, PS-07, PS-08, PS-09, PS-10, PS-11 | All Consequences |  | 2018 | 2023 GRC | Partially in WMPMA | In Compliance | De-energization OIR - Phase 3 |  |  |  | PG&E | 2025 | 36587.8702
3110000175 | Emergency Preparedness, Collaboration and Public Awareness | Customer Support in Wildfire and PSPS Emergencies |  | OPEX | HFTD | $ Thousands | PS-01, PS-02, PS-05, PS-06, PS-07, PS-08, PS-09, PS-10, PS-11 | All Consequences |  | 2018 | 2023 GRC | Partially in WMPMA | In Compliance | De-energization OIR - Phase 3 |  |  |  | PG&E | 2025 | 28436.1843
3110000176 | Enterprise Systems | Enterprise Systems Development |  | CAPEX | Total Territory | $ Thousands | AI-11 | Foundational | Foundational | 2021 (VM) | 2023 GRC | [6 empty] | PG&E | 2025 | 0
3110000177 | Enterprise Systems | Enterprise Systems Development |  | CAPEX | HFTD | $ Thousands | AI-11 | Foundational | Foundational | 2021 (VM) | 2023 GRC | [6 empty] | PG&E | 2025 | 0
3110000178 | Enterprise Systems | Enterprise Systems Development |  | OPEX | Total Territory | $ Thousands | AI-11 | Foundational | Foundational | 2021 (VM) | 2023 GRC | [6 empty] | PG&E | 2025 | 685.6274
3110000179 | Enterprise Systems | Enterprise Systems Development |  | OPEX | HFTD | $ Thousands | AI-11 | Foundational | Foundational | 2021 (VM) | 2023 GRC | [6 empty] | PG&E | 2025 | 275.9482