## Detailed Model Documentation
|  | Purpose of the Model/Problem Identification | [5 empty] | Model Version |  | Theoretical Foundation |  | Mathematical Foundation |  |  |  | External Dependencies |  | Model Substantiation | [10 empty] | Sensitivity |  | Machine Learning
[18 empty] | Model Verification |  |  | Model Validation |  |  |  | Model Calibration | [5 empty] | Data Collection |  |  | Model Evaluation
Model Name | Parent Models | Model Objectives/Goals | Predicted Model Outcomes | Circumstance of Usage | Time Horizon | Spatial Scale | Deterministic or Probabilistic | Name/Version | Model Changes | Theoretical Basic / Governing Laws or Equations | Assumptions/Limitations | Techniques/Algorithms | Precision | Convergence Study | Limitations | External Software/Program | Data Characteristics | Verification of Functionality | Verification of Input Parameter Consistency | Independent Review | Validation Data | Output Uncertainty | Input Variability | Validation Type | Calibration Data Sources | Calibration Parameters/Process | Calibration Uncertainity | Degree Deviation | Model Sensitivity | Uncertainty Propagation | Data Collection/Training Data | Data Transformation | Data Partitioning | Validation Documentation | Validation Results | Validation Timing
WiNGS-Planning | None | - Evaluate risk event impacts to the distribution grid at a conductor span granularity in order to inform grid-hardening investment decisions. - Determine which combinations of initiatives deployed in what portions of the grid would yield the greatest benefit per dollar spent. - Include the evaluation of Wildfire, PSPS, and PEDS risk metrics. | - Annual projections of Wildfire, PSPS, and PEDS risk assessment at the span level of granularity. - Initiative recommendations at the circuit-segment granularity for use by electric-system hardening (ESH) and project and portfolio management (PPM) teams to plan future grid-hardening deployments. | To inform long-term grid-hardening investment decisions | Annual | Risk assessment performed for the entire service territory. Prioritization recommendations only created for HFTD portions of the service territory. | Probabilistic | v3.95.0 | Model updates and methodology changes are documented in SDG&E's model repositories | - Probabilistic distributions - Monte Carlo simulations - Cost Benefit Ratio framework - Return period assessment from distribution percentiles - Normalization to annual risk event counts | Planned work scope input is assumed to be completed in order to assess projected risk. Feasibility, land-right usage, and other scoping constraints are not modeled in the decision making algorithm and are instead taken into account qualitatively by scoping engineers after the model output is produced. | - Probabilistic distributions - Monte Carlo simulations - Risk attitude/profile - See sub-model details | See sub-model attributes | See sub-model attributes | - Machine Learning sub-models trained on availability and occurrences of historical events - Normalization to annual histortical risk event counts | - Microsoft VS Code - AWS S3 - AWS Athena - AWS Glue - AWS Lambda - AWS API Gateway - Microsoft Azure Devops - Python packages (reference to .yml and .toml files in repo) | See 'Data Characteristics' table pertaining to the model | - Python PyTest suite designed for version comparison testing at a records and summary level. Pass/Fail criteria for key metrics (e.g. risk reduction target) built into PyTest. -PR review process requiring two separate runs of the model and thorough code change validation by subject matter experts prior to a model change being accepted | - Subject matter expert review - Assert functions embedded within the model code to maintain input parameter consistency - Model versioning standard and strict validation process enacted for all model changes | 2022 Third Party Review | - Ignition data - Outage data - PSPS data - GIS as-built data - Moody's RMS model outputs - Technosylva WRRM model outputs - Prior model version outputs (PyTest) | See sub-model attributes | See sub-model attributes | - Subject matter expert review - Validation against historical results | Subject Matter Expert (SME) calibration is conducted by reviewing simulated wildfire consequence values, historical PSPS activations, and PEDS outages. | See Submodel attributes | See Submodel attributes | See Submodel attributes | - RSE threshold modulated to better understand its effects on recommended scoping mileages and risk reduction percentages - Correlation analysis performed on key output risk drivers to understand degree of correlation associated with their associated independent variables - 1st/2nd/total order sensitivity analysis performed on ignition rate submodel, to assess and calibrate impact of independent variables on the WF LoRE risk sub-element during model granularity conversion from circuit-segment to span. | SME evaluation of key variables and model parameters that are subject to uncertainty | See Submodel attributes | See Submodel attributes | See Submodel attributes | See Submodel attributes | See Submodel attributes | See Submodel attributes
WiNGS-Ops | None | - Employ risk modeling at the feeder-segment level to assess whether the advantages of proactive de-energization outweigh the potential safety risks to the public during extreme fire weather conditions. - Quantify two scenarios (de-energization or not) by following the enterprise risk quantification framework based on 3-day weather forecasts ingested daily. | - Wildfire and PSPS risk levels based on weather forecasts. - Wind gust thresholds where a PSPS de-energization is recommended based on risk model outputs. | To support real-time PSPS decision making | 3-day weather forecasts | WiNGS Ops devices (SCADA sectionalizing devices that are in scope during PSPS activations) | Probabilistic | v2.5 | Model updates and methodology changes are documented in SDG&E's model repositories | - Probabilistic distributions - Monte Carlo simulations - Cost Benefit Ratio framework - Return period assessment from distribution percentiles - Normalization to annual risk event counts | Model outputs are heavily dependent on weather forecast estimates from each weather station. This reliance introduces potential variability and uncertainty into the predictions, as the accuracy of the model is directly tied to the precision of the weather forecasts. PSPS risk is evaluated as a function of de-energization duration, with models considering 24, 48, 72, and 96-hour periods. The risk of wildfire versus PSPS is assessed within these predefined durations. | - Linear regression (log-log) models to capture the relationship between high wind gust conditions and electric system outages - Subject matter expert deterministic models based on historical data | See sub-model attributes | See sub-model attributes | - Machine Learning sub-models trained on historical outages and reportable ignitions - Normalization to annual historical events and PSPS customers impacted - Weather forecast accuracy - Subject matter expert assumptions | - Microsoft VS Code - AWS S3 - AWS Athena - AWS Glue - AWS Lambda - AWS Quicksight - Microsoft Azure Devops - Python packages (reference to .yml and .toml files in repo) | See sub-model attributes | Subject matter expert review | Subject matter expert review | 2022 Third Party Review | - Internal dashboarding and datasets are used to validate data inputs and model outputs | See sub-model attributes | See sub-model attributes | - Subject matter expert review - Validation agains historical results -Continuous monitoring of forecasted predictions for wildfire and PSPS risk based on 3-day weather forecasts. - Pipeline monitoring checks are performed on a regular basis to track the model's performance and detect any anomalies or drifts. | Subject Matter Expert (SME) calibration is conducted by reviewing simulated wildfire consequence values, historical PSPS activations, and PEDS outages. | See Submodel attributes | See Submodel attributes | See Submodel attributes | - WiNGS Ops runs every day based on three-day weather forecasts. Model outputs are evaluated based on multiple permutations of inputs | SME evaluation of key variables and model parameters that are subject to uncertainty | See Submodel attributes | See Submodel attributes | See Submodel attributes | See Submodel attributes | See Submodel attributes | See Submodel attributes
Conductor PoF | - WiNGS-Planning - WiNGS-Ops | - Estimate the likelihood and frequency of a conductor failure (i.e. wire down) at every span in the service territory utilizing historical weather conditions, with an emphasis on wind gusts, correlated with site-specific factors and asset attributes. - Support WiNGS-Planning by predicting conductor outages through the input of past weather conditions (backcasting). - Support WiNGS-Ops by simulating weather conditions over a 3-day period to help forecast future conductor outages. | Likelihood of a wire down, broken connector, or wire to wire contact at each span in the service territory based on wind gust and wind direction conditions. | Asset probability of failure | Hourly estimates Annual distribution at each feeder-segment | Full service territory inference at asset location | Probabilistic | v2.0 | Model updates and methodology changes are documented in SDG&E's model repositories | - Statistical log-log regression model capturing the relationships between wind gust and wind direction conditions with asset location and asset attributes | Model is trained based on historical asset locations and local wind conditions. Statsmodel Python library is used to create, evaluate, and deploy the model. Weather conditions for wire-down outages identified during PSPS post-patrols are assumed, as the outage time is recorded only when the issue is discovered. For outages collected prior to 2015, the association between spans and weather stations is less accurate compared to later years. This is due to the weather station network being less dense at that time. | - Statistical Linear Regression (log-log) | R2: 0.915 Adj R2: 0.909 | - Validation between Data Scientist and asset owners (Engineering) - Detailed reivew of independent variable coeficients and signs - Detailed review of R2 and Adjusted R2 - Detailed review of model residuals | - Limited number of observations for a few conductor types (i.e, Covered Conductor) - PSPS de-energizations limit observations at higher wind gust conditions - Outliers could have a large influence on the log-transformed variables | - Microsoft VS Code - AWS S3 - AWS Athena - AWS Glue - AWS Lambda - AWS Quicksight - Microsoft Azure Devops - Python packages (reference to .yml and .toml files in repo) | - Historical weather station data - Internal SDG&E systems (GIS, SAIDIDAT, EFRs) | - Based on subject matter expert review, model is updated on an annual basis or as needed, depending on changes in data, risk level, and regulatory requirements. - During the update, a comprehensive review is conducted that examines variable coefficients and their signs, R², adjusted R², and residual plots. | - Models are validated based on various performance metrics (i.e., R2, RSME, accuracy, precision, recall, and F1 score) depending on model type. Models are also validated based on robustness, scalability, and ability to generalize to new data. Compliance with regulatory standards and alignment with industry best practices is also assessed | 2022 Third Party Review | - Outage data is analyzed to determine whether the observation should be incorporated into the model. - Pipeline monitoring checks are performed on a regular basis to track the model's performance and detect any anomalies or drifts. - Internal dashboarding and datasets are used to validate data inputs and model outputs | - Model metrics evaluation - Comparison against observed data to assess the accuracy and realibility of the predictions - Outlier evaluation | - Input data is analyzed to identify and quantify variability. This includes examining historical data trends, seasonal variations, and potential anomalies. - Model stability or robustness: A sensitivity analysis is performed to determine how variations in input data affect model outputs | - Subject matter expert validation during model creation -Subject matter expert output model review - Stress-testing under various scenarios to ensure the model's robustness and ability to handle different conditions effectively - Automated and alarm-based pipeline checks during data ingestion and inference stages | - The input data is not calibrated. During model creation, outliers are reviewed and may be excluded at the modeler's discretion. | - During model inference, calibration parameters are applied to the log-log predictions to account for covered conductor spans, as the training data does not include any information from covered conductor outages | - Calibration uncertainty is evaluated during model creation and tested through simulations; however, given the high R² value, its relevance is minimized. | - Model deviation is assessed during the review of residual plots. | - Model sensitivity is analyzed when model is created based on historical observations. - A thorough review is conducted when the model predicts failure rates during high wind gusts to ensure the predictions are reasonable. | SME evaluation of key variables and model parameters that are subject to uncertainty | - SAIDIDAT: Reliability outages collected and validated by Electric Reliability team - GIS asset location and attributes - Historical Weather Station records | In Process | In Process | See Model Validation | See Model Validation | See Model Validation
Vegetation PoF | - WiNGS-Planning - WiNGS-Ops | - Estimate the likelihood and frequency of a vegetation failure (i.e. tree strike causing a wire down) at every span in the service territory utilizing historical weather conditions, with an emphasis on wind gusts, correlated with site-specific factors, asset attributes, and tree inventory data. - Support WiNGS-Planning by predicting vegetation outages through the input of past weather conditions (backcasting). - Support WiNGS-Ops by simulating weather conditions over a 3-day period to help forecast future vegetation outages. | Likelihood of a vegetation outage at each span in the service territory based on wind gust and asset attributes. | Asset probability of failure | Hourly estimates Annual distribution at each feeder-segment | Full service territory inference at asset location | Probabilistic | v2 | Model updates and methodology changes are documented in SDG&E's model repositories | - Statistical log-log regression model capturing the relationships between wind gust and tree inventory data with asset location and asset attributes | Model is trained based on historical vegetation outages, asset attributes, and local wind conditions. Statsmodel Python library is used to create, evaluate, and deploy the model. Weather conditions for vegetation outages identified during PSPS post-patrols are assumed, as the outage time is recorded only when the issue is discovered. For outages collected prior to 2015, the association between spans and weather stations is less accurate compared to later years. This is due to the weather station network being less dense at that time. Model predictions may be affected by vegetation management activities conducted in recent years. This influence could lead to overestimations or underestimations for certain tree species, as their representation in the training dataset is limited. | - Statistical Linear Regression (log-log) | R2: 0.79 Adj R2: 0.77 | - Validation between Data Scientist, Vegetation management team, and asset owners (Engineering) - Detailed review of independent variable coefficients and signs - Detailed review of R2 and Adjusted R2 - Detailed review of model residuals | - Limited number of observations for a few conductor types and tree species (i.e, Covered Conductor) - PSPS de-energizations limit observations at higher wind gust conditions - Sensitivity to a outliers as outliers could have a large influence on the log-transformed variables. It is the responsibility of the model owner to monitor and manage these outliers to ensure the accuracy and reliability of the model's predictions. | - Microsoft VS Code - AWS S3 - AWS Athena - AWS Glue - AWS Lambda - Microsoft Azure Devops - Python packages (reference to .yml and .toml files in repo) | - Historical weather station data - Internal SDG&E systems (GIS, SAIDIDAT, EFRs) - Vegetation Tree inventory and Tree activity database | - Based on subject matter expert review, model is updated on an annual basis or as needed, depending on changes in data, risk level, and regulatory requirements. - Model output is reviewed by Vegetation Team Data Scientist - During the update, a comprehensive review is conducted, examining variable coefficients, their signs, R², adjusted R², and residual plots. | - Models are validated based on various performance metrics (i.e., R2, RSME, accuracy, precision, recall, and F1 score) depending on model type. Models are also validated based on robustness, scalability, and ability to generalize to new data. Compliance with regulatory standards and alignment with industry best practices is also assessed. | 2022 Third Party Review | - Outage data is analyzed to determine whether the observation should be incorporated into the model. - Pipeline monitoring checks are performed on a regular basis to track the model's performance and detect any anomalies or drifts. - Internal dashboarding and datasets are used to validate data inputs and model outputs | - Model metrics evaluation - Comparison against observed data to assess the accuracy and realibility of the predictions - Outlier evaluation | - Input data is analyzed to identify and quantify variability. This includes examining historical data trends, seasonal variations, and potential anomalies. - Model stability or robustness: A sensitivity analysis is performed to determine how variations in input data affect model outputs | - Subject matter expert validation during model creation -Subject matter expert output model review - Stress-testing under various scenarios to ensure the model's robustness and ability to handle different conditions effectively - Automated and alarm-based pipeline checks during data ingestion and inference stages | - The input data is not calibrated. During model creation, outliers are reviewed and may be excluded at the modeler's discretion. | - During model inference, calibration parameters are applied to the log-log predictions to account for covered conductor spans, as the training data does not include any information from covered conductor outages | - Calibration uncertainty is evaluated during model creation and tested through simulations; however, given the high R² value, its relevance is minimized. | - Model deviation is assessed during the review of residual plots. | - Model sensitivity is analyzed when model is created based on historical observations. - A thorough review is conducted when the model predicts failure rates during high wind gusts to ensure the predictions are reasonable. | SME evaluation of key variables and model parameters that are subject to uncertainty | - SAIDIDAT: Reliability outages collected and validated by Electric Reliability team - GIS asset location and attributes - Historical Weather Station records - Vegetation Tree inventory and Tree activity | In Process | In Process | See Model Validation | See Model Validation | See Model Validation
Vehicle Contact PoF | - WiNGS-Planning - WiNGS-Ops | - Utilize machine learning model (XGBoost) to estimate the likelihood of a vehicle contact at the asset location. | Likelihood of a vehicle contact at each pole in the service territory. | Asset probability of failure | Hourly estimates Annual distribution at each feeder-segment | Full service territory inference at asset location | Probabilistic | v2.0 | Model updates and methodology changes are documented in SDG&E's model repositories | - Gradient boosting Machine Learning model capturing the relationships between road conditions and asset location | Model is trained based on historical asset locations. Weather variables (such as wind gusts) are not included in this model because there is no correlation between historical vehical contacts and weather conditions. OSMNx Python Library with road attributes. | - Machine Learning model (XGBoost Binary Classification) | Precision: 0.68 Accuracy: 0.72 Recall: 0.67 F1: 0.67 | - Validation between Data Scientist, Vegetation management team, and asset owners (Engineering) - Detailed review of Feature Importance list - Review of asset predictions and road predictions | - Model is trained based on historical asset locations - Weather variables (such as wind gusts) are not included because there is no correlation between historical contacts and weather conditions. - OSMNx Python Library with road attributes | - Microsoft VS Code - AWS S3 - AWS Athena - AWS Glue - AWS Lambda - AWS Quicksight - Microsoft Azure Devops - Python packages (reference to .yml and .toml files in repo) | - Historical Vehicle contact outages and road conditions - Internal SDG&E systems (GIS, SAIDIDAT, EFRs) - Road characteristics in the service territory | - Based on subject matter expert review, model is updated on an annual basis or as needed, depending on changes in data, risk level, and regulatory requirements. - During the update, a comprehensive review is conducted, examining variable feature importance lists and binary classification metrics (i.e. accuracy, precision, recall, and F1). | - Models are validated based on various performance metrics (i.e., R2, RSME, accuracy, precision, recall, and F1 score) depending on model type. Models are also validated based on robustness, scalability, and ability to generalize to new data. Compliance with regulatory standards and alignment with industry best practices is also assessed. | 2022 Third Party Review | - Outage data is analyzed to determine whether the observation should be incorporated into the model. - Pipeline monitoring checks are performed on a regular basis to track the model's performance and detect any anomalies or drifts. - Internal dashboarding and datasets are used to validate data inputs and model outputs | - Model metrics evaluation - Comparison agains observed data to assess the accuracy and realibility of the predictions - Outlier evaluation | - Input data is analyzed to identify and quantify variability. This includes examining historical data trends, seasonal variations, and potential anomalies. - Model stability or robustness: A sensitivity analysis is performed to determine how variations in input data affect model outputs | - Subject matter expert validation during model creation -Subject matter expert output model review - Stress-testing under various scenarios to ensure the model's robustness and ability to handle different conditions effectively - Automated and alarm-based pipeline checks during data ingestion and inference stages | The input data is not calibrated. During model creation, outliers are reviewed and may be excluded at the modeler's discretion. | Calibration of parameters is done through xgboost train and test | Uncertainty is evaluated on a feature basis during model creation and through continuous testing | - Model deviation is evaluated by reviewing the outputs at both the individual asset location and the aggregate (road) level. | - Model sensitivity is analyzed when model is created based on historical observations. | SME evaluation of key variables and model parameters that are subject to uncertainty | - SAIDIDAT: Reliability outages collected and validated by Electric Reliability team - OSMNx Python library - GIS asset location and attributes | In Process | In Process | See Model Validation | See Model Validation | See Model Validation
Other Equipment & Foreign Object PoF | - WiNGS-Planning - WiNGS-Ops | - Account for the number of historical outages that do not show a correlation with wind gust conditions or exhibit significant seasonality, such as: Outages resulting from equipment failures that are not related to wind events, such as fuse damages, recloser malfunctions, and transformer issues. Outages caused by external forces, including animal interference, balloons, and contact by employees or members of the public. Random outages due to vandalism, theft, and other unforeseen incidents. | Likelihood of hourly failure rate at each asset (pole and span) in the service territory. | Annual failure rate | Hourly estimates Annual distribution at each feeder-segment | Full service territory inference at asset location | Deterministic | V2.0 | Model updates and methodology changes are documented in SDG&E's model repositories | - Historical ratio to account for non-weather-related failures | Model outputs assume that weather conditions and seasonal variations do not influence the outcomes. | - Hourly frequency rate based on historical non-weather-related failures per pole and span | Not Applicable | Not Applicable | Not Applicable | - Microsoft VS Code - AWS S3 - AWS Athena - AWS Glue - AWS Lambda - AWS Quicksight - Microsoft Azure Devops - Python packages (reference to .yml and .toml files in repo) | - Internal SDG&E systems (GIS, SAIDIDAT, EFRs) | - Based on subject matter expert review, model is updated on an annual basis or as needed, depending on changes in data, risk level, and regulatory requirements. - During the update, a comprehensive review is conducted, examining historical counts vs model output predictions | - Models are validated based on historical counts. - Models are also validated based on robustness, scalability, and ability to generalize to new data. Compliance with regulatory standards and alignment with industry best practices is also assessed | 2022 Third Party Review | - Outage data is analyzed to determine whether the observation should be incorporated into the model. - Pipeline monitoring checks are performed on a regular basis to track the model's performance and detect any anomalies or drifts. - Internal dashboarding and datasets are used to validate data inputs and model outputs | Not Applicable | - Output is adjusted to align with historical averages, which ensures that the model accurately reflects past data trends while accounting for the specific characteristics of SDG&E’s network | - Subject matter expert validation during model creation -Subject matter expert output model review - Stress-testing under various scenarios to ensure the model's robustness and ability to handle different conditions effectively - Automated and alarm-based pipeline checks during data ingestion and inference stages | Not Applicable | Not Applicable | Not Applicable | Not Applicable | - Model outputs is a function of number of poles and span miles | SME evaluation of key variables and model parameters that are subject to uncertainty | In Process | In Process | In Process | See Model Validation | See Model Validation | See Model Validation
Pole/Span Conditional PoI | - WiNGS-Planning - WiNGS-Ops | - Estimate PoI using a combination of asset Probability of Failure (PoF) models, which are influenced by weather conditions and the prevailing fuel conditions. Support in estimating PoI from PoF predictions to aid estimating the likelihood of an ignition event occurring on a given asset. | Likelihood of hourly number of ignitions for every asset (pole and span) in the service territory. | Annual ignition rate | Hourly estimates Annual distribution at each feeder-segment | Full service territory inference at asset location | Deterministic | V2.0 | Model updates and methodology changes are documented in SDG&E's model repositories | - The ignition ratio is used to translate electrical outages into ignition events. This ratio is derived from the number of reportable ignitions and evidence of heat collected by the fire coordination team, working in collaboration with district engineers. This methodology considers various factors, including fuel conditions, the time and day of the outage, and other relevant environmental variables. | The model relies on the ignition component variable, which is developed and maintained by the San Diego Supercomputer Center at UCSD (https://wxmap.sdsc.edu//) The Technosylva Fuel Surface Layer is utilized to differentiate between areas that are capable of igniting and those that are not, such as parking lots. | - Hourly frequency rate based on historical reportable ignitions and evidence of heat and adjusted for weather conditions (i.e., temperature, dryness, and humidity) at 1.5 km grid cells and adjusted for different fuel types | - Model predictions at H3 hexagons wat resolution 11 | - Validation between Data Scientist, Fire Coordination, Meteorology, and Engineering teams - Detailed review of surface fuel layer types - Detailed review of Ignition Component influence in model predictions - Detailed review of model predictions | - Limited number of ignitions observations for a few fuel types. - PSPS de-energizations reduce the number of observed outages and ignitions during high wind gust conditions associated with Santa Ana weather events. | - Microsoft VS Code - AWS S3 - AWS Athena - AWS Glue - AWS Lambda - AWS Quicksight - Microsoft Azure Devops - Python packages (reference to .yml and .toml files in repo) | - Internal SDG&E systems (GIS, SAIDIDAT, EFRs) - CPUC reportable ignitions and Evidence of Heat database - Ignition component from San Diego Super Computer Center | - Based on subject matter expert review, model is updated on an annual basis or as needed, depending on changes in data, risk level, and regulatory requirements. - Meteorology, Fire Coodination, and Risk Data Scientists review model outputs | - Models are validated based on various performance metrics (i.e., R2, RSME, accuracy, precision, recall, and F1 score) depending on model type. Models are also validated based on robustness, scalability, and ability to generalize to new data. Compliance with regulatory standards and alignment with industry best practices is also assessed | Not Applicable | - SME analysis of outage and ignition data to assess whether the observation should be incorporated into the model. - SME review of Technosylva surface layers propensity to ignite - Pipeline monitoring checks are performed to continuously track the model's performance and detect any anomalies or drifts. This ongoing monitoring helps maintain the model's reliability and effectiveness over time. - Internal dashboarding and datasets are used to validate data inputs and model outputs | Not Applicable | - The model's output is calibrated to match historical ignition averages. It predicts outcomes based on the number of utility poles and the total span miles of the electrical infrastructure. This calibration ensures the model accurately reflects past data trends while considering the unique characteristics of SDG&E's network, site-specific conditions, and seasonal variations, with particular emphasis on Santa Ana weather conditions. | - Subject matter expert validation during model creation -Subject matter expert output model review - Stress-testing under various scenarios to ensure the model's robustness and ability to handle different conditions effectively - Automated and alarm-based pipeline checks during data ingestion and inference stages | - The input data is not calibrated. During model creation, outliers are reviewed and may be excluded at the modeler's discretion. | Not Applicable | Not Applicable | - Model deviation is assessed during the review of historical inference for WiNGS-Planning and review of daily forecasts for WiNGS-Ops | - Model sensitivity is analyzed when model is created based on historical observations. | SME evaluation of key variables and model parameters that are subject to uncertainty | In Process | In Process | In Process | See Model Validation | See Model Validation | See Model Validation
Wildfire Likelihood | - WiNGS-Planning - WiNGS-Ops | - Simulate annual frequency of ignition event occurrences leading to potential wildfires, leveraging probabilistic PoI values and simulated wind speeds. - Aid in estimating the impact of wildfire risk through integration into the Wildfire Consequence model. | Annual frequencies and associated ignition simulation records of simulated wildfire events. | To estimate annual wildfire event frequencies and ignition simulation records, which are incorporated into the Wildfire Consequence model to compute the Wildfire Risk metric. | Annual | Assessment performed for the full service territory, local to the conductor-span granularity | Probabilistic | See Parent Model | Model updates and methodology changes are documented in SDG&E's model repositories | - Probabilistic distributions - Monte Carlo simulations - Return period assessment from distribution percentiles - Normalization to annual risk event counts | Ignition ID records from Technosylva’s WRRM model output distributions are selected through a random selection process of all records available across the number of high fire days simulated within Technosylva WRRM model. Mapping of spans to ignition IDs is based on a buffer to estimate maximum potential spark length. | - Probabilistic distributions - Monte Carlo simulations - Spatial join mapping of span conductors to ignition ID points | Not Applicable | Determining the appropriate number of simulations needed to accurately model rare events. The goal is to capture tail risks by ensuring that all events, including extremely rare ones, are considered. By using the lowest nonzero probabilities for events, the return periods can be calculated. The count of simulations is determined by running enough simulations to ensure that every span with a nonzero probability has at least one event occurrance. This is done to enhance the reliability and comprehensiveness of the simulations, ensuring that rare events are adequately represented and understood. | - Normalization to annual historical risk event counts | - Microsoft VS Code - AWS S3 - AWS Athena - AWS Glue - AWS Lambda - AWS API Gateway - Microsoft Azure Devops - Python packages (reference to .yml and .toml files in repo) | See 'Data Characteristics' table pertaining to the model | - Python PyTest suite is designed for version comparison testing at a records and summary level. Pass/Fail criteria for key metrics (e.g. risk reduction target) are built into PyTest. - Prior to acceptance of model change, a review consisting of two separate runs is performed and subject matter experts validate the code change | - Subject matter expert review. - Assert functions embedded within the model code to maintain input parameter consistency. - Model versioning standard and strict validation process enacted for all model changes. | 2022 Third Party Review | - Ignition data - GIS as-built data - Moodys RMS model outputs - Technosylva WRRM model outputs - Prior model version outputs (PyTest) | - Risk event statistics observed to normalize/calibrate output values and quantify uncertainity - Statistical distributions of simulated risk event impacts analyzed by SME | - SME review - Assert functions embedded within the model code to maintain input parameter consistency | - SME review - Validation agains historical results | - Ignition data - Moodys RMS model outputs - Technosylva WRRM model outputs - Prior model version outputs (PyTest) | - Simulated annual risk event statistical distribution calibration performed to ensure relevance with regards to known histortical events and annual frequencies, in additon to SME informed input | Not Applicable | Calibrated risk event impact distribution are reviewed upon SME validation of outputs | Not measured | SME evaluation of key variables and model parameters that are subject to uncertainty | See Submodel attributes | See Submodel attributes | See Submodel attributes | See Submodel attributes | See Submodel attributes | See Submodel attributes
Wildfire Consequence | - WiNGS-Planning - WiNGS-Ops | - Estimate expected wildfire consequence impacts if a wildfire event was to occur in a specific location of the service territory. | Wildfire consequence estimates for safety, reliability, and financial attributes at each grid unit within the service territory. | To estimate expected wildfire consequence impacts if a wildfire were to occur in a specific location of the service territory. | Annual | Assessment performed for the full service territory, local to the conductor-span granularity | Deterministic | See Parent Model | Model updates and methodology changes are documented in SDG&E's model repositories | - Wildfire Consequence is estimated for three attributes (Safety, Reliability, and Financial) using a Cost-Benefit Framework (CBF) | Cost variable assumptions support the estimation of financial, safety, and reliability impacts of event predictions | Cost Benefit Framework (CBF) | Not Applicable | Cost Benefit Framework (CBF) development process per RAMP filing | - Cost variables support the estimation of financial impacts of predicted events | - Microsoft VS Code - AWS S3 - AWS Athena - AWS Glue - AWS Lambda - AWS API Gateway - Microsoft Azure Devops - Python packages (reference to .yml and .toml files in repo) | See 'Data Characteristics' table pertaining to the model | - Changes to output columns from Technosylva’s WRRM model, including quantiles for acres, buildings, population, fire behavior index, flame length, rate of spread, and buildings destroyed upon every model run, are tracked manually. Unexpected changes are further examined by staff data scientists - Python PyTest suite is designed for version comparison testing at a records and summary level. Pass/Fail criteria for key metrics (e.g. risk reduction target) are built into PyTest. - Prior to acceptance of model change, a review consisting of two separate runs is performed and subject matter experts validate the code change | - Subject matter expert review. - Assert functions embedded within the model code to maintain input parameter consistency. - Model versioning standard and strict validation process enacted for all model changes. | 2022 Third Party Review | - Wildfire/ignition history event data - GIS as-built data - Prior model version outputs (PyTest) | Subject matter expert review | - SME review - Model versioning standard and strict validation process enacted for all model changes | - SME review - Validation agains historical results | - Moody's RMS model outputs | - SME review - Calibration utilizing historical event results | Not Applicable | Not Applicable | Not measured | SME evaluation of key variables and model parameters that are subject to uncertainty | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
PSPS Likelihood | - WiNGS-Planning - WiNGS-Ops | - Estimate the probability that a given feeder-segment would be proactively de-energized on a given high-fire day, leveraging historical wind speeds measured at all upstream-associated weather stations and taking into account the grid-hardening state of the full upstream trace from the given feeder-segment. - Forecast the number and magnitude of PSPS de-energizations, including the number of customers impacted per event, leveraging the PSPS consequence attributes. | The likelihood and impact of PSPS de-energizations at each feeder segment. For WiNGS-Ops, a PSPS likelihood of 1 is assumed. | To estimate the projected annual frequency of PSPS de-energizations | Annual | Full service territory inference at the SCADA sectionalizing device level | Probabilistic | See Parent Model | Model updates and methodology changes are documented in SDG&E's model repositories | - Probabilistic distributions - Monte Carlo simulations - Return period assessment from distribution percentiles - Normalization to annual risk event counts | Probabilities are based on set weather station wind speed alert thresholds and historical wind conditions captured by weather stations. Approximating real-time operational decision making is modeled through the comparison of historical wind speed against weather station wind thresholds, adjusted by the state of grid hardening of the associated assets. Operational decision making criteria could be altered in future years. Weather station count and associated geospatial influence (i.e. VRI polyons) is assumed to be steady year-to-year | - Probabilistic distributions - Monte Carlo simulations | Not Applicable | Determining the appropriate number of simulations needed to accurately model rare events. The goal is to capture tail risks by ensuring that all events, including extremely rare ones, are considered. By using the lowest nonzero probabilities for events, the return periods can be calculated. The count of simulations is determined by running enough simulations to ensure that every span with a nonzero probability has at least one event occurrance. This is done to enhance the reliability and comprehensiveness of the simulations, ensuring that rare events are adequately represented and understood. | - Normalization to annual historical risk event counts | - Microsoft VS Code - AWS S3 - AWS Athena - AWS Glue - AWS Lambda - AWS API Gateway - Microsoft Azure Devops - Python packages (reference to .yml and .toml files in repo) | See 'Data Characteristics' table pertaining to the model | - Python PyTest suite is designed for version comparison testing at a records and summary level. Pass/Fail criteria for key metrics (e.g. risk reduction target) are built into PyTest. - Prior to acceptance of model change, a review consisting of two separate runs is performed and subject matter experts validate the code change. | - Subject matter expert review. - Assert functions embedded within the model code to maintain input parameter consistency. - Model versioning standard and strict validation process enacted for all model changes. | 2022 Third Party Review | - PSPS event data - GIS as-built data - Prior model version outputs (PyTest) | - Risk event statistics observed to normalize/calibrate output values and quantify uncertainity - Statistical distributions of simulated risk event impacts analyzed by SME | - SME review - Assert functions embedded within the model code to maintain input parameter consistency | - SME review - Validation agains historical results | - PSPS data - Prior model version outputs (PyTest) | - Simulated annual risk event statistical distribution calibration performed to ensure relevance with regards to known histortical events and annual frequencies, in additon to SME informed input | Not Applicable | Calibrated risk event impact distribution are reviewed upon SME validation of outputs | Not measured | SME evaluation of key variables and model parameters that are subject to uncertainty | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
PSPS Consequence | - WiNGS-Planning - WiNGS-Ops | - Estimate expected PSPS consequence impacts if a PSPS de-energization were to occur in a specific location of the service territory. | PSPS consequence estimates for safety, reliability, and financial attributes at each grid unit within the service territory. | For WiNGS-Planning: Estimates for every simulated event and total annual PSPS risk levels. For WiNGS-Ops: PSPS risk levels to support de-energization decisions on a segment-by-segment basis. | For WiNGS-Planning: PSPS simulated event aggregated to annual levels For WiNGS-Ops: PSPS de-energization based on 3-day weather forecast | For WiNGS-Planning: PSPS consequence is calculated for every SCADA sectionalizing device in the service territory For WiNGS-Ops: PSPS consequence values are estimated for each SCADA device in scope during every activation | Deterministic | See Parent Model | Model updates and methodology changes are documented in SDG&E's model repositories | - PSPS Consequence is estimated for three attributes (Safety, Reliability, and Financial) using a Cost-Benefit Framework (CBF) | Safety: The potential number of Serious Injuries and Fatalities created by a PSPS de-energization is estimated using subject matter expertise. Assumption: 1 fatality per 10 billion customer minutes de-energized. This assumption is estimated based on a review of historical PSPS de-energizations in California (2018-2021). Reliability: Customer Minutes Interrupted (CMI) estimates are calculated directly from the number of customers impacted at each feeder segment, with varying event durations based on historical and projected PSPS de-energization durations. Assumption: CMI estimates are subsequently monetized using $3.67/CMI. Financial: The potential financial loss experienced by customers affected by a PSPS de-energization event is estimated using subjecy matter expertise. Assumption: For residential customers a $482 cost per de-energization is calculated using per diem rates applicable to San Diego, CA, as September 2024 (October and November 2024 data are not available), with the assumption of accommodating four family members per customer meter. For C&I customers, a $1,446 cost per event is estimated. | Cost Benefit Framework (CBF) | Not Applicable | Cost Benefit Framework (CBF) development process per RAMP filing | Cost variables support the estimation of financial impacts of predicted events | - Microsoft VS Code - AWS S3 - AWS Athena - AWS Glue - AWS Lambda - AWS API Gateway - Microsoft Azure Devops - Python packages (reference to .yml and .toml files in repo) | See 'Data Characteristics' table pertaining to the model | - Python PyTest suite is designed for version comparison testing at a records and summary level. Pass/Fail criteria for key metrics (e.g. risk reduction target) are built into PyTest. - Prior to acceptance of model change, a review consisting of two separate runs is performed and subject matter experts validate the code change | - Subject matter expert review. - Assert functions embedded within the model code to maintain input parameter consistency. - Model versioning standard and strict validation process enacted for all model changes. | 2022 Third Party Review | - PSPS event data - GIS as-built data - Prior model version outputs (PyTest) | Subject matter expert review | - SME review - Model versioning standard and strict validation process enacted for all model changes | - SME review - Validation agains historical results | - PSPS risk event data | - SME review | Not Applicable | Not Applicable | Not measured | SME evaluation of key variables and model parameters that are subject to uncertainty | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
PEDS Likelihood | - WiNGS-Planning | - Simulate the annual frequency of a PEDS outage in a specific location of the service territory. | Annual estimate of Customer Minutes Interrupted (CMI) for a given location of the service territory. For WiNGS-Ops, PEDS outages are not included as a proactive de-energization. | To calculate annual CMI estimates, which are integrated with PEDS Consequence to determine the PEDS Risk value. | Annual | Assessment performed for the full service territory, local to the conductor-span granularity | Probabilistic | See Parent Model | Model updates and methodology changes are documented in SDG&E's model repositories | - Probabilistic distributions - Monte Carlo simulations - Return period assessement from distribution percentiles - Normalization to annual risk event counts | Probabilitic distributon selections are based in part on histortical SRP event data and subject matter expertise. | - Gamma Probabilistic distribution for CMI values - Normal Probabilistic distribtion for PEDS event frequency - Distribution fit chosen using the Sum Squared Error (SSE) metric | Not Applicable | Determining the appropriate number of simulations needed to accurately model rare events. The goal is to capture tail risks by ensuring that all events, including extremely rare ones, are considered. By using the lowest nonzero probabilities for events, the return periods can be calculated. The count of simulations is determined by running enough simulations to ensure that every span with a nonzero probability has at least one event occurrance. This is done to enhance the reliability and comprehensiveness of the simulations, ensuring that rare events are adequately represented and understood. | Assumed probabilitic distribution selections based in part on histortical SRP event data and SME input | - Microsoft VS Code - AWS S3 - AWS Athena - AWS Glue - AWS Lambda - AWS API Gateway - Microsoft Azure Devops - Python packages (reference to .yml and .toml files in repo) | See 'Data Characteristics' table pertaining to the model | - Python PyTest suite is designed for version comparison testing at a records and summary level. Pass/Fail criteria for key metrics (e.g. risk reduction target) are built into PyTest. - Prior to acceptance of model change, a review consisting of two separate runs is performed and subject matter experts validate the code change | - Subject matter expert review. - Model versioning standard and strict validation process enacted for all model changes. | Not performed yet | Histortical SRP outage event data | Subject matter expert review | - SME review - Model versioning standard and strict validation process enacted for all model changes | - SME review - Validation agains historical results | - Sensitive Relay Profile (SRP) outage event data | - SME review - Calibration utilizing historical event results | Not Applicable | Calibrated risk event impact distribution are reviewed upon SME validation of outputs | - SME review | SME evaluation of key variables and model parameters that are subject to uncertainty | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
PEDS Consequence | - WiNGS-Planning | - Estimate PEDS consequence impacts if a PEDS outage were to occur in a specific location of the service territory. | PEDS consequence estimates for safety, reliability, and financial attributes at each grid unit within the service territory. | To estimate expected PEDS consequence impacts if a PEDS outage event were to occur in a specific location of the service territory. | Annual | Assessment performed for the full service territory, local to the conductor-span granularity | Deterministic | See Parent Model | Model updates and methodology changes are documented in SDG&E's model repositories | - PEDS Consequence is estimated for three attributes (Safety, Reliability, and Financial) using a Cost-Benefit Framework (CBF) | Cost variables are used to support the estimation of financial, safety, and reliability impacts of predicted events. | Cost Benefit Framework (CBF) | Not Applicable | Cost Benefit Framework (CBF) development process per RAMP filing | Cost variables support the estimation of financial impacts of predicted events | - Microsoft VS Code - AWS S3 - AWS Athena - AWS Glue - AWS Lambda - AWS API Gateway - Microsoft Azure Devops - Python packages (reference to .yml and .toml files in repo) | See 'Data Characteristics' table pertaining to the model | - Python PyTest suite is designed for version comparison testing at a records and summary level. Pass/Fail criteria for key metrics (e.g. risk reduction target) are built into PyTest. - Prior to acceptance of model change, a review consisting of two separate runs is performed and subject matter experts validate the code change | - Subject matter expert review. - Assert functions embedded within the model code to maintain input parameter consistency. - Model versioning standard and strict validation process enacted for all model changes. | Not performed yet | - Sensitive Relay Profile (SRP) outage event data | Subject matter expert review | - SME review - Model versioning standard and strict validation process enacted for all model changes | - SME review - Validation agains historical results | - Sensitive Relay Profile (SRP) outage event data | - SME review - Calibration utilizing historical event results | Not Applicable | Not Applicable | Not measured | SME evaluation of key variables and model parameters that are subject to uncertainty | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Lifecycle Cost | WiNGS-Planning | - Estimate the asset maintenance cost of grid units within the service territory to support grid hardening prioritization strategies. | Cost of asset maintenance on existing and mitigation alternative states of each grid unit measured in the model. | To compare costs of mitigation hardening alternatives. | Annual | Assessment performed for the full service territory, local to the conductor-span granularity | Deterministic | See Parent Model | Model updates and methodology changes are documented in SDG&E's model repositories | - Probabilistic distributions - Expected Value - Return period assessment from distribution percentiles - Normalization to annual histortical inspection, trimming, and removal counts | Cost variables are used to support the estimation of financial impacts of the lifecycle maintenance schedule | - Descriptive Statistics (histortical averages, etc.) | Not Applicable | Not done | - Input data accuracy - Future costs and economic environment subject to change | - Microsoft VS Code - AWS S3 - AWS Athena - AWS Glue - AWS Lambda - AWS API Gateway - Microsoft Azure Devops - Python packages (reference to .yml and .toml files in repo) | See 'Data Characteristics' table pertaining to the model | - Model outputs are validated by subject matter experts during development - Unit test software is used to ensure model outputs are not modified in an unintended manner | - Explicitly defined filters for range of input data values are applied where applicable. | 2022 Third Party Review | Financial data from each mitigation type, Frequency of the mitigations, Forecasted frequency of unplanned activities. | Historical data are used to create forecasted frequency of unplanned events. Output uncentainty is reviewed by SMEs based on historical data | Input variability is checked every year to capture the differences in the financial cost over time. Mitigation activities that have significant changes in the cost are analyzed with input from the SMEs to adjust the cost unit. | Activity unit cost is validated against recent and historical data. The forecasted frequency is validated each year against the business process. | Historical statistical data and SME's observations | Forecasted PSPS frequency is calibrated at each segment level based on the updated likelihood and histrical frequency. Repaire activities requency on a circuit is calibrated based on referrence of non-HFTD records and SEM's inputs. | PSPS frequency is driven by climate which is the main uncertainty, however, the overall trend is used to support this calibration on PSPS related cost. | UG repair activities have limited historical records, the degree of deviation is mornitored annually to adjust the parameter used for forecasting its cost in 40 years. | Not measured | SME evaluation of key variables and model parameters that are subject to uncertainty | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable

## Data Characteristics
WiNGS-Planning
Item | Dataset Name | Dataset Description | Parent model usage | Submodel Usage | Field Definitions/Schema | Uncertainties | Acquisition Frequency | Spatial Granularity | Temporal Granularity | Temporal Range | Internal or External | Original Source of Data | Source of Data Read | Update Frequency | Data Verification Process | Data Modification Process
1 | wrrm | Technosylva WRRM model outputs tied to conductor span units | WiNGS-Planning | Wildfire Consequence | In Process | vendor created logic | As-needed | conductor span unit | Day | 2022-08-02 | External | Technosylva | AWS Athena | Annual | In Process | Null value imputation using geospatial nearest neightbor, then mean of the span, then segment, then circuit
3 | lifecycle_rates | Lifecycle cost-per-mile rates for overhead and underground equipment | WiNGS-Planning | Lifecycle Cost | In Process | feeder-segment granularity bias | As-needed | feeder-segment unit | Day | 2022-07-11 | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | NA
4 | wire_risk | SME advised wire risk categorization (High, Medium, Low) | WiNGS-Planning | Wildfire Likelihood | In Process | SME informed | As-needed | N/A | Day | N/A | Internal | Engineering Dept | AWS Athena | Daily | In Process | NA
5 | station_summary | Summary statistics (e.g. alert speed, wind speed, etc.) of each metereological weather station | WiNGS-Planning | Wildfire Likelihood, PSPS Likelihood | In Process | Standard data error uncertainities | As-needed | metereological weather station unit | Histortical | Station install date to 8/2/2023 | Internal | Metereology Dept | AWS Athena | Daily | In Process | NA
6 | station_segments_assoc | Metereological weather station mapping to feeder-segment devices | WiNGS-Planning | Wildfire Likelihood | In Process | Standard data error uncertainities | As-needed | feeder-segment unit | Day | 2023-08-02 | Internal | Metereology Dept | AWS Athena | Daily | In Process | NA
7 | span_work_scope | Future planned and in-scope UG/CC grid hardening work scope scheduled by Engineering | WiNGS-Planning | Wildfire Likelihood | In Process | Standard data error uncertainities | As-needed | conductor span unit | Year | 2024-2027 | Internal | P6 System | AWS Athena | As-needed | work scope validation script and ESH validation process | filtered to only include future workscope dates
8 | egress_at_poles | Egress model outputs | WiNGS-Planning | Wildfire Consequence | In Process | Standard data error uncertainities | As-needed | structure unit | Day | 2023-06-09 | Internal | ERM Dept | AWS Athena | As-needed | In Process | depuplication by taking max values of a pole (worst simulation
9 | gis_priohconductor_shape | Primary overhead conductor spans shape records. | WiNGS-Planning | All | In Process | Accuracy within 50 feet | As-needed | conductor span unit | Day | 3/15/2023 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | reprojected to CRS 2230
10 | gis_priugconductor_shape | Primary underground conductor spans shape records. | WiNGS-Planning | All | In Process | Accuracy within 50 feet | As-needed | conductor span unit | Day | 3/15/2023 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | reprojected to CRS 2230
11 | gis_secohconductor_shape | Secondary overhead conductor spans shape records. | WiNGS-Planning | All | In Process | Accuracy within 50 feet | As-needed | conductor span unit | Day | 3/15/2023 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | reprojected to CRS 2230
12 | gis_secugconductor_shape | Secondary underground conductor spans shape records. | WiNGS-Planning | All | In Process | Accuracy within 50 feet | As-needed | conductor span unit | Day | 07/04/2023 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | reprojected to CRS 2230
13 | powerworkz_vtree | Tree inventory records | WiNGS-Planning | Wildfire Likelihood | In Process | Standard data error uncertainities | As-needed | tree unit | Day | 11/12/2021 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | filtered to not include condition codes: 'CRM', 'CGRRM', 'CDRRM', 'DEL'. Filtered out records where a tree does not have a height
14 | src_cal_trans_chhighway_all_roads_service_territory | Cal Trans road line attribute and geometry data | WiNGS-Planning | Mitigation Cost | In Process | external data source | As-needed | route id unit | Day | 2023-10-26 | External | Caltrans GIS | AWS Athena | As-needed | In Process | Geometry clipped to SDGE territory
15 | src_bia | Tribal land (BIA) attributes and geometry data | WiNGS-Planning | None (Reporting Usage Only) | In Process | external data source | As-needed | tribal land grouping | Day | 2023-12-30 | External | BIA.gov GIS Data | AWS Athena | As-needed | In Process | Geometry clipped to SDGE territory
16 | coastal_canyons | Coastal Canyons attributes and geometry data. | WiNGS-Planning | None (Reporting Usage Only) | In Process | semi-automated identification of coastal canyons, with support from SMEs | As-needed | coastal canyon grouping | Day | 2022-03-11 | Internal | Excel | AWS Athena | As-needed | In Process | Geometry clipped to SDGE territory
17 | ign8hr_2023_2230 | Technosylva WRRM model ignition point outputs | WiNGS-Planning | Wildfire Consequence | In Process | vendor created logic | As-needed | structure unit | Day | 2024-01-10 | External | Technosylva | AWS Athena | As-needed | In Process | NA
18 | src_vri | Vegetation Risk Index (VRI) Polygon geometry | WiNGS-Planning | PSPS Likelihood | In Process | SME informed polygon creation | As-needed | vri polygon grouping | Day | 2024-03-20 | Internal | Metereology | AWS Athena | As-needed | In Process | Filtered out trannsmission VRI boundries
19 | gis_atriskdownstreamscada | GIS network (TDN) attributes connectivity and sequence tied to scada sectionlizing devices. | WiNGS-Planning | All | In Process | Standard data error uncertainities | As-needed | asset unit | Day | 11/2/2021 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | Filtered out training and dead circuits
20 | gis_priohconductor | Primary overhead conductor spans records. | WiNGS-Planning | All | In Process | Standard data error uncertainities | As-needed | conductor span unit | Day | 11/2/2021 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | filtered to only active assets. Miles derived from feet.
21 | gis_priugconductor | Primary underground conductor spans records. | WiNGS-Planning | All | In Process | Standard data error uncertainities | As-needed | conductor span unit | Day | 11/2/2021 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | filtered to only active assets. Miles derived from feet.
22 | gis_secohconductor | Secondary overhead conductor spans records. | WiNGS-Planning | All | In Process | Standard data error uncertainities | As-needed | conductor span unit | Day | 11/3/2021 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | filtered to only active assets. Miles derived from feet.
23 | gis_secugconductor | Secondary underground conductor spans records. | WiNGS-Planning | All | In Process | Standard data error uncertainities | As-needed | conductor span unit | Day | 11/3/2021 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | filtered to only active assets. Miles derived from feet.
24 | gis_overheadstructure | Overhead pole structures records | WiNGS-Planning | All | In Process | Standard data error uncertainities | As-needed | structure unit | Day | 11/2/2021 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | filtered to only active assets and to only include poles
25 | gis_surfacestructure | Surface structures records | WiNGS-Planning | All | In Process | Standard data error uncertainities | As-needed | structure unit | Day | 5/24/2023 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | filtered to only active assets
26 | gis_undergroundstructure | Underground structure records | WiNGS-Planning | All | In Process | Standard data error uncertainities | As-needed | structure unit | Day | 11/2/2021 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | filtered to only active assets
27 | gis_workhistory | Work order history records | WiNGS-Planning | Wildfire Likelihood | In Process | Standard data error uncertainities | As-needed | work history record | Day | 11/2/2021 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | deriving age from workorder date and filtering out dates prior to 1929-01-01 (placeholder date)
28 | gis_workhistory_ohstruct | Work order history records join table to the Overhead structure table | WiNGS-Planning | Wildfire Likelihood | In Process | Standard data error uncertainities | As-needed | work history record | Day | 11/2/2021 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | filtered to only include current (latest) workorders
29 | gis_workhistory_surfstruct | Work order history records join table to the Surface structure records | WiNGS-Planning | Wildfire Likelihood | In Process | Standard data error uncertainities | As-needed | work history record | Day | 7/20/2022 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | filtered to only include current (latest) workorders
30 | gis_workhistory_ugstruct | Work order history records join table to the Underground structure records | WiNGS-Planning | Wildfire Likelihood | In Process | Standard data error uncertainities | As-needed | work history record | Day | 7/20/2022 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | filtered to only include current (latest) workorders
31 | gis_priohconductorinfo | Primary overhead conductor spans phase records. | WiNGS-Planning | Wildfire Likelihood | In Process | Standard data error uncertainities | As-needed | conductor span phase unit | Day | 11/2/2021 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | NA
32 | gis_priugconductorinfo | Primary underground conductor spans phase records. | WiNGS-Planning | Wildfire Likelihood | In Process | Standard data error uncertainities | As-needed | conductor span phase unit | Day | 11/2/2021 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | NA
33 | gis_workhistory_priohcondinfo | Work order history records join table to the Primary overhead conductor spans phase records | WiNGS-Planning | Wildfire Likelihood | In Process | Standard data error uncertainities | As-needed | work history record | Day | 8/11/2022 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | filtered to only include current (latest) workorders
34 | gis_workhistory_priugcondinfo | Work order history records join table to the Primary underground conductor spans phase records | WiNGS-Planning | Wildfire Likelihood | In Process | Standard data error uncertainities | As-needed | work history record | Day | 8/4/2022 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | filtered to only include current (latest) workorders
35 | gis_atriskcustomersscada | Customer attribute records tied to scada sectionlizing devices | WiNGS-Planning | Wildfire Consequence, PSPS Consequence | In Process | Standard data error uncertainities | As-needed | feeder-segment unit | Day | 11/2/2021 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In Process | filtered to only include 4kv circuits. NOTE: this table is only used
36 | nms_oua_restored_events_vw | Historic psps operations per sectionalizer. | WiNGS-Planning | N/A | In Process | Standard data error uncertainities | As-needed | In Process | In Process | 5/13/2022 to Present | Internal | NMS | AWS Athena | Daily | In Process | modified to include historical events (that use older format standard) by id
37 | nms_oua_restored_outage_vw | Historic psps operations per sectionalizer. | WiNGS-Planning | N/A | In Process | Standard data error uncertainities | As-needed | In Process | In Process | 7/20/2022 to Present | Internal | NMS | AWS Athena | Daily | In Process | filtered to only include reportable outages
38 | gis_customerinformation_sde | Customer meter records | WiNGS-Planning | Wildfire Consequence, PSPS Consequence | In Process | Standard data error uncertainities | As-needed | transformer unit | Day | 5/10/2023 to Present | Internal | Oracle GIS DB | AWS Athena | Daily | In model assert statement validation of customer subtype counts adding up correctly | filtered to only active assets and remove null facilityids
39 | wings_meteorology_windspeeds | Wind speed readings during select high fire days of each metereological weather station | WiNGS-Planning | PSPS Likelihood | In Process | Standard data error uncertainities | As-needed | metereological weather station unit | Day | 9/14/2012 to 12/25/2022 | Internal | Metereology Dept | AWS Athena | As-needed | In Process | NA
40 | ignition_data | Ignition event records | WiNGS-Planning | Wildfire Likelihood | In Process | Standard data error uncertainities | As-needed | 50 feet grid | Day | 2024 - 2022 | Internal | Fire Sciences | AWS Athena | As-needed | In Process | NA

## W_P_O diagram_R2 (hidden)
External Sources
- Public Land Use Maps
- Street and Road Network
- Fuels Layer
- Ignition Component
Pole/Span PoF
Customer Information
- Customer Segmentation
- AFN Customer Class
- Meter Location and associated Transformer
Conductor POF Model
Vegetation POF Model
Other(*) POF Model
Vehicle POF Model
Ignition Likelihood
WiNGS Ops Wildfire Likelihood
WiNGS Planning Wildfire Likelihood
Risk Event Datasets
- SAIDIDAT (Electrical outages)
- Evidence of Heat
- Reportable CPUC Ignitions
- Historical PSPS events
- Historical SRP events
Pole/Span Conditional PoI
WiNGS Ops Wildfire Consequence
WiNGS Planning Wildfire Consequence
WiNGS Planning Wildfire Risk
WiNGS Ops Wildfire Risk
WiNGS Ops PSPS Risk
Wildfire vs. PSPS Analysis
WiNGS Ops PSPS Likelihood (=1)
WiNGS Ops PSPS Consequence
WiNGS Planning PSPS Likelihood
WiNGS Planning PSPS Consequence
WiNGS Planning PSPS Risk
WiNGS Planning PEDS Likelihood
WiNGS Planning PEDS Consequence
WiNGS Planning PEDS Risk
WiNGS Planning Total Risk
Wildfire Consequence Simulations
- Based on Historical fire weather days for WiNGS-Planning and WiNGS-Ops
-Based on daily forecasts (WiNGS-Ops only)
- Egress factor (WiNGS-Planning only)
Planned hardening work scope
Legend:
- Purple: WiNGS Planning related only
- Green: WiNGS Ops related only
- Blue: Related to both WiNGS Ops & Planning
Weather Data
- Weather Station Location
- Wind Gust and Direction
- Temperature
- Humidity
- FPI
- RFW
- Other
Asset Information
- Physical Characteristics
- Location
- Electrical Network Configuration
Vegetation Database
- Tree location
- Association to electrical asset
- Inspection and maintenance history
INPUTS
SUB-MODELS
MODEL FAMILIES
RISK COMPONENTS
DECISION ANALYSIS
Mitigation Assessment
Portfolio Optimization
Mitigation Recommendations
Life Cycle Cost
WF Likelihood Equpment Caused
WF Likelihood Contact from Vegetation
WF Likelihood Contact from Object
WF Likelihood Other
Burn Likelihood
Wildfire Hazard Intensity
Wildfire exposure potential
Wildfire vulnerability
PSPS exposure potential
PSPS vulnerability
PEDS outage exposure potential
PEDS outage vulnerability