## Budget
WMPInitiativeCategory | WMPInitiativeActivity | UtilityInitiativeTrackingID | Name in XY | Asset Type | Units | 2025 - units | 2025 - cost | 2026 - units | 2026 - cost | 2027 - units | 2027 - cost | 2028 - units | 2028 - cost | Total Budget | Average - Cost | Diff % - utility risk | Diff % - outage program risk | Diff % - electrical fire - count | utility risk - Benefit / cost (M) | outage program risk - Benefit / cost (M)2 | electrical fire - count - Benefit / cost (M)3
Situational Awareness & Forecasting | Grid monitoring systems | WMP-SA-02 | Configuration : Fault indicator activated? | Circuit | Fault Indicators | 7 | 300000 | [6 empty] | 300000 |  | 1.04 | 0.09 | 23.49 | 3.4667 | 0.3 | 78.3
Grid Design, Operations, and Maintenance | Equipment settings to reduce wildfire risk | WMP-GDOM-GO-01 | Configuration : Number of days EPSS Enable | Circuit | # of circuits with SRP | 7 | 500000 | [6 empty] | 500000 |  | 73.74 | 8.98 | 3.14 | 147.48 | 17.96 | 6.28
Grid Design, Operations, and Maintenance | Expulsion fuse replacement | WMP-GDOM-GH-12b | Budget - OHF - Replacement - Expulsion | OHF | Expulsion Fuses | 500 | 2000000 | 500 | 2000000 | 500 | 2000000 | 500 | 2000000 | 8000000 | 2000000 | -0.19 | 10.61 | 15.94 | -0.02375 | 1.3262 | 1.9925
Grid Design, Operations, and Maintenance | Transmission pole/tower replacements and reinforcements | WMP-GDOM-GH-04 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Grid Design, Operations, and Maintenance | Traditional overhead hardening | WMP-GDOM-GH-05 |  |  | Circuit Miles | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Grid Design, Operations, and Maintenance | Emerging grid hardening technology installations and pilot progress | WMP-GDOM-GH-06 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Grid Design, Operations, and Maintenance | Microgrids | WMP-GDOM-GH-07 |  |  | Microgrids | - | - | - | - | - | - |  |  | #VALUE! | #DIV/0! |  |  |  | #VALUE! | #VALUE! | #VALUE!
Grid Design, Operations, and Maintenance | Distribution pole replacements and reinforcements | WMP-GDOM-GH-03 | Budget - POL - Management | Pole | Poles | 400 | 5000000 | 400 | 5000000 | 400 | 5000000 | 400 | 5000000 | 20000000 | 5000000 | 1.35 | 4.05 | 8.6 | 0.0675 | 0.2025 | 0.43
Grid Design, Operations, and Maintenance | Line removal (in HFTD) | WMP-GDOM-GH-09 |  |  | Circuit Miles | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Grid Design, Operations, and Maintenance | Other grid topology improvements to minimize risk of ignitions | WMP-GDOM-GH-10 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Grid Design, Operations, and Maintenance | Other grid topology improvements to mitigate or reduce PSPS events | WMP-GDOM-GH-11 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Grid Design, Operations, and Maintenance | Other technologies and systems not listed above: | WMP-GDOM-GH-12 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Grid Design, Operations, and Maintenance | Installation of system automation equipment | WMP-GDOM-GH-08 |  |  | Automatic Reclosers | 4 | 1200000 | [6 empty] | 1200000 | 1200000 |  |  |  | 0 | 0 | 0
Grid Design, Operations, and Maintenance | Open wire/grey wire | WMP-GDOM-GH-12e | Budget - SCO - Open/Grey Wire | Secondary_Conductor | Circuit Miles | 5.2 | 3000000 | 5.2 | 3000000 | 5.2 | 3000000 | 5.2 | 3000000 | 12000000 | 3000000 | -0.55 | 0.06 | 0.28 | -0.045833 | 0.005 | 0.023333
Grid Design, Operations, and Maintenance | Animal guards | WMP-GDOM-GH-12c |  |  | Animal Guards | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Grid Design, Operations, and Maintenance | CalFIRE exempt hardware | WMP-GDOM-GH-12d |  |  | CalFIRE Exempt Hardware | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Vegetation Management & Inspections | Vegetation Management Inspection Program - Detailed | WMP-VM-INSP-01 | Budget - VEG - Detailed Inspection | Vegetation | Line Miles | 220 | 917841 | 220 | 648900 | 220 | 668367 | 220 | 688418 | 2923526 | 730881.5 | 0.22 | -0.01 | 0.05 | 0.075252 | -0.0034205 | 0.017103
Grid Design, Operations, and Maintenance | Undergrounding of electric lines and/or equipment | WMP-GDOM-GH-02 | Budget - CON - Undergrounding | Conductor | Circuit Miles | 0.4 | 6000000 |  | 3693000 |  | 7402000 |  |  | 6967000 |  | -0.34 | -0.68 | 0.08 | -0.048801 | -0.097603 | 0.011483
Vegetation Management & Inspections | Wood and Slash Management | WMP-VM-VFM-02 | Budget - VEG - Hauling | Vegetation | Acres | 280 | 1381311 | 280 | 1102775 | 280 | 1135858 | 280 | 1169934 | 4789878 | 1197469.5 | -1.09 | 0.03 | 0.03 | -0.22756 | 0.0062632 | 0.0062632
Vegetation Management & Inspections | Quality Assurance and Quality Control | WMP-VM-QAQC-01 | Budget - CON - Quality Control | Conductor | Line Miles | 229 | 540791 | 228 | 448823 | 228 | 462288 | 228 | 476157 | 1928059 | 482014.75 | -1.48 | -0.07 | -0.03 | -0.76761 | -0.036306 | -0.01556
Grid Design, Operations, and Maintenance | Covered conductor installation | WMP-GDOM-GH-01 | Budget - CON - Cover Budget | Conductor | Circuit Miles | 2.68 | 7640200 | 3.9 | 7081000 | 3.5 | 6310000 | 3.7 | 6695500 | 27726700 | 6931675 | -0.3 | 2.02 | -0.61 | -0.01082 | 0.072854 | -0.022
Vegetation Management & Inspections | Clearance | WMP-VM-VFM-05 | Budget - VEG - Clearence | Vegetation | Line Miles | 700 | 1405502 | 700 | 1133000 | 700 | 1166990 | 700 | 1202000 | 4907492 | 1226873 | -0.66 | 0.06 | -0.14 | -0.13449 | 0.012226 | -0.028528
Vegetation Management & Inspections | Fall-In Mitigation | WMP-VM-VFM-06 | Budget - VEG - Fall-in | Vegetation | Line Miles | 220 | 4810059 | 220 | 3813590 | 220 | 3927998 | 220 | 4045838 | 16597485 | 4149371.25 | -1.62 | -0.6 | -0.59 | -0.097605 | -0.03615 | -0.035548
Grid Design, Operations, and Maintenance | Detailed inspections of distribution electric lines and equipment | WMP-GDOM-AI-01 | Budget - SUB - Detail Inspection - Capital | Circuit | Circuit Miles | 260.4 | 500000 | 183.9 | 520000 | 207 | 540800 | 198.5 | 562432 | 2123232 | 530808 | -2.13 | -0.2 | -0.16 | -1.0032 | -0.094196 | -0.075357
Grid Design, Operations, and Maintenance | Tree attachment removals | WMP-GDOM-GH-12a | Budget - SCO - Tree attachement | Secondary_Conductor | Tree Attachments | 60 | 1101673 | 60 | 1132000 | 60 | 1163000 | 60 | 1195000 | 4591673 | 1147918.25 | -2.7 | -0.53 | -0.43 | -0.58802 | -0.11543 | -0.093648
| Vegetation Sum LiDar + Patrol |  | Budget - VEG - Patrol + Lidar | Vegetation |  |  | 1115661 |  | 1008078 |  | 1036820 |  | 1016424 | 4176983 | 1044245.75 | -0.49 | -0.44 | -0.92 | -0.11731 | -0.10534 | -0.22025
Grid Design, Operations, and Maintenance | Grid response procedures and notifications | WMP-GDOM-GO-02 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Vegetation Management & Inspections | Pole Clearing | WMP-VM-VFM-01 | Budget - POL - Pole Clearing | Pole | Line Miles | 4900 | 453918 | 4900 | 467536 | 4900 | 481562 | 4900 | 496009 | 1899025 | 474756.25 | -0.79 | -0.53 | -0.42 | -0.416 | -0.27909 | -0.22117
Grid Design, Operations, and Maintenance | Automatic recloser operations | WMP-GDOM-GO-04 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Grid Design, Operations, and Maintenance | Asset Management and Inspection Enterprise System | WMP-GDOM-GO-05 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Grid Design, Operations, and Maintenance | Patrol inspections of distribution electric lines and equipment | WMP-GDOM-AI-03 | Budget - SUB - Patrol Inspection - Capital | Circuit | Circuit Miles | 540.9 | 150000 | 585.7 | 156000 | 553.4 | 162240 | 568.8 | 168730 | 636970 | 159242.5 | 0.03 | 0.34 | -0.17 | 0.047098 | 0.53378 | -0.26689
Vegetation Management & Inspections | Fire-Resilient Right-of-Ways | WMP-VM-VFM-04 | Budget - VEG - Right-of-Ways | Vegetation | Line Miles | - | 577360 | - | 594681 | - | 612521 |  | 630897 | 2415459 | 603864.75 | -0.9 | -0.18 | -0.8 | -0.3726 | -0.07452 | -0.3312
Grid Design, Operations, and Maintenance | Intrusive pole inspections | WMP-GDOM-AI-02 | Budget - POL - intrusive inspection | Pole | Poles | 2411 | 175000 | 2533 | 182000 | 2853 | 189280 | 3502 | 196851 | 743131 | 185782.75 | -0.93 | 0.02 | -0.34 | -1.2515 | 0.026913 | -0.45752
Vegetation Management & Inspections | Substation Defensible Space | WMP-VM-VFM-03 | Budget - VEG - Substation Defensible Space | Vegetation | Substation Inspections | 12 | 84365 | 12 | 41200 | 12 | 42436 | 12 | 43709 | 211710 | 52927.5 | 0.13 | -0.19 | -0.37 | 0.61405 | -0.89745 | -1.7477
Grid Design, Operations, and Maintenance | Substation Equipment Replacement | WMP-GDOM-GH-12f |  |  | TBD | 1 | 607584 | 1 | 607584 | 1 | 607584 |  |  | 1822752 | 607584 |  |  |  | 0 | 0 | 0
Grid Design, Operations, and Maintenance | Other discretionary inspections of distribution electric lines and equipment | WMP-GDOM-AI-04 |  |  | Circuit Miles | 1 | 150000 | 1 | 150000 | 1 | 150000 |  |  | 450000 | 150000 |  |  |  | 0 | 0 | 0
Grid Design, Operations, and Maintenance | Quality assurance / quality control of inspections | WMP-GDOM-AI-05 |  |  | % of Detailed Inspections | 0.12 | 30000 | 0.12 | 30000 | 0.12 | 30000 |  |  | 90000 | 30000 |  |  |  | 0 | 0 | 0
Grid Design, Operations, and Maintenance | Substation inspections | WMP-GDOM-AI-06 |  |  | Substations | 42 | 45000 | 42 | 45000 | 42 | 45000 |  |  | 135000 | 45000 |  |  |  | 0 | 0 | 0
Grid Design, Operations, and Maintenance | Equipment maintenance and repair | WMP-GDOM-MR-01 |  |  | - | - | 500000 | - | 500000 | - | 500000 |  |  | 1500000 | 500000 |  |  |  | 0 | 0 | 0
Grid Design, Operations, and Maintenance | Personnel work procedures and training in conditions of elevated fire risk | WMP-GDOM-GO-03 |  |  | - | - | 5000 | - | 5000 | - | 5000 |  |  | 15000 | 5000 |  |  |  | 0 | 0 | 0
Vegetation Management & Inspections | High-Risk Species | WMP-VM-VFM-07 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Vegetation Management & Inspections | Emergency Response Vegetation Management | WMP-VM-VFM-08 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Vegetation Management & Inspections | Vegetation Management Enterprise System | WMP-VM-ESG-01 |  |  | - | - | 843648 | - | 843648 | - | 843648 |  |  | 2530944 | 843648 |  |  |  | 0 | 0 | 0
Vegetation Management & Inspections | Vegetation Management Inspection Program - Patrol | WMP-VM-INSP-02 |  | Vegetation | Line Miles | - | 330173 | - | 340078 | - | 350280 |  | 360788 |  | 345329.75 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Situational Awareness & Forecasting | Environmental monitoring systems | WMP-SA-01 |  |  | Weather Stations | 0 | 50000 | 0 | 50000 | 0 | 50000 |  |  | 150000 | 50000 |  |  |  | 0 | 0 | 0
Vegetation Management & Inspections | Vegetation Management Inspection Program - LiDar | WMP-VM-INSP-03 |  | Vegetation | Line Miles | 700 | 735488 | 700 | 618000 | 700 | 636540 | 700 | 655636 |  | 661416 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Situational Awareness & Forecasting | Fire detection and alarm systems | WMP-SA-03 |  |  | DFA Units | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Situational Awareness & Forecasting | Weather forecasting | WMP-SA-04 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Situational Awareness & Forecasting | Fire Potential Index | WMP-SA-05 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Situational Awareness & Forecasting | Ignition likelihood calculation | WMP-SA-06 |  |  | - | - | 806000 | - | 806000 | - | 806000 |  |  | 2418000 | 806000 |  |  |  | 0 | 0 | 0
Situational Awareness & Forecasting | Ignition consequence calculation | WMP-SA-07 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Emergency Preparedness | Wildfire and PSPS emergency preparedness plan | WMP-EP-01 |  |  | - | - | 35000 | - | 35000 | - | 35000 |  |  | 105000 | 35000 |  |  |  | 0 | 0 | 0
Emergency Preparedness | Collaboration and coordination with public safety partners | WMP-EP-02 |  |  | - | TBD | 0 | TBD | 0 | TBD | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Emergency Preparedness | Public notification and communication strategy | WMP-EP-03 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Emergency Preparedness | Preparedness and planning for service restoration | WMP-EP-04 |  |  | - | - | 225000 | - | 225000 | - | 225000 |  |  | 675000 | 225000 |  |  |  | 0 | 0 | 0
Emergency Preparedness | Customer support in wildfire and PSPS emergencies | WMP-EP-05 |  |  | - | TBD | 55000 | TBD | 55000 | TBD | 55000 |  |  | 165000 | 55000 |  |  |  | 0 | 0 | 0
Emergency Preparedness | Learning after wildfire and PSPS events | WMP-EP-03 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Community Outreach and Engagement | Public outreach and education awareness for wildfires, PSPS, outages from protective equipment and device settings, and vegetation management | WMP-CO-01 |  |  | - | TBD | 90000 | TBD | 90000 | TBD | 90000 |  |  | 270000 | 90000 |  |  |  | 0 | 0 | 0
Community Outreach and Engagement | Public engagement in WMP decision-making process | WMP-CO-02 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Community Outreach and Engagement | Engagement with AFN populations, local governments, and tribal communities | WMP-CO-03 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Community Outreach and Engagement | Collaboration on local wildfire mitigation and planning | WMP-CO-04 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Community Outreach and Engagement | Best practice sharing with other electrical corporations | WMP-CO-05 |  |  | - | - | 0 | - | 0 | - | 0 |  |  | 0 | 0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!

## Project
No SRP
Project | Cost (million $) | Diff % - Mean - Utility Risk | Diff % - Mean - Outage Program Risk | Diff % - Mean - Fire Risk | Utility Risk - Benefit (%) / Cost (Million $) | Outage Program - Benefit (%) / Cost (Million $) | Fire Risk - Benefit (%) / Cost (Million $)
Cover Without SRP | 1.47 | 0.44 | -0.39 | -0.05 | -0.30769 | 0.27273 | 0.034965
Undergrounding without SRP | 6.96 | 0.44 | -0.11 | 1 | -0.063584 | 0.015896 | -0.14451
Normal Replacement without SRP (Baseline) | 0.04 | N/A | N/A | N/A | N/A | N/A | N/A
SRP
Project | Cost (million $) | Diff % - Mean - Utility Risk | Diff % - Mean - Outage Program Risk | Diff % - Mean - Fire Risk | Utility Risk - Benefit (%) / Cost (Million $) | Outage Program - Benefit (%) / Cost (Million $) | Fire Risk - Benefit (%) / Cost (Million $)
Undergrounding | 7.46 | 0.95 | -0.11 | 0.16 | -0.13728 | 0.015896 | -0.023121
Cover | 1.97 | -0.16 | -0.03 | -0.99 | 0.11189 | 0.020979 | 0.69231
Normal Replacement Baseline (Baseline) | 0.54 | N/A | N/A | N/A | N/A | N/A | N/A

## Circuit Ranking
circuit | Utility Risk Rank | PSPS Risk Rank | fire risk | psps consequence | psps consequence - financial | psps consequence - reliability | psps consequence - safety | psps risk | utility risk | % Utility Risk | epss risk | in service risk | outage program risk
MEY3400 Circuit | 1 | 1 | 6.6091e-06 | 0.5111 | 500329.2171 | 2943113.042 | 1376.9594 | 0.046045 | 0.023026 | 86.58% | 0.17634 | 0.0022503 | 0.11119
CEM41 Circuit | 2 | 2 | 8.9088e-06 | 0.040841 | 49674.6481 | 292203.8121 | 1.848 | 0.004901 | 0.0024549 | 9.231% | 0.0011687 | 0.0011219 | 0.0030348
TPZ1202 Circuit | 3 | 3 | 1.1747e-05 | 0.097162 | 115992.9792 | 682311.6421 | 28.7661 | 0.00086166 | 0.0004367 | 1.642% | 0.025874 | 0.0012319 | 0.013368
MULLER1296 Circuit | 4 | 4 | 7.4051e-06 | 0.10539 | 126560.9748 | 744476.3222 | 22.8329 | 0.00055661 | 0.00028201 | 1.06% | 0.024795 | 0.001427 | 0.012676
TRK7203 Circuit | 9 | 5 | 8.1686e-08 | 0.37291 | 418348.2866 | 2460872.2744 | 409.874 | 4.4749e-05 | 2.2416e-05 | 0.08429% | 0.0043114 | 0.00095141 | 0.0021781
WSH201 Circuit | 23 | 6 | 2.5327e-06 | 0.0066062 | 8060.4132 | 47414.1954 | 0.015768 | 5.5683e-06 | 4.0505e-06 | 0.01523% | 0.00023267 | 0.00093655 | 0.00011912
RUS7900 Circuit | 5 | 7 | 0.00014026 | 0.0072789 | 8882.6511 | 52250.8888 | 0.00014108 | 0 | 7.0132e-05 | 0.2637% | 0.00037792 | 0.0037953 | 0.00018896
LOY619 Circuit | 6 | 8 | 0.00013273 | 0 | 0 | 0 | 0 | 0 | 6.6366e-05 | 0.2496% | 0 | 0.0015525 | 0
CAL2501 Circuit | 7 | 9 | 8.7662e-05 | 0.017843 | 21772.6689 | 128074.5229 | 0.019448 | 0 | 4.3831e-05 | 0.1648% | 0.00048114 | 0.0013971 | 0.00024057
T609 Circuit | 8 | 10 | 8.6896e-05 | 0 | 0 | 0 | 0 | 0 | 4.3448e-05 | 0.1634% | 0 | 0.0026066 | 0
T111 Circuit | 10 | 11 | 3.7708e-05 | 0 | 0 | 0 | 0 | 0 | 1.8854e-05 | 0.0709% | 0 | 0.0018835 | 0
TRK7202 Circuit | 11 | 12 | 2.9712e-05 | 0.024263 | 29577.7523 | 173986.7781 | 0.34648 | 0 | 1.4856e-05 | 0.05586% | 0.001292 | 0.0017547 | 0.00064598
T629 Circuit | 12 | 13 | 2.4202e-05 | 0 | 0 | 0 | 0 | 0 | 1.2101e-05 | 0.0455% | 0 | 0.0010599 | 0
T621 Circuit | 13 | 14 | 2.019e-05 | 0 | 0 | 0 | 0 | 0 | 1.0095e-05 | 0.03796% | 0 | 0.0027636 | 0
POR3100 Circuit | 14 | 15 | 1.8584e-05 | 0.11949 | 142711.4145 | 839478.9089 | 34.601 | 0 | 9.2922e-06 | 0.03494% | 0.010503 | 0.0012422 | 0.0052513
STL3101 Circuit | 15 | 16 | 1.6059e-05 | 0.458 | 505065.7971 | 2970975.2771 | 600.8656 | 0 | 8.0294e-06 | 0.03019% | 0.048778 | 0.0023332 | 0.024389
POR3200 Circuit | 16 | 17 | 1.6005e-05 | 0.18162 | 206696.339 | 1215860.8176 | 166.7902 | 0 | 8.0025e-06 | 0.03009% | 0.026886 | 0.0015774 | 0.013443
TAH7200 Circuit | 17 | 18 | 1.2077e-05 | 0.010723 | 13080.2261 | 76942.5067 | 0.057772 | 0 | 6.0386e-06 | 0.02271% | 0.00019196 | 0.0009767 | 9.5978e-05
T608 Circuit | 18 | 19 | 1.1771e-05 | 0.00013877 | 169.3456 | 996.1507 | 4.9808e-08 | 0 | 5.8856e-06 | 0.02213% | 1.3185e-05 | 0.001164 | 6.5924e-06
GLS7600 Circuit | 19 | 20 | 1.1311e-05 | 0.0075352 | 9192.4311 | 54073.1242 | 0.034512 | 0 | 5.6555e-06 | 0.02127% | 0.00025513 | 0.0013574 | 0.00012756
T640 Circuit | 20 | 21 | 9.5145e-06 | 0 | 0 | 0 | 0 | 0 | 4.7573e-06 | 0.01789% | 0 | 0.0011904 | 0
MEY3100 Circuit | 21 | 22 | 9.0518e-06 | 0.3893 | 425899.4084 | 2505290.6374 | 548.7503 | 0 | 4.5259e-06 | 0.01702% | 0.059415 | 0.0016162 | 0.029707
SQV8300 Circuit | 22 | 23 | 8.4047e-06 | 0.040349 | 49179.5476 | 289291.4566 | 0.67014 | 0 | 4.2024e-06 | 0.0158% | 0.00013411 | 0.00060231 | 6.7054e-05
MEY3200 Circuit | 24 | 24 | 7.669e-06 | 0.9196 | 715442.2993 | 4208484.1133 | 4539.4721 | 0 | 3.8345e-06 | 0.01442% | 0.18522 | 0.0029968 | 0.092612
MEY3300 Circuit | 25 | 25 | 6.748e-06 | 0.71462 | 705293.5392 | 4148785.5246 | 1861.2487 | 0 | 3.374e-06 | 0.01269% | 0.15824 | 0.0018404 | 0.07912
SQV8200 Circuit | 26 | 26 | 6.2922e-06 | 0.12528 | 151409.3704 | 890643.3551 | 16.3852 | 0 | 3.1461e-06 | 0.01183% | 0.0059776 | 0.00083307 | 0.0029888
STL3501 Circuit | 27 | 27 | 6.0616e-06 | 0.46471 | 493704.1412 | 2904142.0072 | 819.0896 | 0 | 3.0308e-06 | 0.0114% | 0.051254 | 0.0017988 | 0.025627
MEY3500 Circuit | 28 | 28 | 5.5698e-06 | 0.66061 | 649724.7012 | 3821910.0073 | 1745.7959 | 0 | 2.7849e-06 | 0.01047% | 0.1346 | 0.0019268 | 0.067302
HOB7700 Circuit | 29 | 29 | 4.2888e-06 | 0.0048964 | 5975.1994 | 35148.2317 | 5.448e-05 | 0 | 2.1444e-06 | 0.008064% | 8.5738e-05 | 0.00083604 | 4.2869e-05
STL2300 Circuit | 30 | 30 | 4.129e-06 | 0.083839 | 101757.2461 | 598572.0361 | 6.1815 | 0 | 2.0645e-06 | 0.007763% | 0.0020241 | 0.00084758 | 0.001012
T132 Circuit | 31 | 31 | 4.0893e-06 | 0 | 0 | 0 | 0 | 0 | 2.0447e-06 | 0.007688% | 0 | 0.00030752 | 0
T619 Circuit | 32 | 32 | 3.0504e-06 | 0.00028602 | 349.038 | 2053.1644 | 6.2622e-06 | 0 | 1.5252e-06 | 0.005735% | 8.87e-06 | 0.001176 | 4.435e-06
CEM42 Circuit | 33 | 33 | 2.7677e-06 | 0.026876 | 32695.2884 | 192325.2261 | 1.1364 | 0 | 1.3839e-06 | 0.005204% | 0.0010296 | 0.0013341 | 0.00051478
TAH7300 Circuit | 34 | 34 | 2.0795e-06 | 0.86711 | 813556.6134 | 4785627.1376 | 2729.7059 | 0 | 1.0397e-06 | 0.00391% | 0.43288 | 0.002321 | 0.21644
SQV7201 Circuit | 35 | 35 | 1.8183e-06 | 0.081719 | 98189.9287 | 577587.816 | 17.1201 | 0 | 9.0915e-07 | 0.003419% | 0.0045618 | 0.00055422 | 0.0022809
TAH7100 Circuit | 36 | 36 | 1.7956e-06 | 0.25344 | 298442.301 | 1755542.9472 | 121.024 | 0 | 8.978e-07 | 0.003376% | 0.022821 | 0.0011718 | 0.01141
KBH4202 Circuit | 37 | 37 | 1.4282e-06 | 0.15887 | 189319.002 | 1113641.1883 | 50.8644 | 0 | 7.141e-07 | 0.002685% | 0.012284 | 0.00089019 | 0.0061419
GLS7400 Circuit | 38 | 38 | 1.3702e-06 | 0.19261 | 230572.3525 | 1356307.9557 | 49.926 | 0 | 6.8509e-07 | 0.002576% | 0.020887 | 0.0006426 | 0.010443
KBH5200 Circuit | 39 | 39 | 9.472e-07 | 0.47609 | 535852.3713 | 3152072.7725 | 503.7501 | 0 | 4.736e-07 | 0.001781% | 0.094815 | 0.0015466 | 0.047408
TAH5201 Circuit | 40 | 40 | 7.756e-07 | 0.46081 | 470517.1276 | 2767747.8091 | 1024.6969 | 0 | 3.878e-07 | 0.001458% | 0.092503 | 0.0016575 | 0.046251
STL2200 Circuit | 41 | 41 | 7.6856e-07 | 0.01267 | 15455.9112 | 90917.1247 | 0.064151 | 0 | 3.8428e-07 | 0.001445% | 1.141e-05 | 0.0003054 | 5.7049e-06
SRB51 Circuit | 42 | 42 | 4.7926e-07 | 0.039917 | 48628.6089 | 286050.6404 | 0.93398 | 0 | 2.3963e-07 | 0.0009011% | 0.00095387 | 0.00071737 | 0.00047693
KBH4203 Circuit | 43 | 43 | 3.9232e-07 | 0.072576 | 88013.5769 | 517726.9229 | 6.1754 | 0 | 1.9616e-07 | 0.0007376% | 0.0017271 | 0.00048621 | 0.00086354
SLK257 Circuit | 44 | 44 | 2.7476e-07 | 0.00033168 | 404.7553 | 2380.9137 | 2.3809e-07 | 0 | 1.3738e-07 | 0.0005166% | 3.1968e-07 | 0.00020337 | 1.5984e-07
NST8600 Circuit | 45 | 45 | 2.4056e-07 | 0.001058 | 1291.0668 | 7594.5108 | 0.00027416 | 0 | 1.2028e-07 | 0.0004523% | 2.7247e-07 | 0.00041533 | 1.3623e-07
KBH5100 Circuit | 46 | 46 | 2.3605e-07 | 0.014502 | 17695.5453 | 104091.4431 | 0.014354 | 0 | 1.1802e-07 | 0.0004438% | 6.4235e-05 | 0.00026297 | 3.2117e-05
T669 Circuit | 47 | 47 | 1.894e-07 | 0 | 0 | 0 | 0 | 0 | 9.4699e-08 | 0.0003561% | 0 | 0.00053813 | 0
T625 Circuit | 48 | 48 | 1.5189e-07 | 0 | 0 | 0 | 0 | 0 | 7.5943e-08 | 0.0002856% | 0 | 0.00032344 | 0
KBH4201 Circuit | 49 | 49 | 1.2192e-07 | 0.092501 | 112217.9841 | 660105.789 | 7.4057 | 0 | 6.0959e-08 | 0.0002292% | 0.0017112 | 0.00065189 | 0.00085558
RHL2101 Circuit | 50 | 50 | 5.4746e-08 | 0.00016436 | 200.572 | 1179.8351 | 1.7698e-06 | 0 | 2.7373e-08 | 0.0001029% | 8.2503e-08 | 0.0001257 | 4.1252e-08
TRK7204 Circuit | 51 | 51 | 2.8695e-08 | 0.007908 | 9649.6357 | 56762.563 | 0.0083044 | 0 | 1.4347e-08 | 5.395e-05% | 0.00033275 | 0.0010851 | 0.00016637
T650 Circuit | 52 | 52 | 2.0401e-08 | 0 | 0 | 0 | 0 | 0 | 1.0201e-08 | 3.836e-05% | 0 | 0.00045049 | 0
T634 Circuit | 53 | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 4.1866e-06 | 0
KNG2800 Circuit | 54 | 54 | 0 | 0.00031711 | 386.977 | 2276.3355 | 6.9428e-06 | 0 | 0 | 0% | 0 | 0 | 0
SMP8700 Circuit | 55 | 55 | 0 | 0.00096668 | 1179.6652 | 6939.2069 | 6.4188e-05 | 0 | 0 | 0% | 0 | 0 | 0
T133 Circuit | 56 | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
T160 Circuit | 57 | 57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
KBH5105 Circuit | 58 | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0
KBH5205 Circuit | 59 | 59 | 0 | 0.00015111 | 184.4056 | 1084.7388 | 5.4237e-08 | 0 | 0 | 0% | 0 | 0 | 0
PROSSER TAP Circuit | 60 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0