## Attach OEIS 3.8-2
Fire Incident ID | HFTD Class | Risk/ Ignition Event Type OPUC | Risk Event Driver (Subcategory) OPUC
9292021-YREKA-CPCC1484001 |  | Contamination | Contamination
8142021-MT SHASTA-CPCC1475068 |  | Equipment | Equipment Error-Other
642022-TULELAKE-CPCC1541282 |  | Contamination | Contamination
6222021-ALTURAS-CPCC1462769
7312022-YREKA-CPCC1554772 |  | Fire | Fire
8102023-CRESCENT CITY-CPCC1646891 |  | Contamination | Contamination
12102022-CRESCENT CITY-CPCC1584401 |  | Contamination | Contamination
9282021-YREKA-CPCC1483871 |  | Contamination | Contamination
09182020-Fort Jones | Tier 2 | Equipment | Degradation-Protective/Control Device
09082020-Slater Fire | Tier 2 | Fire | Fire
11162020-TULELAKE-CPCC1410395 |  | Contamination | Contamination
6122022-YREKA-CPCC1543549 |  | Contamination | Contamination
10222021-YREKA-CPCC1488132 |  | Contamination | Contamination
812022-CRESCENT CITY-CPCC1555183 |  | Contamination | Contamination
3232024-MT SHASTA-CPCC1708105
442024-TULELAKE-CPCC1710473 |  | Emergency Repairs | Emergency Repairs
08072022 - Horse Creek | Unknown
6102024-MT SHASTA-CPCC1724650 |  | Emergency Repairs | Emergency Repairs
11192024-TULELAKE-CPCC1781525
08232021-Castella | Tier 2
7242020-YREKA-TRAN2083335 | Tier 2
06252022 - Altruas | Non-HFTD
1172020-MT SHASTA-TRAN2128551 |  | Equipment | Other - Unknown
1122020-MT SHASTA-CPCC1405673
04242020-Weed CA | Tier 2 | Contamination | Contamination
982024-MT SHASTA | Tier 2 | Unknown | Unknown
652022-TULELAKE-CPCC1541330 |  | Contamination | Contamination
09302020-Weed | Tier 2 | Fire | Fire
07272020-Tulelake CA | Non-HFTD | Fire | Fire
05072020-Alturas CA
7242020-MT SHASTA-CPCC1375080 |  | Emergency Repairs | Emergency Repairs
10212020-Montague | Non-HFTD | Public Contact | Foreign Contact-Land vehicle contact
10202022-Yreka CA | Unknown | Customer Request | Customer Request
07312022- Castella | Tier 2
08252021-Dunsmuir | Tier 3 | Unknown | Unknown
6222021-ALTURAS-CPCC1462719
742023-MT SHASTA-CPCC1637772 |  | Fire | Fire
09052022 - Weed | Unknown
12162021-MT SHASTA-CPCC1501698
07272022 - Hornbrook | Tier 2 | Public Contact | Foreign Contact-Land vehicle contact
07222020-Scott Bar | Tier 2 | Fire | Fire
11072020-Mt. Shasta | Tier 2 | Equipment | Equipment Error-Line Element
6152021-YREKA-CPCC1461112 |  | Wildlife Contact | Bird
1242022-CRESCENT CITY-CPCC1516818 |  | Contamination | Contamination
05212021-Yreka | Non-HFTD | Equipment | Equipment Error-Line Element
07292022 -Klamath River | Tier 2 | Unknown | Unknown
1212020-MT SHASTA-CPCC1338118 |  | Emergency Repairs | Emergency Repairs
12162021-MT SHASTA-CPCC1501691
08042020-Etna CA | Non-HFTD | Wildlife Contact | Bird
06272020-Dorris CA | Non-HFTD | Customer Request | Customer Request
8152024-TULELAKE-CPCC1752179 |  | Emergency Repairs | Emergency Repairs
09172020-Etna | Non-HFTD | Vegetation | Outside Clearance Zone
03052021-Crescent City | Non-HFTD | Vegetation | Outside Clearance Zone
8152024-TULELAKE-CPCC1752086 |  | Lightning | Direct Strike
3132024-CRESCENT CITY-CPCC1706320 |  | Customer Request | Customer Request
08262022 - Gasquet | Unknown
5202021-YREKA-CPCC1456133 |  | Contamination | Contamination
06302021-Montague | Non-HFTD | Equipment | Equipment Error-Line Element
1122021-YREKA-CPCC1491182 |  | Contamination | Contamination
1282020-CRESCENT CITY-CPCC1415313 |  | Contamination | Contamination
08102020-Quartz Valley Fire Fort Jones CA | Tier 2 | Equipment | Equipment Error-Line Element
5212021-YREKA | Non-HFTD
09062020-Fort Jones CA | Tier 2 | Unknown | Unknown
08152020-Fort Jones CA | Non-HFTD
1252020-YREKA-CPCC1338935 |  | Contamination | Contamination
7242020-MT SHASTA-CPCC1375076 |  | Emergency Repairs | Emergency Repairs
842020-YREKA-CPCC1377592
11142020-YREKA-CPCC1409700 |  | Contamination | Contamination
5312020-YREKA-CPCC1362614 |  | Contamination | Contamination
07202020-Montague CA | Non-HFTD
6222021-ALTURAS-CPCC1462685
07042021-Mt Shasta | Tier 2
07302021-Scott Bar | Tier 2 | Vegetation | Outside Clearance Zone
5172024-YREKA | Non-HFTD
7242024-TULELAKE-CPCC1742403
08222020-Alturas CA1 | Non-HFTD
5182020-TULELAKE-CPCC1356613 |  | Contamination | Contamination
5312020-YREKA-CPCC1362592 |  | Contamination | Contamination
03042021-Weed | Tier 2 | Public Contact | Other
1182022-MT SHASTA-CPCC1577656 |  | Equipment | Environmental-Other
02252021-Mt Shasta | Tier 2 | Vegetation | Outside Clearance Zone
3232022-MT SHASTA-CPCC1526794 |  | Emergency Repairs | Emergency Repairs
05282021-Alturas | Unknown
6102024-MT SHASTA-CPCC1724636 |  | Emergency Repairs | Emergency Repairs
09022022 - Weed | Unknown
08102023-Montague | Non-HFTD
12162021-MT SHASTA-CPCC1501693
11112020-CRESCENT CITY-CPCC1407719 |  | Contamination | Contamination
2242023-CRESCENT CITY-CPCC1609219 |  | Contamination | Contamination
07032022- Tulelake | Unknown | Fire | Fire
3182020-ALTURAS-TRAN2042455 |  | Equipment | Equipment Error-Other
7232020-YREKA-CPCC1374985 |  | Emergency Repairs | Emergency Repairs
12162021-MT SHASTA-CPCC1501671
06272021-Yreka | Tier 2 | Equipment | Equipment Error-Protective/Control Device
06072021-Mt Shasta | Tier 3 | Equipment | Degradation-Line Element
01042023-Ft Jones | Tier 2 | Unknown | Unknown
822022-ALTURAS-CPCC1555578 |  | Contamination | Contamination
12282022-TULELAKE-CPCC1594506 |  | Emergency Repairs | Emergency Repairs
9262023-YREKA-CPCC1660143 |  | Equipment | Equipment Error-Line Element
3142020-ALTURAS-TRAN2041455 |  | Equipment | Equipment Error-Other
07162020-Alturas CA | Non-HFTD
12162021-MT SHASTA-CPCC1501670
07142022 - Yreka | Unknown
932023-MT SHASTA-CPCC1654410 |  | Wildlife Contact | Mammal, Reptile/Amphibian, Other/ Unknown
572024-TULELAKE-CPCC1715960 |  | Vegetation | Outside Clearance Zone
09102022 - Dorris | Unknown
08152020-Alturas CA | Non-HFTD
01122023-Yreka CA | Tier 2 | Unknown | Unknown
742021-YREKA-CPCC1467395 |  | Contamination | Contamination
08112022 - Scott Bar | Unknown
1212020-MT SHASTA-CPCC1338117 |  | Emergency Repairs | Emergency Repairs
06182023-Tulelake | Non-HFTD
12162021-MT SHASTA-CPCC1501690
09032020-Gazelle CA | Non-HFTD | Equipment | Equipment Error-Line Element
05052020-Seiad Grider Creek Fire CA | Tier 2 | Vegetation | Outside Clearance Zone
5192020-TULELAKE-CPCC1356874 |  | Customer Request | Customer Request
05282020-Etna CA | Non-HFTD | Vegetation | Outside Clearance Zone
532023-YREKA-CPCC1625512 |  | Contamination | Contamination
8282024-YREKA | Non-HFTD
11012020-Weed | Tier 2