## Attach OEIS 7.3-1
DIRECT_CAUSE_CATEGORY | DIRECT_CAUSE
ANIMALS | ANIMALS
ANIMALS | BIRD MORTALITY (NON-PROTECTED SPECIES)
ANIMALS | BIRD MORTALITY (PROTECTED SPECIES) (BMTS)
ANIMALS | BIRD NEST (BMTS)
ANIMALS | BIRD SUSPECTED, NO MORTALITY
ENVIRONMENT | CONDENSATION / MOISTURE
ENVIRONMENT | CONTAMINATION
ENVIRONMENT | FIRE/SMOKE (NOT DUE TO FAULTS)
ENVIRONMENT | FLOODING
EQUIPMENT FAILURE | B/O EQUIPMENT
EQUIPMENT FAILURE | DAMAGED POLE
EQUIPMENT FAILURE | DETERIORATION OR ROTTING
EQUIPMENT FAILURE | NEARBY FAULT
EQUIPMENT FAILURE | OVERLOAD
FIRE | POLE FIRE
FIRE | STRUCTURE FIRE
INTERFERENCE | DIG-IN (NON-PACIFICORP PERSONNEL)
INTERFERENCE | OTHER INTERFERING OBJECT
INTERFERENCE | OTHER UTILITY/CONTRACTOR
INTERFERENCE | VANDALISM OR THEFT
INTERFERENCE | VEHICLE ACCIDENT
LOSS OF SUPPLY | FAILURE ON OTHER LINE OR STATION
LOSS OF SUPPLY | LOSS OF FEED FROM SUPPLIER
LOSS OF SUPPLY | LOSS OF GENERATOR
LOSS OF SUPPLY | LOSS OF SUBSTATION
LOSS OF SUPPLY | LOSS OF TRANSMISSION LINE
LOSS OF SUPPLY | SYSTEM PROTECTION
OPERATIONAL | FAULTY INSTALL
OPERATIONAL | IMPROPER PROTECTIVE COORDINATION
OPERATIONAL | INCORRECT RECORDS
OPERATIONAL | INTERNAL CONTRACTOR
OPERATIONAL | INTERNAL TREE CONTRACTOR
OPERATIONAL | PACIFICORP EMPLOYEE - DISPATCH
OPERATIONAL | PACIFICORP EMPLOYEE - FIELD
OPERATIONAL | PACIFICORP EMPLOYEE - SUB
OPERATIONAL | SWITCHING ERROR
OPERATIONAL | TESTING/STARTUP ERROR
OPERATIONAL | UNSAFE SITUATION
OTHER | OTHER, KNOWN CAUSE
OTHER | UNKNOWN
PLANNED | CONSTRUCTION
PLANNED | CUSTOMER NOTICE GIVEN
PLANNED | CUSTOMER REQUESTED
PLANNED | EMERGENCY DAMAGE REPAIR
PLANNED | ENCROACHMENT
PLANNED | ENERGY EMERGENCY INTERRUPTION
PLANNED | INTENTIONAL TO CLEAR TROUBLE
PLANNED | MAINTENANCE
PLANNED | PLANNED NOTICE EXEMPT
PLANNED | PSPS EXTENDED REPAIR
PLANNED | PUBLIC SAFETY POWER SHUTOFF
PLANNED | TRANSMISSION REQUESTED
TRANS LINE FAILURE | STRUCTURES, INSULATORS, CONDUCTOR
TRANS TERM EQUIP. | RELAYS, BREAKERS, SWITCHES
TREES | TREE - NON-PREVENTABLE
TREES | TREE - TRIMMABLE
TREES | TREE-FELLED BY LOGGER
WEATHER | FREEZING FOG & FROST
WEATHER | ICE
WEATHER | LIGHTNING
WEATHER | SNOW, SLEET AND BLIZZARD
WEATHER | WIND