## Attach OEIS 7.3-2
EQUIPMENT_CATEGORY | COMPONENT
CAPACITORS | CAP BANK B/O OH
CAPACITORS | CAPACITOR BANK UG
NO DAMAGE | NO DISTRIBUTION DAMAGE
NO DAMAGE | OTHER (SEE COMMENTS)
NO DAMAGE | PLANNED OUTAGE
NO DAMAGE | UNABLE TO LOCATE - OH
NO DAMAGE | UNABLE TO LOCATE - UG
OTHER STATION EQUIPMENT | CIRCUIT BREAKER SUB
OTHER STATION EQUIPMENT | CIRCUIT SWITCHER SUB
OTHER STATION EQUIPMENT | FUSE SUB
OTHER STATION EQUIPMENT | LIGHTNING ARRESTER SUB
OTHER STATION EQUIPMENT | LOAD TAP CHANGER SUB
OTHER STATION EQUIPMENT | RECLOSER SUB
OTHER STATION EQUIPMENT | RELAY SUB
OTHER STATION EQUIPMENT | SWITCH SUB
OVERHEAD LINES | CONNECTOR OH
OVERHEAD LINES | CROSS ARM OH
OVERHEAD LINES | DEAD END B/O OH
OVERHEAD LINES | INSULATOR OH
OVERHEAD LINES | JUMPER WIRE/STIRRUP OH
OVERHEAD LINES | LIGHTNING ARRESTER OH
OVERHEAD LINES | OTHER OH (EXPLAIN IN COMMENTS FIELD)
OVERHEAD LINES | POLE OH
OVERHEAD LINES | PRIMARY CONDUCTOR OH
OVERHEAD LINES | RECLOSER-NORMAL OPERATION OH (NO CAUSE FOUND)
OVERHEAD LINES | REGULATOR B/O OH
OVERHEAD LINES | SECONDARY CONDUCTOR OH
OVERHEAD LINES | SECTIONALIZER B/O OH
OVERHEAD LINES | SHIELD WIRE OH
OVERHEAD LINES | SPLICE B/O OH
OVERHEAD LINES | SWITCH B/O OH
OVERHEAD LINES | TRANSFORMER OH
POWER TRANSFORMERS, REACTORS, REGULATORS | OTHER SUB (EXPLAIN IN COMMENTS)
POWER TRANSFORMERS, REACTORS, REGULATORS | POWER TRANSFORMER SUB
SWITCH GEAR AND FUSEGEAR | AUTOMATED TRANSFER EQUIPMENT OH
SWITCH GEAR AND FUSEGEAR | CUT-OUT B/O OH
SWITCH GEAR AND FUSEGEAR | FUSE (NO CAUSE FOUND) OH
UNDERGROUND CABLES | AUTOMATED TRANSFER EQUIPMENT UG
UNDERGROUND CABLES | CONNECTORS UG
UNDERGROUND CABLES | FEED THROUGH BUSHING INSERT B/O UG
UNDERGROUND CABLES | FUSE ONLY -UG ( NO CAUSE FOUND)
UNDERGROUND CABLES | LOAD BREAK ELBOW UG
UNDERGROUND CABLES | OTHER UG (EXPLAIN IN COMMENTS FIELD)
UNDERGROUND CABLES | PRIMARY CABLE UG
UNDERGROUND CABLES | RECLOSER B/O UG
UNDERGROUND CABLES | SECONDARY CABLE UG
UNDERGROUND CABLES | SPLICE UG
UNDERGROUND CABLES | SWITCH B/O UG
UNDERGROUND CABLES | TERMINATION UG
UNDERGROUND CABLES | TRANSFORMER PADMOUNT/SUBMERSIBLE UG