## Assets
Attach OEIS-P-WMP 2025-PC-14 Q01
| Stored in |  |  |  |  | Percentage of Total Stored in
Asset Type | SAP | Maximo | GIS | Mainframe | Deemed Critical | SAP % | Maximo % | GIS % | Mainframe %
Line - Arrester |  |  | X |  | X | 0 | 0 | 100 | 0
Line - Capacitor Bank | X |  | X |  | X | 100 | 0 | 100 | 0
Line - Conductor |  |  | X |  | X | 0 | 0 | 100 | 0
Line - Distribution Circuit | X |  | X |  | X | 100 | 0 | 100 | 0
Line - Fault Indicator (Communicating) |  |  | X |  | X | 0 | 0 | 100 | 0
Line - Fault Indicator (Non-Communicating) | X |  | X |  | X | 100 | 0 | 100 | 0
Line - Fuse/Blade/Cutout |  |  | X |  | X | 0 | 0 | 100 | 0
Line - Fusesaver | X |  | X |  | X | 100 | 0 | 100 | 0
Line - Guy Wire/Span Guy |  |  | X |  | X | 0 | 0 | 100 | 0
Line - Motor Operated Line Switch | X |  | X |  | X | 100 | 0 | 100 | 0
Line - Non-motor Operated Line Switch |  |  | X |  | X | 0 | 0 | 100 | 0
Line - Pad Mounted Switchgear |  |  | X |  | X | 0 | 0 | 100 | 0
Line - Pole Ground |  |  | X |  | X | 0 | 0 | 100 | 0
Line - Recloser | X |  | X |  | X | 100 | 0 | 100 | 0
Line - Regulator |  |  | X |  | X | 0 | 0 | 100 | 0
Line - Secondary Box/Pull Box |  |  | X |  | X | 0 | 0 | 100 | 0
Line - Sectionalizer |  |  | X |  | X | 0 | 0 | 100 | 0
Line - Transformer (Pole Mounted/Pad Mounted) |  |  | X |  | X | 0 | 0 | 100 | 0
Line - Transmission Line Segment | X |  | X |  | X | 100 | 0 | 100 | 0
Line - Transmission Structure (Non-Wood) |  |  | X | X | X | 0 | 0 | 100 | 100
Line - Weather Station | X |  | X |  | X | 100 | 0 | 100 | 0
Line - Wood Pole |  |  | X | X | X | 0 | 0 | 100 | 100
Substation | X | X | X |  | X | 100 | 100 | 100 | 0
Substation - Battery |  | X |  |  | X | 0 | 100 | 0 | 0
Substation - Battery Chargers |  | X |  |  | X | 0 | 100 | 0 | 0
Substation - Capacitor Bank |  | X |  |  | X | 0 | 100 | 0 | 0
Substation - Circuit Breaker |  | X |  |  | X | 0 | 100 | 0 | 0
Substation - Circuit Switcher |  | X |  |  | X | 0 | 100 | 0 | 0
Substation - Digital Fault Recorder |  | X |  |  | X | 0 | 100 | 0 | 0
Substation - Fuel Tank |  | X |  |  | X | 0 | 100 | 0 | 0
Substation - Generator (Energy Production Unit) |  | X |  |  | X | 0 | 100 | 0 | 0
Substation - HVAC System |  | X |  |  | X | 0 | 100 | 0 | 0
Substation - Load Tap Changer |  | X |  |  | X | 0 | 100 | 0 | 0
Substation - Meters |  | X |  |  | X | 0 | 100 | 0 | 0
Substation - Oil Tank |  | X |  |  | X | 0 | 100 | 0 | 0
Substation - Power Transformer |  | X |  |  | X | 0 | 100 | 0 | 0
Substation - Reactor |  | X |  |  | X | 0 | 100 | 0 | 0
Substation - Regulator |  | X |  |  | X | 0 | 100 | 0 | 0
Substation - Relay |  | X |  |  | X | 0 | 100 | 0 | 0
Substation - Security System |  | X |  |  | X | 0 | 100 | 0 | 0
Substation - Switchgear |  | X |  |  | X | 0 | 100 | 0 | 0