## Sheet1
Circuit Name | Wildfire Risk | Percent of Overall Risk | Length (circuit miles) | Unharden/Bare-Wire in HFTD Tier 2, by the end of 2025 | Covered Conductor in HFTD Tier 2 by the end of 2025 (circuit miles) | Underground Miles in HFTD Tier 2 by the end of 2025 | Unharden/Bare-Wire in HFTD Tier 3 by the end of 2025 | Covered Conductor in HFTD Tier 3 by the end of 2025 (circuit miles) | Underground Miles in HFTD Tier 3 by the end of 2025 | SRP Coverage in HFTD Tier 2 & 3 | SRP Coverage in Non-HFTD (%)
Primary
111 | 0.42699 | 0.24% | 6.4652 | 4.2657 | 0 | 0 | 2.2052 | 0 | 0 | N/A | N/A
132 | 0.19832 | 0.11% | 12.2741 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | N/A
160 | 0 | 0 | 0.38715 | 0.33041 | 0 | 0.056737 | 0 | 0 | 0 | N/A | N/A
187 |  |  | 8.5939 | 0 | 0 | 1.2389 | 0 | 0 | 0 | N/A | N/A
188 |  |  | 6.4768 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | N/A
608 | 2.6781 | 1.51% | 17.2534 | 14.5397 | 0 | 0 | 0 | 0 | 0 | N/A | N/A
609 | 0.85106 | 0.48% | 10.1281 | 1.3002 | 0 | 0 | 0 | 0 | 0 | N/A | N/A
619 | 0.82414 | 0.46% | 7.7111 | 6.5274 | 0 | 1.1643 | 0 | 0 | 0 | N/A | N/A
625 | 0.26293 | 0.15% | 15.1713 | 4.4927 | 0 | 0 | 0 | 0 | 0 | N/A | N/A
629 | 0.24012 | 0.13% | 5.178 | 0.038472 | 0 | 0 | 0 | 0 | 0 | N/A | N/A
634 | 0 | 0% | 0.33228 | 0.18014 | 0 | 0.055227 | 0 | 0 | 0 | N/A | N/A
640 | 0.76109 | 0.43% | 8.0372 | 2.256 | 0 | 0 | 1.5645 | 0 | 0 | N/A | N/A
CAL2501 | 4.1789 | 2.35% | 5.2087 | 2.4916 | 0 | 0.32708 | 0 | 0 | 0 | 0% | 0%
CEM41 | 1.6582 | 0.93% | 7.6498 | 0 | 0 | 0.020798 | 0 | 0 | 0 | 0% | 100%
CEM42 | 0.14396 | 0.08% | 3.5488 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 100%
GLS7400 | 9.1791 | 5.16% | 41.6515 | 32.9333 | 0 | 8.7146 | 0 | 0 | 0 | 100% | 0%
GLS7600 | 0.38214 | 0.21% | 5.4322 | 3.6029 | 1.6292 | 0.20018 | 0 | 0 | 0 | 100% | 0%
HOB7700 | 0.55645 | 0.31% | 8.9539 | 5.7782 | 3.0791 | 0.096595 | 0 | 0 | 0 | 100% | 0%
KBH4201 | 0.22967 | 0.13% | 14.5744 | 9.2026 | 0 | 5.3672 | 0 | 0 | 0 | 100% | 0%
KBH4202 | 0.37621 | 0.21% | 9.6822 | 7.2857 | 0 | 2.3448 | 0 | 0 | 0 | 100% | 0%
KBH4203 | 0.026102 | 0.01% | 4.2686 | 1.6349 | 0.46958 | 2.1641 | 0 | 0 | 0 | 100% | 0%
KBH5100 | 0.12449 | 0.07% | 2.4255 | 2.1514 | 0.066202 | 0.20796 | 0 | 0 | 0 | 100% | 0%
KBH5105 | 0 | 0% | 0.088072 | 0.011633 | 0 | 0.07644 | 0 | 0 | 0 | 0% | 0%
KBH5200 | 2.1719 | 1.22% | 32.5565 | 23.3215 | 0 | 9.235 | 0 | 0 | 0 | 100% | 0%
KBH5205 | 0 | 0% | 0.098084 | 0.009752 | 0 | 0.088332 | 0 | 0 | 0 | 0% | 0%
KNG2800 | 0.0056177 | 0% | 2.7193 | 0.42182 | 0 | 1.1415 | 0 | 0 | 0 | 0% | 0%
LOY619 | 0.098068 | 0.06% | 0.057594 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | N/A
MEY3100 | 5.2425 | 2.78% | 23.4052 | 12.7802 | 0 | 5.1865 | 5.3642 | 0 | 1.3345 | 73% | 27%
MEY3200 | 6.7784 | 3.81% | 43.7341 | 18.2937 | 0 | 15.6694 | 3.3998 | 0 | 0.32081 | 76% | 24%
MEY3300 | 22.6739 | 12.74% | 57.9946 | 30.5524 | 3.7426 | 2.8082 | 15.9416 | 0 | 0.89038 | 60% | 40%
MEY3400 | 43.5338 | 23.4% | 66.0851 | 38.4329 | 15.3184 | 11.3031 | 2.2835 | 0 | 0.49342 | 94% | 6%
MEY3500 | 11.497 | 6.46% | 36.2714 | 11.7972 | 0 | 7.2021 | 15.7294 | 0 | 2.3072 | 52% | 48%
MULLER1296 | 5.2705 | 2.06% | 58.2167 | 43.5667 | 1.6 | 14.569 | 0 | 0 | 0 | 100% | 0%
NST8600 | 0 | 0% | 9.7369 | 0.12296 | 0 | 9.6139 | 0 | 0 | 0 | 100% | 0%
POR3100 | 2.8149 | 1.58% | 15.1426 | 9.4242 | 0 | 1.0066 | 0 | 0 | 0 | 67% | 33%
POR3200 | 8.5682 | 4.82% | 22.5972 | 11.3465 | 0 | 1.0987 | 0 | 0 | 0 | 49% | 51%
RHL1502 | 0.011907 | 0.01% | 0.48485 | 0.26019 | 0 | 0.09596 | 0 | 0 | 0 | 0% | 0%
RUS7900 | 0.97432 | 0.55% | 5.7166 | 2.9234 | 0.39424 | 2.399 | 0 | 0 | 0 | 0% | 0%
SLK257 | 0.34928 | 0.2% | 1.0863 | 0.77533 | 0 | 0.02114 | 0 | 0 | 0 | 0% | 0%
SMP8700 | 0.041188 | 0.02% | 0.75567 | 0.25766 | 0 | 0.49801 | 0 | 0 | 0 | 100% | 0%
SQV7201 | 0.74543 | 0.42% | 18.2787 | 11.9187 | 0.073114 | 6.2868 | 0 | 0 | 0 | 100% | 0%
SQV8200 | 2.8243 | 1.59% | 11.1089 | 5.014 | 0.087019 | 6.0079 | 0 | 0 | 0 | 100% | 0%
SQV8300 | 0.09005 | 0.05% | 13.9831 | 1.1669 | 0.18725 | 12.629 | 0 | 0 | 0 | 100% | 0%
SRB51 | 7.3794 | 4.15% | 6.9901 | 6.7593 | 0 | 0.23081 | 0 | 0 | 0 | 100% | 0%
STL2200 | 0.0023285 | 0% | 1.7272 | 0.24514 | 0 | 1.482 | 0 | 0 | 0 | 0% | 0%
STL2300 | 0.30909 | 0.17% | 6.6576 | 2.4881 | 0 | 3.1891 | 0 | 0 | 0 | 0% | 0%
STL3101 | 9.903 | 5.57% | 22.4255 | 15.5637 | 0 | 6.7226 | 0 | 0 | 0 | 100% | 0%
STL3501 | 2.9134 | 1.64% | 19.4224 | 13.5966 | 0 | 4.9927 | 0 | 0 | 0 | 100% | 0%
TAH5201 | 1.7803 | 1% | 33.1812 | 21.3959 | 0 | 11.785 | 0 | 0 | 0 | 100% | 0%
TAH7100 | 1.6187 | 0.91% | 22.5697 | 13.2552 | 0 | 9.3145 | 0 | 0 | 0 | 100% | 0%
TAH7200 | 0.095904 | 0.05% | 5.4359 | 4.7803 | 0 | 0.65565 | 0 | 0 | 0 | 100% | 0%
TAH7300 | 8.3782 | 4.71% | 69.911 | 51.7637 | 5.7049 | 12.3374 | 0 | 0 | 0 | 100% | 0%
TPZ1202 | 7.07 | 3.97% | 58.6171 | 50.2852 | 4.7219 | 3.5859 | 0 | 0 | 0 | 100% | 0%
TRK7202 | 0.87448 | 0.49% | 13.0756 | 12.0329 | 0 | 0.78066 | 0 | 0 | 0 | 0% | 0%
TRK7203 | 1.3361 | 0.75% | 70.8794 | 9.2901 | 0 | 60.5905 | 0 | 0 | 0 | 0% | 0%
TRK7204 | 0.66879 | 0.38% | 7.6787 | 6.9198 | 0 | 0.75892 | 0 | 0 | 0 | 0% | 0%
WSH201 | 1.1924 | 0.67% | 7.1533 | 6.7633 | 0.38708 | 0.00284 | 0 | 0 | 0 | 0% | 0%
Secondary
619 |  |  | 0.030316 |  |  | 0.030316 |  |  | 0 | N/A | N/A
CAL204 |  |  | 0.68651 |  |  | 0.4546 |  |  | 0 | N/A | N/A
CAL2501 |  |  | 1.9069 |  |  | 0 |  |  | 0 | N/A | N/A
CEM41 |  |  | 5.9584 |  |  | 0.007482 |  |  | 0 | N/A | N/A
CEM42 |  |  | 5.3244 |  |  | 0 |  |  | 0 | N/A | N/A
GLS7400 |  |  | 38.4902 |  |  | 10.4567 |  |  | 0 | N/A | N/A
GLS7600 |  |  | 1.4717 |  |  | 0.24272 |  |  | 0 | N/A | N/A
HOB7700 |  |  | 1.6087 |  |  | 0.21929 |  |  | 0 | N/A | N/A
KBH4201 |  |  | 14.1597 |  |  | 9.4086 |  |  | 0 | N/A | N/A
KBH4202 |  |  | 24.9167 |  |  | 4.0474 |  |  | 0 | N/A | N/A
KBH4203 |  |  | 8.8559 |  |  | 2.6164 |  |  | 0 | N/A | N/A
KBH5100 |  |  | 1.807 |  |  | 0.073079 |  |  | 0 | N/A | N/A
KBH5200 |  |  | 63.7914 |  |  | 11.118 |  |  | 0 | N/A | N/A
KNG2800 |  |  | 0.050779 |  |  | 0.045058 |  |  | 0 | N/A | N/A
MEY3100 |  |  | 42.6635 |  |  | 5.8825 |  |  | 0.38678 | N/A | N/A
MEY3200 |  |  | 78.9143 |  |  | 21.7103 |  |  | 0.70775 | N/A | N/A
MEY3300 |  |  | 106.2223 |  |  | 5.1237 |  |  | 2.2997 | N/A | N/A
MEY3400 |  |  | 79.9029 |  |  | 10.4273 |  |  | 0.066971 | N/A | N/A
MEY3500 |  |  | 79.8823 |  |  | 12.0135 |  |  | 2.1647 | N/A | N/A
MULLER1296 |  |  | 22.6891 |  |  | 7.7668 |  |  | 0 | N/A | N/A
NST8400 |  |  | 8.8127 |  |  | 8.7573 |  |  | 0 | N/A | N/A
NST8500 |  |  | 13.2245 |  |  | 13.2169 |  |  | 0 | N/A | N/A
NST8600 |  |  | 0.2805 |  |  | 0.25536 |  |  | 0 | N/A | N/A
POR31 |  |  | 3.6367 |  |  | 2.7844 |  |  | 0 | N/A | N/A
POR3100 |  |  | 12.7263 |  |  | 0.084543 |  |  | 0 | N/A | N/A
POR32 |  |  | 32.2478 |  |  | 3.4668 |  |  | 0 | N/A | N/A
POR3200 |  |  | 0.5985 |  |  | 0 |  |  | 0 | N/A | N/A
RHL1502 |  |  | 0.13572 |  |  | 0.037925 |  |  | 0 | N/A | N/A
RUS7900 |  |  | 2.3977 |  |  | 1.0263 |  |  | 0 | N/A | N/A
SLK257 |  |  | 0.083482 |  |  | 0.036881 |  |  | 0 | N/A | N/A
SMP8700 |  |  | 0.21006 |  |  | 0.12297 |  |  | 0 | N/A | N/A
SQV7201 |  |  | 18.9379 |  |  | 7.824 |  |  | 0 | N/A | N/A
SQV8100 |  |  | 1.3624 |  |  | 1.3303 |  |  | 0 | N/A | N/A
SQV8200 |  |  | 17.5832 |  |  | 7.2189 |  |  | 0 | N/A | N/A
SQV8300 |  |  | 2.701 |  |  | 1.9457 |  |  | 0 | N/A | N/A
SRB51 |  |  | 7.7877 |  |  | 2.6548 |  |  | 0 | N/A | N/A
STL2200 |  |  | 0.46899 |  |  | 0.40491 |  |  | 0 | N/A | N/A
STL2300 |  |  | 9.8452 |  |  | 2.3777 |  |  | 0 | N/A | N/A
STL3101 |  |  | 36.6453 |  |  | 7.6732 |  |  | 0 | N/A | N/A
STL3501 |  |  | 41.5467 |  |  | 5.8058 |  |  | 0 | N/A | N/A
TAH5201 |  |  | 54.3547 |  |  | 12.7969 |  |  | 0 | N/A | N/A
TAH7100 |  |  | 36.9906 |  |  | 13.2434 |  |  | 0 | N/A | N/A
TAH7200 |  |  | 3.6264 |  |  | 0.44136 |  |  | 0 | N/A | N/A
TAH7300 |  |  | 122.9467 |  |  | 14.2335 |  |  | 0 | N/A | N/A
TPZ1202 |  |  | 25.9079 |  |  | 7.2688 |  |  | 0 | N/A | N/A
TRK7202 |  |  | 6.526 |  |  | 0.87727 |  |  | 0 | N/A | N/A
TRK7203 |  |  | 56.9142 |  |  | 54.3363 |  |  | 0 | N/A | N/A
TRK7204 |  |  | 1.4591 |  |  | 0.61567 |  |  | 0 | N/A | N/A
WSH201 |  |  | 1.9057 |  |  | 0.039291 |  |  | 0 | N/A | N/A