2100 | 1OR04C573 | C573 | SDG&E-Risk-4 Wildfires and PSPS | SDG&E-Risk-4 Wildfires and PSPS Early Fault Detection | Units | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No feasible units
2100 | 1OR04C575 | C575 | SDG&E-Risk-4 Wildfires and PSPS | SDG&E-Risk-4 Wildfires and PSPS Vegetation Management Enterprise System | Units | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No feasible units
2100 | 1OR04C576 | C576 | SDG&E-Risk-4 Wildfires and PSPS | SDG&E-Risk-4 Wildfires and PSPS Avian Protection | Units | 0 | 0 | 973 | 663 | 774 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Poles protected
2100 | 1OR04C578 | C578 | SDG&E-Risk-4 Wildfires and PSPS | SDG&E-Risk-4 Wildfires and PSPS QA/QC of Veg Mgmt | Units | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No feasible units