## HWT Table 1-1
HWT Table 1-1. Utility Mitigation Activity Tracking IDs
Utility Initiative Tracking ID | Utility Initiative Name | WMP Initiative Category | WMP Initiative
VM-01 | Substation Inspection | Vegetation Management and Inspection | Vegetation Management Inspections
VM-02 | General Weed Abatement | Vegetation Management and Inspection | Defensible Space
SA-01 | Technosylva Wildfire Analyst Platform | Situational Awareness and Forecasting | Environmental Monitoring Systems
SA-02 | Optos/Firecaster Improvements | Situational Awareness and Forecasting | Fire Potential Index

## Table 3-1
Table 3- 1. List of Risks and Risk Drivers to Prioritize
Priority | Risk | Risk Driver | x% of ignitions in HFTD | Topographical and Climatological Risk Factors
1 | Equipment / facility failure or damage | Transformer | 0% | Extreme weather
1 | Equipment / facility failure or damage | Insulator and bushing | 0% | Extreme weather
1 | Equipment / facility failure or damage | Lightning arrestor | 0% | Extreme weather
1 | Equipment / facility failure or damage | Pole | 0% | Extreme weather
1 | Equipment / facility failure or damage | Conductor | 0% | Extreme weather
1 | Equipment / facility failure or damage | Connector device | 0% | Extreme weather
1 | Equipment / facility failure or damage | Cross arm | 0% | Extreme weather
2 | Vegetation contact | Blow-in | 0% | Extreme weather
2 | Equipment / facility failure or damage | Capacitor bank | 0% | Extreme weather
2 | Equipment / facility failure or damage | Relay | 0% | Extreme weather
3 | Contact from object | Animal contact | 0% | N/A
3 | Vegetation contact | Grow-in | 0% | Slope
3 | Contamination | Contamination | 0% | Extreme weather
4 | Contact from object | Aircraft vehicle contact | 0% | Extreme weather, elevation
4 | Lightning | Lightning | 0% | Extreme weather, lightning
4 | Protective device operation | Protective device operation | 0% | Extreme weather
5 | Contact from object | Ballon contact | 0% | Wind
6 | Contact from object | Land vehicle contact | 0% | Extreme weather
6 | Contact from object | Third-party contact | 0% | N/A
6 | Dig-in | Dig-in | 0% | N/A
6 | Equipment / facility failure or damage | Switch | 0% | Extreme weather
6 | Vandalism/ theft | Vandalism / theft | 0% | N/A
6 | Wire-to-wire contact | Wire-to-wire contact | 0% | Extreme weather
N/A | Contact from object | Other contact from object | 0% | N/A
N/A | Contact from object | Unknown | 0% | N/A
N/A | Equipment / facility failure or damage | Anchor/guy | 0% | N/A
N/A | Equipment / facility failure or damage | Cutout | 0% | N/A
N/A | Equipment / facility failure or damage | Fuse | 0% | N/A
N/A | Equipment / facility failure or damage | Other | 0% | N/A
N/A | Equipment / facility failure or damage | Recloser | 0% | N/A
N/A | Equipment / facility failure or damage | Sectionalizer | 0% | N/A
N/A | Equipment / facility failure or damage | Splice | 0% | N/A
N/A | Equipment / facility failure or damage | Tap | 0% | N/A
N/A | Equipment / facility failure or damage | Tie wire | 0% | N/A
N/A | Equipment / facility failure or damage | Voltage regulator / booster | 0% | N/A
N/A | Equipment / facility failure or damage | Unknown | 0% | N/A
N/A | Vegetation contact | Fall-in (branch failure | 0% | N/A
N/A | Vegetation contact | Fall-in (trunk failure) | 0% | N/A
N/A | Vegetation contact | Fall-in (root failure) | 0% | N/A
N/A | Unknown | Unknown | 0% | N/A

## Table 3-2
Table 3-2. Self-Identified Performance Metrics Table
Performance Metric | Assumption that underlies the use of the metric | Section associated with the Performance Metric (state “WMP” if the metric applies to entire plan)
None | N/A | N/A

## Table 3-3
Table 3-3. Summary of Projected WMP Expenditures
Year of WMP Cycle | Spend (thousands $USD)
2026 | 2026 Projected = $656
2027 | 2027 Projected = $656
2028 | 2028 Projected = $656

## Table 4-2
Table 4-2. Catastrophic Electrical Corporation Wildfires
Ignition Date | Fire Name | Official Cause | Fire Size (acres) | No. of Fatalities | No. of Structures Destroyed and Damaged | Financial Loss (US$) | Lesson(s) Learned
N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Table 4-3
Table 4-3. Frequently Deenergized Circuits
Entry # | Circuit ID | Name of Circuit | Date of Outages | Number of Customers Hours of PSPS per Outage | Measures Taken, or Planned to be Taken, to Reduce the Need for and Impact of Future PSPS of Circuit | Estimated Annual Decline in PSPS Events and PSPS Impact on Customers
N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Table 6-1
Table 6-1. List of Prioritized Areas in an Electrical Corporations Service Territory Based on Overall Utility Risk
Priority | Circuit Segment and/or Span ID | Length (miles) | Overall Utility Risk | Wildfire Risk | Outage Program Risk | Percent of Overall Utility Risk | Associated Risk Drivers
N/A

## Table 6-2
Table 6-2. Stakeholder Roles and Responsibilities in the Decision-Making Process
Stakeholder | Stakeholder Point of Contact | Electrical Corporation Point of Contact | Stakeholder Role | Engagement Methods | Activity | Level of Engagement for Activity
Executive leadership | Company President | Senior Manager Operations Senior Engineer | • Executive level review of wildfire mitigation activities and plan, and capital authorization of projects | • Meetings • Emails | • All capital improvements | • N/A
Senior Operations Leadership | VP NEET Operations Sr. Director Operations | Senior Manager Operations Senior Engineer | • Operations level review of wildfire mitigation activities and plan, and capital authorization of projects • Operations Prioritization | • Meetings • Emails | • All capital improvements | • N/A

## Table 8-1
Table 8-1. Grid Design, Operation, and Maintenance Targets by year
Initiative | Quantitative or Qualitative Target | Activity (Tracking ID #) | Previous Tracking ID (if applicable) | Target Unit | 2026 Target / Status | % Planned in HFTD for 2026 | % Planned in HFRA for 2026 | % Risk Reduction for 2026 | 2027 Target / Status | % Planned in HFTD for 2027 | % Planned in HFRA in 2027 | % Risk Reduction for 2027 | 2028 Target / Status | % Planned in HFTD for 2028 | % HFRA planned in 2028 | % Risk Reduction for 2028 | Three- Year Total | Section; Page Number
Covered conductor installation | N/A | HWT does not have any current projects under this initiative | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Underground of electric lines and/or equipment | N/A | HWT does not have any current projects under this initiative | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Distribution pole replacements and reinforments | N/A | HWT does not have any current projects under this initiative | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Transmission pole/tower replacements and reinforcements | N/A | HWT does not have any current projects under this initiative | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Traditional overhead hardening | N/A | HWT does not have any current projects under this initiative | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Emerging grid hardening technology installations and pilots | N/A | HWT does not have any current projects under this initiative | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Microgrids | N/A | HWT does not have any current projects under this initiative | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Installation of system automation equipment | N/A | HWT does not have any current projects under this initiative | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Line removal (in the HFTD) | N/A | HWT does not have any current projects under this initiative | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Other grid topology improvements to minimize risk of ignitions | N/A | HWT does not have any current projects under this initiative | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Other grid topology improvements to mitigate or reduce PSPS events | N/A | HWT does not have any current projects under this initiative | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Other technologies and systems not listed above | N/A | HWT does not have any current projects under this initiative | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Status updates on additional technologies being piloted | N/A | HWT does not have any current projects under this initiative | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Table 8-2
Table 8-2. Asset Inspection Frequency, Methods, and Criteria
Type | Inspection Activity (Program) | Frequency or Trigger (Note 1) | Method of Inspection (Note 2) | Governing Standards & Operating Procedures | Cumulative Quarterly Target 2026, Q1 | Cumulative Quarterly Target 2026, Q2 | Cumulative Quarterly Target 2026, Q3 | Cumulative Quarterly Target 2026, Q4 | Cumulative Quarterly Target 2027, Q1 | Cumulative Quarterly Target 2027, Q2 | Cumulative Quarterly Target 2027, Q3 | Cumulative Quarterly Target 2027, Q4 | Cumulative Quarterly Target 2028, Q1 | Cumulative Quarterly Target 2028, Q2 | Cumulative Quarterly Target 2028, Q3 | Cumulative Quarterly Target 2028, Q4 | % of HFRA and HFTD Covered Annually by Inspection Type | Condition Find Rate Level 1 | Condition Find Rate Level 2 | Condition Find Rate Level 3
Transmission | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Distribution | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Substation | Visual inspection, and aerial* | Monthly | Ground Drone | GO 174 HWT Wildfire Condition Assessment Procedure** | 3 | 6 | 9 | 12 | 3 | 6 | 9 | 12 | 3 | 6 | 9 | 12 | 100 | 0% (Asset) | 0% (Asset) | 0% (Asset)
*HWT will utilize a drone for supplemental aerial inspection of substation on a monthly basis, however visual ground inspections will remain primary means of inspection.
** Procedure includes task items for inspecting transmission elements of the Suncrest system

## Table 8-3
Table 8-3. Grid Design, Asset Inspections, and Maintenance QA and QC Program Objectives
Initiative/Activity Being Audited | Tracking ID | Quality Program Type | Objective of the Quality Program
N/A | N/A | N/A | N/A

## Table 8-4
Table 8-4. Grid Design, Asset Inspections, and Maintenance QA and QC Activity Targets
Initiative/ Activity Being Audited | Type of Audit | Population/ Sample Unit | 2026: Population Size | 2026: Sample Size | 2027: Population Size | 2027: Sample Size | 2028: Population Size | 2028: Sample Size | Percent of Sample in the HFTD | Confidence level / MOE | 2026: Pass Rate Target | 2027: Pass Rate Target | 2028: Pass Rate Target
N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Table 8-5
Table 8-5. Example of Number of Past Due Asset Work Orders Categorized by Age
HTFD Area | 0-30 Days | 31-90 Days | 91-180 Days | 181+ Days
Non-HFTD | N/A | N/A | N/A | N/A

## Table 8-6
Table 8-6. Number of Past Due Asset Work Orders Categorized by Age for Priority Levels
Priority Level | 0-30 Days | 31-90 Days | 91-180 Days | 181+ Days
Priority 1 | N/A | N/A | N/A | N/A
Priority 2 | N/A | N/A | N/A | N/A
Priority 3 | 0 | 0 | 0 | 0

## Table 8-7
Table 8-7. Top Ten Impacted Circuits from Changes to PEDS in the Past Three Years
Circuit/Circuit Segment ID | Circuit/Circuit Segment Name | Circuit/Circuit Segment Length (overhead circuit miles) | Number of Outages in Past Three Years | Cumulative Outage Duration | Cumulative Number of Customers Impacted by Outages
N/A | N/A | N/A | N/A | N/A | N/A

## Table 9-1
Table 9-1. Vegetation Management Targets by Year (Non-inspection Targets)
Initiative | Quantitative or Qualitative | Activity (Tracking ID) | Previous Tracking ID, if applicable | Target Unit | 2026 Target / Status | % Risk Reduction for 2026 | 2027 Target / Status | % Risk Reduction for 2027 | 2028 Target / Status | % Risk Reduction for 2028 | Three-Year Total | Section; Page Number
Pruning and Removal | HWT does not have any initiatives in this category | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Wood and Slash Management | HWT does not have any initiatives in this category | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Defensible Space | Quantitative | VM-02 | N/A | # of weed abatement occurrences* | 1 | N/A | 1 | N/A | 1 | N/A | 1 | 9.6; N/A
Integrated Vegetation Management | HWT does not have any initiatives in this category | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Workforce Planning | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Quality Assurance/ Quality Control | HWT does not have any initiatives in this category | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
*Represents minimum required occurrence

## Table 9-2
Table 9-2. Vegetation Inspections and Pole Clearing Targets by Year
Activity (Program) | Tracking ID | Previous Tracking ID, if applicable | Target Unit | Cumulative (Cml.) Quarterly Target 2026, Q1 | Cml. Quarterly Target 2026, Q2 | Cml. Quarterly Target 2026, Q3 | Cml. Quarterly Target 2026, Q4 | Cml. Quarterly Target 2027, Q1 | Cml. Quarterly Target 2027, Q2 | Cml. Quarterly Target 2027, Q3 | Cml. Quarterly Target 2027, Q4 | Cml. Quarterly Target 2028, Q1 | Cml. Quarterly Target 2028, Q2 | Cml. Quarterly Target 2028, Q3 | Cml. Quarterly Target 2028, Q4 | % HFTD Covered in 2026 | % Risk Reduction for 2026 | % Risk Reduction for 2027 | % Risk Reduction for 2028 | Three- Year Total | Activity Timeline Target | Section; Page Number
Substation Inspection | VM-01 | 2 | # of inspections completed | 3 | 6 | 9 | 12 | 3 | 6 | 9 | 12 | 3 | 6 | 9 | 12 | 100% | N/A | N/A | N/A | 36 | 1 day | 9.2.1;

## Table 9-3
Table 9-3. Vegetation Management Inspection Frequency, Method, and Criteria
Type | Inspection Activity (Program) | Area Inspected | Frequency
Distribution | N/A | N/A | N/A
Transmission | Substation Inspection | Entire Area | Monthly

## Table 9-4
Table 9-4. Partnerships in Vegetation Management
Partnering Agency/ Organization | Activities | Objectives | Electrical Corporation Role | Anticipated Accomplishments
N/A | N/A | N/A | N/A | N/A

## Table 9-5
Table 9-5. Vegetation Management QA and QC Program Objectives
Initiative/Activity Being Audited | Tracking ID | Quality Program Type | Objective of the Quality Program
N/A | N/A | N/A | N/A

## Table 9-6
Table 9-6. Vegetation Management QA and QC Activity Targets
Initiative/ Activity Being Audited | Population /Sample Unit | 2026: Population Size | 2026: Sample Size | 2026: % of Sample in HFTD | 2027: Population Size | 2027: Sample Size | 2027: % of Sample in HFTD | 2028: Population Size | 2028: Sample Size | 2028: % of Sample in HFTD | Confidence level / MOE | 2026: Pass Rate Target | 2027: Pass Rate Target | 2028: Pass Rate Target
N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Table 9-7
Table 9-7. Number of Past Due Vegetation Management Work Orders Categorized by Age and HFTD Tier
HTFD Area | 0-30 Days | 31-90 Days | 91-180 Days | 181+ Days
Non-HFTD | N/A | N/A | N/A | N/A
HFTD Tier 2 | N/A | N/A | N/A | N/A
HFTD Tier 3 | N/A | N/A | N/A | N/A

## Table 9-8
Table 9-8. Number of Past Due Vegetation Management Work Orders Categorized by Age and Priority Levels
Priority Level | 0-30 Days | 31-90 Days | 91-180 Days | 181+ Days
Priority 1 | N/A | N/A | N/A | N/A
Priority 2 | N/A | N/A | N/A | N/A
Priority 3 | N/A | N/A | N/A | N/A

## Table 9-9
Table 9-9. Vegetation Management Qualifications and Training
Worker Title | Minimum Qualifications for Target Role | Applicable Certifications | # of Electrical Corporation Employees with Min Quals | # of Electrical Corporation Employees with Special Certifications | # of Contracted Employees with Min Quals | # of Contractor Employees with Applicable Certifications | Total # of Employees | Reference to Electrical Corporation Training / Qualification Programs
N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Table 10-1
Table 10-1. Situational Awareness Targets by Year
Initiative | Quantitative or Qualitative Target | Activity (Tracking ID #) | Previous Tracking ID, if applicable | Target Unit | 2026 End of Year Total / Completion Date | % Risk Reduction for 2026 | 2027 Total / Status | % Risk Reduction for 2027 | 2028 Total / Status | % Risk Reduction for 2028 | Three- Year Total | Section; Page number
Environmental Monitoring Systems | Qualitative | Evaluation of Optos/FireCaster performance (SA-06) | N/A | N/A | 2026-12-31 | N/A | N/A | N/A | N/A | N/A | N/A | 10.2; p. 150
Environmental Monitoring Systems | Quantitative | Utilization of Technosylva’s Wildfire Analyst platform (SA-01) | N/A | N/A | In progress; Q3 2025 | N/A | N/A | N/A | N/A | N/A | N/A | 10.2; p. 150
Grid Monitoring Systems | Qualitative | Assess downtime of Transformer DGA + UG Cable Monitoring Systems (SA-07) | N/A | N/A | 4 / 12/31/2026 | N/A | 4 / 12/31/2027 | N/A | 4 / 12/31/2028 | N/A | 12 | 10.3; p. 156
Grid Monitoring Systems | Quantitative | Transformer DGA + UG Cable Monitoring System Checks (SA-05) | N/A | N/A | 4 / 12/31/2026 | N/A | 4 / 12/31/2027 | N/A | 4 / 12/31/2028 | N/A | 12 | 10.3; p. 156
Ignition Detection Systems | Qualitative | Camera Improvement (SA-08) | N/A | N/A | Evaluate opportunities to implement fire detection / 12/31/2026 | N/A | N/A | N/A | N/A | N/A | N/A | 10.4; p. 162
Ignition Detection Systems | Quantitative | Annual inspection of Site Fire detection systems (SA-09) | N/A | N/A | 1 / 12/31/2026 | N/A | 1 / 12/31/2026 | N/A | 1 / 12/31/2026 | N/A | 3 | 10.4; p. 162
Weather Forecasting | Qualitative | See Fire Potential Index Activity below | N/A | N/A | See Fire Potential Index Activity below | N/A | See Fire Potential Index Activity below | N/A | See Fire Potential Index Activity below | N/A | See Fire Potential Index Activity below | 10.6; p. 163
Weather Forecasting | Quantitative | Percent time each year Weather station is operational (SA-10) | N/A | N/A | 85% | N/A | 85% | N/A | 85% | N/A | 85% | 10.6; p. 163
Weather Station Maintenance and Calibration | Qualitative | Verification of station performance (SA-03) | N/A | N/A | Verification of station performance by vendor / 12/31/2026 | N/A | Verification of station performance by vendor / 12/31/2026 | N/A | Verification of station performance by vendor / 12/31/2026 | N/A | N/A | 10.6; p. 163
Weather Station Maintenance and Calibration | Quantitative | Completion of annual maintenance check (SA-04) | N/A | 1 | Completion of annual maintenance check / 12/31/2026 | N/A | Completion of annual maintenance check / 12/31/2026 | N/A | Completion of annual maintenance check / 12/31/2026 | N/A | 3 | 10.6; p. 163
Fire Potential Index | Qualitative | Completion of upgrades to Optos/Firecaster (SA-02) | N/A | N/A | In progress; December 2025 | N/A | N/A | N/A | N/A | N/A | N/A | 10.6; pp. 163-164

## Table 10-2
Table 10-2. Environmental Monitoring Systems
System | Measurement/ Observation | Frequency | Purpose and Integration
Weather station | Temperature Wind speed Wind direction Soil moisture Soil temperature Air quality index | Real-time data (constant measurement) | Provide localized data validation Situational Awareness
Optos/Firecaster | Wildfire Risk Index | Real-time | Data model to predict the likelihood of a wildfire occurring and spreading taking into account current weather conditions, seasonality, and locale (Urban, rural, suburban, mountain, etc.)

## Table 10-3
Table 10- 3. Grid Operation Monitoring Systems
System | Measurement/ Observation | Frequency | Purpose and Integration
Hitachi MACH System SVC Protection & Control | Electrical Voltage AC | Automatic (continuous) | SVC Control & Protection
Electrical Current AC
| Reactive Power (MVAR) |  | Sequence of Event Recording
| AC Waveform Harmonics |  | System Control
| Temperature (ambient) |  | Transient Fault Recording
| Temperature, Flow & Pressure |  | Alarming
(cooling system)
Hitachi MACH System Human Machine Interface (HMI) | Electrical Voltage AC | Automatic (continuous) | Process control and supervision
Electrical Current AC
| Reactive Power (MVAR) |  | Process data visualization
| AC Waveform Harmonics |  | Sequence of Event Recording display
| Temperature (ambient) |  | Alarming
Temperature, Flow & Pressure
(cooling system)
AC Line Protection | Electrical Current AC | 16 samples/cycle (or higher depending on relay) | AC Line Differential
Electrical Voltage AC
Transformer and SVC Protection | Electrical Current AC | 16 samples/cycle (or higher depending on relay) | Differential and Overcurrent protection
Electrical Voltage AC
Pry-Cam Distributed Temperature Sensing (DTS) | Temperature along the UG cable | DTS = 1 time per hour (or more) | DTS process visualizes thermal energy in real time
Pry-Cam Partial Discharge Monitoring (PDM) | Electrical Current | PDM = 1 time per hour (or more) | Detect and locate partial discharge activity in real time
Serveron TM8 | Dissolved Gasses in Oil | DGA = 1 time every 4 hours | Detect dissolved gasses in transformer oil. Provides alerts upon detection in excess of allowable thresholds

## Table 10-4
Table 10-4. Fire Detection Systems Currently Deployed
Detection System | Capabilities | Companion Technologies | Contribution to Fire Detection and Confirmation
Site Video cameras | Real-time viewing of Suncrest Facility and immediate surrounding area to detect smoke and wildfires | Used with Firecaster and SDG&E Fire Potential Index and cameras to verify fire detection | Video cameras allow fast and accurate detection or confirmation of wildfires and can help operators assess the scope of resource response needed.
Optos/Firecaster | Real time tracking of wildfire conditions | Site Cameras and SDG&E Fire Potential Index and cameras to verify fire detection | Data model to predict the likelihood of a wildfire occurring and spreading taking into account current weather conditions, seasonality, and locale (Urban, rural, suburban, mountain, etc.)
Fire growth potential prediction and modeling

## Table 10-5
Table 10-5. Fire Potential Features
Feature Group | Feature | Altitude | Description | Source | Update Cadence | Spatial Granularity | Temporal Granularity
Weather | Temperature, Wind Speed, Wind Direction, Humidity, Rainfall | Surface | Weather forecast data from NOAA models | AerisWeather | 2x daily | 5km | hourly
Weather | Recent rainfall | Surface | Recent rainfall from weather stations | AerisWeather | Daily | 5km | hourly
Fuel | Soil Moisture | Top Soil | Modeled soil moisture from NOAA models | NOAA | daily | 0.25 degrees | Daily
Fuel | Vegetation Greenness | Surface | Observed NDVI from MODIS satellites | MODIS | 14 days | 500 meters | 14 days
Fuel | Snow Cover | NOAA | Current snow cover | NOAA | Daily | ~10km | Daily
Fires | Active Fire Hotspots | Surface | Active fire hotspots observed by NOAA20/VIIRS satellites | FIRMS | 6-8 hours | ~300 meters | hourly

## Table 11-1
Table 11-1. Emergency Preparedness and Community Outreach Targets by Year
Initiative | Activity (Tracking ID #) | Previous Tracking ID, if applicable | 2026 End of Year Total / Completion Date | 2027 Status | 2028 Status | Section; Page number
N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Table 11-2
Table 11- 2. Key Gaps and Limitations in Integrating Wildfire- and PSPS-Specific Strategies into Emergency Plan
Gap or Limitation Subject | Remedial Brief Description | Remedial Action Plan
N/A

## Table 11-3
Table 11-3. High-Level Communication Protocols, Procedures, and Systems with Public Safety Partners
Public Safety Partner Group | Name of Entity | Key Protocols | Frequency of Prearranged Communication Review and Update
Event Reporting | CAISO – Emergency Response Coordinator (ERC) – Event Reporting | · CAISO communication protocols | N/A
· NERC communication standards
Outage/PSPS | SDG&E | · CAISO communication protocols | N/A
· SDG&E communication protocols
· NERC communication standards
Fire | San Diego County Fire Authority Descanso Fire Station 45 | N/A | N/A

## Table 11-4
Table 11-4. Key Gaps and Limitations in Communication Coordination with Public Safety Partners
Gap or Limitation Subject | Brief Description of Gap or Limitation | Remedial Action Plan
N/A | N/A | N/A

## Table 11-5
Table 11- 5. Collaboration in Local and Regional Wildfire Mitigation Planning
Name of County, City, or Tribal Agency or Civil Society Organization (e.g., nongovernmental organization, fire safe council) | Program, Plan, or Document | Last Version of Collaboration | Level of Collaboration
CAISO | N/A | N/A | N/A
SDG&E | N/A | N/A | N/A
San Diego County Fire Authority Descanso Fire Station 45 | N/A | N/A | N/A

## Table 11-6
Table 11-6. Key Gaps and Limitations in Collaborating on Local and Regional Wildfire Mitigation Planning
Subject of Gap or Limitation | Brief Description of Gap or Limitation | Strategy for Improvement
N/A | N/A | N/A

## Table 11-7
Table 11-7. Collaboration with Tribal Agencies
Name of County, City, or Tribal Agency or Civil Society Organization (e.g., nongovernmental organization, fire safe council) | Program, Plan, or Document | Last Version of Collaboration | Level of Collaboration
N/A

## Table 11-8
Table 11-8. Key Gaps and Limitations in Collaborating with Tribal Agencies
Subject of Gap or Limitation | Brief Description of Gap or Limitation | Strategy for Improvement | Subject of Gap or Limitation
N/A

## Table 11-9
Table 11-9. Protocols for Emergency Communication to Stakeholder Groups
Stakeholder Group/Target Community | Event Type | Method(s) for Communicating | Means to Verify Message Receipt | Interests or Concerns Before, During, and After Wildfire and PSPS events
Priority essential services | Wildfire | Telephone | Realtime response | Site access, onsite safety guidance, potential suppression needs
|  | Email | Reply message
Priority essential services | Wildfire-related outage | Telephone | Realtime response | Site access, onsite safety guidance, potential suppression needs
|  | Email | Reply message
Priority essential services | PSPS-related outage | Telephone | Realtime response | N/A
|  | Email | Reply message
Priority essential services | Restoration of service | Telephone | Realtime response | N/A
|  | Email | Reply message
Interconnecting Utility | Wildfire | Telephone | Realtime response | Notice of potential or actual interruption of operations, contingency plans, projected return to operations
|  | Email | Reply message
Interconnecting Utility | Wildfire-related outage | Telephone | Realtime response | Notice of potential or actual interruption of operations, contingency plans, projected return to operations
|  | Email | Reply message
Interconnecting Utility | PSPS-related outage | Telephone | Realtime response | Notice of potential or actual interruption of operations, contingency plans, projected return to operations
|  | Email | Reply message
Interconnecting Utility | Restoration of service | Telephone | Realtime response | Timely restoration of service/operations
|  | Email | Reply message
CAISO | Wildfire | Telephone | Realtime response | Notice of potential or actual interruption of operations, contingency plans, projected return to operations
|  | Email | Reply message
CAISO | Wildfire-related outage | Telephone | Realtime response | Notice of potential or actual interruption of operations, contingency plans, projected return to operations
|  | Email | Reply message
CAISO | PSPS-related outage | Telephone | Realtime response | Notice of potential or actual interruption of operations, contingency plans, projected return to operations
|  | Email | Reply message
CAISO | Restoration of service | Telephone | Realtime response | Timely restoration of service/operations
|  | Email | Reply message

## Table 11-10
Table 11-10. List of Target Communities
Target Community | Interests or Concerns Before, During, and After Wildfire and PSPS events
N/A | N/A

## Table 11-11
Table 11-11. Key Gaps and Limitations in Public Emergency Communication Strategy
Gap or Limitation Subject | Brief Description of Gap or Limitation | Remedial Action Plan
N/A | N/A | N/A

## Table 12-1
Table 12-1. Enterprise Systems Targets
Initiative | Activity (Tracking ID #) | Previous Tracking ID (if applicable) | 2026 End of Year Total / Completion Date | 2027 Total / Status | 2028 Total / Status | Section; Page Number
N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Table 13-1
Table 13- 1. Lessons Learned
ID # | Year of Lesson Learned | Subject | Category and Source of Lesson Learned | Description of Lesson Learned | Proposed WMP Improvement | Timeline for Implementation | Reference
1 | 2020 | Proactive asset inspections when RFW conditions are issued | Response to potential Fire Event | Significant acreage burn occurs coincide with RFW conditions per CAL Fire | None. HWT makes it a practice to conduct proactive asset inspections ahead of RFW conditions to minimize the risk of ignitions at the Suncrest Facility. | N/A | N/A
2 | 2020 | Wildfire modeling capabilities and real-time tracking | Response to potential Fire Event | In RFW conditions changes in wind speed and direction can materially impact path of wildfire | None. To enhance situational awareness and better inform operational decision-making during extreme fire weather events, HWT developed a proprietary fire risk index to determine real-time fire risk. Additionally, HWT procured to access third-party granular real-time wildfire tracking tools that utilizes satellite data to monitor and track propagation of wildfires to help evaluate proximity of fires to HWT’s assets and inform appropriate operational response | N/A | N/A
3 | 2020 | Situational Awareness | Response to potential Fire Event | Real-time video surveillance allows for enhanced situational awareness and corroboration of wildfire tracking and modelling capabilities | None. HWT recognized the value of its onsite cameras in providing real-time coverage of the area around the Suncrest Facility and added more cameras in the 2020-2022 WMP Cycle | N/A | N/A
4 | 2024 | Situational Awareness | PG&E Wildfire Seminar | Leveraging expertise of industry leaders in wildfire situational awareness, forecasting and modelling to enhance internal capabilities to predict, observe, plan, mitigate and react to ignitions and wildfires | HWT in process of engaging Technosylva to utilize its Wildfire Analyst platform to support situational awareness , forecasting and enhance wildfire spread modeling (SA-01) | 2025 | 2026-2028 WMP Section 10
5 | 2024 | Situational Awareness | PG&E Wildfire Seminar | Existence and value of third party fire monitoring and notification applications as an additional/supplemental source of information for ignition detection, real-time information on wildfire | Completed. HWT field engineers utilize Watch Duty application as a supplemental of information to receive notification and monitor ignitions and wildfires in the vicinity of the Suncrest substation | N/A | N/A
6 | 2024 | Collaboration | PG&E Wildfire Seminar | Existence and value of industry groups focused on wildfire mitigation as a resource for exposure to new technologies, means and methods for assessing and mitigating risks, and lessons learned from operational history. | Completed. HWT has joined two industry groups focused on wildfire mitigation. Representatives from HWT have attended PG&E Wildfire Seminars (2024 and 2025) and Wildfire Seminar hosted by AEGIS insurance company (2025). Although, HWT’s operations are limited in scope and scale, it participates in these groups to gain exposure to new systems, technology, and knowledge from electrical companies with more extensive operational histories with wildfire mitigation. | Ongoing

## Table 13-2
Table 13-2. Lessons Learned from Discontinued Activities
Discontinued Activity (Tracking ID) | Rationale for Discontinuation | Lessons Learned | Replacement Activities (include page # where discussed)
N/A

## Table E-1
Table E-1. Referenced Regulations, Codes and Standards
Name of Regulation, Code, or Standard | Brief Description
PUBLIC UTILITIES CODE SECTION 8386 | STATUTE RELATED TO WILDFIRE MITIGATION REQUIREMENTS FOR ELECTRIC UTILITIES
GENERAL ORDER 95 | RULES FOR OVERHEAD ELECTRIC LINE CONSTRUCTION
PUBLIC UTILITIES CODE SECTION 768.6 | STATUTE RELATED TO EMERGENCY AND DISASTER PREPAREDNESS PLANS
CAL/OSHA ? TITLE 8 REGULATIONS, CHAPTER 4, SUBCHAPTER 7, GROUP 1, ARTICLE 2, §3220 | STATUTE RELATED TO REQUIREMENTS FOR EMERGENCY ACTION PLANS
NATIONAL FIRE PROTECTION ASSOCIATION (NFPA) 850 MANUAL | RECOMMENDED PRATICES FOR FIRE PROTECTION FOR ELECTRIC GENERATING PLANTS AND HIGH VOLTAGE DIRECT CURRENT CONVERTER STATIONS