## Fields changed
Dataset(s) | Feature)s)/Table(s) | Change
Initiative | Vegetation Inspection Point, Vegetation Management Project Point | Added field "IsTree"
Asset Point | Connection Device, Switchgear, Grid Hardening Line, Grid Hardening Point | Removed field "AssetOHUG" and replaced with "AssetLocation" (adds domain value "Padmount")
Asset Line | All features | Removed field "Greased"
Asset Line | Secondary Distribution Line | Removed fields "NominalVoltagekV" and "OperationalVoltagekV"
Initiative, Other Required Data | Asset Inspection Point, Grid Hardening Point, Vegetation Inspection Point, Vegetation Management Project Point; Critical Facility | Removed field "ParcelAPN"
Asset Point | Transformer Detail | Changed type of fields "AssociatedNominalVoltagekV" and "AssociatedOperationalVoltagekV" to string to accommodate multiple values
Initiative | Asset Inspection Line, Point, Polygon | Changed length of field "InspectionType" from 30 to 20
Initiative | Asset Inspection Line, Point, Polygon; Grid Hardening Line, Point; Initiative Audit Line, Point, Polygon; Vegetation Inspection Line, Point, Polygon | Changed length of field "PerformedByComment" from 30 to 50
Initiative | All features | Removed field "WMPPageNumber"

## Domain or rule changes
Feature(s)/Table(s) affected | Field Name | Change
Vegetation Inspection Point, Vegetation Management Project Point, Ignition, Unplanned Outage, Wire Down Event, Major Woody Stem Exempt Tree Point, PSPS Event damage detail tables | Vegetation Species | Added "Corymbia", "Strelitzia", "Syzigium", "Ligustrum" to the list of genera that do not require species
PSPS Event Other Asset Damage Detail | SegmentID, CircuitID | Changed requirement to "only if the damaged asset is associated with one particular circuit"
Primary Distribution Line, Secondary Distribution Line | Substation Name | Changed to optional from required
Vegetation Inspection Line, Point, Polygon | Tree Trim Count, Tree Removal Count | Removed restriction against counting trees below 6" DBH or within 4' of conductor
Vegetation Management Project Line, Point, Polygon | Tree Trim Count Planned, Tree Trim Count Actual | Removed restriction against counting trees below 6" DBH or within 4' of conductor
Primary Distribution Line, Secondary Distribution Line, Transmission Line | Asset OH or UG | Removed "Unknown"
Connection Device, Switchgear, Transformer Site, Grid Hardening Line, Grid Hardening Point | Asset Location | Removed "Unknown"
Primary Distribution Line, Secondary Distribution Line, Transmission Line, Connection Device, Customer Meter, Lightning Arrester, Substation, Support Structure, Switchgear, Transformer Detail, Weather Station | Installation Year | Removed instruction to enter "-99" if unknown
Primary Distribution Line, Secondary Distribution Line, Transmission Line, Connection Device, Customer Meter, Lightning Arrester, Support Structure, Switchgear, Transformer Detail, Weather Station | Estimated Age | Removed "Unknown" and "N/A"
Primary Distribution Line, Secondary Distribution Line, Transmission Line, Connection Device, Lightning Arrester, Support Structure, Switchgear, Transformer Detail | Useful Lifespan | Removed instruction to enter "-99" if unknown
Connection Device | Connection Device Type, Connection Device Subtype | Removed "Unknown"
Fuse, Lightning Arrester, Support Structure, Switchgear, Transformer Detail, PSPS Event Other Asset Damage Detail | Exemption Status | Removed "Unknown"
Fuse | Fuse Type | Removed "Unknown"
Support Structure | Crossarm Attached | Removed "Unknown"
Switchgear | SCADA Enabled | Removed "Unknown"
Transformer Site | In a Bank | Removed "Unknown"
Transformer Detail | Associated Nominal Voltage, Associated Operational Voltage | Removed instruction to enter "-99" if N/A
Transformer Detail | Manufacturer, Model Number | Removed instructions to use "Unknown"
Weather Station | Placement, Has Anemometer, Has Fuel Moisture Sensor, Observation Interval | Removed "Unknown"
Weather Station | NFDRS Compliant | Removed instruction to use "No" if unknown
Vegetation Inspection Line, Point, Polygon; Vegetation Management Project Line, Point, Polygon | Commercial Harvest | Removed "Unknown"
Vegetation Management Project Point | Danger Tree | Removed "Unknown"
Other Power Line Connection Location | Other Line Class, Connection OH or UG, Other Conductor Material | Removed "Unknown"
Other Power Line Connection Location | Estimated Connection Age | Removed "Unknown" and "N/A"
Customer Meter, PSPS Event Customer Meter Point | Meter Type | Removed "Unknown"
PSPS Event Conductor Damage Detail | Failed Equipment Description | Removed instructions to use "Unknown" (note "N/A" is still an option)
PSPS Event Conductor Damage Detail, PSPS Event Other Asset Damage Detail, PSPS Event Support Structure Damage Detail, Ignition, Wire Down Event | Object Contact | Removed "Unknown"
PSPS Event Conductor Damage Detail, PSPS Event Other Asset Damage Detail, PSPS Event Support Structure Damage Detail | Likely Arcing | Removed "Unknown"
Ignition, Unplanned Outage, Wire Down Event | Equipment Failure | Removed "Unknown"
Unplanned Outage | Basic Cause Object | Removed "Unknown"
Wire Down Event | Energized | Removed "Unknown"