## SDG&E_RSE_Workshop_Table
Metric type | 2021 WMP Initiative # | Initiative activity | Lifetime of Benefit | Discounted Time | Total Risk Reduction | Total NPV Risk Reduction | Total Cost ($k) | Total RSE (per $M)
Other | 7.3.2.3 | Fault indicators for detecting faults on electric lines and equipment [Wireless fault indicators] | 25 | 17.4131 | 15.5561 | 270.8805 | 2147.2891 | 126.15
Grid hardening | 7.3.3.1 | Capacitor maintenance and replacement program [SCADA capacitors] | 25 | 17.4131 | 136.9239 | 2384.2755 | 4369.9263 | 545.61
Grid hardening | 7.3.3.3 | Covered conductor installation | 40 | 23.1148 | 483.795 | 11182.8113 | 156797.6911 | 71.32
Grid hardening | 7.3.3.7 | Expulsion fuse replacement | 25 | 17.4131 | 541.2402 | 9424.6959 | 19777.3447 | 476.54
Grid hardening | 7.3.3.8.1 | PSPS sectionalizing enhancements | 20 | 14.8775 | 350.5086 | 5214.6824 | 8924.6661 | 584.3
Grid hardening | 7.3.3.8.2 | Microgrids | 20 | 14.8775 | 79.9039 | 1188.7685 | 38621.459 | 30.78
Grid hardening | 7.3.3.9 | Installation of system automation equipment (Advanced Protection) | 25 | 17.4131 | 503.0596 | 8759.8504 | 31164.9721 | 281.08
Grid hardening | 7.3.3.10 | Maintenance, repair, and replacement of connectors, including hotline clamps | 25 | 17.4131 | 45.8623 | 798.6078 | 12962.3082 | 61.61
Grid hardening | 7.3.3.11.1 | Resiliency Grant Programs | 10 | 8.5302 | 147.5961 | 1259.025 | 20875.892 | 60.31
Grid hardening | 7.3.3.11.2 | Standby Power Programs | 15 | 11.9379 | 168.5442 | 2012.0698 | 22453.6305 | 89.61
Grid hardening | 7.3.3.11.3 | Resiliency Assistance Programs | 10 | 8.5302 | 192.9997 | 1646.3268 | 4416.5866 | 372.76
Grid hardening | 7.3.3.16 | Undergrounding of electric lines and/or equipment (Strategic undergrounding) | 40 | 23.1148 | 919.4888 | 21253.7734 | 364558.7198 | 58.3
Grid hardening | 7.3.3.17.1 | Distribution overhead system hardening (Bare Conductor Hardening) | 40 | 23.1148 | 462.6281 | 10693.5423 | 240954.0863 | 44.38
Grid hardening | 7.3.3.17.3 | Cleveland National Forest fire hardening - Distribution OH | 40 | 23.1148 | 120.7757 | 2791.7036 | 53236.1488 | 52.44
Grid hardening | 7.3.3.17.3 | Cleveland National Forest fire hardening - Distribution UG | 40 | 23.1148 | 72.7551 | 1681.7178 | 44024.0257 | 38.2
Grid hardening | 7.3.3.18.2 | Lightning arrestor removal and replacement | 25 | 17.4131 | 9.4481 | 164.5219 | 3927.475 | 41.89
Asset inspection | 7.3.4.1 | Detailed inspections of distribution electric lines and equipment (5-year detailed inspections) | 1 | 0.97087 | 1604.9458 | 1558.1998 | 28653.9131 | 54.38
Asset inspection | 7.3.4.4 | Infrared inspections of distribution electric lines and equipment | 1 | 0.97087 | 197.1923 | 191.4489 | 523.723 | 365.5537
Asset inspection | 7.3.4.6 | Intrusive pole inspections | 1 | 0.97087 | 338.2583 | 328.4061 | 5992.0048 | 54.8074
Asset inspection | 7.3.4.9.1 | HFTD Tier 3 Inspections | 1 | 0.97087 | 811.703 | 788.0612 | 7379.8903 | 106.7849
Asset inspection | 7.3.4.9.2 | Drone assessments of distribution infrastructure | 1 | 0.97087 | 2038.8359 | 1979.4524 | 156676.8155 | 12.634
Asset inspection | 7.3.4.9.3 | Circuit ownership | 1 | 0.97087 | 2.5881 | 2.5127 | 291.2877 | 8.6263
Asset inspection | 7.3.4.10 | Patrol inspections of distribution electric lines and equipment - CMP | 1 | 0.97087 | 1320.5061 | 1282.0447 | 3477.1087 | 368.71
Vegetation inspection | 7.3.5.2 | Detailed inspections of vegetation around distribution electric lines and equipment (tree trimming) | 1 | 0.97087 | 15158.3268 | 14716.8221 | 157320.5637 | 93.5467
Vegetation management project | 7.3.5.5 | Fuel management and reduction of “slash” from vegetation management activities | 1 | 0.97087 | 536.242 | 520.6233 | 18217.5346 | 28.5781
Vegetation inspection | 7.3.5.9 | Other discretionary inspection of vegetation around distribution electric lines and equipment, beyond inspections mandated by rules and regulations (Enhanced inspections, patrols, and trims) | 40 | 23.1148 | 121.0906 | 2798.9819 | 30705 | 91.1572
Vegetation management project | 7.3.5.20 | Vegetation management to achieve clearances around electric lines and equipment (Pole brushing) | 1 | 0.97087 | 3594.1852 | 3489.5002 | 16299.8805 | 214.0813
Other | 7.3.6.1.1 | Recloser protocols | 1 | 0.97087 | 23289.8822 | 22611.5361 | 49.334 | 458335.7551
Other | 7.3.6.1.2 | Sensitive/Fast Protection settings | 1 | 0.97087 | 4015.415 | 3898.4611 | 49.332 | 79024.9963
Other | 7.3.6.2 | Crew accompanying ignition prevention and suppression resources and services (Wildfire infrastructure protection teams – Contract fire resources) | 1 | 0.97087 | 604.5408 | 586.9328 | 8459.6835 | 69.38
Other | 7.3.6.3 | Personnel work procedures and training in conditions of elevated fire risk (Other special work procedures) | 1 | 0.97087 | 120.7749 | 117.2572 | 1500 | 78.1715
Other | 7.3.6.5 | PSPS events and mitigation of PSPS impacts | 1 | 0.97087 | 6092.3008 | 5914.8552 | 63323 | 93.4077
Other | 7.3.6.6.1 | Aviation firefighting program | 10 | 8.5302 | 112.7292 | 961.6028 | 44436.357 | 21.64