## Table 1
METRIC NUMBER | UTILITY ID | SUBMISSION DATE | WMP CATEGORY | WMP INITIATIVE | WMP ACTIVITY NAME | TARGET ID (IF MULTIPLE) | UTILITY MITIGATION ACTIVITY TRACKING ID | ACTIVITY CLASSIFICATION | ACTIVITY DESCRIPTION | ACTIVITY OBJECTIVE | WMP SECTION | RISK COMPONENT TARGETED | QUANT / QUAL | QUANT TARGET UNITS | MIDYEAR TARGET (YES / NO) | COMMENTS | BLANK MEANING | ORIGINAL REPORTING YEAR | ORIGINAL REPORTING QUARTER | QUANT YTD VALUE | QUAL YTD VALUE | STATUS | CORRECTIVE ACTIONS IF DELAYED | CHANGE DESCRIPTION | REVISION SUBMISSION DATE | REVISION SUBMISSION NUMBER | REVISION TYPE

## Table 2
METRIC NUMBER | METRIC TYPE | METRIC NAME | WIND WARNING STATUS | HFTD TIER | LINE TYPE | INSPECTION TYPE | INSPECTION METHOD | UNIT(S) | UTILITY ID | ORIGINAL REPORTING YEAR | ORIGINAL REPORTING QUARTER | PRIOR REPORTED VALUE | PRIOR REPORTED BLANK MEANING | UPDATED VALUE | UPDATED BLANK MEANING | CHANGE DESCRIPTION | REVISION SUBMISSION DATE | REVISION SUBMISSION NUMBER
1020000134 | Grid condition findings from inspection | Number of assets inspected |  | HFTD Tier 2 | Distribution | Patrol Inspection | Other | # of assets / structures (such as poles, transformers, etc.) inspected by the utility | PG&E | 2026 | 2 | 269827 |  | 150682 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000136 | Grid condition findings from inspection | Number of assets inspected |  | HFTD Tier 2 | Distribution | Detailed Inspection | Aerial | # of assets / structures (such as poles, transformers, etc.) inspected by the utility | PG&E | 2026 | 2 | 62209 |  | 49228 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000138 | Grid condition findings from inspection | Number of assets inspected |  | HFTD Tier 2 | Distribution | Detailed Inspection | Other | # of assets / structures (such as poles, transformers, etc.) inspected by the utility | PG&E | 2026 | 2 | 37051 |  | 21955 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000146 | Grid condition findings from inspection | Number of circuit miles inspected |  | HFTD Tier 2 | Distribution | Patrol Inspection | Other | # of circuit miles inspected by the utility | PG&E | 2026 | 2 | 10118.5125 |  | 5650.575 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000148 | Grid condition findings from inspection | Number of circuit miles inspected |  | HFTD Tier 2 | Distribution | Detailed Inspection | Aerial | # of circuit miles inspected by the utility | PG&E | 2026 | 2 | 2332.8375 |  | 1846.05 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000150 | Grid condition findings from inspection | Number of circuit miles inspected |  | HFTD Tier 2 | Distribution | Detailed Inspection | Other | # of circuit miles inspected by the utility | PG&E | 2026 | 2 | 1389.4125 |  | 823.3125 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000194 | Grid condition findings from inspection | Number of assets inspected |  | HFTD Tier 3 | Distribution | Patrol Inspection | Other | # of assets / structures (such as poles, transformers, etc.) inspected by the utility | PG&E | 2026 | 2 | 123707 |  | 83444 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000196 | Grid condition findings from inspection | Number of assets inspected |  | HFTD Tier 3 | Distribution | Detailed Inspection | Aerial | # of assets / structures (such as poles, transformers, etc.) inspected by the utility | PG&E | 2026 | 2 | 9914 |  | 7891 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000198 | Grid condition findings from inspection | Number of assets inspected |  | HFTD Tier 3 | Distribution | Detailed Inspection | Other | # of assets / structures (such as poles, transformers, etc.) inspected by the utility | PG&E | 2026 | 2 | 3317 |  | 2579 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000206 | Grid condition findings from inspection | Number of circuit miles inspected |  | HFTD Tier 3 | Distribution | Patrol Inspection | Other | # of circuit miles inspected by the utility | PG&E | 2026 | 2 | 4639.0125 |  | 3129.15 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000208 | Grid condition findings from inspection | Number of circuit miles inspected |  | HFTD Tier 3 | Distribution | Detailed Inspection | Aerial | # of circuit miles inspected by the utility | PG&E | 2026 | 2 | 371.775 |  | 295.9125 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000210 | Grid condition findings from inspection | Number of circuit miles inspected |  | HFTD Tier 3 | Distribution | Detailed Inspection | Other | # of circuit miles inspected by the utility | PG&E | 2026 | 2 | 124.3875 |  | 96.7125 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000254 | Grid condition findings from inspection | Number of assets inspected |  | Non-HFTD | Distribution | Patrol Inspection | Other | # of assets / structures (such as poles, transformers, etc.) inspected by the utility | PG&E | 2026 | 2 | 784155 |  | 339180 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000256 | Grid condition findings from inspection | Number of assets inspected |  | Non-HFTD | Distribution | Detailed Inspection | Aerial | # of assets / structures (such as poles, transformers, etc.) inspected by the utility | PG&E | 2026 | 2 | 1528 |  | 698 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000258 | Grid condition findings from inspection | Number of assets inspected |  | Non-HFTD | Distribution | Detailed Inspection | Other | # of assets / structures (such as poles, transformers, etc.) inspected by the utility | PG&E | 2026 | 2 | 160511 |  | 93384 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000266 | Grid condition findings from inspection | Number of circuit miles inspected |  | Non-HFTD | Distribution | Patrol Inspection | Other | # of circuit miles inspected by the utility | PG&E | 2026 | 2 | 29405.8125 |  | 12719.25 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000268 | Grid condition findings from inspection | Number of circuit miles inspected |  | Non-HFTD | Distribution | Detailed Inspection | Aerial | # of circuit miles inspected by the utility | PG&E | 2026 | 2 | 57.3 |  | 26.175 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000270 | Grid condition findings from inspection | Number of circuit miles inspected |  | Non-HFTD | Distribution | Detailed Inspection | Other | # of circuit miles inspected by the utility | PG&E | 2026 | 2 | 6019.1625 |  | 3501.9 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000314 | Grid condition findings from inspection | Number of assets inspected |  | HFTD Tier 2 | Transmission | Patrol Inspection | Other | # of assets / structures (such as poles, transformers, etc.) inspected by the utility | PG&E | 2026 | 2 | 20654 |  | 12092 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000316 | Grid condition findings from inspection | Number of assets inspected |  | HFTD Tier 2 | Transmission | Detailed Inspection | Aerial | # of assets / structures (such as poles, transformers, etc.) inspected by the utility | PG&E | 2026 | 2 | 19537 |  | 16726 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000326 | Grid condition findings from inspection | Number of circuit miles inspected |  | HFTD Tier 2 | Transmission | Patrol Inspection | Other | # of circuit miles inspected by the utility | PG&E | 2026 | 2 | 2271.94 |  | 1330.12 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000328 | Grid condition findings from inspection | Number of circuit miles inspected |  | HFTD Tier 2 | Transmission | Detailed Inspection | Aerial | # of circuit miles inspected by the utility | PG&E | 2026 | 2 | 2149.07 |  | 1839.86 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000374 | Grid condition findings from inspection | Number of assets inspected |  | HFTD Tier 3 | Transmission | Patrol Inspection | Other | # of assets / structures (such as poles, transformers, etc.) inspected by the utility | PG&E | 2026 | 2 | 14205 |  | 8416 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000376 | Grid condition findings from inspection | Number of assets inspected |  | HFTD Tier 3 | Transmission | Detailed Inspection | Aerial | # of assets / structures (such as poles, transformers, etc.) inspected by the utility | PG&E | 2026 | 2 | 4339 |  | 3591 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000386 | Grid condition findings from inspection | Number of circuit miles inspected |  | HFTD Tier 3 | Transmission | Patrol Inspection | Other | # of circuit miles inspected by the utility | PG&E | 2026 | 2 | 1562.55 |  | 925.76 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000388 | Grid condition findings from inspection | Number of circuit miles inspected |  | HFTD Tier 3 | Transmission | Detailed Inspection | Aerial | # of circuit miles inspected by the utility | PG&E | 2026 | 2 | 477.29 |  | 395.01 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000434 | Grid condition findings from inspection | Number of assets inspected |  | Non-HFTD | Transmission | Patrol Inspection | Other | # of assets / structures (such as poles, transformers, etc.) inspected by the utility | PG&E | 2026 | 2 | 21124 |  | 14289 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000436 | Grid condition findings from inspection | Number of assets inspected |  | Non-HFTD | Transmission | Detailed Inspection | Aerial | # of assets / structures (such as poles, transformers, etc.) inspected by the utility | PG&E | 2026 | 2 | 3260 |  | 1740 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000446 | Grid condition findings from inspection | Number of circuit miles inspected |  | Non-HFTD | Transmission | Patrol Inspection | Other | # of circuit miles inspected by the utility | PG&E | 2026 | 2 | 2323.64 |  | 1571.79 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2
1020000448 | Grid condition findings from inspection | Number of circuit miles inspected |  | Non-HFTD | Transmission | Detailed Inspection | Aerial | # of circuit miles inspected by the utility | PG&E | 2026 | 2 | 358.6 |  | 191.4 |  | The original submission included Q1 and Q2 values. The value has been corrected to reflect Q2 only, consistent with the reporting guidelines. | 2026-11-02 | 2

## Table 3
METRIC NUMBER | METRIC | DEFINITION | PURPOSE | ASSUMPTIONS MADE TO CONNECT METRIC TO PURPOSE | THIRD-PARTY VALIDATION (IF ANY) | UNIT(S) | COMMENTS | BLANK MEANING | UTILITY ID | ACTUAL VALUE | ORIGINAL REPORTING YEAR | ORIGINAL REPORTING QUARTER | CHANGE DESCRIPTION | REVISION SUBMISSION DATE | REVISION SUBMISSION NUMBER | REVISION TYPE

## Table 4
METRIC NUMBER | METRIC TYPE | METRIC NAME | LINE TYPE | HFTD TIER | UNIT(S) | UTILITY ID | ORIGINAL REPORTING YEAR | ORIGINAL REPORTING QUARTER | PRIOR REPORTED VALUE | PRIOR REPORTED BLANK MEANING | UPDATED VALUE | UPDATED BLANK MEANING | CHANGE DESCRIPTION | REVISION SUBMISSION DATE | REVISION SUBMISSION NUMBER

## Table 5
METRIC NUMBER | METRIC TYPE | METRIC NAME | RISK EVENT DRIVER | LINE TYPE | HFTD TIER | UNIT(S) | RISK EVENT DRIVER TRACKED | UTILITY ID | ORIGINAL REPORTING YEAR | ORIGINAL REPORTING QUARTER | PRIOR REPORTED VALUE | PRIOR REPORTED BLANK MEANING | UPDATED VALUE | UPDATED BLANK MEANING | CHANGE DESCRIPTION | REVISION SUBMISSION DATE | REVISION SUBMISSION NUMBER
1050000030 | Contact from object | Wire down event | 3rd party contact | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 8 |  | 7 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000054 | Vegetation contact | Wire down event | Grow-in | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 1 |  | 2 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000060 | Vegetation contact | Wire down event | Blow-in | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 59 |  | 70 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000061 | Vegetation contact | Wire down event | Blow-in | Distribution | HFTD Tier 2 | # risk events | Yes | PG&E | 2026 | 2 | 24 |  | 31 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000062 | Vegetation contact | Wire down event | Blow-in | Distribution | HFTD Tier 3 | # risk events | Yes | PG&E | 2026 | 2 | 29 |  | 32 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000078 | Vegetation contact | Wire down event | Detached frond / limb / bark | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 29 |  | 36 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000079 | Vegetation contact | Wire down event | Detached frond / limb / bark | Distribution | HFTD Tier 2 | # risk events | Yes | PG&E | 2026 | 2 | 7 |  | 9 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000102 | Equipment / facility failure or damage | Wire down event | Connection device | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 0 |  | 1 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000108 | Equipment / facility failure or damage | Wire down event | Crossarm | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 8 |  | 6 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000128 | Equipment / facility failure or damage | Wire down event | Insulator and bushing | Distribution | HFTD Tier 3 | # risk events | Yes | PG&E | 2026 | 2 | 1 |  | 0 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000204 | Equipment / facility failure or damage | Wire down event | Other (equipment failure) | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 0 |  | 1 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000234 | Unknown | Wire down event | Unknown (unknown) | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 40 |  | 21 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000235 | Unknown | Wire down event | Unknown (unknown) | Distribution | HFTD Tier 2 | # risk events | Yes | PG&E | 2026 | 2 | 24 |  | 15 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000236 | Unknown | Wire down event | Unknown (unknown) | Distribution | HFTD Tier 3 | # risk events | Yes | PG&E | 2026 | 2 | 12 |  | 9 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000258 | Contact from object | Unplanned Outage | Animal contact | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 632 |  | 633 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000259 | Contact from object | Unplanned Outage | Animal contact | Distribution | HFTD Tier 2 | # risk events | Yes | PG&E | 2026 | 2 | 75 |  | 76 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000270 | Contact from object | Unplanned Outage | Land vehicle contact | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 357 |  | 356 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000282 | Contact from object | Unplanned Outage | 3rd party contact | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 25 |  | 24 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000288 | Contact from object | Unplanned Outage | Other (contact from object) | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 55 |  | 56 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000290 | Contact from object | Unplanned Outage | Other (contact from object) | Distribution | HFTD Tier 3 | # risk events | Yes | PG&E | 2026 | 2 | 2 |  | 3 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000300 | Vegetation contact | Unplanned Outage | Uncategorized / other (vegetation contact) | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 6 |  | 8 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000306 | Vegetation contact | Unplanned Outage | Grow-in | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 60 |  | 78 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000308 | Vegetation contact | Unplanned Outage | Grow-in | Distribution | HFTD Tier 3 | # risk events | Yes | PG&E | 2026 | 2 | 10 |  | 11 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000312 | Vegetation contact | Unplanned Outage | Blow-in | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 119 |  | 142 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000313 | Vegetation contact | Unplanned Outage | Blow-in | Distribution | HFTD Tier 2 | # risk events | Yes | PG&E | 2026 | 2 | 48 |  | 61 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000314 | Vegetation contact | Unplanned Outage | Blow-in | Distribution | HFTD Tier 3 | # risk events | Yes | PG&E | 2026 | 2 | 52 |  | 55 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000330 | Vegetation contact | Unplanned Outage | Detached frond / limb / bark | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 196 |  | 234 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000331 | Vegetation contact | Unplanned Outage | Detached frond / limb / bark | Distribution | HFTD Tier 2 | # risk events | Yes | PG&E | 2026 | 2 | 27 |  | 36 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000348 | Equipment / facility failure or damage | Unplanned Outage | Conductor | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 611 |  | 616 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000349 | Equipment / facility failure or damage | Unplanned Outage | Conductor | Distribution | HFTD Tier 2 | # risk events | Yes | PG&E | 2026 | 2 | 89 |  | 88 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000354 | Equipment / facility failure or damage | Unplanned Outage | Connection device | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 142 |  | 143 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000367 | Equipment / facility failure or damage | Unplanned Outage | Fuse | Distribution | HFTD Tier 2 | # risk events | Yes | PG&E | 2026 | 2 | 9 |  | 10 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000398 | Equipment / facility failure or damage | Unplanned Outage | Recloser | Distribution | HFTD Tier 3 | # risk events | Yes | PG&E | 2026 | 2 | 0 |  | 1 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000414 | Equipment / facility failure or damage | Unplanned Outage | Splice | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 138 |  | 139 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000415 | Equipment / facility failure or damage | Unplanned Outage | Splice | Distribution | HFTD Tier 2 | # risk events | Yes | PG&E | 2026 | 2 | 18 |  | 19 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000422 | Equipment / facility failure or damage | Unplanned Outage | Switch | Distribution | HFTD Tier 3 | # risk events | Yes | PG&E | 2026 | 2 | 2 |  | 3 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000438 | Equipment / facility failure or damage | Unplanned Outage | Transformer | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 1155 |  | 1158 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000439 | Equipment / facility failure or damage | Unplanned Outage | Transformer | Distribution | HFTD Tier 2 | # risk events | Yes | PG&E | 2026 | 2 | 196 |  | 195 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000457 | Equipment / facility failure or damage | Unplanned Outage | Other (equipment failure) | Distribution | HFTD Tier 2 | # risk events | Yes | PG&E | 2026 | 2 | 14 |  | 19 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000504 | Unknown | Unplanned Outage | Unknown (unknown) | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 2906 |  | 2807 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000505 | Unknown | Unplanned Outage | Unknown (unknown) | Distribution | HFTD Tier 2 | # risk events | Yes | PG&E | 2026 | 2 | 481 |  | 449 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000506 | Unknown | Unplanned Outage | Unknown (unknown) | Distribution | HFTD Tier 3 | # risk events | Yes | PG&E | 2026 | 2 | 222 |  | 214 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000510 | Other | Unplanned Outage | Other (other) | Distribution | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 400 |  | 413 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000511 | Other | Unplanned Outage | Other (other) | Distribution | HFTD Tier 2 | # risk events | Yes | PG&E | 2026 | 2 | 102 |  | 104 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000512 | Other | Unplanned Outage | Other (other) | Distribution | HFTD Tier 3 | # risk events | Yes | PG&E | 2026 | 2 | 58 |  | 59 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2
1050000513 | Other | Unplanned Outage | Other (other) | Transmission | Non-HFTD | # risk events | Yes | PG&E | 2026 | 2 | 30 |  | 34 |  | Revised to reflect ongoing updates from outage investigations and record reviews | 2026-11-02 | 2

## Table 6
METRIC NUMBER | METRIC TYPE | IGNITION DRIVER | LINE TYPE | HFTD TIER | UNIT(S) | IGNITION DRIVER TRACKED | UTILITY ID | ORIGINAL REPORTING YEAR | ORIGINAL REPORTING QUARTER | PRIOR REPORTED VALUE | PRIOR REPORTED BLANK MEANING | UPDATED VALUE | UPDATED BLANK MEANING | CHANGE DESCRIPTION | REVISION SUBMISSION DATE | REVISION SUBMISSION NUMBER

## Table 7
METRIC NUMBER | METRIC TYPE | LINE TYPE | HFTD TIER | AREA TYPE | WUI STATUS | UNIT(S) | UTILITY ID | ORIGINAL REPORTING YEAR | ORIGINAL REPORTING QUARTER | PRIOR REPORTED VALUE | PRIOR REPORTED BLANK MEANING | UPDATED VALUE | UPDATED BLANK MEANING | CHANGE DESCRIPTION | REVISION SUBMISSION DATE | REVISION SUBMISSION NUMBER

## Table 8
METRIC NUMBER | METRIC TYPE | LINE TYPE | HFTD TIER | AREA TYPE | WUI STATUS | UNIT(S) | UTILITY ID | ORIGINAL REPORTING YEAR | ORIGINAL REPORTING QUARTER | PRIOR REPORTED VALUE | PRIOR REPORTED BLANK MEANING | UPDATED VALUE | UPDATED BLANK MEANING | CHANGE DESCRIPTION | REVISION SUBMISSION DATE | REVISION SUBMISSION NUMBER

## Table 9
METRIC NUMBER | METRIC TYPE | LINE TYPE | HFTD TIER | AREA TYPE | WUI STATUS | UNIT(S) | UTILITY ID | ORIGINAL REPORTING YEAR | ORIGINAL REPORTING QUARTER | PRIOR REPORTED VALUE | PRIOR REPORTED BLANK MEANING | UPDATED VALUE | UPDATED BLANK MEANING | CHANGE DESCRIPTION | REVISION SUBMISSION DATE | REVISION SUBMISSION NUMBER

## Table 10
METRIC NUMBER | METRIC TYPE | METRIC NAME | WIND WARNING STATUS | UNIT(S) | UTILITY ID | ORIGINAL REPORTING YEAR | ORIGINAL REPORTING QUARTER | PRIOR REPORTED VALUE | PRIOR REPORTED BLANK MEANING | UPDATED VALUE | UPDATED BLANK MEANING | CHANGE DESCRIPTION | REVISION SUBMISSION DATE | REVISION SUBMISSION NUMBER

## Table 11
METRIC NUMBER | WMP CATEGORY | WMP INITIATIVE | WMP ACTIVITY (IF BLANK THIS REFERS TO ALL ACTIVITIES UNDER THE INITIATIVE) | EXPENSE TYPE | HFTD TIER | UNIT(S) | UTILITY MITIGATION ACTIVITY TRACKING IDS | PRIMARY DRIVER TARGETED | SECONDARY DRIVERS TARGETED | YEAR INITIATED | MOST RECENT PROCEEDING | MEMORANDUM ACCOUNT | CURRENT COMPLIANCE STATUS | ASSOCIATED RULES | OTHER SPEND CATEGORY | COMMENTS | UTILITY ID | ORIGINAL REPORTING YEAR | PRIOR REPORTED VALUE | PRIOR REPORTED BLANK MEANING | UPDATED VALUE | UPDATED BLANK MEANING | CHANGE DESCRIPTION | REVISION SUBMISSION DATE | REVISION SUBMISSION NUMBER

## Table 12
METRIC NUMBER | WORK ORDER NUMBER | EQUIPMENT TYPE | HFTD TIER | LINE TYPE | DATE OPENED | DUE DATE | GO 95 RULE 18 PRIORITY | UTILITY SPECIFIC REPAIR PRIORITY | DATE REINSPECTED | DATE MODIFIED | DUE DATE AFTER REINSPECTED OR MODIFIED | GO 95 RULE 18 PRIORITY AFTER REINSPECTED OR MODIFIED | REASON FOR REINSPECTION | ORIGINAL REPORTING YEAR | ORIGINAL REPORTING QUARTER | CHANGE DESCRIPTION | REVISION SUBMISSION DATE | REVISION SUBMISSION NUMBER | REVISION TYPE