## Table 1
Data Usage | FireSight | WFA-E: FireRisk | WFA-E: FireSim
| Used for Planning and Identification of Mid-Long Range Risk | Used for Situational Awareness | Used for Situational Awareness
Scale and geographical context. | Approximately every 100 meters along overhead assets in service territory. | Approximately every 100 meters along overhead assets in service territory. | Approximately every 100 meters along overhead assets in service territory.
Topography. | United States Geological Survey (USGS) | United States Geological Survey (USGS) | United States Geological Survey (USGS)
| United States Department of Agriculture (USDA) | United States Department of Agriculture (USDA) | United States Department of Agriculture (USDA)
| Technosylva | Technosylva | Technosylva
Quality of historical outage, fault, and ignition data. | Updated annually from data provided by PacifiCorp. | Updated annually from data provided by PacifiCorp. | Updated annually from data provided by PacifiCorp.
Integration of potential ignitions avoided due to PSPS events. | N/A | N/A | N/A
Asset data (including asset age, health, inspection results, type, etc.). | Asset data type and age updated annually from data provided by PacifiCorp. No data provided on health or inspection results. | Asset data type and age updated quarterly from data provided by PacifiCorp. No data provided on health or inspection results. | Asset data type and age updated quarterly from data provided by PacifiCorp. No data provided on health or inspection results.
Impacts of system hardening and other initiative efforts. | Captured through annual asset update. | Captured through quarterly asset update. | Captured through quarterly asset update.
Climate conditions (include historical wind conditions, relative humidity, temperature, etc.). | 30 years of Historic Conditions: | 30 years of Historic Conditions and Current Forecast: | 30 years of Historic Conditions and Current Forecast:
Wind Direction 2000 meter resolution (Atmospheric Data Solutions-ADS)
| Wind Gust 2000 meter resolution (ADS) | Hourly/96 Hour Forecast: | Hourly/96 Hour Forecast:
| Air Temperature 2000 meter resolution (ADS) | Wind Direction 2000 meter resolution (Atmospheric Data Solutions-ADS) | Wind Direction 2000 meter resolution (Atmospheric Data Solutions-ADS)
| Surface Pressure 2000 meter resolution (ADS) | Wind Gust 2000 meter resolution (ADS) | Wind Gust 2000 meter resolution (ADS)
| Relative Humidity 2000 meter resolution (Technosylva) | Air Temperature 2000 meter resolution (ADS) | Air Temperature 2000 meter resolution (ADS)
| Precipitation 2000 meter resolution (ADS) | Surface Pressure 2000 meter resolution (ADS) | Surface Pressure 2000 meter resolution (ADS)
| Radiation 2000 meter resolution (ADS) | Relative Humidity 2000 meter resolution (Technosylva) | Relative Humidity 2000 meter resolution (Technosylva)
| Water Vapor Mixing 2000 meter resolution (ADS) | Precipitation 2000 meter resolution (ADS) | Precipitation 2000 meter resolution (ADS)
| Snow Accumulated-Observed 1000 meter resolution (National Oceanic and Atmospheric Administration-NOAA) | Radiation 2000 meter resolution (ADS) | Radiation 2000 meter resolution (ADS)
| Precipitation Accumulated-Observed 4000 meter resolution (NOAA) | Water Vapor Mixing 2000 meter resolution (ADS) | Water Vapor Mixing 2000 meter resolution (ADS)
| Burn Scars 10m resolution (National Aeronautics and Space Administration NASA/ European Space Agency ESA) | Daily: | Daily:
| Weather Observations Data Points (Synoptic) | Snow Accumulated-Observed 1000 meter resolution (National Oceanic and Atmospheric Administration-NOAA) | Snow Accumulated-Observed 1000 meter resolution (National Oceanic and Atmospheric Administration-NOAA)
|  | Precipitation Accumulated-Observed 4000 meter resolution (NOAA) | Precipitation Accumulated-Observed 4000 meter resolution (NOAA)
|  | Five Days: | Five Days:
|  | Burn Scars 10m resolution (National Aeronautics and Space Administration NASA/ European Space Agency ESA) | Burn Scars 10m resolution (National Aeronautics and Space Administration NASA/ European Space Agency ESA)
|  | Ten Minutes: | Ten Minutes:
|  | Weather Observations Data Points (Synoptic) | Weather Observations Data Points (Synoptic)
Vegetation (include type, density, height, etc.). | Surface Fuels (Technosylva) | Surface Fuels (Technosylva) | Surface Fuels (Technosylva)
| Wildland Urban Interface (WUI) and Non-Forest Fuels Land Use 30/10 meter resolution (Technosylva) | Wildland Urban Interface (WUI) and Non-Forest Fuels Land Use 30/10 meter resolution (Technosylva) | Wildland Urban Interface (WUI) and Non-Forest Fuels Land Use 30/10 meter resolution (Technosylva)
| Canopy Fuels (CBD, CH, CC, CBH) 30/10 meter resolution (Technosylva) | Canopy Fuels (CBD, CH, CC, CBH) 30/10 meter resolution (Technosylva) | Canopy Fuels (CBD, CH, CC, CBH) 30/10 meter resolution (Technosylva)
| Croplands 30 meter resolution (USDA) | Croplands 30 meter resolution (USDA) | Croplands 30 meter resolution (USDA)
Fuel characteristics (include load, size, continuity, vertical arrangement, moisture, etc.). | Herbaceous Live Fuel Moisture 250 m resolution (Technosylva) | Herbaceous Live Fuel Moisture 250 m resolution (Technosylva) | Herbaceous Live Fuel Moisture 250 m resolution (Technosylva)
| Woody Live Fuel Moisture 250 m resolution (Technosylva/ADS) | Woody Live Fuel Moisture 250 m resolution (Technosylva/ADS) | Woody Live Fuel Moisture 250 m resolution (Technosylva/ADS)
| 1-Hour Dead Fuel Moisture 2000 meter resolution (Technosylva/ADS) | 1-Hour Dead Fuel Moisture 2000 meter resolution (Technosylva/ADS) | 1-Hour Dead Fuel Moisture 2000 meter resolution (Technosylva/ADS)
| 10-Hour Dead Fuel Moisture 2000 meter resolution (Technosylva/ADS) | 10-Hour Dead Fuel Moisture 2000 meter resolution (Technosylva/ADS) | 10-Hour Dead Fuel Moisture 2000 meter resolution (Technosylva/ADS)
| 100-Hour Dead Fuel Moisture 2000 meter resolution (Technosylva/ADS) | 100-Hour Dead Fuel Moisture 2000 meter resolution (Technosylva/ADS) | 100-Hour Dead Fuel Moisture 2000 meter resolution (Technosylva/ADS)
Impacts of routine and enhanced vegetation management activities (including tree trimming, tree removal, inspections, etc.). | N/A | N/A | Varies, see “FireSight and WFA-E Data Inputs” table below.
Frequency of updates to datasets and inputs, including any associated triggers to determine the need for updates. | Varies, see “FireSight and WFA-E Data Inputs” table below. | Varies, see “FireSight and WFA-E Data Inputs” table below. | Varies, see “FireSight and WFA-E Data Inputs” table below.
Accuracy and quality checks for data and inputs. | Outage and asset data undergoes routine validation by PacifiCorp. | If reliable real-time weather or fire behavior observations suggest conditions might be different than model-generated forecast conditions, Pacific Power Meteorology team may modify initialized weather conditions to see a variety of outputs under various conditions. | If reliable real-time weather or fire behavior observations suggest conditions might be different than model-generated forecast conditions, Pacific Power Meteorology team may modify initialized weather conditions to see a variety of outputs under various conditions.

## Table 2
Dataset | Spatial Resolution | Start of Dataset | Dataset Update Frequency | Source
(Meters)
Landscape Characteristics
Terrain | 10 |  | Yearly | United States Geological Survey (USGS)
Surface Fuels | 30/10 | 2020 | Pre-Fire Season, Monthly Update in Fire Season, End of Fire Season | Technosylva
Wildland Urban Interface (WUI) and Non-Forest Fuels Land Use | 30/10 | 2020 | Twice A Year | Technosylva
Canopy Fuels (CBD, CH, CC, CBH) | 30/10 | 2020 | Pre-Fire Season, Monthly Update in Fire Season, End of Fire Season | Technosylva
Roads Network | 30 |  | Yearly | USGS
Hydrography | 30 |  | Yearly | USGS
Croplands | 30 | 1997 | Yearly | USDA
Weather And Atmospheric Data
Wind Speed | 2000 | 1990 | Hourly / 96 Hour Forecast | Atmospheric Data Solutions (ADS)
Wind Direction | 2000 | 1990 | Hourly /96 Hour Forecast | ADS
Wind Gust | 2000 | 1990 | Hourly / 96 Hour Forecast | ADS
Air Temperature | 2000 | 1990 | Hourly / 96 Hour Forecast | ADS
Surface Pressure | 2000 | 1990 | Hourly / 96 Hour Forecast | ADS
Relative Humidity | 2000 | 1990 | Hourly / 96 Hour Forecast | Technosylva
Precipitation | 2000 | 1990 | Hourly / 96 Hour Forecast | ADS
Radiation | 2000 | 1990 | Hourly / 96 Hour Forecast | ADS
Water Vapor Mixing Ratio 2 meter | 2000 | 1990 | Hourly / 96 Hour Forecast | ADS
Snow Accumulated – Observed | 1000 | 2008 | Daily | National Oceanic and Atmospheric Administration (NOAA)
Precipitation Accumulated - Observed | 4000 | 2008 | Daily | NOAA
Burn Scars | 10 | 2000 | 5 Days | National Aeronautics and Space Administration (NASA)/ European Space Agency (ESA)
Weather Observations Data | Points | 1990 | 10 Min | Synoptic
Fuel Moisture
Herbaceous Live Fuel Moisture | 250 | 2000 | Daily / 5-Day Forecast | Technosylva
Woody Live Fuel Moisture | 250 | 2000 | Daily / 5-Day Forecast | Technosylva / ADS
1-Hour Dead Fuel Moisture | 2000 | 1990 | Hourly / 124 Hour Forecast | Technosylva / ADS
10-Hour Dead Fuel Moisture | 2000 | 1990 | Hourly / 124 Hour Forecast | Technosylva / ADS
100-Hour Dead Fuel Moisture | 2000 | 1990 | Hourly / 124 Hour Forecast | Technosylva / ADS
Values at Risk
Buildings | Polygon Footprints | 2020-21 | Yearly | Microsoft/Technosylva
Damage Inspection (DINS) | Points | 2014-21 | Yearly | Cal Fire
Population | 90 | 2019 | Yearly | LANDSCAN, Oak Ridge National Laboratory (ONRL)
Roads | Vector Lines | 2021 | Yearly | Caltrans
Social Vulnerability | Plexels | 2021 | Yearly | Esri Geoenrichment Service
Fire Stations | Points | 2021 | Yearly | Esri, USGS
Building Loss Factor | Building Footprints | 2022 | Yearly | Technosylva
Critical Facilities | Points | 2021 | Yearly | Fire Resource Assessment Program (FRAP), Cal Fire
Potential Ignition Locations
Distribution & Transmission Lines | Linear Segments | 2022 | Updated Quarterly | Pacific Power
Poles & Equipment | Points | 2022 | Updated Quarterly | Pacific Power
Outage History | Points | 1989 | Annual | Pacific Power
Ignition History | Points | 2020 | Annual | Pacific Power
Fire Activity
Hotspots MODIS | 1000 | 2000 | Twice A Day | NASA
Hotspots VIIRS | 375 | 2014 | Twice A Day | NASA
Hotspots GOES 16/17 | 3000 | 2019 | 10 Minute | NASA
Fireguard | Polygons | 2020 | 15 Minute | National Guard
Fire Season Perimeters | Polygons | 2021 | Daily | National Incident Feature Service (NIFS)
Historic Fire Perimeters | Polygons | 1900 | Yearly | Cal Fire
Alert Wildfire Cameras | Live Feeds | Real Time | 1 Minute | Alert Wildfire Consortium
Lighting Strikes | 1000 | Real Time | 1 Minute | Earth Networks / Others