## Table 1
Output | FireSight | WFA-E: FireRisk | WFA-E: FireSim
Confidences for each modeling component, including how such confidences were determined. | Not currently incorporated into PacifiCorp processes. | Not currently incorporated into PacifiCorp processes. | Not currently incorporated into PacifiCorp processes.
Range of uncertainty for model outputs, including how those ranges are determined and how uncertainty is minimized. | Uncertainty and model validation is part of Technosylva’s ongoing quality assurance process. This is usually achieved by meticulously comparing real-world fires to simulated ones. Through this process, we refine fire modeling by adjusting internal simulation parameters, algorithms, and input data—such as specific vegetation types—to better match observed behavior. Notably, some of these analyses have been published in reputable journals like the International Journal of Wildland Fire (Cardil et al., 2023). | Uncertainty and model validation is part of Technosylva’s ongoing quality assurance process. This is usually achieved by meticulously comparing real-world fires to simulated ones. Through this process, we refine fire modeling by adjusting internal simulation parameters, algorithms, and input data—such as specific vegetation types—to better match observed behavior. Notably, some of these analyses have been published in reputable journals like the International Journal of Wildland Fire (Cardil et al., 2023). | Uncertainty and model validation is part of Technosylva’s ongoing quality assurance process. This is usually achieved by meticulously comparing real-world fires to simulated ones. Through this process, we refine fire modeling by adjusting internal simulation parameters, algorithms, and input data—such as specific vegetation types—to better match observed behavior. Notably, some of these analyses have been published in reputable journals like the International Journal of Wildland Fire (Cardil et al., 2023).
Systems used to verify the model outputs, including verifier (subject matter experts, third- party) and mechanisms for implementing lessons learned. | Per Technosylva: “Fire model validations are performed both internally and during operational scenarios in the California in collaboration with CAL Fire. Technosylva assessed the performance of fire spread models for initial attack incidents (either surface or crown) currently used in operational environments in California through the analysis of the rate of spread (ROS) of 1,853 wildfires.” | Per Technosylva: “Fire model validations are performed both internally and during operational scenarios in the California in collaboration with CAL Fire. Technosylva assessed the performance of fire spread models for initial attack incidents (either surface or crown) currently used in operational environments in California through the analysis of the rate of spread (ROS) of 1,853 wildfires.” | Per Technosylva: “Fire model validations are performed both internally and during operational scenarios in the California in collaboration with CAL Fire. Technosylva assessed the performance of fire spread models for initial attack incidents (either surface or crown) currently used in operational environments in California through the analysis of the rate of spread (ROS) of 1,853 wildfires.”
At the time of this filing PacifiCorp is not soliciting external, independent reviews of its data, but anticipates engaging a third-party reviewer in or after 2026 after the FireSight and PSPS models are both implemented and both models have gone through a cycle in 2025 of using both models congruently.
How uncertainty affects the interpretations of model outputs. | Uncertainty is accounted for in being conservative in thresholds used for development of programs, for example application of EFR settings. | When reliable real-time weather observations and/or current wildfire suppression and attack practices are known, interpretations of the model may vary. | When reliable real-time weather observations and/or current wildfire suppression and attack practices are known, interpretations of the model may vary.
Determination of highest risk areas based on model outputs | Expressed as percentiles, the HFRA reflects areas with FireSight model risk scores in the 85-100 percentile for either wind-driven or fuel/terrain driven risk. | Review the outputs of the model and consider other external data sources to determine areas of highest risk. | Review the outputs of the model and consider other external data sources to determine areas of highest risk.
Use of subject matter expertise for inputs and further verification. | Process is still in development. | WFA-E allows the PacifiCorp Meteorology Team to modify weather conditions if real-time weather observations suggest conditions might be different than model-generated forecast conditions. | WFA-E allows the PacifiCorp Meteorology Team to modify weather conditions if real-time weather observations suggest conditions might be different than model-generated forecast conditions.
Scaling of outputs in final determinations. | Outputs are scaled from 0-1 with 0 being the lowest risk and 1 being the highest risk. | Process is still in development. | Process is still in development.
Risk tolerances used for decision-making. | Still in development. | Still in development. | Still in development.