## Q02_Data Usage by Model
Q02: Table Illustrating Data Usage by Model
Data Usage | FireSight | FireSim | FireRisk | Utility Risk and Decision Model
Scale and geographical context | 10m x 10m pixels across BVES service region | 10m x 10m pixels across BVES service region | 10m x 10m pixels across BVES service region | N/A
Topography | USGS Topographic Position Index | USGS Topographic Position Index | USGS Topographic Position Index | N/A
Quality of historical outages, fault, and ignition data | Utility outage analytics and failure probability by asset | Utility outage analytics and failure probability by asset | Utility outage analytics and failure probability by asset | N/A
Usage of outage and fault events to augment ignition data | Historical outage and failures by asset | N/A | N/A | N/A
Integration of potential ignitions avoided due to PSPS events | N/A | Simulation of wildfire potentially avoided by performing PSPS | N/A | Model utilizes Technosylva ignition and spread data to model fire risk
Asset data (including asset age, health, inspection results, type, etc.) | Line segments and points with type, age, material, equipment, overall asset health from inspection results to calculate ignition probabilities. Spark ignition displacement distances determined with assistance from expert utility engineers. | Line segments and points with type, age, material, equipment, overall asset health from inspection results to calculate ignition probabilities. Spark ignition displacement distances determined with assistance from expert utility engineers. | Line segments and points with type, age, material, equipment, overall asset health from inspection results to calculate ignition probabilities. Spark ignition displacement distances determined with assistance from expert utility engineers. | Line segments and points with type, age, material, equipment, height, fire wrap, voltage, and transformer kVA. AFN customer locations are also included in order to calculate PSPS consequence.
Impacts of system hardening and other initiative efforts | Yearly updates to asset information based on utility initiatives. | Yearly updates to asset information based on utility initiatives. | Yearly updates to asset information based on utility initiatives. | Yearly updates to asset information based on utility initiatives.
Climate conditions (include historical wind conditions, relative humidity, temperature, etc.) | 2km x 2km pixels across BVES service region for wind speed, direction, gusts, temperature, pressure, humidity, precipitation, radiation, and water vapor mixing from ADS/DTN, 1km x 1km daily pixels for accumulated snow and 4km x 4 km daily pixel for precipitation from NOAA. 10m x 10m burn scar data from NASA. | 2km x 2km pixels across BVES service region for wind speed, direction, gusts, temperature, pressure, humidity, precipitation, radiation, and water vapor mixing from ADS/DTN, 1km x 1km daily pixels for accumulated snow and 4km x 4 km daily pixel for precipitation from NOAA. 10m x 10m burn scar data from NASA. | 2km x 2km pixels across BVES service region for wind speed, direction, gusts, temperature, pressure, humidity, precipitation, radiation, and water vapor mixing from ADS/DTN, 1km x 1km daily pixels for accumulated snow and 4km x 4 km daily pixel for precipitation from NOAA. 10m x 10m burn scar data from NASA. | N/A
Vegetation (include type, density, height, etc.) | 10m x 10m pixels across BVES service region for bulk canopy density, base height, height, and closure | 10m x 10m pixels across BVES service region for bulk canopy density, base height, height, and closure | 10m x 10m pixels across BVES service region for bulk canopy density, base height, height, and closure | Vegetation density, tree height, distance, and growth zone for each BVES asset
Fuel characteristics (include load, size, continuity, vertical arrangement, moisture, etc.) | 250m x 250m pixels across BVES service location for herbaceous and woody live fuel moisture, 2km x 2km pixels for 1hr, 10hr, and 100hr dead fuel moisture | 250m x 250m pixels across BVES service location for herbaceous and woody live fuel moisture, 2km x 2km pixels for 1hr, 10hr, and 100hr dead fuel moisture | 250m x 250m pixels across BVES service location for herbaceous and woody live fuel moisture, 2km x 2km pixels for 1hr, 10hr, and 100hr dead fuel moisture | N/A
Impacts of routine and enhanced vegetation management activities (including tree trimming, tree removal, inspections, etc.) | Utility vegetation management is not accounted for in this model. | Utility vegetation management is not accounted for in this model. | Utility vegetation management is not accounted for in this model. | Point data of trees and vegetation are trimmed or removed in the model based on reported BVES behaviours and inspection schedule
Frequency of updates to datasets and inputs, including any associated triggers to determine the need for updates | Landscape data updated yearly, fuels are updated monthly in fire season, weather data are updated hourly, except for precipitation which is updated daily, live fuel moisture is updated daily, and dead fuel moisture is updated hourly, asset data are updated quarterly | Landscape data updated yearly, fuels are updated monthly in fire season, weather data are updated hourly, except for precipitation which is updated daily, live fuel moisture is updated daily, and dead fuel moisture is updated hourly, asset data are updated quarterly | Landscape data updated yearly, fuels are updated monthly in fire season, weather data are updated hourly, except for precipitation which is updated daily, live fuel moisture is updated daily, and dead fuel moisture is updated hourly, asset data are updated quarterly | Yearly updates to asset information based on utility initiatives
Accuracy and quality checks for data and inputs | Model calibrated using real fires from 2012-2022 using VIIRS hotspots | Model calibrated using real fires from 2012-2022 using VIIRS hotspots | Model calibrated using real fires from 2012-2022 using VIIRS hotspots | Model is still being calibrated to reflect real-world behavior

## Q03_Desriptions by Model
Q03: Table Illustrating Descriptions by Model
Descriptions | Ignition Model | Consequence Model | PSPS Model
Algorithms used and machine learning capabilities | Bayesian Hierarchical Model | Rothermel Fire Spread, Crowning, Spotting Algorithm, Building Loss Factor, Urban Encroachment, Spark Modeling, High-Definition Wind (See Appendix for detailed list) | PSPS Probability * PSPS Consequence = PSPS Risk min(Fire Probability * Fire Behavior, 1) = PSPS Probability PSPS Vulnerability + PSPS Exposure = PSPS Consequence Building Destruction + Population Impact = PSPS Exposure
Inputs for the model | Outage Data, Historical WRF Data | All inputs for FireSim, FireRisk, and FireSight listed in Table 2 | AFN data, asset data
Outputs for the model | Probability of Failure/Outage & Probability of Ignition | Acres Burned, Buildings Impacted, Population Impacted, Buildings Destroyed, Flame Length, Rate of Spread, Fire Behavior Index, Fire Potential Index (See Appendix for details) | PSPS Risk value, to be combined with Fire Risk value to determine Utility Risk
Description of any modules used, including but not limited to: (1) Climate change (2) Ingress and egress (3) Suppression (4) Conflagration risks (5) Smoke impacts (6) Community vulnerability | The POF model looks at all sustained outages that could potentially cause ignition (such as equipment failure, object contact, vegetation contact, etc.) and integrates them with historical weather data to create dynamic circuit fragility curves. These curves consist of a static probability of failure, representing the POF in windless conditions, and the dynamic exponential increase due to wind. These curves are subsequently used to calculate failure probabilities for each circuit on a given historical weather day. To generate the POI estimate we rely on environmental variables such as the National Fire Danger Rating System’s (NFDRS) Ignition Component. The Ignition Component evaluates fuel, fuel dryness, and wind speed to determine the likelihood of a wildfire starting from burning material on the ground. By combining the POF and POI, we can estimate the probability of a specific line segment starting a wildfire that requires suppression based on the weather and fuels at that time. Our approach to the POI is primarily driven by the limited availability of data for developing a statistically significant model. Utilities have been diligently amassing outage records over the years, but the compilation of ignition data has only started in earnest more recently. Given this data scarcity, we adopt a cautious assumption: every sustained fault results in the generation of combustible material. We then utilize the environmental POI to assess the likelihood of a wildfire occurrence from this burnable material. This methodology, although grounded in an assumption, enables us to work effectively with the data we currently have, and it represents our best approach given the existing constraints. As more ignition data becomes available over time, we anticipate further refining this aspect of our model. See attached Appendix. | See attached Appendix, WMP Model Documentation_TSYL_2024_AppendixVersion_compressed. | The PSPS Risk model utilizes a Fire Behaviour Matrix generated based on information from Technosylva regarding fire rate of spread and flame length. PSPS Probability, PSPS Exposure, and PSPS Consequence are calulcated as modules for total PSPS Risk.
Modeling components, linkages, and interdependencies | Probability of Failure & Probability of Ignition. The main linkage is that they are both based on historical WRF data. | See attached Appendix, WMP Model Documentation_TSYL_2024_AppendixVersion_compressed. | PSPS Risk is combined with Fire Risk to determine Utility Risk
Weight of each data component and input | N/A | N/A | BVES is still developing PSPS weights.
Automatization implemented | Fully automated | Fully automated | Fully automated
Frequency of model updates, including the basis for each update | Annual update | See Table from question 2 for update frequencies. | Annual update

## Q04_Outputs by Model
Q04: Table Illustrating Outputs by Model
Output |  | FireSim | FireRisk | Utility Risk and Decision Model
Confidences for each modeling component, including how such confidences were determined. | Mean absolute percent errors between 20 and 40%. (Cruz et al. 2013) | Mean absolute percent errors between 20 and 40%. (Cruz et al. 2013) | Mean absolute percent errors between 20 and 40%. (Cruz et al. 2013) | Modeling components are primarily qualitative or integer values such as pole material or number, and are not subject to error. Variance in weather trends is handled using 3 scenarios at the 20th, 50th, and 80th percentile conditions to create high confidence in results.
Range of uncertainty for model outputs, including how those ranges are determined and how uncertainty is minimized. | Mean absolute percent errors between 20 and 40% (Cruz et al. 2013), uncertainty is minimized by using millions of trials in a Monte Carlo simulation to identify only the most common responses to compare to historical data. | Mean absolute percent errors between 20 and 40%. (Cruz et al. 2013) | Uncertainty in the FireSim model is minimized by using millions of trials in a Monte Carlo simulation to identify only the most common responses. | Utilization of Monte-Carlo simulations involves calculating a vast array of potential scenarios for asset degradation, cost uncertainties, and other variables, offering a more realistic and robust perspective on the range of possible outcomes. For this phase of the work, each use case is simulated over 60 years and 50 iterations where each iteration considers one possible future.
Systems used to verify the model outputs, including verifier (subject matter experts, third- party) and mechanisms for implementing lessons learned. | Model is verified yearly against real-world fires, and Technosylva SMEs work with utility engineers to confirm that models remain accurate. | Model is verified yearly against real-world fires, and Technosylva SMEs work with utility engineers to confirm that models remain accurate. | Model is verified yearly against real-world fires, and Technosylva SMEs work with utility engineers to confirm that models remain accurate. | Model is still being verified by BVES subject matter experts.
How uncertainty affects the interpretations of model outputs. | Larger uncertainties will result in more conservative interpretations and use in determining future mitigation activities. | Larger uncertainties will result in more conservative interpretations and use in determining future mitigation activities. | Larger uncertainties will result in more conservative interpretations and use in determining future mitigation activities. | Larger uncertainties will result in more conservative interpretations and use in determining future mitigation activities.
Determination of highest risk areas based on model outputs. | Outputs are aggregated based on percentile and assigned to assets to estimate areas of high risk historically. | Outputs are aggregated based on percentile and assigned to assets to estimate fire spread at the circuit level. | FPI is a hexcel-based (h3) forecast with h3 resolutions ranging from 182 ac - 1km to predict and communicate wildfire potential. | Outputs are aggregated for each circuit to assign a yearly utility risk value for each circuit, and individual assets can be analyzed to identify locations with highest risk.
Use of subject matter expertise for inputs and further verification. | Historical wildfire risk is combined with probability of failure and ignition analysis developed internally to define composite risk values to support prioritization decision making for asset hardening and related mitigation. Historical data can be compared to historical risk to verify model. | Individual fire simulations are run by an SME in order to provide context to FireRisk results and help verify FPI. | Wildfire consequence data are combined with probability of failure and ignition analysis developed internally to define composite risk values to support prioritization decision making for asset hardening and related mitigation. | Configurable values such as alternative mitigation strategies, fire risk weight, PSPS weight, PSPS vulnerability consequence weight, PSPS exposure consequence weight, population impact weight for fire and PSPS, building destruction impact weight, and acre destruction weight are determined by subject matter experts.
Scaling of outputs in final determinations. | This output is currently used in qualitatively evaluating PSPS likelihood and consequently PSPS risk. | This output is currently used in qualitatively evaluating PSPS likelihood and consequently PSPS risk. | This output is currently used in qualitatively evaluating PSPS likelihood and consequently PSPS risk. | This output is currently used in qualitatively evaluating future PSPS likelihood and consequently PSPS risk.
Risk tolerances used for decision-making. | Historically high, very high, or extreme-risk areas are focused on for long-term fire mitigation planning and fire hardening. | Outputs are used to support mitigation planning in addition to setting context for daily FireRisk asset risk forecasts. | FireRisk's FPI output is used to support operational mitigation planning such as PSPS events in cases of high, very high, or extreme fire potential. | Outputs including predicted utility risk, investment forecasts, and strategic recommendations are used to support long-term wildfire mitigation strategies, lowering risk in the most cost-effective manner for ratepayers.