## Comp Table - Distribution
Mitigation Activity | Covered Conductor | Undergrounding | Wireless Fault Indicators | SCADA Capacitors | Microgrids | Hotline Clamp Removal / Replacement | Distribution Traditional Hardening | Distribution Pole Replacements | Distribution Underbuild | Lightning Arrestor Removal / Replacement | Avian/Animal Protection | Expulsion Fuse Replacement | Strategic Pole Replacement | Advanced Protection Program (APP) | Early Fault Detection (EFD) | Distribution Communications Reliability Improvement (DCRI) | Sensitive Ground Fault (SGF) Protection | Sensitive Relay Profile (SRP) Settings | Falling Conductor Protection (FCP)
Covered Conductor | [13 empty] | 1 | 1 | 1 | 1 | 1 | 1
Undergrounding | 4 | [12 empty] | 2 | 1 | 1 | 1 | 1 | 2
Wireless Fault Indicators | 1 | 4 | [11 empty] | 1 | 1 | 1 | 1 | 1 | 1
SCADA Capacitors | 1 | 4 | 4 | [10 empty] | 1 | 1 | 1 | 1 | 1 | 1
Microgrids | 4 | 1 | 4 | 4 | [9 empty] | 2 | 2 | 1 | 2 | 2 | 2
Hotline Clamp Removal / Replacement | 1 | 4 | 1 | 1 | 2 | [8 empty] | 1 | 1 | 1 | 1 | 1 | 1
Distribution Traditional Hardening | 4 | 4 | 1 | 1 | 2 | 1 | [7 empty] | 1 | 1 | 1 | 1 | 1 | 1
Distribution Pole Replacements | 1 | 4 | 1 | 1 | 2 | 1 | 1 | [6 empty] | 1 | 1 | 1 | 1 | 1 | 1
Distribution Underbuild (see distribution traditional hardening) | [13 empty] | 1 | 1 | 1 | 1 | 1 | 1
Lightning Arrestor Removal / Replacement | 1 | 4 | 1 | 1 | 2 | 1 | 1 | 1 | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
Avian/Animal Protection | 1 | 4 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1
Expulsion Fuse Replacement | 1 | 4 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1
Strategic Pole Replacement | 1 | 4 | 1 | 1 | 2 | 1 | 1 | 4 | 1 | 1 | 1 | 1 |  | 1 | 1 | 2 | 1 | 1 | 1
Advanced Protection Program (APP) | 1 | 2 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1
Early Fault Detection (EFD) | 1 | 2 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 2 | 1 | 1 | 1
Distribution Communications Reliability Improvement (DCRI) | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 |  | 1 | 1 | 1
Sensitive Ground Fault (SGF) Protection | 1 | 2 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1
Sensitive Relay Profile (SRP) Settings | 1 | 2 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1
Falling Conductor Protection (FCP) | 1 | 2 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1

## Comp Table - Transmission
| Transmission Traditional Hardening | Transmission Pole/Tower Replacements
Transmission Traditional Hardening
Transmission Pole/Tower Replacements | 1