## Table 6-4
Summary of Risk Reduction for Top Circuits
Rank | Circuit | Unmitigated Overall Utility Risk ($) | No-Build Overall Utility Risk ($) | SRP Risk Reduction ($)* | PSPS Risk Reduction ($)* | Overhead Hardening w/o CC Risk Reduction ($) | Overhead Hardening w/ CC Risk Reduction ($) | 2027 Overall Utility Risk ($)
1 | TPZ1202 | 143192740 | 18691027 | 78338156 | 46163556 | 142438 | 876608 | 17671982
2 | MEY3400 | 87536761 | 17989488 | 43760082 | 25787191 | 78405 | 287912 | 17623171
3 | MEY3200 | 83305122 | 25289730 | 36504067 | 21511325 | 65773 | 0 | 25223957
4 | MEY3300 | 63720461 | 12033697 | 32522009 | 19164755 | 58200 | 92143 | 11883354
5 | STL3501 | 53579217 | 12828333 | 23751751 | 13996567 | 42466 | 0 | 12785867
6 | STL3101 | 52156614 | 10841438 | 24502852 | 14439181 | 44262 | 0 | 10797177
7 | MEY3500 | 50817694 | 11911379 | 23313128 | 13738093 | 41700 | 0 | 11869679
8 | MULLER1296 | 47951211 | 7143409 | 23229824 | 13689003 | 42017 | 0 | 7101393
9 | MEY3100 | 31818412 | 8020830 | 14043047 | 8275367 | 0 | 0 | 8020830
10 | POR3200 | 19410911 | 5672806 | 8644201 | 5093904 | 0 | 0 | 5672806
11 | TRK7202 | 14855306 | 9457011 | 0 | 5398295 | 0 | 0 | 9457011
12 | CAL2501 | 14574657 | 9155133 | 0 | 5419524 | 83116 | 2417473 | 6654544
13 | GLS7400 | 14288299 | 4510375 | 7552603 | 2225321 | 0 | 0 | 4510375
14 | CEM41 | 14186513 | 4244570 | 7679294 | 2262649 | 34772 | 0 | 4209798
15 | TAH5201 | 13715293 | 7675885 | 3964791 | 1168197 | 0 | 0 | 7675885
16 | POR3100 | 13347642 | 4668123 | 6704180 | 1975339 | 0 | 0 | 4668123
17 | STL2300 | 10855487 | 6860229 | 0 | 2974757 | 45118 | 0 | 6815111
18 | TAH7300 | 9050163 | 5835951 | 2482702 | 731510 | 0 | 0 | 5835951
19 | 640 | 8453105 | 5283191 | 0 | 3169914 | 0 | 0 | 5283191
20 | KBH5200 | 8373954 | 4895695 | 2686655 | 791604 | 0 | 0 | 4895695
Notes
(*) SRP and PSPS wildfire-risk reductions are applied sequentially to unmitigated overall utility risk (SRP comes first, followed by PSPS).
Overhead hardening w/ CC reflects the four projects scoped in the 2027 WMP.
Overhead hardening w/o CC risk reduction is estimated for the eleven prioritized circuits from WMP Table 6-1, using the initiative target of 300 poles per year.
Transmission circuit 640 has zero SRP risk reduction because Liberty does not enable SRP on transmission circuits.
Liberty's current risk model does not credit SRP risk reduction on circuits controlled by NV Energy-owned substations. Liberty is updating this logic in the risk model alongside developing the PEDS outage risk model.