## asset_inventories
_record_id | _status | _title | _latitude | _longitude | ohug | circuit | asset_group | asset_id | address | location_description | accessibility_issues | ownership_notes | facility_id | primary_construction_type | secondary_construction_type | underground_primary_construction_type | underground_secondary_construction_type | hftd_high_fire_threat_district | asset_comments | transformer_type | transformer_quantity | transformer_details | fuse_quantity | fuse_type_id | fuse_size_amps_id | wire_details | cable_details | tree_attachments_ | pole_installed_date | pole_id_number | pole_height | pole_class | pole_material | joint_pole_details | crossarm_type | crossarm_size | arrestor_cover | separate_arrestor_ground | bushing_cover | cutout_type | covered_cutouts | stirrups | bare_equipment_jumpers | bare_over_arm_jumpers | number_splices | lightning_arrestors | fault_indicator | street_light | switch | switch_type | switch_id | transformer_id | transformer_type_ | stock_number | serial_number | manufacturer | primary_voltage | transformer_size_kva | fuse_size_amps | fuse_type | transformer_in_service
7ec2db36-e920-4149-9607-4d1a5c896688 | repair | 131598, MEY3500, Pole | 38.8924 | -119.9855 | OH | MEY3500 | Pole | 131598 | 1851 Apalachee Dr South Lake Tahoe CA 96150 US | Residential paved road truck accessible |  |  |  | Single Phase - Delta - Bare Wire | Single Phase - Delta - Cap Cable |  |  | 3 | Primary double dead end with TX tangent secondary | CSP | 1 | 1 | 2 | ELF | 6 | 3 |  |  |  | 131598 | 45 | 3 | Wood - Treated | Both | Composite | 4 | yes | yes | yes | Polymer | yes | yes | no | no |  | 2 |  |  | no |  |  | 34909 | CSP |  |  |  |  | 37 | 6 | ELF | in service
74635397-6121-4d37-a3f8-5c0f82f22c28 | no action | 300700, MEY3500, Pole | 38.8919 | -119.9847 | OH | MEY3500 | Pole | 300700 | 1868 Koyukon Dr South Lake Tahoe CA 96150 US | Residential paved road truck accessible |  |  |  | Single Phase - Delta - Bare Wire | Single Phase - Delta - Cap Cable |  |  | 3 | Tangent primary and secondary with TX. | CSP | 1 | 1 | 2 | ELF | 6 | 2 |  |  | 2026-07-24 | 300700 | 50 | 1 | Wood - Treated | Both | Composite | 5 | yes | yes | yes | Polymer | yes | yes | no |  |  | 2 |  |  | no |  |  | 34665 | CSP |  |  |  |  | 50 | 6 | ELF | in service
543f170b-f599-491f-84e3-9b323292043d | no action | 301047, MEY3500, Pole | 38.904 | -119.9796 | OH - Riser | MEY3500 | Pole | 301047 | 1136 Sundown Trail South Lake Tahoe CA 96150 US | Residential paved road truck accessible |  |  |  | Three Phase - Delta - Bare Wire | Single Phase - Delta - Cap Cable |  | Triplex | 3 | 3500 R1 Pole |  |  |  |  | N/A |  | 2 | 1 |  | 2025-10-23 | 301047 | 50 | 1 | Wood | Both | Composite | 8 | [12 empty] | yes | Viper | 3500 R1
2c145979-7444-4163-b4f9-18833604493b | no action | 146363, MEY3500, Pole | 38.904 | -119.9801 | OH | MEY3500 | Pole | 146363 | 1067 Golden Bear Trail South Lake Tahoe CA 96150 US | Residential paved road truck accessible |  |  |  | Single Phase - Delta - Bare Wire,Three Phase - Delta - Bare Wire | Single Phase - Delta - Cap Cable |  |  | 3 | 3 phase double dead end with fused buck. Secondary tangent with buck. |  |  |  | 2 | T-Link |  | 4 |  |  |  | 146363 | 45 | 3 | Wood - Treated | Both | Composite | 4 |  |  |  | Polymer | no | yes | no | yes |  |  |  |  | yes | Cutout

## wire details
_title | _latitude | _longitude | wire_type | primary_or_secondary_wire | wire_size | wire_material
131598, MEY3500, Pole |  |  | Stranded | Secondary | 2/0 | Grey
131598, MEY3500, Pole | 38.8922 | -119.9856 | Stranded | Primary | #2 | All Aluminum Steel Reinforced
131598, MEY3500, Pole | 38.8923 | -119.9856 | Stranded | Secondary | #2 | Service Triplex
300700, MEY3500, Pole |  |  | Stranded | Primary | #2 | All Aluminum Steel Reinforced
300700, MEY3500, Pole | 38.8917 | -119.9846 | Stranded | Secondary | 2/0 | Grey
301047, MEY3500, Pole |  |  | Stranded | Secondary | 2/0 | Cap
301047, MEY3500, Pole | 38.904 | -119.9797 | Stranded | Primary | 397 | All Aluminum Steel Reinforced
146363, MEY3500, Pole |  |  | Stranded | Secondary | 2/0 | Grey Cap
146363, MEY3500, Pole | 38.9039 | -119.9801 | Stranded | Primary | 397 | All Aluminum Steel Reinforced
146363, MEY3500, Pole | 38.904 | -119.9801 | Stranded | Primary | #2 | All Aluminum Steel Reinforced
146363, MEY3500, Pole |  |  | Stranded | Secondary | 2/0 | Cap