## Definition
Column | Description
circuit_segment_name | name of circuit segment
hf_wfe_score | wildfire feasibility efficiency (or simplified wildfire RSE) in high fire area. hf_wfe_score = v3_line_weighted_risk_per_hf_mile / hf_feasibility_score
v3_line_weighted_risk_per_hf_mile | line weighted risk score from WDRM v3 per high fire mile
cs_unhardened_oh_high_fire_miles | circuit segment unhardened overhead miles in high fire area. Multiply mileage by 1.25 for underground equivalent.
gradient_hf_rating | feasibility sub-component - gradient
hard_rock_hf_rating | feasibility sub-component - hard rock
water_crossing_hf_rating | feasibility sub-component - water crossing
hf_feasibility_score | feasibility score for each circuit segment
tranche | preliminary selection of miles for review for tranche 1 (2024-2026)
bundle_name | unique bundle name that aggregates circuit segments to the circuit level
bundle_hf_wfe_score | bundled wildfire feasibility efficiency (or simplified wildfire RSE) in high fire area.

## 0726 Portfolio
circuit_segment_name | hf_wfe_score | v3_line_weighted_risk_per_hf_mile | cs_unhardened_oh_high_fire_miles | gradient_hf_rating | hard_rock_hf_rating | water_crossing_hf_rating | hf_feasibility_score | tranche | bundle_name | bundle_hf_wfe_score
MIDDLETOWN 1101932140 | 0.26117 | 0.37252 | 0.52179 | 1 | 1.4264 | 1 | 1.4264 | Tranche 1 | MIDDLETOWN 1101 A | 0.27272
SILVERADO 2104806 | 0.064625 | 0.096619 | 18.3681 | 1.0361 | 1.4951 | 1.0291 | 1.4951 | Tranche 1 | SILVERADO 2104 A | 0.26565
MIDDLETOWN 1101644756 | 0.2476 | 0.30406 | 14.8656 | 1.0867 | 1.228 | 1 | 1.228 | Tranche 1 | MIDDLETOWN 1101 A | 0.27272
MIDDLETOWN 1101171414 | 0.46536 | 0.46901 | 3.5119 | 1.0078 | 1 | 1 | 1.0078 | Tranche 1 | MIDDLETOWN 1101 A | 0.27272
PIKE CITY 11011720 | 0.268 | 0.39095 | 5.8943 | 1.1651 | 1.4588 | 1 | 1.4588 | Tranche 1 | PIKE CITY 1101 A | 0.1659
REDBUD 1101708166 | 0.11655 | 0.13108 | 4.3961 | 1.0508 | 1.1247 | 1 | 1.1247 | Tranche 1 | REDBUD 1101 A | 0.26797
CALPINE 1146CB | 0.21637 | 0.31183 | 3.7438 | 1.4412 | 1.0729 | 1 | 1.4412 | Tranche 1 | CALPINE 1146 A | 0.17239
APPLE HILL 110413512 | 0.29536 | 0.32075 | 27.4955 | 1.086 | 1.0192 | 1.0042 | 1.086 | Tranche 1 | APPLE HILL 1104 A | 0.24735
CLAYTON 2212681608 | 0.17938 | 0.26666 | 26.4003 | 1.1036 | 1.4865 | 1.0022 | 1.4865 | Tranche 1 | CLAYTON 2212 A | 0.21174
BONNIE NOOK 1102CB | 0.1806 | 0.26031 | 34.0025 | 1.0674 | 1.4414 | 1.0031 | 1.4414 | Tranche 1 | BONNIE NOOK 1102 A | 0.1806
PINE GROVE 1101CB | 0.58698 | 0.71623 | 4.2797 | 1.034 | 1.2202 | 1 | 1.2202 | Tranche 1 | PINE GROVE 1101 A | 0.14846
WEIMAR 1101CB | 0.17282 | 0.23431 | 8.6454 | 1.0329 | 1.3558 | 1 | 1.3558 | Tranche 1 | WEIMAR 1101 A | 0.1875
APPLE HILL 2102836878 | 0.25909 | 0.29448 | 40.8317 | 1.0515 | 1.1366 | 1.0016 | 1.1366 | Tranche 1 | APPLE HILL 2102 A | 0.30349
CALPINE 1146400 | 0.080198 | 0.085012 | 1.8423 | 1.06 | 1 | 1 | 1.06 | Tranche 1 | CALPINE 1146 A | 0.17239
PINE GROVE 110194936 | 0.12819 | 0.19297 | 9.1551 | 1.0292 | 1.5053 | 1 | 1.5053 | Tranche 1 | PINE GROVE 1101 A | 0.14846
PINE GROVE 110245292 | 0.17305 | 0.20618 | 10.7821 | 1.0094 | 1.1915 | 1 | 1.1915 | Tranche 1 | PINE GROVE 1102 C | 0.17305
SYCAMORE CREEK 11112014 | 0.11105 | 0.1284 | 22.2974 | 1.0417 | 1.1563 | 1 | 1.1563 | Tranche 1 | SYCAMORE CREEK 1111 A | 0.26332
CALPINE 1144304 | 1.0398 | 1.4221 | 0.046358 | 1.3677 | 1 | 1 | 1.3677 | Tranche 1 | CALPINE 1144 A | 0.15802
HIGHLANDS 11031282 | 0.066042 | 0.092328 | 6.0828 | 1.0035 | 1.398 | 1 | 1.398 | Tranche 1 | HIGHLANDS 1103 A | 0.15222
OAKHURST 1101CB | 0.060015 | 0.090023 | 0.12186 | 1 | 1.5 | 1 | 1.5 | Tranche 1 | OAKHURST 1101 A | 0.14821
APPLE HILL 110497086 | 0.16681 | 0.24566 | 25.5416 | 1.1099 | 1.4727 | 1.0056 | 1.4727 | Tranche 1 | APPLE HILL 1104 A | 0.24735
ELECTRA 110161816 | 0.12781 | 0.14333 | 23.4846 | 1.0642 | 1.1214 | 1 | 1.1214 | Tranche 1 | ELECTRA 1101 A | 0.17518
SILVERADO 2105900104 | 0.13112 | 0.19669 | 0.10477 | 1 | 1.5 | 1 | 1.5 | Tranche 1 | SILVERADO 2105 A | 0.20614
SILVERADO 21051308 | 0.12788 | 0.15116 | 1.4616 | 1.182 | 1 | 1 | 1.182 | Tranche 1 | SILVERADO 2105 A | 0.20614
SYCAMORE CREEK 11112268 | 0.41989 | 0.43856 | 21.6868 | 1.0445 | 1 | 1 | 1.0445 | Tranche 1 | SYCAMORE CREEK 1111 A | 0.26332
WEST POINT 110113444 | 0.20304 | 0.20727 | 23.3612 | 1.0208 | 1.0097 | 1 | 1.0208 | Tranche 1 | WEST POINT 1101 A | 0.20532
CALISTOGA 110135588 | 0.097706 | 0.14452 | 3.0541 | 1.4791 | 1.062 | 1 | 1.4791 | Tranche 1 | CALISTOGA 1101 A | 0.18275
NOTRE DAME 11042408 | 0.05355 | 0.059551 | 3.0742 | 1.1121 | 1 | 1 | 1.1121 | Tranche 1 | NOTRE DAME 1104 A | 0.25249
WEIMAR 11012764 | 0.13658 | 0.18659 | 6.2202 | 1.0106 | 1.3662 | 1 | 1.3662 | Tranche 1 | WEIMAR 1101 A | 0.1875
MARIPOSA 2102241564 | 0.079993 | 0.11999 | 0.17995 | 1.045 | 1.5 | 1 | 1.5 | Tranche 1 | MARIPOSA 2102 A | 0.219
SHINGLE SPRINGS 210551738 | 0.26594 | 0.39891 | 0.016579 | 1.1705 | 1.5 | 1 | 1.5 | Tranche 1 | SHINGLE SPRINGS 2105 A | 0.26594
STANISLAUS 1701CB | 0.17202 | 0.24709 | 35.9 | 1.1215 | 1.4365 | 1.0175 | 1.4365 | Tranche 1 | STANISLAUS 1701 A | 0.17279
GEYSERVILLE 1101482 | 0.20069 | 0.35253 | 0.20457 | 1.0821 | 1.7566 | 1 | 1.7566 | Tranche 1 | GEYSERVILLE 1101 A | 0.20069
PINE GROVE 110213438 | 0.22604 | 0.23645 | 16.5261 | 1.0158 | 1.0461 | 1 | 1.0461 | Tranche 1 | PINE GROVE 1102 A | 0.22604
NOTRE DAME 11042028 | 0.41161 | 0.46143 | 10.8286 | 1.1059 | 1.121 | 1.0131 | 1.121 | Tranche 1 | NOTRE DAME 1104 A | 0.25249
SILVERADO 21051306 | 0.32257 | 0.33612 | 0.61836 | 1.042 | 1 | 1 | 1.042 | Tranche 1 | SILVERADO 2105 A | 0.20614
BUCKS CREEK 1102CB | 0.19972 | 0.40599 | 29.4281 | 1.3973 | 2.0328 | 1.1182 | 2.0328 | Tranche 1 | BUCKS CREEK 1102 A | 0.19972
ELECTRA 1101CB | 0.12459 | 0.16779 | 23.2822 | 1.1416 | 1.3468 | 1.0122 | 1.3468 | Tranche 1 | ELECTRA 1101 A | 0.17518
CALISTOGA 1102141073 | 0.55864 | 0.613 | 0.042115 | 1.0973 | 1.002 | 1 | 1.0973 | Tranche 1 | CALISTOGA 1102 A | 0.23189
CALPINE 1146200-G | 0.5187 | 0.5187 | 0.0085228 | 1 | 1 | 1 | 1 | Tranche 1 | CALPINE 1146 A | 0.17239
PINE GROVE 11023168 | 0.14758 | 0.17694 | 29.9752 | 1.0799 | 1.1989 | 1 | 1.1989 | Tranche 1 | PINE GROVE 1102 B | 0.22593
BRUNSWICK 110651484 | 0.15928 | 0.21163 | 22.5247 | 1.0182 | 1.3287 | 1.0179 | 1.3287 | Tranche 1 | BRUNSWICK 1106 A | 0.14844
STANISLAUS 17017144 | 0.13078 | 0.16911 | 4.6389 | 1.0105 | 1.293 | 1 | 1.293 | Tranche 1 | STANISLAUS 1701 A | 0.17279
WEST POINT 1101CB | 0.11788 | 0.19427 | 4.8045 | 1.3205 | 1.6481 | 1.0296 | 1.6481 | Tranche 1 | WEST POINT 1101 A | 0.20532
MARIPOSA 210110240 | 0.23372 | 0.27235 | 19.7519 | 1.1316 | 1.1652 | 1 | 1.1652 | Tranche 1 | MARIPOSA 2101 A | 0.19174
CALISTOGA 110143924 | 0.35353 | 0.43623 | 7.195 | 1.0429 | 1.2339 | 1 | 1.2339 | Tranche 1 | CALISTOGA 1101 A | 0.18275
FORESTHILL 1101CB | 0.18742 | 0.20629 | 9.0779 | 1.1007 | 1.0219 | 1 | 1.1007 | Tranche 1 | FORESTHILL 1101 A | 0.20533
HIGHLANDS 1103287766 | 0.15288 | 0.22094 | 16.9385 | 1.0758 | 1.4452 | 1 | 1.4452 | Tranche 1 | HIGHLANDS 1103 A | 0.15222
CALISTOGA 1101257964 | 0.13797 | 0.16472 | 12.3598 | 1.1226 | 1.1939 | 1.011 | 1.1939 | Tranche 1 | CALISTOGA 1101 A | 0.18275
CLAYTON 2212614950 | 0.36677 | 0.37152 | 0.63982 | 1.0129 | 1 | 1 | 1.0129 | Tranche 1 | CLAYTON 2212 A | 0.21174
FORESTHILL 11022106 | 0.26043 | 0.34552 | 27.869 | 1.0479 | 1.3267 | 1 | 1.3267 | Tranche 1 | FORESTHILL 1102 A | 0.26043
SHADY GLEN 11012768 | 0.21118 | 0.35765 | 6.872 | 1.1193 | 1.6936 | 1.0364 | 1.6936 | Tranche 1 | SHADY GLEN 1101 A | 0.2097
SHADY GLEN 110248894 | 0.17951 | 0.38152 | 9.7913 | 1.1045 | 2.1253 | 1.014 | 2.1253 | Tranche 1 | SHADY GLEN 1102 A | 0.2215
UPPER LAKE 1101CB | 0.058319 | 0.059223 | 1.0869 | 1.0046 | 1.0155 | 1 | 1.0155 | Tranche 1 | UPPER LAKE 1101 A | 0.2845
REDBUD 1101323962 | 0.29736 | 0.34221 | 19.7149 | 1.1488 | 1.1508 | 1.0142 | 1.1508 | Tranche 1 | REDBUD 1101 A | 0.26797
CLAYTON 2212158138 | 0.097833 | 0.1341 | 0.47121 | 1 | 1.3707 | 1 | 1.3707 | Tranche 1 | CLAYTON 2212 A | 0.21174
UPPER LAKE 11011276 | 0.4547 | 0.46337 | 12.7917 | 1.0149 | 1 | 1.0191 | 1.0191 | Tranche 1 | UPPER LAKE 1101 A | 0.2845
ORO FINO 110239154 | 0.17607 | 0.20211 | 42.1728 | 1.0399 | 1.1479 | 1 | 1.1479 | Tranche 1 | ORO FINO 1102 A | 0.2608
CALISTOGA 1102177784 | 0.24654 | 0.24654 | 0.090317 | 1 | 1 | 1 | 1 | Tranche 1 | CALISTOGA 1102 A | 0.23189
CALPINE 1144962 | 0.22037 | 0.41004 | 0.039372 | 1.8607 | 1 | 1 | 1.8607 | Tranche 1 | CALPINE 1144 A | 0.15802
CALISTOGA 1102100335 | 0.075756 | 0.11363 | 0.01856 | 1 | 1.5 | 1 | 1.5 | Tranche 1 | CALISTOGA 1102 A | 0.23189
CALPINE 1146394G | 0.37018 | 0.46578 | 0.011289 | 1.2582 | 1 | 1 | 1.2582 | Tranche 1 | CALPINE 1146 A | 0.17239
SAN RAFAEL 1109535284 | 0.1566 | 0.1566 | 2.9457e-05 | 1 | 1 | 1 | 1 | Tranche 1 | SAN RAFAEL 1109 A | 0.1566
SHADY GLEN 1101898212 | 0.061843 | 0.071198 | 0.26241 | 1 | 1.1513 | 1 | 1.1513 | Tranche 1 | SHADY GLEN 1101 A | 0.2097
CALISTOGA 1102769230 | 0.13897 | 0.15517 | 5.6626 | 1.0912 | 1.1166 | 1 | 1.1166 | Tranche 1 | CALISTOGA 1102 A | 0.23189
CRESTA 1101103126 | 0.22339 | 0.38912 | 0.67059 | 1.0537 | 1.7419 | 1.2395 | 1.7419 | Tranche 1 | CRESTA 1101 A | 0.19869
PLACERVILLE 2106CB | 0.12591 | 0.18957 | 6.1972 | 1.386 | 1.5056 | 1.0229 | 1.5056 | Tranche 1 | PLACERVILLE 2106 A | 0.20595
WILDWOOD 11011576 | 0.16278 | 0.23852 | 8.062 | 1.0616 | 1.4653 | 1 | 1.4653 | Tranche 1 | WILDWOOD 1101 A | 0.17758
SILVERADO 2104726 | 0.1699 | 0.24626 | 26.2339 | 1.0651 | 1.4494 | 1.0142 | 1.4494 | Tranche 1 | SILVERADO 2104 A | 0.26565
EL DORADO PH 2102CB | 0.17913 | 0.20611 | 5.5167 | 1.1506 | 1.1138 | 1 | 1.1506 | Tranche 1 | EL DORADO PH 2102 A | 0.20006
CALISTOGA 1101CB | 0.064221 | 0.096331 | 0.086752 | 1 | 1.5 | 1 | 1.5 | Tranche 1 | CALISTOGA 1101 A | 0.18275
REDBUD 1101454 | 0.36202 | 0.36945 | 5.5314 | 1.0205 | 1 | 1 | 1.0205 | Tranche 1 | REDBUD 1101 A | 0.26797
CALISTOGA 1102634 | 0.098852 | 0.11852 | 5.5306 | 1.0878 | 1.1989 | 1.0155 | 1.1989 | Tranche 1 | CALISTOGA 1102 A | 0.23189
STANISLAUS 17011812 | 0.19413 | 0.37179 | 19.0254 | 1.0228 | 1.9152 | 1 | 1.9152 | Tranche 1 | STANISLAUS 1701 A | 0.17279
CLAYTON 221296224 | 0.41827 | 0.57801 | 7.6836 | 1.3071 | 1.3819 | 1.0356 | 1.3819 | Tranche 1 | CLAYTON 2212 A | 0.21174
ORO FINO 11022556 | 0.1741 | 0.2491 | 6.6456 | 1.0402 | 1.4308 | 1 | 1.4308 | Tranche 1 | ORO FINO 1102 A | 0.2608
PLACERVILLE 210658118 | 0.63521 | 0.95282 | 0.053018 | 1 | 1.5 | 1 | 1.5 | Tranche 1 | PLACERVILLE 2106 A | 0.20595
CLEAR LAKE 1102904 | 0.2251 | 0.23085 | 2.9289 | 1 | 1.0255 | 1 | 1.0255 | Tranche 1 | CLEAR LAKE 1102 A | 0.2251
REDBUD 1101754544 | 0.21014 | 0.22368 | 4.1597 | 1.0644 | 1.0031 | 1 | 1.0644 | Tranche 1 | REDBUD 1101 A | 0.26797
WILDWOOD 11011454 | 0.18626 | 0.27394 | 7.7772 | 1.0982 | 1.4707 | 1.0183 | 1.4707 | Tranche 1 | WILDWOOD 1101 A | 0.17758
APPLE HILL 1104CB | 0.42863 | 0.47074 | 4.0817 | 1.0038 | 1.0982 | 1 | 1.0982 | Tranche 1 | APPLE HILL 1104 A | 0.24735
MARIPOSA 2102594143 | 0.41912 | 0.5169 | 0.54018 | 1.0906 | 1.2333 | 1 | 1.2333 | Tranche 1 | MARIPOSA 2102 A | 0.219
WEST POINT 11024788 | 0.18239 | 0.26135 | 72.1946 | 1.0308 | 1.4329 | 1.0044 | 1.4329 | Tranche 1 | WEST POINT 1102 A | 0.18911
BRUNSWICK 110651486 | 0.15047 | 0.1752 | 56.5289 | 1.0433 | 1.1644 | 1.0043 | 1.1644 | Tranche 1 | BRUNSWICK 1106 A | 0.14844
OAKHURST 11015490 | 0.14865 | 0.22297 | 24.6358 | 1.0019 | 1.5 | 1.0023 | 1.5 | Tranche 1 | OAKHURST 1101 A | 0.14821
SHADY GLEN 11022232 | 0.27361 | 0.36765 | 19.5946 | 1.1072 | 1.3437 | 1.0247 | 1.3437 | Tranche 1 | SHADY GLEN 1102 A | 0.2215
WEST POINT 1101L1969 | 0.057271 | 0.072289 | 1.099 | 1.0067 | 1.2622 | 1 | 1.2622 | Tranche 1 | WEST POINT 1101 A | 0.20532
MIDDLETOWN 1101352182 | 0.16496 | 0.24745 | 2.0574 | 1.1815 | 1.5 | 1 | 1.5 | Tranche 1 | MIDDLETOWN 1101 A | 0.27272
ORO FINO 11022236 | 0.12837 | 0.26381 | 2.5364 | 2.0551 | 1.5798 | 1 | 2.0551 | Tranche 1 | ORO FINO 1102 A | 0.2608
ALLEGHANY 11021101/2 | 0.95162 | 1.4274 | 0.012992 | 1 | 1.5 | 1 | 1.5 | Tranche 1 | ALLEGHANY 1102 A | 0.25779
CORNING 110164090 | 0.071424 | 0.071762 | 13.6416 | 1.0047 | 1 | 1 | 1.0047 | Tranche 1 | CORNING 1101 A | 0.16052
CLAYTON 2212CB | 0.099971 | 0.14935 | 0.30393 | 1.4701 | 1.4939 | 1 | 1.4939 | Tranche 1 | CLAYTON 2212 A | 0.21174
HIGHLANDS 1102628 | 0.27849 | 0.35306 | 14.1561 | 1.2678 | 1.0532 | 1.029 | 1.2678 | Tranche 1 | HIGHLANDS 1102 A | 0.27849
SAN RAMON 2103MR279 | 0.50508 | 0.6588 | 0.0028409 | 1 | 1.3043 | 1 | 1.3043 | Tranche 1 | SAN RAMON 2103 A | 0.50508
REDBUD 1101CB | 0.20826 | 0.2141 | 3.2441 | 1.0281 | 1 | 1 | 1.0281 | Tranche 1 | REDBUD 1101 A | 0.26797
ANTLER 11011378 | 0.12251 | 0.20118 | 24.2446 | 1.407 | 1.6421 | 1.0117 | 1.6421 | Tranche 1 | ANTLER 1101 A | 0.20727
MIDDLETOWN 1101959140 | 0.17472 | 0.25369 | 3.9356 | 1.0304 | 1.452 | 1 | 1.452 | Tranche 1 | MIDDLETOWN 1101 A | 0.27272
SALT SPRINGS 210297924 | 0.18221 | 0.32394 | 5.2013 | 1.0119 | 1.7779 | 1 | 1.7779 | Tranche 1 | SALT SPRINGS 2102 A | 0.18221
SILVERADO 2105247660 | 0.14187 | 0.20321 | 2.2204 | 1.4324 | 1 | 1 | 1.4324 | Tranche 1 | SILVERADO 2105 A | 0.20614
MARIPOSA 2102527766 | 0.054051 | 0.081077 | 0.056359 | 1.1008 | 1.5 | 1 | 1.5 | Tranche 1 | MARIPOSA 2102 A | 0.219
WEST POINT 11014706 | 0.33877 | 0.34811 | 11.4709 | 1.0276 | 1.0183 | 1 | 1.0276 | Tranche 1 | WEST POINT 1101 A | 0.20532
ANTLER 11011384 | 0.47574 | 0.70031 | 8.8384 | 1.0329 | 1.4721 | 1.0319 | 1.4721 | Tranche 1 | ANTLER 1101 A | 0.20727
SILVERADO 2105764650 | 0.059677 | 0.066764 | 0.19139 | 1.1188 | 1 | 1 | 1.1188 | Tranche 1 | SILVERADO 2105 A | 0.20614
NARROWS 2104CB | 1.5355 | 2.3032 | 0.0028409 | 1 | 1.5 | 1 | 1.5 | Tranche 1 | NARROWS 2104 A | 1.5355
LOS OSITOS 21033010 | 0.18724 | 0.21235 | 29.9421 | 1.056 | 1.1341 | 1.0311 | 1.1341 | Tranche 1 | LOS OSITOS 2103 A | 0.15653
LOS OSITOS 21037062 | 0.069036 | 0.074281 | 12.1456 | 1.076 | 1.0096 | 1 | 1.076 | Tranche 1 | LOS OSITOS 2103 A | 0.15653
MOUNTAIN QUARRIES 21011350 | 0.085098 | 0.11659 | 21.7138 | 1.0469 | 1.3701 | 1.0219 | 1.3701 | Tranche 1 | MOUNTAIN QUARRIES 2101 A | 0.14917
CALISTOGA 1101242919 | 0.093683 | 0.10737 | 1.312 | 1.0077 | 1.146 | 1.1083 | 1.146 | Tranche 1 | CALISTOGA 1101 A | 0.18275
CLAYTON 2212204416 | 0.14843 | 0.22264 | 11.7586 | 1.0586 | 1.5 | 1 | 1.5 | Tranche 1 | CLAYTON 2212 A | 0.21174
CALPINE 1144276-G | 0.7839 | 1.0857 | 0.014756 | 1.385 | 1.0894 | 1 | 1.385 | Tranche 1 | CALPINE 1144 A | 0.15802
MOUNTAIN QUARRIES 21011184 | 0.14479 | 0.19365 | 11.4188 | 1.0223 | 1.3374 | 1 | 1.3374 | Tranche 1 | MOUNTAIN QUARRIES 2101 A | 0.14917
MIDDLETOWN 1101548 | 0.25929 | 0.30931 | 20.3506 | 1.0566 | 1.1929 | 1.0053 | 1.1929 | Tranche 1 | MIDDLETOWN 1101 A | 0.27272
HIGHLANDS 1103726580 | 0.20779 | 0.30368 | 7.8699 | 1.1683 | 1.4615 | 1.0083 | 1.4615 | Tranche 1 | HIGHLANDS 1103 A | 0.15222
MIDDLETOWN 1101128648 | 0.14221 | 0.20301 | 0.61466 | 1 | 1.4276 | 1 | 1.4276 | Tranche 1 | MIDDLETOWN 1101 A | 0.27272
PUEBLO 210378504 | 0.05458 | 0.075182 | 7.505 | 1.3085 | 1.3775 | 1 | 1.3775 | Tranche 1 | PUEBLO 2103 A | 0.15233
UPPER LAKE 110175370 | 0.17175 | 0.20309 | 12.3951 | 1.1213 | 1.1825 | 1.0922 | 1.1825 | Tranche 1 | UPPER LAKE 1101 A | 0.2845
MARIPOSA 2102CB | 0.20303 | 0.27745 | 4.6187 | 1.0494 | 1.3666 | 1.0746 | 1.3666 | Tranche 1 | MARIPOSA 2102 A | 0.219
INDIAN FLAT 11044440 | 0.1854 | 0.55619 | 0.23656 | 1.0122 | 3 | 1.6005 | 3 | Tranche 1 | INDIAN FLAT 1104 A | 0.24613
ORO FINO 11012022 | 0.064559 | 0.069654 | 16.0052 | 1.0019 | 1.0789 | 1 | 1.0789 | Tranche 1 | ORO FINO 1101 A | 0.20253
NOTRE DAME 11042537 | 0.11918 | 0.14479 | 4.8784 | 1.2149 | 1.1407 | 1 | 1.2149 | Tranche 1 | NOTRE DAME 1104 A | 0.25249
SILVERADO 2105658898 | 0.31806 | 0.37677 | 12.5187 | 1.1846 | 1 | 1.0041 | 1.1846 | Tranche 1 | SILVERADO 2105 A | 0.20614
ORO FINO 110276008 | 0.39397 | 0.43915 | 15.8454 | 1.0605 | 1.1147 | 1 | 1.1147 | Tranche 1 | ORO FINO 1102 A | 0.2608
ANTLER 1101CB | 0.21252 | 0.31622 | 1.5904 | 1 | 1.4879 | 1 | 1.4879 | Tranche 1 | ANTLER 1101 A | 0.20727
SILVERADO 2104632 | 0.39154 | 0.43139 | 18.0261 | 1.1018 | 1.0812 | 1.0121 | 1.1018 | Tranche 1 | SILVERADO 2104 A | 0.26565
SILVERADO 2104708 | 0.098483 | 0.10651 | 2.6534 | 1.0795 | 1.0815 | 1 | 1.0815 | Tranche 1 | SILVERADO 2104 A | 0.26565
CALISTOGA 1101886282 | 0.13184 | 0.14297 | 9.4768 | 1.0844 | 1.0638 | 1.0131 | 1.0844 | Tranche 1 | CALISTOGA 1101 A | 0.18275
CRESTA 1101546650 | 0.16085 | 0.48255 | 0.43769 | 1.8951 | 3 | 1.1584 | 3 | Tranche 1 | CRESTA 1101 A | 0.19869
MIDDLETOWN 110148212 | 0.55694 | 0.66099 | 8.6446 | 1.0065 | 1.1868 | 1 | 1.1868 | Tranche 1 | MIDDLETOWN 1101 A | 0.27272
SILVERADO 2104515946 | 0.45505 | 0.48768 | 14.1288 | 1.0637 | 1.0717 | 1.0304 | 1.0717 | Tranche 1 | SILVERADO 2104 A | 0.26565
SILVERADO 2105309298 | 0.15133 | 0.17926 | 0.8654 | 1 | 1.1846 | 1 | 1.1846 | Tranche 1 | SILVERADO 2105 A | 0.20614
NARROWS 2102CB | 0.15294 | 0.32395 | 5.08 | 1.1742 | 2.1181 | 1.028 | 2.1181 | Tranche 1 | NARROWS 2102 A | 0.15294
BIG BEND 1102CB | 0.23795 | 0.2638 | 11.0599 | 1.0995 | 1.1087 | 1.0615 | 1.1087 | Tranche 1 | BIG BEND 1102 A | 0.15299
EL DORADO PH 21026645 | 0.062105 | 0.063358 | 3.1637 | 1.0202 | 1.0198 | 1 | 1.0202 | Tranche 1 | EL DORADO PH 2102 A | 0.20006
HIGHLANDS 1103917328 | 0.1626 | 0.196 | 7.2684 | 1.0551 | 1.2054 | 1.0391 | 1.2054 | Tranche 1 | HIGHLANDS 1103 A | 0.15222
MIDDLETOWN 1101481876 | 0.066964 | 0.10045 | 0.45801 | 1 | 1.5 | 1.1297 | 1.5 | Tranche 1 | MIDDLETOWN 1101 A | 0.27272
SPRING GAP 1702188426 | 0.73406 | 0.73406 | 0.0028409 | 1 | 1 | 1 | 1 | Tranche 1 | SPRING GAP 1702 A | 0.73406
CALISTOGA 1102184814 | 0.11972 | 0.17153 | 0.58504 | 1.4328 | 1 | 1 | 1.4328 | Tranche 1 | CALISTOGA 1102 A | 0.23189
PLACERVILLE 111219712 | 0.20402 | 0.2772 | 12.8614 | 1.069 | 1.3587 | 1 | 1.3587 | Tranche 1 | PLACERVILLE 1112 A | 0.20402
LOS COCHES 1101625902 | 0.21627 | 0.21627 | 2.2947 | 1 | 1 | 1 | 1 | Tranche 1 | LOS COCHES 1101 A | 0.21627
ELECTRA 110136816 | 0.11359 | 0.15782 | 4.9851 | 1.0979 | 1.3894 | 1 | 1.3894 | Tranche 1 | ELECTRA 1101 A | 0.17518
BUCKS CREEK 1101CB | 0.17699 | 0.53097 | 4.8133 | 1.3258 | 3 | 1.1233 | 3 | Tranche 1 | BUCKS CREEK 1101 A | 0.17699
FORESTHILL 110137238 | 0.10359 | 0.1598 | 11.5935 | 1.1195 | 1.5426 | 1 | 1.5426 | Tranche 1 | FORESTHILL 1101 A | 0.20533
CALISTOGA 1102131531 | 0.51533 | 0.55966 | 4.6409 | 1.086 | 1.0425 | 1 | 1.086 | Tranche 1 | CALISTOGA 1102 A | 0.23189
PIKE CITY 11011730 | 0.080223 | 0.17832 | 8.4704 | 1.0852 | 2.2228 | 1 | 2.2228 | Tranche 1 | PIKE CITY 1101 A | 0.1659
CALISTOGA 1101122350 | 0.251 | 0.30244 | 13.4497 | 1.1921 | 1.2049 | 1.0076 | 1.2049 | Tranche 1 | CALISTOGA 1101 A | 0.18275
PINE GROVE 11011021 | 0.14004 | 0.16475 | 4.165 | 1.0263 | 1.1765 | 1 | 1.1765 | Tranche 1 | PINE GROVE 1101 A | 0.14846
APPLE HILL 21026552 | 0.29179 | 0.45244 | 12.1088 | 1.0267 | 1.5506 | 1 | 1.5506 | Tranche 1 | APPLE HILL 2102 A | 0.30349
SILVERADO 2104722 | 0.11944 | 0.12497 | 1.9593 | 1.0463 | 1 | 1 | 1.0463 | Tranche 1 | SILVERADO 2104 A | 0.26565
STANISLAUS 17021888 | 0.10497 | 0.1229 | 18.6923 | 1.0122 | 1.1708 | 1.0066 | 1.1708 | Tranche 1 | STANISLAUS 1702 A | 0.21346
APPLE HILL 21027502 | 0.38596 | 0.42071 | 22.7931 | 1.09 | 1.054 | 1 | 1.09 | Tranche 1 | APPLE HILL 2102 A | 0.30349
EL DORADO PH 2102542272 | 0.29116 | 0.29895 | 0.03263 | 1.0267 | 1 | 1 | 1.0267 | Tranche 1 | EL DORADO PH 2102 A | 0.20006
PINE GROVE 11013170 | 0.094168 | 0.12103 | 39.8103 | 1.0529 | 1.2852 | 1.0025 | 1.2852 | Tranche 1 | PINE GROVE 1101 A | 0.14846
FORESTHILL 110150486 | 0.2958 | 0.30927 | 11.6351 | 1.0029 | 1.0455 | 1 | 1.0455 | Tranche 1 | FORESTHILL 1101 A | 0.20533
HIGHLANDS 1101CB | 0.29271 | 0.43906 | 0.029873 | 1 | 1.5 | 1 | 1.5 | Tranche 1 | HIGHLANDS 1101 A | 0.29271
ORO FINO 1102CB | 0.62229 | 0.63623 | 2.157 | 1.0143 | 1 | 1.0224 | 1.0224 | Tranche 1 | ORO FINO 1102 A | 0.2608
SILVERADO 210478268 | 0.36147 | 0.38751 | 11.335 | 1.072 | 1.0119 | 1 | 1.072 | Tranche 1 | SILVERADO 2104 A | 0.26565
CALISTOGA 11015934 | 0.16677 | 0.18322 | 21.9969 | 1.0986 | 1.0371 | 1.0153 | 1.0986 | Tranche 1 | CALISTOGA 1101 A | 0.18275
SILVERADO 2104324994 | 0.069248 | 0.078152 | 0.34924 | 1.1286 | 1.0064 | 1 | 1.1286 | Tranche 1 | SILVERADO 2104 A | 0.26565
WEIMAR 11012084 | 0.22072 | 0.31598 | 18.5775 | 1.0973 | 1.4316 | 1 | 1.4316 | Tranche 1 | WEIMAR 1101 A | 0.1875
MIDDLETOWN 1101433160 | 0.48298 | 0.49249 | 1.1188 | 1 | 1.0197 | 1 | 1.0197 | Tranche 1 | MIDDLETOWN 1101 A | 0.27272
PARADISE 11061212 | 0.32513 | 0.3269 | 1.4879 | 1.0054 | 1 | 1 | 1.0054 | Tranche 1 | PARADISE 1106 A | 0.32513
PUEBLO 2103678 | 0.17407 | 0.21952 | 32.9798 | 1.1931 | 1.2611 | 1.0096 | 1.2611 | Tranche 1 | PUEBLO 2103 A | 0.15233
OREGON TRAIL 11021584 | 0.15614 | 0.38212 | 13.1714 | 1.0344 | 2.4472 | 1 | 2.4472 | Tranche 1 | OREGON TRAIL 1102 A | 0.15614
SHADY GLEN 1102CB | 0.18981 | 0.27048 | 19.2513 | 1.1118 | 1.425 | 1.0087 | 1.425 | Tranche 1 | SHADY GLEN 1102 A | 0.2215
WEIMAR 11012740 | 0.13267 | 0.19711 | 15.6695 | 1.0743 | 1.4858 | 1 | 1.4858 | Tranche 1 | WEIMAR 1101 A | 0.1875
SHADY GLEN 110151696 | 0.17988 | 0.26077 | 16.1898 | 1.0957 | 1.4497 | 1 | 1.4497 | Tranche 1 | SHADY GLEN 1101 A | 0.2097
SILVERADO 2105167360 | 0.10871 | 0.13014 | 6.9451 | 1.1971 | 1.0236 | 1.0259 | 1.1971 | Tranche 1 | SILVERADO 2105 A | 0.20614
WILDWOOD 110198896 | 0.19322 | 0.27775 | 5.0272 | 1.1509 | 1.4375 | 1 | 1.4375 | Tranche 1 | WILDWOOD 1101 A | 0.17758
MOUNTAIN QUARRIES 21012422 | 0.18742 | 0.27266 | 8.5438 | 1.0868 | 1.4548 | 1 | 1.4548 | Tranche 1 | MOUNTAIN QUARRIES 2101 A | 0.14917
ORO FINO 11022090 | 0.32377 | 0.32651 | 14.6672 | 1.0085 | 1 | 1 | 1.0085 | Tranche 1 | ORO FINO 1102 A | 0.2608
FORESTHILL 11011802 | 0.21843 | 0.2549 | 22.0829 | 1.0299 | 1.1669 | 1.0055 | 1.1669 | Tranche 1 | FORESTHILL 1101 A | 0.20533
MIDDLETOWN 11011314 | 0.34657 | 0.46038 | 0.92536 | 1 | 1.3284 | 1 | 1.3284 | Tranche 1 | MIDDLETOWN 1101 A | 0.27272
BONNIE NOOK 1101CB | 0.31189 | 0.56516 | 14.4014 | 1.0323 | 1.8121 | 1 | 1.8121 | Tranche 1 | BONNIE NOOK 1101 A | 0.31189
MIDDLETOWN 11014646 | 0.20345 | 0.26392 | 23.5711 | 1.0482 | 1.2972 | 1.0107 | 1.2972 | Tranche 1 | MIDDLETOWN 1101 A | 0.27272
SILVERADO 2104646776 | 0.54305 | 0.72717 | 3.5033 | 1.0038 | 1.3391 | 1 | 1.3391 | Tranche 1 | SILVERADO 2104 A | 0.26565
STANISLAUS 17026028 | 0.35399 | 0.36668 | 8.3079 | 1.0105 | 1.0358 | 1 | 1.0358 | Tranche 1 | STANISLAUS 1702 A | 0.21346
STANISLAUS 1702CB | 0.22854 | 0.31892 | 8.0971 | 1.2735 | 1.3955 | 1.0175 | 1.3955 | Tranche 1 | STANISLAUS 1702 A | 0.21346
STANISLAUS 170237278 | 0.32214 | 0.32346 | 6.7927 | 1.0041 | 1 | 1 | 1.0041 | Tranche 1 | STANISLAUS 1702 A | 0.21346
PINE GROVE 11013166 | 0.19005 | 0.28469 | 12.1496 | 1.0447 | 1.498 | 1 | 1.498 | Tranche 1 | PINE GROVE 1101 A | 0.14846
PINE GROVE 11023172 | 0.27466 | 0.31212 | 9.4624 | 1.0074 | 1.1364 | 1 | 1.1364 | Tranche 1 | PINE GROVE 1102 B | 0.22593
SHADY GLEN 1101585766 | 0.066299 | 0.09784 | 0.7888 | 1.0853 | 1.4757 | 1 | 1.4757 | Tranche 1 | SHADY GLEN 1101 A | 0.2097
ANTLER 11011612 | 0.19371 | 0.28915 | 7.6635 | 1.2532 | 1.4927 | 1 | 1.4927 | Tranche 1 | ANTLER 1101 A | 0.20727
CALPINE 1144CB | 0.16472 | 0.23503 | 26.6811 | 1.4268 | 1.1476 | 1.0053 | 1.4268 | Tranche 1 | CALPINE 1144 A | 0.15802
UPPER LAKE 1101412 | 0.22833 | 0.24345 | 9.501 | 1.0487 | 1.0662 | 1.0426 | 1.0662 | Tranche 1 | UPPER LAKE 1101 A | 0.2845
ELECTRA 1101L1697 | 0.25136 | 0.30249 | 5.7665 | 1.1554 | 1.2034 | 1 | 1.2034 | Tranche 1 | ELECTRA 1101 A | 0.17518
PLACERVILLE 210611132 | 0.27239 | 0.36473 | 42.674 | 1.0942 | 1.339 | 1.006 | 1.339 | Tranche 1 | PLACERVILLE 2106 A | 0.20595
BRUNSWICK 11021010 | 0.1689 | 0.22016 | 44.2461 | 1.0891 | 1.3035 | 1.0099 | 1.3035 | Tranche 1 | BRUNSWICK 1102 A | 0.1689
TIGER CREEK 0201320746 | 0.19628 | 0.28971 | 3.5158 | 1.2038 | 1.476 | 1.0409 | 1.476 | Tranche 1 | TIGER CREEK 0201 A | 0.21809
EL DORADO PH 210219562 | 0.23004 | 0.23155 | 0.0071551 | 1.0066 | 1 | 1 | 1.0066 | Tranche 1 | EL DORADO PH 2102 A | 0.20006
ELECTRA 11017104 | 0.35393 | 0.37845 | 12.074 | 1.0371 | 1.0693 | 1 | 1.0693 | Tranche 1 | ELECTRA 1101 A | 0.17518
ORO FINO 1101CB | 0.3013 | 0.31062 | 22.3576 | 1.0018 | 1.0309 | 1 | 1.0309 | Tranche 1 | ORO FINO 1101 A | 0.20253
SILVERADO 2105990552 | 0.19559 | 0.2764 | 0.61239 | 1 | 1.4132 | 1 | 1.4132 | Tranche 1 | SILVERADO 2105 A | 0.20614
WEST POINT 11021341 | 0.23865 | 0.35798 | 9.7907 | 1.0253 | 1.5 | 1.0088 | 1.5 | Tranche 1 | WEST POINT 1102 A | 0.18911
DRUM 1101CB | 0.23484 | 0.37084 | 2.1646 | 1.5791 | 1.4293 | 1.0282 | 1.5791 | Tranche 1 | DRUM 1101 A | 0.23484
MOUNTAIN QUARRIES 210192474 | 0.22179 | 0.27171 | 15.3487 | 1.022 | 1.225 | 1.0181 | 1.225 | Tranche 1 | MOUNTAIN QUARRIES 2101 A | 0.14917
ALLEGHANY 1102CB | 0.25727 | 0.47273 | 17.3621 | 1.49 | 1.8375 | 1.0197 | 1.8375 | Tranche 1 | ALLEGHANY 1102 A | 0.25779
PINE GROVE 11026080 | 0.28389 | 0.31068 | 34.3467 | 1.0309 | 1.0944 | 1 | 1.0944 | Tranche 1 | PINE GROVE 1102 B | 0.22593
BRUNSWICK 11062104 | 0.11109 | 0.12053 | 9.6082 | 1.0166 | 1.085 | 1.0087 | 1.085 | Tranche 1 | BRUNSWICK 1106 A | 0.14844
WEST POINT 110112256 | 0.067558 | 0.15345 | 6.4963 | 1.0871 | 2.2714 | 1 | 2.2714 | Tranche 1 | WEST POINT 1101 A | 0.20532
EL DORADO PH 210219542 | 0.25795 | 0.27102 | 9.4781 | 1.0507 | 1 | 1 | 1.0507 | Tranche 1 | EL DORADO PH 2102 A | 0.20006
APPLE HILL 2102CB | 1.4883 | 1.4883 | 0.063133 | 1 | 1 | 1 | 1 | Tranche 1 | APPLE HILL 2102 A | 0.30349
MIDDLETOWN 1101614 | 0.24189 | 0.27501 | 1.3822 | 1.032 | 1.137 | 1 | 1.137 | Tranche 1 | MIDDLETOWN 1101 A | 0.27272
SILVERADO 2105131568 | 0.0758 | 0.094807 | 3.536 | 1.2508 | 1.0516 | 1.0145 | 1.2508 | Tranche 1 | SILVERADO 2105 A | 0.20614
CALPINE 1144960 | 0.10108 | 0.17208 | 4.0614 | 1.7024 | 1 | 1.035 | 1.7024 | Tranche 1 | CALPINE 1144 A | 0.15802
MIDDLETOWN 1101439572 | 0.15762 | 0.23643 | 1.1684 | 1 | 1.5 | 1 | 1.5 | Tranche 1 | MIDDLETOWN 1101 A | 0.27272
LOS OSITOS 21037014 | 0.16027 | 0.18623 | 38.1688 | 1.0832 | 1.162 | 1.0713 | 1.162 | Tranche 1 | LOS OSITOS 2103 A | 0.15653
STANISLAUS 17011331 | 0.22868 | 0.24352 | 4.389 | 1.013 | 1.0649 | 1 | 1.0649 | Tranche 1 | STANISLAUS 1701 A | 0.17279
CORNING 110185152 | 0.2132 | 0.21817 | 23.0709 | 1.0233 | 1 | 1 | 1.0233 | Tranche 1 | CORNING 1101 A | 0.16052
MARIPOSA REMOTE 0001CB | 0.69741 | 1.0461 | 0.0094697 | 1 | 1.5 | 1 | 1.5 | Tranche 1 | MARIPOSA REMOTE 0001 A | 0.69741
ANTLER 11011376 | 0.17776 | 0.25416 | 9.175 | 1.4298 | 1.2863 | 1 | 1.4298 | Tranche 1 | ANTLER 1101 A | 0.20727
APPLE HILL 1104814656 | 0.064709 | 0.13329 | 0.017476 | 2.0599 | 1.5 | 1 | 2.0599 | Tranche 1 | APPLE HILL 1104 A | 0.24735
PIKE CITY 1101CB | 0.1722 | 0.33178 | 19.6688 | 1.1678 | 1.9268 | 1 | 1.9268 | Tranche 1 | PIKE CITY 1101 A | 0.1659
SILVERADO 2105337226 | 0.24251 | 0.24251 | 0.30776 | 1 | 1 | 1 | 1 | Tranche 1 | SILVERADO 2105 A | 0.20614
STANISLAUS 170179826 | 0.1305 | 0.19169 | 10.1441 | 1.1464 | 1.4689 | 1.0146 | 1.4689 | Tranche 1 | STANISLAUS 1701 A | 0.17279
WEIMAR 11012058 | 0.21553 | 0.30079 | 24.4633 | 1.0858 | 1.3956 | 1.0025 | 1.3956 | Tranche 1 | WEIMAR 1101 A | 0.1875
ANTLER 11011520 | 0.21269 | 0.31903 | 8.9409 | 1.3138 | 1.5 | 1 | 1.5 | Tranche 1 | ANTLER 1101 A | 0.20727
TIGER CREEK 0201CB | 0.52304 | 0.78456 | 0.25138 | 1.0868 | 1.5 | 1 | 1.5 | Tranche 1 | TIGER CREEK 0201 A | 0.21809
BIG BEND 1102884340 | 0.10571 | 0.21339 | 19.8727 | 1.029 | 2.0187 | 1.0151 | 2.0187 | Tranche 1 | BIG BEND 1102 A | 0.15299
JAMESON 110265516 | 0.18485 | 0.25617 | 7.4973 | 1.0899 | 1.3858 | 1 | 1.3858 | Tranche 1 | JAMESON 1102 A | 0.18485
PINE GROVE 1102CB | 0.21637 | 0.27339 | 10.8157 | 1.0451 | 1.2635 | 1 | 1.2635 | Tranche 1 | PINE GROVE 1102 B | 0.22593
MIDDLETOWN 1101829164 | 0.14853 | 0.21876 | 1.5477 | 1.0707 | 1.4728 | 1 | 1.4728 | Tranche 1 | MIDDLETOWN 1101 A | 0.27272
NOTRE DAME 1104176446 | 0.19826 | 0.22423 | 8.505 | 1.131 | 1.0405 | 1 | 1.131 | Tranche 1 | NOTRE DAME 1104 A | 0.25249
PLACERVILLE 21069712 | 0.1597 | 0.23202 | 24.6861 | 1.0618 | 1.4529 | 1.01 | 1.4529 | Tranche 1 | PLACERVILLE 2106 A | 0.20595
PUEBLO 2103355186 | 0.16146 | 0.19571 | 1.8362 | 1.2121 | 1.152 | 1.0631 | 1.2121 | Tranche 1 | PUEBLO 2103 A | 0.15233
PLACERVILLE 2106935216 | 0.14715 | 0.36056 | 20.7464 | 1.104 | 2.4503 | 1.0085 | 2.4503 | Tranche 1 | PLACERVILLE 2106 A | 0.20595
SHADY GLEN 110132726 | 0.26119 | 0.38506 | 12.1321 | 1.1164 | 1.4743 | 1.0117 | 1.4743 | Tranche 1 | SHADY GLEN 1101 A | 0.2097
INDIAN FLAT 1104CB | 0.24703 | 0.59578 | 15.8408 | 1.1661 | 2.4117 | 1.0569 | 2.4117 | Tranche 1 | INDIAN FLAT 1104 A | 0.24613
MARIPOSA 2101752630 | 0.14752 | 0.20397 | 18.7527 | 1.0814 | 1.3826 | 1 | 1.3826 | Tranche 1 | MARIPOSA 2101 A | 0.19174
ORO FINO 110265932 | 0.32167 | 0.33261 | 11.0429 | 1.034 | 1 | 1 | 1.034 | Tranche 1 | ORO FINO 1102 A | 0.2608
WILDWOOD 1101384582 | 0.17166 | 0.2529 | 4.5387 | 1.3589 | 1.4733 | 1 | 1.4733 | Tranche 1 | WILDWOOD 1101 A | 0.17758
CALISTOGA 1101843761 | 0.079771 | 0.10248 | 3.6144 | 1.0331 | 1.2846 | 1 | 1.2846 | Tranche 1 | CALISTOGA 1101 A | 0.18275