## DFA Table
Note: Table information as of 1/24/23
Technology | Division | Circuit | Tier 2 | Tier 3
DFA | CENTRAL COAST | BIG BASIN 1101 |  | X
DFA | CENTRAL COAST | BIG BASIN 1102 | X | X
DFA | CENTRAL COAST | CAMP EVERS 2106 | X | X
DFA | CENTRAL COAST | ROB ROY 2104 | X | X
DFA | DIABLO | MORAGA 1101 | X | X
DFA | DIABLO | MORAGA 1102 | X | X
DFA | DIABLO | SOBRANTE 1101 | X
DFA | DIABLO | SOBRANTE 1102 | X | X
DFA | HUMBOLDT | FORT BRAGG A 1101 | X
DFA | HUMBOLDT | FORT BRAGG A 1102 | X
DFA | HUMBOLDT | FORT BRAGG A 1104 | X
DFA | HUMBOLDT | KONOCTI 1102 | X | X
DFA | HUMBOLDT | LAYTONVILLE 1102 | X | X
DFA | HUMBOLDT | MIDDLETOWN 1101 | X | X
DFA | HUMBOLDT | MIDDLETOWN 1103 | X | X
DFA | HUMBOLDT | PHILO 1101 | X
DFA | HUMBOLDT | PHILO 1102 | X
DFA | HUMBOLDT | WILLITS 1103 | X | X
DFA | HUMBOLDT | WILLITS 1104 | X | X
DFA | NORTH BAY | CALISTOGA 1101 | X | X
DFA | NORTH BAY | CALISTOGA 1102 | X | X
DFA | NORTH BAY | PUEBLO 1104 | X
DFA | NORTH BAY | PUEBLO 2102 | X | X
DFA | NORTH BAY | PUEBLO 2103 | X | X
DFA | NORTH BAY | SAN RAFAEL 1107 | X | X
DFA | NORTH BAY | SAN RAFAEL 1108 | X | X
DFA | NORTH BAY | SILVERADO 2102 | X | X
DFA | NORTH BAY | SILVERADO 2103 | X | X
DFA | NORTH BAY | SILVERADO 2104 | X | X
DFA | NORTH BAY | SILVERADO 2105 | X | X
DFA | NORTH VALLEY | BANGOR 1101 | X | X
DFA | NORTH VALLEY | CEDAR CREEK 1101 | X | X
DFA | NORTH VALLEY | CLARK ROAD 1102 | X | X
DFA | NORTH VALLEY | DESCHUTES 1101 | X | X
DFA | NORTH VALLEY | RED BLUFF 1103 | X
DFA | NORTH VALLEY | VOLTA 1101 | X | X
DFA | NORTH VALLEY | VOLTA 1102 | X | X
DFA | NORTH VALLEY | WYANDOTTE 1103 | X | X
DFA | NORTH VALLEY | WYANDOTTE 1105 | X | X
DFA | NORTH VALLEY | WYANDOTTE 1107 | X | X
DFA | SIERRA | APPLE HILL 1103 | X | X
DFA | SIERRA | APPLE HILL 1104 | X | X
DFA | SIERRA | APPLE HILL 2102 | X | X
DFA | SIERRA | BRUNSWICK 1102 | X | X
DFA | SIERRA | BRUNSWICK 1103 | X | X
DFA | SIERRA | BRUNSWICK 1104 | X | X
DFA | SIERRA | BRUNSWICK 1105 | X | X
DFA | SIERRA | BRUNSWICK 1106 | X | X
DFA | SIERRA | COLUMBIA HILL 1101 | X | X
DFA | SIERRA | DIAMOND SPRINGS 1103 | X | X
DFA | SIERRA | DIAMOND SPRINGS 1105 | X | X
DFA | SIERRA | DIAMOND SPRINGS 1107 | X | X
DFA | SIERRA | PLACERVILLE 2106 | X | X
DFA | SIERRA | SHINGLE SPRINGS 1103 | X | X
DFA | SIERRA | SHINGLE SPRINGS 1104 | X | X
DFA | SIERRA | SHINGLE SPRINGS 2105 | X | X
DFA | SIERRA | SHINGLE SPRINGS 2108 | X | X
DFA | SIERRA | SHINGLE SPRINGS 2109 | X | X
DFA | SIERRA | SHINGLE SPRINGS 2110 | X | X
DFA | SIERRA | WEIMAR 1101 | X
DFA | SIERRA | WEIMAR 1102 | X
DFA | SONOMA | FORT ROSS 1121 | X | X
DFA | SONOMA | SANTA ROSA A 1104 | X | X
DFA | SONOMA | SANTA ROSA A 1107 |  | X
DFA | SONOMA | SANTA ROSA A 1111 | X
DFA | YOSEMITE | COARSEGOLD 2104 | X | X
DFA | YOSEMITE | CURTIS 1701 | X
DFA | YOSEMITE | CURTIS 1702 | X | X
DFA | YOSEMITE | CURTIS 1703 | X | X
DFA | YOSEMITE | CURTIS 1704 | X | X
DFA | YOSEMITE | CURTIS 1705 | X | X
DFA | YOSEMITE | MARIPOSA 2101 | X | X
DFA | YOSEMITE | MARIPOSA 2102 | X | X
DFA | YOSEMITE | OAKHURST 1103 | X | X
Count of Circuits | 74

## Line Sensor Table
Note: Table information as of 12/5/22
Technology | Division | Circuit | Tier 2 | Tier 3 | Number of Locations
Line Sensors | NORTH BAY | ALTO 1125 | X | X | 6
Line Sensors | NORTH BAY | CALISTOGA 1101 | X | X | 5
Line Sensors | NORTH BAY | CALISTOGA 1102 | X | X | 7
Line Sensors | NORTH BAY | MONTICELLO 1101 | X |  | 6
Line Sensors | NORTH BAY | OLEMA 1101 | X | X | 9
Line Sensors | NORTH BAY | PUEBLO 1104 | X |  | 4
Line Sensors | NORTH BAY | PUEBLO 1105 | X |  | 5
Line Sensors | NORTH BAY | PUEBLO 2102 | X | X | 7
Line Sensors | NORTH BAY | PUEBLO 2103 | X | X | 9
Line Sensors | NORTH BAY | SILVERADO 2102 | X | X | 8
Line Sensors | NORTH BAY | SILVERADO 2104 | X | X | 7
Line Sensors | NORTH BAY | SILVERADO 2105 | X | X | 4
Line Sensors | SIERRA | APPLE HILL 1103 | X | X | 4
Line Sensors | SIERRA | APPLE HILL 1104 | X | X | 6
Line Sensors | SIERRA | APPLE HILL 2102 | X | X | 4
Line Sensors | NORTH VALLEY | BIG MEADOWS 2101 | X |  | 2
Line Sensors | SIERRA | BONNIE NOOK 1102 |  | X | 3
Line Sensors | SIERRA | BRUNSWICK 1102 | X | X | 3
Line Sensors | SIERRA | BRUNSWICK 1103 | X | X | 5
Line Sensors | SIERRA | BRUNSWICK 1104 | X | X | 4
Line Sensors | SIERRA | BRUNSWICK 1105 | X | X | 4
Line Sensors | SIERRA | BRUNSWICK 1106 | X | X | 6
Line Sensors | NORTH VALLEY | CLARK ROAD 1102 | X | X | 2
Line Sensors | SIERRA | COLUMBIA HILL 1101 | X | X | 3
Line Sensors | SONOMA | DUNBAR 1101 | X | X | 3
Line Sensors | SONOMA | DUNBAR 1102 | X | X | 6
Line Sensors | SIERRA | EL DORADO PH 2102 |  | X | 4
Line Sensors | SONOMA | FITCH MOUNTAIN 1113 | X | X | 3
Line Sensors | SIERRA | FORESTHILL 1101 | X | X | 1
Line Sensors | SONOMA | FULTON 1107 | X | X | 4
Line Sensors | NORTH VALLEY | GANSNER 1101 | X | X | 2
Line Sensors | HUMBOLDT | GARBERVILLE 1101 | X |  | 3
Line Sensors | HUMBOLDT | GARBERVILLE 1102 | X |  | 3
Line Sensors | NORTH VALLEY | HAMILTON BRANCH 1101 | X |  | 2
Line Sensors | HUMBOLDT | HIGHLANDS 1103 | X |  | 4
Line Sensors | HUMBOLDT | KONOCTI 1102 | X | X | 4
Line Sensors | HUMBOLDT | MIDDLETOWN 1101 | X | X | 3
Line Sensors | SONOMA | MIRABEL 1101 | X | X | 3
Line Sensors | SONOMA | MOLINO 1102 | X | X | 5
Line Sensors | SONOMA | MONTE RIO 1111 | X | X | 3
Line Sensors | SONOMA | MONTE RIO 1112 |  | X | 3
Line Sensors | SONOMA | MONTE RIO 1113 |  | X | 5
Line Sensors | YOSEMITE | OAKHURST 1101 | X | X | 5
Line Sensors | YOSEMITE | OAKHURST 1103 | X | X | 4
Line Sensors | NORTH VALLEY | OREGON TRAIL 1103 | X |  | 5
Line Sensors | NORTH VALLEY | PARADISE 1104 | X | X | 3
Line Sensors | NORTH VALLEY | PARADISE 1105 |  | X | 6
Line Sensors | SONOMA | PETALUMA C 1108 | X |  | 6
Line Sensors | HUMBOLDT | PHILO 1101 | X |  | 3
Line Sensors | SIERRA | PLACERVILLE 2106 | X | X | 7
Line Sensors | HUMBOLDT | REDBUD 1101 | X | X | 3
Line Sensors | SONOMA | RINCON 1103 | X | X | 4
Line Sensors | NORTH VALLEY | SYCAMORE CREEK 1111 | X | X | 5
Line Sensors | HUMBOLDT | UPPER LAKE 1101 | X | X | 3
Line Sensors | NORTH VALLEY | VOLTA 1102 | X | X | 3
Line Sensors | HUMBOLDT | WILLITS 1103 | X | X | 4
Line Sensors | HUMBOLDT | WILLITS 1104 | X | X | 5
Line Sensors | NORTH BAY | WOODACRE 1101 | X | X | 5
Line Sensors | NORTH VALLEY | WYANDOTTE 1103 | X | X | 5
Line Sensors | LOS PADRES | ATASCADERO 1103 | X | X | 5
Line Sensors | YOSEMITE | BEAR VALLEY 2101 | X |  | 4
Line Sensors | YOSEMITE | BEAR VALLEY 2105 | X | X | 5
Line Sensors | SIERRA | BELL 1107 | X |  | 4
Line Sensors | SIERRA | BELL 1108 | X |  | 5
Line Sensors | CENTRAL COAST | BIG BASIN 1101 |  | X | 4
Line Sensors | CENTRAL COAST | BIG BASIN 1102 | X | X | 3
Line Sensors | SIERRA | BRUNSWICK 1110 | X |  | 4
Line Sensors | STOCKTON | CALAVERAS CEMENT 1101 | X | X | 6
Line Sensors | CENTRAL COAST | CAMP EVERS 2103 | X | X | 4
Line Sensors | CENTRAL COAST | CAMP EVERS 2105 | X | X | 5
Line Sensors | CENTRAL COAST | CAMP EVERS 2106 | X | X | 8
Line Sensors | SIERRA | CLARKSVILLE 2103 | X | X | 4
Line Sensors | SIERRA | CLARKSVILLE 2104 | X | X | 4
Line Sensors | YOSEMITE | COARSEGOLD 2102 | X | X | 4
Line Sensors | YOSEMITE | COARSEGOLD 2103 | X |  | 4
Line Sensors | YOSEMITE | COARSEGOLD 2104 | X | X | 5
Line Sensors | STOCKTON | CORRAL 1101 | X |  | 4
Line Sensors | YOSEMITE | CURTIS 1702 | X | X | 5
Line Sensors | YOSEMITE | CURTIS 1703 | X | X | 5
Line Sensors | YOSEMITE | CURTIS 1704 | X | X | 4
Line Sensors | YOSEMITE | CURTIS 1705 | X | X | 5
Line Sensors | CENTRAL COAST | DEL MONTE 2104 | X |  | 5
Line Sensors | SIERRA | DIAMOND SPRINGS 1103 | X | X | 5
Line Sensors | SIERRA | DIAMOND SPRINGS 1105 | X | X | 4
Line Sensors | SIERRA | DIAMOND SPRINGS 1106 | X |  | 4
Line Sensors | STOCKTON | ELECTRA 1101 | X |  | 5
Line Sensors | STOCKTON | FROGTOWN 1701 | X | X | 4
Line Sensors | STOCKTON | FROGTOWN 1702 | X |  | 6
Line Sensors | SIERRA | GRASS VALLEY 1103 | X |  | 4
Line Sensors | CENTRAL COAST | GREEN VALLEY 2101 | X | X | 5
Line Sensors | SIERRA | HALSEY 1102 | X |  | 4
Line Sensors | SIERRA | HIGGINS 1103 | X |  | 4
Line Sensors | SIERRA | HIGGINS 1104 | X |  | 4
Line Sensors | SIERRA | HIGGINS 1109 | X |  | 4
Line Sensors | CENTRAL COAST | HOLLISTER 2105 | X |  | 4
Line Sensors | CENTRAL COAST | LAURELES 1111 | X | X | 3
Line Sensors | DE ANZA | LOS GATOS 1106 | X | X | 6
Line Sensors | DE ANZA | LOS GATOS 1107 | X | X | 5
Line Sensors | YOSEMITE | MARIPOSA 2101 | X | X | 3
Line Sensors | YOSEMITE | MARIPOSA 2102 | X | X | 4
Line Sensors | STOCKTON | MARTELL 1101 | X |  | 4
Line Sensors | YOSEMITE | MERCED FALLS 1102 | X |  | 5
Line Sensors | SIERRA | MOUNTAIN QUARRIES 2101 | X | X | 6
Line Sensors | SIERRA | NARROWS 2102 | X |  | 4
Line Sensors | SIERRA | NARROWS 2105 | X |  | 5
Line Sensors | LOS PADRES | OCEANO 1104 | X | X | 7
Line Sensors | STOCKTON | OLETA 1101 | X | X | 5
Line Sensors | STOCKTON | OLETA 1102 | X | X | 4
Line Sensors | CENTRAL COAST | PAUL SWEET 2106 | X | X | 3
Line Sensors | STOCKTON | PINE GROVE 1101 | X |  | 4
Line Sensors | SIERRA | PLACERVILLE 1110 | X | X | 2
Line Sensors | CENTRAL COAST | ROB ROY 2104 | X | X | 5
Line Sensors | CENTRAL COAST | ROB ROY 2105 | X | X | 5
Line Sensors | DE ANZA | SARATOGA 1107 | X | X | 6
Line Sensors | SIERRA | SHADY GLEN 1101 | X | X | 3
Line Sensors | SIERRA | SHADY GLEN 1102 | X | X | 3
Line Sensors | SIERRA | SHINGLE SPRINGS 1103 | X | X | 3
Line Sensors | SIERRA | SHINGLE SPRINGS 2105 | X | X | 4
Line Sensors | SIERRA | SHINGLE SPRINGS 2108 | X | X | 7
Line Sensors | SIERRA | SHINGLE SPRINGS 2109 | X | X | 4
Line Sensors | SIERRA | SHINGLE SPRINGS 2110 | X | X | 3
Line Sensors | STOCKTON | STANISLAUS 1702 | X | X | 5
Line Sensors | DE ANZA | STELLING 1110 | X | X | 5
Line Sensors | LOS PADRES | TEMPLETON 2110 | X | X | 4
Line Sensors | LOS PADRES | TEMPLETON 2113 | X | X | 7
Line Sensors | SIERRA | WEIMAR 1101 | X |  | 4
Line Sensors | LOS PADRES | ATASCADERO 1101 | X | X | 4
Line Sensors | HUMBOLDT | BIG RIVER 1101 | X |  | 5
Line Sensors | LOS PADRES | BUELLTON 1101 | X | X | 4
Line Sensors | LOS PADRES | BUELLTON 1102 | X |  | 3
Line Sensors | LOS PADRES | CABRILLO 1103 | X |  | 4
Line Sensors | LOS PADRES | CABRILLO 1104 | X |  | 4
Line Sensors | HUMBOLDT | CALPELLA 1101 | X | X | 5
Line Sensors | NORTH VALLEY | CEDAR CREEK 1101 | X | X | 4
Line Sensors | LOS PADRES | CHOLAME 2102 | X |  | 5
Line Sensors | STOCKTON | CLAY 1101 | X |  | 3
Line Sensors | STOCKTON | CLAY 1103 | X |  | 5
Line Sensors | NORTH VALLEY | CORNING 1101 | X |  | 7
Line Sensors | NORTH VALLEY | CORNING 1102 | X |  | 5
Line Sensors | STOCKTON | CORRAL 1102 | X |  | 5
Line Sensors | STOCKTON | CORRAL 1103 | X |  | 6
Line Sensors | NORTH VALLEY | COTTONWOOD 1101 | X |  | 5
Line Sensors | NORTH VALLEY | COTTONWOOD 1102 | X |  | 5
Line Sensors | NORTH VALLEY | COTTONWOOD 1103 | X |  | 5
Line Sensors | NORTH VALLEY | DESCHUTES 1101 | X | X | 5
Line Sensors | NORTH VALLEY | DESCHUTES 1104 | X |  | 7
Line Sensors | HUMBOLDT | EEL RIVER 1102 | X |  | 5
Line Sensors | NORTH VALLEY | ELK CREEK 1101 | X |  | 4
Line Sensors | NORTH VALLEY | GIRVAN 1101 | X | X | 4
Line Sensors | NORTH VALLEY | GIRVAN 1102 | X | X | 5
Line Sensors | HUMBOLDT | GUALALA 1111 | X |  | 6
Line Sensors | HUMBOLDT | HOOPA 1101 | X | X | 4
Line Sensors | NORTH VALLEY | JESSUP 1101 | X | X | 5
Line Sensors | NORTH VALLEY | JESSUP 1102 | X |  | 6
Line Sensors | NORTH VALLEY | KESWICK 1101 | X | X | 5
Line Sensors | NORTH VALLEY | MC ARTHUR 1101 | X |  | 5
Line Sensors | LOS PADRES | MESA 1101 | X | X | 4
Line Sensors | STOCKTON | NORTH BRANCH 1101 | X |  | 7
Line Sensors | LOS PADRES | OCEANO 1102 | X |  | 6
Line Sensors | NORTH VALLEY | OREGON TRAIL 1102 | X |  | 3
Line Sensors | NORTH VALLEY | OREGON TRAIL 1104 | X |  | 5
Line Sensors | NORTH VALLEY | ORO FINO 1102 | X | X | 4
Line Sensors | LOS PADRES | PALMER 1101 | X |  | 3
Line Sensors | NORTH VALLEY | PANORAMA 1102 | X |  | 5
Line Sensors | LOS PADRES | PASO ROBLES 1104 | X |  | 5
Line Sensors | STOCKTON | PEORIA 1704 | X |  | 5
Line Sensors | LOS PADRES | PERRY 1101 | X | X | 4
Line Sensors | HUMBOLDT | PHILO 1102 | X |  | 4
Line Sensors | STOCKTON | PINE GROVE 1102 | X | X | 9
Line Sensors | HUMBOLDT | POTTER VALLEY PH 1105 | X | X | 5
Line Sensors | NORTH VALLEY | RED BLUFF 1101 | X |  | 5
Line Sensors | NORTH VALLEY | RED BLUFF 1103 | X |  | 3
Line Sensors | NORTH VALLEY | RED BLUFF 1104 | X |  | 5
Line Sensors | LOS PADRES | SAN LUIS OBISPO 1104 | X | X | 3
Line Sensors | LOS PADRES | SAN LUIS OBISPO 1107 | X | X | 4
Line Sensors | LOS PADRES | SAN MIGUEL 1104 | X |  | 6
Line Sensors | LOS PADRES | SAN MIGUEL 1106 | X |  | 3
Line Sensors | LOS PADRES | SANTA MARIA 1108 | X | X | 3
Line Sensors | LOS PADRES | SANTA YNEZ 1101 | X | X | 3
Line Sensors | LOS PADRES | SISQUOC 1102 | X | X | 6
Line Sensors | NORTH VALLEY | STILLWATER 1102 | X |  | 5
Line Sensors | LOS PADRES | TEMPLETON 2111 | X | X | 5
Line Sensors | NORTH VALLEY | TYLER 1105 | X |  | 3
Line Sensors | HUMBOLDT | UKIAH 1114 | X |  | 5
Line Sensors | STOCKTON | WEST POINT 1102 | X | X | 5
Line Sensors | NORTH VALLEY | WYANDOTTE 1107 | X | X | 6
Line Sensors | NORTH VALLEY | WYANDOTTE 1109 | X |  | 5
Line Sensors | NORTH VALLEY | WYANDOTTE 1110 | X |  | 5
Line Sensors | LOS PADRES | ZACA 1102 | X | X | 6
Count of Circuits | 189 |  |  | Count of Installations | 861

## EFD Table
Note: Table information as of 12/5/22
Technology | Division | Circuit | Tier 2 | Tier 3 | Number of Locations
EFD | NORTH BAY | SILVERADO 2104 | X | X | 6
EFD | HUMBOLDT | MIDDLETOWN 1101 | X | X | 16
EFD | NORTH BAY | CALISTOGA 1101 | X | X | 19
EFD | NORTH VALLEY | WYANDOTTE 1103 | X | X | 9
|  |  |  | Count of Installations | 50