## Vegetation Caused Outages
Outage Counts 2015-2022 | Year
Vegetation Caused Outage Mode of Failure | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | Total Result
Contact with High Voltage, 3rd party |  |  |  |  | 1 | 1 |  |  | 2
Customer Equipment |  |  | 1 | [5 empty] | 1
CWSP - Vegetation Removal |  |  |  |  | 2 |  |  |  | 2
Fire, Forest/Grass |  | 1 | 3 |  |  | 1 | 2 |  | 7
Fire, house or bldg. | [5 empty] | 1 |  |  | 1
Fire, pole |  |  | 1 | [5 empty] | 1
Ice or snow | [6 empty] | 1 |  | 1
-NA- |  | 12 | 162 | 92 | 9 | 7 | 57 | 97 | 436
NULL | 37 | 21 | 67 | 17 | 47 | 28 | 65 | 18 | 300
Other | 2 | [6 empty] | 1 | 3
Other ground vegetation | 26 | 27 | 39 | 31 | 25 | 20 | 39 | 64 | 271
Overhead | 1 | 4 | 2 | 4 |  | 1 | 4 | 5 | 21
Patrol - found nothing |  |  | 1 |  |  |  |  | 4 | 5
Patrol - not conducted |  |  |  |  | 1 |  | 2 | 5 | 8
Planned - WSIP/System Hardening | [7 empty] | 3 | 3
Planned, capital | [7 empty] | 1 | 1
Planned, customer | [7 empty] | 1 | 1
Planned, maintenance | [7 empty] | 4 | 4
Public Safety Power Shut-off | [5 empty] | 1 |  |  | 1
Substation |  |  | 1 | [5 empty] | 1
Tree - bark fell into line | 140 | 154 | 224 | 131 | 229 | 122 | 159 | 128 | 1287
Tree - branch fell on line | 1366 | 1277 | 2277 | 1112 | 2235 | 1316 | 1960 | 1100 | 12643
Tree - cutting, 3rd party | 126 | 112 | 111 | 113 | 106 | 91 | 74 | 107 | 840
Tree - cutting, PGE contractor | 19 | 30 | 43 | 38 | 50 | 56 | 72 | 57 | 365
Tree - fell into line | 1782 | 2252 | 4551 | 1403 | 3829 | 1642 | 3165 | 1469 | 20093
Tree - grew into line | 187 | 260 | 420 | 239 | 467 | 311 | 369 | 302 | 2555
Tree - palm frond fell into line | 115 | 194 | 217 | 128 | 210 | 65 | 164 | 112 | 1205
(empty) | [5 empty] | 1 |  |  | 1
Total Result | 3801 | 4344 | 8120 | 3308 | 7211 | 3664 | 6133 | 3478 | 40059

## DPCache_Count by Year and Cause (hidden)
Year | Vegetation Caused Outage Mode of Failure | Outage_Count
2015 | NULL | 37
2015 | Other | 2
2015 | Other ground vegetation | 26
2015 | Overhead | 1
2015 | Tree - bark fell into line | 140
2015 | Tree - branch fell on line | 1366
2015 | Tree - cutting, 3rd party | 126
2015 | Tree - cutting, PGE contractor | 19
2015 | Tree - fell into line | 1782
2015 | Tree - grew into line | 187
2015 | Tree - palm frond fell into line | 115
2016 | NULL | 21
2016 | -NA- | 12
2016 | Fire, Forest/Grass | 1
2016 | Other ground vegetation | 27
2016 | Overhead | 4
2016 | Tree - bark fell into line | 154
2016 | Tree - branch fell on line | 1277
2016 | Tree - cutting, 3rd party | 112
2016 | Tree - cutting, PGE contractor | 30
2016 | Tree - fell into line | 2252
2016 | Tree - grew into line | 260
2016 | Tree - palm frond fell into line | 194
2017 | NULL | 67
2017 | -NA- | 162
2017 | Customer Equipment | 1
2017 | Fire, Forest/Grass | 3
2017 | Fire, pole | 1
2017 | Other ground vegetation | 39
2017 | Overhead | 2
2017 | Patrol - found nothing | 1
2017 | Substation | 1
2017 | Tree - bark fell into line | 224
2017 | Tree - branch fell on line | 2277
2017 | Tree - cutting, 3rd party | 111
2017 | Tree - cutting, PGE contractor | 43
2017 | Tree - fell into line | 4551
2017 | Tree - grew into line | 420
2017 | Tree - palm frond fell into line | 217
2018 | NULL | 17
2018 | -NA- | 92
2018 | Other ground vegetation | 31
2018 | Overhead | 4
2018 | Tree - bark fell into line | 131
2018 | Tree - branch fell on line | 1112
2018 | Tree - cutting, 3rd party | 113
2018 | Tree - cutting, PGE contractor | 38
2018 | Tree - fell into line | 1403
2018 | Tree - grew into line | 239
2018 | Tree - palm frond fell into line | 128
2019 | NULL | 47
2019 | -NA- | 9
2019 | Contact with High Voltage, 3rd party | 1
2019 | CWSP - Vegetation Removal | 2
2019 | Other ground vegetation | 25
2019 | Patrol - not conducted | 1
2019 | Tree - bark fell into line | 229
2019 | Tree - branch fell on line | 2235
2019 | Tree - cutting, 3rd party | 106
2019 | Tree - cutting, PGE contractor | 50
2019 | Tree - fell into line | 3829
2019 | Tree - grew into line | 467
2019 | Tree - palm frond fell into line | 210
2020 | NULL | 28
2020 |  | 1
2020 | -NA- | 7
2020 | Contact with High Voltage, 3rd party | 1
2020 | Fire, Forest/Grass | 1
2020 | Fire, house or bldg. | 1
2020 | Other ground vegetation | 20
2020 | Overhead | 1
2020 | Public Safety Power Shut-off | 1
2020 | Tree - bark fell into line | 122
2020 | Tree - branch fell on line | 1316
2020 | Tree - cutting, 3rd party | 91
2020 | Tree - cutting, PGE contractor | 56
2020 | Tree - fell into line | 1642
2020 | Tree - grew into line | 311
2020 | Tree - palm frond fell into line | 65
2021 | NULL | 65
2021 | -NA- | 57
2021 | Fire, Forest/Grass | 2
2021 | Ice or snow | 1
2021 | Other ground vegetation | 39
2021 | Overhead | 4
2021 | Patrol - not conducted | 2
2021 | Tree - bark fell into line | 159
2021 | Tree - branch fell on line | 1960
2021 | Tree - cutting, 3rd party | 74
2021 | Tree - cutting, PGE contractor | 72
2021 | Tree - fell into line | 3165
2021 | Tree - grew into line | 369
2021 | Tree - palm frond fell into line | 164
2022 | NULL | 18
2022 | -NA- | 97
2022 | Other | 1
2022 | Other ground vegetation | 64
2022 | Overhead | 5
2022 | Patrol - found nothing | 4
2022 | Patrol - not conducted | 5
2022 | Planned - WSIP/System Hardening | 3
2022 | Planned, capital | 1
2022 | Planned, customer | 1
2022 | Planned, maintenance | 4
2022 | Tree - bark fell into line | 128
2022 | Tree - branch fell on line | 1100
2022 | Tree - cutting, 3rd party | 107
2022 | Tree - cutting, PGE contractor | 57
2022 | Tree - fell into line | 1469
2022 | Tree - grew into line | 302
2022 | Tree - palm frond fell into line | 112