## Circuit_Segment_Detail
| Data Response Prompt | i. WFE Score | ii. SWRSE | iii. Feasibility Scores |  |  |  | iv. v3 Risk Score |  | v. v3 Risk Ranking | vi. v2 Risk Score |  | vii. v2 Risk Ranking | viii. PG&E's plans to mitigate risk, including mitigation type(s) AND ix. Year(s) of mitigation implementation, as applicable
Line No. | Circuit Segment | HF WFE Score | SWRSE | HF Feasibility Score | HF Hard Rock Rating | HF Water Crossing Rating | HF Gradient Rating | v3 Total Risk Score | v3 Mean Risk Score | v3 Mean Risk Ranking | v2 Total Risk Score | v2 Mean Risk Score | v2 Mean Risk Ranking | 2023 Mitigations | 2024 Mitigations | 2025 Mitigations
1 | OAKHURST 110310140 | 0.20445 | 0.20445 | 2.6602 | 2.6602 | 1.0086 | 1.0158 | 9.0145 | 0.028816 | 22 | 2.3869 | 0.012696 | 1854 | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection Non-Pole Backlog Tree Removal DCD Line Sensors Pilot Pole Backlog | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection Non-Pole Backlog Pole Backlog | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection Non-Pole Backlog Pole Backlog
2 | MONTICELLO 1101654 | 0.28044 | 0.28044 | 1.5 | 1.5 | 1 | 1.0835 | 4.0715 | 0.026786 | 27 | 3.2338 | 0.045547 | 1227 | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection Non-Pole Backlog DCD | EPSS Aerial Inspection Ground Inspection Non-Pole Backlog Pole Backlog
3 | BALCH NO 1 1101105414 | 0.1507 | 0.1507 | 2.7758 | 2.7758 | 1.0926 | 1.0697 | 4.0645 | 0.031265 | 18 |  |  |  | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection Non-Pole Backlog DCD Pole Backlog | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection Pole Backlog | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection Pole Backlog
4 | CURTIS 170356972 | 0.18947 | 0.18947 | 1.5921 | 1.5921 | 1 | 1.3733 | 4.0241 | 0.02502 | 34 | 3.4306 | 0.060186 | 1062 | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection Non-Pole Backlog | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection Undergrounding in 2026
5 | MONTICELLO 1101630 | 0.41945 | 0.41945 | 1.4936 | 1.4936 | 1.1005 | 1.0022 | 3.8404 | 0.039591 | 9 | 9.7794 | 0.10515 | 732 | EPSS Veg Mgmt. (Annual & Second Patrol) Expulsion Fuse Replacement Aerial Inspection Ground Inspection Non-Pole Backlog | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection Non-Pole Backlog DCD Pole Backlog | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection
6 | CALISTOGA 1102131531 | 0.51533 | 0.51533 | 1.086 | 1.0425 | 1 | 1.086 | 2.4772 | 0.027222 | 24 |  |  |  | EPSS Veg Mgmt. (Annual & Second Patrol) Expulsion Fuse Replacement Non-Pole Backlog Pole Backlog Existing REFCL Circuit | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection | EPSS Veg Mgmt. (Annual & Second Patrol) Ground Inspection Non-Pole Backlog Tree Removal Pole Backlog
7 | ELECTRA 1102CB | 0.15316 | 0.15316 | 2.1389 | 2.1389 | 1 | 1.0871 | 1.3965 | 0.026433 | 28 | 0.22761 | 0.032515 | 1414 | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection Non-Pole Backlog | EPSS Aerial Inspection Ground Inspection Pole Backlog
8 | FRENCH GULCH 1101CB | 0.25237 | 0.25237 | 1.5 | 1.5 | 1 | 1.0421 | 1.1858 | 0.024965 | 36 | 2.1534 | 0.067293 | 1001 | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection Non-Pole Backlog Pole Backlog | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection
9 | PARADISE 1103283794 | 0.32616 | 0.32616 | 1 | 1 | 1 | 1 | 1.0282 | 0.027788 | 23 |  |  |  | EPSS Veg Mgmt. (Annual & Second Patrol) | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Undergrounding (Butte) | EPSS Veg Mgmt. (Annual & Second Patrol) Ground Inspection
10 | PARADISE 11061212 | 0.32513 | 0.32513 | 1.0054 | 1 | 1 | 1.0054 | 0.56647 | 0.026975 | 26 | 0.0014025 | 4.25e-05 | 2910 | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection Undergrounding (Butte) | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection
11 | CRESTA 1101103126 | 0.22339 | 0.22339 | 1.7419 | 1.7419 | 1.2395 | 1.0537 | 0.37145 | 0.023964 | 40 | 0.0003455 | 6.91e-05 | 2890 | EPSS Veg Mgmt. (Annual & Second Patrol) DCD Existing Overhead Hardened Circuit | EPSS Veg Mgmt. (Annual & Second Patrol) Ground Inspection Non-Pole Backlog | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection
12 | CRESTA 1101546650 | 0.16085 | 0.16085 | 3 | 3 | 1.1584 | 1.8951 | 0.42811 | 0.025946 | 31 | 3.0174 | 0.50291 | 33 | EPSS Veg Mgmt. (Annual & Second Patrol) DCD Existing Overhead Hardened Circuit | EPSS Veg Mgmt. (Annual & Second Patrol) Ground Inspection Non-Pole Backlog | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection
13 | MONTICELLO 1101CB | 0.31716 | 0.31716 | 1.5 | 1.5 | 1 | 1.0561 | 0.30464 | 0.030464 | 19 | 0.49137 | 0.098274 | 775 | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Non-Pole Backlog | EPSS Veg Mgmt. (Annual & Second Patrol) Ground Inspection Non-Pole Backlog Pole Backlog | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection
14 | INDIAN FLAT 11044440 | 0.1854 | 0.1854 | 3 | 3 | 1.6005 | 1.0122 | 0.17387 | 0.038638 | 12 | 2.7463 | 0.68656 | 16 | EPSS Veg Mgmt. (Annual & Second Patrol) Circuit Segment is Associated with INDIAN FLAT 1104CB | EPSS Veg Mgmt. (Annual & Second Patrol) Circuit Segment is Associated with INDIAN FLAT 1104CB | EPSS Veg Mgmt. (Annual & Second Patrol) Undergrounding in 2026 with INDIAN FLAT 1104CB
15 | CALPINE 1144304 | 1.0398 | 1.0398 | 1.3677 | 1 | 1 | 1.3677 | 0.17111 | 0.068443 | 3 | 0.006711 | 0.0033555 | 2308 | Privately Owned Line | Privately Owned Line | Privately Owned Line
16 | APPLE HILL 2102CB | 1.4883 | 1.4883 | 1 | 1 | 1 | 1 | 0.13518 | 0.090117 | 2 | 53.7868 | 0.12006 | 644 | EPSS Veg Mgmt. (Annual & Second Patrol) Ground Inspection Non-Pole Backlog | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Undergrounding with APPLE HILL 210236878 | EPSS Veg Mgmt. (Annual & Second Patrol) Ground Inspection
17 | MIDDLETOWN 1103CB | 0.30461 | 0.30461 | 1.5 | 1.5 | 1 | 1 | 0.085541 | 0.027013 | 25 | 5.2026 | 1.3006 | 5 | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Undergrounding in 2022 with MIDDLETOWN 11018494, MIDDLETOWN 1103830 | EPSS Veg Mgmt. (Annual & Second Patrol) Ground Inspection | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection
18 | PLACERVILLE 210658118 | 0.63521 | 0.63521 | 1.5 | 1.5 | 1 | 1 | 0.087256 | 0.10471 | 1 |  |  |  | EPSS Veg Mgmt. (Annual & Second Patrol) Ground Inspection | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Undergrounding with PLACERVILLE 210611132 | EPSS Veg Mgmt. (Annual & Second Patrol) Ground Inspection
19 | BALCH NO 1 1101CB | 0.26021 | 0.26021 | 3 | 3 | 1 | 1.8378 | 0.079975 | 0.053317 | 5 | 9.9805 | 0.30244 | 136 | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Ground Inspection
20 | ALLEGHANY 11021101/2 | 0.95162 | 0.95162 | 1.5 | 1.5 | 1 | 1 | 0.033039 | 0.066078 | 4 | 1.07e-05 | 1.07e-05 | 3054 | EPSS Veg Mgmt. (Annual & Second Patrol) | EPSS Veg Mgmt. (Annual & Second Patrol) Ground Inspection | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Undergrounding with ALLEGHANY 1102CB
21 | CALPINE 1144962 | 0.22037 | 0.22037 | 1.8607 | 1 | 1 | 1.8607 | 0.020374 | 0.024449 | 39 | 0.061428 | 0.061428 | 1049 | Privately Owned Line | Privately Owned Line | Privately Owned Line
22 | CAMP EVERS 2105BL 2101 | 2.1587 | 2.1587 | 1 | 1 | 1 | 1 | 0.0089715 | 0.044857 | 7 | 2.74e-05 | 2.74e-05 | 2945 | EPSS Veg Mgmt. (Annual & Second Patrol) Interconnected with BEN LOMOND 1104BL, BEN LOMOND 0401CB and BURNS 2101BL at substation | EPSS Veg Mgmt. (Annual & Second Patrol) Ground Inspection Interconnected with BEN LOMOND 1104BL, BEN LOMOND 0401CB and BURNS 2101BL at substation | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Interconnected with BEN LOMOND 1104BL, BEN LOMOND 0401CB and BURNS 2101BL at substation
23 | MARIPOSA 2101929360 | 0.21455 | 0.21455 | 1.9463 | 1.5 | 1 | 1.9463 | 0.0083518 | 0.033407 | 16 |  |  |  | EPSS Veg Mgmt. (Annual & Second Patrol) Previously Overhead Hardened with MARIPOSA 2101241564 | EPSS Veg Mgmt. (Annual & Second Patrol) Ground Inspection Previously Overhead Hardened with MARIPOSA 2101241564 | EPSS Veg Mgmt. (Annual & Second Patrol) Aerial Inspection Previously Overhead Hardened with MARIPOSA 2101241564