## Sheet1
Part | Lifespan
Sealed Lead Acid Battery | 2-5 Years
Satellite Terminal | 5 Years
Satellite Power Cable | 5 Years
Solar Radiation Sensor | 5-10 Years
Enclosure | 5-10 Years
Cellular Modem | As technology advances
New Power Relay | 10 Years
New Power-over-Ethernet Injector | 10 Years
Datalogger | 10-15 Years
Charging Regulator | 10-15 Years
Temp/RH Sensor | 10-15 Years
Wind Sensor | 10-15 Years
65W Solar Panel | 10-15 Years
Lithium Battery | 10-20 Years
Satellite Terminal Mounting bracket | 20+ Years
4ft Crossarm | 20+ Years
Misc. Components (internal brackets, sensor cables, misc. mounting hardware, enclosure wiring, etc.) | 5