## OEIS 016 Q03a
2023 WMP Table 6-5 Updated for WDRM v4
PG&E's Top Risk Circuit Segments
Line No. | >1% Total Utility Risk | Top 5% Highest Risk per PriOH Mile Rank | Circuit Segment Name | Wildfire Risk per Primary Overhead Mile | HFTD Miles | Total Ignition Risk Score | Total PSPS Risk Score | Total Overal Risk Score | Top Risk Contributors
1 | FALSE | TRUE | CLAYTON 2212681608 | 0.2214 | 33.2215 | 125.1891 | 1.459 | 126.6481 | Wildfire
2 | FALSE | TRUE | BALCH NO 1 1101105414 | 0.84058 | 7.4477 | 123.7147 | 0.013865 | 123.7285 | Wildfire
3 | FALSE | TRUE | CLOVERDALE 1102672 | 0.22758 | 22.4533 | 106.4287 | 1.4244 | 107.8531 | Wildfire
4 | FALSE | TRUE | PLACERVILLE 21067522 | 0.064821 | 73.5317 | 91.5169 | 6.7992 | 98.3161 | Wildfire
5 | FALSE | TRUE | MIDDLETOWN 1101644756 | 0.22892 | 15.2593 | 87.9343 | 0.21407 | 88.1484 | Wildfire
6 | FALSE | TRUE | PLACERVILLE 210611132 | 0.094365 | 44.4736 | 84.1646 | 2.7293 | 86.8938 | Wildfire
7 | FALSE | TRUE | STANISLAUS 1701CB | 0.10923 | 38.5242 | 83.9752 | 1.4336 | 85.4087 | Wildfire
8 | FALSE | TRUE | ALLEGHANY 1102CB | 0.21735 | 18.792 | 80.82 | 2.5705 | 83.3905 | Wildfire
9 | FALSE | TRUE | EL DORADO PH 210119752 | 0.0928 | 41.5804 | 74.9057 | 8.1568 | 83.0626 | Wildfire
10 | FALSE | TRUE | CALPINE 1144CB | 0.14275 | 26.7587 | 79.6976 | 0.20809 | 79.9057 | Wildfire
11 | FALSE | TRUE | MARIPOSA 210237282 | 0.063073 | 53.2532 | 78.126 | 0 | 78.126 | Wildfire
12 | FALSE | TRUE | CALAVERAS CEMENT 1101544800 | 0.1595 | 23.5406 | 77.1388 | 0.22206 | 77.3608 | Wildfire
13 | FALSE | TRUE | WEST POINT 11024788 | 0.04876 | 74.2727 | 73.831 | 2.9137 | 76.7447 | Wildfire
14 | FALSE | TRUE | COLUMBIA HILL 1101CB | 0.071825 | 47.9377 | 68.5187 | 5.7829 | 74.3016 | Wildfire

## OEIS 016 Q03b
Table 7-2 Updated for WDRM v4
Prioritized Areas in PG&E's Service Territory Based on Overall Utility Risk
Line No. | Circuit Segment Name | Wildfire Risk per Primary Overhead Mile | HFTD Miles | Total Overal Risk Score | Percent Vegetation Risk | Percent Equipment Risk | Percent Contract From Object Risk | Percent PSPS Risk
1 | CLAYTON 2212681608 | 0.2214 | 33.2215 | 126.6481 | 33.51% | 46.46% | 18.87% | 1.152%
2 | BALCH NO 1 1101105414 | 0.84058 | 7.4477 | 123.7285 | 38.38% | 34.46% | 27.15% | 0.01121%
3 | CLOVERDALE 1102672 | 0.22758 | 22.4533 | 107.8531 | 55.2% | 27.25% | 16.23% | 1.321%
4 | PLACERVILLE 21067522 | 0.064821 | 73.5317 | 98.3161 | 47.25% | 28.76% | 17.07% | 6.916%
5 | MIDDLETOWN 1101644756 | 0.22892 | 15.2593 | 88.1484 | 76.25% | 18.18% | 5.334% | 0.2429%
6 | PLACERVILLE 210611132 | 0.094365 | 44.4736 | 86.8938 | 50.87% | 29.78% | 16.21% | 3.141%
7 | STANISLAUS 1701CB | 0.10923 | 38.5242 | 85.4087 | 22.25% | 39.72% | 36.36% | 1.678%
8 | ALLEGHANY 1102CB | 0.21735 | 18.792 | 83.3905 | 56.94% | 28.47% | 11.5% | 3.083%
9 | EL DORADO PH 210119752 | 0.0928 | 41.5804 | 83.0626 | 48.41% | 26.81% | 14.95% | 9.82%
10 | CALPINE 1144CB | 0.14275 | 26.7587 | 79.9057 | 39.44% | 25.43% | 34.87% | 0.2604%
11 | MARIPOSA 210237282 | 0.063073 | 53.2532 | 78.126 | 45.57% | 33.58% | 20.85% | 0%
12 | CALAVERAS CEMENT 1101544800 | 0.1595 | 23.5406 | 77.3608 | 32.11% | 47.3% | 20.3% | 0.287%
13 | WEST POINT 11024788 | 0.04876 | 74.2727 | 76.7447 | 38.68% | 42.71% | 14.81% | 3.797%
14 | COLUMBIA HILL 1101CB | 0.071825 | 47.9377 | 74.3016 | 50.54% | 30.06% | 11.62% | 7.783%