## Q01
Circuit Segment, or Span ID | Jan. 1, 2023 Overall Utility Risk | Jan. 1, 2023 - Dec. 31, 2023 Mitigation Initiatives | Jan. 1, 2024 Overal Utility Risk | Jan. 1, 2024 - Dec. 31, 2024 Mitigation Initiatives | Jan. 1, 2025 Overal Utility Risk | Jan. 1, 2025 - Dec. 31, 2025 Mitigation Initiatives | Jan. 1, 2026 Overal Utility Risk
5G31 | Not Estimated | System Automation | 0.69323 |  | Under Review | Expulsion Fuse Replacement | Not Estimated
5G33 | Not Estimated | System Automation | 0.92563 |  | Under Review | Expulsion Fuse Replacement | Not Estimated
5G21 | Not Estimated | System Automation Expulsion Fuse Replacement | 0.85247 |  | Under Review |  | Not Estimated
5G83 | Not Estimated | System Automation Expulsion Fuse Replacement Note: System Automation Completed in 2021 | 0.99478 | Covered Conductor Expulsion Fuse Replacement | Under Review | System Automation Expulsion Fuse Replacement | Not Estimated
5G149 | Not Estimated | Expulsion Fuse Replacement | 0.61865 | System Automation | Under Review |  | Not Estimated
5G5 | Not Estimated | System Automation Expulsion Fuse Replacement | 0.57339 | Expulsion Fuse Replacement | Under Review |  | Not Estimated
5L83 | Not Estimated | System Automation | 0.55723 |  | Under Review |  | Not Estimated
5G45 | Not Estimated | Note: System Automation Completed in 2021 | 0.60842 | Covered Conductor Expulsion Fuse Replacement | Under Review |  | Not Estimated
5L97 | Not Estimated | Note: System Automation Completed in 2022 | 0.40818 | Expulsion Fuse Replacement | Under Review |  | Not Estimated
4G1 | Not Estimated | Expulsion Fuse Replacement Note: System Automation Completed in 2021 | 0.98942 |  | Under Review |  | Not Estimated
5G151 | Not Estimated | Expulsion Fuse Replacement | 0.80226 | System Automation Expulsion Fuse Replacement | Under Review |  | Not Estimated
7G81 | Not Estimated |  | 0.69766 |  | Under Review | Covered Conductor Expulsion Fuse Replacement | Not Estimated
7G73 | Not Estimated | Note: Covered Conductor Installed in 2022 System Automation Completed in 2021 Expulsion Fuse Replacement Completed in 2022 | 0.7988 |  | Under Review |  | Not Estimated
5L87 | Not Estimated |  | 0.9444 | Expulsion Fuse Replacement | Under Review | System Automation | Not Estimated