## Sheet1
Project ID | Project Year | CPZ | UG or HYBRID CBR | OH+EPSS CBR | Undergrounding Mileage | Total Hardening Project Mileage (if hybrid) | Associated Trigger (if hybrid)
35580843 | 2027 | Stelling 11109265 | 2.77 | 3.4 | 6.69 | N/A | N/A
35607436 | 2027 | Calistoga 1101730666 | 1.97 | 3.11 | 2.29 | 2.33 | Need a span of OH for feasibility.
35607438 | 2027 | Pit No 3 21011482 | 2.43 | 4.66 | 13.71 | N/A | N/A
35294729 | 2027 | Alto 11243745 | 2.42 | 2.94 | 5.46 | N/A | N/A
35580908 | 2027 | Monte Rio 1113320 | 2.16 | 3.39 | 4.63 | N/A | N/A
35575110 | 2027 | ALTO 1124432 | 2.27 | 4.07 | 10.61 | N/A | N/A
35376556 | 2027 | BONNIE NOOK 1102542186 | 2.77 | 3.4 | 35.18 | N/A | N/A
35580902 | 2027 | BIG BEND 1101CB | 2.76 | 2.97 | 20.42 | 21.58 | OH connecting existing OH hardened infrastructure rebuilt following fire.
35607430 | 2027 | SILVERADO 2104324994 | 1.82 | 2.44 | 0.76 | 0.8 | One small removal of 0.04 miles
35607436 | 2027 | CALISTOGA 1101730666 | 1.97 | 3.11 | 2.29 | 2.33 | Need a span of OH for feasibility.
35607438 | 2027 | PIT NO 3 21011480 | 1.94 | 3.06 | 2.65 | 2.67 | Need a span of OH for feasibility.
35367513 | 2027 | PUEBLO 2103678 | 1.84 | 2 | 48.85 | N/A | N/A
35566318 | 2027 | FRENCH GULCH 11011892 | 6.14 | 8 | 0.56 | 3.24 | Tree strike potential, and need OH for feasibility
35367526 | 2027 | WEST POINT 1101CB | 2.55 | 4.55 | 6.06 | 6.46 | Need OH for feasbility
35566681 | 2027 | CALISTOGA 110135588 | 4.28 | 7.1 | 2.85 | 4.22 | Tree strike potential, PSPS and ingress/egress concerns
35566682 | 2027 | ORO FINO 11022236 | 3.01 | 5.14 | 1.89 | 3.79 | Tree strike potential, and need OH for feasibility
35566680 | 2027 | MIDDLETOWN 1101644756 | 3.38 | 6.56 | 16.01 | 24.39 | Tree strike potential
35580846 | 2027 | CALAVERAS CEMENT 1101544800 | 3.91 | 4.36 | 3 | 23.32 | Tree strike potential, ingress/egress concerns and OH for feasibility
35580859 | 2027 | SAN LUIS OBISPO 1104982992 | 3 | 3.32 | 3.13 | 8.88 | Tree strike potential and ingress/egress concerns
35580903 | 2027 | FORT ROSS 112170288 | 1.9 | 2.67 | 32.67 | 33.82 | Need OH for feasbility
35580904 | 2027 | CALAVERAS CEMENT 11011419 | 2.7 | 3.41 | 5.47 | 15.18 | Tree strike potential, ingress/egress concerns and OH for feasibility
35607277 | 2027 | SUNOL 1101298061 | 2.24 | 2.62 | 2.69 | 5.19 | Tree strike potential and ingress/egress concerns