## Sheet1
Circuit, Segment, or Span ID | Initial Overall Utility Risk | 2026 Initiative Activities | 2026 Overall Utility Risk | 2027 Initiative Activities | 2027 Overall Utility Risk | 2028 Initiatives Activities | 2028 Overall Utility Risk | Mileage already hardened by 2026 [3] | % Severe [4] | % High Consequence [4] | % Other [4] | 2026 TUG Planned (circuit miles) | 2027 TUG Planned (circuit miles) | 2028 TUG Planned (circuit miles) | 2026 CC Planned (circuit miles) | 2027 CC Planned (circuit miles) | 2028 CC Planned (circuit miles)
TUNGSTEN | 0.79861 | Covered Conductor, Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Structure Brushing | 0.79861 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Structure Brushing | 0.79861 | Distribution HFRI Inspections and Remediations, Structure Brushing | 0.79861 | 0 | 0% | 100% | 0% | 0 | 0 | 0 | 16.8208 | 0 | 0
PHEASANT | 3.1845 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 3.1845 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 3.1845 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 3.1845 | 9.28 | 96.39% | 0.545% | 3.068% | 0 | 0 | 0 | 0 | 0 | 0
LOUCKS | 1.3327 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.3327 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.3327 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.3327 | 6.51 | 67.88% | 31.06% | 1.065% | 0 | 0 | 0 | 0 | 0 | 0
PASCAL | 2.2653 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.2653 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.2653 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.2653 | 10.6962 | 95.55% | 1.092% | 3.362% | 0 | 0 | 0 | 0 | 0 | 0
DAVENPORT | 12.8982 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 12.8982 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 12.8982 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 12.8982 | 70.7631 | 91.41% | 4.979% | 3.613% | 0 | 0 | 0 | 0 | 0 | 0
CERRITO | 0.35024 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.35024 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.35024 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.07222 | 0 | 100% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0
RAYBURN | 2.1132 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.1132 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.1132 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Transmission Infrared and Corona Scanning, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.1132 | 11.9856 | 88.57% | 6.571% | 4.86% | 0 | 0 | 0 | 0 | 0 | 0
SHOVEL | 8.09 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 8.09 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 8.09 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 8.0596 | 40.8453 | 54.66% | 43.1% | 2.242% | 0 | 0 | 0 | 0 | 0 | 0
PELONA | 0.2989 | Transmission Proactive Splice Shunting, Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.2989 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.2989 | Distribution HFRI Inspections and Remediations, Transmission Infrared and Corona Scanning, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.2989 | 1.89 | 82.71% | 0% | 17.29% | 0 | 0 | 0 | 0 | 0 | 0
GUFFY | 0.78051 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.78051 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.77745 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.77745 | 3.9787 | 42.96% | 54.3% | 2.746% | 0 | 0 | 0 | 0 | 0 | 0
STORES | 4.2007 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 4.2007 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 4.2007 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 4.2007 | 22.37 | 77.41% | 16.65% | 5.944% | 0 | 0 | 0 | 0 | 0 | 0
PURCHASE | 0.56434 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.56434 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.56434 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.56434 | 3.0132 | 42.2% | 47.82% | 9.975% | 0 | 0 | 0 | 0 | 0 | 0
ENERGY | 4.45 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 4.45 | Remote Controlled Automated Reclosers Settings Update, Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 4.4498 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 4.4498 | 27.083 | 98.55% | 1.453% | 0% | 0 | 0 | 0 | 0 | 0 | 0
ARIEL | 0.049 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.049 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.049 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.049 | 0 | 100% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0
BODKIN | 0.23424 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.23424 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.23424 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.23424 | 1.5561 | 45.28% | 27.1% | 27.62% | 0 | 0 | 0 | 0 | 0 | 0
CASCADE | 0.9037 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.9037 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.9037 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.9037 | 6.412 | 75.21% | 22.93% | 1.861% | 0 | 0 | 0 | 0 | 0 | 0
IDA | 1.3463 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.3463 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.3463 | Distribution HFRI Inspections and Remediations, Transmission Infrared and Corona Scanning, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.3463 | 9.7733 | 67.8% | 21.22% | 10.98% | 0 | 0 | 0 | 0 | 0 | 0
FINGAL | 4.5377 | REFCL Ground Fault Neutralizer, Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.2845 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.2845 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.2845 | 30.8867 | 88.91% | 1.377% | 9.718% | 0 | 0 | 0 | 0 | 0 | 0
POPPET FLATS | 4.0151 | REFCL Ground Fault Neutralizer, Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.1825 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.1825 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.1825 | 28.5715 | 74.57% | 18.4% | 7.029% | 0 | 0 | 0 | 0 | 0 | 0
STONEMAN | 3.1927 | Long Span Initiative, Distribution HFRI Inspections and Remediations, Distribution Infrared Scanning, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 3.1927 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 3.1927 | Long Span Initiative, Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 3.1927 | 15.32 | 66.54% | 28.03% | 5.433% | 0 | 0 | 0 | 0 | 0 | 0
PIONEERTOWN | 6.781 | Covered Conductor, REFCL Ground Fault Neutralizer, Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.9833 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.9833 | Distribution HFRI Inspections and Remediations, Structure Brushing | 2.9833 | 51.4956 | 0% | 91.91% | 8.091% | 0 | 0 | 0 | 0.76979 | 0 | 0
PICK [2] | 4.4893 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 4.4893 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 4.4893 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 4.4893 | 44.2542 | 59.42% | 37.99% | 2.594% | 0 | 0 | 0 | 0 | 0 | 0
IRVINGTON | 0.02587 | Distribution HFRI Inspections and Remediations, Structure Brushing | 0.02587 | Distribution HFRI Inspections and Remediations, Structure Brushing | 0.02516 | Distribution HFRI Inspections and Remediations, Structure Brushing | 0.02516 | 0.21588 | 81.86% | 0% | 18.14% | 0 | 0 | 0 | 0 | 0 | 0
PICONI | 1.9974 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.9974 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Transmission Infrared and Corona Scanning, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.9974 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.9974 | 20.4543 | 0% | 90.61% | 9.39% | 0 | 0 | 0 | 0 | 0 | 0
SNOWCREEK | 0.17684 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.17684 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.17684 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.17684 | 0.518 | 100% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0
NUTMEG | 0.77035 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.77035 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.77035 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.77035 | 7.1294 | 29.85% | 48.61% | 21.54% | 0 | 0 | 0 | 0 | 0 | 0
SCHMIDT | 1.446 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Transmission Infrared and Corona Scanning, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.446 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.4418 | Distribution HFRI Inspections and Remediations, Transmission Infrared and Corona Scanning, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.4418 | 14.6 | 69.21% | 25.08% | 5.709% | 0 | 0 | 0 | 0 | 0 | 0
SEAWOLF | 0.09392 | Distribution HFRI Inspections and Remediations, Structure Brushing | 0.09392 | Distribution HFRI Inspections and Remediations, Structure Brushing | 0.09392 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.09392 | 0.84 | 0% | 80.57% | 19.43% | 0 | 0 | 0 | 0 | 0 | 0
ARAPAHO | 1.4527 | Distribution HFRI Inspections and Remediations, Distribution Infrared Scanning, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.4527 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.4527 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.4527 | 14.6568 | 35.77% | 43.08% | 21.15% | 0 | 0 | 0 | 0 | 0 | 0
MOAB | 0.0486 | Distribution HFRI Inspections and Remediations, Structure Brushing | 0.0486 | Distribution HFRI Inspections and Remediations, Structure Brushing | 0.0486 | Distribution HFRI Inspections and Remediations, Structure Brushing | 0.03067 | 0 | 100% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0
LUISENO | 2.6053 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.6053 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.6053 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.6053 | 23.7056 | 3.729% | 90.18% | 6.086% | 0 | 0 | 0 | 0 | 0 | 0
BALLOON | 0.35909 | Distribution HFRI Inspections and Remediations, Distribution Infrared Scanning, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.35909 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.35909 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.35909 | 4.11 | 91.84% | 0% | 8.165% | 0 | 0 | 0 | 0 | 0 | 0
BOUQUET | 2.0967 | Transmission Proactive Splice Shunting, Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Transmission Infrared and Corona Scanning, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.0967 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.0967 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.0967 | 25.984 | 96.37% | 0.2192% | 3.413% | 0 | 0 | 0 | 0 | 0 | 0
CALSPAR | 0.02751 | Long Span Initiative, Distribution HFRI Inspections and Remediations, Distribution Infrared Scanning, Structure Brushing | 0.0275 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.02318 | Distribution HFRI Inspections and Remediations, Structure Brushing | 0.02318 | 0 | 0% | 21.9% | 78.1% | 0 | 0 | 0 | 0 | 0 | 0
BIG ROCK | 1.1754 | Remote Controlled Automated Reclosers Settings Update, Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Distribution Infrared Scanning, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.1751 | Long Span Initiative, Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.1751 | Long Span Initiative, Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 1.1688 | 10.691 | 61.7% | 1.662% | 36.63% | 0 | 0 | 0 | 0 | 0 | 0
STAR ROCK | 0.19825 | Remote Controlled Automated Reclosers Settings Update, Distribution HFRI Inspections and Remediations, Structure Brushing | 0.19821 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.19821 | Distribution HFRI Inspections and Remediations, Structure Brushing | 0.19821 | 2.33 | 41.12% | 56.27% | 2.608% | 0 | 0 | 0 | 0 | 0 | 0
KELLER | 0.08733 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Structure Brushing | 0.08733 | Distribution HFRI Inspections and Remediations, Structure Brushing | 0.08733 | Distribution HFRI Inspections and Remediations, Transmission Infrared and Corona Scanning, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.08733 | 1.0034 | 0% | 94.46% | 5.544% | 0 | 0 | 0 | 0 | 0 | 0
CORTESE | 0.17324 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.17324 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Transmission Infrared and Corona Scanning, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.04552 | Undergrounding Overhead Conductor, Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.04552 | 0 | 100% | 0% | 0% | 0 | 0 | 1.8348 | 0 | 0 | 0
BOOTLEGGER | 6.4508 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 6.4508 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 6.4508 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 6.4508 | 75.1867 | 29.54% | 67.69% | 2.771% | 0 | 0 | 0 | 0 | 0 | 0
UTE | 0.08064 | Long Span Initiative, Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.08063 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.08063 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.08063 | 0 | 0% | 100% | 0% | 0 | 0 | 0 | 0 | 0 | 0
SOUTHRIDGE | 0.03865 | Distribution HFRI Inspections and Remediations, Structure Brushing | 0.03575 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.03575 | Covered Conductor, Distribution HFRI Inspections and Remediations, Structure Brushing | 0.03575 | 0 | 0% | 75.83% | 24.17% | 0 | 0 | 0 | 0 | 0 | 0.23709
MOCKINGBIRD | 0.56335 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.56335 | Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.56335 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.56335 | 6.7008 | 0% | 89.89% | 10.11% | 0 | 0 | 0 | 0 | 0 | 0
CORONITA | 0.0359 | Distribution HFRI Inspections and Remediations, Structure Brushing | 0.0359 | Distribution HFRI Inspections and Remediations, Structure Brushing | 0.0359 | Distribution HFRI Inspections and Remediations, Structure Brushing | 0.0359 | 0.51 | 37.94% | 0% | 62.06% | 0 | 0 | 0 | 0 | 0 | 0
ATENTO | 2.075 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.075 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.075 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 2.075 | 25.1979 | 100% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0
PAWNEE | 4.23 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 4.23 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 4.23 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 4.2231 | 52.9642 | 72.57% | 17.16% | 10.27% | 0 | 0 | 0 | 0 | 0 | 0
INYO LUMBER | 0.24229 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.24229 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.24229 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.24229 | 2.5423 | 36.81% | 51.02% | 12.17% | 0 | 0 | 0 | 0 | 0 | 0
PARADISE | 1.1226 | Undergrounding Overhead Conductor, Long Span Initiative, Transmission Proactive Splice Shunting, Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Distribution Infrared Scanning, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.26892 | Undergrounding Overhead Conductor, Long Span Initiative, Distribution HFRI Inspections and Remediations, Transmission HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.23385 | Long Span Initiative, Distribution HFRI Inspections and Remediations, Transmission Infrared and Corona Scanning, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.23382 | 1.46 | 88.92% | 5.365% | 5.712% | 12.1437 | 0.47178 | 0 | 0 | 0 | 0
PERRIS | 0.25347 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.25347 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.25347 | Distribution HFRI Inspections and Remediations, Structure Brushing | 0.25347 | 2.9979 | 0% | 81.34% | 18.66% | 0 | 0 | 0 | 0 | 0 | 0
RAMSGATE | 0.06834 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.06834 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.06834 | Distribution HFRI Inspections and Remediations, Hazard Tree Management Program, Structure Brushing, Dead and Dying Tree Removal | 0.06834 | 0.51 | 90.1% | 0% | 9.895% | 0 | 0 | 0 | 0 | 0 | 0
*In preparing the additional columns requested to supplement Table 6-4, SCE discovered certain instances where "Initiative Activities" listed for a particular circuit did not match scoped miles for either TUG or CC mitigations. SCE has made corrections in the table produced in response to this data request and will update this table in the WMP when filing Substantive Errata on June 2, 2025. Changes to Table 6-4 are in red.
[1] Initial overall utility risk captures risk information as of 3/25/2025. 2026 Overall Risk, 2027 Overall Risk, and 2028 Overall Risk capture estimated risk information as of 12/31 of 2026, 2027, and 2028, respectively, based on forecasted deployment of mitigations presented in this WMP.
[2] This circuit is located in the burn scar area of the Lidia Fire in January 2025.
[3] Assumes that 600 circuit miles of covered conductor and 60 overhead miles will be undergrounded pursuant to TUG by the end of 2025.
[4] Percentages are based on the WRRM 7.6 model and SCE's review and revise process.